## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966305 | 967809 | -1504 | 1504000 | 1.504 | 995525 | 995525 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8653 | 8564 | 89 | -89000 | -0.089 | 252 | 178 | 74 | -74000 | -0.074
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970159 | 971869 | -1710 | 1710000 | 1.71 | 996032 | 996034 | -2 | 2000 | 0.002
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998991 | 999018 | -27 | 27000 | 0.027 | 999162 | 999959 | -797 | 797000 | 0.797
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 540 | 630 | -90 | 90000 | 0.09 | 0 | 0 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24042 | 24306 | -264 | 264000 | 0.264 | 17856 | 17857 | -1 | 1000 | 0.001
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 454 | 744 | -290 | 290000 | 0.29 | 999996 | 999997 | -1 | 1000 | 0.001
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 12195 | 12280 | -85 | 106250 | 0.10625 | 993107 | 993244 | -137 | 171250 | 0.17125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995183 | 995482 | -299 | 299000 | 0.299 | 982406 | 982506 | -100 | 100000 | 0.1
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999858 | 999989 | -131 | 131000 | 0.131 | 999999 | 1000000 | -1 | 1000 | 0.001
11 | Tx.-2 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 667 | 843 | -176 | 176000 | 0.176 | 999999 | 1000000 | -1 | 1000 | 0.001
[5 empty] | -1000 | 992280 | 992348 | -68 | 68000 | 0.068
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979309 | 979890 | -581 | 581000 | 0.581 | 997759 | 997759 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 966820 | 969915 | -3095 | -3095000 | -3.095 | 999999 | 999999 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982806 | 983076 | -270 | 270000 | 0.27 | 16805 | 16831 | -26 | 26000 | 0.026
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5250 | 5289 | -39 | 39000 | 0.039 | 20169 | 20177 | -8 | 8000 | 0.008
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11728 | 11606 | 122 | -122000 | -0.122 | 2 | 0 | 2 | -2000 | -0.002
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 97 | 97 | 0 | 0 | 0 | 979327 | 981012 | -1685 | -337000 | -0.337
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 778 | 778 | 0 | 0 | 0 | 28536 | 28824 | -288 | -288000 | -0.288
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 6202 | 6200 | 2 | 200 | 0.0002 | 170844 | 169412 | 1432 | 143200 | 0.1432
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 41820 | 41738 | 82 | 8200 | 0.0082 | 251722 | 251272 | 450 | 45000 | 0.045
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996456 | 996456 | 0 | 0 | 0 | 996920 | 998296 | -1376 | -1376000 | -1.376
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 541 | 541 | 0 | 0 | 0 | 3210 | 4003 | -793 | -793000 | -0.793
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999633 | 999592 | 41 | 4100 | 0.0041 | 309 | 3 | 306 | 30600 | 0.0306
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634414 | 634586 | -172 | -172000 | -0.172 | 797046 | 797068 | -22 | -22000 | -0.022
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627370 | 628016 | -646 | -646000 | -0.646 | 830232 | 830233 | -1 | -1000 | -0.001
26 | CIVIL LINE | 4864793 | ELSTER | Kvarh(Lead/Lag) | 200 | 998928 | 999324 | -396 | -79200 | -0.0792 | 999999 | 999999 | 0 | 0 | 0 | Check Meter Data
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5440 | 5428 | 12 | 6000 | 0.006 | 3362 | 3391 | -29 | -14500 | -0.0145
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24919 | 24906 | 13 | -13000 | -0.013 | 980900 | 980930 | -30 | 30000 | 0.03
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11730 | 11666 | 64 | -64000 | -0.064 | 996748 | 996752 | -4 | 4000 | 0.004
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995680 | 995582 | 98 | -98000 | -0.098 | 999989 | 999999 | -10 | 10000 | 0.01
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4538 | 4400 | 138 | -138000 | -0.138 | 999997 | 999997 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16626 | 13990 | 2636 | -2636000 | -2.636 | 999999 | 999998 | 1 | -1000 | -0.001
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7986 | 7706 | 280 | -280000 | -0.28 | 998823 | 998824 | -1 | 1000 | 0.001
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16705 | 15878 | 827 | -827000 | -0.827 | 1506 | 1505 | 1 | -1000 | -0.001
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5795 | 5781 | 14 | -14000 | -0.014 | 998654 | 998681 | -27 | 27000 | 0.027
36 | Tx.2 | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1111 | 1030 | 81 | -81000 | -0.081 | 959 | 959 | 0 | 0 | 0
|  | 5295172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22 | 0 | 22 | -22000 | -0.022 | 5 | 0 | 5 | -5000 | -0.005 | w.e.f 12/04/2016
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993377 | 993378 | -1 | 1000 | 0.001 | 999482 | 999480 | 2 | -2000 | -0.002
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9102 | 9051 | 51 | -51000 | -0.051 | 999992 | 999992 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2073 | 2073 | 0 | 0 | 0 | 25099 | 24877 | 222 | 222000 | 0.222
40 | PUSA GRID-II | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 169 | 169 | 0 | 0 | 0 | 999008 | 999139 | -131 | -131000 | -0.131 | Check Meter Data
|  | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 456 | 0 | 456 | 45600 | 0.0456 | w.e.f 27/04/2016
| NDPL(+) continue | [14 empty] | APRIL-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 177176 | 177506 | -330 | -41250 | -0.04125 | 260987 | 261611 | -624 | -78000 | -0.078
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9225 | 9225 | 0 | 0 | 0 | 35387 | 32515 | 2872 | 287200 | 0.2872
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11370 | 11370 | 0 | 0 | 0 | 66598 | 64564 | 2034 | 203400 | 0.2034
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 589 | 496 | 93 | 9300 | 0.0093 | 3055 | 1314 | 1741 | 174100 | 0.1741
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 10799 | 10786 | 13 | 1300 | 0.0013 | 8073 | 6387 | 1686 | 168600 | 0.1686
47 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16101 | 16113 | -12 | -1200 | -0.0012 | 21368 | 21259 | 109 | 10900 | 0.0109
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 991086 | 991106 | -20 | -888.8 | -0.0008888 | 545 | 732 | -187 | -8310.28 | -0.0083103
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5432 | 5432 | 0 | 0 | 0 | 33689 | 33448 | 241 | 120500 | 0.1205
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999891 | 999891 | 0 | 0 | 0 | 222 | 163 | 59 | 29500 | 0.0295
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 27 | 15 | 12 | 8000.04 | 0.008 | 8 | 0 | 8 | 5333.36 | 0.0053334
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2452 | 2435 | 17 | 11333.3333 | 0.011333 | 1103 | 1085 | 18 | 12000 | 0.012
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998351 | 998356 | -5 | -500 | -0.0005 | 86 | 26 | 60 | 6000 | 0.006
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999749 | 999749 | 0 | 0 | 0 | 999974 | 999985 | -11 | -1100 | -0.0011
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23255 | 23146 | 109 | 10900 | 0.0109 | 57658 | 57265 | 393 | 39300 | 0.0393
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999988 | -1 | -100 | -0.0001
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1843 | 1873 | -30 | -3000 | -0.003 | 2897 | 2630 | 267 | 26700 | 0.0267
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27017 | 26955 | 62 | 6200 | 0.0062 | 66662 | 66501 | 161 | 16100 | 0.0161
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 4692 | 4547 | 145 | 14500 | 0.0145 | 344 | 109 | 235 | 23500 | 0.0235
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 185937 | 184001 | 1936 | 193600 | 0.1936 | 20599 | 20593 | 6 | 600 | 0.0006
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24466 | 24442 | 24 | 2400 | 0.0024 | 48045 | 47852 | 193 | 19300 | 0.0193
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 455 | 425 | 30 | -9000 | -0.009
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995602 | 995602 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972932 | 972984 | -52 | -41600 | -0.0416 | 232 | 254 | -22 | -17600 | -0.0176
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2077 | 2083 | -6 | -12000 | -0.012 | 35 | 30 | 5 | 10000 | 0.01
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999739 | 999720 | 19 | 1900 | 0.0019 | 775 | 185 | 590 | 59000 | 0.059
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.6935 |  |  |  |  | -0.28293
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 23333 | 23207 | 126 | -12600 | -0.0126 | 23361 | 21670 | 1691 | -169100 | -0.1691
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13849 | 13847 | 2 | -2000 | -0.002 | 7865 | 7863 | 2 | -2000 | -0.002
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 11770 | 11691 | 79 | -15800 | -0.0158 | 22183 | 21493 | 690 | -138000 | -0.138
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86052 | 86054 | -2 | 2000 | 0.002 | 120269 | 120121 | 148 | -148000 | -0.148
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 19676 | 20235 | -559 | 55900 | 0.0559 | 142789 | 142791 | -2 | 200 | 0.0002 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | -800 | 994364 | 995232 | -868 | 694400 | 0.6944 | 999982 | 999999 | -17 | 13600 | 0.0136
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.7219 |  |  |  |  | -0.4433
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.6935 |  |  |  |  | -0.28293
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.7219 |  |  |  |  | -0.4433
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 3.0533 |  |  |  |  | 0.085425
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 1.0818 |  |  |  |  | -0.6408
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.0818 | (REACTIVE MUs) |  |  |  | -0.6408 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.50518 | (REACTIVE MUs) |  |  |  | -2.0947 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.5869 | (REACTIVE MUs) |  |  |  | -2.7355 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 5689 | 5647 | 42 | 4200 | 0.0042 | 507 | 699 | -192 | -19200 | -0.0192
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 3685 | 2998 | 687 | 206100 | 0.2061 | 547 | 904 | -357 | -107100 | -0.1071
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17529 | 17555 | -26 | -2600 | -0.0026 | 35410 | 35808 | -398 | -39800 | -0.0398
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999268 | 999216 | 52 | 15600 | 0.0156 | 5330 | 5326 | 4 | 1200 | 0.0012
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1589 | 1603 | -14 | -18666.2 | -0.018666 | 2660 | 2737 | -77 | -102664.1 | -0.10266
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 33318 | 33194 | 124 | 12400 | 0.0124 | 173197 | 172808 | 389 | 38900 | 0.0389
7 | MINTO RD. B-34 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 16527 | 17371 | -844 | -84400 | -0.0844 | 998824 | 999556 | -732 | -73200 | -0.0732
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989402 | 989260 | 142 | 142000 | 0.142 | 1714 | 1679 | 35 | 35000 | 0.035
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997576 | 997587 | -11 | -11000 | -0.011 | 2916 | 2880 | 36 | 36000 | 0.036
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 259 | 331 | -72 | -72000 | -0.072 | 1329 | 1298 | 31 | 31000 | 0.031
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997324 | 997392 | -68 | -68000 | -0.068 | 2122 | 2131 | -9 | -9000 | -0.009
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995127 | 995305 | -178 | -178000 | -0.178 | 4872 | 4876 | -4 | -4000 | -0.004
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998527 | 998676 | -149 | -149000 | -0.149 | 999530 | 999535 | -5 | -5000 | -0.005
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999342 | 999369 | -27 | -27000 | -0.027 | 17318 | 17389 | -71 | -71000 | -0.071
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999922 | 999984 | -62 | -49600 | -0.0496 | 999989 | 1000000 | -11 | -8800 | -0.0088
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999728 | 999708 | 20 | 20000 | 0.02 | 28526 | 28374 | 152 | 152000 | 0.152
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1358 | 1381 | -23 | -23000 | -0.023 | 9503 | 9504 | -1 | -1000 | -0.001
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11970 | 11905 | 65 | 6500 | 0.0065 | 338 | 338 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998125 | 998247 | -122 | -122000 | -0.122 | 15200 | 15144 | 56 | 56000 | 0.056
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 973181 | 975556 | -2375 | -3265625 | -3.2656
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 683076 | 686920 | -3844 | -4228400 | -4.2284
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980958 | 981118 | -160 | -160000 | -0.16 | 8294 | 8297 | -3 | -3000 | -0.003
| KASHMIRI GATE | [8 empty] | -0.6911 |  |  |  |  | -7.2858
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950112 | 950469 | -357 | 357000 | 0.357 | 945604 | 945635 | -31 | 31000 | 0.031
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959769 | 960263 | -494 | 494000 | 0.494 | 955059 | 955082 | -23 | 23000 | 0.023
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 455 | 425 | 30 | 9000 | 0.009
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 847 | 846 | 1 | 1000 | 0.001 | 7389 | 6780 | 609 | 609000 | 0.609
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73800 | 72786 | 1014 | -1014000 | -1.014 | 974928 | 974952 | -24 | 24000 | 0.024
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53445 | 53077 | 368 | -368000 | -0.368 | 970203 | 970319 | -116 | 116000 | 0.116
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994078 | 994081 | -3 | 3000 | 0.003 | 993843 | 994487 | -644 | 644000 | 0.644
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997524 | 997343 | 181 | -181000 | -0.181 | 999426 | 999530 | -104 | 104000 | 0.104
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4718 | 4784 | -66 | 132000 | 0.132 | 999529 | 999596 | -67 | 134000 | 0.134
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999190 | 999291 | -101 | 202000 | 0.202 | 999931 | 999932 | -1 | 2000 | 0.002
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998200 | 998891 | -691 | 691000 | 0.691 | 999919 | 999919 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 11770 | 11691 | 79 | 15800 | 0.0158 | 22183 | 21493 | 690 | 138000 | 0.138
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86052 | 86054 | -2 | -2000 | -0.002 | 120269 | 120121 | 148 | 148000 | 0.148
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 94568 | 94571 | -3 | -300 | -0.0003 | 961 | 1166 | -205 | -20500 | -0.0205
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 149698 | 149698 | 0 | 0 | 0 | 19562 | 17591 | 1971 | 197100 | 0.1971
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.22797 |  |  |  |  | -5.4291
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.22797 |  |  |  |  | -5.4291
APRIL-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981309 | 981319 | -10 | 10000 | 0.01 | 893419 | 895032 | -1613 | 1613000 | 1.613
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 1000000 | -1 | 1000 | 0.001 | 998264 | 1000000 | -1736 | 1736000 | 1.736
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980142 | 980160 | -18 | 18000 | 0.018 | 958888 | 960457 | -1569 | 1569000 | 1.569
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996362 | 996391 | -29 | 58000 | 0.058 | 983810 | 984041 | -231 | 462000 | 0.462
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996973 | 996918 | 55 | -55000 | -0.055 | 999681 | 999870 | -189 | 189000 | 0.189
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993736 | 993674 | 62 | -62000 | -0.062 | 999415 | 999589 | -174 | 174000 | 0.174
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8371 | 8257 | 114 | -114000 | -0.114 | 984027 | 984095 | -68 | 68000 | 0.068
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998151 | 998364 | -213 | 213000 | 0.213 | 999900 | 1000000 | -100 | 100000 | 0.1
[5 empty] | -1000 | [5 empty] | 996665 | 996664 | 1 | -1000 | -0.001
10 | 100MVA Tx.4 (33 KV) | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985787 | 985891 | -104 | 104000 | 0.104 | 938256 | 938363 | -107 | 107000 | 0.107 | Check Meter Data
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980141 | 980141 | 0 | 0 | 0 | 973502 | 973502 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959055 | 959008 | 47 | -47000 | -0.047 | 843037 | 845820 | -2783 | 2783000 | 2.783
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14946 | 14821 | 125 | -125000 | -0.125 | 34517 | 34566 | -49 | 49000 | 0.049
14 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22055 | 21957 | 98 | -98000 | -0.098 | 44344 | 44358 | -14 | 14000 | 0.014
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18880 | 18679 | 201 | -201000 | -0.201 | 994260 | 994313 | -53 | 53000 | 0.053
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.298 |  |  |  |  | 8.916
| (B) NET ENERGY TO EAST | [8 empty] | -0.298 |  |  |  |  | 8.916
APRIL-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864793 | ELSTER | Kvarh(Lead/Lag) | -200 | 998928 | 999324 | -396 | 79200 | 0.0792 | 999999 | 999999 | 0 | 0 | 0 | Check Meter Data
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5440 | 5428 | 12 | -6000 | -0.006 | 3362 | 3391 | -29 | 14500 | 0.0145
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54229 | 54122 | 107 | -21400 | -0.0214 | 81915 | 81638 | 277 | -55400 | -0.0554
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72501 | 72573 | -72 | 7200 | 0.0072 | 139850 | 139928 | -78 | 7800 | 0.0078
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976866 | 976821 | 45 | -9000 | -0.009 | 997535 | 997286 | 249 | -49800 | -0.0498
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 84978 | 84758 | 220 | -44000 | -0.044 | 102895 | 102434 | 461 | -92200 | -0.0922
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14722 | 14637 | 85 | -68000 | -0.068 | 7205 | 7150 | 55 | -44000 | -0.044
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14185 | 14153 | 32 | -64000 | -0.064 | 2941 | 2927 | 14 | -28000 | -0.028
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 977695 | 977798 | -103 | 82400 | 0.0824 | 989670 | 989706 | -36 | 28800 | 0.0288
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 997729 | 998179 | -450 | 360000 | 0.36 | 999867 | 999999 | -132 | 105600 | 0.1056
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 998115 | 998329 | -214 | 171200 | 0.1712 | 999949 | 999999 | -50 | 40000 | 0.04
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 984226 | 984423 | -197 | 157600 | 0.1576 | 994489 | 994524 | -35 | 28000 | 0.028
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983824 | 984082 | -258 | 258000 | 0.258 | 34976 | 35127 | -151 | 151000 | 0.151
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0 | Check mF
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2073 | 2073 | 0 | 0 | 0 | 25099 | 24877 | 222 | -222000 | -0.222
s | PUSA GRID-II | 4864830 | ELSTER | Kvarh(Lead/Lag) | -1000 | 169 | 169 | 0 | 0 | 0 | 999008 | 999139 | -131 | 131000 | 0.131 | Check Meter Data
|  | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 456 | 0 | 456 | -45600 | -0.0456 | w.e.f 27/04/2016
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5432 | 5432 | 0 | 0 | 0 | 33689 | 33448 | 241 | -120500 | -0.1205
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999891 | 999891 | 0 | 0 | 0 | 222 | 163 | 59 | -29500 | -0.0295
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 27 | 15 | 12 | -8000.04 | -0.008 | 8 | 0 | 8 | -5333.36 | -0.0053334
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2452 | 2435 | 17 | -11333.3333 | -0.011333 | 1103 | 1085 | 18 | -12000 | -0.012
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 185937 | 184001 | 1936 | -193600 | -0.1936 | 20599 | 20593 | 6 | -600 | -0.0006
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24466 | 24442 | 24 | -2400 | -0.0024 | 48045 | 47852 | 193 | -19300 | -0.0193
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998351 | 998356 | -5 | 500 | 0.0005 | 86 | 26 | 60 | -6000 | -0.006
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999749 | 999749 | 0 | 0 | 0 | 999974 | 999985 | -11 | 1100 | 0.0011
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23255 | 23146 | 109 | -10900 | -0.0109 | 57658 | 57265 | 393 | -39300 | -0.0393
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999988 | -1 | 100 | 0.0001
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1843 | 1873 | -30 | 3000 | 0.003 | 2897 | 2630 | 267 | -26700 | -0.0267
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27017 | 26955 | 62 | -6200 | -0.0062 | 66662 | 66501 | 161 | -16100 | -0.0161
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 4692 | 4547 | 145 | -14500 | -0.0145 | 344 | 109 | 235 | -23500 | -0.0235
[10 empty] | 0.65977 |  |  |  |  | -0.32793
APRIL-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.22797 |  |  |  |  | -5.4291
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.65977 |  |  |  |  | -0.32793
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.82112 |  |  |  |  | 0.0032
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.38932 |  |  |  |  | -5.7538
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.298 |  |  |  |  | 8.916
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.68732 |  |  |  |  | 3.1622
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.68732 | (REACTIVE MUs) |  |  |  | 3.1622 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.40583 | (REACTIVE MUs) |  |  |  | -1.6827 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.2815 | (REACTIVE MUs) |  |  |  | 1.4794 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999710 | 999710 | 0 | 0 | 0 | 999769 | 999829 | -60 | -300000 | -0.3
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984294 | 984227 | 67 | 89333.11 | 0.089333 | 673020 | 673018 | 2 | 2666.66 | 0.0026667
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10010 | 10010 | 0 | 0 | 0 | 71088 | 71084 | 4 | 20000 | 0.02 | Data till 18/04
|  | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1004 | 985 | 19 | 19000 | 0.019 | 1893 | 1884 | 9 | 9000 | 0.009 | Check Meter Data
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14943 | 14830 | 113 | 113000 | 0.113 | 99 | 58 | 41 | 41000 | 0.041
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10075 | 9757 | 318 | 31800 | 0.0318 | 1116 | 603 | 513 | 51300 | 0.0513
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 705128 | 703167 | 1961 | 147075 | 0.14708 | 26722 | 26937 | -215 | -16125 | -0.016125
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 989592 | 989947 | -355 | -26625 | -0.026625 | 997942 | 998551 | -609 | -45675 | -0.045675
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997397 | 997456 | -59 | -53100 | -0.0531 | 998305 | 998446 | -141 | -126900 | -0.1269
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 2380 | 2380 | 0 | 0 | 0 | 994659 | 994659 | 0 | 0 | 0
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988807 | 988804 | 3 | -3000 | -0.003 | 948018 | 948085 | -67 | 67000 | 0.067
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996328 | 996121 | 207 | -207000 | -0.207 | 996305 | 996155 | 150 | -150000 | -0.15
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 780 | 512 | 268 | -268000 | -0.268 | 1000123 | 999998 | 125 | -125000 | -0.125
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998395 | 998395 | 0 | 0 | 0 | 998410 | 999979 | -1569 | 1569000 | 1.569
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981943 | 981942 | 1 | -1000 | -0.001 | 969683 | 969967 | -284 | 284000 | 0.284
16 | Tx.2 | 5128440 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50260 | 50254 | 6 | -6000 | -0.006 | 983841 | 983575 | 266 | -266000 | -0.266 | Check Meter Data
|  | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 173 | 0 | 173 | -173000 | -0.173 | w.e.f 25/04/2016
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36600 | 36600 | 0 | 0 | 0 | 991806 | 992396 | -590 | 590000 | 0.59
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72 | 72 | 0 | 0 | 0 | 999652 | 999999 | -347 | 347000 | 0.347
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 595 | 627 | -32 | 16000 | 0.016 | 996187 | 996461 | -274 | 137000 | 0.137
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996554 | 995981 | 573 | -573000 | -0.573 | 995461 | 995523 | -62 | 62000 | 0.062
21 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19968 | 20086 | -118 | 118000 | 0.118 | 1127 | 1313 | -186 | 186000 | 0.186
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12610 | 12075 | 535 | -535000 | -0.535 | 999665 | 999725 | -60 | 60000 | 0.06
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13849 | 13847 | 2 | 2000 | 0.002 | 7865 | 7863 | 2 | 2000 | 0.002
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985826 | 985908 | -82 | 82000 | 0.082 | 993188 | 993408 | -220 | 220000 | 0.22
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993450 | 993474 | -24 | 24000 | 0.024 | 993880 | 994296 | -416 | 416000 | 0.416
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995466 | 995875 | -409 | 409000 | 0.409 | 996904 | 997140 | -236 | 236000 | 0.236
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990795 | 991061 | -266 | 266000 | 0.266 | 941896 | 942426 | -530 | 530000 | 0.53
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999680 | 999622 | 58 | -58000 | -0.058 | 36989 | 37024 | -35 | 35000 | 0.035
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999002 | 999425 | -423 | 423000 | 0.423 | 998083 | 998110 | -27 | 27000 | 0.027
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996173 | 996319 | -146 | 146000 | 0.146 | 864419 | 864737 | -318 | 318000 | 0.318
BRPL(+) continue | [14 empty] | APRIL-2016
VASANT KUNJ
31 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996150 | 996009 | 141 | -141000 | -0.141 | 972326 | 972327 | -1 | 1000 | 0.001
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 998018 | 997666 | 352 | -176000 | -0.176 | 999207 | 999218 | -11 | 5500 | 0.0055 | MF Change
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7715 | 7674 | 41 | -82000 | -0.082 | 969690 | 969686 | 4 | -8000 | -0.008
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994026 | 994026 | 0 | 0 | 0 | 906122 | 906164 | -42 | 42000 | 0.042
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994500 | 994500 | 0 | 0 | 0 | 927516 | 927516 | 0 | 0 | 0
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997916 | 997915 | 1 | -1000 | -0.001 | 991237 | 991270 | -33 | 33000 | 0.033
37 | Tx.4 | 5128469 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977107 | 977107 | 0 | 0 | 0 | 981147 | 981151 | -4 | 4000 | 0.004 | data till 06/04
|  | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 0 | 23 | -23000 | -0.023 | 999953 | 1000000 | -47 | 47000 | 0.047 | w.e.f 07/04/2016
|  | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 18376 | 18363 | 13 | -13000 | -0.013
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 970008 | 970021 | -13 | 8666.658 | 0.0086667 | 976732 | 977045 | -313 | 208666.458 | 0.20867
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992017 | 992148 | -131 | 327500 | 0.3275 | 477 | 482 | -5 | 12500 | 0.0125
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4694 | 4689 | 5 | -10000 | -0.01 | 2035 | 2025 | 10 | -20000 | -0.02
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1588 | 1580 | 8 | -16000 | -0.016 | 1077 | 1069 | 8 | -16000 | -0.016
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921554 | 922523 | -969 | 969000 | 0.969 | 988342 | 988355 | -13 | 13000 | 0.013
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929784 | 930662 | -878 | 878000 | 0.878 | 991898 | 991920 | -22 | 22000 | 0.022
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30611 | 30628 | -17 | -13600 | -0.0136 | 1704 | 1684 | 20 | 16000 | 0.016
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905818 | 905880 | -62 | -49600 | -0.0496 | 999513 | 999531 | -18 | -14400 | -0.0144
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999891 | 999896 | -5 | -4000 | -0.004 | 999997 | 999999 | -2 | -1600 | -0.0016
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999944 | 999934 | 10 | 10000 | 0.01 | 1000010 | 999999 | 11 | 11000 | 0.011
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983824 | 984082 | -258 | -258000 | -0.258 | 34976 | 35127 | -151 | -151000 | -0.151
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37916 | 37652 | 264 | -264000 | -0.264 | 973313 | 973272 | 41 | -41000 | -0.041
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2675 | 2670 | 5 | -5000 | -0.005 | 95 | 46 | 49 | -49000 | -0.049
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14085 | 13360 | 725 | -725000 | -0.725 | 1000023 | 999999 | 24 | -24000 | -0.024
NARAINA
55 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 23333 | 23207 | 126 | 12600 | 0.0126 | 23361 | 21670 | 1691 | 169100 | 0.1691
SUDARSHAN PARK
56 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 19676 | 20235 | -559 | -55900 | -0.0559 | 142789 | 142791 | -2 | -200 | -0.0002 | Check Meter Data
REWARI LINE
57 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
58 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | 800 | 994364 | 995232 | -868 | -694400 | -0.6944 | 999982 | 999999 | -17 | -13600 | -0.0136
A.I.I.M.S.
59 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 3554 | 3540 | 14 | 1050 | 0.00105 | 7505 | 7102 | 403 | 30225 | 0.030225
60 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1042 | 1036 | 6 | 600 | 0.0006 | 1820 | 1596 | 224 | 22400 | 0.0224
PEERGARHI
61 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999953 | 999952 | 1 | 1000 | 0.001 | 188 | 7 | 181 | 181000 | 0.181
62 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 470 | -7 | -7000 | -0.007 | 263 | 170 | 93 | 93000 | 0.093
63 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998409 | 998414 | -5 | -5000 | -0.005 | 50 | 78 | -28 | -28000 | -0.028
64 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1246 | 1245 | 1 | 1000 | 0.001 | 780 | 554 | 226 | 226000 | 0.226
65 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
66 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998883 | 998918 | -35 | -3500 | -0.0035 | 441 | 163 | 278 | 27800 | 0.0278
67 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 520 | 529 | -9 | -9000 | -0.009 | 93 | 43 | 50 | 50000 | 0.05
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.1781 |  |  |  |  | 4.8427
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 139013 | 135361 | 3652 | -365200 | -0.3652 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 94568 | 94571 | -3 | 300 | 0.0003 | 961 | 1166 | -205 | 20500 | 0.0205
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 149698 | 149698 | 0 | 0 | 0 | 19562 | 17591 | 1971 | -197100 | -0.1971
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996367 | 996367 | 0 | 0 | 0 | 189 | 134 | 55 | -5500 | -0.0055
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6305 | 6307 | -2 | 4000 | 0.004 | 73938 | 73946 | -8 | 16000 | 0.016
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14823 | 14819 | 4 | -4000 | -0.004 | 422 | 284 | 138 | -138000 | -0.138
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906622 | 906622 | 0 | 0 | 0 | 58070 | 57005 | 1065 | -532500 | -0.5325
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79278 | 79218 | 60 | -6000 | -0.006 | 68584 | 68424 | 160 | -16000 | -0.016
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 87542 | 87424 | 118 | -11800 | -0.0118 | 67375 | 66999 | 376 | -37600 | -0.0376
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 17533 | 17445 | 88 | -8800 | -0.0088 | 11637 | 10710 | 927 | -92700 | -0.0927
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999574 | 999574 | 0 | 0 | 0 | 17076 | 17076 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987086 | 987086 | 0 | 0 | 0 | 993178 | 993178 | 0 | 0 | 0
|  | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/04/2016
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 382998 | 376813 | 6185 | -618500 | -0.6185 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4091 | 4091 | 0 | 0 | 0 | 23741 | 23741 | 0 | 0 | 0
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 177176 | 177506 | -330 | 41250 | 0.04125 | 260987 | 261611 | -624 | 78000 | 0.078
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9225 | 9225 | 0 | 0 | 0 | 35387 | 32515 | 2872 | -287200 | -0.2872
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11370 | 11370 | 0 | 0 | 0 | 66598 | 64564 | 2034 | -203400 | -0.2034
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 589 | 496 | 93 | -9300 | -0.0093 | 3055 | 1314 | 1741 | -174100 | -0.1741
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 10799 | 10786 | 13 | -1300 | -0.0013 | 8073 | 6387 | 1686 | -168600 | -0.1686
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16101 | 16113 | -12 | 1200 | 0.0012 | 21368 | 21259 | 109 | -10900 | -0.0109
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 991086 | 991106 | -20 | 888.8 | 0.0008888 | 545 | 732 | -187 | 8310.28 | 0.0083103
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995602 | 995602 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.97726 |  |  |  |  | -1.7408
APRIL-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.1781 |  |  |  |  | 4.8427
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.97726 |  |  |  |  | -1.7408
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.99262 |  |  |  |  | 0.21631
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.629
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.16274 |  |  |  |  | 2.6892
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.16274 | (REACTIVE MUs) |  |  |  | 2.6892 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.71661 | (REACTIVE MUs) |  |  |  | -2.9714 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.55387 | (REACTIVE MUs) |  |  |  | -0.28221 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54229 | 54122 | 107 | 21400 | 0.0214 | 81915 | 81638 | 277 | 55400 | 0.0554
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72501 | 72573 | -72 | -7200 | -0.0072 | 139850 | 139928 | -78 | -7800 | -0.0078
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976866 | 976821 | 45 | 9000 | 0.009 | 997535 | 997286 | 249 | 49800 | 0.0498
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 84978 | 84758 | 220 | 44000 | 0.044 | 102895 | 102434 | 461 | 92200 | 0.0922
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14722 | 14637 | 85 | 68000 | 0.068 | 7205 | 7150 | 55 | 44000 | 0.044
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14185 | 14153 | 32 | 64000 | 0.064 | 2941 | 2927 | 14 | 28000 | 0.028
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 977695 | 977798 | -103 | -82400 | -0.0824 | 989670 | 989706 | -36 | -28800 | -0.0288
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 997729 | 998179 | -450 | -360000 | -0.36 | 999867 | 999999 | -132 | -105600 | -0.1056
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 998115 | 998329 | -214 | -171200 | -0.1712 | 999949 | 999999 | -50 | -40000 | -0.04
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 984226 | 984423 | -197 | -157600 | -0.1576 | 994489 | 994524 | -35 | -28000 | -0.028
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 4774 | 4651 | 123 | 12300 | 0.0123 | 400312 | 399100 | 1212 | 121200 | 0.1212
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 988792 | 988235 | 557 | 41775 | 0.041775 | 4153 | 3512 | 641 | 48075 | 0.048075
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 25216 | 24994 | 222 | 22200 | 0.0222 | 379265 | 378292 | 973 | 97300 | 0.0973
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998637 | 998679 | -42 | -15750 | -0.01575 | 999727 | 999819 | -92 | -34500 | -0.0345
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 991035 | 991063 | -28 | -2800 | -0.0028 | 315452 | 315388 | 64 | 6400 | 0.0064
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 4278 | 3869 | 409 | 40900 | 0.0409 | 198241 | 196509 | 1732 | 173200 | 0.1732
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 7123 | 7389 | -266 | -26600 | -0.0266 | 258062 | 258236 | -174 | -17400 | -0.0174
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 68259 | 68534 | -275 | -27500 | -0.0275 | 713798 | 713966 | -168 | -16800 | -0.0168
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 98474 | 98256 | 218 | 239800 | 0.2398
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000009 | 999984 | 25 | 25000 | 0.025 | 42506 | 42464 | 42 | 42000 | 0.042
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146376 | 146581 | -205 | -225500 | -0.2255
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2881 | 2937 | -56 | -56000 | -0.056 | 56379 | 56337 | 42 | 42000 | 0.042
[10 empty] | -0.031 |  |  |  |  | 0.0983
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6305 | 6307 | -2 | -4000 | -0.004 | 73938 | 73946 | -8 | -16000 | -0.016
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14823 | 14819 | 4 | 4000 | 0.004 | 422 | 284 | 138 | 138000 | 0.138
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906622 | 906622 | 0 | 0 | 0 | 58070 | 57005 | 1065 | 532500 | 0.5325
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999574 | 999574 | 0 | 0 | 0 | 17076 | 17076 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987086 | 987086 | 0 | 0 | 0 | 993178 | 993178 | 0 | 0 | 0
|  | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/04/2016
APRIL-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951810 | 953637 | -1827 | 1827000 | 1.827 | 973046 | 973046 | 0 | 0 | 0
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987522 | 989302 | -1780 | 1780000 | 1.78 | 997074 | 997074 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965229 | 966304 | -1075 | 1075000 | 1.075 | 981319 | 981319 | 0 | 0 | 0
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980159 | 981281 | -1122 | 1122000 | 1.122 | 993117 | 993117 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 382998 | 376813 | 6185 | 618500 | 0.6185 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4091 | 4091 | 0 | 0 | 0 | 23741 | 23741 | 0 | 0 | 0
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79278 | 79218 | 60 | 6000 | 0.006 | 68584 | 68424 | 160 | 16000 | 0.016
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 87542 | 87424 | 118 | 11800 | 0.0118 | 67375 | 66999 | 376 | 37600 | 0.0376
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 17533 | 17445 | 88 | 8800 | 0.0088 | 11637 | 10710 | 927 | 92700 | 0.0927
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 139013 | 135361 | 3652 | 365200 | 0.3652 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 3554 | 3540 | 14 | -1050 | -0.00105 | 7505 | 7102 | 403 | -30225 | -0.030225
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1042 | 1036 | 6 | -600 | -0.0006 | 1820 | 1596 | 224 | -22400 | -0.0224
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.2542 |  |  |  |  | 1.2832
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.2542 |  |  |  |  | 1.2832
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.09354 |  |  |  |  | -0.38786
| TOTAL ENERGY TO NDMC | [8 empty] | 6.3477 |  |  |  |  | 0.89529

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2479 | 2479 | 0 | 0 | 0 | 32653 | 31894 | 759 | 759000 | 0.759
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 33478 | 32771 | 707 | 707000 | 0.707
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3949 | 0 | 0 | 0 | 42144 | 40954 | 1190 | 1190000 | 1.19
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 17546 | 16051 | 1495 | 199332.835 | 0.19933
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5567 | 5568 | -1 | -1000 | -0.001 | 11077 | 11029 | 48 | 48000 | 0.048
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12642 | 12642 | 0 | 0 | 0 | 61142 | 60852 | 290 | 145000 | 0.145
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996367 | 996367 | 0 | 0 | 0 | 189 | 134 | 55 | 5500 | 0.0055
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.001 |  |  |  |  | 3.0538
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34371 | 34364 | 7 | 700 | 0.0007
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55442 | 55442 | 0 | 0 | 0 | 83298 | 81180 | 2118 | 211800 | 0.2118
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76641 | 76641 | 0 | 0 | 0 | 14197 | 14197 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 55535 | 55535 | 0 | 0 | 0 | 88864 | 84699 | 4165 | 416500 | 0.4165
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 596 | 596 | 0 | 0 | 0 | 585 | 585 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9847 | 9847 | 0 | 0 | 0 | 3198 | 3198 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0.629
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.629
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.001 |  |  |  |  | 3.0538
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.001 |  |  |  |  | 3.6828
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.001 | (REACTIVE MUs) |  |  |  | 3.6828 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.012746 | (REACTIVE MUs) |  |  |  | -0.05285 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.011746 | (REACTIVE MUs) |  |  |  | 3.63 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 5213 | 7955 | -2742 | -274200 | -0.2742 | 2464 | 2464 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 16154 | 8100 | 8054 | 805400 | 0.8054 | 6 | 6 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 2640 | 2075 | 565 | 282500 | 0.2825 | 999985 | 999982 | 3 | 1500 | 0.0015
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 38668 | 38968 | -300 | -281250 | -0.28125 | 19104 | 19104 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864826 | ELSTER | Kvarh(Lead/Lag) | -66.67 | 997500 | 997525 | -25 | 1666.75 | 0.0016668 | 995144 | 998366 | -3222 | 214810.74 | 0.21481
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 984523 | 985440 | -917 | 458500 | 0.4585 | 976500 | 976500 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.99262 |  |  |  |  | 0.21631
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 993767 | 992767 | 1000 | 200000 | 0.2 | 999949 | 999933 | 16 | 3200 | 0.0032
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 924947 | 927670 | -2723 | -1021125 | -1.0211 | 997626 | 997626 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.82112 |  |  |  |  | 0.0032
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 280667 | 279417 | 1250 | 250000 | 0.25 | 266027 | 266017 | 10 | 2000 | 0.002
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 62746 | 56901 | 5845 | 584500 | 0.5845 | 190 | 0 | 190 | 19000 | 0.019
[5 empty] | 100 | 10168 | 5375 | 4793 | 479300 | 0.4793
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 24856 | 8658 | 16198 | 1012375 | 1.0124 | 238 | 0 | 238 | 14875 | 0.014875
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 909 | 665 | 244 | 244000 | 0.244 | 999979 | 999983 | -4 | -4000 | -0.004
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997749 | 997809 | -60 | -6000 | -0.006 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999045 | 999034 | 11 | 1650 | 0.00165 | 882 | 525 | 357 | 53550 | 0.05355
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999249 | 999444 | -195 | 487500 | 0.4875 | 3072 | 3072 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 3.0533 |  |  |  |  | 0.085425
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.99262 |  |  |  |  | 0.21631
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.82112 |  |  |  |  | 0.0032
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 3.0533 |  |  |  |  | 0.085425

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 26642 | 26009 | 633 | 1266000 | 1.266 | 1616 | 1617 | -1 | -2000 | -0.002
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 2077 | 1839 | 238 | 1190000 | 1.19 | 34 | 34 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 2.456 |  | NET REACTIVE ENERGY |  |  | -0.002
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.456 |  |  |  |  | -0.002
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.6911 |  |  |  |  | -7.2858
[7 empty] | NDMC = |  |  | -0.031 |  |  |  |  | 0.0983
MES =
[7 empty] | 2)TOTAL |  |  | -0.7221 |  |  |  |  | -7.1875
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.7339 |  |  |  |  | -7.1895
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.1352 | % |  |  | 0.50518 |  |  |  |  | -2.0947
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.3294 | % |  |  | 0.71661 |  |  |  |  | -2.9714
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4055 | % |  |  | 0.40583 |  |  |  |  | -1.6827
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3948 | % |  |  | 0.09354 |  |  |  |  | -0.38786
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7351 | % |  |  | 0.012746 |  |  |  |  | -0.05285
Note :Sharing taken from wk-04abt bill 2016-17

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st April-2016 TO 1st May-2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 1.5869 |  | -2.7355
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 0.55387 |  | -0.28221
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.2815 | + | 1.4794
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.3477 | + | 0.89529
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.011746 | + | 3.63
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2016 | INTIAL READING 01/04/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953912 | 953750 | 162 | 243000 | 0.243 | 979229 | 979232 | -3 | -4500 | -0.0045
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992542 | 992943 | -401 | -601500 | -0.6015 | 992897 | 992897 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 895353 | 897457 | -2104 | -1578000 | -1.578 | 999301 | 999301 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -1.9365 |  |  | NET REACTIVE ENERGY |  | -0.0045
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 375 | 999463 | 999480 | -17 | -6375 | -0.006375 | 3153 | 2965 | 188 | 70500 | 0.0705 | check meter data
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999960 | 999960 | 0 | 0 | 0 | 976347 | 975900 | 447 | 447000 | 0.447
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 978475 | 978843 | -368 | -368000 | -0.368 | 992009 | 991524 | 485 | 485000 | 0.485
[8 empty] | NET REACTIVE ENERGY |  | -0.37438 |  |  | NET REACTIVE ENERGY |  | 1.0025