## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991975 | 992899 | -924 | 924000 | 0.924 | 999251 | 999267 | -16 | 16000 | 0.016
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18630 | 18069 | 561 | -561000 | -0.561 | 999112 | 998378 | 734 | -734000 | -0.734
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957521 | 958616 | -1095 | 1095000 | 1.095 | 995662 | 995705 | -43 | 43000 | 0.043
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998355 | 998357 | -2 | 2000 | 0.002 | 969369 | 971127 | -1758 | 1758000 | 1.758
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998706 | 999274 | -568 | 568000 | 0.568 | 999694 | 999865 | -171 | 171000 | 0.171
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24592 | 24531 | 61 | -61000 | -0.061 | 17076 | 17123 | -47 | 47000 | 0.047
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 527 | 480 | 47 | -47000 | -0.047 | 999145 | 999196 | -51 | 51000 | 0.051
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999378 | 999381 | -3 | 3000 | 0.003 | 998480 | 998797 | -317 | 317000 | 0.317
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986705 | 986747 | -42 | 42000 | 0.042 | 979489 | 979894 | -405 | 405000 | 0.405
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999695 | 999711 | -16 | 16000 | 0.016 | 999697 | 999797 | -100 | 100000 | 0.1
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 110 | 76 | 34 | -34000 | -0.034 | 999579 | 999788 | -209 | 209000 | 0.209
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999001 | 999065 | -64 | 64000 | 0.064 | 999169 | 999473 | -304 | 304000 | 0.304
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 915261 | 917463 | -2202 | -2202000 | -2.202 | 999981 | 999983 | -2 | -2000 | -0.002
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982842 | 983125 | -283 | 283000 | 0.283 | 16762 | 16814 | -52 | 52000 | 0.052
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9359 | 9495 | -136 | 136000 | 0.136 | 20523 | 20529 | -6 | 6000 | 0.006
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17891 | 17835 | 56 | -56000 | -0.056 | 282 | 261 | 21 | -21000 | -0.021
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 998779 | 999359 | -580 | -580000 | -0.58
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 795 | 795 | 0 | 0 | 0 | 25526 | 25805 | -279 | -279000 | -0.279
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 655 | 655 | 0 | 0 | 0 | 1939 | 1087 | 852 | 426000 | 0.426
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 127754 | 127537 | 217 | 21700 | 0.0217 | 279349 | 271949 | 7400 | 740000 | 0.74
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996190 | 996190 | 0 | 0 | 0 | 989050 | 989890 | -840 | -840000 | -0.84
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999039 | 999531 | -492 | -492000 | -0.492
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 78671 | 77197 | 1474 | 147400 | 0.1474 | 21989 | 17212 | 4777 | 477700 | 0.4777
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625460 | 625621 | -161 | -161000 | -0.161 | 796032 | 796079 | -47 | -47000 | -0.047
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 610617 | 611015 | -398 | -398000 | -0.398 | 829226 | 829247 | -21 | -21000 | -0.021
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 506 | 458 | 48 | 19200 | 0.0192 | 998762 | 998990 | -228 | -91200 | -0.0912
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5979 | 5979 | 0 | 0 | 0 | 2074 | 2288 | -214 | -107000 | -0.107
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 181 | 242 | -61 | 61000 | 0.061 | 998344 | 998859 | -515 | 515000 | 0.515
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15690 | 15698 | -8 | 8000 | 0.008 | 996355 | 996621 | -266 | 266000 | 0.266
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11208 | 11030 | 178 | -178000 | -0.178 | 999906 | 999731 | 175 | -175000 | -0.175
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2543 | 2211 | 332 | -664000 | -0.664 | 131 | 162 | -31 | 62000 | 0.062
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21265 | 20347 | 918 | -918000 | -0.918 | 998962 | 998963 | -1 | 1000 | 0.001
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44166 | 42733 | 1433 | -1433000 | -1.433 | 2430 | 2412 | 18 | -18000 | -0.018
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12334 | 12326 | 8 | -8000 | -0.008 | 999141 | 998664 | 477 | -477000 | -0.477
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5184 | 5172 | 12 | -12000 | -0.012 | 431 | 144 | 287 | -287000 | -0.287
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993216 | 993159 | 57 | -57000 | -0.057 | 998727 | 998727 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15810 | 16076 | -266 | 266000 | 0.266 | 1378 | 1391 | -13 | 13000 | 0.013
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1974 | 1971 | 3 | 3000 | 0.003 | 27701 | 27526 | 175 | 175000 | 0.175
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3799 | 3928 | -129 | -12900 | -0.0129 | 26232 | 24343 | 1889 | 188900 | 0.1889
| NDPL(+) continue | [14 empty] | JUNE -2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998262 | 998395 | -133 | -55415.78 | -0.055416 | 999564 | 1000255 | -691 | -287912.06 | -0.28791
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9125 | 9126 | -1 | -100 | -0.0001 | 37903 | 37969 | -66 | -6600 | -0.0066
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12192 | 12183 | 9 | 900 | 0.0009 | 75041 | 73586 | 1455 | 145500 | 0.1455
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 861 | 754 | 107 | 10700 | 0.0107 | 16125 | 15502 | 623 | 62300 | 0.0623
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 116 | 103 | 13 | 17329 | 0.017329 | 144 | 95 | 49 | 65317 | 0.065317
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999093 | 999093 | 0 | 0 | 0 | 10784 | 8131 | 2653 | 265300 | 0.2653
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5626 | 0 | 0 | 0 | 34887 | 34887 | 0 | 0 | 0
[15 empty] | 0.039 | Assessment
|  | 4865088 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 889 | 0 | 889 | 88900 | 0.0889 | w.e.f 05/06/17
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999934 | 999934 | 0 | 0 | 0 | 532 | 493 | 39 | 19500 | 0.0195
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 329 | 329 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 3248 | 3109 | 139 | 92666.6667 | 0.092667 | 1408 | 1376 | 32 | 21333.3333 | 0.021333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997536 | 997556 | -20 | -2000 | -0.002 | 2032 | 1932 | 100 | 10000 | 0.01
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999751 | -3 | -300 | -0.0003 | 999983 | 999997 | -14 | -1400 | -0.0014
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23989 | 24014 | -25 | -2500 | -0.0025 | 57896 | 57914 | -18 | -1800 | -0.0018
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1599 | 1552 | 47 | 4700 | 0.0047 | 7071 | 6021 | 1050 | 105000 | 0.105
64 | TIBIA COLLEGE-2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 2077 | 1690 | 387 | 38700 | 0.0387 | 405 | 43 | 362 | 36200 | 0.0362
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 12359 | 11563 | 796 | 79600 | 0.0796 | 4610 | 3963 | 647 | 64700 | 0.0647
KASHMIRI GATE
66 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 4054 | 3782 | 272 | 27200 | 0.0272 | 1832 | 959 | 873 | 87300 | 0.0873
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25008 | 24944 | 64 | 6400 | 0.0064 | 51248 | 51167 | 81 | 8100 | 0.0081
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 62 | 62 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999888 | 999888 | 0 | 0 | 0 | 999995 | 999998 | -3 | -1200 | -0.0012
MUNDKA
71 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 395 | 412 | -17 | 17000 | 0.017 | 0 | 0 | 0 | 0 | 0
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1203 | 1240 | -37 | -74000 | -0.074 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 1971 | 1885 | 86 | 8600 | 0.0086 | 1000785 | 999759 | 1026 | 102600 | 0.1026 | Data till 28/06
|  | 5269783 | ELSTER | Kvarh(Lead/Lag) | 1000 | 825 | 824 | 1 | 1000 | 0.001 | 4043 | 4002 | 41 | 41000 | 0.041 | Check Meter Data
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.9741 |  |  |  |  | 2.9945
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 8502 | 6688 | 1814 | -181400 | -0.1814 | 31840 | 30071 | 1769 | -176900 | -0.1769
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -1250 | 2 | 2 | 0 | 0 | 0 | 1002 | 443 | 559 | -698750 | -0.69875
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999969 | 999983 | -14 | 14000 | 0.014 | 252 | 98 | 154 | -154000 | -0.154
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86959 | 86947 | 12 | -12000 | -0.012 | 123969 | 123758 | 211 | -211000 | -0.211
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 969245 | 969357 | -112 | 5600 | 0.0056 | 1659 | 1765 | -106 | 5300 | 0.0053 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 22 | 13 | 9 | -9000 | -0.009
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 987499 | 987798 | -299 | 239200 | 0.2392 | 999236 | 999414 | -178 | 142400 | 0.1424
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.0654 |  |  |  |  | -1.1019
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.9741 |  |  |  |  | 2.9945
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.0654 |  |  |  |  | -1.1019
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.19331 |  |  |  |  | 1.9759
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -2.7154 |  |  |  |  | 3.8685
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.7154 | (REACTIVE MUs) |  |  |  | 3.8685 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.1504 | (REACTIVE MUs) |  |  |  | -0.040432 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.565 | (REACTIVE MUs) |  |  |  | 3.828 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE -2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13493 | 13513 | -20 | -2000 | -0.002 | 999311 | 1000285 | -974 | -97400 | -0.0974
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8215 | 8221 | -6 | -1800 | -0.0018 | 5722 | 5697 | 25 | 7500 | 0.0075
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 24628 | 24504 | 124 | 9300 | 0.0093 | 119693 | 116177 | 3516 | 263700 | 0.2637
[5 empty] | 75 | [5 empty] | 64581 | 51555 | 13026 | 976950 | 0.97695
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999200 | 999201 | -1 | -300 | -0.0003 | 4619 | 4161 | 458 | 137400 | 0.1374
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1810 | 1810 | 0 | 0 | 0 | 3029 | 2995 | 34 | 45332.2 | 0.045332
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34144 | 34145 | -1 | -100 | -0.0001 | 160264 | 157411 | 2853 | 285300 | 0.2853
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 8395 | 8432 | -37 | -2775 | -0.002775 | 35544 | 35502 | 42 | 3150 | 0.00315
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988300 | 988277 | 23 | 23000 | 0.023 | 2140 | 1892 | 248 | 248000 | 0.248
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996869 | 996870 | -1 | -1000 | -0.001 | 3671 | 3530 | 141 | 141000 | 0.141
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999004 | 998943 | 61 | 61000 | 0.061 | 1363 | 1005 | 358 | 358000 | 0.358
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995056 | 995058 | -2 | -2000 | -0.002 | 1479 | 1631 | -152 | -152000 | -0.152
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993546 | 993579 | -33 | -33000 | -0.033 | 5644 | 5427 | 217 | 217000 | 0.217
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997341 | 997352 | -11 | -11000 | -0.011 | 998819 | 999105 | -286 | -286000 | -0.286
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999397 | 999397 | 0 | 0 | 0 | 1000012 | 999797 | 215 | 215000 | 0.215
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999071 | 999027 | 44 | 35200 | 0.0352 | 2149 | 1504 | 645 | 516000 | 0.516
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999473 | 999470 | 3 | 3000 | 0.003 | 31947 | 31149 | 798 | 798000 | 0.798
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1508 | 1509 | -1 | -1000 | -0.001 | 9643 | 9662 | -19 | -19000 | -0.019
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1781 | 1700 | 81 | 81000 | 0.081 | 16782 | 16183 | 599 | 599000 | 0.599
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 996288 | 996496 | -208 | -286000 | -0.286 | 951840 | 951954 | -114 | -156750 | -0.15675
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 988458 | 991656 | -3198 | -3198000 | -3.198
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973583 | 973759 | -176 | -176000 | -0.176 | 7647 | 7718 | -71 | -71000 | -0.071
| KASHMIRI GATE | [8 empty] | -0.3068 |  |  |  |  | -0.79075
22 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946769 | 946771 | -2 | 2000 | 0.002 | 940828 | 940659 | 169 | -169000 | -0.169
23 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958547 | 958540 | 7 | -7000 | -0.007 | 953764 | 954251 | -487 | 487000 | 0.487
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999994 | 999994 | 0 | 0 | 0 | 5228 | 3599 | 1629 | 1629000 | 1.629
PARK STREET
26 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 20674 | 20626 | 48 | -24000 | -0.024 | 1206 | 1288 | -82 | 41000 | 0.041
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11339 | 11325 | 14 | -14000 | -0.014 | 98 | 21 | 77 | -77000 | -0.077
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992568 | 992605 | -37 | 37000 | 0.037 | 992160 | 992598 | -438 | 438000 | 0.438
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997348 | 997310 | 38 | -38000 | -0.038 | 999077 | 999224 | -147 | 147000 | 0.147
HARSH VIHAR
30 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8168 | 8262 | -94 | 188000 | 0.188 | 996481 | 996891 | -410 | 820000 | 0.82
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992 | 1198 | -206 | 206000 | 0.206 | 268 | 482 | -214 | 214000 | 0.214
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998130 | 998651 | -521 | 521000 | 0.521 | 999685 | 999779 | -94 | 94000 | 0.094
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999969 | 999983 | -14 | -14000 | -0.014 | 252 | 98 | 154 | 154000 | 0.154
34 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86959 | 86947 | 12 | 12000 | 0.012 | 123969 | 123758 | 211 | 211000 | 0.211
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 998066 | 998066 | 0 | 0 | 0 | 1141 | 1141 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151257 | 151254 | 3 | 300 | 0.0003 | 53366 | 52962 | 404 | 40400 | 0.0404
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999982 | 999997 | -15 | 15000 | 0.015 | 999990 | 999990 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999808 | 999913 | -105 | 105000 | 0.105 | 999930 | 999977 | -47 | 47000 | 0.047
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.56483 |  |  |  |  | 4.8606
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.56483 |  |  |  |  | 4.8606
JUNE -2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979359 | 979511 | -152 | 152000 | 0.152 | 880376 | 882117 | -1741 | 1741000 | 1.741
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993701 | 993836 | -135 | 135000 | 0.135 | 964528 | 965344 | -816 | 816000 | 0.816
[5 empty] | -1000 | [5 empty] | 972088 | 973193 | -1105 | 1105000 | 1.105
3 | Tx.3 | 5295177 | ELSTER | Kvarh(Lead/Lag) | -500 | 914344 | 914743 | -399 | 199500 | 0.1995 | 991859 | 991963 | -104 | 52000 | 0.052
[5 empty] | -500 | [5 empty] | 994291 | 997435 | -3144 | 1572000 | 1.572
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991379 | 991554 | -175 | 350000 | 0.35 | 972795 | 974076 | -1281 | 2562000 | 2.562
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998974 | 998849 | 125 | -125000 | -0.125 | 999356 | 999702 | -346 | 346000 | 0.346
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995213 | 995078 | 135 | -135000 | -0.135 | 998779 | 999048 | -269 | 269000 | 0.269
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2992 | 2126 | 866 | -866000 | -0.866 | 999688 | 999903 | -215 | 215000 | 0.215
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983777 | 983797 | -20 | 20000 | 0.02 | 969229 | 969809 | -580 | 580000 | 0.58
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989281 | 989325 | -44 | 44000 | 0.044 | 994629 | 995381 | -752 | 752000 | 0.752
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979295 | 979493 | -198 | 198000 | 0.198 | 963757 | 964359 | -602 | 602000 | 0.602
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959611 | 959603 | 8 | -8000 | -0.008 | 830237 | 832499 | -2262 | 2262000 | 2.262
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16269 | 16623 | -354 | 354000 | 0.354 | 33714 | 33877 | -163 | 163000 | 0.163
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2750 | 2780 | -30 | 30000 | 0.03 | 999919 | 1000084 | -165 | 165000 | 0.165
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965038 | 965980 | -942 | 942000 | 0.942 | 919608 | 919780 | -172 | 172000 | 0.172
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.2905 |  |  |  |  | 13.374
| (B) NET ENERGY TO EAST | [8 empty] | 1.2905 |  |  |  |  | 13.374
JUNE -2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 506 | 458 | 48 | -19200 | -0.0192 | 998762 | 998990 | -228 | 91200 | 0.0912
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5979 | 5979 | 0 | 0 | 0 | 2074 | 2288 | -214 | 107000 | 0.107
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54502 | 54509 | -7 | 1400 | 0.0014 | 85366 | 85387 | -21 | 4200 | 0.0042 | Data tll 12/06
|  | 5295198 | ELSTER | Kvarh(Lead/Lag) | -200 | 1294 | 1322 | -28 | 5600 | 0.0056 | 1292 | 1313 | -21 | 4200 | 0.0042 | Check Meter Data
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 74519 | 74435 | 84 | -8400 | -0.0084 | 143596 | 143020 | 576 | -57600 | -0.0576
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 973197 | 973246 | -49 | 9800 | 0.0098 | 995518 | 995936 | -418 | 83600 | 0.0836
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 36080 | 35423 | 657 | -131400 | -0.1314 | 8795 | 6878 | 1917 | -383400 | -0.3834
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 16806 | 16805 | 1 | -800 | -0.0008 | 12205 | 11378 | 827 | -661600 | -0.6616
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15047 | 15047 | 0 | 0 | 0 | 4063 | 3938 | 125 | -250000 | -0.25
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 974722 | 974722 | 0 | 0 | 0 | 987354 | 987741 | -387 | 309600 | 0.3096
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 985153 | 985153 | 0 | 0 | 0 | 990344 | 991892 | -1548 | 1238400 | 1.2384
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 991363 | 991363 | 0 | 0 | 0 | 995758 | 996588 | -830 | 664000 | 0.664
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 980127 | 980127 | 0 | 0 | 0 | 994716 | 993606 | 1110 | -888000 | -0.888
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979926 | 979876 | 50 | -50000 | -0.05 | 32785 | 33462 | -677 | 677000 | 0.677
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1974 | 1971 | 3 | -3000 | -0.003 | 27701 | 27526 | 175 | -175000 | -0.175
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 3799 | 3928 | -129 | 12900 | 0.0129 | 26232 | 24343 | 1889 | -188900 | -0.1889
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5626 | 0 | 0 | 0 | 34887 | 34887 | 0 | 0 | 0
[15 empty] | -0.039 | Assessment
|  | 4865088 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 889 | 0 | 889 | -88900 | -0.0889 | w.e.f 05/06/17
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999934 | 999934 | 0 | 0 | 0 | 532 | 493 | 39 | -19500 | -0.0195
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 329 | 329 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 3248 | 3109 | 139 | -92666.6667 | -0.092667 | 1408 | 1376 | 32 | -21333.3333 | -0.021333
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 4054 | 3782 | 272 | -27200 | -0.0272 | 1832 | 959 | 873 | -87300 | -0.0873
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25008 | 24944 | 64 | -6400 | -0.0064 | 51248 | 51167 | 81 | -8100 | -0.0081
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997536 | 997556 | -20 | 2000 | 0.002 | 2032 | 1932 | 100 | -10000 | -0.01
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999751 | -3 | 300 | 0.0003 | 999983 | 999997 | -14 | 1400 | 0.0014
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23989 | 24014 | -25 | 2500 | 0.0025 | 57896 | 57914 | -18 | 1800 | 0.0018
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1599 | 1552 | 47 | -4700 | -0.0047 | 7071 | 6021 | 1050 | -105000 | -0.105
31 | TIBIA COLLEGE-2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 2077 | 1690 | 387 | -38700 | -0.0387 | 405 | 43 | 362 | -36200 | -0.0362
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 12359 | 11563 | 796 | -79600 | -0.0796 | 4610 | 3963 | 647 | -64700 | -0.0647
[10 empty] | -0.42757 |  |  |  |  | 0.097867
JUNE -2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.56483 |  |  |  |  | 4.8606
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.42757 |  |  |  |  | 0.097867
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.14405 |  |  |  |  | -0.03665
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.0067917 |  |  |  |  | 4.9218
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.2905 |  |  |  |  | 13.374
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.2837 |  |  |  |  | 18.2958
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.2837 | (REACTIVE MUs) |  |  |  | 18.2958 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.12427 | (REACTIVE MUs) |  |  |  | -0.033408 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.408 | (REACTIVE MUs) |  |  |  | 18.2624 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999588 | 999587 | 1 | 5000 | 0.005 | 999293 | 999338 | -45 | -225000 | -0.225
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984685 | 984683 | 2 | 2666.66 | 0.0026667 | 672042 | 672103 | -61 | -81333.13 | -0.081333
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1265 | 1188 | 77 | 30800 | 0.0308 | 6744 | 4077 | 2667 | 1066800 | 1.0668
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16973 | 16966 | 7 | 7000 | 0.007 | 997419 | 997925 | -506 | -506000 | -0.506
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17442 | 17432 | 10 | 1000 | 0.001 | 10834 | 10473 | 361 | 36100 | 0.0361
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 726040 | 725923 | 117 | 8775 | 0.008775 | 6789 | 9036 | -2247 | -168525 | -0.16853
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983194 | 983178 | 16 | 1200 | 0.0012 | 1000354 | 994116 | 6238 | 467850 | 0.46785
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997377 | 997369 | 8 | 7200 | 0.0072 | 995703 | 995822 | -119 | -107100 | -0.1071
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1931 | 1927 | 4 | -4000 | -0.004 | 999261 | 999732 | -471 | 471000 | 0.471
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997800 | 997740 | 60 | -60000 | -0.06 | 995457 | 996158 | -701 | 701000 | 0.701
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3252 | 3065 | 187 | -187000 | -0.187 | 999958 | 999837 | 121 | -121000 | -0.121
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962946 | 962807 | 139 | -139000 | -0.139 | 965757 | 964592 | 1165 | -1165000 | -1.165
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986097 | 986135 | -38 | 38000 | 0.038 | 966561 | 966903 | -342 | 342000 | 0.342 | Data till 27/06/17
16 | Tx.2 | 4865004 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1722 | 1701 | 21 | -21000 | -0.021 | 1019 | 1177 | -158 | 158000 | 0.158
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 41 | 59 | -18 | 36000 | 0.036 | 999508 | 999931 | -423 | 846000 | 0.846 | w.e.f 08/05/17
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3136 | 3612 | -476 | 476000 | 0.476 | 906867 | 909561 | -2694 | 2694000 | 2.694
NAJAFGARH
19 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 870 | 354 | 516 | -516000 | -0.516 | 985397 | 985241 | 156 | -156000 | -0.156
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997841 | 997830 | 11 | -11000 | -0.011 | 986990 | 988367 | -1377 | 1377000 | 1.377
21 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997955 | 995226 | 2729 | -2729000 | -2.729 | 998193 | 999066 | -873 | 873000 | 0.873
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13955 | 13896 | 59 | -59000 | -0.059 | 997033 | 997140 | -107 | 107000 | 0.107
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 1250 | 2 | 2 | 0 | 0 | 0 | 1002 | 443 | 559 | 698750 | 0.69875
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980797 | 980845 | -48 | 48000 | 0.048 | 983089 | 984567 | -1478 | 1478000 | 1.478
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995306 | 995332 | -26 | 26000 | 0.026 | 990351 | 990599 | -248 | 248000 | 0.248
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990570 | 990406 | 164 | -164000 | -0.164 | 930694 | 930870 | -176 | 176000 | 0.176
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2067 | 2144 | -77 | 77000 | 0.077 | 33581 | 33648 | -67 | 67000 | 0.067
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998050 | 998136 | -86 | 86000 | 0.086 | 996269 | 996308 | -39 | 39000 | 0.039
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999961 | 1000000 | -39 | 39000 | 0.039 | 999978 | 1000000 | -22 | 22000 | 0.022 | w.e.f 08/05/17
BRPL(+) continue | [14 empty] | JUNE -2017
VASANT KUNJ
31 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1997 | 1166 | 831 | -831000 | -0.831 | 999944 | 999930 | 14 | -14000 | -0.014
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 2971 | 1228 | 1743 | -871500 | -0.8715 | 998295 | 998221 | 74 | -37000 | -0.037
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 17942 | 17034 | 908 | -1816000 | -1.816 | 969573 | 969545 | 28 | -56000 | -0.056
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995022 | 995032 | -10 | 10000 | 0.01 | 897756 | 898730 | -974 | 974000 | 0.974
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994407 | 994407 | 0 | 0 | 0 | 927394 | 927407 | -13 | 13000 | 0.013
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998977 | 998993 | -16 | 16000 | 0.016 | 983067 | 983992 | -925 | 925000 | 0.925
37 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999952 | 1000053 | -101 | 202000 | 0.202 | 999593 | 999780 | -187 | 374000 | 0.374
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969803 | 969949 | -146 | 97333.236 | 0.097333 | 965438 | 966114 | -676 | 450666.216 | 0.45067
39 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999172 | 999436 | -264 | 528000 | 0.528 | 999848 | 999965 | -117 | 234000 | 0.234
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5668 | 5622 | 46 | -92000 | -0.092 | 2425 | 2422 | 3 | -6000 | -0.006
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2591 | 2541 | 50 | -100000 | -0.1 | 1384 | 1380 | 4 | -8000 | -0.008
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917326 | 917326 | 0 | 0 | 0 | 981827 | 982556 | -729 | 729000 | 0.729
43 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120 | 120 | 0 | 0 | 0 | 997439 | 998291 | -852 | 852000 | 0.852
44 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999666 | 1000000 | -334 | 334000 | 0.334
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 227 | 43 | 184 | 147200 | 0.1472 | 10 | 0 | 10 | 8000 | 0.008 | w.e.f 26/05/17
46 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 996877 | 998160 | -1283 | -1026400 | -1.0264 | 999995 | 999999 | -4 | -3200 | -0.0032
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 697 | 552 | 145 | 116000 | 0.116 | 999793 | 999791 | 2 | 1600 | 0.0016
49 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 290 | 234 | 56 | 44800 | 0.0448 | 0 | 0 | 0 | 0 | 0
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979926 | 979876 | 50 | 50000 | 0.05 | 32785 | 33462 | -677 | -677000 | -0.677
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23394 | 22131 | 1263 | -1263000 | -1.263 | 26 | 18 | 8 | -8000 | -0.008
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9404 | 9661 | -257 | 257000 | 0.257 | 998547 | 998767 | -220 | 220000 | 0.22
54 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8322 | 7321 | 1001 | -1001000 | -1.001 | 10 | 18 | -8 | 8000 | 0.008
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 8502 | 6688 | 1814 | 181400 | 0.1814 | 31840 | 30071 | 1769 | 176900 | 0.1769
SUDARSHAN PARK
56 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 969245 | 969357 | -112 | -5600 | -0.0056 | 1659 | 1765 | -106 | -5300 | -0.0053
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 997367 | 997364 | 3 | 1200 | 0.0012 | 6523 | 6483 | 40 | 16000 | 0.016
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 915 | 317 | 598 | 239200 | 0.2392 | 31493 | 31020 | 473 | 189200 | 0.1892
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 22 | 13 | 9 | 9000 | 0.009
KANJAWALA
60 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 987499 | 987798 | -299 | -239200 | -0.2392 | 999236 | 999414 | -178 | -142400 | -0.1424
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 230937 | 225683 | 5254 | 525400 | 0.5254 | 6924 | 5060 | 1864 | 186400 | 0.1864
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3138 | 2834 | 304 | 304000 | 0.304 | 306 | 251 | 55 | 55000 | 0.055
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 8236 | 7914 | 322 | 24150 | 0.02415 | 13677 | 13155 | 522 | 39150 | 0.03915
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 2984 | 2809 | 175 | 17500 | 0.0175 | 5093 | 4813 | 280 | 28000 | 0.028
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 2241 | 2141 | 100 | 50000 | 0.05 | 2707 | 2645 | 62 | 31000 | 0.031
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3049 | 3092 | -43 | -43000 | -0.043 | 3886 | 3715 | 171 | 171000 | 0.171
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996978 | 996985 | -7 | -7000 | -0.007 | 1227 | 1234 | -7 | -7000 | -0.007
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2702 | 2692 | 10 | 10000 | 0.01 | 6365 | 6231 | 134 | 134000 | 0.134
69 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 259 | 254 | 5 | 5000 | 0.005 | 195 | 64 | 131 | 131000 | 0.131
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 7906 | 7632 | 274 | 27400 | 0.0274 | 44158 | 43464 | 694 | 69400 | 0.0694
71 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1380 | 1352 | 28 | 28000 | 0.028 | 186 | 121 | 65 | 65000 | 0.065
72 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1085 | 1067 | 18 | 18000 | 0.018 | 5396 | 5075 | 321 | 321000 | 0.321
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.3965 |  |  |  |  | 15.12
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 177193 | 175410 | 1783 | -178300 | -0.1783 | 913100 | 912964 | 136 | -13600 | -0.0136
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 998066 | 998066 | 0 | 0 | 0 | 1141 | 1141 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151257 | 151254 | 3 | -300 | -0.0003 | 53366 | 52962 | 404 | -40400 | -0.0404
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995219 | 995216 | 3 | -300 | -0.0003 | 999788 | 999759 | 29 | -2900 | -0.0029
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 999999 | 0 | 0 | 0 | 6 | 2 | 4 | -4000 | -0.004
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999856 | 999801 | 55 | -55000 | -0.055 | 446 | 267 | 179 | -179000 | -0.179
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 1886 | 1870 | 16 | -2560 | -0.00256 | 1696 | 1318 | 378 | -60480 | -0.06048
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 907043 | 907041 | 2 | -1000 | -0.001 | 61737 | 61691 | 46 | -23000 | -0.023
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -500 | 998973 | 999003 | -30 | 15000 | 0.015 | 999882 | 999885 | -3 | 1500 | 0.0015
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 82696 | 81782 | 914 | -91400 | -0.0914 | 71728 | 71468 | 260 | -26000 | -0.026
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 96412 | 95569 | 843 | -84300 | -0.0843 | 72334 | 72090 | 244 | -24400 | -0.0244
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 27529 | 27512 | 17 | -1700 | -0.0017 | 29309 | 26961 | 2348 | -234800 | -0.2348
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999880 | 999883 | -3 | -750 | -0.00075
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 391999 | 394862 | -2863 | 286300 | 0.2863 | 49028 | 49072 | -44 | 4400 | 0.0044
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4954 | 4953 | 1 | -100 | -0.0001 | 28786 | 28527 | 259 | -25900 | -0.0259
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998262 | 998395 | -133 | 55415.78 | 0.055416 | 999564 | 1000255 | -691 | 287912.06 | 0.28791
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9125 | 9126 | -1 | 100 | 0.0001 | 37903 | 37969 | -66 | 6600 | 0.0066
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12192 | 12183 | 9 | -900 | -0.0009 | 75041 | 73586 | 1455 | -145500 | -0.1455
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 861 | 754 | 107 | -10700 | -0.0107 | 16125 | 15502 | 623 | -62300 | -0.0623
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 116 | 103 | 13 | -17329 | -0.017329 | 144 | 95 | 49 | -65317 | -0.065317
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999093 | 999093 | 0 | 0 | 0 | 10784 | 8131 | 2653 | -265300 | -0.2653
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 62 | 62 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999888 | 999888 | 0 | 0 | 0 | 999995 | 999998 | -3 | 1200 | 0.0012
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.087073 |  |  |  |  | -0.87203
JUNE -2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -7.3965 |  |  |  |  | 15.12
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.087073 |  |  |  |  | -0.87203
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.071837 |  |  |  |  | -0.02305
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0411 |  |  |  |  | -0.33137
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -7.4528 |  |  |  |  | 13.8935
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.4528 | (REACTIVE MUs) |  |  |  | 13.8935 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.22797 | (REACTIVE MUs) |  |  |  | -0.061285 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.2248 | (REACTIVE MUs) |  |  |  | 13.8322 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54502 | 54509 | -7 | -1400 | -0.0014 | 85366 | 85387 | -21 | -4200 | -0.0042 | Data tll 12/06
|  | 5295198 | ELSTER | Kvarh(Lead/Lag) | 200 | 1294 | 1322 | -28 | -5600 | -0.0056 | 1292 | 1313 | -21 | -4200 | -0.0042 | Check Meter Data
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 74519 | 74435 | 84 | 8400 | 0.0084 | 143596 | 143020 | 576 | 57600 | 0.0576
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 973197 | 973246 | -49 | -9800 | -0.0098 | 995518 | 995936 | -418 | -83600 | -0.0836
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 36080 | 35423 | 657 | 131400 | 0.1314 | 8795 | 6878 | 1917 | 383400 | 0.3834
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 16806 | 16805 | 1 | 800 | 0.0008 | 12205 | 11378 | 827 | 661600 | 0.6616
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15047 | 15047 | 0 | 0 | 0 | 4063 | 3938 | 125 | 250000 | 0.25
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 974722 | 974722 | 0 | 0 | 0 | 987354 | 987741 | -387 | -309600 | -0.3096
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 985153 | 985153 | 0 | 0 | 0 | 990344 | 991892 | -1548 | -1238400 | -1.2384
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 991363 | 991363 | 0 | 0 | 0 | 995758 | 996588 | -830 | -664000 | -0.664
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 980127 | 980127 | 0 | 0 | 0 | 994716 | 993606 | 1110 | 888000 | 0.888
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 999911 | 999920 | -9 | -450 | -0.00045 | 5664 | 3732 | 1932 | 96600 | 0.0966
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 993060 | 993031 | 29 | 2175 | 0.002175 | 10548 | 7415 | 3133 | 234975 | 0.23497
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 22 | 19 | 3 | 1500 | 0.0015 | 1263 | 764 | 499 | 249500 | 0.2495
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998964 | 998966 | -2 | -750 | -0.00075 | 2875 | 3103 | -228 | -85500 | -0.0855
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989304 | 989303 | 1 | 100 | 0.0001 | 323136 | 319850 | 3286 | 328600 | 0.3286
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 999922 | 999932 | -10 | -750 | -0.00075 | 659 | 805 | -146 | -10950 | -0.01095
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3404 | 3367 | 37 | 3700 | 0.0037 | 265252 | 261053 | 4199 | 419900 | 0.4199
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 82931 | 82876 | 55 | 5500 | 0.0055 | 731169 | 726897 | 4272 | 427200 | 0.4272
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999165 | 999124 | 41 | 45100 | 0.0451 | 101807 | 101671 | 136 | 149600 | 0.1496
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997528 | 997506 | 22 | 22000 | 0.022 | 44823 | 44519 | 304 | 304000 | 0.304
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 998043 | 998056 | -13 | -14300 | -0.0143 | 143437 | 143343 | 94 | 103400 | 0.1034
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2842 | 2832 | 10 | 10000 | 0.01 | 59296 | 59052 | 244 | 244000 | 0.244 | Data tll 27/06
[10 empty] | 0.0628 |  |  |  |  | 0.801
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999856 | 999801 | 55 | 55000 | 0.055 | 446 | 267 | 179 | 179000 | 0.179
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 1886 | 1870 | 16 | 2560 | 0.00256 | 1696 | 1318 | 378 | 60480 | 0.06048
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 907043 | 907041 | 2 | 1000 | 0.001 | 61737 | 61691 | 46 | 23000 | 0.023
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 500 | 998973 | 999003 | -30 | -15000 | -0.015 | 999882 | 999885 | -3 | -1500 | -0.0015
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999880 | 999883 | -3 | 750 | 0.00075
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
JUNE -2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936966 | 937647 | -681 | 681000 | 0.681 | 970785 | 971048 | -263 | 263000 | 0.263
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981633 | 982867 | -1234 | 1234000 | 1.234 | 998749 | 999338 | -589 | 589000 | 0.589
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998113 | 998338 | -225 | 450000 | 0.45 | 999787 | 999888 | -101 | 202000 | 0.202
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997379 | 997839 | -460 | 460000 | 0.46 | 999554 | 999773 | -219 | 219000 | 0.219
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 391999 | 394862 | -2863 | -286300 | -0.2863 | 49028 | 49072 | -44 | -4400 | -0.0044
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4954 | 4953 | 1 | 100 | 0.0001 | 28786 | 28527 | 259 | 25900 | 0.0259
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 82696 | 81782 | 914 | 91400 | 0.0914 | 71728 | 71468 | 260 | 26000 | 0.026
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 96412 | 95569 | 843 | 84300 | 0.0843 | 72334 | 72090 | 244 | 24400 | 0.0244
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 27529 | 27512 | 17 | 1700 | 0.0017 | 29309 | 26961 | 2348 | 234800 | 0.2348
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 177193 | 175410 | 1783 | 178300 | 0.1783 | 913100 | 912964 | 136 | 13600 | 0.0136
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 230937 | 225683 | 5254 | -525400 | -0.5254 | 6924 | 5060 | 1864 | -186400 | -0.1864
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3138 | 2834 | 304 | -304000 | -0.304 | 306 | 251 | 55 | -55000 | -0.055
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 8236 | 7914 | 322 | -24150 | -0.02415 | 13677 | 13155 | 522 | -39150 | -0.03915
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 2984 | 2809 | 175 | -17500 | -0.0175 | 5093 | 4813 | 280 | -28000 | -0.028
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.094 |  |  |  |  | 4.1858
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.094 |  |  |  |  | 4.1858
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.024566 |  |  |  |  | -0.0066042
| TOTAL ENERGY TO NDMC | [8 empty] | 3.1186 |  |  |  |  | 4.1792

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE -2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 833 | 833 | 0 | 0 | 0 | 15768 | 11842 | 3926 | 785200 | 0.7852
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1509 | 0 | 0 | 0 | 40867 | 40098 | 769 | 769000 | 0.769
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4101 | 4100 | 1 | 1000 | 0.001 | 50630 | 49875 | 755 | 755000 | 0.755
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 999960 | 999960 | 0 | 0 | 0 | 44061 | 43806 | 255 | 33999.915 | 0.034
|  | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 588 | 523 | 65 | 65000 | 0.065 | w.e.f 09/06/17
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6498 | 6483 | 15 | 15000 | 0.015 | 11376 | 11377 | -1 | -1000 | -0.001
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12328 | 12339 | -11 | -5500 | -0.0055 | 62947 | 62543 | 404 | 202000 | 0.202
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995219 | 995216 | 3 | 300 | 0.0003 | 999788 | 999759 | 29 | 2900 | 0.0029
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999999 | 999999 | 0 | 0 | 0 | 6 | 2 | 4 | 4000 | 0.004
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0108 |  |  |  |  | 2.6161
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56718 | 56359 | 359 | 35900 | 0.0359 | 89429 | 88920 | 509 | 50900 | 0.0509
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77905 | 77853 | 52 | 5200 | 0.0052 | 16140 | 15928 | 212 | 21200 | 0.0212
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61634 | 61634 | 0 | 0 | 0 | 106927 | 104335 | 2592 | 259200 | 0.2592
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1058 | 1057 | 1 | 75 | 7.5e-05
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10255 | 10255 | 0 | 0 | 0 | 3447 | 3322 | 125 | 12500 | 0.0125
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0411 |  |  |  |  | 0.33137
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0411 |  |  |  |  | 0.33137
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0108 |  |  |  |  | 2.6161
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0519 |  |  |  |  | 2.9475
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0519 | (REACTIVE MUs) |  |  |  | 2.9475 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0037982 | (REACTIVE MUs) |  |  |  | -0.0010211 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.055698 | (REACTIVE MUs) |  |  |  | 2.9465 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE -2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 999947 | 1000176 | -229 | -22900 | -0.0229 | 2215 | 2194 | 21 | 2100 | 0.0021
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 36128 | 35145 | 983 | 98300 | 0.0983 | 4106 | 3055 | 1051 | 105100 | 0.1051
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 4262 | 4067 | 195 | 97500 | 0.0975 | 1732 | 1540 | 192 | 96000 | 0.096
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 451 | 450 | 1 | 937.5 | 0.0009375 | 60 | 28 | 32 | 30000 | 0.03
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 998098 | 998452 | -354 | -88500 | -0.0885 | 985190 | 986237 | -1047 | -261750 | -0.26175
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 982295 | 982268 | 27 | -13500 | -0.0135 | 976492 | 976503 | -11 | 5500 | 0.0055
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999984 | 999984 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.071837 |  |  |  |  | -0.02305
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 986977 | 987086 | -109 | -21800 | -0.0218 | 1000095 | 999802 | 293 | 58600 | 0.0586
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 904977 | 905303 | -326 | -122250 | -0.12225 | 996951 | 997205 | -254 | -95250 | -0.09525
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.14405 |  |  |  |  | -0.03665
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 292837 | 292812 | 25 | 5000 | 0.005 | 279401 | 270211 | 9190 | 1838000 | 1.838
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 252457 | 251317 | 1140 | 114000 | 0.114 | 999012 | 999269 | -257 | -25700 | -0.0257
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 133949 | 132584 | 1365 | 85312.5 | 0.085312 | 986900 | 987311 | -411 | -25687.5 | -0.025687
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 501 | 500 | 1 | 800 | 0.0008 | 1395 | 610 | 785 | 628000 | 0.628
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 988528 | 988696 | -168 | -16800 | -0.0168 | 999445 | 999554 | -109 | -10900 | -0.0109
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999007 | 999007 | 0 | 0 | 0 | 989382 | 992101 | -2719 | -407850 | -0.40785
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998817 | 998819 | -2 | 5000 | 0.005 | 3078 | 3070 | 8 | -20000 | -0.02
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999984 | 999984 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.19331 |  |  |  |  | 1.9759
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.071837 |  |  |  |  | -0.02305
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.14405 |  |  |  |  | -0.03665
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.19331 |  |  |  |  | 1.9759

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE -2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 40281 | 40076 | 205 | 410000 | 0.41 | 1729 | 1768 | -39 | -78000 | -0.078
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 7451 | 7378 | 73 | 365000 | 0.365 | 131 | 146 | -15 | -75000 | -0.075
[7 empty] | NET REACTIVE ENERGY |  |  | 0.775 |  | NET REACTIVE ENERGY |  |  | -0.153
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.775 |  |  |  |  | -0.153
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.3068 |  |  |  |  | -0.79075
[7 empty] | NDMC = |  |  | 0.0628 |  |  |  |  | 0.801
MES =
[7 empty] | 2)TOTAL |  |  | -0.244 |  |  |  |  | 0.01025
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.531 |  |  |  |  | -0.14275
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.3239 | % |  |  | 0.1504 |  |  |  |  | -0.040432
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.9314 | % |  |  | 0.22797 |  |  |  |  | -0.061285
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.403 | % |  |  | 0.12427 |  |  |  |  | -0.033408
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6264 | % |  |  | 0.024566 |  |  |  |  | -0.0066042
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7153 | % |  |  | 0.0037982 |  |  |  |  | -0.0010211
Note :Sharing taken from wk-14 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2017 TO 1st JULY-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -2.565 | + | 3.828
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -7.2248 | + | 13.8322
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.408 | + | 18.2624
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.1186 | + | 4.1792
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.055698 | + | 2.9465
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/2017 | INTIAL READING 01/06/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 8692 | 8129 | 563 | 422250 | 0.42225 | 999984 | 0 | 999984 | 749988000 | 749.988 | w.e.f 14/10/2016
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 995915 | 995456 | 459 | 688500 | 0.6885 | 991921 | 991963 | -42 | -63000 | -0.063
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 855255 | 857144 | -1889 | -1416750 | -1.4167 | 998641 | 998643 | -2 | -1500 | -0.0015
[8 empty] | NET REACTIVE ENERGY |  | -0.306 |  |  | NET REACTIVE ENERGY |  | 749.9235
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999858 | 999856 | 2 | 10000 | 0.01 | 10551 | 9761 | 790 | 3950000 | 3.95
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 944551 | 948959 | -4408 | -4408000 | -4.408
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973352 | 973370 | -18 | -18000 | -0.018 | 997907 | 997928 | -21 | -21000 | -0.021
[8 empty] | NET REACTIVE ENERGY |  | -0.008 |  |  | NET REACTIVE ENERGY |  | -0.479