## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18762 | 18819 | -57 | 57000 | 0.057 | 979235 | 979242 | -7 | 7000 | 0.007
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999167 | 999196 | -29 | 29000 | 0.029 | 989533 | 992307 | -2774 | 2774000 | 2.774
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20475 | 20533 | -58 | 58000 | 0.058 | 954 | 1254 | -300 | 300000 | 0.3
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975034 | 975060 | -26 | 26000 | 0.026 | 986405 | 987386 | -981 | 981000 | 0.981
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923328 | 923381 | -53 | 53000 | 0.053 | 956767 | 959623 | -2856 | 2856000 | 2.856
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18244 | 18228 | 16 | -16000 | -0.016 | 14279 | 12819 | 1460 | -1460000 | -1.46
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19268 | 19249 | 19 | -19000 | -0.019 | 10768 | 9447 | 1321 | -1321000 | -1.321
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17079 | 17119 | -40 | 40000 | 0.04 | 996781 | 996676 | 105 | -105000 | -0.105
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11927 | 11980 | -53 | 53000 | 0.053 | 987319 | 987765 | -446 | 446000 | 0.446
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35693 | 35702 | -9 | 9000 | 0.009 | 9899 | 9901 | -2 | 2000 | 0.002
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2774 | 2774 | 0 | 0 | 0 | 4237 | 4234 | 3 | -3000 | -0.003
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998812 | 998835 | -23 | 23000 | 0.023 | 1000044 | 999960 | 84 | -84000 | -0.084 | ROLL OVER
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965851 | 966588 | -737 | -737000 | -0.737 | 920604 | 920612 | -8 | -8000 | -0.008
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997458 | 997491 | -33 | 33000 | 0.033 | 16096 | 16034 | 62 | -62000 | -0.062
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998325 | 998345 | -20 | 20000 | 0.02 | 18687 | 18428 | 259 | -259000 | -0.259
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1112 | 1108 | 4 | -4000 | -0.004 | 21267 | 20970 | 297 | -297000 | -0.297
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999566 | 999566 | 0 | 0 | 0 | 30760 | 31270 | -510 | -510000 | -0.51
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 190 | 186 | 4 | 4000 | 0.004 | 26509 | 26261 | 248 | 248000 | 0.248
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1745 | 1726 | 19 | 1900 | 0.0019 | 104992 | 101485 | 3507 | 350700 | 0.3507
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2885 | 2852 | 33 | 3300 | 0.0033 | 158764 | 157425 | 1339 | 133900 | 0.1339
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996108 | 996102 | 6 | 6000 | 0.006 | 998425 | 998343 | 82 | 82000 | 0.082
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999937 | 8 | 8000 | 0.008 | 692 | 63 | 629 | 629000 | 0.629
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655075 | 655117 | -42 | -42000 | -0.042 | 802870 | 803228 | -358 | -358000 | -0.358
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 662492 | 662500 | -8 | -8000 | -0.008 | 834595 | 834737 | -142 | -142000 | -0.142
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991901 | 992082 | -181 | -181000 | -0.181 | 998497 | 998673 | -176 | -176000 | -0.176
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999785 | 999842 | -57 | -28500 | -0.0285 | 999765 | 1000045 | -280 | -140000 | -0.14 | ROLL OVER
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6386 | 6305 | 81 | -81000 | -0.081 | 981605 | 981619 | -14 | 14000 | 0.014
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996750 | 996563 | 187 | -187000 | -0.187 | 949209 | 949406 | -197 | 197000 | 0.197
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992768 | 992791 | -23 | 23000 | 0.023 | 948847 | 952139 | -3292 | 3292000 | 3.292
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
30 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655 | 590 | 65 | 65000 | 0.065 | 14695 | 14367 | 328 | 328000 | 0.328
31 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998951 | 998912 | 39 | 39000 | 0.039 | 3439 | 3522 | -83 | -83000 | -0.083
| NDPL(+) continue | [14 empty] | MAY-2011
DMS
32 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 677 | 678 | -1 | -1000 | -0.001 | 52089 | 51379 | 710 | 710000 | 0.71
REWARI LINE
33 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 9891 | 9629 | 262 | 26200 | 0.0262 | 47771 | 46928 | 843 | 84300 | 0.0843
VISHAL
34 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 6701 | 6503 | 198 | 19800 | 0.0198 | 9326 | 8442 | 884 | 88400 | 0.0884
35 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 8483 | 8405 | 78 | 7800 | 0.0078 | 27163 | 26636 | 527 | 52700 | 0.0527
36 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13706 | 13706 | 0 | 0 | 0 | 35231 | 35231 | 0 | 0 | 0
S.B.MILL
37 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 30482 | 29747 | 735 | 73500 | 0.0735 | 8631 | 8531 | 100 | 10000 | 0.01
38 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
39 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
40 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 14503 | 14289 | 214 | 21400 | 0.0214 | 8703 | 8468 | 235 | 23500 | 0.0235
43 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998055 | 997991 | 64 | 6400 | 0.0064 | 1000049 | 999978 | 71 | 7100 | 0.0071 | ROLL OVER
B.G.ROAD
44 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3440 | 3438 | 2 | 1000 | 0.001 | 27319 | 26790 | 529 | 264500 | 0.2645
45 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3187 | 3185 | 2 | 1000 | 0.001 | 18703 | 18294 | 409 | 204500 | 0.2045
46 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3232 | 3231 | 1 | 500 | 0.0005 | 12618 | 12304 | 314 | 157000 | 0.157
47 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3182 | 3181 | 1 | 500 | 0.0005 | 14383 | 14055 | 328 | 164000 | 0.164
D.M.S.
48 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999545 | 999548 | -3 | -300 | -0.0003 | 4949 | 4757 | 192 | 19200 | 0.0192
49 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2299 | 2235 | 64 | 6400 | 0.0064 | 12369 | 11726 | 643 | 64300 | 0.0643
50 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 5364 | 5109 | 255 | 25500 | 0.0255 | 45822 | 44619 | 1203 | 120300 | 0.1203
51 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8211 | 8211 | 0 | 0 | 0 | 19022 | 19022 | 0 | 0 | 0
52 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999717 | 999726 | -9 | -900 | -0.0009 | 259 | 280 | -21 | -2100 | -0.0021
53 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
54 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 1024 | 975 | 49 | 4900 | 0.0049 | 57326 | 55928 | 1398 | 139800 | 0.1398
55 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 1440 | 785 | 655 | 65500 | 0.0655 | 50650 | 50099 | 551 | 55100 | 0.0551
56 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 1827 | 1084 | 743 | 74300 | 0.0743 | 72725 | 72175 | 550 | 55000 | 0.055
KASHMIRI GATE
57 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 87362 | 87069 | 293 | 29300 | 0.0293 | 26323 | 25897 | 426 | 42600 | 0.0426
58 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 8281 | 8254 | 27 | 2700 | 0.0027 | 31831 | 29690 | 2141 | 214100 | 0.2141
59 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
60 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4567 | 4567 | 0 | 0 | 0 | 12600 | 12600 | 0 | 0 | 0
61 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999321 | 999321 | 0 | 0 | 0 | 999190 | 999155 | 35 | 3500 | 0.0035
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.3878 |  |  |  |  | 10.1104
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | MAY-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 4415 | 4294 | 121 | -12100 | -0.0121 | 7801 | 7638 | 163 | -16300 | -0.0163
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5743 | 5744 | -1 | 1000 | 0.001 | 3939 | 3915 | 24 | -24000 | -0.024
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3510 | 3514 | -4 | 800 | 0.0008 | 2728 | 3042 | -314 | 62800 | 0.0628
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12821 | 12806 | 15 | -15000 | -0.015 | 14649 | 12025 | 2624 | -2624000 | -2.624
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 37815 | 36743 | 1072 | -107200 | -0.1072 | 146837 | 146590 | 247 | -24700 | -0.0247
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982710 | 982997 | -287 | 287000 | 0.287 | 992973 | 993139 | -166 | 166000 | 0.166
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 998300 | 998287 | 13 | -16250 | -0.01625 | 238 | 72 | 166 | -207500 | -0.2075
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.13825 |  |  |  |  | -2.6677
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.3878 |  |  |  |  | 10.1104
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.13825 |  |  |  |  | -2.6677
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.3447 |  |  |  |  | 0.34495
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 1.0952 |  |  |  |  | 7.7877
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.0952 | (REACTIVE MUs) |  |  |  | 7.7877 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.067321 | (REACTIVE MUs) |  |  |  | -0.23985 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.1625 | (REACTIVE MUs) |  |  |  | 7.5478 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 994344 | 994774 | -430 | -43000 | -0.043 | 71479 | 72436 | -957 | -95700 | -0.0957
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14060 | 14118 | -58 | -5800 | -0.0058 | 995206 | 996634 | -1428 | -142800 | -0.1428
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21612 | 21822 | -210 | -21000 | -0.021 | 30069 | 29397 | 672 | 67200 | 0.0672
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998861 | 998775 | 86 | 8600 | 0.0086 | 999946 | 999874 | 72 | 7200 | 0.0072
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9073 | 8909 | 164 | 16400 | 0.0164 | 70293 | 69823 | 470 | 47000 | 0.047
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 410 | 596 | -186 | -18600 | -0.0186 | 45857 | 47033 | -1176 | -117600 | -0.1176
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999963 | 999984 | -21 | -21000 | -0.021 | 999850 | 1000214 | -364 | -364000 | -0.364
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999904 | 999907 | -3 | -3000 | -0.003 | 2270 | 2297 | -27 | -27000 | -0.027
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 100 | 104 | -4 | -4000 | -0.004 | 1381 | 1422 | -41 | -41000 | -0.041
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 150 | 156 | -6 | -6000 | -0.006 | 2516 | 2630 | -114 | -114000 | -0.114
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 167 | 201 | -34 | -34000 | -0.034 | 1942 | 1741 | 201 | 201000 | 0.201
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 317 | 321 | -4 | -4000 | -0.004 | 1271 | 1373 | -102 | -102000 | -0.102
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 32 | 32 | 0 | 0 | 0 | 13249 | 13525 | -276 | -276000 | -0.276
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 159 | 163 | -4 | -4000 | -0.004 | 33713 | 33649 | 64 | 64000 | 0.064
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 261 | 261 | 0 | 0 | 0 | 8388 | 8362 | 26 | 26000 | 0.026
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 197 | 194 | 3 | 3000 | 0.003 | 5149 | 5045 | 104 | 104000 | 0.104
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 28948 | 28821 | 127 | 12700 | 0.0127 | 449 | 418 | 31 | 3100 | 0.0031
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998958 | 998958 | 0 | 0 | 0 | 5225 | 5029 | 196 | 196000 | 0.196
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 855434 | 859827 | -4393 | -4832300 | -4.8323
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 895075 | 898229 | -3154 | -3469400 | -3.4694
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995604 | 996018 | -414 | -414000 | -0.414 | 10106 | 10116 | -10 | -10000 | -0.01
| KASHMIRI GATE | [8 empty] | -0.4743 |  |  |  |  | -8.6416
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967308 | 967306 | 2 | -2000 | -0.002 | 979023 | 980037 | -1014 | 1014000 | 1.014
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985883 | 985952 | -69 | 69000 | 0.069 | 985721 | 986601 | -880 | 880000 | 0.88
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 927 | 928 | -1 | -1000 | -0.001 | 51029 | 49688 | 1341 | 1341000 | 1.341
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 593 | 554 | 39 | -39000 | -0.039 | 978979 | 979559 | -580 | 580000 | 0.58
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3242 | 3043 | 199 | -199000 | -0.199 | 983789 | 984159 | -370 | 370000 | 0.37
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996585 | 996652 | -67 | 67000 | 0.067 | 991727 | 991860 | -133 | 133000 | 0.133
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998598 | 998276 | 322 | -322000 | -0.322 | 996637 | 996823 | -186 | 186000 | 0.186
IMPORTS
SUBZI MANDI
| O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3510 | 3514 | -4 | -800 | -0.0008 | 2728 | 3042 | -314 | -62800 | -0.0628
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12821 | 12806 | 15 | 15000 | 0.015 | 14649 | 12025 | 2624 | 2624000 | 2.624
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 74836 | 71143 | 3693 | 369300 | 0.3693 | 1644 | 1644 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 41748 | 42731 | -983 | -98300 | -0.0983 | 999405 | 999406 | -1 | -100 | -0.0001
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.6795 |  |  |  |  | -1.8112
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.6795 |  |  |  |  | -1.8112
MAY-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997821 | 997839 | -18 | 18000 | 0.018 | 952266 | 953196 | -930 | 930000 | 0.93
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15660 | 15671 | -11 | 11000 | 0.011 | 969239 | 970237 | -998 | 998000 | 0.998
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14277 | 14299 | -22 | 22000 | 0.022 | 959645 | 961056 | -1411 | 1411000 | 1.411
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980657 | 981052 | -395 | 395000 | 0.395 | 993801 | 993801 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972020 | 972443 | -423 | 423000 | 0.423 | 992091 | 992091 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1673 | 1685 | -12 | 12000 | 0.012 | 994461 | 994500 | -39 | 39000 | 0.039
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1520 | 1518 | 2 | -2000 | -0.002 | 984692 | 985158 | -466 | 466000 | 0.466
| 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 | 632 | 632 | 0 | 0 | 0 | 992003 | 992213 | -210 | 210000 | 0.21
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 619 | 632 | -13 | 26000 | 0.026 | 991792 | 992003 | -211 | 422000 | 0.422 | 1000/1 CT REPLACED with 2000/1 ON 06/05/11
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999728 | 999750 | -22 | 22000 | 0.022 | 977216 | 978016 | -800 | 800000 | 0.8
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13646 | 13618 | 28 | -28000 | -0.028 | 965596 | 967695 | -2099 | 2099000 | 2.099
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970457 | 970470 | -13 | 13000 | 0.013 | 920480 | 923737 | -3257 | 3257000 | 3.257
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20957 | 20898 | 59 | -59000 | -0.059 | 23821 | 21859 | 1962 | -1962000 | -1.962
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14931 | 14725 | 206 | -206000 | -0.206 | 31742 | 30670 | 1072 | -1072000 | -1.072
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.647 |  |  |  |  | 7.598
| (B) NET ENERGY TO EAST | [8 empty] | 0.647 |  |  |  |  | 7.598
6
MAY-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991901 | 992082 | -181 | 181000 | 0.181 | 998497 | 998673 | -176 | 176000 | 0.176
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999785 | 999842 | -57 | 28500 | 0.0285 | 999765 | 1000045 | -280 | 140000 | 0.14 | ROLL OVER
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 8877 | 6907 | 1970 | -197000 | -0.197 | 60363 | 58861 | 1502 | -150200 | -0.1502
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 13593 | 11887 | 1706 | -170600 | -0.1706 | 118727 | 117292 | 1435 | -143500 | -0.1435
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 995517 | 995585 | -68 | 6800 | 0.0068 | 4338 | 4311 | 27 | -2700 | -0.0027
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 18644 | 15419 | 3225 | -322500 | -0.3225 | 78578 | 77751 | 827 | -82700 | -0.0827
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45809 | 41495 | 4314 | -4314000 | -4.314 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
EXPORT TO SOUTH & WEST
9 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999624 | 999666 | -42 | 42000 | 0.042 | 35242 | 35473 | -231 | 231000 | 0.231
10 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999548 | 999589 | -41 | 54666.53 | 0.054667 | 139 | 252 | -113 | 150666.29 | 0.15067
EXPORT TO NORTH from SHASTRI PARK
11 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 655 | 590 | 65 | -65000 | -0.065 | 14695 | 14367 | 328 | -328000 | -0.328
12 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998951 | 998912 | 39 | -39000 | -0.039 | 3439 | 3522 | -83 | 83000 | 0.083
DMS
13 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 677 | 678 | -1 | 1000 | 0.001 | 52089 | 51379 | 710 | -710000 | -0.71
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
14 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3440 | 3438 | 2 | -1000 | -0.001 | 27319 | 26790 | 529 | -264500 | -0.2645
15 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3187 | 3185 | 2 | -1000 | -0.001 | 18703 | 18294 | 409 | -204500 | -0.2045
16 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3232 | 3231 | 1 | -500 | -0.0005 | 12618 | 12304 | 314 | -157000 | -0.157
17 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3182 | 3181 | 1 | -500 | -0.0005 | 14383 | 14055 | 328 | -164000 | -0.164
KASHMIRI GATE
18 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 87362 | 87069 | 293 | -29300 | -0.0293 | 26323 | 25897 | 426 | -42600 | -0.0426
19 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 8281 | 8254 | 27 | -2700 | -0.0027 | 31831 | 29690 | 2141 | -214100 | -0.2141
D.M.S.
20 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999545 | 999548 | -3 | 300 | 0.0003 | 4949 | 4757 | 192 | -19200 | -0.0192
21 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2299 | 2235 | 64 | -6400 | -0.0064 | 12369 | 11726 | 643 | -64300 | -0.0643
22 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 5364 | 5109 | 255 | -25500 | -0.0255 | 45822 | 44619 | 1203 | -120300 | -0.1203
23 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8211 | 8211 | 0 | 0 | 0 | 19022 | 19022 | 0 | 0 | 0
24 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999717 | 999726 | -9 | 900 | 0.0009 | 259 | 280 | -21 | 2100 | 0.0021
25 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
26 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 1024 | 975 | 49 | -4900 | -0.0049 | 57326 | 55928 | 1398 | -139800 | -0.1398
27 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 1440 | 785 | 655 | -65500 | -0.0655 | 50650 | 50099 | 551 | -55100 | -0.0551
28 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 1827 | 1084 | 743 | -74300 | -0.0743 | 72725 | 72175 | 550 | -55000 | -0.055
[10 empty] | -5.0045 |  |  |  |  | -2.1347
MAY-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.6795 |  |  |  |  | -1.8112
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -5.0045 |  |  |  |  | -2.1347
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.9832 |  |  |  |  | -0.0181
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -6.6672 |  |  |  |  | -3.964
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.647 |  |  |  |  | 7.598
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -6.0202 |  |  |  |  | 3.634
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.0202 | (REACTIVE MUs) |  |  |  | 3.634 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.060298 | (REACTIVE MUs) |  |  |  | -0.21483 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.9599 | (REACTIVE MUs) |  |  |  | 3.4191 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999180 | 999206 | -26 | -26000 | -0.026 | 11609 | 11494 | 115 | 115000 | 0.115
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 994507 | 995391 | -884 | -88400 | -0.0884 | 678464 | 680322 | -1858 | -185800 | -0.1858
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4791 | 4803 | -12 | -12000 | -0.012 | 44563 | 43682 | 881 | 881000 | 0.881
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9687 | 9604 | 83 | 83000 | 0.083 | 618 | 654 | -36 | -36000 | -0.036
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 622 | 578 | 44 | 13200 | 0.0132 | 451 | 366 | 85 | 25500 | 0.0255
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 5628 | 5544 | 84 | 8400 | 0.0084 | 80496 | 79591 | 905 | 90500 | 0.0905
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 29643 | 29583 | 60 | 6000 | 0.006 | 268869 | 269227 | -358 | -35800 | -0.0358
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 2476 | 2337 | 139 | 13900 | 0.0139 | 333522 | 330617 | 2905 | 290500 | 0.2905
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999889 | 999848 | 41 | 41000 | 0.041 | 11422 | 10657 | 765 | 765000 | 0.765
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995047 | 994935 | 112 | -112000 | -0.112 | 964836 | 965417 | -581 | 581000 | 0.581
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993659 | 993535 | 124 | -124000 | -0.124 | 967208 | 967763 | -555 | 555000 | 0.555
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989754 | 989921 | -167 | 167000 | 0.167 | 956189 | 958792 | -2603 | 2603000 | 2.603
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999709 | 999365 | 344 | -344000 | -0.344 | 968291 | 969529 | -1238 | 1238000 | 1.238
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12370 | 12373 | -3 | 3000 | 0.003 | 31372 | 31644 | -272 | 272000 | 0.272 | METER DAMAGED ON 12/05/11
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32 | 0 | 32 | -32000 | -0.032 | 999846 | 1000000 | -154 | 154000 | 0.154 | INSTALLED ON 14/05/11, ROLLOVER
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998280 | 997739 | 541 | -541000 | -0.541 | 978627 | 978753 | -126 | 126000 | 0.126 | METER DAMAGED ON 12/05/11
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5 | 0 | 5 | -5000 | -0.005 | 999797 | 1000000 | -203 | 203000 | 0.203 | INSTALLED ON 14/05/11, ROLLOVER
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38365 | 38052 | 313 | -313000 | -0.313 | 27649 | 27395 | 254 | -254000 | -0.254
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3608 | 3382 | 226 | -226000 | -0.226 | 12695 | 12834 | -139 | 139000 | 0.139
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23574 | 23174 | 400 | -400000 | -0.4 | 14383 | 14343 | 40 | -40000 | -0.04
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10402 | 9878 | 524 | -524000 | -0.524 | 40934 | 40128 | 806 | -806000 | -0.806
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5743 | 5744 | -1 | -1000 | -0.001 | 3939 | 3915 | 24 | 24000 | 0.024
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971338 | 973089 | -1751 | 1751000 | 1.751 | 909099 | 910088 | -989 | 989000 | 0.989
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993826 | 993959 | -133 | 133000 | 0.133 | 881688 | 886215 | -4527 | 4527000 | 4.527
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 306 | 307 | -1 | 1000 | 0.001 | 1537 | 1070 | 467 | -467000 | -0.467
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 448 | 448 | 0 | 0 | 0 | 993624 | 993848 | -224 | 224000 | 0.224
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998014 | 997847 | 167 | -167000 | -0.167 | 959036 | 959360 | -324 | 324000 | 0.324
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999631 | -1 | 1000 | 0.001 | 947042 | 950632 | -3590 | 3590000 | 3.59
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999030 | 999031 | -1 | 1000 | 0.001 | 937355 | 942053 | -4698 | 4698000 | 4.698
BRPL(+) continue | [14 empty] | MAY-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998832 | 998786 | 46 | -46000 | -0.046 | 977014 | 976312 | 702 | -702000 | -0.702
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37 | 29 | 8 | -8000 | -0.008 | 993794 | 992962 | 832 | -832000 | -0.832
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989868 | 989892 | -24 | 48000 | 0.048 | 977497 | 980174 | -2677 | 5354000 | 5.354
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998300 | 998261 | 39 | -39000 | -0.039 | 945330 | 948509 | -3179 | 3179000 | 3.179
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1510 | 1169 | 341 | -341000 | -0.341 | 960683 | 962599 | -1916 | 1916000 | 1.916
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998455 | 998455 | 0 | 0 | 0 | 951402 | 951645 | -243 | 243000 | 0.243
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 991753 | 991974 | -221 | 147333.186 | 0.14733 | 993924 | 996458 | -2534 | 1689331.644 | 1.6893
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 183 | 179 | 4 | -8000 | -0.008 | 603 | 474 | 129 | -258000 | -0.258
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996899 | 996895 | 4 | -8000 | -0.008 | 999913 | 999795 | 118 | -236000 | -0.236
PARK STREET
40 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999624 | 999666 | -42 | -42000 | -0.042 | 35242 | 35473 | -231 | -231000 | -0.231
41 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999548 | 999589 | -41 | -54666.53 | -0.054667 | 139 | 252 | -113 | -150666.29 | -0.15067
SARITA VIHAR
42 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2687 | 2902 | -215 | 215000 | 0.215 | 981381 | 982029 | -648 | 648000 | 0.648
43 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999297 | 999342 | -45 | 45000 | 0.045 | 987805 | 988246 | -441 | 441000 | 0.441
NARAINA
44 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 4415 | 4294 | 121 | 12100 | 0.0121 | 7801 | 7638 | 163 | 16300 | 0.0163
SUDARSHAN PARK
45 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 37815 | 36743 | 1072 | 107200 | 0.1072 | 146837 | 146590 | 247 | 24700 | 0.0247
REWARI LINE
46 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
47 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982710 | 982997 | -287 | -287000 | -0.287 | 992973 | 993139 | -166 | -166000 | -0.166
A.I.I.M.S.
48 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999567 | 999561 | 6 | 600 | 0.0006 | 2087 | 1545 | 542 | 54200 | 0.0542
49 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 3097 | 3052 | 45 | 4500 | 0.0045 | 6298 | 4601 | 1697 | 169700 | 0.1697
66KV GHEBRA
50 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998300 | 998287 | 13 | 16250 | 0.01625 | 238 | 72 | 166 | 207500 | 0.2075
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.93058 |  |  |  |  | 31.957
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | MAY-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 975305 | 977196 | -1891 | -189100 | -0.1891 | 857574 | 858665 | -1091 | -109100 | -0.1091
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 74836 | 71143 | 3693 | -369300 | -0.3693 | 1644 | 1644 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 41748 | 42731 | -983 | 98300 | 0.0983 | 999405 | 999406 | -1 | 100 | 0.0001
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 351 | 351 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 568 | 567 | 1 | -100 | -0.0001 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 741510 | 722353 | 19157 | -1915700 | -1.9157 | 43512 | 43485 | 27 | -2700 | -0.0027
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3085 | 2989 | 96 | -96000 | -0.096 | 1551 | 1147 | 404 | -404000 | -0.404
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 759682 | 735152 | 24530 | -2453000 | -2.453 | 38259 | 38229 | 30 | -3000 | -0.003
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 15476 | 14419 | 1057 | -105700 | -0.1057 | 49255 | 48628 | 627 | -62700 | -0.0627
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 14403 | 14188 | 215 | -21500 | -0.0215 | 49505 | 48224 | 1281 | -128100 | -0.1281
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 36762 | 34711 | 2051 | -410200 | -0.4102 | 102076 | 100700 | 1376 | -275200 | -0.2752
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 16068 | 14500 | 1568 | -156800 | -0.1568 | 6569 | 3279 | 3290 | -329000 | -0.329
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 15350 | 14100 | 1250 | -125000 | -0.125 | 610563 | 607569 | 2994 | -299400 | -0.2994
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 85724 | 85331 | 393 | -39300 | -0.0393 | 184973 | 173032 | 11941 | -1194100 | -1.1941
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 159363 | 158560 | 803 | 80300 | 0.0803 | 31292 | 27519 | 3773 | 377300 | 0.3773
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 759 | 723 | 36 | -3600 | -0.0036 | 11723 | 11452 | 271 | -27100 | -0.0271
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 9891 | 9629 | 262 | -26200 | -0.0262 | 47771 | 46928 | 843 | -84300 | -0.0843
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 6701 | 6503 | 198 | -19800 | -0.0198 | 9326 | 8442 | 884 | -88400 | -0.0884
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 8483 | 8405 | 78 | -7800 | -0.0078 | 27163 | 26636 | 527 | -52700 | -0.0527
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13706 | 13706 | 0 | 0 | 0 | 35231 | 35231 | 0 | 0 | 0
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 30482 | 29747 | 735 | -73500 | -0.0735 | 8631 | 8531 | 100 | -10000 | -0.01
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 14503 | 14289 | 214 | -21400 | -0.0214 | 8703 | 8468 | 235 | -23500 | -0.0235
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998055 | 997991 | 64 | -6400 | -0.0064 | 1000049 | 999978 | 71 | -7100 | -0.0071 | ROLL OVER
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4567 | 4567 | 0 | 0 | 0 | 12600 | 12600 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999321 | 999321 | 0 | 0 | 0 | 999190 | 999155 | 35 | -3500 | -0.0035
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -5.8618 |  |  |  |  | -2.7265
MAY-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.93058 |  |  |  |  | 31.957
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -5.8618 |  |  |  |  | -2.7265
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.1288 |  |  |  |  | 1.1851
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0664 |  |  |  |  | -0.5849
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -6.73 |  |  |  |  | 29.8307
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.73 | (REACTIVE MUs) |  |  |  | 29.8307 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.10667 | (REACTIVE MUs) |  |  |  | -0.38003 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.6233 | (REACTIVE MUs) |  |  |  | 29.4506 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 8877 | 6907 | 1970 | 197000 | 0.197 | 60363 | 58861 | 1502 | 150200 | 0.1502
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 13593 | 11887 | 1706 | 170600 | 0.1706 | 118727 | 117292 | 1435 | 143500 | 0.1435
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 995517 | 995585 | -68 | -6800 | -0.0068 | 4338 | 4311 | 27 | 2700 | 0.0027
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 18644 | 15419 | 3225 | 322500 | 0.3225 | 78578 | 77751 | 827 | 82700 | 0.0827
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 45809 | 41495 | 4314 | 4314000 | 4.314 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 997811 | 997836 | -25 | -2500 | -0.0025 | 273891 | 269972 | 3919 | 391900 | 0.3919
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 3645 | 3475 | 170 | 17000 | 0.017 | 407892 | 402282 | 5610 | 561000 | 0.561
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 8687 | 8400 | 287 | 28700 | 0.0287 | 182998 | 180603 | 2395 | 239500 | 0.2395
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 4079 | 3893 | 186 | 18600 | 0.0186 | 299108 | 297033 | 2075 | 207500 | 0.2075
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998805 | 998846 | -41 | -4100 | -0.0041 | 209958 | 204166 | 5792 | 579200 | 0.5792
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998223 | 998341 | -118 | -11800 | -0.0118 | 122138 | 122588 | -450 | -45000 | -0.045
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 8610 | 8251 | 359 | 35900 | 0.0359 | 182494 | 181220 | 1274 | 127400 | 0.1274
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 7032 | 6630 | 402 | 40200 | 0.0402 | 220902 | 218926 | 1976 | 197600 | 0.1976
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 54529 | 51935 | 2594 | 2853400 | 2.8534
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4855 | 4790 | 65 | 65000 | 0.065 | 36270 | 36109 | 161 | 161000 | 0.161
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 120821 | 119047 | 1774 | 1951400 | 1.9514
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8121 | 8071 | 50 | 50000 | 0.05 | 48141 | 48134 | 7 | 7000 | 0.007
[10 empty] | 0.115 |  |  |  |  | 4.9728
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 741510 | 722353 | 19157 | 1915700 | 1.9157 | 43512 | 43485 | 27 | 2700 | 0.0027
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3085 | 2989 | 96 | 96000 | 0.096 | 1551 | 1147 | 404 | 404000 | 0.404
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 759682 | 735152 | 24530 | 2453000 | 2.453 | 38259 | 38229 | 30 | 3000 | 0.003
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 16068 | 14500 | 1568 | 156800 | 0.1568 | 6569 | 3279 | 3290 | 329000 | 0.329
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 15350 | 14100 | 1250 | 125000 | 0.125 | 610563 | 607569 | 2994 | 299400 | 0.2994
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 85724 | 85331 | 393 | 39300 | 0.0393 | 184973 | 173032 | 11941 | 1194100 | 1.1941
MAY-2011
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 159363 | 158560 | 803 | -80300 | -0.0803 | 31292 | 27519 | 3773 | -377300 | -0.3773
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 759 | 723 | 36 | 3600 | 0.0036 | 11723 | 11452 | 271 | 27100 | 0.0271
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 15476 | 14419 | 1057 | 105700 | 0.1057 | 49255 | 48628 | 627 | 62700 | 0.0627
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 14403 | 14188 | 215 | 21500 | 0.0215 | 49505 | 48224 | 1281 | 128100 | 0.1281
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 36762 | 34711 | 2051 | 410200 | 0.4102 | 102076 | 100700 | 1376 | 275200 | 0.2752
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 975305 | 977196 | -1891 | 189100 | 0.1891 | 857574 | 858665 | -1091 | 109100 | 0.1091
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999567 | 999561 | 6 | -600 | -0.0006 | 2087 | 1545 | 542 | -54200 | -0.0542
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 3097 | 3052 | 45 | -4500 | -0.0045 | 6298 | 4601 | 1697 | -169700 | -0.1697
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 10.6648 |  |  |  |  | 9.8442
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 10.6648 |  |  |  |  | 9.8442
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.013144 |  |  |  |  | -0.046829
| TOTAL ENERGY TO NDMC | [8 empty] | 10.6779 |  |  |  |  | 9.7974

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 547 | 542 | 5 | 5000 | 0.005 | 12390 | 12190 | 200 | 200000 | 0.2
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 377 | 374 | 3 | 3000 | 0.003 | 17020 | 16561 | 459 | 459000 | 0.459
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 665 | 659 | 6 | 6000 | 0.006 | 24239 | 23678 | 561 | 561000 | 0.561
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 408 | 405 | 3 | 3000 | 0.003 | 12638 | 12420 | 218 | 218000 | 0.218
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1279 | 1236 | 43 | 43000 | 0.043 | 6172 | 6050 | 122 | 122000 | 0.122
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 351 | 351 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 568 | 567 | 1 | 100 | 0.0001 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0601 |  |  |  |  | 1.56
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3232 | 3223 | 9 | 900 | 0.0009 | 32191 | 32120 | 71 | 7100 | 0.0071
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 23628 | 23344 | 284 | 28400 | 0.0284 | 54484 | 53085 | 1399 | 139900 | 0.1399
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 63698 | 63635 | 63 | 6300 | 0.0063 | 6114 | 5965 | 149 | 14900 | 0.0149
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 14974 | 14935 | 39 | 3900 | 0.0039 | 39299 | 37557 | 1742 | 174200 | 0.1742
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999778 | 999777 | 1 | 100 | 0.0001 | 14352 | 14145 | 207 | 20700 | 0.0207
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 69264 | 69027 | 237 | 23700 | 0.0237 | 31750 | 29963 | 1787 | 178700 | 0.1787
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 679 | 672 | 7 | 700 | 0.0007 | 1729 | 1223 | 506 | 50600 | 0.0506
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.064 |  |  |  |  | 0.5861
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7355 | 7403 | -48 | -2400 | -0.0024 | 18564 | 18540 | 24 | 1200 | 0.0012
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.0024 |  |  |  |  | 0.0012
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0664 |  |  |  |  | 0.5849
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0601 |  |  |  |  | 1.56
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1265 |  |  |  |  | 2.1449
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1265 | (REACTIVE MUs) |  |  |  | 2.1449 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0018705 | (REACTIVE MUs) |  |  |  | -0.0066642 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.12837 | (REACTIVE MUs) |  |  |  | 2.1382 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 62854 | 69266 | -6412 | -641200 | -0.6412 | 76576 | 76607 | -31 | -3100 | -0.0031
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 15134 | 17122 | -1988 | -198800 | -0.1988 | 999898 | 999951 | -53 | -5300 | -0.0053
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 152404 | 143956 | 8448 | 844800 | 0.8448 | 86600 | 86465 | 135 | 13500 | 0.0135
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13396 | 13286 | 110 | 110000 | 0.11 | 16931 | 16889 | 42 | 42000 | 0.042
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993849 | 993867 | -18 | 9000 | 0.009 | 957108 | 959301 | -2193 | 1096500 | 1.0965
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994432 | 994442 | -10 | 5000 | 0.005 | 989216 | 989299 | -83 | 41500 | 0.0415
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999895 | 999895 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.1288 |  |  |  |  | 1.1851
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 957442 | 959057 | -1615 | -323000 | -0.323 | 990947 | 990934 | 13 | 2600 | 0.0026
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 923511 | 930113 | -6602 | -660200 | -0.6602 | 931113 | 931320 | -207 | -20700 | -0.0207
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.9832 |  |  |  |  | -0.0181
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 156727 | 154707 | 2020 | 404000 | 0.404 | 252703 | 252446 | 257 | 51400 | 0.0514
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 38075 | 33673 | 4402 | 880400 | 0.8804 | 39030 | 38989 | 41 | 8200 | 0.0082
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 43335 | 34989 | 8346 | 834600 | 0.8346 | 67774 | 67698 | 76 | 7600 | 0.0076
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988696 | 989597 | -901 | -901000 | -0.901 | 997653 | 997645 | 8 | 8000 | 0.008
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 984490 | 984141 | 349 | 34900 | 0.0349 | 7811 | 7831 | -20 | -2000 | -0.002
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 132 | 129 | 3 | 2812.5 | 0.0028125 | 299 | 15 | 284 | 266250 | 0.26625
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 994012 | 994190 | -178 | 89000 | 0.089 | 995891 | 995902 | -11 | 5500 | 0.0055
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999895 | 999895 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.3447 |  |  |  |  | 0.34495
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.1288 |  |  |  |  | 1.1851
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.9832 |  |  |  |  | -0.0181
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.3447 |  |  |  |  | 0.34495

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6887 | 6999 | -112 | -224000 | -0.224 | 999947 | 999922 | 25 | 50000 | 0.05
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 6088 | 5922 | 166 | 332000 | 0.332 | 999719 | 999660 | 59 | 118000 | 0.118
[7 empty] | NET REACTIVE ENERGY |  |  | 0.108 |  | NET REACTIVE ENERGY |  |  | 0.168
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999660 | 999658 | 2 | 2000 | 0.002 | 43554 | 42298 | 1256 | 1256000 | 1.256
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991408 | 991408 | 0 | 0 | 0 | 991979 | 988846 | 3133 | 3133000 | 3.133
[7 empty] | NET REACTIVE ENERGY |  |  | 0.002 |  | NET REACTIVE ENERGY |  |  | 4.389
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.11 |  |  |  |  | 4.557
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.4743 |  |  |  |  | -8.6416
[7 empty] | NDMC = |  |  | 0.115 |  |  |  |  | 4.9728
MES =
[7 empty] | 2)TOTAL |  |  | -0.3593 |  |  |  |  | -3.6688
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.2493 |  |  |  |  | 0.8882
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.0042 | % |  |  | -0.067321 |  |  |  |  | 0.23985
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.7862 | % |  |  | -0.10667 |  |  |  |  | 0.38003
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1869 | % |  |  | -0.060298 |  |  |  |  | 0.21483
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2724 | % |  |  | -0.013144 |  |  |  |  | 0.046829
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7503 | % |  |  | -0.0018705 |  |  |  |  | 0.0066642
Note :Sharing taken from wk-7 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2011 TO 31st MAY-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 1.1625 | + | 7.5478
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -6.6233 | + | 29.4506
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -5.9599 | + | 3.4191
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 10.6779 | + | 9.7974
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.12837 | + | 2.1382
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/11 | INTIAL READING 01/05/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 990511 | 990585 | -74 | -111000 | -0.111 | 981240 | 981725 | -485 | -727500 | -0.7275
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 985145 | 986323 | -1178 | -1767000 | -1.767 | 987344 | 987354 | -10 | -15000 | -0.015
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 949875 | 950154 | -279 | -418500 | -0.4185 | 970479 | 971559 | -1080 | -1620000 | -1.62
[8 empty] | NET REACTIVE ENERGY |  | -2.2965 |  |  | NET REACTIVE ENERGY |  | -2.3625
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 996996 | 996979 | 17 | 85000 | 0.085 | 37746 | 37806 | -60 | -300000 | -0.3
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999531 | 999536 | -5 | -5000 | -0.005 | 8740 | 8861 | -121 | -121000 | -0.121
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 979699 | 979818 | -119 | -119000 | -0.119 | 992239 | 992475 | -236 | -236000 | -0.236
[8 empty] | NET REACTIVE ENERGY |  | -0.039 |  |  | NET REACTIVE ENERGY |  | -0.657