## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976301 | 976905 | -604 | 604000 | 0.604 | 995582 | 995585 | -3 | 3000 | 0.003
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995632 | 995362 | 270 | -270000 | -0.27 | 996401 | 996401 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.02 | Assessment 15/07
|  | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 20 | -20000 | -0.02 | w.e.f 16/07/2015
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987739 | 988162 | -423 | 423000 | 0.423 | 996112 | 996139 | -27 | 27000 | 0.027
SUBZI MANDI
4 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999974 | 999999 | -25 | 25000 | 0.025 | 997256 | 998698 | -1442 | 1442000 | 1.442
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919177 | 918414 | 763 | -763000 | -0.763 | 933836 | 933824 | 12 | -12000 | -0.012
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22919 | 22976 | -57 | 57000 | 0.057 | 17885 | 17892 | -7 | 7000 | 0.007
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8185 | 8254 | -69 | 69000 | 0.069 | 11563 | 11568 | -5 | 5000 | 0.005
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13393 | 13432 | -39 | 48750 | 0.04875 | 993537 | 993682 | -145 | 181250 | 0.18125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 608 | 714 | -106 | 106000 | 0.106 | 982796 | 982945 | -149 | 149000 | 0.149
SHALIMAR BAGH
10 | Tx.1 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19543 | 19675 | -132 | 132000 | 0.132 | 7850 | 7855 | -5 | 5000 | 0.005 | Check meter data
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987066 | 987228 | -162 | 162000 | 0.162 | 3126 | 3128 | -2 | 2000 | 0.002
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986117 | 986253 | -136 | 136000 | 0.136 | 997776 | 997794 | -18 | 18000 | 0.018
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 868739 | 868739 | 0 | 0 | 0 | 920488 | 920488 | 0 | 0 | 0 | Meter faulty
[10 empty] | -1.311 |  |  |  |  | 0 | Assessment
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984283 | 984431 | -148 | 148000 | 0.148 | 16831 | 16829 | 2 | -2000 | -0.002
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 718 | 739 | -21 | 21000 | 0.021 | 20156 | 20153 | 3 | -3000 | -0.003
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4994 | 4917 | 77 | -77000 | -0.077 | 999985 | 999984 | 1 | -1000 | -0.001
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999998 | 999998 | 0 | 0 | 0 | 983206 | 984017 | -811 | -162200 | -0.1622
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 713 | 713 | 0 | 0 | 0 | 29249 | 29354 | -105 | -105000 | -0.105
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5582 | 5578 | 4 | 400 | 0.0004 | 165201 | 163417 | 1784 | 178400 | 0.1784
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 33248 | 33052 | 196 | 19600 | 0.0196 | 245752 | 244056 | 1696 | 169600 | 0.1696
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996479 | 996478 | 1 | 1000 | 0.001 | 1734 | 2297 | -563 | -563000 | -0.563
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 559 | 557 | 2 | 2000 | 0.002 | 6482 | 6854 | -372 | -372000 | -0.372
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999884 | 999849 | 35 | 35000 | 0.035 | 54 | 44 | 10 | 10000 | 0.01
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634662 | 634696 | -34 | -34000 | -0.034 | 797191 | 797315 | -124 | -124000 | -0.124
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640464 | 640601 | -137 | -137000 | -0.137 | 830376 | 830456 | -80 | -80000 | -0.08
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4641 | 4502 | 139 | 55600 | 0.0556 | 999103 | 999215 | -112 | -44800 | -0.0448
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4065 | 4012 | 53 | 26500 | 0.0265 | 3770 | 3828 | -58 | -29000 | -0.029
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24106 | 23535 | 571 | -571000 | -0.571 | 981050 | 981051 | -1 | 1000 | 0.001
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7100 | 7184 | -84 | 84000 | 0.084 | 996776 | 996999 | -223 | 223000 | 0.223
BAWANA
30 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6847 | 6824 | 23 | -23000 | -0.023 | 923854 | 924135 | -281 | 281000 | 0.281
DSIDC BAWANA
31 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 150 | 89 | 61 | -61000 | -0.061 | 998898 | 999264 | -366 | 366000 | 0.366
32 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 283 | 152 | 131 | -131000 | -0.131 | 876 | 627 | 249 | -249000 | -0.249
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2885 | 3021 | -136 | 136000 | 0.136 | 998695 | 998696 | -1 | 1000 | 0.001
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3308 | 3309 | -1 | 1000 | 0.001 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996151 | 996321 | -170 | 170000 | 0.17 | 999774 | 999775 | -1 | 1000 | 0.001
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4521 | 4565 | -44 | 44000 | 0.044 | 999992 | 999993 | -1 | 1000 | 0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2140 | 2135 | 5 | 5000 | 0.005 | 24172 | 23932 | 240 | 240000 | 0.24
38 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 626 | 626 | 0 | 0 | 0 | 2819 | 2819 | 0 | 0 | 0
[10 empty] | 0.004 |  |  |  |  | 0.005 | Assessment 06/07
|  | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 19 | 0 | 19 | 19000 | 0.019 | 24 | 0 | 24 | 24000 | 0.024 | w.e.f 07/07/2015
| NDPL(+) continue | [14 empty] | JULY-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 173282 | 173477 | -195 | -24375 | -0.024375 | 261314 | 261318 | -4 | -500 | -0.0005
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9227 | 9231 | -4 | -400 | -0.0004 | 30558 | 30051 | 507 | 50700 | 0.0507
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11052 | 11048 | 4 | 400 | 0.0004 | 62227 | 61106 | 1121 | 112100 | 0.1121
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 18649 | 18376 | 273 | 27300 | 0.0273 | 65321 | 64796 | 525 | 52500 | 0.0525
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 7530 | 7409 | 121 | 12100 | 0.0121 | 5509 | 5008 | 501 | 50100 | 0.0501
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17205 | 17265 | -60 | -6000 | -0.006 | 20458 | 20090 | 368 | 36800 | 0.0368
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 995238 | 995322 | -84 | -3732.96 | -0.003733 | 591 | 447 | 144 | 6399.36 | 0.0063994
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5473 | 5473 | 0 | 0 | 0 | 32252 | 31962 | 290 | 145000 | 0.145
52 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3706 | 3706 | 0 | 0 | 0 | 29419 | 29380 | 39 | 19500 | 0.0195 | data till 13/07/2015
[15 empty] | 0.027 | Assessment
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6676 | 6618 | 58 | 29000 | 0.029 | 14926 | 14921 | 5 | 2500 | 0.0025
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1950 | 1853 | 97 | 64666.6667 | 0.064667 | 1023 | 1010 | 13 | 8666.6667 | 0.0086667
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998514 | 998537 | -23 | -2300 | -0.0023 | 25 | 25 | 0 | 0 | 0
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999927 | 999931 | -4 | -400 | -0.0004 | 999995 | 999998 | -3 | -300 | -0.0003
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23810 | 23568 | 242 | 24200 | 0.0242 | 57143 | 57143 | 0 | 0 | 0
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999962 | 999975 | -13 | -1300 | -0.0013 | 999998 | 999998 | 0 | 0 | 0
60 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 179257 | 178864 | 393 | 39300 | 0.0393 | 54400 | 53498 | 902 | 90200 | 0.0902
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 20808 | 19636 | 1172 | 117200 | 0.1172 | 66236 | 66231 | 5 | 500 | 0.0005
63 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 9906 | 8274 | 1632 | 163200 | 0.1632 | 4610 | 4603 | 7 | 700 | 0.0007
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 169196 | 167957 | 1239 | 123900 | 0.1239 | 20743 | 20743 | 0 | 0 | 0
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23889 | 23862 | 27 | 2700 | 0.0027 | 46546 | 46056 | 490 | 49000 | 0.049
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 976884 | 976877 | 7 | 5600 | 0.0056 | 261 | 246 | 15 | 12000 | 0.012
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 281 | 283 | -2 | -4000 | -0.004 | 24 | 18 | 6 | 12000 | 0.012
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 5269783 | ELSTER | Kvarh(Lead/Lag) | 1000 | 201 | 173 | 28 | 28000 | 0.028 | 207 | 156 | 51 | 51000 | 0.051
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.24809 |  |  |  |  | 2.2791
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 20818 | 20666 | 152 | -15200 | -0.0152 | 19580 | 19105 | 475 | -47500 | -0.0475
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13471 | 13290 | 181 | -181000 | -0.181 | 7850 | 7825 | 25 | -25000 | -0.025
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 9263 | 9457 | -194 | 38800 | 0.0388 | 21623 | 22839 | -1216 | 243200 | 0.2432
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85726 | 85721 | 5 | -5000 | -0.005 | 118819 | 118155 | 664 | -664000 | -0.664
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 9472 | 9510 | -38 | 3800 | 0.0038 | 61360 | 61390 | -30 | 3000 | 0.003
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918105 | 919629 | -1524 | 1524000 | 1.524 | 991939 | 991939 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.3654 |  |  |  |  | -0.4903
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.24809 |  |  |  |  | 2.2791
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.3654 |  |  |  |  | -0.4903
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.40774 |  |  |  |  | -0.12273
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 1.525 |  |  |  |  | 1.6661
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.525 | (REACTIVE MUs) |  |  |  | 1.6661 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.84443 | (REACTIVE MUs) |  |  |  | -1.2349 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.3695 | (REACTIVE MUs) |  |  |  | 0.4312 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 997213 | 998307 | -1094 | -109400 | -0.1094 | 38743 | 38760 | -17 | -1700 | -0.0017 | check meter data
|  | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 285 | 0 | 285 | 28500 | 0.0285 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/07/2015
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 8919 | 6241 | 2678 | 267800 | 0.2678 | 56326 | 56428 | -102 | -10200 | -0.0102
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 13314 | 15176 | -1862 | -186200 | -0.1862 | 32181 | 32199 | -18 | -1800 | -0.0018
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 1000120 | 999891 | 229 | 137400 | 0.1374 | 5350 | 5331 | 19 | 11400 | 0.0114
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 500 | 1850 | 1904 | -54 | -27000 | -0.027 | 2629 | 2596 | 33 | 16500 | 0.0165
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 24070 | 19953 | 4117 | 411700 | 0.4117 | 172469 | 172326 | 143 | 14300 | 0.0143
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 26388 | 23978 | 2410 | 241000 | 0.241 | 122792 | 122790 | 2 | 200 | 0.0002
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990785 | 990768 | 17 | 17000 | 0.017 | 1357 | 1136 | 221 | 221000 | 0.221
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998234 | 998241 | -7 | -7000 | -0.007 | 2201 | 2319 | -118 | -118000 | -0.118
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 536 | 499 | 37 | 37000 | 0.037 | 1309 | 1346 | -37 | -37000 | -0.037
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997671 | 997671 | 0 | 0 | 0 | 2515 | 2502 | 13 | 13000 | 0.013
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997240 | 997330 | -90 | -90000 | -0.09 | 4660 | 4572 | 88 | 88000 | 0.088
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 39 | 4 | 35 | 35000 | 0.035 | 999655 | 999770 | -115 | -115000 | -0.115
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999340 | 999309 | 31 | 31000 | 0.031 | 17210 | 17066 | 144 | 144000 | 0.144
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1136 | 1112 | 24 | 24000 | 0.024 | 38157 | 37838 | 319 | 319000 | 0.319
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999935 | 999935 | 0 | 0 | 0 | 27481 | 27416 | 65 | 65000 | 0.065
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1594 | 1598 | -4 | -4000 | -0.004 | 9529 | 9520 | 9 | 9000 | 0.009
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11341 | 11313 | 28 | 2800 | 0.0028 | 328 | 327 | 1 | 100 | 0.0001
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996819 | 996822 | -3 | -3000 | -0.003 | 14451 | 14461 | -10 | -10000 | -0.01
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 1000000 | -1 | -1375 | -0.001375 | 996694 | 999038 | -2344 | -3223000 | -3.223
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 718716 | 722300 | -3584 | -3942400 | -3.9424
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984338 | 984845 | -507 | -507000 | -0.507 | 8641 | 8815 | -174 | -174000 | -0.174
| KASHMIRI GATE | [8 empty] | -0.46558 |  |  |  |  | -6.7603
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955584 | 955453 | 131 | -131000 | -0.131 | 947197 | 947439 | -242 | 242000 | 0.242
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963909 | 963858 | 51 | -51000 | -0.051 | 955236 | 955291 | -55 | 55000 | 0.055
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 540 | 538 | 2 | 2000 | 0.002 | 6067 | 5915 | 152 | 152000 | 0.152
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54196 | 53955 | 241 | -241000 | -0.241 | 974525 | 974408 | 117 | -117000 | -0.117
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41619 | 41558 | 61 | -61000 | -0.061 | 970551 | 970433 | 118 | -118000 | -0.118
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996933 | 996949 | -16 | 16000 | 0.016 | 995439 | 995510 | -71 | 71000 | 0.071
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999995 | 999797 | 198 | -198000 | -0.198 | 999783 | 999810 | -27 | 27000 | 0.027
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2984 | 3021 | -37 | 74000 | 0.074 | 999639 | 999740 | -101 | 202000 | 0.202
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999540 | 999459 | 81 | -162000 | -0.162 | 999961 | 999963 | -2 | 4000 | 0.004
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1124 | 733 | 391 | -391000 | -0.391 | 999974 | 999974 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 9263 | 9457 | -194 | -38800 | -0.0388 | 21623 | 22839 | -1216 | -243200 | -0.2432
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85726 | 85721 | 5 | 5000 | 0.005 | 118819 | 118155 | 664 | 664000 | 0.664
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 97980 | 98083 | -103 | -10300 | -0.0103 | 1274 | 1398 | -124 | -12400 | -0.0124
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 149367 | 149131 | 236 | 23600 | 0.0236 | 13249 | 11032 | 2217 | 221700 | 0.2217
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.86528 |  |  |  |  | -5.5835
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.86528 |  |  |  |  | -5.5835
JULY-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982923 | 982975 | -52 | 52000 | 0.052 | 901930 | 903575 | -1645 | 1645000 | 1.645
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6287 | 6324 | -37 | 37000 | 0.037 | 922219 | 923625 | -1406 | 1406000 | 1.406
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982662 | 982732 | -70 | 70000 | 0.07 | 967063 | 968605 | -1542 | 1542000 | 1.542
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995622 | 995642 | -20 | 40000 | 0.04 | 984993 | 985181 | -188 | 376000 | 0.376
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 899634 | 899634 | 0 | 0 | 0 | 990285 | 990285 | 0 | 0 | 0
[10 empty] | 0.1062 |  |  |  |  | 0 | Assessment
|  | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998504 | 1000000 | -1496 | 1496000 | 1.496 | 999999 | 1000000 | -1 | 1000 | 0.001 | w.e.f 03/07/2015
5 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994636 | 995451 | -815 | 815000 | 0.815 | 999842 | 999904 | -62 | 62000 | 0.062
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6281 | 6167 | 114 | -114000 | -0.114 | 984210 | 984263 | -53 | 53000 | 0.053
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) |  | 1163 | 1262 | -99 | 0 | 0 | 999713 | 999789 | -76 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998117 | 998211 | -94 | 94000 | 0.094 | 944707 | 944808 | -101 | 101000 | 0.101
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984142 | 984223 | -81 | 81000 | 0.081 | 979360 | 981277 | -1917 | 1917000 | 1.917
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958624 | 958679 | -55 | 55000 | 0.055 | 860490 | 861670 | -1180 | 1180000 | 1.18
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16928 | 17225 | -297 | 297000 | 0.297 | 34640 | 34716 | -76 | 76000 | 0.076
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23031 | 23076 | -45 | 45000 | 0.045 | 44620 | 44760 | -140 | 140000 | 0.14
14 | TX-3 | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999375 | 999069 | 306 | -306000 | -0.306 | 930 | 732 | 198 | -198000 | -0.198
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 2.7682 |  |  |  |  | 8.301
| (B) NET ENERGY TO EAST | [8 empty] | 2.7682 |  |  |  |  | 8.301
JULY-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4641 | 4502 | 139 | -55600 | -0.0556 | 999103 | 999215 | -112 | 44800 | 0.0448
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4065 | 4012 | 53 | -26500 | -0.0265 | 3770 | 3828 | -58 | 29000 | 0.029
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 51646 | 51507 | 139 | -27800 | -0.0278 | 79991 | 79478 | 513 | -102600 | -0.1026
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73736 | 73770 | -34 | 3400 | 0.0034 | 140212 | 140292 | -80 | 8000 | 0.008
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 978323 | 978321 | 2 | -400 | -0.0004 | 998322 | 998679 | -357 | 71400 | 0.0714
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 80689 | 80649 | 40 | -8000 | -0.008 | 98436 | 97586 | 850 | -170000 | -0.17
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 11524 | 11486 | 38 | -30400 | -0.0304 | 5997 | 5394 | 603 | -482400 | -0.4824
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13985 | 13978 | 7 | -14000 | -0.014 | 2693 | 2552 | 141 | -282000 | -0.282
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980639 | 980678 | -39 | 31200 | 0.0312 | 990092 | 990289 | -197 | 157600 | 0.1576
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 979084 | 979219 | -135 | 108000 | 0.108 | 985372 | 986098 | -726 | 580800 | 0.5808
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 988217 | 988311 | -94 | 75200 | 0.0752 | 993517 | 993850 | -333 | 266400 | 0.2664
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 988905 | 988940 | -35 | 28000 | 0.028 | 994870 | 994913 | -43 | 34400 | 0.0344 | W.E.f 04/07/2015
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988519 | 988556 | -37 | 37000 | 0.037 | 35750 | 36062 | -312 | 312000 | 0.312
14 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999958 | 999980 | -22 | 44000 | 0.044 | 999817 | 999945 | -128 | 256000 | 0.256
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2140 | 2135 | 5 | -5000 | -0.005 | 24172 | 23932 | 240 | -240000 | -0.24
16 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 626 | 626 | 0 | 0 | 0 | 2819 | 2819 | 0 | 0 | 0
[10 empty] | -0.0045 |  |  |  |  | -0.00576 | Assessment
|  | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19 | 0 | 19 | -19000 | -0.019 | 24 | 0 | 24 | -24000 | -0.024 | w.e.f07/07/2015
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5473 | 5473 | 0 | 0 | 0 | 32252 | 31962 | 290 | -145000 | -0.145
19 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3706 | 3706 | 0 | 0 | 0 | 29419 | 29380 | 39 | -19500 | -0.0195 | data till 13/07
[15 empty] | -0.027 | Assessment
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6676 | 6618 | 58 | -29000 | -0.029 | 14926 | 14921 | 5 | -2500 | -0.0025
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1950 | 1853 | 97 | -64666.6667 | -0.064667 | 1023 | 1010 | 13 | -8666.6667 | -0.0086667
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 169196 | 167957 | 1239 | -123900 | -0.1239 | 20743 | 20743 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23889 | 23862 | 27 | -2700 | -0.0027 | 46546 | 46056 | 490 | -49000 | -0.049
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998514 | 998537 | -23 | 2300 | 0.0023 | 25 | 25 | 0 | 0 | 0
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999927 | 999931 | -4 | 400 | 0.0004 | 999995 | 999998 | -3 | 300 | 0.0003
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23810 | 23568 | 242 | -24200 | -0.0242 | 57143 | 57143 | 0 | 0 | 0
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999962 | 999975 | -13 | 1300 | 0.0013 | 999998 | 999998 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 179257 | 178864 | 393 | -39300 | -0.0393 | 54400 | 53498 | 902 | -90200 | -0.0902
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 20808 | 19636 | 1172 | -117200 | -0.1172 | 66236 | 66231 | 5 | -500 | -0.0005
32 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 9906 | 8274 | 1632 | -163200 | -0.1632 | 4610 | 4603 | 7 | -700 | -0.0007
[10 empty] | -0.42457 |  |  |  |  | 0.11087
JULY-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.86528 |  |  |  |  | -5.5835
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.42457 |  |  |  |  | 0.11087
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.3511 |  |  |  |  | -0.12277
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.6409 |  |  |  |  | -5.5954
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 2.7682 |  |  |  |  | 8.301
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.1273 |  |  |  |  | 2.7056
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.1273 | (REACTIVE MUs) |  |  |  | 2.7056 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.69143 | (REACTIVE MUs) |  |  |  | -1.0111 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.8187 | (REACTIVE MUs) |  |  |  | 1.6945 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999996 | 1000002 | -6 | -30000 | -0.03 | 999913 | 999908 | 5 | 25000 | 0.025
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984838 | 984851 | -13 | -17333.29 | -0.017333 | 673100 | 673094 | 6 | 7999.98 | 0.008
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10096 | 10073 | 23 | 115000 | 0.115 | 71147 | 71142 | 5 | 25000 | 0.025
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13404 | 12921 | 483 | 483000 | 0.483 | 157 | 126 | 31 | 31000 | 0.031
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 75 | 2284 | 1453 | 831 | 62325 | 0.062325 | 2701 | 2340 | 361 | 27075 | 0.027075 | data till 14/07/2015
[10 empty] | 0.062325 |  |  |  |  | 0.027075 | Assessment
|  | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 117 | 0 | 117 | 11700 | 0.0117 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/07/2015
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 709383 | 710051 | -668 | -50100 | -0.0501 | 27881 | 27898 | -17 | -1275 | -0.001275
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 996013 | 996702 | -689 | -51675 | -0.051675 | 999554 | 999046 | 508 | 38100 | 0.0381
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999488 | 999339 | 149 | 134100 | 0.1341 | 998739 | 998701 | 38 | 34200 | 0.0342
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 137 | 122 | 15 | -7500 | -0.0075 | 994497 | 994796 | -299 | 149500 | 0.1495
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987753 | 987745 | 8 | -8000 | -0.008 | 948002 | 948156 | -154 | 154000 | 0.154
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996026 | 996026 | 0 | 0 | 0 | 996106 | 996106 | 0 | 0 | 0
13 | Tx.4 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 169 | 171 | -2 | 2000 | 0.002 | 999937 | 999939 | -2 | 2000 | 0.002
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979182 | 979311 | -129 | 129000 | 0.129 | 970432 | 970966 | -534 | 534000 | 0.534
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35738 | 35662 | 76 | -76000 | -0.076 | 983428 | 983464 | -36 | 36000 | 0.036
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38277 | 38291 | -14 | 14000 | 0.014 | 993186 | 993570 | -384 | 384000 | 0.384
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2670 | 2661 | 9 | -9000 | -0.009 | 997720 | 998223 | -503 | 503000 | 0.503
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1774 | 1649 | 125 | -125000 | -0.125 | 995930 | 996148 | -218 | 218000 | 0.218
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23034 | 23030 | 4 | -4000 | -0.004 | 2066 | 2363 | -297 | 297000 | 0.297
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9973 | 9789 | 184 | -184000 | -0.184 | 999281 | 999148 | 133 | -133000 | -0.133
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13471 | 13290 | 181 | 181000 | 0.181 | 7850 | 7825 | 25 | 25000 | 0.025
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991255 | 991510 | -255 | 255000 | 0.255 | 995170 | 995799 | -629 | 629000 | 0.629
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997576 | 997760 | -184 | 184000 | 0.184 | 995546 | 996454 | -908 | 908000 | 0.908
OKHLA
24 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998145 | 998051 | 94 | -94000 | -0.094 | 997424 | 997681 | -257 | 257000 | 0.257
25 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989812 | 989774 | 38 | -38000 | -0.038 | 943083 | 943780 | -697 | 697000 | 0.697
26 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998034 | 998023 | 11 | -11000 | -0.011 | 37310 | 37446 | -136 | 136000 | 0.136
27 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999872 | 999994 | -122 | 122000 | 0.122 | 998137 | 998195 | -58 | 58000 | 0.058
28 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997052 | 997106 | -54 | 54000 | 0.054 | 864891 | 865065 | -174 | 174000 | 0.174
BRPL(+) continue | [14 empty] | JULY-2015
VASANT KUNJ
29 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997252 | 997192 | 60 | -60000 | -0.06 | 972307 | 972329 | -22 | 22000 | 0.022
30 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 320 | 181 | 139 | -139000 | -0.139 | 999229 | 999258 | -29 | 29000 | 0.029
31 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1853 | 1847 | 6 | -12000 | -0.012 | 969707 | 969715 | -8 | 16000 | 0.016
MEHRAULI
32 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993089 | 993144 | -55 | 55000 | 0.055 | 907073 | 907735 | -662 | 662000 | 0.662
33 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994499 | 994697 | -198 | 198000 | 0.198 | 927522 | 927661 | -139 | 139000 | 0.139
34 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996886 | 996945 | -59 | 59000 | 0.059 | 992153 | 992842 | -689 | 689000 | 0.689
35 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980753 | 980753 | 0 | 0 | 0 | 983371 | 984549 | -1178 | 1178000 | 1.178
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 979676 | 980697 | -1021 | 680665.986 | 0.68067 | 977684 | 978045 | -361 | 240666.426 | 0.24067
37 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992352 | 992675 | -323 | 807500 | 0.8075 | 481 | 488 | -7 | 17500 | 0.0175
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3763 | 3762 | 1 | -2000 | -0.002 | 1978 | 1983 | -5 | 10000 | 0.01
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 555 | 552 | 3 | -6000 | -0.006 | 1035 | 1042 | -7 | 14000 | 0.014
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929988 | 930165 | -177 | 177000 | 0.177 | 989078 | 989356 | -278 | 278000 | 0.278
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938295 | 938491 | -196 | 196000 | 0.196 | 992720 | 993155 | -435 | 435000 | 0.435
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30289 | 30291 | -2 | -1600 | -0.0016 | 1657 | 1629 | 28 | 22400 | 0.0224
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 915325 | 915421 | -96 | -76800 | -0.0768 | 999560 | 999567 | -7 | -5600 | -0.0056
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988519 | 988556 | -37 | -37000 | -0.037 | 35750 | 36062 | -312 | -312000 | -0.312
47 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999958 | 999980 | -22 | -44000 | -0.044 | 999817 | 999945 | -128 | -256000 | -0.256
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30217 | 29924 | 293 | -293000 | -0.293 | 973431 | 973497 | -66 | 66000 | 0.066
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16507 | 16597 | -90 | 90000 | 0.09 | 988831 | 988872 | -41 | 41000 | 0.041
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 20818 | 20666 | 152 | 15200 | 0.0152 | 19580 | 19105 | 475 | 47500 | 0.0475
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 9472 | 9510 | -38 | -3800 | -0.0038 | 61360 | 61390 | -30 | -3000 | -0.003
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 918105 | 919629 | -1524 | -1524000 | -1.524 | 991939 | 991939 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 1446 | 1368 | 78 | 5850 | 0.00585 | 5077 | 4213 | 864 | 64800 | 0.0648
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 12574 | 12574 | 0 | 0 | 0 | 27705 | 27705 | 0 | 0 | 0
[10 empty] | 0.001416 |  |  |  |  | 0.0077 | Assessment
|  | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 59 | 0 | 59 | 5900 | 0.0059 | 323 | 0 | 323 | 32300 | 0.0323 | w.e.f 07/07/2015
PEERGARHI
56 | 33KV VISHAL (L-3) | 5269779 | ELSTER | Kvarh(Lead/Lag) | 1000 | 65 | 65 | 0 | 0 | 0 | 602 | 359 | 243 | 243000 | 0.243
57 | 33KV (LINE - 4) | 5269789 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2 | 2 | 0 | 0 | 0 | 2456 | 2348 | 108 | 216000 | 0.216
58 | 33KV UDYOG NAGAR(L-5) | 5269782 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999972 | 999982 | -10 | -20000 | -0.02 | 261 | 174 | 87 | 174000 | 0.174
59 | 33KV MADIPUR(L-6) | 5269784 | ELSTER | Kvarh(Lead/Lag) | 2000 | 5662 | 5662 | 0 | 0 | 0 | 8980 | 8878 | 102 | 204000 | 0.204
[5 empty] | 2000 | [5 empty] | 7429 | 7288 | 141 | 282000 | 0.282
60 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
61 | PASCHIM PURI - 2(L-8) | 5269777 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2794 | 2794 | 0 | 0 | 0 | 625 | 295 | 330 | 660000 | 0.66
62 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | PEERGARHI - 2(L-10) | 5269780 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 200 | 18 | 18000 | 0.018 | 123 | 69 | 54 | 54000 | 0.054
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.1942 |  |  |  |  | 10.5109
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 77333 | 74403 | 2930 | -293000 | -0.293 | 910763 | 910736 | 27 | -2700 | -0.0027
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 97980 | 98083 | -103 | 10300 | 0.0103 | 1274 | 1398 | -124 | 12400 | 0.0124
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 149367 | 149131 | 236 | -23600 | -0.0236 | 13249 | 11032 | 2217 | -221700 | -0.2217
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996176 | 996184 | -8 | 800 | 0.0008 | 999787 | 999820 | -33 | 3300 | 0.0033
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4443 | 4336 | 107 | -107000 | -0.107 | 73879 | 73858 | 21 | -21000 | -0.021
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14855 | 15004 | -149 | 149000 | 0.149 | 294 | 294 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905660 | 905633 | 27 | -13500 | -0.0135 | 55631 | 55245 | 386 | -193000 | -0.193
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 1263 | 1660 | -397 | 158800 | 0.1588 | 2956 | 2978 | -22 | 8800 | 0.0088
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 75583 | 75563 | 20 | -2000 | -0.002 | 67635 | 67426 | 209 | -20900 | -0.0209
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 79902 | 79525 | 377 | -37700 | -0.0377 | 66274 | 65600 | 674 | -67400 | -0.0674
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 8829 | 8330 | 499 | -99800 | -0.0998 | 7105 | 5270 | 1835 | -367000 | -0.367
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) |  | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987222 | 987604 | -382 | -63666.6667 | -0.063667 | 993179 | 993182 | -3 | -500 | -0.0005
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 344011 | 342524 | 1487 | -148700 | -0.1487 | 49351 | 49258 | 93 | -9300 | -0.0093
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3957 | 3885 | 72 | -7200 | -0.0072 | 22892 | 22851 | 41 | -4100 | -0.0041
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 173282 | 173477 | -195 | 24375 | 0.024375 | 261314 | 261318 | -4 | 500 | 0.0005
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9227 | 9231 | -4 | 400 | 0.0004 | 30558 | 30051 | 507 | -50700 | -0.0507
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11052 | 11048 | 4 | -400 | -0.0004 | 62227 | 61106 | 1121 | -112100 | -0.1121
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 18649 | 18376 | 273 | -27300 | -0.0273 | 65321 | 64796 | 525 | -52500 | -0.0525
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 7530 | 7409 | 121 | -12100 | -0.0121 | 5509 | 5008 | 501 | -50100 | -0.0501
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17205 | 17265 | -60 | 6000 | 0.006 | 20458 | 20090 | 368 | -36800 | -0.0368
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 995238 | 995322 | -84 | 3732.96 | 0.003733 | 591 | 447 | 144 | -6399.36 | -0.0063994
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.48256 |  |  |  |  | -1.1912
JULY-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 1.1942 |  |  |  |  | 10.5109
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.48256 |  |  |  |  | -1.1912
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.42831 |  |  |  |  | 0.28541
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0256 |  |  |  |  | -0.3826
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 1.1143 |  |  |  |  | 9.2226
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.1143 | (REACTIVE MUs) |  |  |  | 9.2226 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.217 | (REACTIVE MUs) |  |  |  | -1.7798 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.3314 | (REACTIVE MUs) |  |  |  | 7.4427 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 51646 | 51507 | 139 | 27800 | 0.0278 | 79991 | 79478 | 513 | 102600 | 0.1026
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73736 | 73770 | -34 | -3400 | -0.0034 | 140212 | 140292 | -80 | -8000 | -0.008
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 978323 | 978321 | 2 | 400 | 0.0004 | 998322 | 998679 | -357 | -71400 | -0.0714
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 80689 | 80649 | 40 | 8000 | 0.008 | 98436 | 97586 | 850 | 170000 | 0.17
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 11524 | 11486 | 38 | 30400 | 0.0304 | 5997 | 5394 | 603 | 482400 | 0.4824
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13985 | 13978 | 7 | 14000 | 0.014 | 2693 | 2552 | 141 | 282000 | 0.282
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980639 | 980678 | -39 | -31200 | -0.0312 | 990092 | 990289 | -197 | -157600 | -0.1576
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 979084 | 979219 | -135 | -108000 | -0.108 | 985372 | 986098 | -726 | -580800 | -0.5808
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 988217 | 988311 | -94 | -75200 | -0.0752 | 993517 | 993850 | -333 | -266400 | -0.2664
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 988905 | 988940 | -35 | -28000 | -0.028 | 994870 | 994913 | -43 | -34400 | -0.0344 | W.E.f 04/07/2015
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999679 | 999329 | 350 | 35000 | 0.035 | 396943 | 396523 | 420 | 42000 | 0.042
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 997372 | 999485 | -2113 | -158475 | -0.15848 | 3313 | 3344 | -31 | -2325 | -0.002325
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 18941 | 17078 | 1863 | 186300 | 0.1863 | 376669 | 376332 | 337 | 33700 | 0.0337
14 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 863 | 1589 | -726 | -72600 | -0.0726 | 364093 | 364136 | -43 | -4300 | -0.0043
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995645 | 995555 | 90 | 9000 | 0.009 | 314956 | 314666 | 290 | 29000 | 0.029
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 634 | 913 | -279 | -27900 | -0.0279 | 194552 | 194432 | 120 | 12000 | 0.012
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 10884 | 11680 | -796 | -79600 | -0.0796 | 258431 | 258442 | -11 | -1100 | -0.0011
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 60090 | 57798 | 2292 | 229200 | 0.2292 | 713870 | 713749 | 121 | 12100 | 0.0121
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 93979 | 91530 | 2449 | 2693900 | 2.6939
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1094 | 1098 | -4 | -4000 | -0.004 | 41616 | 41123 | 493 | 493000 | 0.493
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 151635 | 152321 | -686 | -754600 | -0.7546
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3555 | 3215 | 340 | 340000 | 0.34 | 55225 | 54747 | 478 | 478000 | 0.478
[10 empty] | 0.336 |  |  |  |  | 2.9103
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4443 | 4336 | 107 | 107000 | 0.107 | 73879 | 73858 | 21 | 21000 | 0.021
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14855 | 15004 | -149 | -149000 | -0.149 | 294 | 294 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905660 | 905633 | 27 | 13500 | 0.0135 | 55631 | 55245 | 386 | 193000 | 0.193
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 1263 | 1660 | -397 | -158800 | -0.1588 | 2956 | 2978 | -22 | -8800 | -0.0088
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987222 | 987604 | -382 | 63666.6667 | 0.063667 | 993179 | 993182 | -3 | 500 | 0.0005
JULY-2015
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964159 | 964486 | -327 | 327000 | 0.327 | 974120 | 974719 | -599 | 599000 | 0.599
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999541 | 999860 | -319 | 319000 | 0.319 | 998164 | 998780 | -616 | 616000 | 0.616
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972181 | 972502 | -321 | 321000 | 0.321 | 982388 | 983127 | -739 | 739000 | 0.739
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987424 | 987752 | -328 | 328000 | 0.328 | 994199 | 994934 | -735 | 735000 | 0.735
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 344011 | 342524 | 1487 | 148700 | 0.1487 | 49351 | 49258 | 93 | 9300 | 0.0093
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3957 | 3885 | 72 | 7200 | 0.0072 | 22892 | 22851 | 41 | 4100 | 0.0041
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 75583 | 75563 | 20 | 2000 | 0.002 | 67635 | 67426 | 209 | 20900 | 0.0209
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 79902 | 79525 | 377 | 37700 | 0.0377 | 66274 | 65600 | 674 | 67400 | 0.0674
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 8829 | 8330 | 499 | 49900 | 0.0499 | 7105 | 5270 | 1835 | 183500 | 0.1835
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 77333 | 74403 | 2930 | 293000 | 0.293 | 910763 | 910736 | 27 | 2700 | 0.0027
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 1446 | 1368 | 78 | -5850 | -0.00585 | 5077 | 4213 | 864 | -64800 | -0.0648
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 12574 | 12574 | 0 | 0 | 0 | 27705 | 27705 | 0 | 0 | 0
[10 empty] | -0.001416 |  |  |  |  | -0.0077 | Assessment
|  | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 59 | 0 | 59 | -5900 | -0.0059 | 323 | 0 | 323 | -32300 | -0.0323 | w.e.f 07/07/2015
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.9884 |  |  |  |  | 6.0276
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.9884 |  |  |  |  | 6.0276
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.15411 |  |  |  |  | -0.22536
| TOTAL ENERGY TO NDMC | [8 empty] | 2.1425 |  |  |  |  | 5.8022

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2416 | 2414 | 2 | 2000 | 0.002 | 29753 | 29343 | 410 | 410000 | 0.41
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1482 | 1482 | 0 | 0 | 0 | 31215 | 30818 | 397 | 397000 | 0.397
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3919 | 3917 | 2 | 2000 | 0.002 | 38247 | 37783 | 464 | 464000 | 0.464
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 3 | 0 | 3 | 399.999 | 0.0004 | 7895 | 6817 | 1078 | 143732.974 | 0.14373
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5327 | 5315 | 12 | 12000 | 0.012 | 11023 | 11003 | 20 | 20000 | 0.02
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12358 | 12350 | 8 | 4000 | 0.004 | 59584 | 59295 | 289 | 144500 | 0.1445
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996176 | 996184 | -8 | -800 | -0.0008 | 999787 | 999820 | -33 | -3300 | -0.0033
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0196 |  |  |  |  | 1.5759
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53621 | 53366 | 255 | 25500 | 0.0255 | 78802 | 77709 | 1093 | 109300 | 0.1093
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13217 | 13153 | 64 | 6400 | 0.0064
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 52291 | 52290 | 1 | 100 | 0.0001 | 77600 | 74931 | 2669 | 266900 | 0.2669
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9375 | 9375 | 0 | 0 | 0 | 3093 | 3086 | 7 | 700 | 0.0007
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0256 |  |  |  |  | 0.3826
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0256 |  |  |  |  | 0.3826
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0196 |  |  |  |  | 1.5759
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0452 |  |  |  |  | 1.9585
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0452 | (REACTIVE MUs) |  |  |  | 1.9585 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.022416 | (REACTIVE MUs) |  |  |  | -0.032781 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.067616 | (REACTIVE MUs) |  |  |  | 1.9258 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 14187 | 13546 | 641 | 64100 | 0.0641 | 2384 | 1914 | 470 | 47000 | 0.047
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 8799 | 8751 | 48 | 4800 | 0.0048 | 999154 | 999140 | 14 | 1400 | 0.0014
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 308244 | 307053 | 1191 | 119100 | 0.1191 | 103365 | 103238 | 127 | 12700 | 0.0127
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40881 | 40918 | -37 | -34687.5 | -0.034688 | 19197 | 19122 | 75 | 70312.5 | 0.070312
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 983008 | 983515 | -507 | 253500 | 0.2535 | 909137 | 909390 | -253 | 126500 | 0.1265
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 988386 | 988399 | -13 | 6500 | 0.0065 | 976528 | 976532 | -4 | 2000 | 0.002
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 68 | 18 | 50 | 15000 | 0.015 | 1000020 | 999935 | 85 | 25500 | 0.0255
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.42831 |  |  |  |  | 0.28541
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 996978 | 997226 | -248 | -49600 | -0.0496 | 999887 | 999974 | -87 | -17400 | -0.0174
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 940301 | 941105 | -804 | -301500 | -0.3015 | 998570 | 998851 | -281 | -105375 | -0.10537
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.3511 |  |  |  |  | -0.12277
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 274419 | 273415 | 1004 | 200800 | 0.2008 | 265838 | 265638 | 200 | 40000 | 0.04
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 126762 | 126472 | 290 | 58000 | 0.058 | 42745 | 42607 | 138 | 27600 | 0.0276
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 211519 | 210936 | 583 | 58300 | 0.0583 | 74848 | 74580 | 268 | 26800 | 0.0268
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 588 | 545 | 43 | 43000 | 0.043 | 24 | 0 | 24 | 24000 | 0.024
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997792 | 17 | 1700 | 0.0017 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998853 | 998852 | 1 | 937.5 | 0.0009375 | 996529 | 996831 | -302 | -283125 | -0.28313
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999937 | 999961 | -24 | 60000 | 0.06 | 3078 | 3105 | -27 | 67500 | 0.0675
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 68 | 18 | 50 | -15000 | -0.015 | 1000020 | 999935 | 85 | -25500 | -0.0255
| TOTAL NDPL | [8 empty] | 0.40774 |  |  |  |  | -0.12273
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.42831 |  |  |  |  | 0.28541
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.3511 |  |  |  |  | -0.12277
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.40774 |  |  |  |  | -0.12273

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 17662 | 15706 | 1956 | 3912000 | 3.912 | 1288 | 1253 | 35 | 70000 | 0.07
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 999874 | 1000004 | -130 | -650000 | -0.65 | 106 | 92 | 14 | 70000 | 0.07
[7 empty] | NET REACTIVE ENERGY |  |  | 3.262 |  | NET REACTIVE ENERGY |  |  | 0.14
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 991860 | 991964 | -104 | -104000 | -0.104 | 38125 | 38464 | -339 | -339000 | -0.339
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 994942 | 995041 | -99 | -99000 | -0.099 | 993766 | 994001 | -235 | -235000 | -0.235
[7 empty] | NET REACTIVE ENERGY |  |  | -0.203 |  | NET REACTIVE ENERGY |  |  | -0.574
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.059 |  |  |  |  | -0.434
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.46558 |  |  |  |  | -6.7603
[7 empty] | NDMC = |  |  | 0.336 |  |  |  |  | 2.9103
MES =
[7 empty] | 2)TOTAL |  |  | -0.12957 |  |  |  |  | -3.85
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.9294 |  |  |  |  | -4.284
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.8257 | % |  |  | 0.84443 |  |  |  |  | -1.2349
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.5456 | % |  |  | 1.217 |  |  |  |  | -1.7798
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.6029 | % |  |  | 0.69143 |  |  |  |  | -1.0111
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2606 | % |  |  | 0.15411 |  |  |  |  | -0.22536
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7652 | % |  |  | 0.022416 |  |  |  |  | -0.032781
Note :Sharing taken from wk-17 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st July-2015 TO 1st August-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 2.3695 | + | 0.4312
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 2.3314 | + | 7.4427
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.8187 | + | 1.6945
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.1425 | + | 5.8022
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.067616 | + | 1.9258
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2015 | INTIAL READING 01/07/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952676 | 952656 | 20 | 30000 | 0.03 | 979319 | 979321 | -2 | -3000 | -0.003
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991498 | 991506 | -8 | -12000 | -0.012 | 993927 | 994467 | -540 | -810000 | -0.81
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 946207 | 948327 | -2120 | -1590000 | -1.59 | 999319 | 999320 | -1 | -750 | -0.00075
[8 empty] | NET REACTIVE ENERGY |  | -1.572 |  |  | NET REACTIVE ENERGY |  | -0.81375
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 32121 | 32372 | -251 | -1255000 | -1.255
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999998 | 999999 | -1 | -1000 | -0.001 | 988995 | 992448 | -3453 | -3453000 | -3.453
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977472 | 977700 | -228 | -228000 | -0.228 | 991158 | 991245 | -87 | -87000 | -0.087
[8 empty] | NET REACTIVE ENERGY |  | -0.229 |  |  | NET REACTIVE ENERGY |  | -4.795