## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981370 | 981589 | -219 | 219000 | 0.219 | 999035 | 999210 | -175 | 175000 | 0.175
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34701 | 34698 | 3 | -3000 | -0.003 | 999682 | 999503 | 179 | -179000 | -0.179
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945791 | 946090 | -299 | 299000 | 0.299 | 995530 | 995644 | -114 | 114000 | 0.114
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999354 | 999266 | 88 | -88000 | -0.088 | 997272 | 997392 | -120 | 120000 | 0.12
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988644 | 988914 | -270 | 270000 | 0.27 | 999567 | 999574 | -7 | 7000 | 0.007
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25986 | 25983 | 3 | -3000 | -0.003 | 16651 | 16757 | -106 | 106000 | 0.106
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1684 | 1681 | 3 | -3000 | -0.003 | 998674 | 998812 | -138 | 138000 | 0.138
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998732 | 998732 | 0 | 0 | 0 | 998094 | 997900 | 194 | -194000 | -0.194
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 973635 | 973635 | 0 | 0 | 0 | 816843 | 817219 | -376 | 188000 | 0.188
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1300 | 1295 | 5 | -5000 | -0.005 | 999061 | 999273 | -212 | 212000 | 0.212
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14495 | 14335 | 160 | -160000 | -0.16 | 999584 | 999459 | 125 | -125000 | -0.125
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2292 | 2292 | 0 | 0 | 0 | 997625 | 998113 | -488 | 488000 | 0.488
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 866869 | 867354 | -485 | -485000 | -0.485 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994490 | 999308 | -4818 | -4818000 | -4.818 | 999997 | 1000000 | -3 | -3000 | -0.003 | w.e.f 26/04/18
[10 empty] | 2.661 |  |  |  |  | 0.003 | Assessment
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981764 | 982131 | -367 | 367000 | 0.367 | 16697 | 16727 | -30 | 30000 | 0.03
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14689 | 14418 | 271 | -271000 | -0.271 | 20478 | 20499 | -21 | 21000 | 0.021
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27495 | 26900 | 595 | -595000 | -0.595 | 269 | 274 | -5 | 5000 | 0.005
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 994201 | 995433 | -1232 | -1232000 | -1.232
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 680 | 680 | 0 | 0 | 0 | 24310 | 24936 | -626 | -626000 | -0.626
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1096 | 1096 | 0 | 0 | 0 | 5463 | 4881 | 582 | 291000 | 0.291
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 138499 | 138496 | 3 | 300 | 0.0003 | 300658 | 293215 | 7443 | 744300 | 0.7443
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995831 | 995831 | 0 | 0 | 0 | 984919 | 985743 | -824 | -824000 | -0.824
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 24 | 25 | -1 | -1000 | -0.001 | 997115 | 997728 | -613 | -613000 | -0.613
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50474 | 50474 | 0 | 0 | 0 | 38280 | 34272 | 4008 | 400800 | 0.4008
KASHMIRI GATE
24 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 612966 | 612966 | 0 | 0 | 0 | 795903 | 795903 | 0 | 0 | 0
[10 empty] | -0.5704 |  |  |  |  | -0.0023 | Assessment
|  | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 1000000 | -2 | -2000 | -0.002 | 999997 | 1000000 | -3 | -3000 | -0.003 | w.e.f 24/05/18
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 587345 | 588516 | -1171 | -1171000 | -1.171 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 680 | 879 | -199 | -53067.33 | -0.053067 | 0 | 0 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7101 | 7080 | 21 | 10500 | 0.0105 | 1758 | 1764 | -6 | -3000 | -0.003
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 920 | 912 | 8 | -8000 | -0.008 | 997200 | 997446 | -246 | 246000 | 0.246
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 7617 | 7528 | 89 | -44500 | -0.0445 | 999538 | 999634 | -96 | 48000 | 0.048
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21409 | 20835 | 574 | -574000 | -0.574 | 999444 | 999612 | -168 | 168000 | 0.168
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 20018 | 19425 | 593 | -1186000 | -1.186 | 106 | 101 | 5 | -10000 | -0.01
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36964 | 36378 | 586 | -586000 | -0.586 | 998795 | 998919 | -124 | 124000 | 0.124
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73690 | 72629 | 1061 | -1061000 | -1.061 | 2427 | 2422 | 5 | -5000 | -0.005
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21957 | 21889 | 68 | -68000 | -0.068 | 999193 | 999323 | -130 | 130000 | 0.13
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11744 | 11650 | 94 | -94000 | -0.094 | 826 | 784 | 42 | -42000 | -0.042
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1036 | 912 | 124 | -124000 | -0.124 | 998760 | 998728 | 32 | -32000 | -0.032
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14184 | 14197 | -13 | 13000 | 0.013 | 1477 | 1364 | 113 | -113000 | -0.113
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1842 | 1838 | 4 | 4000 | 0.004 | 28428 | 28241 | 187 | 187000 | 0.187
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 11877 | 11719 | 158 | 15800 | 0.0158 | 27000 | 26295 | 705 | 70500 | 0.0705
| NDPL(+) continue | [14 empty] | MAY-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1273 | -1 | -1000 | -0.001 | 61284 | 61299 | -15 | -15000 | -0.015
VISHAL
42 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9014 | 9014 | 0 | 0 | 0 | 37463 | 37463 | 0 | 0 | 0
[10 empty] | -7.2e-05 |  |  |  |  | -0.00035 | Assessment
|  | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 04-05-18
43 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11987 | 11912 | 75 | 7500 | 0.0075 | 77583 | 77274 | 309 | 30900 | 0.0309
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1846 | 1772 | 74 | 7400 | 0.0074 | 20810 | 20076 | 734 | 73400 | 0.0734
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 381 | 381 | 0 | 0 | 0 | 296 | 302 | -6 | -7998 | -0.007998
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 178 | 166 | 12 | 1200 | 0.0012 | 398 | 35 | 363 | 36300 | 0.0363
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 331 | 291 | 40 | 4000 | 0.004 | 19991 | 17471 | 2520 | 252000 | 0.252
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1420 | 1420 | 0 | 0 | 0 | 3250 | 2302 | 948 | 157993.68 | 0.15799
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999832 | 999832 | 0 | 0 | 0 | 683 | 545 | 138 | 69000 | 0.069
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1256 | 1197 | 59 | 39333.53 | 0.039334 | 146 | 146 | 0 | 0 | 0
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4163 | 4081 | 82 | 54666.6667 | 0.054667 | 1448 | 1448 | 0 | 0 | 0
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997493 | 997470 | 23 | 2300 | 0.0023 | 3286 | 2317 | 969 | 96900 | 0.0969
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 3604 | 3079 | 525 | 52500 | 0.0525 | 10771 | 10531 | 240 | 24000 | 0.024
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 3415 | 3383 | 32 | 3200 | 0.0032 | 338 | 321 | 17 | 1700 | 0.0017
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 18448 | 18099 | 349 | 34900 | 0.0349 | 5927 | 5702 | 225 | 22500 | 0.0225
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 21616 | 20734 | 882 | 88200 | 0.0882 | 1826 | 1786 | 40 | 4000 | 0.004
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25442 | 25429 | 13 | 1300 | 0.0013 | 51406 | 51344 | 62 | 6200 | 0.0062
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 86 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 996341 | 996673 | -332 | -265600 | -0.2656 | 999980 | 999998 | -18 | -14400 | -0.0144
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 8 | 36 | -28 | -56000 | -0.056 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 995311 | 995101 | 210 | 21000 | 0.021 | 999953 | 999800 | 153 | 15300 | 0.0153
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998865 | 998975 | -110 | -27500 | -0.0275 | 211 | 193 | 18 | 4500 | 0.0045
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998725 | 998291 | 434 | 434000 | 0.434 | 1434 | 1434 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 139 | 97 | 42 | 31500 | 0.0315 | 495 | 177 | 318 | 238500 | 0.2385
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -7.6815 |  |  |  |  | 1.0057
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10693 | 10693 | 0 | 0 | 0 | 83832 | 83832 | 0 | 0 | 0
[5 empty] | -100 | [5 empty] | 62412 | 56168 | 6244 | -624400 | -0.6244
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 10 | 10 | 0 | 0 | 0 | 4095 | 2436 | 1659 | -1327200 | -1.3272
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1221 | 1222 | -1 | 1000 | 0.001 | 418 | 394 | 24 | -24000 | -0.024
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 2205 | 2206 | -1 | 400 | 0.0004 | 61 | 13 | 48 | -19200 | -0.0192
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999856 | 999865 | -9 | 1687.5 | 0.0016875 | 999979 | 999996 | -17 | 3187.5 | 0.0031875
[10 empty] | -0.0271 |  |  |  |  | -0.00125 | Assessment
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 976312 | 976463 | -151 | 120800 | 0.1208 | 998784 | 998992 | -208 | 166400 | 0.1664
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 998986 | 999455 | -469 | 293125 | 0.29313 | 999989 | 999998 | -9 | 5625 | 0.005625
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999805 | 999992 | -187 | 116875 | 0.11688 | 999967 | 999999 | -32 | 20000 | 0.02
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999621 | 999653 | -32 | 6400 | 0.0064 | 2067 | 1239 | 828 | -165600 | -0.1656
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999011 | 999132 | -121 | 22687.5 | 0.022687 | 999964 | 999840 | 124 | -23250 | -0.02325
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999014 | 999040 | -26 | 4875 | 0.004875 | 1156 | 567 | 589 | -110437.5 | -0.11044
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 999993 | 999788 | 205 | -51250 | -0.05125 | 1331 | 490 | 841 | -210250 | -0.21025
[10 empty] | -0.038749 |  |  |  |  | -0.00583 | Assessment for 20MVA tx-2
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999857 | 999896 | -39 | 3900 | 0.0039 | 1730 | 112 | 1618 | -161800 | -0.1618
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.45465 |  |  |  |  | -2.478
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -7.6815 |  |  |  |  | 1.0057
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.45465 |  |  |  |  | -2.478
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.54526 |  |  |  |  | -0.041612
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -6.6816 |  |  |  |  | -1.5139
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.6816 | (REACTIVE MUs) |  |  |  | -1.5139 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.60969 | (REACTIVE MUs) |  |  |  | -1.0579 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.0719 | (REACTIVE MUs) |  |  |  | -2.5718 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 11288 | 11288 | 0 | 0 | 0 | 994086 | 995464 | -1378 | -137800 | -0.1378
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8118 | 8118 | 0 | 0 | 0 | 4775 | 6076 | -1301 | -390300 | -0.3903
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 28694 | 28694 | 0 | 0 | 0 | 319719 | 318581 | 1138 | 85350 | 0.08535
[5 empty] | 75 | [5 empty] | 206357 | 208292 | -1935 | -145125 | -0.14513
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998301 | 998301 | 0 | 0 | 0 | 5592 | 5402 | 190 | 57000 | 0.057
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1728 | 1728 | 0 | 0 | 0 | 3357 | 3281 | 76 | 101330.8 | 0.10133
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35179 | 35179 | 0 | 0 | 0 | 155377 | 158879 | -3502 | -350200 | -0.3502
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 16525 | 16525 | 0 | 0 | 0 | 41336 | 49580 | -8244 | -618300 | -0.6183
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985895 | 986192 | -297 | -297000 | -0.297 | 2256 | 2261 | -5 | -5000 | -0.005
9 | FOUNTAIN BAY-16 | 5295122 | ELSTER | Kvarh(Lead/Lag) | 100 | 976635 | 976928 | -293 | -29300 | -0.0293 | 35669 | 34955 | 714 | 71400 | 0.0714 | Check Meter Data
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999196 | 999132 | 64 | 64000 | 0.064 | 1479 | 1475 | 4 | 4000 | 0.004
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992214 | 992272 | -58 | -58000 | -0.058 | 1470 | 1454 | 16 | 16000 | 0.016
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993398 | 993398 | 0 | 0 | 0 | 5493 | 5571 | -78 | -78000 | -0.078
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997251 | 997254 | -3 | -3000 | -0.003 | 998707 | 998944 | -237 | -237000 | -0.237
14 | JAMA MASJID-1 | 5128408 | ELSTER | Kvarh(Lead/Lag) |  | 999960 | 999967 | -7 | 0 | 0 | 999661 | 999997 | -336 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999037 | 999038 | -1 | -800 | -0.0008 | 2853 | 2081 | 772 | 617600 | 0.6176
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998865 | 998958 | -93 | -93000 | -0.093 | 33042 | 32995 | 47 | 47000 | 0.047
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2015 | 2024 | -9 | -9000 | -0.009 | 9726 | 9728 | -2 | -2000 | -0.002
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3129 | 2434 | 695 | 695000 | 0.695 | 17164 | 17082 | 82 | 82000 | 0.082
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 981573 | 981573 | 0 | 0 | 0 | 951761 | 951761 | 0 | 0 | 0 | Data till 15/05/18
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 957491 | 960850 | -3359 | -3694900 | -3.6949
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 964088 | 964492 | -404 | -404000 | -0.404 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.404 |  |  |  |  | -3.6949
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996258 | 996296 | -38 | 38000 | 0.038 | 999978 | 999978 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995696 | 995997 | -301 | 301000 | 0.301 | 999921 | 999972 | -51 | 51000 | 0.051
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999838 | 999838 | 0 | 0 | 0 | 6498 | 6843 | -345 | -345000 | -0.345
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30319 | 29072 | 1247 | -1247000 | -1.247 | 1000146 | 999996 | 150 | -150000 | -0.15
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17219 | 17172 | 47 | -47000 | -0.047 | 999835 | 999826 | 9 | -9000 | -0.009
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989427 | 989480 | -53 | 53000 | 0.053 | 991389 | 991671 | -282 | 282000 | 0.282
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993763 | 993764 | -1 | 1000 | 0.001 | 998719 | 998773 | -54 | 54000 | 0.054
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997816 | 997779 | 37 | -37000 | -0.037 | 998348 | 999465 | -1117 | 1117000 | 1.117
[5 empty] | -1000 | [5 empty] | 987106 | 987144 | -38 | 38000 | 0.038
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998643 | 998639 | 4 | -4000 | -0.004 | 294 | 155 | 139 | -139000 | -0.139
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 20 | 0 | 20 | -40000 | -0.04 | 1000030 | 999999 | 31 | -62000 | -0.062
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1221 | 1222 | -1 | -1000 | -0.001 | 418 | 394 | 24 | 24000 | 0.024
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 2205 | 2206 | -1 | -400 | -0.0004 | 61 | 13 | 48 | 19200 | 0.0192
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864809 | ELSTER | Kvarh(Lead/Lag) | 200 | 997009 | 996941 | 68 | 13600 | 0.0136 | 90 | 0 | 90 | 18000 | 0.018 | Check Meter Data
|  | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 33 | 0 | 33 | 4399.89 | 0.0043999 | 1935 | 0 | 1935 | 257993.55 | 0.25799 | w.e.f 18-05-18
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983775 | 983854 | -79 | 79000 | 0.079 | 999970 | 999984 | -14 | 14000 | 0.014
[5 empty] | -1000 | [5 empty] | 990216 | 990226 | -10 | 10000 | 0.01
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997900 | 997900 | 0 | 0 | 0 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.0215 |  |  |  |  | -3.3968
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.0215 |  |  |  |  | -3.3968
MAY-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978110 | 978138 | -28 | 28000 | 0.028 | 878133 | 878983 | -850 | 850000 | 0.85
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996686 | 996708 | -22 | 22000 | 0.022 | 962209 | 962255 | -46 | 46000 | 0.046
[5 empty] | -1000 | [5 empty] | 949989 | 949937 | 52 | -52000 | -0.052
[5 empty] | -1000 | [5 empty] | 946611 | 946940 | -329 | 329000 | 0.329
[5 empty] | -1000 | [5 empty] | 944423 | 944587 | -164 | 164000 | 0.164
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996527 | 996552 | -25 | 25000 | 0.025 | 997900 | 998880 | -980 | 980000 | 0.98
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 983118 | 983199 | -81 | 162000 | 0.162 | 971707 | 972140 | -433 | 866000 | 0.866
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1123 | 1118 | 5 | -5000 | -0.005 | 999033 | 999125 | -92 | 92000 | 0.092
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995051 | 995035 | 16 | -16000 | -0.016 | 998437 | 998562 | -125 | 125000 | 0.125
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2909 | 2738 | 171 | -171000 | -0.171 | 999617 | 999628 | -11 | 11000 | 0.011
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983072 | 983811 | -739 | 739000 | 0.739 | 937371 | 937384 | -13 | 13000 | 0.013
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960334 | 960370 | -36 | 36000 | 0.036 | 989641 | 989673 | -32 | 32000 | 0.032
[5 empty] | -1000 | 980099 | 980176 | -77 | 77000 | 0.077
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11825 | 11874 | -49 | 49000 | 0.049 | 999576 | 999979 | -403 | 403000 | 0.403
[5 empty] | -1000 | 992639 | 992636 | 3 | -3000 | -0.003
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959530 | 959576 | -46 | 46000 | 0.046 | 828256 | 829307 | -1051 | 1051000 | 1.051
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24656 | 24409 | 247 | -247000 | -0.247 | 33694 | 33706 | -12 | 12000 | 0.012
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9807 | 9555 | 252 | -252000 | -0.252 | 999933 | 999918 | 15 | -15000 | -0.015
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967083 | 967469 | -386 | 386000 | 0.386 | 919579 | 919598 | -19 | 19000 | 0.019
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.876 |  |  |  |  | 4.926
| (B) NET ENERGY TO EAST | [8 empty] | 0.876 |  |  |  |  | 4.926
MAY-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 680 | 879 | -199 | 53067.33 | 0.053067 | 0 | 0 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7101 | 7080 | 21 | -10500 | -0.0105 | 1758 | 1764 | -6 | 3000 | 0.003
| EXPORT TO NDMC FROM PARK STREET | [9 empty] | #N/A
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3731 | 3713 | 18 | -4799.88 | -0.0047999 | 1187 | 557 | 630 | -167995.8 | -0.168
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 79468 | 79406 | 62 | -6200 | -0.0062 | 146109 | 144158 | 1951 | -195100 | -0.1951
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 968029 | 968040 | -11 | 2200 | 0.0022 | 994958 | 994954 | 4 | -800 | -0.0008
|  | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 0 | 0 | 0 | 0 | 0 | 999651 | 1000000 | -349 | 69800 | 0.0698 | w.e.f 18/05/18
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 49166 | 49011 | 155 | -31000 | -0.031 | 120367 | 118682 | 1685 | -337000 | -0.337
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 18917 | 18856 | 61 | -48800 | -0.0488 | 14199 | 13867 | 332 | -265600 | -0.2656
8 | 66 KV BD MARG-II | 4865150 | ELSTER | Kvarh(Lead/Lag) | -2000 | 71612 | 71612 | 0 | 0 | 0 | 101085 | 101080 | 5 | -10000 | -0.01
|  | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 40 | 0 | 40 | -32000 | -0.032 | 393 | 0 | 393 | -314400 | -0.3144 | w.e.f 03-05-2018
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 970404 | 970482 | -78 | 62400 | 0.0624 | 986263 | 986566 | -303 | 242400 | 0.2424
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 975160 | 975311 | -151 | 120800 | 0.1208 | 986989 | 987306 | -317 | 253600 | 0.2536
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 983614 | 983764 | -150 | 120000 | 0.12 | 993360 | 993919 | -559 | 447200 | 0.4472
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 973927 | 974120 | -193 | 154400 | 0.1544 | 994591 | 994511 | 80 | -64000 | -0.064
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968902 | 969237 | -335 | 335000 | 0.335 | 31949 | 32280 | -331 | 331000 | 0.331
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1842 | 1838 | 4 | -4000 | -0.004 | 28428 | 28241 | 187 | -187000 | -0.187
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 11877 | 11719 | 158 | -15800 | -0.0158 | 27000 | 26295 | 705 | -70500 | -0.0705
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1273 | -1 | 1000 | 0.001 | 61284 | 61299 | -15 | 15000 | 0.015
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1420 | 1420 | 0 | 0 | 0 | 3250 | 2302 | 948 | -157993.68 | -0.15799
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999832 | 999832 | 0 | 0 | 0 | 683 | 545 | 138 | -69000 | -0.069
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1256 | 1197 | 59 | -39333.53 | -0.039334 | 146 | 146 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4163 | 4081 | 82 | -54666.6667 | -0.054667 | 1448 | 1448 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 21616 | 20734 | 882 | -88200 | -0.0882 | 1826 | 1786 | 40 | -4000 | -0.004
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25442 | 25429 | 13 | -1300 | -0.0013 | 51406 | 51344 | 62 | -6200 | -0.0062
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997493 | 997470 | 23 | -2300 | -0.0023 | 3286 | 2317 | 969 | -96900 | -0.0969
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 3604 | 3079 | 525 | -52500 | -0.0525 | 10771 | 10531 | 240 | -24000 | -0.024
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 3415 | 3383 | 32 | -3200 | -0.0032 | 338 | 321 | 17 | -1700 | -0.0017
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 18448 | 18099 | 349 | -34900 | -0.0349 | 5927 | 5702 | 225 | -22500 | -0.0225
[10 empty] | 0.41937 |  |  |  |  | -0.63269
MAY-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.0215 |  |  |  |  | -3.3968
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.41937 |  |  |  |  | -0.63269
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.27574 |  |  |  |  | -0.000325
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.87787 |  |  |  |  | -4.0298
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.876 |  |  |  |  | 4.926
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.0018704 |  |  |  |  | 0.89623
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.0018704 | (REACTIVE MUs) |  |  |  | 0.89623 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.48327 | (REACTIVE MUs) |  |  |  | -0.83857 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.4814 | (REACTIVE MUs) |  |  |  | 0.057664 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999505 | 999505 | 0 | 0 | 0 | 999012 | 999324 | -312 | -1560000 | -1.56
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984577 | 984577 | 0 | 0 | 0 | 670291 | 670712 | -421 | -561331.93 | -0.56133
3 | BAY-13 | 4865172 | ELSTER | Kvarh(Lead/Lag) | 400 | 1219 | 1219 | 0 | 0 | 0 | 62831 | 62715 | 116 | 46400 | 0.0464 | Check Meter Data
|  | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 998296 | 1000000 | -1704 | -340800 | -0.3408 | 999492 | 1000000 | -508 | -101600 | -0.1016 | w.e.f 21/05/18
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999973 | 999973 | 0 | 0 | 0 | 999406 | 999802 | -396 | -527998.68 | -0.528
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18831 | 18831 | 0 | 0 | 0 | 22026 | 21585 | 441 | 44100 | 0.0441
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 719766 | 719766 | 0 | 0 | 0 | 981387 | 988287 | -6900 | -517500 | -0.5175
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 999210 | 999210 | 0 | 0 | 0 | 4757 | 1917 | 2840 | 213000 | 0.213
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997475 | 997475 | 0 | 0 | 0 | 994357 | 993985 | 372 | 334800 | 0.3348
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3394 | 3084 | 310 | -310000 | -0.31 | 997493 | 997566 | -73 | 73000 | 0.073
12 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000037 | 999958 | 79 | -158000 | -0.158 | 999694 | 999927 | -233 | 466000 | 0.466 | w.e.f 06/04/18
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10601 | 10734 | -133 | 133000 | 0.133 | 999228 | 999380 | -152 | 152000 | 0.152
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967882 | 967915 | -33 | 33000 | 0.033 | 995440 | 996176 | -736 | 736000 | 0.736
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31570 | 31459 | 111 | -111000 | -0.111 | 1000578 | 999850 | 728 | -728000 | -0.728
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 19335 | 19335 | 0 | 0 | 0 | 3938 | 511 | 3427 | -1713500 | -1.7135
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7787 | 7764 | 23 | -46000 | -0.046 | 999560 | 999053 | 507 | -1014000 | -1.014
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996414 | 996417 | -3 | 3000 | 0.003 | 855717 | 857498 | -1781 | 1781000 | 1.781
[5 empty] | -1000 | [5 empty] | 901972 | 902094 | -122 | 122000 | 0.122
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 999997 | 1000000 | -3 | 2400 | 0.0024 | 999986 | 1000000 | -14 | 11200 | 0.0112
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2803 | 2986 | -183 | 183000 | 0.183 | 981847 | 982345 | -498 | 498000 | 0.498
22 | Tx.2 | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 980346 | 980495 | -149 | 74500 | 0.0745 | 969178 | 972245 | -3067 | 1533500 | 1.5335 | Check Meter Data
|  | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11 | 0 | 11 | -11000 | -0.011 | 999723 | 1000000 | -277 | 277000 | 0.277 | w.e.f 25/05/18
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996537 | 996880 | -343 | 343000 | 0.343 | 989106 | 989553 | -447 | 447000 | 0.447
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64 | 5 | 59 | -59000 | -0.059 | 998905 | 999617 | -712 | 712000 | 0.712
R.K.PURAM
25 | 33KV I/C-1 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 66KV I/C-2 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 10 | 10 | 0 | 0 | 0 | 4095 | 2436 | 1659 | 1327200 | 1.3272
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978250 | 978482 | -232 | 232000 | 0.232 | 977783 | 978303 | -520 | 520000 | 0.52
31 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
32 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980156 | 980459 | -303 | 303000 | 0.303 | 998693 | 999199 | -506 | 506000 | 0.506
OKHLA
33 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996352 | 996342 | 10 | -10000 | -0.01 | 988360 | 988061 | 299 | -299000 | -0.299
34 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994189 | 994133 | 56 | -56000 | -0.056 | 927646 | 927824 | -178 | 178000 | 0.178
35 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9091 | 8892 | 199 | -199000 | -0.199 | 33312 | 33388 | -76 | 76000 | 0.076
36 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997915 | 997865 | 50 | -50000 | -0.05 | 996289 | 996139 | 150 | -150000 | -0.15
37 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999748 | 999738 | 10 | -10000 | -0.01 | 1000231 | 999711 | 520 | -520000 | -0.52
BRPL(+) continue | [14 empty] | MAY-2018
VASANT KUNJ
38 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7928 | 7220 | 708 | -708000 | -0.708 | 999875 | 999904 | -29 | 29000 | 0.029
39 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 13507 | 11008 | 2499 | -1249500 | -1.2495 | 998478 | 998196 | 282 | -141000 | -0.141
40 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
41 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2252 | 2180 | 72 | -72000 | -0.072 | 999957 | 999775 | 182 | -182000 | -0.182
42 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994406 | 994406 | 0 | 0 | 0 | 927353 | 927385 | -32 | 32000 | 0.032
43 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2068 | 1953 | 115 | -115000 | -0.115 | 10654 | 10439 | 215 | -215000 | -0.215
44 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1708 | 1705 | 3 | -6000 | -0.006 | 998750 | 999113 | -363 | 726000 | 0.726
RIDGE VALLEY
45 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1707 | 1331 | 376 | -376000 | -0.376 | 999830 | 999999 | -169 | 169000 | 0.169
46 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8189 | 8507 | -318 | 636000 | 0.636 | 999738 | 999749 | -11 | 22000 | 0.022
DIAL
47 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6551 | 6550 | 1 | -2000 | -0.002 | 2392 | 2419 | -27 | 54000 | 0.054
48 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3343 | 3341 | 2 | -4000 | -0.004 | 1356 | 1382 | -26 | 52000 | 0.052
MASJID MOD
49 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917438 | 917438 | 0 | 0 | 0 | 981123 | 981155 | -32 | 32000 | 0.032
50 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 9 | -1 | 1000 | 0.001 | 996725 | 996743 | -18 | 18000 | 0.018
51 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) |  | 468 | 465 | 3 | 0 | 0 | 997269 | 997515 | -246 | 0 | 0
MUNDKA
52 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
53 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 996887 | 997009 | -122 | -97600 | -0.0976 | 100 | 28 | 72 | 57600 | 0.0576
54 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 982461 | 982873 | -412 | -329600 | -0.3296 | 999963 | 999988 | -25 | -20000 | -0.02
55 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1512 | 1505 | 7 | 5600 | 0.0056 | 999792 | 999795 | -3 | -2400 | -0.0024
57 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 329 | 385 | -56 | -44800 | -0.0448 | 3 | 1 | 2 | 1600 | 0.0016
PARK STREET
58 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968902 | 969237 | -335 | -335000 | -0.335 | 31949 | 32280 | -331 | -331000 | -0.331
59 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
60 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 414 | 99 | 315 | -315000 | -0.315 | 513 | 3 | 510 | -510000 | -0.51
61 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16495 | 16337 | 158 | -158000 | -0.158 | 999702 | 998487 | 1215 | -1215000 | -1.215
62 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49062 | 48906 | 156 | -156000 | -0.156 | 387 | 11 | 376 | -376000 | -0.376
NARAINA
63 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10693 | 10693 | 0 | 0 | 0 | 83832 | 83832 | 0 | 0 | 0
[5 empty] | 100 | [5 empty] | 62412 | 56168 | 6244 | 624400 | 0.6244
SUDARSHAN PARK
64 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999856 | 999865 | -9 | -1687.5 | -0.0016875 | 999979 | 999996 | -17 | -3187.5 | -0.0031875
[10 empty] | 0.0271 |  |  |  |  | 0.00125 | Assessment
65 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 8113 | 8119 | -6 | -2400 | -0.0024 | 10793 | 13786 | -2993 | -1197200 | -1.1972
66 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 995917 | 995916 | 1 | 400 | 0.0004 | 40668 | 34849 | 5819 | 2327600 | 2.3276
KANJAWALA
67 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 976312 | 976463 | -151 | -120800 | -0.1208 | 998784 | 998994 | -210 | -168000 | -0.168
Trauma Centre
68 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 344183 | 342283 | 1900 | 190000 | 0.19 | 10334 | 8000 | 2334 | 233400 | 0.2334
69 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4640 | 4589 | 51 | 51000 | 0.051 | 405 | 338 | 67 | 67000 | 0.067
A.I.I.M.S.
70 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10268 | 10267 | 1 | 75 | 7.5e-05 | 15237 | 14783 | 454 | 34050 | 0.03405
71 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4853 | 4847 | 6 | 600 | 0.0006 | 6801 | 6088 | 713 | 71300 | 0.0713
PEERGARHI
72 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 4015 | 3832 | 183 | 91500 | 0.0915 | 2786 | 2776 | 10 | 5000 | 0.005
73 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3307 | 3313 | -6 | -6000 | -0.006 | 4018 | 4063 | -45 | -45000 | -0.045
74 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995206 | 995363 | -157 | -157000 | -0.157 | 1206 | 1283 | -77 | -77000 | -0.077
75 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3844 | 3902 | -58 | -58000 | -0.058 | 6480 | 6453 | 27 | 27000 | 0.027
76 | PASCHIM PURI - I (L-7) | 5269778 | ELSTER | Kvarh(Lead/Lag) | 2000 | 16104 | 16101 | 3 | 6000 | 0.006 | 986172 | 986179 | -7 | -14000 | -0.014 | Check Meter Data
[5 empty] | 2000 | [5 empty] | 991477 | 991477 | 0 | 0 | 0
|  | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 999876 | 1000000 | -124 | -19840 | -0.01984 | 999485 | 1000000 | -515 | -82400 | -0.0824 | w.e.f 17/05/18
77 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 48238 | 47405 | 833 | 83300 | 0.0833 | 45551 | 45438 | 113 | 11300 | 0.0113
78 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999934 | 999952 | -18 | -18000 | -0.018 | 134 | 2 | 132 | 132000 | 0.132
79 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2325 | 2309 | 16 | 16000 | 0.016 | 6181 | 6006 | 175 | 175000 | 0.175
REWARI LINE
80 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999621 | 999653 | -32 | -6400 | -0.0064 | 2067 | 1239 | 828 | 165600 | 0.1656
81 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999011 | 999132 | -121 | -22687.5 | -0.022687 | 999964 | 999840 | 124 | 23250 | 0.02325
82 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999014 | 999040 | -26 | -4875 | -0.004875 | 1156 | 567 | 589 | 110437.5 | 0.11044
83 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 999993 | 999788 | 205 | 51250 | 0.05125 | 1331 | 490 | 841 | 210250 | 0.21025
84 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999857 | 999896 | -39 | -3900 | -0.0039 | 1730 | 112 | 1618 | 161800 | 0.1618
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.2842 |  |  |  |  | 3.3559
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 5295191 | ELSTER | Kvarh(Lag) | -300 | 46278 | 45756 | 522 | -156600 | -0.1566 | 487 | 438 | 49 | -14700 | -0.0147 | Check Meter Data till 31/05/18
|  | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 25 | -2500 | -0.0025 | w.e.f 31/05/18
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864809 | ELSTER | Kvarh(Lead/Lag) | -200 | 997009 | 996941 | 68 | -13600 | -0.0136 | 90 | 0 | 90 | -18000 | -0.018 | Check Meter Data
|  | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 33 | 0 | 33 | -4399.89 | -0.0043999 | 1935 | 0 | 1935 | -257993.55 | -0.25799 | w.e.f 18/05/18
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997572 | 997446 | 126 | -25200 | -0.0252 | 999423 | 999125 | 298 | -59600 | -0.0596
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1022 | 1068 | -46 | 46000 | 0.046 | 999839 | 1000011 | -172 | 172000 | 0.172
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999056 | 998929 | 127 | -127000 | -0.127 | 805 | 743 | 62 | -62000 | -0.062
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 5605 | 5557 | 48 | -7680 | -0.00768 | 4621 | 3771 | 850 | -136000 | -0.136
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 437 | 0 | 437 | 87400 | 0.0874 | 999540 | 1000000 | -460 | -92000 | -0.092
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994203 | 994296 | -93 | 93000 | 0.093 | 999844 | 999819 | 25 | -25000 | -0.025
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 96782 | 96782 | 0 | 0 | 0 | 73255 | 72335 | 920 | -92000 | -0.092
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 106204 | 106204 | 0 | 0 | 0 | 75947 | 74279 | 1668 | -166800 | -0.1668
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28118 | 28011 | 107 | -10700 | -0.0107 | 34465 | 33336 | 1129 | -112900 | -0.1129
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 436106 | 436363 | -257 | 25700 | 0.0257 | 48706 | 49064 | -358 | 35800 | 0.0358
EXHIBITION I
17 | TILAK MARG | 4865092 | ELSTER | Kvarh(Lead/Lag) | 75 | 506 | 506 | 0 | 0 | 0 | 952 | 952 | 0 | 0 | 0 | Check Meter Data till 31/05/18
|  | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 21/05/18
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9014 | 9014 | 0 | 0 | 0 | 37463 | 37463 | 0 | 0 | 0
[10 empty] | 7.2e-05 |  |  |  |  | 0.00035 | Assessment
|  | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 04/05/18
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11987 | 11912 | 75 | -7500 | -0.0075 | 77583 | 77274 | 309 | -30900 | -0.0309
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1846 | 1772 | 74 | -7400 | -0.0074 | 20810 | 20076 | 734 | -73400 | -0.0734
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 381 | 381 | 0 | 0 | 0 | 296 | 302 | -6 | 7998 | 0.007998
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 178 | 166 | 12 | -1200 | -0.0012 | 398 | 35 | 363 | -36300 | -0.0363
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 331 | 291 | 40 | -4000 | -0.004 | 19991 | 17471 | 2520 | -252000 | -0.252
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 86 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 999701 | 999884 | -183 | 73200 | 0.0732 | 999959 | 1000000 | -41 | 16400 | 0.0164 | w.e.f 20/04/18
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998725 | 998291 | 434 | -434000 | -0.434 | 1434 | 1434 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 139 | 97 | 42 | -31500 | -0.0315 | 495 | 177 | 318 | -238500 | -0.2385
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.50541 |  |  |  |  | -1.438
MAY-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.2842 |  |  |  |  | 3.3559
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.50541 |  |  |  |  | -1.438
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.43799 |  |  |  |  | 0.00575
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0004 |  |  |  |  | -0.43325
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.352 |  |  |  |  | 1.4904
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.352 | (REACTIVE MUs) |  |  |  | 1.4904 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.89484 | (REACTIVE MUs) |  |  |  | -1.5527 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.4572 | (REACTIVE MUs) |  |  |  | -0.062336 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3731 | 3713 | 18 | 4800.06 | 0.0048001 | 1187 | 557 | 630 | 168002.1 | 0.168
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 79468 | 79406 | 62 | 6200 | 0.0062 | 146109 | 144158 | 1951 | 195100 | 0.1951
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 968029 | 968040 | -11 | -2200 | -0.0022 | 994958 | 994954 | 4 | 800 | 0.0008
|  | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 999651 | 1000000 | -349 | -69800 | -0.0698 | w.e.f 18/05/18
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 49166 | 49011 | 155 | 31000 | 0.031 | 120367 | 118682 | 1685 | 337000 | 0.337
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 18917 | 18856 | 61 | 48800 | 0.0488 | 14199 | 13867 | 332 | 265600 | 0.2656
6 | 66 KV BD MARG-II | 4865150 | ELSTER | Kvarh(Lead/Lag) | 2000 | 71612 | 71612 | 0 | 0 | 0 | 101085 | 101080 | 5 | 10000 | 0.01 | Check Meter Data
|  | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 40 | 0 | 40 | 32000 | 0.032 | 393 | 0 | 393 | 314400 | 0.3144 | w.e.f 03-05-18
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 970404 | 970482 | -78 | -62400 | -0.0624 | 986263 | 986566 | -303 | -242400 | -0.2424
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 975160 | 975311 | -151 | -120800 | -0.1208 | 986989 | 987306 | -317 | -253600 | -0.2536
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 983614 | 983764 | -150 | -120000 | -0.12 | 993360 | 993919 | -559 | -447200 | -0.4472
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 973927 | 974120 | -193 | -154400 | -0.1544 | 994591 | 994511 | 80 | 64000 | 0.064
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997505 | 997505 | 0 | 0 | 0 | 16944 | 14029 | 2915 | 145750 | 0.14575
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989447 | 989447 | 0 | 0 | 0 | 21232 | 17860 | 3372 | 252900 | 0.2529
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 117 | 117 | 0 | 0 | 0 | 3724 | 2936 | 788 | 394000 | 0.394
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999217 | 999217 | 0 | 0 | 0 | 5650 | 5221 | 429 | 160875 | 0.16087
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988082 | 988082 | 0 | 0 | 0 | 334580 | 332396 | 2184 | 218400 | 0.2184
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 266 | 266 | 0 | 0 | 0 | 24051 | 19544 | 4507 | 338025 | 0.33803
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 89199 | 89199 | 0 | 0 | 0 | 748581 | 748912 | -331 | -33100 | -0.0331
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997869 | 997972 | -103 | -103000 | -0.103 | 102084 | 102070 | 14 | 14000 | 0.014
20 | VIDYUT BHAWAN-2 | 4865044 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993771 | 993820 | -49 | -49000 | -0.049 | 21818 | 21787 | 31 | 31000 | 0.031 | Check Meter Data
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990717 | 991109 | -392 | -392000 | -0.392 | 143898 | 143903 | -5 | -5000 | -0.005
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6150 | 5924 | 226 | 226000 | 0.226 | 59493 | 59490 | 3 | 3000 | 0.003
[10 empty] | -0.318 |  |  |  |  | 0.043
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999056 | 998929 | 127 | 127000 | 0.127 | 805 | 743 | 62 | 62000 | 0.062
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 5605 | 5557 | 48 | 7680 | 0.00768 | 4621 | 3771 | 850 | 136000 | 0.136
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 437 | 0 | 437 | 87400 | 0.0874 | 999540 | 1000000 | -460 | -92000 | -0.092
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994203 | 994296 | -93 | -93000 | -0.093 | 999844 | 999819 | 25 | 25000 | 0.025
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
MAY-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923397 | 923459 | -62 | 62000 | 0.062 | 971808 | 971813 | -5 | 5000 | 0.005 | Check meter data
|  | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999923 | 1000000 | -77 | 77000 | 0.077 | 999494 | 1000000 | -506 | 506000 | 0.506 | w.e.f 07/05/18
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 961634 | 961882 | -248 | 124000 | 0.124 | 997134 | 998205 | -1071 | 535500 | 0.5355
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998903 | 998773 | 130 | -260000 | -0.26 | 999484 | 999721 | -237 | 474000 | 0.474
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989055 | 989641 | -586 | 586000 | 0.586 | 998851 | 999418 | -567 | 567000 | 0.567
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 436106 | 436363 | -257 | -25700 | -0.0257 | 48706 | 49064 | -358 | -35800 | -0.0358
EXHIBITION I
35 | TILAK MARG | 4865092 | ELSTER | Kvarh(Lead/Lag) | 75 | 506 | 506 | 0 | 0 | 0 | 952 | 952 | 0 | 0 | 0 | Check Meter Data
|  | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 21/05/18
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 96782 | 96782 | 0 | 0 | 0 | 73255 | 72335 | 920 | 92000 | 0.092
37 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 106204 | 106204 | 0 | 0 | 0 | 75947 | 74279 | 1668 | 166800 | 0.1668
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28118 | 28011 | 107 | 10700 | 0.0107 | 34465 | 33336 | 1129 | 112900 | 0.1129
TILAK MARG
39 | EXHB-II | 5295191 | ELSTER | Kvarh(Lag) | 300 | 46278 | 45756 | 522 | 156600 | 0.1566 | 487 | 438 | 49 | 14700 | 0.0147 | Check Meter Data
|  | 4865151 | ELSTER | Kvarh(Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 25 | 2500 | 0.0025 | w.e.f 31/05/18
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 344183 | 342283 | 1900 | -190000 | -0.19 | 10334 | 8000 | 2334 | -233400 | -0.2334
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4640 | 4589 | 51 | -51000 | -0.051 | 405 | 338 | 67 | -67000 | -0.067
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10268 | 10267 | 1 | -75 | -7.5e-05 | 15237 | 14783 | 454 | -34050 | -0.03405
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4853 | 4847 | 6 | -600 | -0.0006 | 6801 | 6088 | 713 | -71300 | -0.0713
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.036995 |  |  |  |  | 4.0276
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.036995 |  |  |  |  | 4.0276
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.093507 |  |  |  |  | -0.16225
| TOTAL ENERGY TO NDMC | [8 empty] | 0.056512 |  |  |  |  | 3.8654

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3392 | 3392 | 0 | 0 | 0 | 26056 | 25067 | 989 | 197800 | 0.1978
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42416 | 42384 | 32 | 32000 | 0.032
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4249 | 4249 | 0 | 0 | 0 | 52384 | 52295 | 89 | 89000 | 0.089
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 151 | 152 | -1 | -400 | -0.0004 | 4235 | 1670 | 2565 | 1026000 | 1.026
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6467 | 6468 | -1 | -1000 | -0.001 | 12140 | 12077 | 63 | 63000 | 0.063
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 283 | 283 | 0 | 0 | 0 | 1000615 | 999604 | 1011 | 404400 | 0.4044
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997572 | 997446 | 126 | 25200 | 0.0252 | 999423 | 999125 | 298 | 59600 | 0.0596
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1022 | 1068 | -46 | -46000 | -0.046 | 999839 | 1000011 | -172 | -172000 | -0.172
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0222 |  |  |  |  | 1.6998
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34490 | -1 | -100 | -0.0001
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 59373 | 59371 | 2 | 200 | 0.0002 | 93872 | 92570 | 1302 | 130200 | 0.1302
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78162 | 78162 | 0 | 0 | 0 | 18071 | 17726 | 345 | 34500 | 0.0345 | Data till 29/05/18
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 65244 | 65242 | 2 | 200 | 0.0002 | 118051 | 115464 | 2587 | 258700 | 0.2587
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1320 | 1314 | 6 | 450 | 0.00045
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10281 | 10281 | 0 | 0 | 0 | 4084 | 3989 | 95 | 9500 | 0.0095
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0004 |  |  |  |  | 0.43325
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0004 |  |  |  |  | 0.43325
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0222 |  |  |  |  | 1.6998
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.0218 |  |  |  |  | 2.133
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.0218 | (REACTIVE MUs) |  |  |  | 2.133 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.01453 | (REACTIVE MUs) |  |  |  | -0.025212 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.0072701 | (REACTIVE MUs) |  |  |  | 2.1078 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 998986 | 999455 | -469 | -293125 | -0.29313 | 999989 | 999998 | -9 | -5625 | -0.005625
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999805 | 999992 | -187 | -116875 | -0.11688 | 999967 | 999999 | -32 | -20000 | -0.02
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 999701 | 999884 | -183 | -73200 | -0.0732 | 999959 | 1000000 | -41 | -16400 | -0.0164
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.4832 |  |  |  |  | -0.042025

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 979110 | 980347 | -1237 | -123700 | -0.1237 | 1890 | 1983 | -93 | -9300 | -0.0093
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 70508 | 69568 | 940 | 94000 | 0.094 | 5254 | 5269 | -15 | -1500 | -0.0015
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 10678 | 9548 | 1130 | 565000 | 0.565 | 2138 | 2077 | 61 | 30500 | 0.0305
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999870 | 999729 | 141 | 132187.5 | 0.13219 | 135 | 143 | -8 | -7500 | -0.0075
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 983110 | 984098 | -988 | -247000 | -0.247 | 983667 | 983682 | -15 | -3750 | -0.00375
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978709 | 978744 | -35 | 17500 | 0.0175 | 976334 | 976331 | 3 | -1500 | -0.0015
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999925 | -4 | -1200 | -0.0012
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.43799 |  |  |  |  | 0.00575
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987282 | 987456 | -174 | -34800 | -0.0348 | 999915 | 999926 | -11 | -2200 | -0.0022
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998478 | 998735 | -257 | -240937.5 | -0.24094 | 1000001 | 999999 | 2 | 1875 | 0.001875
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.27574 |  |  |  |  | -0.000325
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 829 | 757 | 72 | 90000 | 0.09 | 13 | 0 | 13 | 16250 | 0.01625
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 328630 | 326182 | 2448 | 244800 | 0.2448 | 998753 | 998711 | 42 | 4200 | 0.0042
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 286664 | 283075 | 3589 | 224312.5 | 0.22431 | 985619 | 985548 | 71 | 4437.5 | 0.0044375
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2643 | 2738 | -95 | -76000 | -0.076 | 1823 | 1796 | 27 | 21600 | 0.0216
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 977564 | 977892 | -328 | -32800 | -0.0328 | 999278 | 999283 | -5 | -500 | -0.0005
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 184 | 151 | 33 | 4950 | 0.00495 | 987238 | 987830 | -592 | -88800 | -0.0888
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998291 | 998327 | -36 | 90000 | 0.09 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999925 | -4 | 1200 | 0.0012
| TOTAL NDPL | [8 empty] | 0.54526 |  |  |  |  | -0.041612
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.43799 |  |  |  |  | 0.00575
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.27574 |  |  |  |  | -0.000325
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.54526 |  |  |  |  | -0.041612

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 33744 | 32257 | 1487 | 1487000 | 1.487 | 1000000 | 999997 | 3 | 3000 | 0.003
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 14088 | 13821 | 267 | 1335000 | 1.335 | 81 | 80 | 1 | 5000 | 0.005
[7 empty] | NET REACTIVE ENERGY |  |  | 2.822 |  | NET REACTIVE ENERGY |  |  | 0.008
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.822 |  |  |  |  | 0.008
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.404 |  |  |  |  | -3.6949
[7 empty] | NDMC = |  |  | -0.318 |  |  |  |  | 0.043
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -0.722 |  |  |  |  | -3.6519
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.1 |  |  |  |  | -3.6439
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.0328 | % |  |  | 0.60969 |  |  |  |  | -1.0579
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.6112 | % |  |  | 0.89484 |  |  |  |  | -1.5527
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.013 | % |  |  | 0.48327 |  |  |  |  | -0.83857
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4527 | % |  |  | 0.093507 |  |  |  |  | -0.16225
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6919 | % |  |  | 0.01453 |  |  |  |  | -0.025212
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.1985 | % |  |  | 0.0041685 |  |  |  |  | -0.0072331
Note :Sharing taken from wk-08 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2018 TO 31st MAY-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -6.0719 |  | -2.5718
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -2.4572 |  | -0.062336
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.4814 | + | 0.057664
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.056512 | + | 3.8654
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.0072701 | + | 2.1078
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.4832 |  | -0.042025
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2018 | INTIAL READING 01/05/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 14470 | 14414 | 56 | 42000 | 0.042 | 999882 | 999964 | -82 | -61500 | -0.0615
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 4164 | 3344 | 820 | 1230000 | 1.23 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 844419 | 845047 | -628 | -471000 | -0.471 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.801 |  |  | NET REACTIVE ENERGY |  | -0.0615
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1152 | 1091 | 61 | 305000 | 0.305 | 12038 | 11729 | 309 | 1545000 | 1.545
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 915180 | 916316 | -1136 | -1136000 | -1.136
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973818 | 973818 | 0 | 0 | 0 | 1000409 | 998905 | 1504 | 1504000 | 1.504
[8 empty] | NET REACTIVE ENERGY |  | 0.305 |  |  | NET REACTIVE ENERGY |  | 1.913