## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990416 | 990619 | -203 | 203000 | 0.203 | 998634 | 999161 | -527 | 527000 | 0.527
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994198 | 994768 | -570 | 570000 | 0.57 | 998244 | 998261 | -17 | 17000 | 0.017
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4411 | 4896 | -485 | 485000 | 0.485 | 996270 | 996278 | -8 | 8000 | 0.008
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974300 | 974507 | -207 | 207000 | 0.207 | 976093 | 976182 | -89 | 89000 | 0.089
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917230 | 917032 | 198 | -198000 | -0.198 | 941028 | 941048 | -20 | 20000 | 0.02
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22959 | 22913 | 46 | -46000 | -0.046 | 17168 | 17169 | -1 | 1000 | 0.001
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12482 | 13105 | -623 | 623000 | 0.623 | 13075 | 13079 | -4 | 4000 | 0.004
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 14297 | 14786 | -489 | 611250 | 0.61125 | 995451 | 995453 | -2 | 2500 | 0.0025
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6604 | 7571 | -967 | 967000 | 0.967 | 985256 | 985257 | -1 | 1000 | 0.001
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31277 | 31560 | -283 | 283000 | 0.283 | 9098 | 9098 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992227 | 993181 | -954 | 954000 | 0.954 | 3866 | 3866 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991932 | 992874 | -942 | 942000 | 0.942 | 999329 | 999329 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 901126 | 904418 | -3292 | -3292000 | -3.292 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988005 | 988786 | -781 | 781000 | 0.781 | 16927 | 16927 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998525 | 999040 | -515 | 515000 | 0.515 | 19649 | 19649 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1938 | 1992 | -54 | 54000 | 0.054 | 999939 | 999938 | 1 | -1000 | -0.001
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999945 | 999931 | 14 | 2800 | 0.0028 | 993126 | 993127 | -1 | -200 | -0.0002
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 641 | 584 | 57 | 57000 | 0.057 | 29301 | 29294 | 7 | 7000 | 0.007
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4350 | 4282 | 68 | 6800 | 0.0068 | 154887 | 154884 | 3 | 300 | 0.0003
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 15510 | 14027 | 1483 | 148300 | 0.1483 | 230494 | 229985 | 509 | 50900 | 0.0509
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996336 | 996260 | 76 | 76000 | 0.076 | 3905 | 3919 | -14 | -14000 | -0.014
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 316 | 278 | 38 | 38000 | 0.038 | 8083 | 8123 | -40 | -40000 | -0.04
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640080 | 640872 | -792 | -792000 | -0.792 | 798969 | 798972 | -3 | -3000 | -0.003
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648530 | 648668 | -138 | -138000 | -0.138 | 832146 | 832151 | -5 | -5000 | -0.005
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 1901 | 1615 | 286 | 114400 | 0.1144 | 47 | 0 | 47 | 18800 | 0.0188
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2588 | 2525 | 63 | 31500 | 0.0315 | 2319 | 2062 | 257 | 128500 | 0.1285
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15563 | 15570 | -7 | 7000 | 0.007 | 981777 | 981874 | -97 | 97000 | 0.097
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5864 | 5865 | -1 | 1000 | 0.001 | 999788 | 999830 | -42 | 42000 | 0.042
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996437 | 995476 | 961 | -961000 | -0.961 | 925826 | 925828 | -2 | 2000 | 0.002
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3426 | 3265 | 161 | -161000 | -0.161 | 999891 | 999894 | -3 | 3000 | 0.003
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56761 | 55511 | 1250 | -1250000 | -1.25 | 999946 | 999942 | 4 | -4000 | -0.004
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 298 | 298 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2534 | 2399 | 135 | -135000 | -0.135 | 999999 | 1000000 | -1 | 1000 | 0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
34 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1758 | 1720 | 38 | 38000 | 0.038 | 21255 | 21118 | 137 | 137000 | 0.137
35 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 200 | 175 | 25 | 25000 | 0.025 | 1930 | 2024 | -94 | -94000 | -0.094
| NDPL(+) continue | [14 empty] | APRIL-2014
DMS
36 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1214 | 1134 | 80 | 80000 | 0.08 | 60903 | 60903 | 0 | 0 | 0
REWARI LINE
37 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 1929 | 1863 | 66 | 6600 | 0.0066 | 79447 | 79201 | 246 | 24600 | 0.0246
VISHAL
38 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9465 | 9489 | -24 | -2400 | -0.0024 | 29111 | 29149 | -38 | -3800 | -0.0038
39 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10701 | 10626 | 75 | 7500 | 0.0075 | 52780 | 52431 | 349 | 34900 | 0.0349
40 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16306 | 16251 | 55 | 5500 | 0.0055 | 55928 | 55049 | 879 | 87900 | 0.0879
S.B.MILL
41 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 42990 | 42990 | 0 | 0 | 0 | 18907 | 18107 | 800 | 80000 | 0.08
42 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
43 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
44 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17346 | 17346 | 0 | 0 | 0 | 17028 | 16232 | 796 | 79600 | 0.0796
47 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998341 | 998341 | 0 | 0 | 0 | 277 | 262 | 15 | 666.6 | 0.0006666
B.G.ROAD
48 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5629 | 5620 | 9 | 4500 | 0.0045 | 29000 | 28869 | 131 | 65500 | 0.0655
49 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3784 | 3772 | 12 | 6000 | 0.006 | 26815 | 26708 | 107 | 53500 | 0.0535
50 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 5808 | 5620 | 188 | 94000 | 0.094 | 14555 | 14551 | 4 | 2000 | 0.002
51 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 924 | 821 | 103 | 68666.6667 | 0.068667 | 557 | 554 | 3 | 2000 | 0.002
D.M.S.
52 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 993065 | 993133 | -68 | -6800 | -0.0068 | 5900 | 5897 | 3 | 300 | 0.0003
53 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7795 | 7822 | -27 | -2700 | -0.0027 | 15336 | 15336 | 0 | 0 | 0
54 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23322 | 23350 | -28 | -2800 | -0.0028 | 54106 | 54105 | 1 | 100 | 0.0001
55 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4449 | 4482 | -33 | -3300 | -0.0033 | 1000005 | 999972 | 33 | 3300 | 0.0033
56 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998628 | 998651 | -23 | -2300 | -0.0023 | 130 | 131 | -1 | -100 | -0.0001
57 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 20062 | 19532 | 530 | 53000 | 0.053 | 71977 | 71879 | 98 | 9800 | 0.0098
59 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 15526 | 14977 | 549 | 54900 | 0.0549 | 62732 | 62674 | 58 | 5800 | 0.0058
60 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 2368 | 1751 | 617 | 61700 | 0.0617 | 1000029 | 999953 | 76 | 7600 | 0.0076
KASHMIRI GATE
61 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 149082 | 147444 | 1638 | 163800 | 0.1638 | 23915 | 23977 | -62 | -6200 | -0.0062
62 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21564 | 21503 | 61 | 6100 | 0.0061 | 41560 | 41340 | 220 | 22000 | 0.022
63 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
| B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wef 25/4/14
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 43 | 42 | 1 | -400 | -0.0004
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999261 | 999261 | 0 | 0 | 0 | 999404 | 999397 | 7 | 700 | 0.0007
Mundka
66 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 993733 | 994101 | -368 | -294400 | -0.2944 | 344 | 344 | 0 | 0 | 0
67 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 990049 | 989759 | 290 | 232000 | 0.232 | 999987 | 999987 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 1.2976 |  |  |  |  | 1.4656
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 16549 | 16308 | 241 | -24100 | -0.0241 | 14353 | 14316 | 37 | -3700 | -0.0037
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10500 | 10353 | 147 | -147000 | -0.147 | 7087 | 7078 | 9 | -9000 | -0.009
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3883 | 4278 | -395 | 79000 | 0.079 | 11991 | 11899 | 92 | -18400 | -0.0184
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15802 | 15698 | 104 | -104000 | -0.104 | 31730 | 31691 | 39 | -39000 | -0.039
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 10914 | 10890 | 24 | -2400 | -0.0024 | 61506 | 61478 | 28 | -2800 | -0.0028
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944794 | 944880 | -86 | 86000 | 0.086 | 992433 | 992454 | -21 | 21000 | 0.021
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.1125 |  |  |  |  | -0.0519
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 1.2976 |  |  |  |  | 1.4656
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.1125 |  |  |  |  | -0.0519
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.2045 |  |  |  |  | -0.14713
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 2.3896 |  |  |  |  | 1.2665
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.3896 | (REACTIVE MUs) |  |  |  | 1.2665 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.24962 | (REACTIVE MUs) |  |  |  | -1.2814 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.6392 | (REACTIVE MUs) |  |  |  | -0.014875 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 993228 | 993185 | 43 | 4300 | 0.0043 | 75406 | 71700 | 3706 | 370600 | 0.3706
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0056 |  |  |  |  | -0.0017 | Metering not in order
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21079 | 20132 | 947 | 94700 | 0.0947 | 27629 | 24118 | 3511 | 351100 | 0.3511
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2271 | 2445 | -174 | -17400 | -0.0174 | 4684 | 4496 | 188 | 18800 | 0.0188
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0005 |  |  |  |  | 0.2978 | Metering not in order
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0058 |  |  |  |  | -0.07 | Metering not in order
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993870 | 994466 | -596 | -596000 | -0.596 | 836 | 835 | 1 | 1000 | 0.001
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998710 | 998782 | -72 | -72000 | -0.072 | 1946 | 1942 | 4 | 4000 | 0.004
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 729 | 689 | 40 | 40000 | 0.04 | 1340 | 1326 | 14 | 14000 | 0.014
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998772 | 998799 | -27 | -27000 | -0.027 | 2737 | 2737 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999220 | 999093 | 127 | 127000 | 0.127 | 4096 | 4093 | 3 | 3000 | 0.003
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 313 | 489 | -176 | -176000 | -0.176 | 1072 | 1075 | -3 | -3000 | -0.003
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999907 | 999999 | -92 | -92000 | -0.092 | 16514 | 16514 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1569 | 1633 | -64 | -64000 | -0.064 | 37138 | 37111 | 27 | 27000 | 0.027
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 236 | 22 | 22000 | 0.022 | 24514 | 24687 | -173 | -173000 | -0.173
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1406 | 1342 | 64 | 64000 | 0.064 | 8382 | 8377 | 5 | 5000 | 0.005
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 6151 | 5039 | 1112 | 111200 | 0.1112 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998641 | 998537 | 104 | 104000 | 0.104 | 12648 | 12609 | 39 | 39000 | 0.039
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 739403 | 742846 | -3443 | -3787300 | -3.7873
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 780067 | 783953 | -3886 | -4274600 | -4.2746
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986794 | 987043 | -249 | -249000 | -0.249 | 9051 | 9051 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.8078 |  |  |  |  | -8.1449
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958295 | 958665 | -370 | 370000 | 0.37 | 965392 | 966180 | -788 | 788000 | 0.788
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968932 | 969628 | -696 | 696000 | 0.696 | 962032 | 962270 | -238 | 238000 | 0.238
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
| B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wef 25/4/14
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 144 | 119 | 25 | 25000 | 0.025 | 3758 | 3528 | 230 | 230000 | 0.23
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44105 | 43338 | 767 | -767000 | -0.767 | 972864 | 972934 | -70 | 70000 | 0.07
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23781 | 23062 | 719 | -719000 | -0.719 | 967817 | 967891 | -74 | 74000 | 0.074
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995387 | 995828 | -441 | 441000 | 0.441 | 996364 | 996407 | -43 | 43000 | 0.043
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975529 | 976452 | -923 | 923000 | 0.923 | 992237 | 992295 | -58 | 58000 | 0.058
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3883 | 4278 | -395 | -79000 | -0.079 | 11991 | 11899 | 92 | 18400 | 0.0184
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15802 | 15698 | 104 | 104000 | 0.104 | 31730 | 31691 | 39 | 39000 | 0.039
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 105987 | 107106 | -1119 | -111900 | -0.1119 | 1617 | 1617 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 124016 | 116381 | 7635 | 763500 | 0.7635 | 2383 | 2383 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.9085 |  |  |  |  | -5.6199
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.9085 |  |  |  |  | -5.6199
APRIL-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991495 | 991697 | -202 | 202000 | 0.202 | 916845 | 917632 | -787 | 787000 | 0.787
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12377 | 12493 | -116 | 116000 | 0.116 | 936600 | 937367 | -767 | 767000 | 0.767
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992630 | 992909 | -279 | 279000 | 0.279 | 981122 | 981723 | -601 | 601000 | 0.601
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901505 | 904934 | -3429 | 3429000 | 3.429 | 992033 | 992037 | -4 | 4000 | 0.004
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 890019 | 893984 | -3965 | 3965000 | 3.965 | 990453 | 990458 | -5 | 5000 | 0.005
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4638 | 4636 | 2 | -2000 | -0.002 | 992385 | 992161 | 224 | -224000 | -0.224
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999801 | 999797 | 4 | -8000 | -0.008 | 985094 | 985421 | -327 | 654000 | 0.654
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999467 | 999467 | 0 | 0 | 0 | 962930 | 963166 | -236 | 236000 | 0.236
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998553 | 1000097 | -1544 | 1544000 | 1.544 | 913314 | 914392 | -1078 | 1078000 | 1.078
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962166 | 961878 | 288 | -288000 | -0.288 | 870251 | 870704 | -453 | 453000 | 0.453
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20364 | 20742 | -378 | 378000 | 0.378 | 34046 | 34069 | -23 | 23000 | 0.023
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21941 | 21860 | 81 | -81000 | -0.081 | 43721 | 43763 | -42 | 42000 | 0.042
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 9.534 |  |  |  |  | 4.426
| (B) NET ENERGY TO EAST | [8 empty] | 9.534 |  |  |  |  | 4.426
APRIL-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 1901 | 1615 | 286 | -114400 | -0.1144 | 47 | 0 | 47 | -18800 | -0.0188
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2588 | 2525 | 63 | -31500 | -0.0315 | 2319 | 2062 | 257 | -128500 | -0.1285
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 45699 | 45022 | 677 | -135400 | -0.1354 | 72319 | 72228 | 91 | -18200 | -0.0182
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73459 | 72834 | 625 | -62500 | -0.0625 | 139787 | 139686 | 101 | -10100 | -0.0101
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 981014 | 981340 | -326 | 65200 | 0.0652 | 1916 | 1910 | 6 | -1200 | -0.0012
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 74293 | 73647 | 646 | -129200 | -0.1292 | 88875 | 88803 | 72 | -14400 | -0.0144
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 7187 | 7015 | 172 | -137600 | -0.1376 | 1190 | 1140 | 50 | -40000 | -0.04
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13736 | 13748 | -12 | 24000 | 0.024 | 917 | 925 | -8 | 16000 | 0.016
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983129 | 983209 | -80 | 64000 | 0.064 | 992924 | 993040 | -116 | 92800 | 0.0928
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 987637 | 987900 | -263 | 210400 | 0.2104 | 994510 | 994924 | -414 | 331200 | 0.3312
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 993823 | 994027 | -204 | 163200 | 0.1632 | 997472 | 997661 | -189 | 151200 | 0.1512
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992460 | 992640 | -180 | 180000 | 0.18 | 37338 | 37398 | -60 | 60000 | 0.06
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993125 | 993259 | -134 | 178666.22 | 0.17867 | 999517 | 999560 | -43 | 57333.19 | 0.057333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1758 | 1720 | 38 | -38000 | -0.038 | 21255 | 21118 | 137 | -137000 | -0.137
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 200 | 175 | 25 | -25000 | -0.025 | 1930 | 2024 | -94 | 94000 | 0.094
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1214 | 1134 | 80 | -80000 | -0.08 | 60903 | 60903 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5629 | 5620 | 9 | -4500 | -0.0045 | 29000 | 28869 | 131 | -65500 | -0.0655
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3784 | 3772 | 12 | -6000 | -0.006 | 26815 | 26708 | 107 | -53500 | -0.0535
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 5808 | 5620 | 188 | -94000 | -0.094 | 14555 | 14551 | 4 | -2000 | -0.002
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 924 | 821 | 103 | -68666.6667 | -0.068667 | 557 | 554 | 3 | -2000 | -0.002
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 149082 | 147444 | 1638 | -163800 | -0.1638 | 23915 | 23977 | -62 | 6200 | 0.0062
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21564 | 21503 | 61 | -6100 | -0.0061 | 41560 | 41340 | 220 | -22000 | -0.022
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 993065 | 993133 | -68 | 6800 | 0.0068 | 5900 | 5897 | 3 | -300 | -0.0003
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7795 | 7822 | -27 | 2700 | 0.0027 | 15336 | 15336 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23322 | 23350 | -28 | 2800 | 0.0028 | 54106 | 54105 | 1 | -100 | -0.0001
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4449 | 4482 | -33 | 3300 | 0.0033 | 1000005 | 999972 | 33 | -3300 | -0.0033
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998628 | 998651 | -23 | 2300 | 0.0023 | 130 | 131 | -1 | 100 | 0.0001
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 20062 | 19532 | 530 | -53000 | -0.053 | 71977 | 71879 | 98 | -9800 | -0.0098
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 15526 | 14977 | 549 | -54900 | -0.0549 | 62732 | 62674 | 58 | -5800 | -0.0058
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 2368 | 1751 | 617 | -61700 | -0.0617 | 1000029 | 999953 | 76 | -7600 | -0.0076
[10 empty] | -0.3629 |  |  |  |  | 0.26873
APRIL-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.9085 |  |  |  |  | -5.6199
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.3629 |  |  |  |  | 0.26873
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.942 |  |  |  |  | 0.0128
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.3964 |  |  |  |  | -5.3384
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 9.534 |  |  |  |  | 4.426
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 9.1376 |  |  |  |  | -0.91237
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 9.1376 | (REACTIVE MUs) |  |  |  | -0.91237 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.19582 | (REACTIVE MUs) |  |  |  | -1.0053 | (REACTIVE MUs)
[9 empty] | TOTAL | 9.3334 | (REACTIVE MUs) |  |  |  | -1.9176 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997963 | 997963 | 0 | 0 | 0 | 8801 | 8801 | 0 | 0 | 0
[10 empty] | -0.168 |  |  |  |  | -0.24 | Metering not in order
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986062 | 986211 | -149 | -198666.17 | -0.19867 | 673931 | 673930 | 1 | 1333.33 | 0.0013333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  |  |  | 0.052 |  |  |  |  | 0.078 | Metering not in order
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12452 | 12262 | 190 | 190000 | 0.19 | 999613 | 999584 | 29 | 29000 | 0.029
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0179 |  |  |  |  | 0.1758 | Metering not in order
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 747001 | 751656 | -4655 | -349125 | -0.34913 | 49353 | 49382 | -29 | -2175 | -0.002175
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0087 |  |  |  |  | -0.0269 | Metering not in order
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 |  |  |  |  | -0.0054 |  |  |  |  | -0.1071 | Metering not in order
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990464 | 990332 | 132 | -132000 | -0.132 | 945954 | 945977 | -23 | 23000 | 0.023 | Data upto 21/4/14
| Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  |  |  | -0.0396 |  |  |  |  | 0.0069 | Assessment
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987821 | 987687 | 134 | -134000 | -0.134 | 950992 | 951056 | -64 | 64000 | 0.064
12 | Tx.3 | 4864998 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976987 | 976951 | 36 | -36000 | -0.036 | 933347 | 933407 | -60 | 60000 | 0.06 | Check Meter Data
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992502 | 992477 | 25 | -25000 | -0.025 | 950119 | 950274 | -155 | 155000 | 0.155
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987376 | 988757 | -1381 | 1381000 | 1.381 | 980380 | 980399 | -19 | 19000 | 0.019
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24881 | 24334 | 547 | -547000 | -0.547 | 985415 | 985422 | -7 | 7000 | 0.007
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24655 | 21928 | 2727 | -2727000 | -2.727 | 999985 | 1000002 | -17 | 17000 | 0.017
| Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9 | 0 | 9 | -9000 | -0.009 | 999897 | 1000000 | -103 | 103000 | 0.103 | wef 19/4/14
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 786 | 610 | 176 | -176000 | -0.176 | 999446 | 999450 | -4 | 4000 | 0.004
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4748 | 5139 | -391 | 391000 | 0.391 | 1626 | 1656 | -30 | 30000 | 0.03
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21981 | 22294 | -313 | 313000 | 0.313 | 6205 | 6211 | -6 | 6000 | 0.006
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1077 | 902 | 175 | -175000 | -0.175 | 999924 | 999931 | -7 | 7000 | 0.007
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10500 | 10353 | 147 | 147000 | 0.147 | 7095 | 7078 | 17 | 17000 | 0.017
LODHI ROAD
22 | Tx.1 | 4864923 | ELSTER | Kvarh(Lead/Lag) | -1000 | 903531 | 905470 | -1939 | 1939000 | 1.939 | 895522 | 895688 | -166 | 166000 | 0.166 | Check Meter Data
| Tx.1 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999517 | 999993 | -476 | 476000 | 0.476 | 999912 | 1000000 | -88 | 88000 | 0.088 | wef 19/4/14
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953575 | 954643 | -1068 | 1068000 | 1.068 | 856996 | 857225 | -229 | 229000 | 0.229
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999471 | 999835 | -364 | 364000 | 0.364 | 971372 | 971451 | -79 | 79000 | 0.079
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995442 | 996472 | -1030 | 1030000 | 1.03 | 954351 | 954501 | -150 | 150000 | 0.15
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8352 | 8540 | -188 | 188000 | 0.188 | 40992 | 41265 | -273 | 273000 | 0.273
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998461 | 998954 | -493 | 493000 | 0.493 | 889779 | 889783 | -4 | 4000 | 0.004
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997120 | 997633 | -513 | 513000 | 0.513 | 869010 | 869024 | -14 | 14000 | 0.014
BRPL(+) continue | [14 empty] | APRIL-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995520 | 995533 | -13 | 13000 | 0.013 | 972396 | 972433 | -37 | 37000 | 0.037
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997417 | 997420 | -3 | 3000 | 0.003 | 988229 | 988288 | -59 | 59000 | 0.059
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996840 | 996748 | 92 | -184000 | -0.184 | 970067 | 970064 | 3 | -6000 | -0.006
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995038 | 995545 | -507 | 507000 | 0.507 | 914861 | 915152 | -291 | 291000 | 0.291
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995070 | 995210 | -140 | 140000 | 0.14 | 927980 | 928164 | -184 | 184000 | 0.184
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998611 | 999183 | -572 | 572000 | 0.572 | 999814 | 999903 | -89 | 89000 | 0.089
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989932 | 990828 | -896 | 896000 | 0.896 | 999670 | 999920 | -250 | 250000 | 0.25
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 978022 | 981084 | -3062 | 2041331.292 | 2.0413 | 984337 | 984337 | 0 | 0 | 0
38 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 976553 | 974283 | 2270 | -1513331.82 | -1.5133 | 971784 | 971784 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2274 | 2192 | 82 | -164000 | -0.164 | 1524 | 1524 | 0 | 0 | 0
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999270 | 999175 | 95 | -190000 | -0.19 | 664 | 664 | 0 | 0 | 0
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939362 | 940839 | -1477 | 1477000 | 1.477 | 995645 | 995774 | -129 | 129000 | 0.129
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949831 | 951210 | -1379 | 1379000 | 1.379 | 995830 | 996014 | -184 | 184000 | 0.184
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994033 | 994033 | 0 | 0 | 0 | 1447 | 1447 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 24563 | 21842 | 2721 | 2176800 | 2.1768 | 1045 | 1045 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 934265 | 938028 | -3763 | -3010400 | -3.0104 | 999692 | 999692 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992460 | 992640 | -180 | -180000 | -0.18 | 37338 | 37398 | -60 | -60000 | -0.06
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993125 | 993259 | -134 | -178666.22 | -0.17867 | 999517 | 999560 | -43 | -57333.19 | -0.057333
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15209 | 15368 | -159 | 159000 | 0.159 | 975082 | 975086 | -4 | 4000 | 0.004
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9589 | 9600 | -11 | 11000 | 0.011 | 989739 | 989739 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 16549 | 16308 | 241 | 24100 | 0.0241 | 14353 | 14316 | 37 | 3700 | 0.0037
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 10914 | 10890 | 24 | 2400 | 0.0024 | 61506 | 61478 | 28 | 2800 | 0.0028
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 944794 | 944880 | -86 | -86000 | -0.086 | 992433 | 992454 | -21 | -21000 | -0.021
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1198 | 1198 | 0 | 0 | 0 | 9910 | 9910 | 0 | 0 | 0
| 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 377 | 4 | 373 | 27975 | 0.027975 | 521 | 0 | 521 | 39075 | 0.039075 | wef 2/4/14
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9769 | 9792 | -23 | -2300 | -0.0023 | 21833 | 21843 | -10 | -1000 | -0.001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.7533 |  |  |  |  | 2.5571
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 901496 | 898346 | 3150 | -315000 | -0.315
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 105987 | 107106 | -1119 | 111900 | 0.1119 | 1617 | 1617 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 124016 | 116381 | 7635 | -763500 | -0.7635 | 2383 | 2383 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996360 | 996387 | -27 | 2700 | 0.0027 | 999978 | 999978 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996661 | 996684 | -23 | 2300 | 0.0023 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1694 | 1472 | 222 | -444000 | -0.444 | 73243 | 73243 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9233 | 9017 | 216 | -216000 | -0.216 | 81 | 81 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 901307 | 900353 | 954 | -477000 | -0.477 | 54462 | 54462 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 64707 | 64395 | 312 | -31200 | -0.0312 | 59039 | 58841 | 198 | -19800 | -0.0198
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 63431 | 61650 | 1781 | -178100 | -0.1781 | 56955 | 56909 | 46 | -4600 | -0.0046
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85301 | 85646 | -345 | 69000 | 0.069 | 112997 | 112978 | 19 | -3800 | -0.0038
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 332 | 633 | -301 | -150500 | -0.1505 | 17749 | 17870 | -121 | -60500 | -0.0605
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3150 | 3462 | -312 | -26000 | -0.026 | 979490 | 979490 | 0 | 0 | 0
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 989642 | 989676 | -34 | -5666.6667 | -0.0056667 | 993688 | 993688 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 301800 | 300724 | 1076 | -107600 | -0.1076 | 44785 | 44675 | 110 | -11000 | -0.011
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3891 | 3912 | -21 | 2100 | 0.0021 | 18510 | 18497 | 13 | -1300 | -0.0013
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 1929 | 1863 | 66 | -6600 | -0.0066 | 79447 | 79201 | 246 | -24600 | -0.0246
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9465 | 9489 | -24 | 2400 | 0.0024 | 29111 | 29149 | -38 | 3800 | 0.0038
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10701 | 10626 | 75 | -7500 | -0.0075 | 52780 | 52431 | 349 | -34900 | -0.0349
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16306 | 16251 | 55 | -5500 | -0.0055 | 55928 | 55049 | 879 | -87900 | -0.0879
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 42990 | 42990 | 0 | 0 | 0 | 18907 | 18107 | 800 | -80000 | -0.08
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17346 | 17346 | 0 | 0 | 0 | 17028 | 16232 | 796 | -79600 | -0.0796
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998341 | 998341 | 0 | 0 | 0 | 277 | 262 | 15 | -666.6 | -0.0006666
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 43 | 42 | 1 | 400 | 0.0004
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999261 | 999261 | 0 | 0 | 0 | 999404 | 999397 | 7 | -700 | -0.0007
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.2288 |  |  |  |  | -0.72017
APRIL-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 7.7533 |  |  |  |  | 2.5571
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.2288 |  |  |  |  | -0.72017
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.70373 |  |  |  |  | 0.66795
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0527 |  |  |  |  | -0.1441
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 6.1756 |  |  |  |  | 2.3608
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 6.1756 | (REACTIVE MUs) |  |  |  | 2.3608 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.33878 | (REACTIVE MUs) |  |  |  | -1.7391 | (REACTIVE MUs)
[9 empty] | TOTAL | 6.5144 | (REACTIVE MUs) |  |  |  | 0.62168 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 45699 | 45022 | 677 | 135400 | 0.1354 | 72319 | 72228 | 91 | 18200 | 0.0182
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73459 | 72834 | 625 | 62500 | 0.0625 | 139787 | 139686 | 101 | 10100 | 0.0101
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 981014 | 981340 | -326 | -65200 | -0.0652 | 1916 | 1910 | 6 | 1200 | 0.0012
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 74293 | 73647 | 646 | 129200 | 0.1292 | 88875 | 88803 | 72 | 14400 | 0.0144
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 7187 | 7015 | 172 | 137600 | 0.1376 | 1190 | 1140 | 50 | 40000 | 0.04
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13736 | 13748 | -12 | -24000 | -0.024 | 917 | 925 | -8 | -16000 | -0.016
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983129 | 983209 | -80 | -64000 | -0.064 | 992924 | 993040 | -116 | -92800 | -0.0928
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 987637 | 987900 | -263 | -210400 | -0.2104 | 994510 | 994924 | -414 | -331200 | -0.3312
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 993823 | 994027 | -204 | -163200 | -0.1632 | 997472 | 997661 | -189 | -151200 | -0.1512
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0027 |  |  |  |  | 0.4049 | Metering not in order
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.7396 | Metering not in order
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0078 |  |  |  |  | 0.1386 | Metering not in order
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.3322 | Metering not in order
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999881 | 999881 | 0 | 0 | 0 | 175798 | 175798 | 0 | 0 | 0
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259759 | 259759 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51073 | 0 | 0 | 0 | 704427 | 704427 | 0 | 0 | 0
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 77088 | 75439 | 1649 | 1813900 | 1.8139
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2293 | 2419 | -126 | -126000 | -0.126 | 37995 | 37836 | 159 | 159000 | 0.159
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 147663 | 146061 | 1602 | 1762200 | 1.7622
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6709 | 6948 | -239 | -239000 | -0.239 | 53297 | 53177 | 120 | 120000 | 0.12
[10 empty] | -0.365 |  |  |  |  | 3.8551
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1694 | 1472 | 222 | 444000 | 0.444 | 73243 | 73243 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9233 | 9017 | 216 | 216000 | 0.216 | 81 | 81 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 901307 | 900353 | 954 | 477000 | 0.477 | 54462 | 54462 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 332 | 633 | -301 | 150500 | 0.1505 | 17749 | 17870 | -121 | 60500 | 0.0605
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3150 | 3462 | -312 | 26000 | 0.026 | 979490 | 979490 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 989642 | 989676 | -34 | 5666.6667 | 0.0056667 | 993688 | 993688 | 0 | 0 | 0
APRIL-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982964 | 983045 | -81 | 81000 | 0.081 | 990308 | 991057 | -749 | 749000 | 0.749
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981545 | 983050 | -1505 | 1505000 | 1.505 | 990763 | 990826 | -63 | 63000 | 0.063
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996565 | 996565 | 0 | 0 | 0 | 29 | 29 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 301800 | 300724 | 1076 | 107600 | 0.1076 | 44785 | 44675 | 110 | 11000 | 0.011
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3891 | 3912 | -21 | -2100 | -0.0021 | 18510 | 18497 | 13 | 1300 | 0.0013
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 64707 | 64395 | 312 | 31200 | 0.0312 | 59039 | 58841 | 198 | 19800 | 0.0198
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 63431 | 61650 | 1781 | 178100 | 0.1781 | 56955 | 56909 | 46 | 4600 | 0.0046
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85301 | 85646 | -345 | -69000 | -0.069 | 112997 | 112978 | 19 | 3800 | 0.0038
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 901496 | 898346 | 3150 | 315000 | 0.315
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1198 | 1198 | 0 | 0 | 0 | 9910 | 9910 | 0 | 0 | 0
| 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 377 | 4 | 373 | -27975 | -0.027975 | 521 | 0 | 521 | -39075 | -0.039075 | wef 2/4/14
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9769 | 9792 | -23 | 2300 | 0.0023 | 21833 | 21843 | -10 | 1000 | 0.001
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.6931 |  |  |  |  | 6.153
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.6931 |  |  |  |  | 6.153
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.039537 |  |  |  |  | -0.20296
| TOTAL ENERGY TO NDMC | [8 empty] | 2.7326 |  |  |  |  | 5.9501

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1349 | 1345 | 4 | 4000 | 0.004 | 23506 | 23364 | 142 | 142000 | 0.142
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 966 | 961 | 5 | 5000 | 0.005 | 26140 | 26015 | 125 | 125000 | 0.125
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2280 | 2267 | 13 | 13000 | 0.013 | 33966 | 33915 | 51 | 51000 | 0.051
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 883 | 884 | -1 | -1000 | -0.001 | 18421 | 18327 | 94 | 94000 | 0.094
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4148 | 4158 | -10 | -10000 | -0.01 | 10180 | 10176 | 4 | 4000 | 0.004
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11666 | 11253 | 413 | 206500 | 0.2065 | 58531 | 58531 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996360 | 996387 | -27 | -2700 | -0.0027 | 999978 | 999978 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996661 | 996684 | -23 | -2300 | -0.0023 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2125 |  |  |  |  | 0.416
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 46574 | 46546 | 28 | 2800 | 0.0028 | 72328 | 71987 | 341 | 34100 | 0.0341
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73729 | 73647 | 82 | 8200 | 0.0082 | 11222 | 11135 | 87 | 8700 | 0.0087
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 46027 | 45612 | 415 | 41500 | 0.0415 | 61039 | 60137 | 902 | 90200 | 0.0902
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84335 | 84333 | 2 | 200 | 0.0002 | 58448 | 58337 | 111 | 11100 | 0.0111
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 6913 | 6787 | 126 | 12600 | 0.0126 | 2080 | 1839 | 241 | 24100 | 0.0241
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0527 |  |  |  |  | 0.1441
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0527 |  |  |  |  | 0.1441
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2125 |  |  |  |  | 0.416
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.2652 |  |  |  |  | 0.5601
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.2652 | (REACTIVE MUs) |  |  |  | 0.5601 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0064407 | (REACTIVE MUs) |  |  |  | -0.033063 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.27164 | (REACTIVE MUs) |  |  |  | 0.52704 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 36454 | 36454 | 0 | 0 | 0 | 79282 | 79282 | 0 | 0 | 0 | Data not available
| O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.1397 |  |  |  |  | 0.0001 | Assessment
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 2310 | 478 | 1832 | 183200 | 0.1832 | 999195 | 999112 | 83 | 8300 | 0.0083
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 253450 | 252229 | 1221 | 122100 | 0.1221 | 98398 | 98388 | 10 | 1000 | 0.001
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 32353 | 31779 | 574 | 538125 | 0.53812 | 18511 | 18491 | 20 | 18750 | 0.01875
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985230 | 985230 | 0 | 0 | 0 | 923633 | 924519 | -886 | 443000 | 0.443
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989218 | 989218 | 0 | 0 | 0 | 979228 | 979627 | -399 | 199500 | 0.1995
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 999989 | 999998 | -9 | -2700 | -0.0027
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.70373 |  |  |  |  | 0.66795
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 928042 | 929033 | -991 | -198200 | -0.1982 | 991755 | 991747 | 8 | 1600 | 0.0016
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 978991 | 982710 | -3719 | -743800 | -0.7438 | 174 | 118 | 56 | 11200 | 0.0112
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.942 |  |  |  |  | 0.0128
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 239009 | 236337 | 2672 | 534400 | 0.5344 | 263970 | 263938 | 32 | 6400 | 0.0064
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 111888 | 110542 | 1346 | 269200 | 0.2692 | 41610 | 41545 | 65 | 13000 | 0.013
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 184027 | 181308 | 2719 | 271900 | 0.2719 | 72611 | 72480 | 131 | 13100 | 0.0131
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990452 | 990335 | 117 | 117000 | 0.117 | 998437 | 998420 | 17 | 17000 | 0.017
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 962478 | 963158 | -680 | -68000 | -0.068 | 7115 | 7127 | -12 | -1200 | -0.0012
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999182 | 999182 | 0 | 0 | 0 | 999490 | 999702 | -212 | -198750 | -0.19875
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 986279 | 986407 | -128 | 80000 | 0.08 | 995536 | 995537 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 999989 | 999998 | -9 | 2700 | 0.0027
| TOTAL NDPL | [8 empty] | 1.2045 |  |  |  |  | -0.14713
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.70373 |  |  |  |  | 0.66795
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.942 |  |  |  |  | 0.0128
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.2045 |  |  |  |  | -0.14713

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 5717 | 4514 | 1203 | 2406000 | 2.406 | 529 | 414 | 115 | 230000 | 0.23
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 15056 | 15254 | -198 | -396000 | -0.396 | 2203 | 2252 | -49 | -98000 | -0.098
[7 empty] | NET REACTIVE ENERGY |  |  | 2.01 |  | NET REACTIVE ENERGY |  |  | 0.132
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992711 | 992650 | 61 | 61000 | 0.061 | 39534 | 39607 | -73 | -73000 | -0.073
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995848 | 995916 | -68 | -68000 | -0.068 | 994031 | 994062 | -31 | -31000 | -0.031
[7 empty] | NET REACTIVE ENERGY |  |  | -0.007 |  | NET REACTIVE ENERGY |  |  | -0.104
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.003 |  |  |  |  | 0.028
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.8078 |  |  |  |  | -8.1449
[7 empty] | NDMC = |  |  | -0.365 |  |  |  |  | 3.8551
MES =
[7 empty] | 2)TOTAL |  |  | -1.1728 |  |  |  |  | -4.2898
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.8302 |  |  |  |  | -4.2618
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.0675 | % |  |  | 0.24962 |  |  |  |  | -1.2814
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.8067 | % |  |  | 0.33878 |  |  |  |  | -1.7391
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.5876 | % |  |  | 0.19582 |  |  |  |  | -1.0053
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.7624 | % |  |  | 0.039537 |  |  |  |  | -0.20296
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7758 | % |  |  | 0.0064407 |  |  |  |  | -0.033063
Note :Sharing taken from wk-02 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2014 TO 30th APRIL-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 2.6392 |  | -0.014875
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 6.5144 | + | 0.62168
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 9.3334 |  | -1.9176
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.7326 | + | 5.9501
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.27164 | + | 0.52704
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2014 | INTIAL READING 01/04/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953517 | 954117 | -600 | -900000 | -0.9 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 995593 | 996072 | -479 | -718500 | -0.7185 | 995975 | 995977 | -2 | -3000 | -0.003
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 904461 | 905765 | -1304 | -1956000 | -1.956 | 966279 | 966279 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -3.5745 |  |  | NET REACTIVE ENERGY |  | -0.003
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997875 | 997877 | -2 | -10000 | -0.01 | 30899 | 31005 | -106 | -530000 | -0.53
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999702 | 999688 | 14 | 14000 | 0.014 | 2858 | 2905 | -47 | -47000 | -0.047
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974722 | 974400 | 322 | 322000 | 0.322 | 990094 | 990272 | -178 | -178000 | -0.178
[8 empty] | NET REACTIVE ENERGY |  | 0.326 |  |  | NET REACTIVE ENERGY |  | -0.755