## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997966 | 997999 | -33 | 33000 | 0.033 | 999254 | 999256 | -2 | 2000 | 0.002
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88 | 132 | -44 | 44000 | 0.044 | 998293 | 998764 | -471 | 471000 | 0.471
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12886 | 12900 | -14 | 14000 | 0.014 | 996282 | 996281 | 1 | -1000 | -0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976204 | 976191 | 13 | -13000 | -0.013 | 976190 | 976196 | -6 | 6000 | 0.006
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918825 | 918586 | 239 | -239000 | -0.239 | 941082 | 941679 | -597 | 597000 | 0.597
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18591 | 18589 | 2 | -2000 | -0.002 | 17166 | 17152 | 14 | -14000 | -0.014
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19235 | 19235 | 0 | 0 | 0 | 13104 | 13139 | -35 | 35000 | 0.035
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17085 | 17095 | -10 | 12500 | 0.0125 | 995470 | 995491 | -21 | 26250 | 0.02625
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13231 | 13258 | -27 | 27000 | 0.027 | 985271 | 985298 | -27 | 27000 | 0.027
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30942 | 30941 | 1 | -1000 | -0.001 | 9097 | 9200 | -103 | 103000 | 0.103
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996383 | 996469 | -86 | 86000 | 0.086 | 3866 | 3867 | -1 | 1000 | 0.001
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996562 | 996563 | -1 | 1000 | 0.001 | 999338 | 999477 | -139 | 139000 | 0.139
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 919873 | 921118 | -1245 | -1245000 | -1.245 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995694 | 995697 | -3 | 3000 | 0.003 | 16927 | 16927 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1528 | 127 | -127000 | -0.127 | 19649 | 19649 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 635 | 448 | 187 | -187000 | -0.187 | 999938 | 1000001 | -63 | 63000 | 0.063
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 1000000 | 999999 | 1 | 200 | 0.0002 | 993600 | 994629 | -1029 | -205800 | -0.2058
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 246 | 0 | 0 | 0 | 29388 | 29528 | -140 | -140000 | -0.14
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2342 | 2342 | 0 | 0 | 0 | 154516 | 153431 | 1085 | 108500 | 0.1085
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4845 | 4843 | 2 | 200 | 0.0002 | 228301 | 226332 | 1969 | 196900 | 0.1969
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996024 | 996024 | 0 | 0 | 0 | 3928 | 3979 | -51 | -51000 | -0.051
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999945 | 0 | 0 | 0 | 7952 | 7842 | 110 | 110000 | 0.11
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 647694 | 647775 | -81 | -81000 | -0.081 | 798973 | 798983 | -10 | -10000 | -0.01
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655540 | 655590 | -50 | -50000 | -0.05 | 832153 | 832166 | -13 | -13000 | -0.013
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992395 | 992343 | 52 | 52000 | 0.052 | 998585 | 998575 | 10 | 10000 | 0.01
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1074 | 1054 | 20 | 10000 | 0.01 | 1988 | 1888 | 100 | 50000 | 0.05
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14450 | 14427 | 23 | -23000 | -0.023 | 981892 | 981912 | -20 | 20000 | 0.02
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 892 | 819 | 73 | -73000 | -0.073 | 999837 | 999845 | -8 | 8000 | 0.008
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992584 | 992591 | -7 | 7000 | 0.007 | 926234 | 926780 | -546 | 546000 | 0.546
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 594 | 464 | 130 | -130000 | -0.13 | 999908 | 999911 | -3 | 3000 | 0.003
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37442 | 36517 | 925 | -925000 | -0.925 | 999928 | 999931 | -3 | 3000 | 0.003
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999284 | 999450 | -166 | 166000 | 0.166 | 999999 | 999999 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
33 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1393 | 1373 | 20 | 20000 | 0.02 | 21024 | 20763 | 261 | 261000 | 0.261
34 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 233 | 209 | 24 | 24000 | 0.024 | 2061 | 2175 | -114 | -114000 | -0.114
| NDPL(+) continue | [14 empty] | SEPTEMBER-2013
DMS
35 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1285 | 1278 | 7 | 7000 | 0.007 | 60901 | 60890 | 11 | 11000 | 0.011
REWARI LINE
36 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77732 | 0 | 0 | 0
VISHAL
37 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9229 | 9226 | 3 | 300 | 0.0003 | 28620 | 28547 | 73 | 7300 | 0.0073
38 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10201 | 10202 | -1 | -100 | -0.0001 | 49395 | 48530 | 865 | 86500 | 0.0865
39 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15545 | 15515 | 30 | 3000 | 0.003 | 52776 | 52602 | 174 | 17400 | 0.0174
S.B.MILL
40 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 40748 | 40448 | 300 | 30000 | 0.03 | 16155 | 15159 | 996 | 99600 | 0.0996
41 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
42 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
43 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Meter Replaced on 30.8.13
45 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16669 | 16659 | 10 | 1000 | 0.001 | 14287 | 13854 | 433 | 43300 | 0.0433
46 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 999838 | 999895 | -57 | -2533.08 | -0.0025331 | 698 | 470 | 228 | 10132.32 | 0.010132
B.G.ROAD
47 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5309 | 5308 | 1 | 500 | 0.0005 | 28615 | 28160 | 455 | 227500 | 0.2275
48 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3469 | 3469 | 0 | 0 | 0 | 26546 | 25943 | 603 | 301500 | 0.3015
49 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4698 | 4534 | 164 | 82000 | 0.082 | 14543 | 14509 | 34 | 17000 | 0.017
50 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 217 | 101 | 116 | 77333.3333 | 0.077333 | 545 | 509 | 36 | 24000 | 0.024
D.M.S.
51 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 995692 | 995991 | -299 | -29900 | -0.0299 | 5898 | 5902 | -4 | -400 | -0.0004
52 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8154 | 8170 | -16 | -1600 | -0.0016 | 15336 | 15338 | -2 | -200 | -0.0002
53 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 21310 | 20745 | 565 | 56500 | 0.0565 | 54092 | 54020 | 72 | 7200 | 0.0072
54 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2321 | 2364 | -43 | -4300 | -0.0043 | 999960 | 999960 | 0 | 0 | 0
55 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998930 | 998971 | -41 | -4100 | -0.0041 | 131 | 133 | -2 | -200 | -0.0002
56 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 15316 | 14199 | 1117 | 111700 | 0.1117 | 71859 | 71718 | 141 | 14100 | 0.0141
58 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 11216 | 10628 | 588 | 58800 | 0.0588 | 62563 | 62479 | 84 | 8400 | 0.0084
59 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 12291 | 12140 | 151 | 15100 | 0.0151 | 90091 | 90084 | 7 | 700 | 0.0007
KASHMIRI GATE
60 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 129898 | 129020 | 878 | 87800 | 0.0878 | 24232 | 24771 | -539 | -53900 | -0.0539
61 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 19824 | 19700 | 124 | 12400 | 0.0124 | 41164 | 41022 | 142 | 14200 | 0.0142
62 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 65 | 59 | 6 | -1800 | -0.0018
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999273 | 0 | 0 | 0 | 999399 | 999399 | 0 | 0 | 0
Mundka
65 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 344 | 344 | 0 | 0 | 0
66 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 994671 | 995160 | -489 | -391200 | -0.3912 | 999987 | 999993 | -6 | -4800 | -0.0048
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.4864 |  |  |  |  | 3.0664
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 13556 | 13423 | 133 | -13300 | -0.0133 | 14051 | 13961 | 90 | -9000 | -0.009
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8135 | 8135 | 0 | 0 | 0 | 7025 | 6864 | 161 | -161000 | -0.161
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4124 | 4244 | -120 | 24000 | 0.024 | 11780 | 11007 | 773 | -154600 | -0.1546
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14213 | 14193 | 20 | -20000 | -0.02 | 31640 | 31175 | 465 | -465000 | -0.465
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 12260 | 12335 | -75 | 7500 | 0.0075 | 61487 | 61509 | -22 | 2200 | 0.0022
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954752 | 954926 | -174 | 174000 | 0.174 | 992454 | 992454 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.1722 |  |  |  |  | -0.7874
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.4864 |  |  |  |  | 3.0664
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.1722 |  |  |  |  | -0.7874
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.64158 |  |  |  |  | -0.30528
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -1.6726 |  |  |  |  | 1.9737
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.6726 | (REACTIVE MUs) |  |  |  | 1.9737 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.098283 | (REACTIVE MUs) |  |  |  | -0.31955 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.7709 | (REACTIVE MUs) |  |  |  | 1.6542 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988919 | 988334 | 585 | 58500 | 0.0585 | 67516 | 64162 | 3354 | 335400 | 0.3354
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15657 | 15713 | -56 | -5600 | -0.0056 | 9747 | 9764 | -17 | -1700 | -0.0017
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 20722 | 20778 | -56 | -5600 | -0.0056 | 23751 | 24773 | -1022 | -102200 | -0.1022
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000933 | 999738 | 1195 | 119500 | 0.1195 | 4066 | 2235 | 1831 | 183100 | 0.1831
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9856 | 9851 | 5 | 500 | 0.0005 | 145744 | 142766 | 2978 | 297800 | 0.2978
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1527 | 1585 | -58 | -5800 | -0.0058 | 68083 | 68783 | -700 | -70000 | -0.07
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997888 | 998029 | -141 | -141000 | -0.141 | 834 | 834 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999618 | 999639 | -21 | -21000 | -0.021 | 1934 | 1932 | 2 | 2000 | 0.002
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 790 | 796 | -6 | -6000 | -0.006 | 1289 | 1286 | 3 | 3000 | 0.003
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999967 | 1000049 | -82 | -82000 | -0.082 | 2732 | 2733 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998957 | 998968 | -11 | -11000 | -0.011 | 4090 | 4092 | -2 | -2000 | -0.002
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 433 | 440 | -7 | -7000 | -0.007 | 1034 | 1018 | 16 | 16000 | 0.016
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 169 | 180 | -11 | -11000 | -0.011 | 16514 | 16500 | 14 | 14000 | 0.014
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625 | 633 | -8 | -8000 | -0.008 | 37090 | 37078 | 12 | 12000 | 0.012
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 265 | 265 | 0 | 0 | 0 | 24439 | 24317 | 122 | 122000 | 0.122
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 736 | 740 | -4 | -4000 | -0.004 | 8353 | 8351 | 2 | 2000 | 0.002
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 607 | 465 | 142 | 14200 | 0.0142 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998583 | 998590 | -7 | -7000 | -0.007 | 12515 | 12500 | 15 | 15000 | 0.015
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 765836 | 768883 | -3047 | -3351700 | -3.3517
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 808935 | 812265 | -3330 | -3663000 | -3.663
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989240 | 989248 | -8 | -8000 | -0.008 | 9125 | 9202 | -77 | -77000 | -0.077
| KASHMIRI GATE | [8 empty] | -0.2918 |  |  |  |  | -6.9087
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962550 | 962572 | -22 | 22000 | 0.022 | 966457 | 967032 | -575 | 575000 | 0.575
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976277 | 976363 | -86 | 86000 | 0.086 | 962649 | 963650 | -1001 | 1001000 | 1.001
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 65 | 59 | 6 | 1800 | 0.0018
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14 | 14 | 0 | 0 | 0 | 3507 | 3690 | -183 | -183000 | -0.183
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26684 | 26389 | 295 | -295000 | -0.295 | 972986 | 973190 | -204 | 204000 | 0.204
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10523 | 10237 | 286 | -286000 | -0.286 | 968097 | 968308 | -211 | 211000 | 0.211
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998030 | 997974 | 56 | -56000 | -0.056 | 996416 | 996446 | -30 | 30000 | 0.03
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982937 | 982535 | 402 | -402000 | -0.402 | 992305 | 992316 | -11 | 11000 | 0.011
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4124 | 4244 | -120 | -24000 | -0.024 | 11780 | 11007 | 773 | 154600 | 0.1546
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14213 | 14193 | 20 | 20000 | 0.02 | 31640 | 31175 | 465 | 465000 | 0.465
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 111335 | 110897 | 438 | 43800 | 0.0438 | 1617 | 1620 | -3 | -300 | -0.0003
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 93831 | 89447 | 4384 | 438400 | 0.4384 | 2383 | 2262 | 121 | 12100 | 0.0121
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.5831 |  |  |  |  | -3.7841
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.5831 |  |  |  |  | -3.7841
SEPTEMBER-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994888 | 994845 | 43 | -43000 | -0.043 | 918123 | 918268 | -145 | 145000 | 0.145
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14046 | 14028 | 18 | -18000 | -0.018 | 937976 | 938076 | -100 | 100000 | 0.1
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997253 | 997211 | 42 | -42000 | -0.042 | 982147 | 982298 | -151 | 151000 | 0.151
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 922988 | 923691 | -703 | 703000 | 0.703 | 992038 | 992038 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 912930 | 913614 | -684 | 684000 | 0.684 | 990458 | 990458 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 803 | 698 | 105 | -105000 | -0.105 | 992164 | 992233 | -69 | 69000 | 0.069
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998740 | 998657 | 83 | -166000 | -0.166 | 985847 | 985840 | 7 | -14000 | -0.014
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999038 | 998994 | 44 | -44000 | -0.044 | 963564 | 963849 | -285 | 285000 | 0.285
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8479 | 9323 | -844 | 844000 | 0.844 | 915308 | 916189 | -881 | 881000 | 0.881
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964029 | 963045 | 984 | -984000 | -0.984 | 871084 | 871256 | -172 | 172000 | 0.172
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22139 | 22038 | 101 | -101000 | -0.101 | 34086 | 34086 | 0 | 0 | 0
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20570 | 20547 | 23 | -23000 | -0.023 | 43798 | 43789 | 9 | -9000 | -0.009
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.705 |  |  |  |  | 1.78
| (B) NET ENERGY TO EAST | [8 empty] | 0.705 |  |  |  |  | 1.78
SEPTEMBER-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992395 | 992343 | 52 | -52000 | -0.052 | 998585 | 998575 | 10 | -10000 | -0.01
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1074 | 1054 | 20 | -10000 | -0.01 | 1988 | 1888 | 100 | -50000 | -0.05
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 40218 | 39871 | 347 | -69400 | -0.0694 | 72221 | 72062 | 159 | -31800 | -0.0318
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 70493 | 69976 | 517 | -51700 | -0.0517 | 139686 | 139438 | 248 | -24800 | -0.0248
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984526 | 984594 | -68 | 13600 | 0.0136 | 1905 | 1955 | -50 | 10000 | 0.01
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 66179 | 65498 | 681 | -136200 | -0.1362 | 88786 | 88689 | 97 | -19400 | -0.0194
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 2424 | 2004 | 420 | -336000 | -0.336 | 1127 | 1026 | 101 | -80800 | -0.0808
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13168 | 13155 | 13 | -26000 | -0.026 | 915 | 857 | 58 | -116000 | -0.116
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 985785 | 985817 | -32 | 25600 | 0.0256 | 993083 | 993260 | -177 | 141600 | 0.1416
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 995735 | 995744 | -9 | 7200 | 0.0072 | 995058 | 996237 | -1179 | 943200 | 0.9432
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 999402 | 999423 | -21 | 16800 | 0.0168 | 997963 | 998281 | -318 | 254400 | 0.2544
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996234 | 996288 | -54 | 54000 | 0.054 | 37326 | 37046 | 280 | -280000 | -0.28
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 995747 | 995812 | -65 | 86666.45 | 0.086666 | 999565 | 999529 | 36 | -47999.88 | -0.048
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1393 | 1373 | 20 | -20000 | -0.02 | 21024 | 20763 | 261 | -261000 | -0.261
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 233 | 209 | 24 | -24000 | -0.024 | 2061 | 2175 | -114 | 114000 | 0.114
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1285 | 1278 | 7 | -7000 | -0.007 | 60901 | 60890 | 11 | -11000 | -0.011
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5309 | 5308 | 1 | -500 | -0.0005 | 28615 | 28160 | 455 | -227500 | -0.2275
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3469 | 3469 | 0 | 0 | 0 | 26546 | 25943 | 603 | -301500 | -0.3015
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4698 | 4534 | 164 | -82000 | -0.082 | 14543 | 14509 | 34 | -17000 | -0.017
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 217 | 101 | 116 | -77333.3333 | -0.077333 | 545 | 509 | 36 | -24000 | -0.024
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 129898 | 129020 | 878 | -87800 | -0.0878 | 24232 | 24771 | -539 | 53900 | 0.0539
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 19824 | 19700 | 124 | -12400 | -0.0124 | 41164 | 41022 | 142 | -14200 | -0.0142
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 995692 | 995991 | -299 | 29900 | 0.0299 | 5898 | 5902 | -4 | 400 | 0.0004
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8154 | 8170 | -16 | 1600 | 0.0016 | 15336 | 15338 | -2 | 200 | 0.0002
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 21310 | 20745 | 565 | -56500 | -0.0565 | 54092 | 54020 | 72 | -7200 | -0.0072
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2321 | 2364 | -43 | 4300 | 0.0043 | 999960 | 999960 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998930 | 998971 | -41 | 4100 | 0.0041 | 131 | 133 | -2 | 200 | 0.0002
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 15316 | 14199 | 1117 | -111700 | -0.1117 | 71859 | 71718 | 141 | -14100 | -0.0141
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 11216 | 10628 | 588 | -58800 | -0.0588 | 62563 | 62479 | 84 | -8400 | -0.0084
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 12291 | 12140 | 151 | -15100 | -0.0151 | 90091 | 90084 | 7 | -700 | -0.0007
[10 empty] | -0.99067 |  |  |  |  | -0.0295
SEPTEMBER-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.5831 |  |  |  |  | -3.7841
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.99067 |  |  |  |  | -0.0295
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4212 |  |  |  |  | -0.004
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.995 |  |  |  |  | -3.8176
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.705 |  |  |  |  | 1.78
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.29 |  |  |  |  | -2.0376
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.29 | (REACTIVE MUs) |  |  |  | -2.0376 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.084034 | (REACTIVE MUs) |  |  |  | -0.27322 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.374 | (REACTIVE MUs) |  |  |  | -2.3108 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998060 | 998077 | -17 | -68000 | -0.068 | 8825 | 8863 | -38 | -152000 | -0.152
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988231 | 988158 | 73 | 97333.09 | 0.097333 | 674011 | 673968 | 43 | 57333.19 | 0.057333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6993 | 6941 | 52 | 52000 | 0.052 | 65300 | 65222 | 78 | 78000 | 0.078
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11483 | 11486 | -3 | -3000 | -0.003 | 999535 | 999577 | -42 | -42000 | -0.042
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 9299 | 9120 | 179 | 17900 | 0.0179 | 125686 | 123928 | 1758 | 175800 | 0.1758
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 26798 | 25578 | 1220 | 122000 | 0.122 | 245108 | 244954 | 154 | 15400 | 0.0154
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7282 | 7369 | -87 | -8700 | -0.0087 | 392985 | 393254 | -269 | -26900 | -0.0269
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999223 | 999229 | -6 | -5400 | -0.0054 | 998636 | 998755 | -119 | -107100 | -0.1071
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990856 | 990817 | 39 | -39000 | -0.039 | 946356 | 946643 | -287 | 287000 | 0.287
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988610 | 988544 | 66 | -66000 | -0.066 | 951294 | 951531 | -237 | 237000 | 0.237
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983798 | 983840 | -42 | 42000 | 0.042 | 930508 | 931341 | -833 | 833000 | 0.833
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996476 | 996472 | 4 | -4000 | -0.004 | 950753 | 951097 | -344 | 344000 | 0.344
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998120 | 998236 | -116 | 116000 | 0.116 | 980438 | 981488 | -1050 | 1050000 | 1.05
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14584 | 14502 | 82 | -82000 | -0.082 | 985452 | 986323 | -871 | 871000 | 0.871
NAJAFGARH
16 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2727 | 2060 | 667 | -667000 | -0.667 | 999539 | 999613 | -74 | 74000 | 0.074
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11441 | 10636 | 805 | -805000 | -0.805 | 1979 | 2325 | -346 | 346000 | 0.346
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27149 | 26574 | 575 | -575000 | -0.575 | 6312 | 6400 | -88 | 88000 | 0.088
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38146 | 36795 | 1351 | -1351000 | -1.351 | 42822 | 42850 | -28 | 28000 | 0.028
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8135 | 8135 | 0 | 0 | 0 | 7025 | 6864 | 161 | 161000 | 0.161
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 916516 | 916887 | -371 | 371000 | 0.371 | 890609 | 891514 | -905 | 905000 | 0.905
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962553 | 962664 | -111 | 111000 | 0.111 | 857649 | 858581 | -932 | 932000 | 0.932
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 162 | 175 | -13 | 13000 | 0.013 | 973540 | 974303 | -763 | 763000 | 0.763
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 619 | 629 | -10 | 10000 | 0.01 | 957664 | 959225 | -1561 | 1561000 | 1.561
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997584 | 998143 | -559 | 559000 | 0.559 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999132 | 999147 | -15 | 15000 | 0.015 | 890013 | 890215 | -202 | 202000 | 0.202
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998389 | 998411 | -22 | 22000 | 0.022 | 869327 | 869772 | -445 | 445000 | 0.445
BRPL(+) continue | [14 empty] | SEPTEMBER-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997643 | 997639 | 4 | -4000 | -0.004 | 972821 | 972943 | -122 | 122000 | 0.122
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998897 | 998884 | 13 | -13000 | -0.013 | 989269 | 989532 | -263 | 263000 | 0.263
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994101 | 994037 | 64 | -128000 | -0.128 | 970107 | 970428 | -321 | 642000 | 0.642
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997145 | 997130 | 15 | -15000 | -0.015 | 915780 | 916828 | -1048 | 1048000 | 1.048
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996450 | 996496 | -46 | 46000 | 0.046 | 928308 | 929364 | -1056 | 1056000 | 1.056
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997061 | 997040 | 21 | -21000 | -0.021 | 921051 | 921956 | -905 | 905000 | 0.905
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 993507 | 993745 | -238 | 158666.508 | 0.15867 | 984338 | 984737 | -399 | 265999.734 | 0.266
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1094 | 1094 | 0 | 0 | 0 | 1467 | 1381 | 86 | -172000 | -0.172
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997971 | 997971 | 0 | 0 | 0 | 623 | 551 | 72 | -144000 | -0.144
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953488 | 954099 | -611 | 611000 | 0.611 | 995799 | 995944 | -145 | 145000 | 0.145
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962861 | 963348 | -487 | 487000 | 0.487 | 996223 | 996405 | -182 | 182000 | 0.182
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994198 | -97 | -77600 | -0.0776 | 1447 | 1400 | 47 | 37600 | 0.0376
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 15415 | 13969 | 1446 | 1156800 | 1.1568 | 1045 | 1007 | 38 | 30400 | 0.0304
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 961390 | 963764 | -2374 | -1899200 | -1.8992 | 999692 | 999696 | -4 | -3200 | -0.0032
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996234 | 996288 | -54 | -54000 | -0.054 | 37326 | 37046 | 280 | 280000 | 0.28
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 995747 | 995812 | -65 | -86666.45 | -0.086666 | 999565 | 999529 | 36 | 47999.88 | 0.048
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8453 | 8446 | 7 | -7000 | -0.007 | 975275 | 976247 | -972 | 972000 | 0.972
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999330 | 999249 | 81 | -81000 | -0.081 | 989827 | 989125 | 702 | -702000 | -0.702
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 13556 | 13423 | 133 | 13300 | 0.0133 | 14051 | 13961 | 90 | 9000 | 0.009
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 12260 | 12335 | -75 | -7500 | -0.0075 | 61487 | 61509 | -22 | -2200 | -0.0022
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 954752 | 954926 | -174 | -174000 | -0.174 | 992454 | 992454 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1411 | 1396 | 15 | 1500 | 0.0015 | 9727 | 9505 | 222 | 22200 | 0.0222
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8710 | 8582 | 128 | 12800 | 0.0128 | 21118 | 20176 | 942 | 94200 | 0.0942
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.2068 |  |  |  |  | 14.2245
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 111335 | 110897 | 438 | -43800 | -0.0438 | 1617 | 1620 | -3 | 300 | 0.0003
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 93831 | 89447 | 4384 | -438400 | -0.4384 | 2383 | 2262 | 121 | -12100 | -0.0121
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998003 | 998154 | -151 | 15100 | 0.0151 | 999978 | 999980 | -2 | 200 | 0.0002
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996801 | 996802 | -1 | 100 | 0.0001 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1130 | 1066 | 64 | -128000 | -0.128 | 73243 | 73073 | 170 | -340000 | -0.34
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3906 | 3152 | 754 | -754000 | -0.754 | 81 | 35 | 46 | -46000 | -0.046
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 890227 | 890228 | -1 | 100 | 0.0001 | 54461 | 54461 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 56947 | 56586 | 361 | -36100 | -0.0361 | 58673 | 58093 | 580 | -58000 | -0.058
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 47618 | 47510 | 108 | -10800 | -0.0108 | 56841 | 56583 | 258 | -25800 | -0.0258
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 84512 | 84284 | 228 | -45600 | -0.0456 | 112944 | 112654 | 290 | -58000 | -0.058
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 3471 | 3751 | -280 | -140000 | -0.14 | 18041 | 18286 | -245 | -122500 | -0.1225
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3889 | 3889 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 990679 | 993391 | -2712 | -452000 | -0.452 | 993688 | 994133 | -445 | -74166.6667 | -0.074167
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 289333 | 285548 | 3785 | -378500 | -0.3785 | 44294 | 44294 | 0 | 0 | 0
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 2386 | 1834 | 552 | -55200 | -0.0552 | 18025 | 17805 | 220 | -22000 | -0.022
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77732 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9229 | 9226 | 3 | -300 | -0.0003 | 28620 | 28547 | 73 | -7300 | -0.0073
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10201 | 10202 | -1 | 100 | 0.0001 | 49395 | 48530 | 865 | -86500 | -0.0865
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15545 | 15515 | 30 | -3000 | -0.003 | 52776 | 52602 | 174 | -17400 | -0.0174
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 40748 | 40448 | 300 | -30000 | -0.03 | 16155 | 15159 | 996 | -99600 | -0.0996
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Meter Replaced on 30.8.13
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16669 | 16659 | 10 | -1000 | -0.001 | 14287 | 13854 | 433 | -43300 | -0.0433
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 999838 | 999895 | -57 | 2533.08 | 0.0025331 | 698 | 470 | 228 | -10132.32 | -0.010132
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999273 | 0 | 0 | 0 | 999399 | 999399 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.4988 |  |  |  |  | -1.0223
SEPTEMBER-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.2068 |  |  |  |  | 14.2245
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.4988 |  |  |  |  | -1.0223
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.55245 |  |  |  |  | 0.072712
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1145 |  |  |  |  | -0.3462
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.2676 |  |  |  |  | 12.9287
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.2676 | (REACTIVE MUs) |  |  |  | 12.9287 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.14178 | (REACTIVE MUs) |  |  |  | -0.46096 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.4094 | (REACTIVE MUs) |  |  |  | 12.4678 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 40218 | 39871 | 347 | 69400 | 0.0694 | 72221 | 72062 | 159 | 31800 | 0.0318
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 70493 | 69976 | 517 | 51700 | 0.0517 | 139686 | 139438 | 248 | 24800 | 0.0248
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984526 | 984594 | -68 | -13600 | -0.0136 | 1905 | 1955 | -50 | -10000 | -0.01
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 66179 | 65498 | 681 | 136200 | 0.1362 | 88786 | 88689 | 97 | 19400 | 0.0194
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 2424 | 2004 | 420 | 336000 | 0.336 | 1127 | 1026 | 101 | 80800 | 0.0808
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13168 | 13155 | 13 | 26000 | 0.026 | 915 | 857 | 58 | 116000 | 0.116
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 985785 | 985817 | -32 | -25600 | -0.0256 | 993083 | 993260 | -177 | -141600 | -0.1416
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 995735 | 995744 | -9 | -7200 | -0.0072 | 995058 | 996237 | -1179 | -943200 | -0.9432
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 999402 | 999423 | -21 | -16800 | -0.0168 | 997963 | 998281 | -318 | -254400 | -0.2544
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998990 | 998963 | 27 | 2700 | 0.0027 | 361066 | 357017 | 4049 | 404900 | 0.4049
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6436 | 6440 | -4 | -400 | -0.0004 | 468877 | 467498 | 1379 | 137900 | 0.1379
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12236 | 12236 | 0 | 0 | 0 | 347469 | 340073 | 7396 | 739600 | 0.7396
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5453 | 5531 | -78 | -7800 | -0.0078 | 352101 | 350715 | 1386 | 138600 | 0.1386
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997754 | 997754 | 0 | 0 | 0 | 293626 | 290304 | 3322 | 332200 | 0.3322
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 344 | 414 | -70 | -7000 | -0.007 | 175558 | 175454 | 104 | 10400 | 0.0104
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 261342 | 261759 | -417 | -41700 | -0.0417
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 50764 | 50434 | 330 | 33000 | 0.033 | 704101 | 701561 | 2540 | 254000 | 0.254
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 71980 | 69401 | 2579 | 2836900 | 2.8369
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3359 | 3359 | 0 | 0 | 0 | 37807 | 37399 | 408 | 408000 | 0.408
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 141458 | 138948 | 2510 | 2761000 | 2.761
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9116 | 9116 | 0 | 0 | 0 | 53144 | 52696 | 448 | 448000 | 0.448
[10 empty] | 0 |  |  |  |  | 6.4539
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1130 | 1066 | 64 | 128000 | 0.128 | 73243 | 73073 | 170 | 340000 | 0.34
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3906 | 3152 | 754 | 754000 | 0.754 | 81 | 35 | 46 | 46000 | 0.046
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 890227 | 890228 | -1 | -100 | -0.0001 | 54461 | 54461 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 3471 | 3751 | -280 | 140000 | 0.14 | 18041 | 18286 | -245 | 122500 | 0.1225
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3889 | 3889 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 990679 | 993391 | -2712 | 452000 | 0.452 | 993688 | 994133 | -445 | 74166.6667 | 0.074167
SEPTEMBER-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984763 | 984466 | 297 | -297000 | -0.297 | 992310 | 992447 | -137 | 137000 | 0.137
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994400 | 995269 | -869 | 869000 | 0.869 | 990927 | 991385 | -458 | 458000 | 0.458
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 289333 | 285548 | 3785 | 378500 | 0.3785 | 44294 | 44294 | 0 | 0 | 0
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 2386 | 1834 | 552 | 55200 | 0.0552 | 18025 | 17805 | 220 | 22000 | 0.022
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 56947 | 56586 | 361 | 36100 | 0.0361 | 58673 | 58093 | 580 | 58000 | 0.058
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 47618 | 47510 | 108 | 10800 | 0.0108 | 56841 | 56583 | 258 | 25800 | 0.0258
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 84512 | 84284 | 228 | 45600 | 0.0456 | 112944 | 112654 | 290 | 58000 | 0.058
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1411 | 1396 | 15 | -1500 | -0.0015 | 9727 | 9505 | 222 | -22200 | -0.0222
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8710 | 8582 | 128 | -12800 | -0.0128 | 21118 | 20176 | 942 | -94200 | -0.0942
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.1344 |  |  |  |  | 8.5785
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.1344 |  |  |  |  | 8.5785
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.017077 |  |  |  |  | -0.055523
| TOTAL ENERGY TO NDMC | [8 empty] | 3.1173 |  |  |  |  | 8.5229

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 732 | 732 | 0 | 0 | 0 | 22942 | 22376 | 566 | 566000 | 0.566
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 496 | 496 | 0 | 0 | 0 | 25781 | 25170 | 611 | 611000 | 0.611
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1275 | 1275 | 0 | 0 | 0 | 33563 | 33123 | 440 | 440000 | 0.44
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930 | 930 | 0 | 0 | 0 | 18313 | 18088 | 225 | 225000 | 0.225
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3131 | 3129 | 2 | 2000 | 0.002 | 10164 | 10111 | 53 | 53000 | 0.053
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998003 | 998154 | -151 | -15100 | -0.0151 | 999978 | 999980 | -2 | -200 | -0.0002
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996801 | 996802 | -1 | -100 | -0.0001 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0132 |  |  |  |  | 1.8948
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 44621 | 43509 | 1112 | 111200 | 0.1112 | 71407 | 70908 | 499 | 49900 | 0.0499
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 72003 | 72003 | 0 | 0 | 0 | 10965 | 10893 | 72 | 7200 | 0.0072
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 38273 | 38248 | 25 | 2500 | 0.0025 | 58916 | 58576 | 340 | 34000 | 0.034
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 18738 | 1535 | 153500 | 0.1535
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 81150 | 81142 | 8 | 800 | 0.0008 | 57825 | 56809 | 1016 | 101600 | 0.1016
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 5041 | 4786 | 255 | 25500 | 0.0255 | 1654 | 1481 | 173 | 17300 | 0.0173
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1145 |  |  |  |  | 0.3462
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1145 |  |  |  |  | 0.3462
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0132 |  |  |  |  | 1.8948
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1013 |  |  |  |  | 2.241
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1013 | (REACTIVE MUs) |  |  |  | 2.241 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0026294 | (REACTIVE MUs) |  |  |  | -0.0085489 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.098671 | (REACTIVE MUs) |  |  |  | 2.2325 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 49556 | 54132 | -4576 | -457600 | -0.4576 | 79295 | 79311 | -16 | -1600 | -0.0016
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 993348 | 994456 | -1108 | -110800 | -0.1108 | 999177 | 999189 | -12 | -1200 | -0.0012
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 225898 | 222927 | 2971 | 297100 | 0.2971 | 98151 | 98088 | 63 | 6300 | 0.0063
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 26900 | 26360 | 540 | 506250 | 0.50625 | 18447 | 18436 | 11 | 10312.5 | 0.010313
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 989089 | 989724 | -635 | 317500 | 0.3175 | 925462 | 925471 | -9 | 4500 | 0.0045
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989824 | 989824 | 0 | 0 | 0 | 981373 | 981486 | -113 | 56500 | 0.0565
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 4 | 11 | -7 | -2100 | -0.0021
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.55245 |  |  |  |  | 0.072712
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 939309 | 939838 | -529 | -105800 | -0.1058 | 991753 | 991737 | 16 | 3200 | 0.0032
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 792280 | 795434 | -3154 | -315400 | -0.3154 | 928085 | 928157 | -72 | -7200 | -0.0072
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4212 |  |  |  |  | -0.004
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 216235 | 214133 | 2102 | 420400 | 0.4204 | 263804 | 263778 | 26 | 5200 | 0.0052
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 92359 | 92202 | 157 | 31400 | 0.0314 | 41506 | 41487 | 19 | 3800 | 0.0038
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 145230 | 144833 | 397 | 39700 | 0.0397 | 72388 | 72348 | 40 | 4000 | 0.004
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989128 | 989023 | 105 | 105000 | 0.105 | 998402 | 998400 | 2 | 2000 | 0.002
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 969687 | 970105 | -418 | -41800 | -0.0418 | 7159 | 7164 | -5 | -500 | -0.0005
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999443 | 999443 | 0 | 0 | 0 | 41 | 385 | -344 | -322500 | -0.3225
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 989223 | 989362 | -139 | 86875 | 0.086875 | 995547 | 995548 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 4 | 11 | -7 | 2100 | 0.0021
| TOTAL NDPL | [8 empty] | 0.64158 |  |  |  |  | -0.30528
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.55245 |  |  |  |  | 0.072712
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4212 |  |  |  |  | -0.004
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.64158 |  |  |  |  | -0.30528

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 999799 | 999797 | 2 | 4000 | 0.004 | 999948 | 999984 | -36 | -72000 | -0.072
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 12158 | 12157 | 1 | 2000 | 0.002 | 2266 | 2560 | -294 | -588000 | -0.588
[7 empty] | NET REACTIVE ENERGY |  |  | 0.006 |  | NET REACTIVE ENERGY |  |  | -0.66
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 994333 | 994349 | -16 | -16000 | -0.016 | 39639 | 39652 | -13 | -13000 | -0.013
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996158 | 996200 | -42 | -42000 | -0.042 | 994971 | 994961 | 10 | 10000 | 0.01
[7 empty] | NET REACTIVE ENERGY |  |  | -0.058 |  | NET REACTIVE ENERGY |  |  | -0.003
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.052 |  |  |  |  | -0.663
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.2918 |  |  |  |  | -6.9087
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 6.4539
MES =
[7 empty] | 2)TOTAL |  |  | -0.2918 |  |  |  |  | -0.4548
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.3438 |  |  |  |  | -1.1178
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.5872 | % |  |  | -0.098283 |  |  |  |  | -0.31955
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.238 | % |  |  | -0.14178 |  |  |  |  | -0.46096
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.4428 | % |  |  | -0.084034 |  |  |  |  | -0.27322
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9672 | % |  |  | -0.017077 |  |  |  |  | -0.055523
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7648 | % |  |  | -0.0026294 |  |  |  |  | -0.0085489
Note :Sharing taken from wk-23 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2013 TO 30th SEPTEMBER-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.7709 | + | 1.6542
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -4.4094 | + | 12.4678
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.374 |  | -2.3108
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.1173 | + | 8.5229
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.098671 | + | 2.2325
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2013 | INTIAL READING 01/09/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 960358 | 961497 | -1139 | -1708500 | -1.7085 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999472 | 999633 | -161 | -241500 | -0.2415 | 995979 | 996026 | -47 | -70500 | -0.0705
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 915978 | 916545 | -567 | -850500 | -0.8505 | 966279 | 966284 | -5 | -7500 | -0.0075
[8 empty] | NET REACTIVE ENERGY |  | -2.8005 |  |  | NET REACTIVE ENERGY |  | -0.078
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997477 | 997420 | 57 | 285000 | 0.285 | 31083 | 31089 | -6 | -30000 | -0.03
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999634 | 999634 | 0 | 0 | 0 | 3426 | 2791 | 635 | 635000 | 0.635
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970302 | 970365 | -63 | -63000 | -0.063 | 990153 | 990172 | -19 | -19000 | -0.019 | As on 11.9.13 Actually loaded 6.9.13
[8 empty] | NET REACTIVE ENERGY |  | 0.222 |  |  | NET REACTIVE ENERGY |  | 0.586