## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992899 | 994206 | -1307 | 1307000 | 1.307 | 999267 | 999288 | -21 | 21000 | 0.021
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18069 | 17884 | 185 | -185000 | -0.185 | 998378 | 998216 | 162 | -162000 | -0.162
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958616 | 959484 | -868 | 868000 | 0.868 | 995705 | 995705 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998357 | 998367 | -10 | 10000 | 0.01 | 971127 | 972638 | -1511 | 1511000 | 1.511
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999274 | 999902 | -628 | 628000 | 0.628 | 999865 | 999911 | -46 | 46000 | 0.046
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24531 | 24504 | 27 | -27000 | -0.027 | 17123 | 17449 | -326 | 326000 | 0.326
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 480 | 462 | 18 | -18000 | -0.018 | 999196 | 999544 | -348 | 348000 | 0.348
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999381 | 999342 | 39 | -39000 | -0.039 | 998797 | 999448 | -651 | 651000 | 0.651
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986747 | 986740 | 7 | -7000 | -0.007 | 979894 | 980636 | -742 | 742000 | 0.742
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999711 | 999709 | 2 | -2000 | -0.002 | 999797 | 999990 | -193 | 193000 | 0.193
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76 | 71 | 5 | -5000 | -0.005 | 999788 | 1000003 | -215 | 215000 | 0.215
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999065 | 999100 | -35 | 35000 | 0.035 | 999473 | 999845 | -372 | 372000 | 0.372
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 917463 | 919573 | -2110 | -2110000 | -2.11 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983125 | 983559 | -434 | 434000 | 0.434 | 16814 | 16844 | -30 | 30000 | 0.03
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9495 | 9667 | -172 | 172000 | 0.172 | 20529 | 20542 | -13 | 13000 | 0.013
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17835 | 17723 | 112 | -112000 | -0.112 | 261 | 261 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999359 | 999655 | -296 | -296000 | -0.296
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 795 | 795 | 0 | 0 | 0 | 25805 | 26148 | -343 | -343000 | -0.343
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 655 | 653 | 2 | 1000 | 0.001 | 1087 | 509 | 578 | 289000 | 0.289
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 127537 | 127367 | 170 | 17000 | 0.017 | 271949 | 264212 | 7737 | 773700 | 0.7737
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996190 | 996188 | 2 | 2000 | 0.002 | 989890 | 990866 | -976 | -976000 | -0.976
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 506 | 506 | 0 | 0 | 0 | 999738 | 999738 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.296 | Assessment
|  | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999531 | 1000000 | -469 | -469000 | -0.469 | w.e.f 13/05/17
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 77197 | 73865 | 3332 | 333200 | 0.3332 | 17212 | 10564 | 6648 | 664800 | 0.6648
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625621 | 625793 | -172 | -172000 | -0.172 | 796079 | 796080 | -1 | -1000 | -0.001
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 611015 | 611759 | -744 | -744000 | -0.744 | 829247 | 829250 | -3 | -3000 | -0.003
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 458 | 413 | 45 | 18000 | 0.018 | 998990 | 999020 | -30 | -12000 | -0.012
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5979 | 5978 | 1 | 500 | 0.0005 | 2288 | 2316 | -28 | -14000 | -0.014
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 242 | 259 | -17 | 17000 | 0.017 | 998859 | 999223 | -364 | 364000 | 0.364
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15698 | 15688 | 10 | -10000 | -0.01 | 996621 | 996820 | -199 | 199000 | 0.199
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11030 | 11024 | 6 | -6000 | -0.006 | 999731 | 999336 | 395 | -395000 | -0.395
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2211 | 1854 | 357 | -714000 | -0.714 | 1000162 | 999996 | 166 | -332000 | -0.332
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20347 | 19986 | 361 | -361000 | -0.361 | 998963 | 998827 | 136 | -136000 | -0.136
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42733 | 42121 | 612 | -612000 | -0.612 | 2412 | 1923 | 489 | -489000 | -0.489
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12326 | 12321 | 5 | -5000 | -0.005 | 998664 | 998406 | 258 | -258000 | -0.258
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5172 | 5168 | 4 | -4000 | -0.004 | 144 | 17 | 127 | -127000 | -0.127
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993159 | 993354 | -195 | 195000 | 0.195 | 998727 | 998727 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16076 | 16415 | -339 | 339000 | 0.339 | 1391 | 1398 | -7 | 7000 | 0.007
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1971 | 1965 | 6 | 6000 | 0.006 | 27526 | 27262 | 264 | 264000 | 0.264
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3928 | 3615 | 313 | 31300 | 0.0313 | 24343 | 23960 | 383 | 38300 | 0.0383
| NDPL(+) continue | [14 empty] | MAY-2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998395 | 998754 | -359 | -149580.94 | -0.14958 | 255 | 365 | -110 | -45832.6 | -0.045833
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9126 | 9124 | 2 | 200 | 0.0002 | 37969 | 37689 | 280 | 28000 | 0.028
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12183 | 12179 | 4 | 400 | 0.0004 | 73586 | 72863 | 723 | 72300 | 0.0723
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 754 | 735 | 19 | 1900 | 0.0019 | 15502 | 14570 | 932 | 93200 | 0.0932
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 103 | 84 | 19 | 25327 | 0.025327 | 95 | 71 | 24 | 31992 | 0.031992
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999093 | 999088 | 5 | 500 | 0.0005 | 8131 | 6039 | 2092 | 209200 | 0.2092
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5626 | 0 | 0 | 0 | 34887 | 34783 | 104 | 52000 | 0.052 | data till 15/05/2017
[10 empty] | 0 |  |  |  |  | 0..026 | Assessment
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999934 | 999934 | 0 | 0 | 0 | 493 | 466 | 27 | 13500 | 0.0135
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 329 | 329 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 3109 | 2967 | 142 | 94666.6667 | 0.094667 | 1376 | 1360 | 16 | 10666.6667 | 0.010667
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997556 | 997603 | -47 | -4700 | -0.0047 | 1932 | 1523 | 409 | 40900 | 0.0409
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999751 | 999751 | 0 | 0 | 0 | 999997 | 999998 | -1 | -100 | -0.0001
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24014 | 24006 | 8 | 800 | 0.0008 | 57914 | 57916 | -2 | -200 | -0.0002
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1552 | 1504 | 48 | 4800 | 0.0048 | 6021 | 5086 | 935 | 93500 | 0.0935
64 | TIBIA COLLEGE-2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 1690 | 464 | 1226 | 122600 | 0.1226 | 1000043 | 999841 | 202 | 20200 | 0.0202
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 11563 | 9821 | 1742 | 174200 | 0.1742 | 3963 | 3729 | 234 | 23400 | 0.0234
KASHMIRI GATE
66 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 3782 | 3352 | 430 | 43000 | 0.043 | 959 | 147 | 812 | 81200 | 0.0812
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24944 | 24865 | 79 | 7900 | 0.0079 | 51167 | 51093 | 74 | 7400 | 0.0074
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 62 | 59 | 3 | -1200 | -0.0012
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999888 | 999890 | -2 | -800 | -0.0008 | 999998 | 1000006 | -8 | -3200 | -0.0032
MUNDKA
71 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 412 | 280 | 132 | 105600 | 0.1056 | 0 | 0 | 0 | 0 | 0
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1240 | 1283 | -43 | -86000 | -0.086 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 1885 | 1621 | 264 | 26400 | 0.0264 | 999759 | 999871 | -112 | -11200 | -0.0112
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.35179 |  |  |  |  | 3.4745
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 6688 | 5611 | 1077 | -107700 | -0.1077 | 30071 | 29370 | 701 | -70100 | -0.0701
[5 empty] | -100 | [5 empty] | 13969 | 11034 | 2935 | -293500 | -0.2935
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 2 | 7 | -5 | 4000 | 0.004 | 443 | 65 | 378 | -302400 | -0.3024
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999983 | 1000000 | -17 | 17000 | 0.017 | 98 | 0 | 98 | -98000 | -0.098 | w.e.f 01/05/17
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86947 | 86864 | 83 | -83000 | -0.083 | 123758 | 123655 | 103 | -103000 | -0.103
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 969357 | 969505 | -148 | 7400 | 0.0074 | 1765 | 1796 | -31 | 1550 | 0.00155
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 11 | -11000 | -0.011
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 987798 | 988162 | -364 | 291200 | 0.2912 | 999414 | 999579 | -165 | 132000 | 0.132
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.1289 |  |  |  |  | -0.74445
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.35179 |  |  |  |  | 3.4745
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.1289 |  |  |  |  | -0.74445
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.38343 |  |  |  |  | 0.18182
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.16054 |  |  |  |  | 2.9119
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.16054 | (REACTIVE MUs) |  |  |  | 2.9119 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.25406 | (REACTIVE MUs) |  |  |  | -0.41669 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.4146 | (REACTIVE MUs) |  |  |  | 2.4952 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13513 | 13606 | -93 | -9300 | -0.0093 | 1000285 | 998736 | 1549 | 154900 | 0.1549
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8221 | 8234 | -13 | -3900 | -0.0039 | 5697 | 4356 | 1341 | 402300 | 0.4023
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 24504 | 24552 | -48 | -3600 | -0.0036 | 51555 | 47185 | 4370 | 327750 | 0.32775
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999201 | 999185 | 16 | 4800 | 0.0048 | 4161 | 4135 | 26 | 7800 | 0.0078
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1810 | 1809 | 1 | 1333.3 | 0.0013333 | 2995 | 2857 | 138 | 183995.4 | 0.184
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34145 | 34415 | -270 | -27000 | -0.027 | 157411 | 154584 | 2827 | 282700 | 0.2827
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 8432 | 8500 | -68 | -5100 | -0.0051 | 35502 | 30183 | 5319 | 398925 | 0.39892
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988277 | 988245 | 32 | 32000 | 0.032 | 1892 | 1857 | 35 | 35000 | 0.035
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996870 | 996872 | -2 | -2000 | -0.002 | 3530 | 3416 | 114 | 114000 | 0.114
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998943 | 998813 | 130 | 130000 | 0.13 | 1005 | 848 | 157 | 157000 | 0.157
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995058 | 995144 | -86 | -86000 | -0.086 | 1631 | 1631 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993579 | 993591 | -12 | -12000 | -0.012 | 5427 | 5301 | 126 | 126000 | 0.126
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997352 | 997386 | -34 | -34000 | -0.034 | 999105 | 999151 | -46 | -46000 | -0.046
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999397 | 999403 | -6 | -6000 | -0.006 | 999797 | 999893 | -96 | -96000 | -0.096
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999027 | 998984 | 43 | 34400 | 0.0344 | 1504 | 1293 | 211 | 168800 | 0.1688
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999470 | 999451 | 19 | 19000 | 0.019 | 31149 | 30119 | 1030 | 1030000 | 1.03
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1520 | -11 | -11000 | -0.011 | 9662 | 9670 | -8 | -8000 | -0.008
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12524 | 12524 | 0 | 0 | 0 | 358 | 358 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1700 | 1499 | 201 | 201000 | 0.201 | 16183 | 16009 | 174 | 174000 | 0.174
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 996496 | 996694 | -198 | -272250 | -0.27225 | 951954 | 952127 | -173 | -237875 | -0.23788
21 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 991656 | 995094 | -3438 | -3438000 | -3.438
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973759 | 973958 | -199 | -199000 | -0.199 | 7718 | 7767 | -49 | -49000 | -0.049
| KASHMIRI GATE | [8 empty] | -0.20585 |  |  |  |  | -2.0701
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946771 | 946774 | -3 | 3000 | 0.003 | 940659 | 941005 | -346 | 346000 | 0.346
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958540 | 958432 | 108 | -108000 | -0.108 | 954251 | 954603 | -352 | 352000 | 0.352
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
NARAINA
26 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999994 | 999994 | 0 | 0 | 0 | 3599 | 2673 | 926 | 926000 | 0.926
PARK STREET
27 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 20626 | 20330 | 296 | -148000 | -0.148 | 1288 | 613 | 675 | -337500 | -0.3375
28 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11325 | 11222 | 103 | -103000 | -0.103 | 1000021 | 999640 | 381 | -381000 | -0.381
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992605 | 992545 | 60 | -60000 | -0.06 | 992598 | 992848 | -250 | 250000 | 0.25
30 | TX.-2(33KV) | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 83 | 79 | 4 | -4000 | -0.004 | 999809 | 1000030 | -221 | 221000 | 0.221
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8262 | 8427 | -165 | 330000 | 0.33 | 996891 | 997124 | -233 | 466000 | 0.466
32 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1198 | 1559 | -361 | 361000 | 0.361 | 482 | 520 | -38 | 38000 | 0.038
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998651 | 999448 | -797 | 797000 | 0.797 | 999779 | 999783 | -4 | 4000 | 0.004
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999983 | 1000000 | -17 | -17000 | -0.017 | 98 | 0 | 98 | 98000 | 0.098 | w.e.f 01/05/17
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86947 | 86864 | 83 | 83000 | 0.083 | 123758 | 123655 | 103 | 103000 | 0.103
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 998066 | 998066 | 0 | 0 | 0 | 1141 | 1141 | 0 | 0 | 0
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151254 | 151245 | 9 | 900 | 0.0009 | 52962 | 52319 | 643 | 64300 | 0.0643
PREET VIHAR
38 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999997 | 1000000 | -3 | 3000 | 0.003 | 999990 | 1000000 | -10 | 10000 | 0.01
39 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999913 | 1000000 | -87 | 87000 | 0.087 | 999977 | 1000000 | -23 | 23000 | 0.023
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.88628 |  |  |  |  | 1.8381
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.88628 |  |  |  |  | 1.8381
MAY-2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979511 | 979704 | -193 | 193000 | 0.193 | 882117 | 882643 | -526 | 526000 | 0.526
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993836 | 994021 | -185 | 185000 | 0.185 | 973193 | 973659 | -466 | 466000 | 0.466
3 | Tx.3 | 5295177 | ELSTER | Kvarh(Lead/Lag) | -500 | 956832 | 957323 | -491 | 245500 | 0.2455 | 997435 | 999051 | -1616 | 808000 | 0.808
[5 empty] | -500 | 986551 | 986551 | 0 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991554 | 991819 | -265 | 530000 | 0.53 | 974076 | 974605 | -529 | 1058000 | 1.058
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998849 | 998961 | -112 | 112000 | 0.112 | 999702 | 1000249 | -547 | 547000 | 0.547
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995078 | 995217 | -139 | 139000 | 0.139 | 999048 | 999545 | -497 | 497000 | 0.497
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2126 | 1497 | 629 | -629000 | -0.629 | 999903 | 999921 | -18 | 18000 | 0.018
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983797 | 983684 | 113 | -113000 | -0.113 | 969809 | 970262 | -453 | 453000 | 0.453
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989325 | 989329 | -4 | 4000 | 0.004 | 995381 | 995911 | -530 | 530000 | 0.53
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979493 | 979657 | -164 | 164000 | 0.164 | 964359 | 965911 | -1552 | 1552000 | 1.552
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959603 | 959306 | 297 | -297000 | -0.297 | 832499 | 833426 | -927 | 927000 | 0.927
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16623 | 16790 | -167 | 167000 | 0.167 | 33877 | 33967 | -90 | 90000 | 0.09
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2780 | 2819 | -39 | 39000 | 0.039 | 84 | 102 | -18 | 18000 | 0.018
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965980 | 966843 | -863 | 863000 | 0.863 | 919780 | 919842 | -62 | 62000 | 0.062
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.6025 |  |  |  |  | 7.552
| (B) NET ENERGY TO EAST | [8 empty] | 1.6025 |  |  |  |  | 7.552
MAY-2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 458 | 413 | 45 | -18000 | -0.018 | 998990 | 999020 | -30 | 12000 | 0.012
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5979 | 5978 | 1 | -500 | -0.0005 | 2288 | 2316 | -28 | 14000 | 0.014
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54509 | 54525 | -16 | 3200 | 0.0032 | 85387 | 85457 | -70 | 14000 | 0.014
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 74435 | 74206 | 229 | -22900 | -0.0229 | 143020 | 140372 | 2648 | -264800 | -0.2648
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 973246 | 973283 | -37 | 7400 | 0.0074 | 995936 | 996650 | -714 | 142800 | 0.1428
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 35423 | 35068 | 355 | -71000 | -0.071 | 6878 | 6209 | 669 | -133800 | -0.1338
[5 empty] | -200 | [5 empty] | 5529 | 3232 | 2297 | -459400 | -0.4594
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 16805 | 16795 | 10 | -8000 | -0.008 | 11378 | 10739 | 639 | -511200 | -0.5112
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15047 | 15047 | 0 | 0 | 0 | 3938 | 3840 | 98 | -196000 | -0.196
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 974722 | 974733 | -11 | 8800 | 0.0088 | 987741 | 988027 | -286 | 228800 | 0.2288
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 985153 | 985205 | -52 | 41600 | 0.0416 | 991892 | 992983 | -1091 | 872800 | 0.8728
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 991363 | 991387 | -24 | 19200 | 0.0192 | 996588 | 997203 | -615 | 492000 | 0.492
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 980127 | 980145 | -18 | 14400 | 0.0144 | 993606 | 993995 | -389 | 311200 | 0.3112
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979876 | 979933 | -57 | 57000 | 0.057 | 33462 | 34026 | -564 | 564000 | 0.564
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1971 | 1965 | 6 | -6000 | -0.006 | 27526 | 27262 | 264 | -264000 | -0.264
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 3928 | 3615 | 313 | -31300 | -0.0313 | 24343 | 23960 | 383 | -38300 | -0.0383
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5626 | 0 | 0 | 0 | 34887 | 34783 | 104 | -52000 | -0.052 | data till 15/05/2017
[10 empty] | 0 |  |  |  |  | -0.026 | Assessment
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999934 | 999934 | 0 | 0 | 0 | 493 | 466 | 27 | -13500 | -0.0135
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 329 | 329 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 3109 | 2967 | 142 | -94666.6667 | -0.094667 | 1376 | 1360 | 16 | -10666.6667 | -0.010667
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 3782 | 3352 | 430 | -43000 | -0.043 | 959 | 147 | 812 | -81200 | -0.0812
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24944 | 24865 | 79 | -7900 | -0.0079 | 51167 | 51093 | 74 | -7400 | -0.0074
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997556 | 997603 | -47 | 4700 | 0.0047 | 1932 | 1523 | 409 | -40900 | -0.0409
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999751 | 999751 | 0 | 0 | 0 | 999997 | 999998 | -1 | 100 | 0.0001
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24014 | 24006 | 8 | -800 | -0.0008 | 57914 | 57916 | -2 | 200 | 0.0002
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1552 | 1504 | 48 | -4800 | -0.0048 | 6021 | 5086 | 935 | -93500 | -0.0935
31 | TIBIA COLLEGE-2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 1690 | 464 | 1226 | -122600 | -0.1226 | 1000043 | 999841 | 202 | -20200 | -0.0202
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 11563 | 9821 | 1742 | -174200 | -0.1742 | 3963 | 3729 | 234 | -23400 | -0.0234
[10 empty] | -0.44937 |  |  |  |  | 0.41563
MAY-2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.88628 |  |  |  |  | 1.8381
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.44937 |  |  |  |  | 0.41563
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.30478 |  |  |  |  | -0.035425
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.13214 |  |  |  |  | 2.2183
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.6025 |  |  |  |  | 7.552
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.7346 |  |  |  |  | 9.7703
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.7346 | (REACTIVE MUs) |  |  |  | 9.7703 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.18318 | (REACTIVE MUs) |  |  |  | -0.30044 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.9178 | (REACTIVE MUs) |  |  |  | 9.4699 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999587 | 999584 | 3 | 15000 | 0.015 | 999338 | 999447 | -109 | -545000 | -0.545
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984683 | 984672 | 11 | 14666.63 | 0.014667 | 672103 | 672159 | -56 | -74666.48 | -0.074666
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1188 | 1056 | 132 | 52800 | 0.0528 | 4077 | 1060 | 3017 | 1206800 | 1.2068
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16966 | 16954 | 12 | 12000 | 0.012 | 997925 | 998351 | -426 | -426000 | -0.426
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17432 | 17390 | 42 | 4200 | 0.0042 | 10473 | 7199 | 3274 | 327400 | 0.3274
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 725923 | 725192 | 731 | 54825 | 0.054825 | 9036 | 10350 | -1314 | -98550 | -0.09855
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 983178 | 983177 | 1 | 75 | 7.5e-05 | 994116 | 991947 | 2169 | 162675 | 0.16267
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997369 | 997369 | 0 | 0 | 0 | 995822 | 996278 | -456 | -410400 | -0.4104
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1927 | 1914 | 13 | -13000 | -0.013 | 999732 | 999999 | -267 | 267000 | 0.267
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997740 | 997341 | 399 | -798000 | -0.798 | 996158 | 996223 | -65 | 130000 | 0.13
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3065 | 2451 | 614 | -614000 | -0.614 | 999837 | 999872 | -35 | 35000 | 0.035
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962807 | 962795 | 12 | -12000 | -0.012 | 964592 | 965551 | -959 | 959000 | 0.959
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986135 | 985976 | 159 | -159000 | -0.159 | 966903 | 966969 | -66 | 66000 | 0.066
16 | Tx.2 | 4865004 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1701 | 1694 | 7 | -7000 | -0.007 | 1177 | 1166 | 11 | -11000 | -0.011
17 | Tx.3 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -2000 | 96 | 89 | 7 | -14000 | -0.014 | 999729 | 999733 | -4 | 8000 | 0.008
|  | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 59 | 0 | 59 | -118000 | -0.118 | 999931 | 1000000 | -69 | 138000 | 0.138 | w.e.f 08/05/17
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3612 | 3796 | -184 | 184000 | 0.184 | 909561 | 911553 | -1992 | 1992000 | 1.992
[5 empty] | -1000 | [5 empty] | 952965 | 952965 | 0 | 0 | 0
NAJAFGARH
19 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000354 | 999869 | 485 | -485000 | -0.485 | 985241 | 985309 | -68 | 68000 | 0.068
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997830 | 997813 | 17 | -17000 | -0.017 | 988367 | 990058 | -1691 | 1691000 | 1.691
21 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995226 | 995118 | 108 | -108000 | -0.108 | 999066 | 999235 | -169 | 169000 | 0.169
[5 empty] | -1000 | 999981 | 999817 | 164 | -164000 | -0.164
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13896 | 13859 | 37 | -37000 | -0.037 | 997140 | 997400 | -260 | 260000 | 0.26
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 2 | 7 | -5 | -4000 | -0.004 | 443 | 65 | 378 | 302400 | 0.3024
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980845 | 980892 | -47 | 47000 | 0.047 | 984567 | 985665 | -1098 | 1098000 | 1.098
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995332 | 995270 | 62 | -62000 | -0.062 | 990599 | 990731 | -132 | 132000 | 0.132
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990406 | 990297 | 109 | -109000 | -0.109 | 930870 | 930899 | -29 | 29000 | 0.029
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2144 | 2219 | -75 | 75000 | 0.075 | 33648 | 33882 | -234 | 234000 | 0.234
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998136 | 998196 | -60 | 60000 | 0.06 | 996308 | 996477 | -169 | 169000 | 0.169
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996460 | 996460 | 0 | 0 | 0 | 864116 | 864116 | 0 | 0 | 0
|  | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 08/05/17
BRPL(+) continue | [14 empty] | MAY-2017
VASANT KUNJ
31 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1166 | 412 | 754 | -754000 | -0.754 | 999930 | 999908 | 22 | -22000 | -0.022
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 1228 | 328 | 900 | -450000 | -0.45 | 998221 | 998029 | 192 | -96000 | -0.096
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 17034 | 16189 | 845 | -1690000 | -1.69 | 969545 | 969516 | 29 | -58000 | -0.058
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995032 | 995060 | -28 | 28000 | 0.028 | 898730 | 899552 | -822 | 822000 | 0.822
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994407 | 994407 | 0 | 0 | 0 | 927407 | 927470 | -63 | 63000 | 0.063
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998993 | 999022 | -29 | 29000 | 0.029 | 983992 | 984756 | -764 | 764000 | 0.764
37 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 53 | 62 | -9 | 18000 | 0.018 | 999780 | 999897 | -117 | 234000 | 0.234
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969949 | 970116 | -167 | 111333.222 | 0.11133 | 966114 | 967257 | -1143 | 761999.238 | 0.762
39 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999436 | 999679 | -243 | 486000 | 0.486 | 999965 | 999999 | -34 | 68000 | 0.068
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5622 | 5619 | 3 | -6000 | -0.006 | 2422 | 2377 | 45 | -90000 | -0.09
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2541 | 2538 | 3 | -6000 | -0.006 | 1380 | 1336 | 44 | -88000 | -0.088
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917326 | 917326 | 0 | 0 | 0 | 982556 | 982817 | -261 | 261000 | 0.261
43 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120 | 120 | 0 | 0 | 0 | 998291 | 998891 | -600 | 600000 | 0.6
44 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MUNDKA
45 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
46 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 32592 | 32592 | 0 | 0 | 0 | 6364 | 6364 | 0 | 0 | 0
[10 empty] | 1.97 |  |  |  |  | 0
|  | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 43 | 0 | 43 | 34400 | 0.0344 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/05/17
47 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 998160 | 999393 | -1233 | -986400 | -0.9864 | 999999 | 1000000 | -1 | -800 | -0.0008
48 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
49 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 552 | 370 | 182 | 145600 | 0.1456 | 999791 | 999791 | 0 | 0 | 0
50 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 234 | 157 | 77 | 61600 | 0.0616 | 0 | 0 | 0 | 0 | 0
PARK STREET
51 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979876 | 979933 | -57 | -57000 | -0.057 | 33462 | 34026 | -564 | -564000 | -0.564
52 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
53 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22131 | 20969 | 1162 | -1162000 | -1.162 | 1000018 | 999985 | 33 | -33000 | -0.033
54 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9661 | 9865 | -204 | 204000 | 0.204 | 998767 | 999083 | -316 | 316000 | 0.316
55 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7321 | 6387 | 934 | -934000 | -0.934 | 1000018 | 999992 | 26 | -26000 | -0.026
NARAINA
56 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 6688 | 5611 | 1077 | 107700 | 0.1077 | 30071 | 29370 | 701 | 70100 | 0.0701
[5 empty] | 100 | [5 empty] | 13969 | 11034 | 2935 | 293500 | 0.2935
SUDARSHAN PARK
57 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 969357 | 969505 | -148 | -7400 | -0.0074 | 1765 | 1796 | -31 | -1550 | -0.00155
58 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 997364 | 997002 | 362 | 144800 | 0.1448 | 6483 | 5167 | 1316 | 526400 | 0.5264
59 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 1000317 | 999412 | 905 | 362000 | 0.362 | 31020 | 30926 | 94 | 37600 | 0.0376
REWARI LINE
60 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 13 | 2 | 11 | 11000 | 0.011
KANJAWALA
61 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 987798 | 988162 | -364 | -291200 | -0.2912 | 999414 | 999579 | -165 | -132000 | -0.132
Trauma Centre
62 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 225683 | 218671 | 7012 | 701200 | 0.7012 | 5060 | 2906 | 2154 | 215400 | 0.2154
63 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2834 | 2589 | 245 | 245000 | 0.245 | 251 | 172 | 79 | 79000 | 0.079
A.I.I.M.S.
64 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 7914 | 7371 | 543 | 40725 | 0.040725 | 13155 | 12801 | 354 | 26550 | 0.02655
65 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 2809 | 2490 | 319 | 31900 | 0.0319 | 4813 | 4617 | 196 | 19600 | 0.0196
PEERGARHI
66 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 2141 | 1885 | 256 | 128000 | 0.128 | 2645 | 2633 | 12 | 6000 | 0.006
67 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3029 | 2962 | 67 | 67000 | 0.067 | 3715 | 3598 | 117 | 117000 | 0.117
68 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996985 | 996990 | -5 | -5000 | -0.005 | 1234 | 1243 | -9 | -9000 | -0.009
69 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2692 | 2685 | 7 | 7000 | 0.007 | 6231 | 6151 | 80 | 80000 | 0.08
70 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 254 | 222 | 32 | 32000 | 0.032 | 1000064 | 999998 | 66 | 66000 | 0.066
71 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 7632 | 7199 | 433 | 43300 | 0.0433 | 43464 | 42643 | 821 | 82100 | 0.0821
72 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1352 | 1264 | 88 | 88000 | 0.088 | 121 | 34 | 87 | 87000 | 0.087
73 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1067 | 986 | 81 | 81000 | 0.081 | 5075 | 4958 | 117 | 117000 | 0.117
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.3829 |  |  |  |  | 12.4826
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 175410 | 173183 | 2227 | -222700 | -0.2227 | 912964 | 912903 | 61 | -6100 | -0.0061
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 998066 | 998066 | 0 | 0 | 0 | 1141 | 1141 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151254 | 151245 | 9 | -900 | -0.0009 | 52962 | 52319 | 643 | -64300 | -0.0643
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995216 | 995210 | 6 | -600 | -0.0006 | 999759 | 999952 | -193 | 19300 | 0.0193
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 999998 | 1 | -1000 | -0.001 | 1000002 | 999999 | 3 | -3000 | -0.003
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999801 | 999750 | 51 | -51000 | -0.051 | 267 | 0 | 267 | -267000 | -0.267
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 1870 | 1833 | 37 | -5920 | -0.00592 | 1318 | 386 | 932 | -149120 | -0.14912
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 907041 | 907035 | 6 | -3000 | -0.003 | 61691 | 61361 | 330 | -165000 | -0.165
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -500 | 999003 | 999035 | -32 | 16000 | 0.016 | 999885 | 999955 | -70 | 35000 | 0.035
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 81782 | 81736 | 46 | -4600 | -0.0046 | 71468 | 70897 | 571 | -57100 | -0.0571
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 95569 | 95508 | 61 | -6100 | -0.0061 | 72090 | 71562 | 528 | -52800 | -0.0528
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 27512 | 27386 | 126 | -12600 | -0.0126 | 26961 | 23077 | 3884 | -388400 | -0.3884
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 394862 | 394351 | 511 | -51100 | -0.0511 | 49072 | 49059 | 13 | -1300 | -0.0013
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4953 | 4942 | 11 | -1100 | -0.0011 | 28527 | 27915 | 612 | -61200 | -0.0612
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998395 | 998754 | -359 | 149580.94 | 0.14958 | 255 | 365 | -110 | 45832.6 | 0.045833
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9126 | 9124 | 2 | -200 | -0.0002 | 37969 | 37689 | 280 | -28000 | -0.028
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12183 | 12179 | 4 | -400 | -0.0004 | 73586 | 72863 | 723 | -72300 | -0.0723
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 754 | 735 | 19 | -1900 | -0.0019 | 15502 | 14570 | 932 | -93200 | -0.0932
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 103 | 84 | 19 | -25327 | -0.025327 | 95 | 71 | 24 | -31992 | -0.031992
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999093 | 999088 | 5 | -500 | -0.0005 | 8131 | 6039 | 2092 | -209200 | -0.2092
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 62 | 59 | 3 | 1200 | 0.0012
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999888 | 999890 | -2 | 800 | 0.0008 | 999998 | 1000006 | -8 | 3200 | 0.0032
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.22257 |  |  |  |  | -1.5455
MAY-2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.3829 |  |  |  |  | 12.4826
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.22257 |  |  |  |  | -1.5455
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.159 |  |  |  |  | -0.62615
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.024 |  |  |  |  | -0.33348
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.4704 |  |  |  |  | 9.9775
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.4704 | (REACTIVE MUs) |  |  |  | 9.9775 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.32392 | (REACTIVE MUs) |  |  |  | -0.53127 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.1465 | (REACTIVE MUs) |  |  |  | 9.4462 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54509 | 54525 | -16 | -3200 | -0.0032 | 85387 | 85457 | -70 | -14000 | -0.014
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 74435 | 74206 | 229 | 22900 | 0.0229 | 143020 | 140372 | 2648 | 264800 | 0.2648
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 973246 | 973283 | -37 | -7400 | -0.0074 | 995936 | 996650 | -714 | -142800 | -0.1428
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 35423 | 35068 | 355 | 71000 | 0.071 | 6878 | 6209 | 669 | 133800 | 0.1338
[5 empty] | 200 | [5 empty] | 5529 | 3232 | 2297 | 459400 | 0.4594
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 16805 | 16795 | 10 | 8000 | 0.008 | 11378 | 10739 | 639 | 511200 | 0.5112
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15047 | 15047 | 0 | 0 | 0 | 3938 | 3840 | 98 | 196000 | 0.196
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 974722 | 974733 | -11 | -8800 | -0.0088 | 987741 | 988027 | -286 | -228800 | -0.2288
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 985153 | 985205 | -52 | -41600 | -0.0416 | 991892 | 992983 | -1091 | -872800 | -0.8728
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 991363 | 991387 | -24 | -19200 | -0.0192 | 996588 | 997203 | -615 | -492000 | -0.492
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 980127 | 980145 | -18 | -14400 | -0.0144 | 993606 | 993995 | -389 | -311200 | -0.3112
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 999920 | 999968 | -48 | -2400 | -0.0024 | 3732 | 2456 | 1276 | 63800 | 0.0638
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 993031 | 993066 | -35 | -2625 | -0.002625 | 7415 | 5979 | 1436 | 107700 | 0.1077
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 19 | 10 | 9 | 4500 | 0.0045 | 764 | 458 | 306 | 153000 | 0.153
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998966 | 998971 | -5 | -1875 | -0.001875 | 3103 | 3308 | -205 | -76875 | -0.076875
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 989303 | 989328 | -25 | -2500 | -0.0025 | 319850 | 317576 | 2274 | 227400 | 0.2274
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 999932 | 999955 | -23 | -1725 | -0.001725 | 805 | 1586 | -781 | -58575 | -0.058575
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3367 | 3422 | -55 | -5500 | -0.0055 | 261053 | 261484 | -431 | -43100 | -0.0431
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 82876 | 82943 | -67 | -6700 | -0.0067 | 726897 | 727317 | -420 | -42000 | -0.042
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999124 | 999078 | 46 | 50600 | 0.0506 | 101671 | 101482 | 189 | 207900 | 0.2079
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997506 | 997532 | -26 | -26000 | -0.026 | 44519 | 44278 | 241 | 241000 | 0.241
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 998056 | 998124 | -68 | -74800 | -0.0748 | 143343 | 143099 | 244 | 268400 | 0.2684
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2832 | 2762 | 70 | 70000 | 0.07 | 59052 | 58620 | 432 | 432000 | 0.432
[10 empty] | 0.0198 |  |  |  |  | 1.1493
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999801 | 999750 | 51 | 51000 | 0.051 | 267 | 0 | 267 | 267000 | 0.267
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 1870 | 1833 | 37 | 5920 | 0.00592 | 1318 | 386 | 932 | 149120 | 0.14912
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 907041 | 907035 | 6 | 3000 | 0.003 | 61691 | 61361 | 330 | 165000 | 0.165
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 500 | 999003 | 999035 | -32 | -16000 | -0.016 | 999885 | 999955 | -70 | -35000 | -0.035
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999175 | 999175 | 0 | 0 | 0 | 16688 | 16688 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
MAY-2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 937647 | 938457 | -810 | 810000 | 0.81 | 971048 | 971280 | -232 | 232000 | 0.232
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 982867 | 984313 | -1446 | 723000 | 0.723 | 999338 | 999870 | -532 | 266000 | 0.266
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998338 | 998621 | -283 | 566000 | 0.566 | 999888 | 999999 | -111 | 222000 | 0.222
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997839 | 998426 | -587 | 587000 | 0.587 | 999773 | 999999 | -226 | 226000 | 0.226
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 394862 | 394351 | 511 | 51100 | 0.0511 | 49072 | 49059 | 13 | 1300 | 0.0013
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4953 | 4942 | 11 | 1100 | 0.0011 | 28527 | 27915 | 612 | 61200 | 0.0612
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 81782 | 81736 | 46 | 4600 | 0.0046 | 71468 | 70897 | 571 | 57100 | 0.0571
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 95569 | 95508 | 61 | 6100 | 0.0061 | 72090 | 71562 | 528 | 52800 | 0.0528
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 27512 | 27386 | 126 | 12600 | 0.0126 | 26961 | 23077 | 3884 | 388400 | 0.3884
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 175410 | 173183 | 2227 | 222700 | 0.2227 | 912964 | 912903 | 61 | 6100 | 0.0061
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 225683 | 218671 | 7012 | -701200 | -0.7012 | 5060 | 2906 | 2154 | -215400 | -0.2154
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2834 | 2589 | 245 | -245000 | -0.245 | 251 | 172 | 79 | -79000 | -0.079
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 7914 | 7371 | 543 | -40725 | -0.040725 | 13155 | 12801 | 354 | -26550 | -0.02655
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 2809 | 2490 | 319 | -31900 | -0.0319 | 4813 | 4617 | 196 | -19600 | -0.0196
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.9638 |  |  |  |  | 2.9971
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.9638 |  |  |  |  | 2.9971
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.040372 |  |  |  |  | -0.066215
| TOTAL ENERGY TO NDMC | [8 empty] | 3.0041 |  |  |  |  | 2.9309

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 833 | 832 | 1 | 200 | 0.0002 | 11842 | 8576 | 3266 | 653200 | 0.6532
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1509 | 1509 | 0 | 0 | 0 | 40098 | 39717 | 381 | 381000 | 0.381
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4100 | 4100 | 0 | 0 | 0 | 49875 | 49171 | 704 | 704000 | 0.704
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 999960 | 999960 | 0 | 0 | 0 | 43806 | 41614 | 2192 | 292265.936 | 0.29227
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6483 | 6493 | -10 | -10000 | -0.01 | 11377 | 11348 | 29 | 29000 | 0.029
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12339 | 12327 | 12 | 6000 | 0.006 | 62543 | 61700 | 843 | 421500 | 0.4215
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995216 | 995210 | 6 | 600 | 0.0006 | 999759 | 999952 | -193 | -19300 | -0.0193
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999999 | 999998 | 1 | 1000 | 0.001 | 1000002 | 999999 | 3 | 3000 | 0.003
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0022 |  |  |  |  | 2.4647
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 56359 | 56150 | 209 | 20900 | 0.0209 | 88920 | 88274 | 646 | 64600 | 0.0646
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77853 | 77832 | 21 | 2100 | 0.0021 | 15928 | 15174 | 754 | 75400 | 0.0754
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 61634 | 61624 | 10 | 1000 | 0.001 | 104335 | 102419 | 1916 | 191600 | 0.1916
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1057 | 1032 | 25 | 1875 | 0.001875
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10255 | 10255 | 0 | 0 | 0 | 3322 | 3322 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.024 |  |  |  |  | 0.33348
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.024 |  |  |  |  | 0.33348
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0022 |  |  |  |  | 2.4647
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0218 |  |  |  |  | 2.7981
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0218 | (REACTIVE MUs) |  |  |  | 2.7981 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0074076 | (REACTIVE MUs) |  |  |  | -0.012149 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.029208 | (REACTIVE MUs) |  |  |  | 2.786 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 176 | 800 | -624 | -62400 | -0.0624 | 2194 | 2191 | 3 | 300 | 0.0003
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 35145 | 33991 | 1154 | 115400 | 0.1154 | 3055 | 2892 | 163 | 16300 | 0.0163
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 4067 | 3885 | 182 | 91000 | 0.091 | 1540 | 1430 | 110 | 55000 | 0.055
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 450 | 410 | 40 | 37500 | 0.0375 | 28 | 0 | 28 | 26250 | 0.02625
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 998452 | 998478 | -26 | -6500 | -0.0065 | 986237 | 989099 | -2862 | -715500 | -0.7155
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 982268 | 982236 | 32 | -16000 | -0.016 | 976503 | 976486 | 17 | -8500 | -0.0085
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999984 | 999984 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.159 |  |  |  |  | -0.62615
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987086 | 987228 | -142 | -28400 | -0.0284 | 999802 | 999846 | -44 | -8800 | -0.0088
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 905303 | 906040 | -737 | -276375 | -0.27637 | 997205 | 997276 | -71 | -26625 | -0.026625
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.30478 |  |  |  |  | -0.035425
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 292812 | 292214 | 598 | 119600 | 0.1196 | 270211 | 268668 | 1543 | 308600 | 0.3086
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 251317 | 250908 | 409 | 40900 | 0.0409 | 999269 | 999275 | -6 | -600 | -0.0006
[5 empty] | 100 | 214012 | 213303 | 709 | 70900 | 0.0709
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 132584 | 130798 | 1786 | 111625 | 0.11163 | 987311 | 987357 | -46 | -2875 | -0.002875
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 500 | 473 | 27 | 21600 | 0.0216 | 610 | 387 | 223 | 178400 | 0.1784
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 988696 | 988947 | -251 | -25100 | -0.0251 | 999554 | 999593 | -39 | -3900 | -0.0039
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999007 | 998981 | 26 | 3900 | 0.0039 | 992101 | 994103 | -2002 | -300300 | -0.3003
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998819 | 998835 | -16 | 40000 | 0.04 | 3070 | 3071 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999984 | 999984 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.38343 |  |  |  |  | 0.18182
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.159 |  |  |  |  | -0.62615
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.30478 |  |  |  |  | -0.035425
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.38343 |  |  |  |  | 0.18182

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/06/2017 | INTIAL READING 01/05/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 40076 | 39811 | 265 | 530000 | 0.53 | 1768 | 1866 | -98 | -196000 | -0.196
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 7378 | 7285 | 93 | 465000 | 0.465 | 146 | 188 | -42 | -210000 | -0.21
[7 empty] | NET REACTIVE ENERGY |  |  | 0.995 |  | NET REACTIVE ENERGY |  |  | -0.406
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.995 |  |  |  |  | -0.406
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.20585 |  |  |  |  | -2.0701
[7 empty] | NDMC = |  |  | 0.0198 |  |  |  |  | 1.1493
MES =
[7 empty] | 2)TOTAL |  |  | -0.18605 |  |  |  |  | -0.92078
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.80895 |  |  |  |  | -1.3268
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.4065 | % |  |  | 0.25406 |  |  |  |  | -0.41669
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.0425 | % |  |  | 0.32392 |  |  |  |  | -0.53127
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6446 | % |  |  | 0.18318 |  |  |  |  | -0.30044
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9907 | % |  |  | 0.040372 |  |  |  |  | -0.066215
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9157 | % |  |  | 0.0074076 |  |  |  |  | -0.012149
Note :Sharing taken from wk-36 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2017 TO 1st JUNE-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.4146 | + | 2.4952
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.1465 | + | 9.4462
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.9178 | + | 9.4699
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.0041 | + | 2.9309
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.029208 | + | 2.786
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system