## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975930 | 976301 | -371 | 371000 | 0.371 | 995566 | 995582 | -16 | 16000 | 0.016
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56 | 0 | 56 | -56000 | -0.056 | 76 | 20 | 56 | -56000 | -0.056
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987471 | 987739 | -268 | 268000 | 0.268 | 996052 | 996112 | -60 | 60000 | 0.06
SUBZI MANDI
4 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999974 | 999974 | 0 | 0 | 0 | 995051 | 997256 | -2205 | 2205000 | 2.205
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 920136 | 919177 | 959 | -959000 | -0.959 | 933889 | 933836 | 53 | -53000 | -0.053
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22975 | 22919 | 56 | -56000 | -0.056 | 17896 | 17885 | 11 | -11000 | -0.011
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8266 | 8185 | 81 | -81000 | -0.081 | 11571 | 11563 | 8 | -8000 | -0.008
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13398 | 13393 | 5 | -6250 | -0.00625 | 993449 | 993537 | -88 | 110000 | 0.11
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 619 | 608 | 11 | -11000 | -0.011 | 982712 | 982796 | -84 | 84000 | 0.084
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19509 | 19543 | -34 | 34000 | 0.034 | 7773 | 7850 | -77 | 77000 | 0.077 | Check meter data
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986975 | 987066 | -91 | 91000 | 0.091 | 3115 | 3126 | -11 | 11000 | 0.011
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986100 | 986117 | -17 | 17000 | 0.017 | 997760 | 997776 | -16 | 16000 | 0.016
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 868739 | 868739 | 0 | 0 | 0 | 920488 | 920488 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -1.311 |  |  |  |  | 0 | Assessment
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984276 | 984283 | -7 | 7000 | 0.007 | 16829 | 16831 | -2 | 2000 | 0.002
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 787 | 718 | 69 | -69000 | -0.069 | 20169 | 20156 | 13 | -13000 | -0.013
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5080 | 4994 | 86 | -86000 | -0.086 | 999998 | 999985 | 13 | -13000 | -0.013
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999998 | 999998 | 0 | 0 | 0 | 982449 | 983206 | -757 | -151400 | -0.1514
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 713 | 713 | 0 | 0 | 0 | 29140 | 29249 | -109 | -109000 | -0.109
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5582 | 5582 | 0 | 0 | 0 | 165759 | 165201 | 558 | 55800 | 0.0558
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 33281 | 33248 | 33 | 3300 | 0.0033 | 246688 | 245752 | 936 | 93600 | 0.0936
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996479 | 996479 | 0 | 0 | 0 | 1404 | 1734 | -330 | -330000 | -0.33
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 559 | 559 | 0 | 0 | 0 | 6214 | 6482 | -268 | -268000 | -0.268
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999938 | 999884 | 54 | 54000 | 0.054 | 55 | 54 | 1 | 1000 | 0.001
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634662 | 634662 | 0 | 0 | 0 | 797125 | 797191 | -66 | -66000 | -0.066
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640454 | 640464 | -10 | -10000 | -0.01 | 830304 | 830376 | -72 | -72000 | -0.072
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4702 | 4641 | 61 | 24400 | 0.0244 | 999070 | 999103 | -33 | -13200 | -0.0132
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4068 | 4065 | 3 | 1500 | 0.0015 | 3701 | 3770 | -69 | -34500 | -0.0345
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24147 | 24106 | 41 | -41000 | -0.041 | 980962 | 981050 | -88 | 88000 | 0.088
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7084 | 7100 | -16 | 16000 | 0.016 | 996775 | 996776 | -1 | 1000 | 0.001
BAWANA
30 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6947 | 6847 | 100 | -100000 | -0.1 | 923764 | 923854 | -90 | 90000 | 0.09
DSIDC BAWANA
31 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 191 | 150 | 41 | -41000 | -0.041 | 998866 | 998898 | -32 | 32000 | 0.032
32 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 358 | 283 | 75 | -75000 | -0.075 | 1141 | 876 | 265 | -265000 | -0.265
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2785 | 2885 | -100 | 100000 | 0.1 | 998688 | 998695 | -7 | 7000 | 0.007
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3308 | 3308 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996116 | 996151 | -35 | 35000 | 0.035 | 999606 | 999774 | -168 | 168000 | 0.168
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4500 | 4521 | -21 | 21000 | 0.021 | 999993 | 999992 | 1 | -1000 | -0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2142 | 2140 | 2 | 2000 | 0.002 | 24346 | 24172 | 174 | 174000 | 0.174
38 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 27 | 19 | 8 | 8000 | 0.008 | 186 | 24 | 162 | 162000 | 0.162
| NDPL(+) continue | [14 empty] | AUGUST-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 173146 | 173282 | -136 | -17000 | -0.017 | 261196 | 261314 | -118 | -14750 | -0.01475
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9232 | 9227 | 5 | 500 | 0.0005 | 31867 | 30558 | 1309 | 130900 | 0.1309
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11053 | 11052 | 1 | 100 | 0.0001 | 63439 | 62227 | 1212 | 121200 | 0.1212
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 18947 | 18649 | 298 | 29800 | 0.0298 | 65673 | 65321 | 352 | 35200 | 0.0352
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 7644 | 7530 | 114 | 11400 | 0.0114 | 5867 | 5509 | 358 | 35800 | 0.0358
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17219 | 17205 | 14 | 1400 | 0.0014 | 20758 | 20458 | 300 | 30000 | 0.03
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 995194 | 995238 | -44 | -1955.36 | -0.0019554 | 683 | 591 | 92 | 4088.48 | 0.0040885
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5473 | 5473 | 0 | 0 | 0 | 32548 | 32252 | 296 | 148000 | 0.148
52 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3706 | 3706 | 0 | 0 | 0 | 29419 | 29419 | 0 | 0 | 0
[15 empty] | 0.0027 | Assessment
|  | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 99 | 49500 | 0.0495 | w.e.f 04/08/2015
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6712 | 6676 | 36 | 18000 | 0.018 | 14978 | 14926 | 52 | 26000 | 0.026
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2002 | 1950 | 52 | 34666.6667 | 0.034667 | 1066 | 1023 | 43 | 28666.6667 | 0.028667
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998476 | 998514 | -38 | -3800 | -0.0038 | 30 | 25 | 5 | 500 | 0.0005
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999925 | 999927 | -2 | -200 | -0.0002 | 999990 | 999995 | -5 | -500 | -0.0005
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23827 | 23810 | 17 | 1700 | 0.0017 | 57143 | 57143 | 0 | 0 | 0
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999956 | 999962 | -6 | -600 | -0.0006 | 999997 | 999998 | -1 | -100 | -0.0001
60 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 179904 | 179257 | 647 | 64700 | 0.0647 | 54812 | 54400 | 412 | 41200 | 0.0412
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 21935 | 20808 | 1127 | 112700 | 0.1127 | 66300 | 66236 | 64 | 6400 | 0.0064
63 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 11237 | 9906 | 1331 | 133100 | 0.1331 | 4695 | 4610 | 85 | 8500 | 0.0085
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 170229 | 169196 | 1033 | 103300 | 0.1033 | 20532 | 20743 | -211 | -21100 | -0.0211
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23889 | 23889 | 0 | 0 | 0 | 47140 | 46546 | 594 | 59400 | 0.0594
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 976835 | 976884 | -49 | -39200 | -0.0392 | 254 | 261 | -7 | -5600 | -0.0056
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 339 | 281 | 58 | 116000 | 0.116 | 28 | 24 | 4 | 8000 | 0.008
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 5269783 | ELSTER | Kvarh(Lead/Lag) | 1000 | 213 | 201 | 12 | 12000 | 0.012 | 209 | 207 | 2 | 2000 | 0.002
|  | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 21 | 0 | 21 | 2100 | 0.0021 | 39 | 0 | 39 | 3900 | 0.0039 | w.e.f 14/08/2015
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.2703 |  |  |  |  | 2.6892
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 20836 | 20818 | 18 | -1800 | -0.0018 | 19825 | 19580 | 245 | -24500 | -0.0245
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13503 | 13471 | 32 | -32000 | -0.032 | 7858 | 7850 | 8 | -8000 | -0.008
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 9263 | 9263 | 0 | 0 | 0 | 21601 | 21623 | -22 | 4400 | 0.0044
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85726 | 85726 | 0 | 0 | 0 | 119565 | 118819 | 746 | -746000 | -0.746
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 9450 | 9472 | -22 | 2200 | 0.0022 | 61354 | 61360 | -6 | 600 | 0.0006
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917919 | 918105 | -186 | 186000 | 0.186 | 991937 | 991939 | -2 | 2000 | 0.002
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.1544 |  |  |  |  | -0.7715
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.2703 |  |  |  |  | 2.6892
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.1544 |  |  |  |  | -0.7715
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.0534 |  |  |  |  | -0.24052
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -1.0625 |  |  |  |  | 1.6772
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.0625 | (REACTIVE MUs) |  |  |  | 1.6772 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.051441 | (REACTIVE MUs) |  |  |  | -1.1607 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.0111 | (REACTIVE MUs) |  |  |  | 0.51651 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 999102 | 1000285 | -1183 | -118300 | -0.1183 | 999971 | 1000000 | -29 | -2900 | -0.0029
2 | KAMLA MKT.B-30 | 4865164 | ELSTER | Kvarh(Lead/Lag) | 50 | 7645 | 1210 | 6435 | 321750 | 0.32175 | 22802 | 21745 | 1057 | 52850 | 0.05285 | Check meter
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 11394 | 13314 | -1920 | -192000 | -0.192 | 32446 | 32181 | 265 | 26500 | 0.0265
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 1201 | 120 | 1081 | 324300 | 0.3243 | 5366 | 5350 | 16 | 4800 | 0.0048 | CT Ratio Changed - 600/5 to 300/5
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 500 | 1641 | 1850 | -209 | -104500 | -0.1045 | 2665 | 2629 | 36 | 18000 | 0.018
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 26435 | 24070 | 2365 | 236500 | 0.2365 | 172615 | 172469 | 146 | 14600 | 0.0146
7 | MINTO RD. B-34 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 100 | 36467 | 27835 | 8632 | 863200 | 0.8632 | 122418 | 122049 | 369 | 36900 | 0.0369 | Check meter
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990789 | 990785 | 4 | 4000 | 0.004 | 1668 | 1357 | 311 | 311000 | 0.311
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998234 | 998234 | 0 | 0 | 0 | 2636 | 2201 | 435 | 435000 | 0.435
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 517 | 536 | -19 | -19000 | -0.019 | 1330 | 1309 | 21 | 21000 | 0.021
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997655 | 997671 | -16 | -16000 | -0.016 | 2186 | 2515 | -329 | -329000 | -0.329
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997169 | 997240 | -71 | -71000 | -0.071 | 4832 | 4660 | 172 | 172000 | 0.172
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 41 | 39 | 2 | 2000 | 0.002 | 999647 | 999655 | -8 | -8000 | -0.008
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999343 | 999340 | 3 | 3000 | 0.003 | 17380 | 17210 | 170 | 170000 | 0.17
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1137 | 1136 | 1 | 1000 | 0.001 | 38702 | 38157 | 545 | 545000 | 0.545
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999935 | -5 | -5000 | -0.005 | 27477 | 27481 | -4 | -4000 | -0.004
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1594 | 1594 | 0 | 0 | 0 | 9512 | 9529 | -17 | -17000 | -0.017
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11364 | 11341 | 23 | 2300 | 0.0023 | 333 | 328 | 5 | 500 | 0.0005
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996821 | 996819 | 2 | 2000 | 0.002 | 14921 | 14451 | 470 | 470000 | 0.47
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 994468 | 996694 | -2226 | -3060750 | -3.0608
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 715114 | 718716 | -3602 | -3962200 | -3.9622
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984281 | 984338 | -57 | -57000 | -0.057 | 8432 | 8641 | -209 | -209000 | -0.209
| KASHMIRI GATE | [8 empty] | -0.1537 |  |  |  |  | -5.4654
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955588 | 955584 | 4 | -4000 | -0.004 | 947242 | 947197 | 45 | -45000 | -0.045
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963988 | 963909 | 79 | -79000 | -0.079 | 955198 | 955236 | -38 | 38000 | 0.038
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 381 | 381 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 540 | 540 | 0 | 0 | 0 | 6007 | 6067 | -60 | -60000 | -0.06
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54239 | 54196 | 43 | -43000 | -0.043 | 974650 | 974525 | 125 | -125000 | -0.125
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41749 | 41619 | 130 | -130000 | -0.13 | 970511 | 970551 | -40 | 40000 | 0.04
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996957 | 996933 | 24 | -24000 | -0.024 | 995297 | 995439 | -142 | 142000 | 0.142
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000035 | 999995 | 40 | -40000 | -0.04 | 999730 | 999783 | -53 | 53000 | 0.053
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3140 | 2984 | 156 | -312000 | -0.312 | 999631 | 999639 | -8 | 16000 | 0.016
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999545 | 999540 | 5 | -10000 | -0.01 | 999940 | 999961 | -21 | 42000 | 0.042
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1124 | 1124 | 0 | 0 | 0 | 999922 | 999974 | -52 | 52000 | 0.052
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 9263 | 9263 | 0 | 0 | 0 | 21601 | 21623 | -22 | -4400 | -0.0044
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85726 | 85726 | 0 | 0 | 0 | 119565 | 118819 | 746 | 746000 | 0.746
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 97842 | 97980 | -138 | -13800 | -0.0138 | 1179 | 1274 | -95 | -9500 | -0.0095
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 149536 | 149367 | 169 | 16900 | 0.0169 | 15336 | 13249 | 2087 | 208700 | 0.2087
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.53835 |  |  |  |  | -4.2209
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.53835 |  |  |  |  | -4.2209
AUGUST-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982923 | 982923 | 0 | 0 | 0 | 899628 | 901930 | -2302 | 2302000 | 2.302
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6287 | 6287 | 0 | 0 | 0 | 920058 | 922219 | -2161 | 2161000 | 2.161
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982662 | 982662 | 0 | 0 | 0 | 964899 | 967063 | -2164 | 2164000 | 2.164
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995790 | 995622 | 168 | -336000 | -0.336 | 984722 | 984993 | -271 | 542000 | 0.542
PPG
4 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996517 | 998504 | -1987 | 1987000 | 1.987 | 999995 | 999999 | -4 | 4000 | 0.004
5 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994170 | 994636 | -466 | 466000 | 0.466 | 999788 | 999842 | -54 | 54000 | 0.054
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6619 | 6281 | 338 | -338000 | -0.338 | 984147 | 984210 | -63 | 63000 | 0.063
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1256 | 1163 | 93 | -93000 | -0.093 | 999653 | 999713 | -60 | 60000 | 0.06
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998199 | 998117 | 82 | -82000 | -0.082 | 944559 | 944707 | -148 | 148000 | 0.148
| GEETA COLONY | [15 empty] | 0
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983737 | 984142 | -405 | 405000 | 0.405 | 977183 | 979360 | -2177 | 2177000 | 2.177
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958668 | 958624 | 44 | -44000 | -0.044 | 859061 | 860490 | -1429 | 1429000 | 1.429
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16702 | 16928 | -226 | 226000 | 0.226 | 34608 | 34640 | -32 | 32000 | 0.032
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22989 | 23031 | -42 | 42000 | 0.042 | 44473 | 44620 | -147 | 147000 | 0.147
14 | TX-3 | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999720 | 999375 | 345 | -345000 | -0.345 | 953 | 930 | 23 | -23000 | -0.023
|  | 5269165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31 | 0 | 31 | -31000 | -0.031 | 260 | 0 | 260 | -260000 | -0.26 | w.e.f 25/08/2015
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.857 |  |  |  |  | 11
| (B) NET ENERGY TO EAST | [8 empty] | 1.857 |  |  |  |  | 11
AUGUST-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4702 | 4641 | 61 | -24400 | -0.0244 | 999070 | 999103 | -33 | 13200 | 0.0132
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4068 | 4065 | 3 | -1500 | -0.0015 | 3701 | 3770 | -69 | 34500 | 0.0345
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 51674 | 51646 | 28 | -5600 | -0.0056 | 80550 | 79991 | 559 | -111800 | -0.1118
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73728 | 73736 | -8 | 800 | 0.0008 | 140114 | 140212 | -98 | 9800 | 0.0098
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 978323 | 978323 | 0 | 0 | 0 | 997822 | 998322 | -500 | 100000 | 0.1
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 80716 | 80689 | 27 | -5400 | -0.0054 | 99376 | 98436 | 940 | -188000 | -0.188
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 11529 | 11524 | 5 | -4000 | -0.004 | 6580 | 5997 | 583 | -466400 | -0.4664
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13988 | 13985 | 3 | -6000 | -0.006 | 2807 | 2693 | 114 | -228000 | -0.228
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980639 | 980639 | 0 | 0 | 0 | 989913 | 990092 | -179 | 143200 | 0.1432
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 979083 | 979084 | -1 | 800 | 0.0008 | 984625 | 985372 | -747 | 597600 | 0.5976
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 988217 | 988217 | 0 | 0 | 0 | 993113 | 993517 | -404 | 323200 | 0.3232
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 988901 | 988905 | -4 | 0 | 0 | 994725 | 994870 | -145 | 0 | 0 | W.E.f 04/07/2015
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988493 | 988519 | -26 | 26000 | 0.026 | 35473 | 35750 | -277 | 277000 | 0.277
14 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990135 | 990184 | -49 | 98000 | 0.098 | 17310 | 17471 | -161 | 322000 | 0.322 | Check Meter Data
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2142 | 2140 | 2 | -2000 | -0.002 | 24346 | 24172 | 174 | -174000 | -0.174
16 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27 | 19 | 8 | -8000 | -0.008 | 186 | 24 | 162 | -162000 | -0.162
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5473 | 5473 | 0 | 0 | 0 | 32548 | 32252 | 296 | -148000 | -0.148
19 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3706 | 3706 | 0 | 0 | 0 | 29419 | 29419 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.0027 | Assessment
|  | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 99 | -49500 | -0.0495 | w.e.f 04/08/2015
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6712 | 6676 | 36 | -18000 | -0.018 | 14978 | 14926 | 52 | -26000 | -0.026
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2002 | 1950 | 52 | -34666.6667 | -0.034667 | 1066 | 1023 | 43 | -28666.6667 | -0.028667
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 170229 | 169196 | 1033 | -103300 | -0.1033 | 20532 | 20743 | -211 | 21100 | 0.0211
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23889 | 23889 | 0 | 0 | 0 | 47140 | 46546 | 594 | -59400 | -0.0594
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998476 | 998514 | -38 | 3800 | 0.0038 | 30 | 25 | 5 | -500 | -0.0005
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999925 | 999927 | -2 | 200 | 0.0002 | 999990 | 999995 | -5 | 500 | 0.0005
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23827 | 23810 | 17 | -1700 | -0.0017 | 57143 | 57143 | 0 | 0 | 0
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999956 | 999962 | -6 | 600 | 0.0006 | 999997 | 999998 | -1 | 100 | 0.0001
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 179904 | 179257 | 647 | -64700 | -0.0647 | 54812 | 54400 | 412 | -41200 | -0.0412
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 21935 | 20808 | 1127 | -112700 | -0.1127 | 66300 | 66236 | 64 | -6400 | -0.0064
32 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 11237 | 9906 | 1331 | -133100 | -0.1331 | 4695 | 4610 | 85 | -8500 | -0.0085
[10 empty] | -0.39487 |  |  |  |  | 0.14113
AUGUST-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.53835 |  |  |  |  | -4.2209
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.39487 |  |  |  |  | 0.14113
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.16078 |  |  |  |  | -0.0297
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.017292 |  |  |  |  | -4.1095
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.857 |  |  |  |  | 11
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.8397 |  |  |  |  | 6.8905
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.8397 | (REACTIVE MUs) |  |  |  | 6.8905 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.041934 | (REACTIVE MUs) |  |  |  | -0.94617 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.8816 | (REACTIVE MUs) |  |  |  | 5.9444 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 1000108 | 999996 | 112 | 560000 | 0.56 | 999914 | 999913 | 1 | 5000 | 0.005
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984977 | 984838 | 139 | 185332.87 | 0.18533 | 673097 | 673100 | -3 | -3999.99 | -0.004
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10151 | 10096 | 55 | 275000 | 0.275 | 71148 | 71147 | 1 | 5000 | 0.005
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13773 | 13404 | 369 | 369000 | 0.369 | 175 | 157 | 18 | 18000 | 0.018
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 1582 | 117 | 1465 | 146500 | 0.1465 | 231 | 0 | 231 | 23100 | 0.0231
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 714108 | 709383 | 4725 | 354375 | 0.35437 | 27866 | 27881 | -15 | -1125 | -0.001125
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 996676 | 996013 | 663 | 49725 | 0.049725 | 999655 | 999554 | 101 | 7575 | 0.007575
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999684 | 999488 | 196 | 176400 | 0.1764 | 998741 | 998739 | 2 | 1800 | 0.0018
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 150 | 137 | 13 | -6500 | -0.0065 | 994631 | 994497 | 134 | -67000 | -0.067
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987759 | 987753 | 6 | -6000 | -0.006 | 948068 | 948002 | 66 | -66000 | -0.066
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996017 | 996026 | -9 | 9000 | 0.009 | 996155 | 996106 | 49 | -49000 | -0.049
13 | Tx.4 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 159 | 169 | -10 | 10000 | 0.01 | 999977 | 999937 | 40 | -40000 | -0.04
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979146 | 979182 | -36 | 36000 | 0.036 | 970265 | 970432 | -167 | 167000 | 0.167
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35813 | 35738 | 75 | -75000 | -0.075 | 983636 | 983428 | 208 | -208000 | -0.208
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38307 | 38277 | 30 | -30000 | -0.03 | 992921 | 993186 | -265 | 265000 | 0.265
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 2673 | 2670 | 3 | -1500 | -0.0015 | 997269 | 997720 | -451 | 225500 | 0.2255 | Meter changed on 01/10/2014
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1880 | 1774 | 106 | -106000 | -0.106 | 995652 | 995930 | -278 | 278000 | 0.278
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23034 | 23034 | 0 | 0 | 0 | 1781 | 2066 | -285 | 285000 | 0.285
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10168 | 9973 | 195 | -195000 | -0.195 | 999638 | 999281 | 357 | -357000 | -0.357
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13503 | 13471 | 32 | 32000 | 0.032 | 7858 | 7850 | 8 | 8000 | 0.008
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990920 | 991255 | -335 | 335000 | 0.335 | 994339 | 995170 | -831 | 831000 | 0.831
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997456 | 997576 | -120 | 120000 | 0.12 | 995086 | 995546 | -460 | 460000 | 0.46
OKHLA
24 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998563 | 998145 | 418 | -418000 | -0.418 | 997338 | 997424 | -86 | 86000 | 0.086
25 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990389 | 989812 | 577 | -577000 | -0.577 | 942877 | 943083 | -206 | 206000 | 0.206
26 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997984 | 998034 | -50 | 50000 | 0.05 | 37139 | 37310 | -171 | 171000 | 0.171
27 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999819 | 999872 | -53 | 53000 | 0.053 | 998131 | 998137 | -6 | 6000 | 0.006
28 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997033 | 997052 | -19 | 19000 | 0.019 | 864839 | 864891 | -52 | 52000 | 0.052
BRPL(+) continue | [14 empty] | AUGUST-2015
VASANT KUNJ
29 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997295 | 997252 | 43 | -43000 | -0.043 | 972325 | 972307 | 18 | -18000 | -0.018
30 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 438 | 320 | 118 | -59000 | -0.059 | 999256 | 999229 | 27 | -13500 | -0.0135 | Meter changed on 11/11/2014
31 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1970 | 1853 | 117 | -234000 | -0.234 | 969683 | 969707 | -24 | 48000 | 0.048
MEHRAULI
32 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993089 | 993089 | 0 | 0 | 0 | 906535 | 907073 | -538 | 538000 | 0.538
33 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994499 | 994499 | 0 | 0 | 0 | 927517 | 927522 | -5 | 5000 | 0.005
34 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996886 | 996886 | 0 | 0 | 0 | 991617 | 992153 | -536 | 536000 | 0.536
35 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980753 | 980753 | 0 | 0 | 0 | 981363 | 983371 | -2008 | 2008000 | 2.008
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 978753 | 979676 | -923 | 615332.718 | 0.61533 | 977173 | 977684 | -511 | 340666.326 | 0.34067
37 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 991678 | 992352 | -674 | 1685000 | 1.685 | 481 | 481 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3763 | 3763 | 0 | 0 | 0 | 1989 | 1978 | 11 | -22000 | -0.022
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 555 | 555 | 0 | 0 | 0 | 1042 | 1035 | 7 | -14000 | -0.014
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929904 | 929988 | -84 | 84000 | 0.084 | 988727 | 989078 | -351 | 351000 | 0.351
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938269 | 938295 | -26 | 26000 | 0.026 | 992353 | 992720 | -367 | 367000 | 0.367
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30341 | 30289 | 52 | 41600 | 0.0416 | 1670 | 1657 | 13 | 10400 | 0.0104
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 915129 | 915325 | -196 | -156800 | -0.1568 | 999545 | 999560 | -15 | -12000 | -0.012
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988493 | 988519 | -26 | -26000 | -0.026 | 35473 | 35750 | -277 | -277000 | -0.277
47 | 66KV R VALLEY-2 | 4864957 | ELSTER | Kvarh(Lead/Lag) | 2000 | 990135 | 990184 | -49 | -98000 | -0.098 | 17310 | 17471 | -161 | -322000 | -0.322 | Check Meter Data
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30249 | 30217 | 32 | -32000 | -0.032 | 973439 | 973431 | 8 | -8000 | -0.008
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16463 | 16507 | -44 | 44000 | 0.044 | 988560 | 988831 | -271 | 271000 | 0.271
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 20836 | 20818 | 18 | 1800 | 0.0018 | 19825 | 19580 | 245 | 24500 | 0.0245
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 9450 | 9472 | -22 | -2200 | -0.0022 | 61354 | 61360 | -6 | -600 | -0.0006
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 917919 | 918105 | -186 | -186000 | -0.186 | 991937 | 991939 | -2 | -2000 | -0.002
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 1524 | 1446 | 78 | 5850 | 0.00585 | 5983 | 5077 | 906 | 67950 | 0.06795
55 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 115 | 59 | 56 | 5600 | 0.0056 | 842 | 323 | 519 | 51900 | 0.0519
PEERGARHI
56 | 33KV VISHAL (L-3) | 5269779 | ELSTER | Kvarh(Lead/Lag) | 1000 | 65 | 65 | 0 | 0 | 0 | 690 | 602 | 88 | 88000 | 0.088
|  | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999950 | 1000000 | -50 | -50000 | -0.05 | w.e.f 14/08/2015
57 | 33KV (LINE - 4) | 5269789 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2 | 2 | 0 | 0 | 0 | 2458 | 2456 | 2 | 4000 | 0.004
|  | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 82 | 82000 | 0.082 | w.e.f 03/08/2015
58 | 33KV UDYOG NAGAR(L-5) | 5269782 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999972 | 999972 | 0 | 0 | 0 | 261 | 261 | 0 | 0 | 0
|  | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999995 | 1000000 | -5 | -5000 | -0.005 | 30 | 0 | 30 | 30000 | 0.03 | w.e.f 03/08/2015
59 | 33KV MADIPUR(L-6) | 5269784 | ELSTER | Kvarh(Lead/Lag) | 2000 | 5662 | 5662 | 0 | 0 | 0 | 8984 | 8980 | 4 | 8000 | 0.008
|  | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 337 | 0 | 337 | 337000 | 0.337 | w.e.f 03/08/2015
60 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
61 | PASCHIM PURI - 2(L-8) | 5269777 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2794 | 2794 | 0 | 0 | 0 | 643 | 625 | 18 | 36000 | 0.036
|  | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 9 | 9000 | 0.009 | w.e.f 14/08/2015
62 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | PEERGARHI - 2(L-10) | 5269780 | ELSTER | Kvarh(Lead/Lag) | 1000 | 220 | 218 | 2 | 2000 | 0.002 | 131 | 123 | 8 | 8000 | 0.008
|  | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3 | 0 | 3 | 3000 | 0.003 | 10 | 0 | 10 | 10000 | 0.01 | w.e.f 14/08/2015
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.0345 |  |  |  |  | 6.7912
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 83639 | 77333 | 6306 | -630600 | -0.6306 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 97842 | 97980 | -138 | 13800 | 0.0138 | 1179 | 1274 | -95 | 9500 | 0.0095
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 149536 | 149367 | 169 | -16900 | -0.0169 | 15336 | 13249 | 2087 | -208700 | -0.2087
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996175 | 996176 | -1 | 100 | 0.0001 | 999857 | 999787 | 70 | -7000 | -0.007
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4674 | 4443 | 231 | -462000 | -0.462 | 73932 | 73879 | 53 | -106000 | -0.106 | MF Changed 1000 to 2000
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14681 | 14855 | -174 | 174000 | 0.174 | 286 | 294 | -8 | 8000 | 0.008
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905715 | 905660 | 55 | -27500 | -0.0275 | 56244 | 55631 | 613 | -306500 | -0.3065
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 769 | 1263 | -494 | 197600 | 0.1976 | 2929 | 2956 | -27 | 10800 | 0.0108
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 75714 | 75583 | 131 | -13100 | -0.0131 | 68059 | 67635 | 424 | -42400 | -0.0424
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 80378 | 79902 | 476 | -47600 | -0.0476 | 66604 | 66274 | 330 | -33000 | -0.033
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 9850 | 8829 | 1021 | -102100 | -0.1021 | 8725 | 7105 | 1620 | -162000 | -0.162
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) |  | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987102 | 987222 | -120 | -20000 | -0.02 | 993179 | 993179 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 345772 | 344011 | 1761 | -176100 | -0.1761 | 49564 | 49351 | 213 | -21300 | -0.0213
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3976 | 3957 | 19 | -1900 | -0.0019 | 23046 | 22892 | 154 | -15400 | -0.0154
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 173146 | 173282 | -136 | 17000 | 0.017 | 261196 | 261314 | -118 | 14750 | 0.01475
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9232 | 9227 | 5 | -500 | -0.0005 | 31867 | 30558 | 1309 | -130900 | -0.1309
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11053 | 11052 | 1 | -100 | -0.0001 | 63439 | 62227 | 1212 | -121200 | -0.1212
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 18947 | 18649 | 298 | -29800 | -0.0298 | 65673 | 65321 | 352 | -35200 | -0.0352
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 7644 | 7530 | 114 | -11400 | -0.0114 | 5867 | 5509 | 358 | -35800 | -0.0358
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17219 | 17205 | 14 | -1400 | -0.0014 | 20758 | 20458 | 300 | -30000 | -0.03
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 995194 | 995238 | -44 | 1955.36 | 0.0019554 | 683 | 591 | 92 | -4088.48 | -0.0040885
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995596 | 995596 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.1365 |  |  |  |  | -1.2164
AUGUST-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.0345 |  |  |  |  | 6.7912
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.1365 |  |  |  |  | -1.2164
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.11255 |  |  |  |  | 0.087438
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0413 |  |  |  |  | -0.2244
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 1.9692 |  |  |  |  | 5.4378
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.9692 | (REACTIVE MUs) |  |  |  | 5.4378 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.073131 | (REACTIVE MUs) |  |  |  | -1.6501 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.0424 | (REACTIVE MUs) |  |  |  | 3.7877 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 51674 | 51646 | 28 | 5600 | 0.0056 | 80550 | 79991 | 559 | 111800 | 0.1118
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73728 | 73736 | -8 | -800 | -0.0008 | 140114 | 140212 | -98 | -9800 | -0.0098
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 978323 | 978323 | 0 | 0 | 0 | 997822 | 998322 | -500 | -100000 | -0.1
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 80716 | 80689 | 27 | 5400 | 0.0054 | 99376 | 98436 | 940 | 188000 | 0.188
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 11529 | 11524 | 5 | 4000 | 0.004 | 6580 | 5997 | 583 | 466400 | 0.4664
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13988 | 13985 | 3 | 6000 | 0.006 | 2807 | 2693 | 114 | 228000 | 0.228
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980639 | 980639 | 0 | 0 | 0 | 989913 | 990092 | -179 | -143200 | -0.1432
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 979083 | 979084 | -1 | -800 | -0.0008 | 984625 | 985372 | -747 | -597600 | -0.5976
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 988217 | 988217 | 0 | 0 | 0 | 993113 | 993517 | -404 | -323200 | -0.3232
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 988901 | 988905 | -4 | 0 | 0 | 994725 | 994870 | -145 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000256 | 999679 | 577 | 57700 | 0.0577 | 397540 | 396943 | 597 | 59700 | 0.0597
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 995627 | 997372 | -1745 | -130875 | -0.13087 | 3266 | 3313 | -47 | -3525 | -0.003525
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 20047 | 18941 | 1106 | 110600 | 0.1106 | 377127 | 376669 | 458 | 45800 | 0.0458
14 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 270 | 863 | -593 | -59300 | -0.0593 | 364077 | 364093 | -16 | -1600 | -0.0016
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995356 | 995645 | -289 | -28900 | -0.0289 | 315250 | 314956 | 294 | 29400 | 0.0294
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 194 | 634 | -440 | -44000 | -0.044 | 194526 | 194552 | -26 | -2600 | -0.0026
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 10671 | 10884 | -213 | -21300 | -0.0213 | 258417 | 258431 | -14 | -1400 | -0.0014
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 63007 | 60090 | 2917 | 291700 | 0.2917 | 714070 | 713870 | 200 | 20000 | 0.02
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 96049 | 93979 | 2070 | 2277000 | 2.277
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1129 | 1094 | 35 | 35000 | 0.035 | 42102 | 41616 | 486 | 486000 | 0.486
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 151365 | 151635 | -270 | -297000 | -0.297
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3593 | 3555 | 38 | 38000 | 0.038 | 55900 | 55225 | 675 | 675000 | 0.675
[10 empty] | 0.073 |  |  |  |  | 3.141
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 4674 | 4443 | 231 | 462000 | 0.462 | 73932 | 73879 | 53 | 106000 | 0.106 | MF Changed 1000 to 2000
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14681 | 14855 | -174 | -174000 | -0.174 | 286 | 294 | -8 | -8000 | -0.008
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905715 | 905660 | 55 | 27500 | 0.0275 | 56244 | 55631 | 613 | 306500 | 0.3065
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 769 | 1263 | -494 | -197600 | -0.1976 | 2929 | 2956 | -27 | -10800 | -0.0108
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987102 | 987222 | -120 | 20000 | 0.02 | 993179 | 993179 | 0 | 0 | 0
AUGUST-2015
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963800 | 964159 | -359 | 359000 | 0.359 | 973505 | 974120 | -615 | 615000 | 0.615
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999195 | 999541 | -346 | 346000 | 0.346 | 997583 | 998164 | -581 | 581000 | 0.581
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971833 | 972181 | -348 | 348000 | 0.348 | 981851 | 982388 | -537 | 537000 | 0.537
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987078 | 987424 | -346 | 346000 | 0.346 | 993654 | 994199 | -545 | 545000 | 0.545
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 345772 | 344011 | 1761 | 176100 | 0.1761 | 49564 | 49351 | 213 | 21300 | 0.0213
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3976 | 3957 | 19 | 1900 | 0.0019 | 23046 | 22892 | 154 | 15400 | 0.0154
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 75714 | 75583 | 131 | 13100 | 0.0131 | 68059 | 67635 | 424 | 42400 | 0.0424
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 80378 | 79902 | 476 | 47600 | 0.0476 | 66604 | 66274 | 330 | 33000 | 0.033
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 9850 | 8829 | 1021 | 102100 | 0.1021 | 8725 | 7105 | 1620 | 162000 | 0.162
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 83639 | 77333 | 6306 | 630600 | 0.6306 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 1524 | 1446 | 78 | -5850 | -0.00585 | 5983 | 5077 | 906 | -67950 | -0.06795
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 115 | 59 | 56 | -5600 | -0.0056 | 842 | 323 | 519 | -51900 | -0.0519
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.7649 |  |  |  |  | 5.9331
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.7649 |  |  |  |  | 5.9331
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0094854 |  |  |  |  | -0.21402
| TOTAL ENERGY TO NDMC | [8 empty] | 2.7744 |  |  |  |  | 5.7191

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2416 | 2416 | 0 | 0 | 0 | 30122 | 29753 | 369 | 369000 | 0.369
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1482 | 1482 | 0 | 0 | 0 | 31611 | 31215 | 396 | 396000 | 0.396
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3919 | 3919 | 0 | 0 | 0 | 38748 | 38247 | 501 | 501000 | 0.501
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 3 | 3 | 0 | 0 | 0 | 9224 | 7895 | 1329 | 177199.557 | 0.1772
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5327 | 5327 | 0 | 0 | 0 | 11023 | 11023 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12358 | 12358 | 0 | 0 | 0 | 60036 | 59584 | 452 | 226000 | 0.226
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996175 | 996176 | -1 | -100 | -0.0001 | 999857 | 999787 | 70 | 7000 | 0.007
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0001 |  |  |  |  | 1.6762
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 54009 | 53621 | 388 | 38800 | 0.0388 | 79556 | 78802 | 754 | 75400 | 0.0754
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13217 | 13217 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 52316 | 52291 | 25 | 2500 | 0.0025 | 79090 | 77600 | 1490 | 149000 | 0.149
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9375 | 9375 | 0 | 0 | 0 | 3105 | 3093 | 12 | 1200 | 0.0012
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0413 |  |  |  |  | 0.2244
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0413 |  |  |  |  | 0.2244
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0001 |  |  |  |  | 1.6762
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0412 |  |  |  |  | 1.9006
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0412 | (REACTIVE MUs) |  |  |  | 1.9006 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0013087 | (REACTIVE MUs) |  |  |  | -0.029527 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.042509 | (REACTIVE MUs) |  |  |  | 1.8711 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 13989 | 14187 | -198 | -19800 | -0.0198 | 2363 | 2384 | -21 | -2100 | -0.0021
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 9112 | 8799 | 313 | 31300 | 0.0313 | 999387 | 999154 | 233 | 23300 | 0.0233
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 308369 | 308244 | 125 | 12500 | 0.0125 | 103733 | 103365 | 368 | 36800 | 0.0368
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40845 | 40881 | -36 | -33750 | -0.03375 | 19190 | 19197 | -7 | -6562.5 | -0.0065625
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 982844 | 983008 | -164 | 82000 | 0.082 | 909081 | 909137 | -56 | 28000 | 0.028
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 988330 | 988386 | -56 | 28000 | 0.028 | 976518 | 976528 | -10 | 5000 | 0.005
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 68 | 41 | 12300 | 0.0123 | 30 | 20 | 10 | 3000 | 0.003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.11255 |  |  |  |  | 0.087438
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 996821 | 996978 | -157 | -31400 | -0.0314 | 999836 | 999887 | -51 | -10200 | -0.0102
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 939956 | 940301 | -345 | -129375 | -0.12937 | 998518 | 998570 | -52 | -19500 | -0.0195
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.16078 |  |  |  |  | -0.0297
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 274640 | 274419 | 221 | 44200 | 0.0442 | 265796 | 265838 | -42 | -8400 | -0.0084
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 126806 | 126762 | 44 | 8800 | 0.0088 | 42748 | 42745 | 3 | 600 | 0.0006
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 211611 | 211519 | 92 | 9200 | 0.0092 | 74822 | 74848 | -26 | -2600 | -0.0026
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 609 | 588 | 21 | 21000 | 0.021 | 25 | 24 | 1 | 1000 | 0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997809 | 0 | 0 | 0 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998853 | 998853 | 0 | 0 | 0 | 996283 | 996529 | -246 | -230625 | -0.23062
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999944 | 999937 | 7 | -17500 | -0.0175 | 3077 | 3078 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 68 | 41 | -12300 | -0.0123 | 30 | 20 | 10 | -3000 | -0.003
| TOTAL NDPL | [8 empty] | 0.0534 |  |  |  |  | -0.24052
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.11255 |  |  |  |  | 0.087438
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.16078 |  |  |  |  | -0.0297
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.0534 |  |  |  |  | -0.24052

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 17842 | 17662 | 180 | 360000 | 0.36 | 1418 | 1288 | 130 | 260000 | 0.26
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 999850 | 999874 | -24 | -120000 | -0.12 | 46 | 106 | -60 | -300000 | -0.3
[7 empty] | NET REACTIVE ENERGY |  |  | 0.24 |  | NET REACTIVE ENERGY |  |  | -0.04
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 991859 | 991860 | -1 | -1000 | -0.001 | 37297 | 38125 | -828 | -828000 | -0.828
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 994961 | 994942 | 19 | 19000 | 0.019 | 992958 | 993766 | -808 | -808000 | -0.808
[7 empty] | NET REACTIVE ENERGY |  |  | 0.018 |  | NET REACTIVE ENERGY |  |  | -1.636
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.258 |  |  |  |  | -1.676
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.1537 |  |  |  |  | -5.4654
[7 empty] | NDMC = |  |  | 0.073 |  |  |  |  | 3.141
MES =
[7 empty] | 2)TOTAL |  |  | -0.0807 |  |  |  |  | -2.3245
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.1773 |  |  |  |  | -4.0004
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.0134 | % |  |  | 0.051441 |  |  |  |  | -1.1607
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.247 | % |  |  | 0.073131 |  |  |  |  | -1.6501
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.6517 | % |  |  | 0.041934 |  |  |  |  | -0.94617
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3499 | % |  |  | 0.0094854 |  |  |  |  | -0.21402
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7381 | % |  |  | 0.0013087 |  |  |  |  | -0.029527
Note :Sharing taken from wk-21 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st August-2015 TO 1st September-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.0111 |  | 0.51651
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 2.0424 | + | 3.7877
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.8816 | + | 5.9444
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.7744 | + | 5.7191
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.042509 | + | 1.8711
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2015 | INTIAL READING 01/08/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952723 | 952676 | 47 | 70500 | 0.0705 | 979234 | 979319 | -85 | -127500 | -0.1275
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991494 | 991498 | -4 | -6000 | -0.006 | 993668 | 993927 | -259 | -388500 | -0.3885
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 944157 | 946207 | -2050 | -1537500 | -1.5375 | 999307 | 999319 | -12 | -9000 | -0.009
[8 empty] | NET REACTIVE ENERGY |  | -1.473 |  |  | NET REACTIVE ENERGY |  | -0.525
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 31629 | 32121 | -492 | -2460000 | -2.46
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999998 | 999998 | 0 | 0 | 0 | 984110 | 988995 | -4885 | -4885000 | -4.885
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977083 | 977472 | -389 | -389000 | -0.389 | 991183 | 991158 | 25 | 25000 | 0.025
[8 empty] | NET REACTIVE ENERGY |  | -0.389 |  |  | NET REACTIVE ENERGY |  | -7.32