## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983662 | 984090 | -428 | 428000 | 0.428 | 999213 | 999213 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21857 | 19449 | 2408 | -2408000 | -2.408 | 999499 | 999499 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948686 | 949307 | -621 | 621000 | 0.621 | 995658 | 995658 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999734 | 999924 | -190 | 190000 | 0.19 | 997446 | 997474 | -28 | 28000 | 0.028
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987414 | 987990 | -576 | 576000 | 0.576 | 999574 | 999574 | 0 | 0 | 0
[5 empty] | -1000 | 989992 | 990700 | -708 | 708000 | 0.708
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24613 | 24469 | 144 | -144000 | -0.144 | 16858 | 16860 | -2 | 2000 | 0.002
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 481 | 367 | 114 | -114000 | -0.114 | 998916 | 998918 | -2 | 2000 | 0.002
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999041 | 999143 | -102 | 102000 | 0.102 | 998146 | 998160 | -14 | 14000 | 0.014
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 988305 | 988902 | -597 | 298500 | 0.2985 | 817980 | 817998 | -18 | 9000 | 0.009
[10 empty] | 0.132 | [5 empty] | Assessment
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999272 | 999276 | -4 | 4000 | 0.004 | 999343 | 999343 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3630 | 1872 | 1758 | -1758000 | -1.758 | 999453 | 999454 | -1 | 1000 | 0.001
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999166 | 998753 | 413 | -413000 | -0.413 | 998297 | 998297 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 892370 | 899982 | -7612 | -7612000 | -7.612 | 999981 | 999981 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979905 | 980230 | -325 | 325000 | 0.325 | 16732 | 16732 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9014 | 8487 | 527 | -527000 | -0.527 | 20500 | 20500 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20072 | 18772 | 1300 | -1300000 | -1.3 | 274 | 274 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 1 | -1 | -1000 | -0.001 | 996002 | 996344 | -342 | -342000 | -0.342
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 759 | 772 | -13 | -13000 | -0.013 | 24832 | 24852 | -20 | -20000 | -0.02
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1004 | 942 | 62 | 31000 | 0.031 | 4529 | 4408 | 121 | 60500 | 0.0605
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 133633 | 132729 | 904 | 90400 | 0.0904 | 290397 | 290121 | 276 | 27600 | 0.0276
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996134 | 996182 | -48 | -48000 | -0.048 | 986226 | 986269 | -43 | -43000 | -0.043
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 187 | 190 | -3 | -3000 | -0.003 | 997902 | 997968 | -66 | -66000 | -0.066
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 112213 | 112293 | -80 | -8000 | -0.008 | 33182 | 33182 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 622176 | 624130 | -1954 | -1954000 | -1.954 | 795906 | 795906 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 605582 | 609005 | -3423 | -3423000 | -3.423 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 940 | 722 | 218 | 87200 | 0.0872 | 998532 | 998532 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 6090 | 5983 | 107 | 53500 | 0.0535 | 1765 | 1764 | 1 | 500 | 0.0005
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999529 | 999547 | -18 | 18000 | 0.018 | 997545 | 997545 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 1001295 | 999207 | 2088 | -1044000 | -1.044 | 999735 | 999735 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14106 | 12921 | 1185 | -1185000 | -1.185 | 999644 | 999644 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10461 | 8181 | 2280 | -4560000 | -4.56 | 101 | 101 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28985 | 26872 | 2113 | -2113000 | -2.113 | 998932 | 998932 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57369 | 53281 | 4088 | -4088000 | -4.088 | 2425 | 2425 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14018 | 12573 | 1445 | -1445000 | -1.445 | 999323 | 999323 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7041 | 5455 | 1586 | -1586000 | -1.586 | 784 | 784 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991413 | 990764 | 649 | -649000 | -0.649 | 998728 | 998728 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14321 | 13637 | 684 | -684000 | -0.684 | 1380 | 1380 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1938 | 1988 | -50 | -50000 | -0.05 | 28235 | 28235 | 0 | 0 | 0
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4001 | 535 | 3466 | 346600 | 0.3466 | 26254 | 26340 | -86 | -8600 | -0.0086
| NDPL(+) continue | [14 empty] | NOVEMBER -2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1355 | 1360 | -5 | -5000 | -0.005 | 61307 | 61309 | -2 | -2000 | -0.002
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 997250 | 996643 | 607 | 252912.62 | 0.25291 | 999090 | 999089 | 1 | 416.66 | 0.00041666
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9051 | 9122 | -71 | -7100 | -0.0071 | 37580 | 37594 | -14 | -1400 | -0.0014
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11967 | 12182 | -215 | -21500 | -0.0215 | 77834 | 77745 | 89 | 8900 | 0.0089
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1286 | 1060 | 226 | 22600 | 0.0226 | 18480 | 18326 | 154 | 15400 | 0.0154
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 289 | 262 | 27 | 35991 | 0.035991 | 220 | 218 | 2 | 2666 | 0.002666
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 999996 | 1000000 | -4 | -400 | -0.0004 | 999999 | 1000000 | -1 | -100 | -0.0001
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999646 | 999097 | 549 | 54900 | 0.0549 | 16842 | 16765 | 77 | 7700 | 0.0077
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1496 | 1318 | 178 | 29665.48 | 0.029665 | 1880 | 1857 | 23 | 3833.18 | 0.0038332
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999885 | 999920 | -35 | -17500 | -0.0175 | 552 | 552 | 0 | 0 | 0
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 944 | 816 | 128 | 85333.76 | 0.085334 | 125 | 125 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4010 | 3846 | 164 | 109333.3333 | 0.10933 | 1431 | 1431 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997289 | 997343 | -54 | -5400 | -0.0054 | 2607 | 2614 | -7 | -700 | -0.0007
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 256 | 253 | 3 | 300 | 0.0003 | 39 | 40 | -1 | -100 | -0.0001
[10 empty] | -0.0253 |  |  |  |  | -0.004 | Assessment for Breakfast ckt
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 999991 | 1000000 | -9 | -900 | -0.0009 | 999997 | 1000000 | -3 | -300 | -0.0003
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
62 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1928 | 1913 | 15 | 1500 | 0.0015 | 9448 | 9285 | 163 | 16300 | 0.0163
63 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 1432 | 1040 | 392 | 39200 | 0.0392 | 198 | 198 | 0 | 0 | 0
64 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 15086 | 14600 | 486 | 48600 | 0.0486 | 5340 | 5340 | 0 | 0 | 0
KASHMIRI GATE
65 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 8819 | 6205 | 2614 | 261400 | 0.2614 | 1781 | 1781 | 0 | 0 | 0
66 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25435 | 25337 | 98 | 9800 | 0.0098 | 51316 | 51316 | 0 | 0 | 0
67 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 463 | 456 | 7 | -2100 | -0.0021
REWARI LINE (11KV TRANSFER OF ENERGY)
68 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
69 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999888 | 999887 | 1 | 400 | 0.0004 | 999907 | 999928 | -21 | -8400 | -0.0084
MUNDKA
70 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 27 | 597 | -570 | -456000 | -0.456 | 999998 | 999998 | 0 | 0 | 0
71 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 633 | 748 | -115 | -230000 | -0.23 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
72 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999526 | 999624 | -98 | -24500 | -0.0245 | 128 | 128 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -32.9605 |  |  |  |  | -0.29888
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 9468 | 9468 | 0 | 0 | 0 | 41877 | 41382 | 495 | -49500 | -0.0495
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 40 | 36 | 4 | -3200 | -0.0032 | 1579 | 1520 | 59 | -47200 | -0.0472
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 428 | 285 | 143 | -143000 | -0.143 | 390 | 390 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 1871 | 1097 | 774 | -309600 | -0.3096 | 9 | 9 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 966433 | 968021 | -1588 | 79400 | 0.0794 | 1517 | 1517 | 0 | 0 | 0 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 1 | -1 | 1000 | 0.001 | 24 | 10 | 14 | -14000 | -0.014
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 982279 | 985303 | -3024 | 2419200 | 2.4192 | 999017 | 999017 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.0438 |  |  |  |  | -0.1107
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -32.9605 |  |  |  |  | -0.29888
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.0438 |  |  |  |  | -0.1107
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 3.6079 |  |  |  |  | 0.01215
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -27.3088 |  |  |  |  | -0.39743
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -27.3088 | (REACTIVE MUs) |  |  |  | -0.39743 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.90794 | (REACTIVE MUs) |  |  |  | -0.53179 | (REACTIVE MUs)
[9 empty] | TOTAL | -26.4008 | (REACTIVE MUs) |  |  |  | -0.92922 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER -2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 12353 | 12337 | 16 | 1600 | 0.0016 | 998773 | 997697 | 1076 | 107600 | 0.1076
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8120 | 8118 | 2 | 600 | 0.0006 | 7446 | 6070 | 1376 | 412800 | 0.4128
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 27366 | 27127 | 239 | 17925 | 0.017925 | 190954 | 177105 | 13849 | 1038675 | 1.0387
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999058 | 999073 | -15 | -4500 | -0.0045 | 5922 | 6009 | -87 | -26100 | -0.0261
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1754 | 1758 | -4 | -5333.2 | -0.0053332 | 3056 | 3045 | 11 | 14666.3 | 0.014666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34961 | 35018 | -57 | -5700 | -0.0057 | 158833 | 158906 | -73 | -7300 | -0.0073
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 12424 | 11907 | 517 | 38775 | 0.038775 | 42592 | 39303 | 3289 | 246675 | 0.24668
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988136 | 988514 | -378 | -378000 | -0.378 | 2261 | 2261 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996613 | 996844 | -231 | -231000 | -0.231 | 3885 | 3885 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998906 | 999120 | -214 | -214000 | -0.214 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994479 | 995003 | -524 | -524000 | -0.524 | 1455 | 1455 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993447 | 993453 | -6 | -6000 | -0.006 | 5640 | 5609 | 31 | 31000 | 0.031
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997306 | 997308 | -2 | -2000 | -0.002 | 998747 | 998739 | 8 | 8000 | 0.008
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998962 | 999111 | -149 | -149000 | -0.149 | 999864 | 999864 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999104 | 999111 | -7 | -5600 | -0.0056 | 2398 | 2342 | 56 | 44800 | 0.0448
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999362 | 999623 | -261 | -261000 | -0.261 | 32997 | 32997 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1719 | 1738 | -19 | -19000 | -0.019 | 9728 | 9728 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2524 | 2576 | -52 | -52000 | -0.052 | 17083 | 17083 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 991295 | 992859 | -1564 | -1955000 | -1.955 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 976423 | 977891 | -1468 | -1614800 | -1.6148
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970237 | 971455 | -1218 | -1218000 | -1.218 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.173 |  |  |  |  | -1.6148
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998923 | 999988 | -1065 | 1065000 | 1.065 | 999978 | 999978 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998567 | 999762 | -1195 | 1195000 | 1.195 | 999973 | 999973 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 463 | 456 | 7 | 2100 | 0.0021
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999981 | 1000007 | -26 | -26000 | -0.026 | 6820 | 6767 | 53 | 53000 | 0.053
PARK STREET
26 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 46764 | 30214 | 16550 | -8275000 | -8.275 | 654 | 654 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12768 | 11880 | 888 | -888000 | -0.888 | 999923 | 999923 | 0 | 0 | 0
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990673 | 991849 | -1176 | 1176000 | 1.176 | 991899 | 991899 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994525 | 996480 | -1955 | 1955000 | 1.955 | 998824 | 998824 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997384 | 997820 | -436 | 436000 | 0.436 | 999939 | 999939 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998639 | 998851 | -212 | 212000 | 0.212 | 186 | 186 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992717 | 993720 | -1003 | 1003000 | 1.003 | 999659 | 999659 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000428 | 1000285 | 143 | 143000 | 0.143 | 390 | 390 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 1871 | 1097 | 774 | 309600 | 0.3096 | 9 | 9 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998105 | 998066 | 39 | 39000 | 0.039 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 151245 | 151224 | 21 | 21000 | 0.021 | 54270 | 54270 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983824 | 984903 | -1079 | 1079000 | 1.079 | 999984 | 999984 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997859 | 998930 | -1071 | 1071000 | 1.071 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -6.6056 |  |  |  |  | 0.31112
| (A) NET ENERGY TO CENTRAL | [8 empty] | -6.6056 |  |  |  |  | 0.31112
NOVEMBER -2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977357 | 977794 | -437 | 437000 | 0.437 | 879040 | 879040 | 0 | 0 | 0
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992400 | 992347 | 53 | -53000 | -0.053 | 962312 | 962312 | 0 | 0 | 0
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997724 | 998452 | -728 | 728000 | 0.728 | 998957 | 998957 | 0 | 0 | 0 | w.e.f 28/07/17
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 987941 | 989042 | -1101 | 2202000 | 2.202 | 972206 | 972206 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996704 | 996752 | -48 | 48000 | 0.048 | 999119 | 999119 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992538 | 992676 | -138 | 138000 | 0.138 | 998561 | 998561 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3006 | 3522 | -516 | 516000 | 0.516 | 999636 | 999636 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982815 | 982691 | 124 | -124000 | -0.124 | 937384 | 937384 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985507 | 986142 | -635 | 635000 | 0.635 | 989833 | 989833 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977060 | 977464 | -404 | 404000 | 0.404 | 963301 | 963301 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958856 | 959079 | -223 | 223000 | 0.223 | 829374 | 829374 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17048 | 15660 | 1388 | -1388000 | -1.388 | 33706 | 33706 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4308 | 3204 | 1104 | -1104000 | -1.104 | 999918 | 999918 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960228 | 960303 | -75 | 75000 | 0.075 | 919598 | 919598 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 2.737 |  |  |  |  | 0
| (B) NET ENERGY TO EAST | [8 empty] | 2.737 |  |  |  |  | 0
NOVEMBER -2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 940 | 722 | 218 | -87200 | -0.0872 | 998532 | 998532 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 6090 | 5983 | 107 | -53500 | -0.0535 | 1765 | 1764 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1973 | 819 | 1154 | -307725.64 | -0.30773 | 524 | 524 | 0 | 0 | 0 | w.e.f 05/07/17
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73890 | 74155 | -265 | 26500 | 0.0265 | 144004 | 144004 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 971091 | 972241 | -1150 | 230000 | 0.23 | 994945 | 994945 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 44452 | 41233 | 3219 | -643800 | -0.6438 | 118468 | 118468 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 17470 | 17163 | 307 | -245600 | -0.2456 | 13864 | 13864 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15291 | 15143 | 148 | -296000 | -0.296 | 4478 | 4478 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 973515 | 974329 | -814 | 651200 | 0.6512 | 986568 | 986568 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 981568 | 983868 | -2300 | 1840000 | 1.84 | 987337 | 987337 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 989152 | 990608 | -1456 | 1164800 | 1.1648 | 993925 | 993925 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 978153 | 979467 | -1314 | 1051200 | 1.0512 | 994513 | 994513 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976299 | 978583 | -2284 | 2284000 | 2.284 | 32283 | 32283 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1938 | 1988 | -50 | 50000 | 0.05 | 28235 | 28235 | 0 | 0 | 0
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 4001 | 535 | 3466 | -346600 | -0.3466 | 26254 | 26340 | -86 | 8600 | 0.0086
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1355 | 1360 | -5 | 5000 | 0.005 | 61307 | 61309 | -2 | 2000 | 0.002
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1496 | 1318 | 178 | -29665.48 | -0.029665 | 1880 | 1857 | 23 | -3833.18 | -0.0038332
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999885 | 999920 | -35 | 17500 | 0.0175 | 552 | 552 | 0 | 0 | 0
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 944 | 816 | 128 | -85333.76 | -0.085334 | 125 | 125 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4010 | 3846 | 164 | -109333.3333 | -0.10933 | 1431 | 1431 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 8819 | 6205 | 2614 | -261400 | -0.2614 | 1781 | 1781 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25435 | 25337 | 98 | -9800 | -0.0098 | 51316 | 51316 | 0 | 0 | 0
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997289 | 997343 | -54 | 5400 | 0.0054 | 2607 | 2614 | -7 | 700 | 0.0007
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 256 | 253 | 3 | -300 | -0.0003 | 39 | 40 | -1 | 100 | 0.0001 | w.e.f 12/10/17
[10 empty] | 0.0253 |  |  |  |  | 0.004 | Assessment for breakfast ckt
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 999991 | 1000000 | -9 | 900 | 0.0009 | 999997 | 1000000 | -3 | 300 | 0.0003
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1928 | 1913 | 15 | -1500 | -0.0015 | 9448 | 9285 | 163 | -16300 | -0.0163
30 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 1432 | 1040 | 392 | -39200 | -0.0392 | 198 | 198 | 0 | 0 | 0
31 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 15086 | 14600 | 486 | -48600 | -0.0486 | 5340 | 5340 | 0 | 0 | 0
[10 empty] | 4.7862 |  |  |  |  | -0.0049332
NOVEMBER -2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -6.6056 |  |  |  |  | 0.31112
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 4.7862 |  |  |  |  | -0.0049332
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.67353 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.4929 |  |  |  |  | 0.30618
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 2.737 |  |  |  |  | 0
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.24408 |  |  |  |  | 0.30618
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.24408 | (REACTIVE MUs) |  |  |  | 0.30618 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.60947 | (REACTIVE MUs) |  |  |  | -0.35697 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.85356 | (REACTIVE MUs) |  |  |  | -0.050791 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999550 | 999553 | -3 | -15000 | -0.015 | 999474 | 999443 | 31 | 155000 | 0.155
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984750 | 984753 | -3 | -3999.99 | -0.004 | 671222 | 671377 | -155 | -206666.15 | -0.20667
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 863 | 874 | -11 | -4400 | -0.0044 | 36683 | 35557 | 1126 | 450400 | 0.4504
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16984 | 17148 | -164 | -164000 | -0.164 | 1000412 | 996856 | 3556 | 3556000 | 3.556
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18581 | 18517 | 64 | 6400 | 0.0064 | 19835 | 18814 | 1021 | 102100 | 0.1021
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 728926 | 729133 | -207 | -15525 | -0.015525 | 997879 | 999383 | -1504 | -112800 | -0.1128
8 | BAY-9 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 75 | 996855 | 996893 | -38 | -2850 | -0.00285 | 4842 | 4883 | -41 | -3075 | -0.003075 | Check Meter data
|  | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 31 | 0 | 31 | 2325 | 0.002325 | 499 | 0 | 499 | 37425 | 0.037425 | w.e.f 06/11/17
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997667 | 997667 | 0 | 0 | 0 | 995693 | 995773 | -80 | -72000 | -0.072
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1711 | 1888 | -177 | 177000 | 0.177 | 997832 | 997833 | -1 | 1000 | 0.001
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997839 | 997659 | 180 | -360000 | -0.36 | 993001 | 993003 | -2 | 4000 | 0.004
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6866 | 3889 | 2977 | -2977000 | -2.977 | 999403 | 999403 | 0 | 0 | 0
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965216 | 963988 | 1228 | -1228000 | -1.228 | 996358 | 996359 | -1 | 1000 | 0.001
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3075 | 972 | 2103 | -2103000 | -2.103 | 999849 | 999849 | 0 | 0 | 0
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 4202 | 1411 | 2791 | -1395500 | -1.3955 | 129 | 129 | 0 | 0 | 0
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1743 | 545 | 1198 | -2396000 | -2.396 | 999044 | 999044 | 0 | 0 | 0
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998409 | 999451 | -1042 | 1042000 | 1.042 | 902657 | 902657 | 0 | 0 | 0
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/10/17
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/10/17
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1165 | 1473 | -308 | 308000 | 0.308 | 984974 | 985047 | -73 | 73000 | 0.073
22 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997476 | 997720 | -244 | 244000 | 0.244 | 983732 | 983816 | -84 | 84000 | 0.084
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996314 | 997070 | -756 | 756000 | 0.756 | 997357 | 997371 | -14 | 14000 | 0.014
24 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14181 | 14222 | -41 | 41000 | 0.041 | 996718 | 996767 | -49 | 49000 | 0.049
IMPORT
MANGOLPURI
25 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 40 | 36 | 4 | 3200 | 0.0032 | 1579 | 1520 | 59 | 47200 | 0.0472
LODHI ROAD
26 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979478 | 979747 | -269 | 269000 | 0.269 | 978303 | 978303 | 0 | 0 | 0
27 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
28 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976448 | 977854 | -1406 | 1406000 | 1.406 | 999323 | 999323 | 0 | 0 | 0 | w.e.f 21/08/17
OKHLA
29 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994793 | 994687 | 106 | -106000 | -0.106 | 988808 | 988819 | -11 | 11000 | 0.011
30 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991126 | 990782 | 344 | -344000 | -0.344 | 928185 | 928204 | -19 | 19000 | 0.019
31 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4601 | 3857 | 744 | -744000 | -0.744 | 33392 | 33392 | 0 | 0 | 0
32 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997061 | 997052 | 9 | -9000 | -0.009 | 996142 | 996142 | 0 | 0 | 0
33 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999096 | 999125 | -29 | 29000 | 0.029 | 999732 | 999767 | -35 | 35000 | 0.035
BRPL(+) continue | [14 empty] | NOVEMBER -2017
VASANT KUNJ
34 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6229 | 3983 | 2246 | -2246000 | -2.246 | 999954 | 999954 | 0 | 0 | 0
35 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 9321 | 6405 | 2916 | -1458000 | -1.458 | 998373 | 998374 | -1 | 500 | 0.0005
36 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 26361 | 25339 | 1022 | -2044000 | -2.044 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
37 | Tx.1 | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999440 | 999486 | -46 | 46000 | 0.046 | 999980 | 999994 | -14 | 14000 | 0.014
|  | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73 | 0 | 73 | -73000 | -0.073 | 999997 | 1000000 | -3 | 3000 | 0.003 | w.e.f 21/11/17
38 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994399 | 994399 | 0 | 0 | 0 | 927385 | 927385 | 0 | 0 | 0
39 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999605 | 999566 | 39 | -39000 | -0.039 | 999626 | 999640 | -14 | 14000 | 0.014 | w.e.f
40 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998884 | 999143 | -259 | 518000 | 0.518 | 999132 | 999134 | -2 | 4000 | 0.004
RIDGE VALLEY
41 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969948 | 969089 | 859 | -572666.094 | -0.57267 | 963750 | 963750 | 0 | 0 | 0
42 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1001453 | 998875 | 2578 | -5156000 | -5.156 | 999749 | 999749 | 0 | 0 | 0
DIAL
43 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6147 | 6000 | 147 | -294000 | -0.294 | 2413 | 2413 | 0 | 0 | 0
44 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3030 | 2921 | 109 | -218000 | -0.218 | 1374 | 1374 | 0 | 0 | 0
MASJID MOD
45 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917212 | 917286 | -74 | 74000 | 0.074 | 981215 | 981215 | 0 | 0 | 0
46 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999962 | 1000069 | -107 | 107000 | 0.107 | 996789 | 996789 | 0 | 0 | 0
MUNDKA
47 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
48 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 1329 | 1823 | -494 | -395200 | -0.3952 | 27 | 27 | 0 | 0 | 0
49 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 987977 | 992341 | -4364 | -3491200 | -3.4912 | 999988 | 999988 | 0 | 0 | 0
50 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
51 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1770 | 1764 | 6 | 4800 | 0.0048 | 999795 | 999795 | 0 | 0 | 0
52 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 503 | 531 | -28 | -22400 | -0.0224 | 1 | 1 | 0 | 0 | 0
PARK STREET
53 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976299 | 978583 | -2284 | -2284000 | -2.284 | 32283 | 32283 | 0 | 0 | 0
54 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
55 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39755 | 33228 | 6527 | -6527000 | -6.527 | 27 | 27 | 0 | 0 | 0
56 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11005 | 9802 | 1203 | -1203000 | -1.203 | 998471 | 998471 | 0 | 0 | 0
57 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20804 | 15811 | 4993 | -4993000 | -4.993 | 10 | 10 | 0 | 0 | 0
NARAINA
58 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 9468 | 9468 | 0 | 0 | 0 | 41877 | 41382 | 495 | 49500 | 0.0495
SUDARSHAN PARK
59 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 966433 | 968021 | -1588 | -79400 | -0.0794 | 1517 | 1517 | 0 | 0 | 0
60 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 18929 | 20187 | -1258 | -503200 | -0.5032 | 21169 | 21168 | 1 | 400 | 0.0004
61 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996292 | 996689 | -397 | -158800 | -0.1588 | 34063 | 34063 | 0 | 0 | 0
REWARI LINE
62 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 1 | -1 | -1000 | -0.001 | 24 | 10 | 14 | 14000 | 0.014
KANJAWALA
63 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 982279 | 985303 | -3024 | -2419200 | -2.4192 | 999017 | 999017 | 0 | 0 | 0
Trauma Centre
64 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 272563 | 265615 | 6948 | 694800 | 0.6948 | 7998 | 7998 | 0 | 0 | 0
65 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4666 | 4420 | 246 | 246000 | 0.246 | 338 | 338 | 0 | 0 | 0
A.I.I.M.S.
66 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 9492 | 8916 | 576 | 43200 | 0.0432 | 14524 | 14524 | 0 | 0 | 0
67 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4492 | 4188 | 304 | 30400 | 0.0304 | 5818 | 5818 | 0 | 0 | 0
PEERGARHI
68 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 3684 | 3792 | -108 | -54000 | -0.054 | 2775 | 2775 | 0 | 0 | 0
69 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3930 | 4117 | -187 | -187000 | -0.187 | 4062 | 4062 | 0 | 0 | 0
70 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996599 | 996728 | -129 | -129000 | -0.129 | 1304 | 1304 | 0 | 0 | 0
71 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3617 | 3571 | 46 | 46000 | 0.046 | 6439 | 6439 | 0 | 0 | 0
72 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627 | 600 | 27 | 27000 | 0.027 | 379 | 379 | 0 | 0 | 0
73 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 50269 | 50390 | -121 | -12100 | -0.0121 | 44737 | 44737 | 0 | 0 | 0
[5 empty] | 100 | 15900 | 15939 | -39 | -3900 | -0.0039
74 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1757 | 1672 | 85 | 85000 | 0.085 | 296 | 296 | 0 | 0 | 0
75 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1690 | 1643 | 47 | 47000 | 0.047 | 5888 | 5888 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -40.1792 |  |  |  |  | 4.344
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 187967 | 185177 | 2790 | -279000 | -0.279 | 913602 | 913602 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998105 | 998066 | 39 | -39000 | -0.039 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151245 | 151224 | 21 | -21000 | -0.021 | 54270 | 54270 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 998263 | 996495 | 1768 | -353600 | -0.3536 | 999125 | 999125 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999781 | 1000008 | -227 | 227000 | 0.227 | 11 | 11 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999770 | 1000008 | -238 | 238000 | 0.238 | 742 | 742 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 4446 | 2914 | 1532 | -245120 | -0.24512 | 3771 | 3771 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -1000 | 907368 | 907169 | 199 | -199000 | -0.199 | 62169 | 62169 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997340 | 998425 | -1085 | 1085000 | 1.085 | 999819 | 999819 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 94648 | 92358 | 2290 | -229000 | -0.229 | 71740 | 71740 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 103752 | 103180 | 572 | -57200 | -0.0572 | 72466 | 72466 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 31613 | 28639 | 2974 | -297400 | -0.2974 | 33196 | 33196 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999095 | 999095 | 0 | 0 | 0 | 16668 | 16668 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999868 | 999868 | 0 | 0 | 0 | 999850 | 999850 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 414196 | 408912 | 5284 | -528400 | -0.5284 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4930 | 6198 | -1268 | 126800 | 0.1268 | 26603 | 29912 | -3309 | 330900 | 0.3309
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 997250 | 996643 | 607 | -252912.62 | -0.25291 | 999090 | 999089 | 1 | -416.66 | -0.00041666
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9051 | 9122 | -71 | 7100 | 0.0071 | 37580 | 37594 | -14 | 1400 | 0.0014
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11967 | 12182 | -215 | 21500 | 0.0215 | 77834 | 77745 | 89 | -8900 | -0.0089
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1286 | 1060 | 226 | -22600 | -0.0226 | 18480 | 18326 | 154 | -15400 | -0.0154
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 289 | 262 | 27 | -35991 | -0.035991 | 220 | 218 | 2 | -2666 | -0.002666
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 999996 | 1000000 | -4 | 400 | 0.0004 | 999999 | 1000000 | -1 | 100 | 0.0001
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999646 | 999097 | 549 | -54900 | -0.0549 | 16842 | 16765 | 77 | -7700 | -0.0077
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999888 | 999887 | 1 | -400 | -0.0004 | 999907 | 999928 | -21 | 8400 | 0.0084
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.90972 |  |  |  |  | 0.30572
NOVEMBER -2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -40.1792 |  |  |  |  | 4.344
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.90972 |  |  |  |  | 0.30572
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.56665 |  |  |  |  | 0
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2172 |  |  |  |  | -0.0144
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -40.7395 |  |  |  |  | 4.6353
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -40.7395 | (REACTIVE MUs) |  |  |  | 4.6353 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.0893 | (REACTIVE MUs) |  |  |  | -0.63799 | (REACTIVE MUs)
[9 empty] | TOTAL | -39.6502 | (REACTIVE MUs) |  |  |  | 3.9973 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1973 | 819 | 1154 | 307737.18 | 0.30774 | 524 | 524 | 0 | 0 | 0 | w.e.f 05/07/17
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73890 | 74155 | -265 | -26500 | -0.0265 | 144004 | 144004 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 971091 | 972241 | -1150 | -230000 | -0.23 | 994945 | 994945 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 44452 | 41233 | 3219 | 643800 | 0.6438 | 118468 | 118468 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 17470 | 17163 | 307 | 245600 | 0.2456 | 13864 | 13864 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15291 | 15143 | 148 | 296000 | 0.296 | 4478 | 4478 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 973515 | 974329 | -814 | -651200 | -0.6512 | 986568 | 986568 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 981568 | 983868 | -2300 | -1840000 | -1.84 | 987337 | 987337 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 989152 | 990608 | -1456 | -1164800 | -1.1648 | 993925 | 993925 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 978153 | 979467 | -1314 | -1051200 | -1.0512 | 994513 | 994513 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 998876 | 998967 | -91 | -4550 | -0.00455 | 8921 | 9615 | -694 | -34700 | -0.0347
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 992093 | 992193 | -100 | -7500 | -0.0075 | 14442 | 14343 | 99 | 7425 | 0.007425
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 157 | 142 | 15 | 7500 | 0.0075 | 2233 | 2197 | 36 | 18000 | 0.018
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999102 | 999089 | 13 | 4875 | 0.004875 | 2628 | 2339 | 289 | 108375 | 0.10837
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988767 | 988806 | -39 | -3900 | -0.0039 | 331213 | 331255 | -42 | -4200 | -0.0042
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 65 | 65 | 0 | 0 | 0 | 9613 | 9613 | 0 | 0 | 0
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 2653 | 2715 | -62 | -6200 | -0.0062 | 265455 | 265549 | -94 | -9400 | -0.0094
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 86791 | 86614 | 177 | 17700 | 0.0177 | 739165 | 738382 | 783 | 78300 | 0.0783
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999121 | 999464 | -343 | -343000 | -0.343 | 102070 | 102070 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996963 | 997814 | -851 | -851000 | -0.851 | 45221 | 45221 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995459 | 996727 | -1268 | -1268000 | -1.268 | 143903 | 143903 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5883 | 4282 | 1601 | 1601000 | 1.601 | 59490 | 59490 | 0 | 0 | 0
[10 empty] | -0.861 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999770 | 1000008 | -238 | -238000 | -0.238 | 742 | 742 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 4446 | 2914 | 1532 | 245120 | 0.24512 | 3771 | 3771 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 1000 | 907368 | 907169 | 199 | 199000 | 0.199 | 62169 | 62169 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997340 | 998425 | -1085 | -1085000 | -1.085 | 999819 | 999819 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999095 | 999095 | 0 | 0 | 0 | 16668 | 16668 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999868 | 999868 | 0 | 0 | 0 | 999850 | 999850 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
NOVEMBER -2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929316 | 930949 | -1633 | 1633000 | 1.633 | 970568 | 970568 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 967645 | 970661 | -3016 | 1508000 | 1.508 | 998214 | 998214 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996457 | 996618 | -161 | 322000 | 0.322 | 999721 | 999721 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993827 | 994215 | -388 | 388000 | 0.388 | 999418 | 999418 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 414196 | 408912 | 5284 | 528400 | 0.5284 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4930 | 6198 | -1268 | -126800 | -0.1268 | 26603 | 29912 | -3309 | -330900 | -0.3309
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 94648 | 92358 | 2290 | 229000 | 0.229 | 71740 | 71740 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 103752 | 103180 | 572 | 57200 | 0.0572 | 72466 | 72466 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 31613 | 28639 | 2974 | 297400 | 0.2974 | 33196 | 33196 | 0 | 0 | 0
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 187967 | 185177 | 2790 | 279000 | 0.279 | 913602 | 913602 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 272563 | 265615 | 6948 | -694800 | -0.6948 | 7998 | 7998 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4666 | 4420 | 246 | -246000 | -0.246 | 338 | 338 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 9492 | 8916 | 576 | -43200 | -0.0432 | 14524 | 14524 | 0 | 0 | 0
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4492 | 4188 | 304 | -30400 | -0.0304 | 5818 | 5818 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.16092 |  |  |  |  | -0.1671
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.16092 |  |  |  |  | -0.1671
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.12481 |  |  |  |  | -0.073102
| TOTAL ENERGY TO NDMC | [8 empty] | -0.036108 |  |  |  |  | -0.2402

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER -2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 921 | 833 | 88 | 17600 | 0.0176 | 21441 | 21340 | 101 | 20200 | 0.0202
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1624 | 1621 | 3 | 3000 | 0.003 | 42396 | 42168 | 228 | 228000 | 0.228
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4148 | 4134 | 14 | 14000 | 0.014 | 52263 | 52237 | 26 | 26000 | 0.026
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999996 | 999996 | 0 | 0 | 0 | 387 | 352 | 35 | 14000 | 0.014 | w.e.f 14/07/17
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6498 | 6522 | -24 | -24000 | -0.024 | 12075 | 12070 | 5 | 5000 | 0.005
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1000036 | 999999 | 37 | 14800 | 0.0148 | 999039 | 999081 | -42 | -16800 | -0.0168 | w.e.f 22/07/17
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 998263 | 996495 | 1768 | 353600 | 0.3536 | 999125 | 999125 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999781 | 1000008 | -227 | -227000 | -0.227 | 11 | 11 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.152 |  |  |  |  | 0.2764
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 59272 | 58986 | 286 | 28600 | 0.0286 | 91703 | 91565 | 138 | 13800 | 0.0138
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78089 | 78014 | 75 | 7500 | 0.0075 | 16634 | 16634 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 64374 | 62563 | 1811 | 181100 | 0.1811 | 112827 | 112821 | 6 | 600 | 0.0006
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Confirm meter from ABT & MF
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1305 | 1305 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10279 | 10279 | 0 | 0 | 0 | 3981 | 3981 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2172 |  |  |  |  | 0.0144
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2172 |  |  |  |  | 0.0144
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.152 |  |  |  |  | 0.2764
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.3692 |  |  |  |  | 0.2908
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.3692 | (REACTIVE MUs) |  |  |  | 0.2908 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.025516 | (REACTIVE MUs) |  |  |  | -0.014945 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.39472 | (REACTIVE MUs) |  |  |  | 0.27586 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER -2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 997786 | 996526 | 1260 | 126000 | 0.126 | 2002 | 2002 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 44900 | 44281 | 619 | 61900 | 0.0619 | 5269 | 5269 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 8825 | 6638 | 2187 | 1093500 | 1.0935 | 2082 | 2082 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999500 | 999948 | -448 | -420000 | -0.42 | 143 | 143 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 991776 | 994007 | -2231 | -557750 | -0.55775 | 983682 | 983682 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 980991 | 981517 | -526 | 263000 | 0.263 | 976404 | 976404 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.56665 |  |  |  |  | 0
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 988719 | 986996 | 1723 | 344600 | 0.3446 | 999926 | 999926 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 898445 | 901160 | -2715 | -1018125 | -1.0181 | 996596 | 996596 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.67353 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 302154 | 298625 | 3529 | 705800 | 0.7058 | 284329 | 284329 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 273439 | 262202 | 11237 | 1123700 | 1.1237 | 998711 | 998711 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 193347 | 174556 | 18791 | 1174437.5 | 1.1744 | 985547 | 985547 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1300 | 862 | 438 | 350400 | 0.3504 | 1796 | 1796 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 985219 | 986815 | -1596 | -159600 | -0.1596 | 999283 | 999283 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999520 | 999099 | 421 | 63150 | 0.06315 | 984435 | 984354 | 81 | 12150 | 0.01215
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998736 | 998876 | -140 | 350000 | 0.35 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 3.6079 |  |  |  |  | 0.01215
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.56665 |  |  |  |  | 0
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.67353 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 3.6079 |  |  |  |  | 0.01215

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER -2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 8267 | 4891 | 3376 | 3376000 | 3.376 | 999997 | 999997 | 0 | 0 | 0 | w.e.f 18/08/17
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 9251 | 8568 | 683 | 3415000 | 3.415 | 80 | 80 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 6.791 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 6.791 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.173 |  |  |  |  | -1.6148
[7 empty] | NDMC = |  |  | -0.861 |  |  |  |  | 0
MES =
[7 empty] | 2)TOTAL |  |  | -4.034 |  |  |  |  | -1.6148
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.757 |  |  |  |  | -1.6148
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.9322 | % |  |  | 0.90794 |  |  |  |  | -0.53179
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.509 | % |  |  | 1.0893 |  |  |  |  | -0.63799
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.1064 | % |  |  | 0.60947 |  |  |  |  | -0.35697
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.527 | % |  |  | 0.12481 |  |  |  |  | -0.073102
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9255 | % |  |  | 0.025516 |  |  |  |  | -0.014945
Note :Sharing taken from wk-35 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVEMBER-2017 TO 1st DECEMBER-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -26.4008 |  | -0.92922
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -39.6502 | + | 3.9973
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.85356 |  | -0.050791
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.036108 |  | -0.2402
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.39472 | + | 0.27586
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2017 | INTIAL READING 01/11/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 12054 | 11688 | 366 | 274500 | 0.2745 | 999964 | 999964 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1000 | 998747 | 1000367 | -1620 | -1620000 | -1.62 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 852247 | 852695 | -448 | -336000 | -0.336 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -1.6815 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1000345 | 999890 | 455 | 2275000 | 2.275 | 11729 | 11729 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 922645 | 925431 | -2786 | -2786000 | -2.786
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973026 | 973014 | 12 | 12000 | 0.012 | 998360 | 998256 | 104 | 104000 | 0.104
[8 empty] | NET REACTIVE ENERGY |  | 2.287 |  |  | NET REACTIVE ENERGY |  | -2.682