## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18749 | 18762 | -13 | 13000 | 0.013 | 978873 | 979235 | -362 | 362000 | 0.362
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999163 | 999167 | -4 | 4000 | 0.004 | 988885 | 989533 | -648 | 648000 | 0.648
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20466 | 20475 | -9 | 9000 | 0.009 | 54 | 954 | -900 | 900000 | 0.9
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975034 | 975034 | 0 | 0 | 0 | 984187 | 986405 | -2218 | 2218000 | 2.218
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923264 | 923328 | -64 | 64000 | 0.064 | 954603 | 956767 | -2164 | 2164000 | 2.164
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18245 | 18244 | 1 | -1000 | -0.001 | 15405 | 14279 | 1126 | -1126000 | -1.126
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19270 | 19268 | 2 | -2000 | -0.002 | 11752 | 10768 | 984 | -984000 | -0.984
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17079 | 17079 | 0 | 0 | 0 | 996661 | 996781 | -120 | 120000 | 0.12
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11926 | 11927 | -1 | 1000 | 0.001 | 987075 | 987319 | -244 | 244000 | 0.244
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35699 | 35693 | 6 | -6000 | -0.006 | 9913 | 9899 | 14 | -14000 | -0.014
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2761 | 2774 | -13 | 13000 | 0.013 | 4244 | 4237 | 7 | -7000 | -0.007
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998808 | 998812 | -4 | 4000 | 0.004 | 999900 | 1000044 | -144 | 144000 | 0.144 | ROLL OVER
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965373 | 965851 | -478 | -478000 | -0.478 | 920590 | 920604 | -14 | -14000 | -0.014
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997442 | 997458 | -16 | 16000 | 0.016 | 16256 | 16096 | 160 | -160000 | -0.16
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998339 | 998325 | 14 | -14000 | -0.014 | 19166 | 18687 | 479 | -479000 | -0.479
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1113 | 1112 | 1 | -1000 | -0.001 | 21585 | 21267 | 318 | -318000 | -0.318
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999566 | 999566 | 0 | 0 | 0 | 29718 | 30760 | -1042 | -1042000 | -1.042
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 192 | 190 | 2 | 2000 | 0.002 | 26331 | 26509 | -178 | -178000 | -0.178
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1769 | 1745 | 24 | 2400 | 0.0024 | 108420 | 104992 | 3428 | 342800 | 0.3428
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2906 | 2885 | 21 | 2100 | 0.0021 | 160627 | 158764 | 1863 | 186300 | 0.1863
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996109 | 996108 | 1 | 1000 | 0.001 | 998430 | 998425 | 5 | 5000 | 0.005
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999947 | 999945 | 2 | 2000 | 0.002 | 1179 | 692 | 487 | 487000 | 0.487
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655052 | 655075 | -23 | -23000 | -0.023 | 802068 | 802870 | -802 | -802000 | -0.802
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 662486 | 662492 | -6 | -6000 | -0.006 | 834489 | 834595 | -106 | -106000 | -0.106
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991474 | 991901 | -427 | -427000 | -0.427 | 998477 | 998497 | -20 | -20000 | -0.02
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999481 | 999785 | -304 | -152000 | -0.152 | 999802 | 999765 | 37 | 18500 | 0.0185
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6627 | 6386 | 241 | -241000 | -0.241 | 981740 | 981605 | 135 | -135000 | -0.135
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997228 | 996750 | 478 | -478000 | -0.478 | 948951 | 949209 | -258 | 258000 | 0.258
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992746 | 992768 | -22 | 22000 | 0.022 | 945189 | 948847 | -3658 | 3658000 | 3.658
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
30 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 697 | 655 | 42 | 42000 | 0.042 | 15060 | 14695 | 365 | 365000 | 0.365
31 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998978 | 998951 | 27 | 27000 | 0.027 | 3274 | 3439 | -165 | -165000 | -0.165
| NDPL(+) continue | [14 empty] | JUNE-2011
DMS
32 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 678 | 677 | 1 | 1000 | 0.001 | 52874 | 52089 | 785 | 785000 | 0.785
REWARI LINE
33 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 9269 | 9891 | -622 | -62200 | -0.0622 | 49860 | 47771 | 2089 | 208900 | 0.2089
VISHAL
34 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 7231 | 6701 | 530 | 53000 | 0.053 | 10335 | 9326 | 1009 | 100900 | 0.1009
35 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9058 | 8483 | 575 | 57500 | 0.0575 | 28638 | 27163 | 1475 | 147500 | 0.1475
36 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13706 | 13706 | 0 | 0 | 0 | 35231 | 35231 | 0 | 0 | 0
S.B.MILL
37 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 30955 | 30482 | 473 | 47300 | 0.0473 | 9082 | 8631 | 451 | 45100 | 0.0451
38 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
39 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
40 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 14606 | 14503 | 103 | 10300 | 0.0103 | 9192 | 8703 | 489 | 48900 | 0.0489
43 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998150 | 998055 | 95 | 9500 | 0.0095 | 388 | 49 | 339 | 33900 | 0.0339
B.G.ROAD
44 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3440 | 3440 | 0 | 0 | 0 | 27689 | 27319 | 370 | 185000 | 0.185
45 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3187 | 3187 | 0 | 0 | 0 | 19135 | 18703 | 432 | 216000 | 0.216
46 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3232 | 3232 | 0 | 0 | 0 | 12883 | 12618 | 265 | 132500 | 0.1325
47 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3182 | 3182 | 0 | 0 | 0 | 14701 | 14383 | 318 | 159000 | 0.159
D.M.S.
48 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999531 | 999545 | -14 | -1400 | -0.0014 | 5051 | 4949 | 102 | 10200 | 0.0102
49 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2377 | 2299 | 78 | 7800 | 0.0078 | 12749 | 12369 | 380 | 38000 | 0.038
50 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 5649 | 5364 | 285 | 28500 | 0.0285 | 46718 | 45822 | 896 | 89600 | 0.0896
51 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8184 | 8211 | -27 | -2700 | -0.0027 | 19054 | 19022 | 32 | 3200 | 0.0032
52 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999703 | 999717 | -14 | -1400 | -0.0014 | 251 | 259 | -8 | -800 | -0.0008
53 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
54 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 1056 | 1024 | 32 | 3200 | 0.0032 | 58822 | 57326 | 1496 | 149600 | 0.1496
55 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 2120 | 1440 | 680 | 68000 | 0.068 | 51316 | 50650 | 666 | 66600 | 0.0666
56 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 2576 | 1827 | 749 | 74900 | 0.0749 | 73675 | 72725 | 950 | 95000 | 0.095
KASHMIRI GATE
57 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 89439 | 87362 | 2077 | 207700 | 0.2077 | 26267 | 26323 | -56 | -5600 | -0.0056
58 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 9168 | 8281 | 887 | 88700 | 0.0887 | 32897 | 31831 | 1066 | 106600 | 0.1066
59 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
60 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4567 | 4567 | 0 | 0 | 0 | 12605 | 12600 | 5 | -2000 | -0.002
61 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999321 | -16 | -1600 | -0.0016 | 999188 | 999190 | -2 | -200 | -0.0002
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.0164 |  |  |  |  | 9.1835
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JUNE-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 4524 | 4415 | 109 | -10900 | -0.0109 | 8026 | 7801 | 225 | -22500 | -0.0225
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5742 | 5743 | -1 | 1000 | 0.001 | 3991 | 3939 | 52 | -52000 | -0.052
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3509 | 3510 | -1 | 200 | 0.0002 | 2421 | 2728 | -307 | 61400 | 0.0614
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12824 | 12821 | 3 | -3000 | -0.003 | 17203 | 14649 | 2554 | -2554000 | -2.554
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38092 | 37815 | 277 | -27700 | -0.0277 | 146856 | 146837 | 19 | -1900 | -0.0019
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982328 | 982710 | -382 | 382000 | 0.382 | 992900 | 992973 | -73 | 73000 | 0.073
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 998325 | 998300 | 25 | -31250 | -0.03125 | 322 | 238 | 84 | -105000 | -0.105
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.31035 |  |  |  |  | -2.601
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.0164 |  |  |  |  | 9.1835
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.31035 |  |  |  |  | -2.601
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.51792 |  |  |  |  | 0.7045
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.18812 |  |  |  |  | 7.287
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.18812 | (REACTIVE MUs) |  |  |  | 7.287 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.1379 | (REACTIVE MUs) |  |  |  | 0.43121 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.05023 | (REACTIVE MUs) |  |  |  | 7.7182 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 993119 | 994344 | -1225 | -122500 | -0.1225 | 71990 | 71479 | 511 | 51100 | 0.0511
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14225 | 14060 | 165 | 16500 | 0.0165 | 995229 | 995206 | 23 | 2300 | 0.0023
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21530 | 21612 | -82 | -8200 | -0.0082 | 30198 | 30069 | 129 | 12900 | 0.0129
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998762 | 998861 | -99 | -9900 | -0.0099 | 1000381 | 999946 | 435 | 43500 | 0.0435 | ROLL OVER
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8680 | 9073 | -393 | -39300 | -0.0393 | 70884 | 70293 | 591 | 59100 | 0.0591
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 999633 | 1000410 | -777 | -77700 | -0.0777 | 45496 | 45857 | -361 | -36100 | -0.0361 | ROLL OVER
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999927 | 999963 | -36 | -36000 | -0.036 | 999714 | 999850 | -136 | -136000 | -0.136
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999898 | 999904 | -6 | -6000 | -0.006 | 2279 | 2270 | 9 | 9000 | 0.009
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999994 | 1000100 | -106 | -106000 | -0.106 | 1272 | 1381 | -109 | -109000 | -0.109 | ROLL OVER
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 152 | 150 | 2 | 2000 | 0.002 | 2435 | 2516 | -81 | -81000 | -0.081
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 45 | 167 | -122 | -122000 | -0.122 | 2226 | 1942 | 284 | 284000 | 0.284
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 312 | 317 | -5 | -5000 | -0.005 | 1134 | 1271 | -137 | -137000 | -0.137
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 31 | 32 | -1 | -1000 | -0.001 | 13376 | 13249 | 127 | 127000 | 0.127
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 182 | 159 | 23 | 23000 | 0.023 | 34064 | 33713 | 351 | 351000 | 0.351
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 260 | 261 | -1 | -1000 | -0.001 | 8028 | 8388 | -360 | -360000 | -0.36
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 197 | 197 | 0 | 0 | 0 | 5299 | 5149 | 150 | 150000 | 0.15
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 29148 | 28948 | 200 | 20000 | 0.02 | 530 | 449 | 81 | 8100 | 0.0081
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998936 | 998958 | -22 | -22000 | -0.022 | 5507 | 5225 | 282 | 282000 | 0.282
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 851954 | 855434 | -3480 | -3828000 | -3.828
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 892412 | 895075 | -2663 | -2929300 | -2.9293
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995438 | 995604 | -166 | -166000 | -0.166 | 10106 | 10106 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.42 |  |  |  |  | -6.3692
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967369 | 967308 | 61 | -61000 | -0.061 | 978455 | 979023 | -568 | 568000 | 0.568
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985509 | 985883 | -374 | 374000 | 0.374 | 985036 | 985721 | -685 | 685000 | 0.685
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 928 | 927 | 1 | 1000 | 0.001 | 52027 | 51029 | 998 | 998000 | 0.998
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 613 | 593 | 20 | -20000 | -0.02 | 978066 | 978979 | -913 | 913000 | 0.913
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3275 | 3242 | 33 | -33000 | -0.033 | 983351 | 983789 | -438 | 438000 | 0.438
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996485 | 996585 | -100 | 100000 | 0.1 | 991659 | 991727 | -68 | 68000 | 0.068
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998783 | 998598 | 185 | -185000 | -0.185 | 996570 | 996637 | -67 | 67000 | 0.067
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3509 | 3510 | -1 | -200 | -0.0002 | 2421 | 2728 | -307 | -61400 | -0.0614
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12824 | 12821 | 3 | 3000 | 0.003 | 17203 | 14649 | 2554 | 2554000 | 2.554
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 78241 | 74836 | 3405 | 340500 | 0.3405 | 1753 | 1644 | 109 | 10900 | 0.0109
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 42555 | 41748 | 807 | 80700 | 0.0807 | 999408 | 999405 | 3 | 300 | 0.0003
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.0611 |  |  |  |  | 0.0044
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.0611 |  |  |  |  | 0.0044
JUNE-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997807 | 997821 | -14 | 14000 | 0.014 | 950967 | 952266 | -1299 | 1299000 | 1.299
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15653 | 15660 | -7 | 7000 | 0.007 | 968236 | 969239 | -1003 | 1003000 | 1.003
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14260 | 14277 | -17 | 17000 | 0.017 | 958166 | 959645 | -1479 | 1479000 | 1.479
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980381 | 980657 | -276 | 276000 | 0.276 | 993797 | 993801 | -4 | 4000 | 0.004
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971727 | 972020 | -293 | 293000 | 0.293 | 992086 | 992091 | -5 | 5000 | 0.005
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1680 | 1673 | 7 | -7000 | -0.007 | 994858 | 994461 | 397 | -397000 | -0.397
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1523 | 1520 | 3 | -3000 | -0.003 | 984662 | 984692 | -30 | 30000 | 0.03
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 614 | 619 | -5 | 10000 | 0.01 | 991752 | 991792 | -40 | 80000 | 0.08
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999729 | 999728 | 1 | -1000 | -0.001 | 977084 | 977216 | -132 | 132000 | 0.132
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13640 | 13646 | -6 | 6000 | 0.006 | 963407 | 965596 | -2189 | 2189000 | 2.189
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970439 | 970457 | -18 | 18000 | 0.018 | 917249 | 920480 | -3231 | 3231000 | 3.231
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21204 | 20957 | 247 | -247000 | -0.247 | 24598 | 23821 | 777 | -777000 | -0.777
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15250 | 14931 | 319 | -319000 | -0.319 | 32783 | 31742 | 1041 | -1041000 | -1.041
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.064 |  |  |  |  | 7.237
| (B) NET ENERGY TO EAST | [8 empty] | 0.064 |  |  |  |  | 7.237
6
JUNE-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991474 | 991901 | -427 | 427000 | 0.427 | 998477 | 998497 | -20 | 20000 | 0.02
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999481 | 999785 | -304 | 152000 | 0.152 | 999802 | 999765 | 37 | -18500 | -0.0185
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 9553 | 8877 | 676 | -67600 | -0.0676 | 60574 | 60363 | 211 | -21100 | -0.0211
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 14980 | 13593 | 1387 | -138700 | -0.1387 | 119215 | 118727 | 488 | -48800 | -0.0488
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 995346 | 995517 | -171 | 17100 | 0.0171 | 4572 | 4338 | 234 | -23400 | -0.0234
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 21724 | 18644 | 3080 | -308000 | -0.308 | 78913 | 78578 | 335 | -33500 | -0.0335
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49512 | 45809 | 3703 | -3703000 | -3.703 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 999991 | 999991 | 0 | 0 | 0 | 999938 | 999965 | -27 | 21600 | 0.0216 | Loaded on 27/06/2011
| 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) |  | ASSESSMENT (Blue phase current missing) |  |  |  | 0 | ASSESSMENT (Blue phase current missing) |  |  |  | 0.0108
EXPORT TO SOUTH & WEST FROM PARK STREET
10 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999597 | 999624 | -27 | 27000 | 0.027 | 35533 | 35242 | 291 | -291000 | -0.291
11 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999518 | 999548 | -30 | 39999.9 | 0.04 | 145 | 139 | 6 | -7999.98 | -0.008
EXPORT TO NORTH from SHASTRI PARK
12 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 697 | 655 | 42 | -42000 | -0.042 | 15060 | 14695 | 365 | -365000 | -0.365
13 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998978 | 998951 | 27 | -27000 | -0.027 | 3274 | 3439 | -165 | 165000 | 0.165
DMS
14 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 678 | 677 | 1 | -1000 | -0.001 | 52874 | 52089 | 785 | -785000 | -0.785
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
15 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3440 | 3440 | 0 | 0 | 0 | 27689 | 27319 | 370 | -185000 | -0.185
16 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3187 | 3187 | 0 | 0 | 0 | 19135 | 18703 | 432 | -216000 | -0.216
17 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3232 | 3232 | 0 | 0 | 0 | 12883 | 12618 | 265 | -132500 | -0.1325
18 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3182 | 3182 | 0 | 0 | 0 | 14701 | 14383 | 318 | -159000 | -0.159
KASHMIRI GATE
19 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 89439 | 87362 | 2077 | -207700 | -0.2077 | 26267 | 26323 | -56 | 5600 | 0.0056
20 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 9168 | 8281 | 887 | -88700 | -0.0887 | 32897 | 31831 | 1066 | -106600 | -0.1066
D.M.S.
21 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999531 | 999545 | -14 | 1400 | 0.0014 | 5051 | 4949 | 102 | -10200 | -0.0102
22 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2377 | 2299 | 78 | -7800 | -0.0078 | 12749 | 12369 | 380 | -38000 | -0.038
23 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 5649 | 5364 | 285 | -28500 | -0.0285 | 46718 | 45822 | 896 | -89600 | -0.0896
24 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8184 | 8211 | -27 | 2700 | 0.0027 | 19054 | 19022 | 32 | -3200 | -0.0032
25 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999703 | 999717 | -14 | 1400 | 0.0014 | 251 | 259 | -8 | 800 | 0.0008
26 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 1056 | 1024 | 32 | -3200 | -0.0032 | 58822 | 57326 | 1496 | -149600 | -0.1496
28 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 2120 | 1440 | 680 | -68000 | -0.068 | 51316 | 50650 | 666 | -66600 | -0.0666
29 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 2576 | 1827 | 749 | -74900 | -0.0749 | 73675 | 72725 | 950 | -95000 | -0.095
[10 empty] | -4.0975 |  |  |  |  | -2.6218
JUNE-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.0611 |  |  |  |  | 0.0044
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -4.0975 |  |  |  |  | -2.6218
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.5263 |  |  |  |  | -0.0121
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.6849 |  |  |  |  | -2.6295
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.064 |  |  |  |  | 7.237
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -4.6209 |  |  |  |  | 4.6075
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.6209 | (REACTIVE MUs) |  |  |  | 4.6075 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.12219 | (REACTIVE MUs) |  |  |  | 0.38209 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.4987 | (REACTIVE MUs) |  |  |  | 4.9896 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999216 | 999180 | 36 | 36000 | 0.036 | 11621 | 11609 | 12 | 12000 | 0.012
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 994086 | 994507 | -421 | -42100 | -0.0421 | 677884 | 678464 | -580 | -58000 | -0.058
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5030 | 4791 | 239 | 239000 | 0.239 | 45094 | 44563 | 531 | 531000 | 0.531
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9968 | 9687 | 281 | 281000 | 0.281 | 610 | 618 | -8 | -8000 | -0.008
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1155 | 622 | 533 | 159900 | 0.1599 | 447 | 451 | -4 | -1200 | -0.0012
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 6196 | 5628 | 568 | 56800 | 0.0568 | 81280 | 80496 | 784 | 78400 | 0.0784
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 32618 | 29643 | 2975 | 297500 | 0.2975 | 268640 | 268869 | -229 | -22900 | -0.0229
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 2509 | 2476 | 33 | 3300 | 0.0033 | 336308 | 333522 | 2786 | 278600 | 0.2786
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999884 | 999889 | -5 | -5000 | -0.005 | 11335 | 11422 | -87 | -87000 | -0.087
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995087 | 995047 | 40 | -40000 | -0.04 | 964112 | 964836 | -724 | 724000 | 0.724
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993705 | 993659 | 46 | -46000 | -0.046 | 966539 | 967208 | -669 | 669000 | 0.669
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989613 | 989754 | -141 | 141000 | 0.141 | 953972 | 956189 | -2217 | 2217000 | 2.217
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999777 | 999709 | 68 | -68000 | -0.068 | 967346 | 968291 | -945 | 945000 | 0.945
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 284 | 32 | 252 | -252000 | -0.252 | 998655 | 999846 | -1191 | 1191000 | 1.191
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999977 | 1000005 | -28 | 28000 | 0.028 | 998635 | 999797 | -1162 | 1162000 | 1.162 | ROLL OVER
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38798 | 38365 | 433 | -433000 | -0.433 | 27936 | 27649 | 287 | -287000 | -0.287
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4338 | 3608 | 730 | -730000 | -0.73 | 12776 | 12695 | 81 | -81000 | -0.081
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24068 | 23574 | 494 | -494000 | -0.494 | 14517 | 14383 | 134 | -134000 | -0.134
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11694 | 10402 | 1292 | -1292000 | -1.292 | 41641 | 40934 | 707 | -707000 | -0.707
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5742 | 5743 | -1 | -1000 | -0.001 | 3991 | 3939 | 52 | 52000 | 0.052
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969820 | 971338 | -1518 | 1518000 | 1.518 | 908497 | 909099 | -602 | 602000 | 0.602
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993757 | 993826 | -69 | 69000 | 0.069 | 877779 | 881688 | -3909 | 3909000 | 3.909
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 306 | 306 | 0 | 0 | 0 | 2017 | 1537 | 480 | -480000 | -0.48
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 448 | 448 | 0 | 0 | 0 | 993407 | 993624 | -217 | 217000 | 0.217
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998254 | 998014 | 240 | -240000 | -0.24 | 958912 | 959036 | -124 | 124000 | 0.124
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 944160 | 947042 | -2882 | 2882000 | 2.882
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999030 | -3 | 3000 | 0.003 | 933982 | 937355 | -3373 | 3373000 | 3.373
BRPL(+) continue | [14 empty] | JUNE-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998873 | 998832 | 41 | -41000 | -0.041 | 977781 | 977014 | 767 | -767000 | -0.767
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76 | 37 | 39 | -39000 | -0.039 | 994648 | 993794 | 854 | -854000 | -0.854
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989962 | 989868 | 94 | -188000 | -0.188 | 977256 | 977497 | -241 | 482000 | 0.482
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998544 | 998300 | 244 | -244000 | -0.244 | 944605 | 945330 | -725 | 725000 | 0.725
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1599 | 1510 | 89 | -89000 | -0.089 | 956098 | 960683 | -4585 | 4585000 | 4.585
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998746 | 998455 | 291 | -291000 | -0.291 | 950761 | 951402 | -641 | 641000 | 0.641
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 991715 | 991753 | -38 | 25333.308 | 0.025333 | 984830 | 993924 | -9094 | 6062660.604 | 6.0627
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 187 | 183 | 4 | -8000 | -0.008 | 803 | 603 | 200 | -400000 | -0.4
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996903 | 996899 | 4 | -8000 | -0.008 | 1000097 | 999913 | 184 | -368000 | -0.368
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999570 | 1000023 | -453 | 453000 | 0.453 | 0 | 0 | 0 | 0 | 0 | Loaded on 13/06/2011,ROLL OVER
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999507 | 999985 | -478 | 478000 | 0.478 | 0 | 0 | 0 | 0 | 0 | Loaded on 11/06/2011
PARK STREET
42 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999597 | 999624 | -27 | -27000 | -0.027 | 35533 | 35242 | 291 | 291000 | 0.291
43 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999518 | 999548 | -30 | -39999.9 | -0.04 | 145 | 139 | 6 | 7999.98 | 0.008
SARITA VIHAR
44 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2669 | 2687 | -18 | 18000 | 0.018 | 982063 | 981381 | 682 | -682000 | -0.682
45 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999297 | 999297 | 0 | 0 | 0 | 988322 | 987805 | 517 | -517000 | -0.517
NARAINA
46 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 4524 | 4415 | 109 | 10900 | 0.0109 | 8026 | 7801 | 225 | 22500 | 0.0225
SUDARSHAN PARK
47 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38092 | 37815 | 277 | 27700 | 0.0277 | 146856 | 146837 | 19 | 1900 | 0.0019
REWARI LINE
48 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
49 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982328 | 982710 | -382 | -382000 | -0.382 | 992900 | 992973 | -73 | -73000 | -0.073
A.I.I.M.S.
50 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999572 | 999567 | 5 | 500 | 0.0005 | 2827 | 2087 | 740 | 74000 | 0.074
51 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 3113 | 3097 | 16 | 1600 | 0.0016 | 7795 | 6298 | 1497 | 149700 | 0.1497
66KV GHEBRA
52 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998325 | 998300 | 25 | 31250 | 0.03125 | 322 | 238 | 84 | 105000 | 0.105
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.1213 |  |  |  |  | 26.5877
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JUNE-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 975305 | 975305 | 0 | 0 | 0 | 857574 | 857574 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 78241 | 74836 | 3405 | -340500 | -0.3405 | 1753 | 1644 | 109 | -10900 | -0.0109
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 42555 | 41748 | 807 | -80700 | -0.0807 | 999408 | 999405 | 3 | -300 | -0.0003
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 351 | 351 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 567 | 568 | -1 | 100 | 0.0001 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 750257 | 741510 | 8747 | -874700 | -0.8747 | 43876 | 43512 | 364 | -36400 | -0.0364
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3075 | 3085 | -10 | 10000 | 0.01 | 1653 | 1551 | 102 | -102000 | -0.102
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 774228 | 759682 | 14546 | -1454600 | -1.4546 | 39012 | 38259 | 753 | -75300 | -0.0753
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 16258 | 15476 | 782 | -78200 | -0.0782 | 49695 | 49255 | 440 | -44000 | -0.044
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 14626 | 14403 | 223 | -22300 | -0.0223 | 50397 | 49505 | 892 | -89200 | -0.0892
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 38484 | 36762 | 1722 | -344400 | -0.3444 | 102710 | 102076 | 634 | -126800 | -0.1268
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 16915 | 16068 | 847 | -84700 | -0.0847 | 8320 | 6569 | 1751 | -175100 | -0.1751
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 17091 | 15350 | 1741 | -174100 | -0.1741 | 613936 | 610563 | 3373 | -337300 | -0.3373
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 85943 | 85724 | 219 | -21900 | -0.0219 | 197317 | 184973 | 12344 | -1234400 | -1.2344
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 159080 | 159363 | -283 | -28300 | -0.0283 | 31900 | 31292 | 608 | 60800 | 0.0608
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 775 | 759 | 16 | -1600 | -0.0016 | 11903 | 11723 | 180 | -18000 | -0.018
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 9269 | 9891 | -622 | 62200 | 0.0622 | 49860 | 47771 | 2089 | -208900 | -0.2089
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 7231 | 6701 | 530 | -53000 | -0.053 | 10335 | 9326 | 1009 | -100900 | -0.1009
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9058 | 8483 | 575 | -57500 | -0.0575 | 28638 | 27163 | 1475 | -147500 | -0.1475
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13706 | 13706 | 0 | 0 | 0 | 35231 | 35231 | 0 | 0 | 0
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 30955 | 30482 | 473 | -47300 | -0.0473 | 9082 | 8631 | 451 | -45100 | -0.0451
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 14606 | 14503 | 103 | -10300 | -0.0103 | 9192 | 8703 | 489 | -48900 | -0.0489
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998150 | 998055 | 95 | -9500 | -0.0095 | 388 | 49 | 339 | -33900 | -0.0339
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4567 | 4567 | 0 | 0 | 0 | 12605 | 12600 | 5 | 2000 | 0.002
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999321 | -16 | 1600 | 0.0016 | 999188 | 999190 | -2 | 200 | 0.0002
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.6097 |  |  |  |  | -2.7719
JUNE-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -1.1213 |  |  |  |  | 26.5877
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.6097 |  |  |  |  | -2.7719
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.177 |  |  |  |  | 1.6931
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0291 |  |  |  |  | -0.70085
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.5831 |  |  |  |  | 24.808
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.5831 | (REACTIVE MUs) |  |  |  | 24.808 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.21795 | (REACTIVE MUs) |  |  |  | 0.68156 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.3652 | (REACTIVE MUs) |  |  |  | 25.4896 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 9553 | 8877 | 676 | 67600 | 0.0676 | 60574 | 60363 | 211 | 21100 | 0.0211
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 14980 | 13593 | 1387 | 138700 | 0.1387 | 119215 | 118727 | 488 | 48800 | 0.0488
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 995346 | 995517 | -171 | -17100 | -0.0171 | 4572 | 4338 | 234 | 23400 | 0.0234
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 21724 | 18644 | 3080 | 308000 | 0.308 | 78913 | 78578 | 335 | 33500 | 0.0335
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 49512 | 45809 | 3703 | 3703000 | 3.703 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 999991 | 999991 | 0 | 0 | 0 | 999938 | 999965 | -27 | -21600 | -0.0216 | Loaded on 27/06/11
| 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) |  | ASSESSMENT (Blue phase current missing) |  |  |  | 0 | ASSESSMENT(Blue phase current missing) |  |  |  | -0.0108
I.P.STATION EXPORT TO NDMC
8 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 997820 | 997811 | 9 | 900 | 0.0009 | 274798 | 273891 | 907 | 90700 | 0.0907
9 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 5025 | 3645 | 1380 | 138000 | 0.138 | 409618 | 407892 | 1726 | 172600 | 0.1726
10 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 9513 | 8687 | 826 | 82600 | 0.0826 | 186522 | 182998 | 3524 | 352400 | 0.3524
11 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 4495 | 4079 | 416 | 41600 | 0.0416 | 299311 | 299108 | 203 | 20300 | 0.0203
12 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998884 | 998805 | 79 | 7900 | 0.0079 | 214183 | 209958 | 4225 | 422500 | 0.4225
13 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998744 | 998223 | 521 | 52100 | 0.0521 | 123315 | 122138 | 1177 | 117700 | 0.1177
14 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 9393 | 8610 | 783 | 78300 | 0.0783 | 182635 | 182494 | 141 | 14100 | 0.0141
15 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 8614 | 7032 | 1582 | 158200 | 0.1582 | 221485 | 220902 | 583 | 58300 | 0.0583
G.T.
16 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 56773 | 54529 | 2244 | 2468400 | 2.4684
17 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4839 | 4855 | -16 | -16000 | -0.016 | 36284 | 36270 | 14 | 14000 | 0.014
18 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 122731 | 120821 | 1910 | 2101000 | 2.101
19 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8210 | 8121 | 89 | 89000 | 0.089 | 48186 | 48141 | 45 | 45000 | 0.045
[10 empty] | 0.073 |  |  |  |  | 4.6284
RIDGE VALLEY
20 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 750257 | 741510 | 8747 | 874700 | 0.8747 | 43876 | 43512 | 364 | 36400 | 0.0364
21 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3075 | 3085 | -10 | -10000 | -0.01 | 1653 | 1551 | 102 | 102000 | 0.102
22 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 774228 | 759682 | 14546 | 1454600 | 1.4546 | 39012 | 38259 | 753 | 75300 | 0.0753
A.I.I.M.S.
23 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 16915 | 16068 | 847 | 84700 | 0.0847 | 8320 | 6569 | 1751 | 175100 | 0.1751
24 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 17091 | 15350 | 1741 | 174100 | 0.1741 | 613936 | 610563 | 3373 | 337300 | 0.3373
25 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 85943 | 85724 | 219 | 21900 | 0.0219 | 197317 | 184973 | 12344 | 1234400 | 1.2344
JUNE-2011
NDMC(+) Continue…
KIDWAI NAGAR
26 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 159080 | 159363 | -283 | 28300 | 0.0283 | 31900 | 31292 | 608 | -60800 | -0.0608
EXHIBITION I
27 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 775 | 759 | 16 | 1600 | 0.0016 | 11903 | 11723 | 180 | 18000 | 0.018
28 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
29 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 16258 | 15476 | 782 | 78200 | 0.0782 | 49695 | 49255 | 440 | 44000 | 0.044
30 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 14626 | 14403 | 223 | 22300 | 0.0223 | 50397 | 49505 | 892 | 89200 | 0.0892
31 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 38484 | 36762 | 1722 | 344400 | 0.3444 | 102710 | 102076 | 634 | 126800 | 0.1268
TILAK MARG
32 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 975305 | 975305 | 0 | 0 | 0 | 857574 | 857574 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999572 | 999567 | 5 | -500 | -0.0005 | 2827 | 2087 | 740 | -74000 | -0.074
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 3113 | 3097 | 16 | -1600 | -0.0016 | 7795 | 6298 | 1497 | -149700 | -0.1497
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.9055 |  |  |  |  | 7.9254
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.9055 |  |  |  |  | 7.9254
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.028149 |  |  |  |  | 0.088025
| TOTAL ENERGY TO NDMC | [8 empty] | 7.9336 |  |  |  |  | 8.0134

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 549 | 547 | 2 | 2000 | 0.002 | 12616 | 12390 | 226 | 226000 | 0.226
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 382 | 377 | 5 | 5000 | 0.005 | 17542 | 17020 | 522 | 522000 | 0.522
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 669 | 665 | 4 | 4000 | 0.004 | 24792 | 24239 | 553 | 553000 | 0.553
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 410 | 408 | 2 | 2000 | 0.002 | 12926 | 12638 | 288 | 288000 | 0.288
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1291 | 1279 | 12 | 12000 | 0.012 | 6329 | 6172 | 157 | 157000 | 0.157
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 351 | 351 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 567 | 568 | -1 | -100 | -0.0001 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0249 |  |  |  |  | 1.746
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3240 | 3232 | 8 | 800 | 0.0008 | 32449 | 32191 | 258 | 25800 | 0.0258
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 23660 | 23628 | 32 | 3200 | 0.0032 | 56339 | 54484 | 1855 | 185500 | 0.1855
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 63789 | 63698 | 91 | 9100 | 0.0091 | 6209 | 6114 | 95 | 9500 | 0.0095
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 14976 | 14974 | 2 | 200 | 0.0002 | 41660 | 39299 | 2361 | 236100 | 0.2361
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999782 | 999778 | 4 | 400 | 0.0004 | 14816 | 14352 | 464 | 46400 | 0.0464
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 69505 | 69264 | 241 | 24100 | 0.0241 | 33315 | 31750 | 1565 | 156500 | 0.1565
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 679 | 679 | 0 | 0 | 0 | 2335 | 1729 | 606 | 60600 | 0.0606
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0378 |  |  |  |  | 0.7204
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7529 | 7355 | 174 | 8700 | 0.0087 | 18955 | 18564 | 391 | 19550 | 0.01955
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0087 |  |  |  |  | 0.01955
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0291 |  |  |  |  | 0.70085
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0249 |  |  |  |  | 1.746
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.054 |  |  |  |  | 2.4468
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.054 | (REACTIVE MUs) |  |  |  | 2.4468 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0038138 | (REACTIVE MUs) |  |  |  | 0.011926 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.057814 | (REACTIVE MUs) |  |  |  | 2.4588 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 59515 | 62854 | -3339 | -333900 | -0.3339 | 76714 | 76576 | 138 | 13800 | 0.0138
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 14180 | 15134 | -954 | -95400 | -0.0954 | 999857 | 999898 | -41 | -4100 | -0.0041
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 156747 | 152404 | 4343 | 434300 | 0.4343 | 87477 | 86600 | 877 | 87700 | 0.0877
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13563 | 13396 | 167 | 167000 | 0.167 | 17162 | 16931 | 231 | 231000 | 0.231
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993839 | 993849 | -10 | 5000 | 0.005 | 954428 | 957108 | -2680 | 1340000 | 1.34
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994432 | 994432 | 0 | 0 | 0 | 989172 | 989216 | -44 | 22000 | 0.022
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999904 | 999895 | 9 | 2700 | 0.0027
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.177 |  |  |  |  | 1.6931
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 956939 | 957442 | -503 | -100600 | -0.1006 | 991129 | 990947 | 182 | 36400 | 0.0364
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 919254 | 923511 | -4257 | -425700 | -0.4257 | 930628 | 931113 | -485 | -48500 | -0.0485
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.5263 |  |  |  |  | -0.0121
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 158418 | 156727 | 1691 | 338200 | 0.3382 | 253605 | 252703 | 902 | 180400 | 0.1804
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 41105 | 38075 | 3030 | 606000 | 0.606 | 39356 | 39030 | 326 | 65200 | 0.0652
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 49123 | 43335 | 5788 | 578800 | 0.5788 | 68389 | 67774 | 615 | 61500 | 0.0615
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987598 | 988696 | -1098 | -1098000 | -1.098 | 997679 | 997653 | 26 | 26000 | 0.026
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 983988 | 984490 | -502 | -50200 | -0.0502 | 7732 | 7811 | -79 | -7900 | -0.0079
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 138 | 132 | 6 | 5625 | 0.005625 | 683 | 299 | 384 | 360000 | 0.36
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 993737 | 994012 | -275 | 137500 | 0.1375 | 995847 | 995891 | -44 | 22000 | 0.022
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999904 | 999895 | 9 | -2700 | -0.0027
| TOTAL NDPL | [8 empty] | 0.51792 |  |  |  |  | 0.7045
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.177 |  |  |  |  | 1.6931
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.5263 |  |  |  |  | -0.0121
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.51792 |  |  |  |  | 0.7045

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6852 | 6887 | -35 | -70000 | -0.07 | 999948 | 999947 | 1 | 2000 | 0.002
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 6051 | 6088 | -37 | -74000 | -0.074 | 999721 | 999719 | 2 | 4000 | 0.004
[7 empty] | NET REACTIVE ENERGY |  |  | -0.144 |  | NET REACTIVE ENERGY |  |  | 0.006
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999647 | 999660 | -13 | -13000 | -0.013 | 43636 | 43554 | 82 | 82000 | 0.082
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991402 | 991408 | -6 | -6000 | -0.006 | 992037 | 991979 | 58 | 58000 | 0.058
[7 empty] | NET REACTIVE ENERGY |  |  | -0.019 |  | NET REACTIVE ENERGY |  |  | 0.14
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.163 |  |  |  |  | 0.146
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.42 |  |  |  |  | -6.3692
[7 empty] | NDMC = |  |  | 0.073 |  |  |  |  | 4.6284
MES =
[7 empty] | 2)TOTAL |  |  | -0.347 |  |  |  |  | -1.7408
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.51 |  |  |  |  | -1.5948
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.0383 | % |  |  | -0.1379 |  |  |  |  | -0.43121
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.7361 | % |  |  | -0.21795 |  |  |  |  | -0.68156
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.9584 | % |  |  | -0.12219 |  |  |  |  | -0.38209
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.5195 | % |  |  | -0.028149 |  |  |  |  | -0.088025
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7478 | % |  |  | -0.0038138 |  |  |  |  | -0.011926
Note :Sharing taken from wk-11 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2011 TO 30th JUNE-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.05023 | + | 7.7182
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -4.3652 | + | 25.4896
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -4.4987 | + | 4.9896
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 7.9336 | + | 8.0134
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.057814 | + | 2.4588
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/07/11 | INTIAL READING 01/06/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 989656 | 990511 | -855 | -1282500 | -1.2825 | 981175 | 981240 | -65 | -97500 | -0.0975
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 984416 | 985145 | -729 | -1093500 | -1.0935 | 986951 | 987344 | -393 | -589500 | -0.5895
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 948838 | 949875 | -1037 | -1555500 | -1.5555 | 970209 | 970479 | -270 | -405000 | -0.405
[8 empty] | NET REACTIVE ENERGY |  | -3.9315 |  |  | NET REACTIVE ENERGY |  | -1.092
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997005 | 996996 | 9 | 45000 | 0.045 | 37720 | 37746 | -26 | -130000 | -0.13 | CTR CHANGE FROM 2000/5 TO 2000/1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999502 | 999531 | -29 | -29000 | -0.029 | 8546 | 8740 | -194 | -194000 | -0.194 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 978642 | 979699 | -1057 | -1057000 | -1.057 | 992206 | 992239 | -33 | -33000 | -0.033
[8 empty] | NET REACTIVE ENERGY |  | -1.041 |  |  | NET REACTIVE ENERGY |  | -0.357