## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986409 | 988315 | -1906 | 1906000 | 1.906 | 995942 | 995942 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993086 | 992787 | 299 | -299000 | -0.299 | 996316 | 996316 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998760 | 1001028 | -2268 | 2268000 | 2.268 | 996169 | 996169 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973618 | 974026 | -408 | 408000 | 0.408 | 972077 | 972077 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 916865 | 916840 | 25 | -25000 | -0.025 | 933745 | 933744 | 1 | -1000 | -0.001
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24119 | 23405 | 714 | -714000 | -0.714 | 17962 | 17962 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9887 | 10884 | -997 | 997000 | 0.997 | 11633 | 11633 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13487 | 13398 | 89 | -111250 | -0.11125 | 994574 | 994574 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3907 | 4561 | -654 | 654000 | 0.654 | 983902 | 983902 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28944 | 29638 | -694 | 694000 | 0.694 | 9032 | 9032 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990155 | 990467 | -312 | 312000 | 0.312 | 3213 | 3213 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989396 | 990078 | -682 | 682000 | 0.682 | 998017 | 998017 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 885564 | 889064 | -3500 | -3500000 | -3.5 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986811 | 986925 | -114 | 114000 | 0.114 | 16836 | 16836 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999603 | 998664 | 939 | -939000 | -0.939 | 20152 | 20152 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1887 | 2128 | -241 | 241000 | 0.241 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999872 | 999914 | -42 | -8400 | -0.0084 | 986082 | 986023 | 59 | 11800 | 0.0118
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 615 | 656 | -41 | -41000 | -0.041 | 29442 | 29448 | -6 | -6000 | -0.006
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5111 | 4871 | 240 | 24000 | 0.024 | 161656 | 161637 | 19 | 1900 | 0.0019
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 23217 | 21337 | 1880 | 188000 | 0.188 | 240931 | 240929 | 2 | 200 | 0.0002
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996458 | 996455 | 3 | 3000 | 0.003 | 3543 | 3580 | -37 | -37000 | -0.037
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 509 | 461 | 48 | 48000 | 0.048 | 8252 | 8300 | -48 | -48000 | -0.048
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 637231 | 637979 | -748 | -748000 | -0.748 | 797622 | 797622 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 646476 | 647964 | -1488 | -1488000 | -1.488 | 830705 | 830705 | 0 | 0 | 0
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 3711 | 2862 | 849 | 339600 | 0.3396 | 999653 | 999653 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 3399 | 2936 | 463 | 231500 | 0.2315 | 4170 | 4170 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19427 | 17486 | 1941 | -1941000 | -1.941 | 981108 | 981108 | 0 | 0 | 0
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6208 | 5636 | 572 | -572000 | -0.572 | 999444 | 999444 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1001190 | 999548 | 1642 | -1642000 | -1.642 | 924247 | 924247 | 0 | 0 | 0
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6633 | 5121 | 1512 | -1512000 | -1.512 | 999104 | 999150 | -46 | 46000 | 0.046
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63387 | 60317 | 3070 | -3070000 | -3.07 | 2574 | 2565 | 9 | -9000 | -0.009
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 749 | 408 | 341 | -341000 | -0.341 | 998731 | 998731 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3158 | 2440 | 718 | -718000 | -0.718 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998402 | 998721 | -319 | 319000 | 0.319 | 999993 | 999993 | 0 | 0 | 0
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1536 | 550 | 986 | -986000 | -0.986 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1908 | 1833 | 75 | 75000 | 0.075 | 23395 | 23394 | 1 | 1000 | 0.001
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 337 | 294 | 43 | 43000 | 0.043 | 2825 | 2827 | -2 | -2000 | -0.002
| NDPL(+) continue | [14 empty] | DECEMBER-2014
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1204 | 1235 | -31 | -31000 | -0.031 | 61321 | 61321 | 0 | 0 | 0
REWARI LINE
39 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 171078 | 170202 | 876 | 109500 | 0.1095 | 260482 | 260365 | 117 | 14625 | 0.014625
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9282 | 9332 | -50 | -5000 | -0.005 | 29008 | 28967 | 41 | 4100 | 0.0041
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11236 | 11196 | 40 | 4000 | 0.004 | 58533 | 58125 | 408 | 40800 | 0.0408
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17669 | 17513 | 156 | 15600 | 0.0156 | 61597 | 61161 | 436 | 43600 | 0.0436
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 4955 | 4676 | 279 | 27900 | 0.0279 | 4059 | 3997 | 62 | 6200 | 0.0062
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17247 | 17532 | -285 | -28500 | -0.0285 | 19583 | 19576 | 7 | 700 | 0.0007
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 996933 | 997402 | -469 | -20842.36 | -0.020842 | 505 | 522 | -17 | -755.48 | -0.00075548
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5626 | 5656 | -30 | -15000 | -0.015 | 31320 | 31320 | 0 | 0 | 0
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3862 | 3817 | 45 | 22500 | 0.0225 | 29047 | 29046 | 1 | 500 | 0.0005
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6318 | 6281 | 37 | 18500 | 0.0185 | 14891 | 14891 | 0 | 0 | 0
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1426 | 1354 | 72 | 48000 | 0.048 | 935 | 935 | 0 | 0 | 0
D.M.S.
54 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) |  | 999532 | 999686 | -154 | 0 | 0 | 26 | 24 | 2 | 0 | 0
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7708 | 7746 | -38 | -3800 | -0.0038 | 15271 | 15271 | 0 | 0 | 0
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24582 | 24187 | 395 | 39500 | 0.0395 | 57137 | 57130 | 7 | 700 | 0.0007
57 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998530 | 998576 | -46 | -4600 | -0.0046 | 59 | 61 | -2 | -200 | -0.0002
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 176632 | 176410 | 222 | 22200 | 0.0222 | 50455 | 50196 | 259 | 25900 | 0.0259
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 17842 | 17761 | 81 | 8100 | 0.0081 | 64861 | 64577 | 284 | 28400 | 0.0284
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5967 | 5828 | 139 | 13900 | 0.0139 | 2476 | 1831 | 645 | 64500 | 0.0645
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 156846 | 154395 | 2451 | 245100 | 0.2451 | 20888 | 20888 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23200 | 22944 | 256 | 25600 | 0.0256 | 44418 | 44418 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 382 | 382 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995592 | 995590 | 2 | -800 | -0.0008 | 50 | 50 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 1000001 | -12 | -4800 | -0.0048 | 999997 | 999998 | -1 | -400 | -0.0004
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 985954 | 988124 | -2170 | -1736000 | -1.736 | 264 | 264 | 0 | 0 | 0
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 994738 | 993211 | 1527 | 1221600 | 1.2216 | 73 | 73 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -9.1369 |  |  |  |  | 0.18657
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 17776 | 17423 | 353 | -35300 | -0.0353 | 16059 | 16024 | 35 | -3500 | -0.0035
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11199 | 10848 | 351 | -351000 | -0.351 | 7606 | 7604 | 2 | -2000 | -0.002
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 5011 | 4409 | 602 | -120400 | -0.1204 | 15073 | 15073 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999449 | 999496 | -47 | 47000 | 0.047 | 937 | 937 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 10658 | 10930 | -272 | 27200 | 0.0272 | 61411 | 61454 | -43 | 4300 | 0.0043
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 932409 | 936551 | -4142 | 4142000 | 4.142 | 991947 | 991947 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 3.7095 |  |  |  |  | -0.0012
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -9.1369 |  |  |  |  | 0.18657
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 3.7095 |  |  |  |  | -0.0012
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.2524 |  |  |  |  | 0.025388
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -4.175 |  |  |  |  | 0.21076
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.175 | (REACTIVE MUs) |  |  |  | 0.21076 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.97033 | (REACTIVE MUs) |  |  |  | -2.9586 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.2047 | (REACTIVE MUs) |  |  |  | -2.7478 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 5673 | 10503 | -4830 | -483000 | -0.483 | 77099 | 81212 | -4113 | -411300 | -0.4113
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16245 | 16751 | -506 | -50600 | -0.0506 | 39411 | 38237 | 1174 | 117400 | 0.1174
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 974 | 704 | 270 | 162000 | 0.162 | 5675 | 5477 | 198 | 118800 | 0.1188
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 1964 | 2031 | -67 | -6700 | -0.0067 | 1865 | 2292 | -427 | -42700 | -0.0427
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 15518 | 13925 | 1593 | 159300 | 0.1593 | 165307 | 164360 | 947 | 94700 | 0.0947
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 16128 | 14607 | 1521 | 152100 | 0.1521 | 122775 | 122648 | 127 | 12700 | 0.0127
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992630 | 993077 | -447 | -447000 | -0.447 | 947 | 947 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998453 | 998510 | -57 | -57000 | -0.057 | 2030 | 2030 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 600 | 447 | 153 | 153000 | 0.153 | 1540 | 1540 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998653 | 998942 | -289 | -289000 | -0.289 | 2688 | 2688 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998096 | 998175 | -79 | -79000 | -0.079 | 4442 | 4442 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000383 | 999898 | 485 | 485000 | 0.485 | 2293 | 2293 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999806 | 999611 | 195 | 195000 | 0.195 | 16763 | 16729 | 34 | 34000 | 0.034
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1185 | 1250 | -65 | -65000 | -0.065 | 37359 | 37359 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 116 | 185 | -69 | -69000 | -0.069 | 27536 | 27536 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1421 | 1455 | -34 | -34000 | -0.034 | 9303 | 9303 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 8650 | 8295 | 355 | 35500 | 0.0355 | 250 | 250 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998357 | 998588 | -231 | -231000 | -0.231 | 14136 | 14136 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 713064 | 716482 | -3418 | -3759800 | -3.7598
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 749869 | 754149 | -4280 | -4708000 | -4.708
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984871 | 985450 | -579 | -579000 | -0.579 | 9080 | 9080 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.9815 |  |  |  |  | -8.4338
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957566 | 957832 | -266 | 266000 | 0.266 | 949292 | 949292 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966904 | 967332 | -428 | 428000 | 0.428 | 955464 | 955464 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 382 | 382 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 523 | 366 | 157 | 157000 | 0.157 | 6068 | 6050 | 18 | 18000 | 0.018
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44644 | 44254 | 390 | -390000 | -0.39 | 974200 | 974200 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30218 | 26925 | 3293 | -3293000 | -3.293 | 969805 | 969802 | 3 | -3000 | -0.003
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996057 | 995811 | 246 | -246000 | -0.246 | 995811 | 995966 | -155 | 155000 | 0.155
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975140 | 975542 | -402 | 402000 | 0.402 | 992285 | 992352 | -67 | 67000 | 0.067
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1458 | 864 | 594 | 1188000 | 1.188 | 999790 | 999790 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1109 | 682 | 427 | 854000 | 0.854 | 999998 | 999998 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 5011 | 4409 | 602 | 120400 | 0.1204 | 15073 | 15073 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999449 | 999496 | -47 | -47000 | -0.047 | 937 | 937 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 100399 | 101360 | -961 | -96100 | -0.0961 | 1595 | 1595 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151871 | 152658 | -787 | -78700 | -0.0787 | 4522 | 4522 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.7838 |  |  |  |  | -8.3072
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.7838 |  |  |  |  | -8.3072
DECEMBER-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985206 | 986409 | -1203 | 1203000 | 1.203 | 908372 | 908479 | -107 | 107000 | 0.107
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7585 | 8363 | -778 | 778000 | 0.778 | 927719 | 927899 | -180 | 180000 | 0.18
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985723 | 987113 | -1390 | 1390000 | 1.39 | 973132 | 973212 | -80 | 80000 | 0.08
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996164 | 996164 | 0 | 0 | 0 | 986687 | 986687 | 0 | 0 | 0 | wef 23/12/14
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 896151 | 895052 | 1099 | -1099000 | -1.099 | 990279 | 990326 | -47 | 47000 | 0.047
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 882540 | 883472 | -932 | 932000 | 0.932 | 988831 | 988831 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4785 | 4335 | 450 | -450000 | -0.45 | 984451 | 984468 | -17 | 17000 | 0.017
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999779 | 999743 | 36 | -72000 | -0.072 | 976698 | 976884 | -186 | 372000 | 0.372
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999017 | 999113 | -96 | 96000 | 0.096 | 945267 | 945357 | -90 | 90000 | 0.09
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989342 | 991518 | -2176 | 2176000 | 2.176 | 991627 | 991643 | -16 | 16000 | 0.016
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957782 | 958498 | -716 | 716000 | 0.716 | 863161 | 863162 | -1 | 1000 | 0.001
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18230 | 19771 | -1541 | 1541000 | 1.541 | 34929 | 34929 | 0 | 0 | 0
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21789 | 22312 | -523 | 523000 | 0.523 | 44987 | 44989 | -2 | 2000 | 0.002
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 7.734 |  |  |  |  | 0.912
| (B) NET ENERGY TO EAST | [8 empty] | 7.734 |  |  |  |  | 0.912
DECEMBER-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 3711 | 2862 | 849 | -339600 | -0.3396 | 999653 | 999653 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 3399 | 2936 | 463 | -231500 | -0.2315 | 4170 | 4170 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 47338 | 47158 | 180 | -36000 | -0.036 | 77704 | 77666 | 38 | -7600 | -0.0076
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72915 | 73347 | -432 | 43200 | 0.0432 | 139408 | 139428 | -20 | 2000 | 0.002
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 979927 | 980377 | -450 | 90000 | 0.09 | 999086 | 999045 | 41 | -8200 | -0.0082
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 76230 | 75031 | 1199 | -239800 | -0.2398 | 95260 | 95173 | 87 | -17400 | -0.0174
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 9868 | 8833 | 1035 | -828000 | -0.828 | 4120 | 4120 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13632 | 13683 | -51 | 102000 | 0.102 | 2256 | 2256 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 982323 | 982774 | -451 | 360800 | 0.3608 | 990795 | 990799 | -4 | 3200 | 0.0032
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 984945 | 986506 | -1561 | 1248800 | 1.2488 | 987707 | 987727 | -20 | 16000 | 0.016
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 991756 | 992980 | -1224 | 979200 | 0.9792 | 994829 | 994839 | -10 | 8000 | 0.008
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991110 | 991231 | -121 | 121000 | 0.121 | 36473 | 36473 | 0 | 0 | 0
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 994353 | 993831 | 522 | -695998.26 | -0.696 | 998577 | 998577 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1908 | 1833 | 75 | -75000 | -0.075 | 23395 | 23394 | 1 | -1000 | -0.001
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 337 | 294 | 43 | -43000 | -0.043 | 2825 | 2827 | -2 | 2000 | 0.002
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1204 | 1235 | -31 | 31000 | 0.031 | 61321 | 61321 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5626 | 5656 | -30 | 15000 | 0.015 | 31320 | 31320 | 0 | 0 | 0
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3862 | 3817 | 45 | -22500 | -0.0225 | 29047 | 29046 | 1 | -500 | -0.0005
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6318 | 6281 | 37 | -18500 | -0.0185 | 14891 | 14891 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1426 | 1354 | 72 | -48000 | -0.048 | 935 | 935 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 156846 | 154395 | 2451 | -245100 | -0.2451 | 20888 | 20888 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23200 | 22944 | 256 | -25600 | -0.0256 | 44418 | 44418 | 0 | 0 | 0
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) |  | 999532 | 999686 | -154 | 0 | 0 | 26 | 24 | 2 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7708 | 7746 | -38 | 3800 | 0.0038 | 15271 | 15271 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24582 | 24187 | 395 | -39500 | -0.0395 | 57137 | 57130 | 7 | -700 | -0.0007
26 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998530 | 998576 | -46 | 4600 | 0.0046 | 59 | 61 | -2 | 200 | 0.0002
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 176632 | 176410 | 222 | -22200 | -0.0222 | 50455 | 50196 | 259 | -25900 | -0.0259
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 17842 | 17761 | 81 | -8100 | -0.0081 | 64861 | 64577 | 284 | -28400 | -0.0284
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5967 | 5828 | 139 | -13900 | -0.0139 | 2476 | 1831 | 645 | -64500 | -0.0645
[10 empty] | 0.067102 |  |  |  |  | -0.1228
DECEMBER-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.7838 |  |  |  |  | -8.3072
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.067102 |  |  |  |  | -0.1228
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.5648 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -3.2815 |  |  |  |  | -8.43
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 7.734 |  |  |  |  | 0.912
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 4.4525 |  |  |  |  | -7.518
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.4525 | (REACTIVE MUs) |  |  |  | -7.518 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.70303 | (REACTIVE MUs) |  |  |  | -2.1436 | (REACTIVE MUs)
[9 empty] | TOTAL | 5.1555 | (REACTIVE MUs) |  |  |  | -9.6616 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 45 | 38 | 7 | 35000 | 0.035 | 999922 | 999946 | -24 | -120000 | -0.12
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985130 | 985483 | -353 | -470665.49 | -0.47067 | 673057 | 673073 | -16 | -21333.28 | -0.021333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 10325 | 10007 | 318 | 159000 | 0.159 | 69014 | 68944 | 70 | 35000 | 0.035
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12565 | 12567 | -2 | -2000 | -0.002 | 999555 | 999386 | 169 | 169000 | 0.169
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 13418 | 12832 | 586 | 58600 | 0.0586 | 134409 | 134080 | 329 | 32900 | 0.0329
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 723777 | 731037 | -7260 | -544500 | -0.5445 | 30209 | 30440 | -231 | -17325 | -0.017325
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 997176 | 998790 | -1614 | -121050 | -0.12105 | 2968 | 3449 | -481 | -36075 | -0.036075
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 251 | 411 | -160 | 80000 | 0.08 | 995655 | 995687 | -32 | 16000 | 0.016
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987876 | 987973 | -97 | 97000 | 0.097 | 948612 | 948629 | -17 | 17000 | 0.017
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998909 | 999530 | -621 | 621000 | 0.621 | 996525 | 996526 | -1 | 1000 | 0.001
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991393 | 992006 | -613 | 613000 | 0.613 | 946044 | 946045 | -1 | 1000 | 0.001
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984121 | 985454 | -1333 | 1333000 | 1.333 | 973167 | 973167 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28675 | 26803 | 1872 | -1872000 | -1.872 | 983728 | 983728 | 0 | 0 | 0
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30956 | 27622 | 3334 | -3334000 | -3.334 | 995352 | 995352 | 0 | 0 | 0
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5015 | 5375 | -360 | 360000 | 0.36 | 999557 | 999688 | -131 | 131000 | 0.131
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5107 | 6533 | -1426 | 1426000 | 1.426 | 996861 | 996962 | -101 | 101000 | 0.101
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26272 | 26931 | -659 | 659000 | 0.659 | 3193 | 3255 | -62 | 62000 | 0.062
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6843 | 6516 | 327 | -327000 | -0.327 | 998980 | 999024 | -44 | 44000 | 0.044
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11199 | 10848 | 351 | 351000 | 0.351 | 7606 | 7604 | 2 | 2000 | 0.002
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999420 | 999841 | -421 | 421000 | 0.421 | 999981 | 1000000 | -19 | 19000 | 0.019
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950924 | 951251 | -327 | 327000 | 0.327 | 842987 | 842987 | 0 | 0 | 0
| Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wef 14/12/14
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000077 | 999345 | 732 | -732000 | -0.732 | 967761 | 967782 | -21 | 21000 | 0.021
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991863 | 993149 | -1286 | 1286000 | 1.286 | 947242 | 947350 | -108 | 108000 | 0.108
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997641 | 999683 | -2042 | 2042000 | 2.042 | 39247 | 39247 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999561 | 999409 | 152 | -152000 | -0.152 | 999087 | 999087 | 0 | 0 | 0
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996720 | 996707 | 13 | -13000 | -0.013 | 866969 | 866972 | -3 | 3000 | 0.003
BRPL(+) continue | [14 empty] | DECEMBER-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996816 | 996988 | -172 | 172000 | 0.172 | 972465 | 972465 | 0 | 0 | 0
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998925 | 999148 | -223 | 223000 | 0.223 | 999923 | 999979 | -56 | 56000 | 0.056
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999822 | 999146 | 676 | -1352000 | -1.352 | 969830 | 969830 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994656 | 994771 | -115 | 115000 | 0.115 | 910253 | 910261 | -8 | 8000 | 0.008
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995028 | 995039 | -11 | 11000 | 0.011 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998297 | 998380 | -83 | 83000 | 0.083 | 995187 | 995194 | -7 | 7000 | 0.007
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986504 | 987973 | -1469 | 1469000 | 1.469 | 988659 | 988707 | -48 | 48000 | 0.048
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 979701 | 975282 | 4419 | -2945997.054 | -2.946 | 978858 | 978858 | 0 | 0 | 0
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 996277 | 996907 | -630 | 1575000 | 1.575 | 501 | 501 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2738 | 2465 | 273 | -546000 | -0.546 | 1920 | 1918 | 2 | -4000 | -0.004
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999804 | 999512 | 292 | -584000 | -0.584 | 994 | 993 | 1 | -2000 | -0.002
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934960 | 936315 | -1355 | 1355000 | 1.355 | 990583 | 990583 | 0 | 0 | 0
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943980 | 945715 | -1735 | 1735000 | 1.735 | 994648 | 994648 | 0 | 0 | 0
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993096 | 993096 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 25798 | 25568 | 230 | 184000 | 0.184 | 1521 | 1521 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 926513 | 927529 | -1016 | -812800 | -0.8128 | 999636 | 999636 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991110 | 991231 | -121 | -121000 | -0.121 | 36473 | 36473 | 0 | 0 | 0
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 994353 | 993831 | 522 | 695998.26 | 0.696 | 998577 | 998577 | 0 | 0 | 0
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21932 | 20243 | 1689 | -1689000 | -1.689 | 973864 | 973864 | 0 | 0 | 0
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11685 | 9526 | 2159 | -2159000 | -2.159 | 989220 | 989220 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 17776 | 17423 | 353 | 35300 | 0.0353 | 16059 | 16024 | 35 | 3500 | 0.0035
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 10658 | 10930 | -272 | -27200 | -0.0272 | 61411 | 61454 | -43 | -4300 | -0.0043
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 932409 | 936551 | -4142 | -4142000 | -4.142 | 991947 | 991947 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 583 | 197 | 386 | 28950 | 0.02895 | 1954 | 1954 | 0 | 0 | 0
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 11677 | 11289 | 388 | 38800 | 0.0388 | 26588 | 26588 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.3576 |  |  |  |  | 0.68037
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 54625 | 51490 | 3135 | -313500 | -0.3135 | 909270 | 909270 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 100399 | 101360 | -961 | 96100 | 0.0961 | 1595 | 1595 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151871 | 152658 | -787 | 78700 | 0.0787 | 4522 | 4522 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995385 | 995580 | -195 | 19500 | 0.0195 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996361 | 996426 | -65 | 6500 | 0.0065 | 999911 | 999911 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3446 | 3251 | 195 | -195000 | -0.195 | 73763 | 73763 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14102 | 13668 | 434 | -434000 | -0.434 | 170 | 170 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 904900 | 904506 | 394 | -197000 | -0.197 | 54657 | 54657 | 0 | 0 | 0
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 9372 | 11586 | -2214 | 885600 | 0.8856 | 3081 | 3081 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 69444 | 68993 | 451 | -45100 | -0.0451 | 65457 | 65437 | 20 | -2000 | -0.002
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 68902 | 67115 | 1787 | -178700 | -0.1787 | 63756 | 63752 | 4 | -400 | -0.0004
12 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85777 | 86088 | -311 | 62200 | 0.0622 | 118057 | 118057 | 0 | 0 | 0
| VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 999978 | 1000000 | -22 | 2200 | 0.0022 | 6 | 0 | 6 | -600 | -0.0006 | wef 14/12/14
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 169 | 183 | -14 | -7000 | -0.007 | 17120 | 17120 | 0 | 0 | 0
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 2852 | 3106 | -254 | -21165.82 | -0.021166 | 978921 | 978921 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 323706 | 319624 | 4082 | -408200 | -0.4082 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3872 | 3913 | -41 | 4100 | 0.0041 | 21307 | 21229 | 78 | -7800 | -0.0078
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 171078 | 170202 | 876 | -109500 | -0.1095 | 260482 | 260365 | 117 | -14625 | -0.014625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9282 | 9332 | -50 | 5000 | 0.005 | 29008 | 28967 | 41 | -4100 | -0.0041
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11236 | 11196 | 40 | -4000 | -0.004 | 58533 | 58125 | 408 | -40800 | -0.0408
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17669 | 17513 | 156 | -15600 | -0.0156 | 61597 | 61161 | 436 | -43600 | -0.0436
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 4955 | 4676 | 279 | -27900 | -0.0279 | 4059 | 3997 | 62 | -6200 | -0.0062
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17247 | 17532 | -285 | 28500 | 0.0285 | 19583 | 19576 | 7 | -700 | -0.0007
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 996933 | 997402 | -469 | 20842.36 | 0.020842 | 505 | 522 | -17 | 755.48 | 0.00075548
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995592 | 995590 | 2 | 800 | 0.0008 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 1000001 | -12 | 4800 | 0.0048 | 999997 | 999998 | -1 | 400 | 0.0004
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.74182 |  |  |  |  | -0.11967
DECEMBER-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -4.3576 |  |  |  |  | 0.68037
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.74182 |  |  |  |  | -0.11967
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.6039 |  |  |  |  | 0.1524
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0465 |  |  |  |  | -0.0182
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.542 |  |  |  |  | 0.6949
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.542 | (REACTIVE MUs) |  |  |  | 0.6949 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.2549 | (REACTIVE MUs) |  |  |  | -3.8263 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.2871 | (REACTIVE MUs) |  |  |  | -3.1314 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 47338 | 47158 | 180 | 36000 | 0.036 | 77704 | 77666 | 38 | 7600 | 0.0076
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72915 | 73347 | -432 | -43200 | -0.0432 | 139408 | 139428 | -20 | -2000 | -0.002
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 979927 | 980377 | -450 | -90000 | -0.09 | 999086 | 999045 | 41 | 8200 | 0.0082
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 76230 | 75031 | 1199 | 239800 | 0.2398 | 95260 | 95173 | 87 | 17400 | 0.0174
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 9868 | 8833 | 1035 | 828000 | 0.828 | 4120 | 4120 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13632 | 13683 | -51 | -102000 | -0.102 | 2256 | 2256 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 982323 | 982774 | -451 | -360800 | -0.3608 | 990795 | 990799 | -4 | -3200 | -0.0032
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 984945 | 986506 | -1561 | -1248800 | -1.2488 | 987707 | 987727 | -20 | -16000 | -0.016
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 991756 | 992980 | -1224 | -979200 | -0.9792 | 994829 | 994839 | -10 | -8000 | -0.008
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998266 | 998785 | -519 | -51900 | -0.0519 | 385304 | 384849 | 455 | 45500 | 0.0455
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 16222 | 15067 | 1155 | 115500 | 0.1155 | 367855 | 367164 | 691 | 69100 | 0.0691
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 2670 | 3798 | -1128 | -112800 | -0.1128 | 363738 | 364258 | -520 | -52000 | -0.052
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995952 | 996612 | -660 | -66000 | -0.066 | 308661 | 308586 | 75 | 7500 | 0.0075
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 1473 | 2065 | -592 | -59200 | -0.0592 | 191275 | 191473 | -198 | -19800 | -0.0198
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13110 | 13618 | -508 | -50800 | -0.0508 | 259359 | 259464 | -105 | -10500 | -0.0105
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 53902 | 52545 | 1357 | 135700 | 0.1357 | 706071 | 705757 | 314 | 31400 | 0.0314
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 90104 | 90337 | -233 | -256300 | -0.2563
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2105 | 2455 | -350 | -350000 | -0.35 | 39867 | 39867 | 0 | 0 | 0
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 149119 | 149863 | -744 | -818400 | -0.8184
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5369 | 6041 | -672 | -672000 | -0.672 | 54070 | 54070 | 0 | 0 | 0
[10 empty] | -1.022 |  |  |  |  | -1.0747
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3446 | 3251 | 195 | 195000 | 0.195 | 73763 | 73763 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14102 | 13668 | 434 | 434000 | 0.434 | 170 | 170 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 904900 | 904506 | 394 | 197000 | 0.197 | 54657 | 54657 | 0 | 0 | 0
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 9372 | 11586 | -2214 | -885600 | -0.8856 | 3081 | 3081 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 169 | 183 | -14 | 7000 | 0.007 | 17120 | 17120 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 2852 | 3106 | -254 | 21166.6667 | 0.021167 | 978921 | 978921 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
DECEMBER-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975123 | 977522 | -2399 | 2399000 | 2.399 | 978508 | 978508 | 0 | 0 | 0
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976694 | 977828 | -1134 | 1134000 | 1.134 | 984585 | 984585 | 0 | 0 | 0
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992123 | 993300 | -1177 | 1177000 | 1.177 | 996400 | 996400 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 323706 | 319624 | 4082 | 408200 | 0.4082 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3872 | 3913 | -41 | -4100 | -0.0041 | 21307 | 21229 | 78 | 7800 | 0.0078
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 69444 | 68993 | 451 | 45100 | 0.0451 | 65457 | 65437 | 20 | 2000 | 0.002
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 68902 | 67115 | 1787 | 178700 | 0.1787 | 63756 | 63752 | 4 | 400 | 0.0004
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85777 | 86088 | -311 | -62200 | -0.0622 | 118057 | 118057 | 0 | 0 | 0
| VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 999978 | 1000000 | -22 | -2200 | -0.0022 | 6 | 0 | 6 | 600 | 0.0006 | wef 14/12/14
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 54625 | 51490 | 3135 | 313500 | 0.3135 | 909270 | 909270 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 583 | 197 | 386 | -28950 | -0.02895 | 1954 | 1954 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 11677 | 11289 | 388 | -38800 | -0.0388 | 26588 | 26588 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.6561 |  |  |  |  | -0.9887
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.6561 |  |  |  |  | -0.9887
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.15765 |  |  |  |  | -0.48067
| TOTAL ENERGY TO NDMC | [8 empty] | 2.8138 |  |  |  |  | -1.4694

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1635 | 1412 | 223 | 223000 | 0.223 | 27634 | 27620 | 14 | 14000 | 0.014
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1137 | 983 | 154 | 154000 | 0.154 | 29145 | 29135 | 10 | 10000 | 0.01
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2772 | 2413 | 359 | 359000 | 0.359 | 36254 | 36242 | 12 | 12000 | 0.012
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965 | 889 | 76 | 76000 | 0.076 | 20420 | 20417 | 3 | 3000 | 0.003
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4733 | 4457 | 276 | 276000 | 0.276 | 10879 | 10879 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11650 | 11652 | -2 | -1000 | -0.001 | 59060 | 59029 | 31 | 15500 | 0.0155
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995385 | 995580 | -195 | -19500 | -0.0195 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996361 | 996426 | -65 | -6500 | -0.0065 | 999911 | 999911 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.061 |  |  |  |  | 0.0545
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53244 | 53195 | 49 | 4900 | 0.0049 | 76653 | 76638 | 15 | 1500 | 0.0015
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 74389 | 74389 | 0 | 0 | 0 | 12991 | 12991 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 51291 | 50875 | 416 | 41600 | 0.0416 | 67291 | 67126 | 165 | 16500 | 0.0165
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84820 | 84820 | 0 | 0 | 0 | 60454 | 60452 | 2 | 200 | 0.0002
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9371 | 9371 | 0 | 0 | 0 | 3035 | 3033 | 2 | 200 | 0.0002
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0465 |  |  |  |  | 0.0182
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0465 |  |  |  |  | 0.0182
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.061 |  |  |  |  | 0.0545
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 1.1075 |  |  |  |  | 0.0727
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.1075 | (REACTIVE MUs) |  |  |  | 0.0727 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.032576 | (REACTIVE MUs) |  |  |  | -0.099326 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.1401 | (REACTIVE MUs) |  |  |  | -0.026626 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 6633 | 7365 | -732 | -73200 | -0.0732 | 1684 | 1684 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 3283 | 1490 | 1793 | 179300 | 0.1793 | 999129 | 999129 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 276301 | 270360 | 5941 | 594100 | 0.5941 | 102908 | 102908 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 37221 | 36435 | 786 | 736875 | 0.73687 | 19113 | 19113 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 984930 | 985175 | -245 | 122500 | 0.1225 | 913935 | 914083 | -148 | 74000 | 0.074
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989112 | 989188 | -76 | 38000 | 0.038 | 978299 | 978448 | -149 | 74500 | 0.0745
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 1000010 | 999989 | 21 | 6300 | 0.0063 | 17 | 4 | 13 | 3900 | 0.0039
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.6039 |  |  |  |  | 0.1524
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 922675 | 924256 | -1581 | -316200 | -0.3162 | 992200 | 992200 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 958536 | 964779 | -6243 | -1248600 | -1.2486 | 999404 | 999404 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.5648 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 258145 | 255931 | 2214 | 442800 | 0.4428 | 265534 | 265534 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 117542 | 114962 | 2580 | 516000 | 0.516 | 42458 | 42458 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 194086 | 189236 | 4850 | 485000 | 0.485 | 74292 | 74291 | 1 | 100 | 0.0001
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999748 | 999890 | -142 | -142000 | -0.142 | 1000000 | 999998 | 2 | 2000 | 0.002
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 958151 | 959357 | -1206 | -120600 | -0.1206 | 6919 | 6919 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999139 | 999169 | -30 | -28125 | -0.028125 | 997413 | 997384 | 29 | 27187.5 | 0.027187
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985557 | 985726 | -169 | 105625 | 0.10562 | 995393 | 995393 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 1000010 | 999989 | 21 | -6300 | -0.0063 | 17 | 4 | 13 | -3900 | -0.0039
| TOTAL NDPL | [8 empty] | 1.2524 |  |  |  |  | 0.025388
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.6039 |  |  |  |  | 0.1524
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.5648 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.2524 |  |  |  |  | 0.025388

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 10483 | 8535 | 1948 | 3896000 | 3.896 | 804 | 804 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 17147 | 16458 | 689 | 1378000 | 1.378 | 2292 | 2292 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 5.274 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 993093 | 993406 | -313 | -313000 | -0.313 | 38627 | 38627 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996123 | 995962 | 161 | 161000 | 0.161 | 993895 | 993895 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | -0.152 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.122 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.9815 |  |  |  |  | -8.4338
[7 empty] | NDMC = |  |  | -1.022 |  |  |  |  | -1.0747
MES =
[7 empty] | 2)TOTAL |  |  | -2.0035 |  |  |  |  | -9.5085
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 3.1185 |  |  |  |  | -9.5085
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.1152 | % |  |  | 0.97033 |  |  |  |  | -2.9586
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.2413 | % |  |  | 1.2549 |  |  |  |  | -3.8263
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5438 | % |  |  | 0.70303 |  |  |  |  | -2.1436
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0552 | % |  |  | 0.15765 |  |  |  |  | -0.48067
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0446 | % |  |  | 0.032576 |  |  |  |  | -0.099326
Note :Sharing taken from wk-37 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st December-2014 TO 31st December-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -3.2047 | -2.7478
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -2.2871 | -3.1314
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 5.1555 | -9.6616
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.8138 | -1.4694
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 1.1401 | -0.026626
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2015 | INTIAL READING 01/12/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952431 | 952373 | 58 | 87000 | 0.087 | 979525 | 979525 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991652 | 992213 | -561 | -841500 | -0.8415 | 995425 | 995425 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 982389 | 989647 | -7258 | -5443500 | -5.4435 | 999331 | 999331 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -6.198 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997874 | 8 | 40000 | 0.04 | 27986 | 28176 | -190 | -950000 | -0.95
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999729 | 999728 | 1 | 1000 | 0.001 | 999778 | 999813 | -35 | -35000 | -0.035
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976342 | 975564 | 778 | 778000 | 0.778 | 991307 | 991440 | -133 | -133000 | -0.133
[8 empty] | NET REACTIVE ENERGY |  | 0.819 |  |  | NET REACTIVE ENERGY |  | -1.118