## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992186 | 993693 | -1507 | 1507000 | 1.507 | 999254 | 999254 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997085 | 997758 | -673 | 673000 | 0.673 | 998261 | 998273 | -12 | 12000 | 0.012
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7991 | 9070 | -1079 | 1079000 | 1.079 | 996281 | 996281 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974487 | 974560 | -73 | 73000 | 0.073 | 976183 | 976185 | -2 | 2000 | 0.002
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918117 | 918203 | -86 | 86000 | 0.086 | 941048 | 941052 | -4 | 4000 | 0.004
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21437 | 20428 | 1009 | -1009000 | -1.009 | 17169 | 17170 | -1 | 1000 | 0.001
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15798 | 16976 | -1178 | 1178000 | 1.178 | 13079 | 13097 | -18 | 18000 | 0.018
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 15442 | 15695 | -253 | 316250 | 0.31625 | 995453 | 995461 | -8 | 10000 | 0.01
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9606 | 10455 | -849 | 849000 | 0.849 | 985257 | 985266 | -9 | 9000 | 0.009
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31385 | 31173 | 212 | -212000 | -0.212 | 9098 | 9098 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994424 | 994596 | -172 | 172000 | 0.172 | 3866 | 3866 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994658 | 995430 | -772 | 772000 | 0.772 | 999329 | 999329 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 912008 | 915214 | -3206 | -3206000 | -3.206 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991733 | 992564 | -831 | 831000 | 0.831 | 16927 | 16927 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 283 | 230 | 53 | -53000 | -0.053 | 19649 | 19649 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1378 | 1098 | 280 | -280000 | -0.28 | 999938 | 999938 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999755 | 999836 | -81 | -16200 | -0.0162 | 993113 | 993174 | -61 | -12200 | -0.0122
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 415 | 352 | 63 | 63000 | 0.063 | 29293 | 29306 | -13 | -13000 | -0.013
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2848 | 2672 | 176 | 17600 | 0.0176 | 154882 | 154878 | 4 | 400 | 0.0004
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 11028 | 9154 | 1874 | 187400 | 0.1874 | 229926 | 229711 | 215 | 21500 | 0.0215
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996148 | 996128 | 20 | 20000 | 0.02 | 3929 | 3942 | -13 | -13000 | -0.013
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 112 | 41 | 71 | 71000 | 0.071 | 8141 | 8153 | -12 | -12000 | -0.012
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 643596 | 644515 | -919 | -919000 | -0.919 | 798972 | 798972 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 650416 | 652027 | -1611 | -1611000 | -1.611 | 832151 | 832151 | 0 | 0 | 0
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 829 | 448 | 381 | 152400 | 0.1524 | 0 | 0 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2064 | 1838 | 226 | 113000 | 0.113 | 2061 | 2047 | 14 | 7000 | 0.007
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15123 | 14683 | 440 | -440000 | -0.44 | 981888 | 981888 | 0 | 0 | 0
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4459 | 3169 | 1290 | -1290000 | -1.29 | 999834 | 999834 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994012 | 993549 | 463 | -463000 | -0.463 | 925828 | 925950 | -122 | 122000 | 0.122
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2495 | 2109 | 386 | -386000 | -0.386 | 999894 | 999908 | -14 | 14000 | 0.014
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51186 | 48569 | 2617 | -2617000 | -2.617 | 999944 | 999926 | 18 | -18000 | -0.018
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000296 | 999722 | 574 | -574000 | -0.574 | 999999 | 999999 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000382 | 999792 | 590 | -590000 | -0.59 | 0 | 0 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
34 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1649 | 1564 | 85 | 85000 | 0.085 | 21111 | 21101 | 10 | 10000 | 0.01
35 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 176 | 269 | -93 | -93000 | -0.093 | 2015 | 2013 | 2 | 2000 | 0.002
| NDPL(+) continue | [14 empty] | JANUARY-2014
DMS
36 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1160 | 1194 | -34 | -34000 | -0.034 | 60903 | 60903 | 0 | 0 | 0
REWARI LINE
37 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 804 | 804 | 0 | 0 | 0 | 77767 | 77729 | 38 | 3800 | 0.0038
VISHAL
38 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9516 | 9213 | 303 | 30300 | 0.0303 | 28944 | 28708 | 236 | 23600 | 0.0236
39 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10500 | 10525 | -25 | -2500 | -0.0025 | 51166 | 51109 | 57 | 5700 | 0.0057
40 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16003 | 15813 | 190 | 19000 | 0.019 | 54139 | 53799 | 340 | 34000 | 0.034
S.B.MILL
41 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 42712 | 42428 | 284 | 28400 | 0.0284 | 17558 | 17222 | 336 | 33600 | 0.0336
42 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
43 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
44 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17043 | 16873 | 170 | 17000 | 0.017 | 15656 | 15236 | 420 | 42000 | 0.042
47 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998772 | 999086 | -314 | -13954.16 | -0.013954 | 372 | 587 | -215 | -9554.6 | -0.0095546
B.G.ROAD
48 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5522 | 5452 | 70 | 35000 | 0.035 | 28829 | 28792 | 37 | 18500 | 0.0185
49 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3653 | 3601 | 52 | 26000 | 0.026 | 26679 | 26659 | 20 | 10000 | 0.01
50 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 5360 | 5206 | 154 | 77000 | 0.077 | 14551 | 14551 | 0 | 0 | 0
51 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 659 | 566 | 93 | 62000 | 0.062 | 554 | 554 | 0 | 0 | 0
D.M.S.
52 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 993449 | 993917 | -468 | -46800 | -0.0468 | 5897 | 5898 | -1 | -100 | -0.0001
53 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7916 | 7991 | -75 | -7500 | -0.0075 | 15336 | 15336 | 0 | 0 | 0
54 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23461 | 22445 | 1016 | 101600 | 0.1016 | 54106 | 54105 | 1 | 100 | 0.0001
55 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4619 | 4695 | -76 | -7600 | -0.0076 | 999973 | 999974 | -1 | -100 | -0.0001
56 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998747 | 998783 | -36 | -3600 | -0.0036 | 131 | 131 | 0 | 0 | 0
57 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 18036 | 17398 | 638 | 63800 | 0.0638 | 71879 | 71878 | 1 | 100 | 0.0001
59 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 13702 | 12965 | 737 | 73700 | 0.0737 | 62674 | 62674 | 0 | 0 | 0
60 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 999879 | 998976 | 903 | 90300 | 0.0903 | 999953 | 999952 | 1 | 100 | 0.0001 | Meter changed 30/12/13
KASHMIRI GATE
61 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 141850 | 138816 | 3034 | 303400 | 0.3034 | 23969 | 23963 | 6 | 600 | 0.0006
62 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21153 | 21001 | 152 | 15200 | 0.0152 | 41336 | 41325 | 11 | 1100 | 0.0011
63 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999273 | 0 | 0 | 0 | 999400 | 999398 | 2 | 200 | 0.0002
Mundka
66 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 344 | 344 | 0 | 0 | 0
67 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 990361 | 991539 | -1178 | -942400 | -0.9424 | 999987 | 999987 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -5.6292 |  |  |  |  | 0.32835
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 14946 | 14265 | 681 | -68100 | -0.0681 | 14309 | 14243 | 66 | -6600 | -0.0066
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9527 | 9095 | 432 | -432000 | -0.432 | 7077 | 7061 | 16 | -16000 | -0.016
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4128 | 4288 | -160 | 32000 | 0.032 | 11893 | 11880 | 13 | -2600 | -0.0026
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15191 | 14930 | 261 | -261000 | -0.261 | 31689 | 31680 | 9 | -9000 | -0.009
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11361 | 11533 | -172 | 17200 | 0.0172 | 61482 | 61483 | -1 | 100 | 0.0001
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947433 | 949018 | -1585 | 1585000 | 1.585 | 992454 | 992454 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.8731 |  |  |  |  | -0.0341
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -5.6292 |  |  |  |  | 0.32835
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.8731 |  |  |  |  | -0.0341
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.6329 |  |  |  |  | -0.050263
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -3.1232 |  |  |  |  | 0.24398
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.1232 | (REACTIVE MUs) |  |  |  | 0.24398 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.79507 | (REACTIVE MUs) |  |  |  | -2.2891 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.3282 | (REACTIVE MUs) |  |  |  | -2.0451 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 992888 | 989960 | 2928 | 292800 | 0.2928 | 70840 | 69352 | 1488 | 148800 | 0.1488
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0056 |  |  |  |  | -0.0017 | Metering not in order
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 19966 | 19295 | 671 | 67100 | 0.0671 | 24055 | 23881 | 174 | 17400 | 0.0174
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2995 | 4039 | -1044 | -104400 | -0.1044 | 4575 | 4591 | -16 | -1600 | -0.0016
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0005 |  |  |  |  | 0.2978 | Metering not in order
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0058 |  |  |  |  | -0.07 | Metering not in order
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995214 | 995884 | -670 | -670000 | -0.67 | 835 | 835 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999227 | 999474 | -247 | -247000 | -0.247 | 1942 | 1942 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 854 | 1154 | -300 | -300000 | -0.3 | 1326 | 1326 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999389 | 999600 | -211 | -211000 | -0.211 | 2737 | 2737 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999205 | 999180 | 25 | 25000 | 0.025 | 4093 | 4093 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 585 | 617 | -32 | -32000 | -0.032 | 1075 | 1074 | 1 | 1000 | 0.001
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999911 | 1000101 | -190 | -190000 | -0.19 | 16514 | 16515 | -1 | -1000 | -0.001
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1127 | 927 | 200 | 200000 | 0.2 | 37106 | 37106 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 237 | 259 | -22 | -22000 | -0.022 | 24576 | 24566 | 10 | 10000 | 0.01
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1113 | 1009 | 104 | 104000 | 0.104 | 8377 | 8377 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 2786 | 1704 | 1082 | 108200 | 0.1082 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998124 | 998402 | -278 | -278000 | -0.278 | 12592 | 12589 | 3 | 3000 | 0.003
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 750212 | 754275 | -4063 | -4469300 | -4.4693
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 792273 | 796714 | -4441 | -4885100 | -4.8851
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987876 | 988438 | -562 | -562000 | -0.562 | 9051 | 9052 | -1 | -1000 | -0.001
| KASHMIRI GATE | [8 empty] | -2.0748 |  |  |  |  | -9.3424
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959906 | 960646 | -740 | 740000 | 0.74 | 966186 | 966221 | -35 | 35000 | 0.035
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971846 | 972916 | -1070 | 1070000 | 1.07 | 962279 | 962283 | -4 | 4000 | 0.004
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 72 | 87 | -15 | -15000 | -0.015 | 3520 | 3540 | -20 | -20000 | -0.02
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39212 | 36381 | 2831 | -2831000 | -2.831 | 972937 | 972932 | 5 | -5000 | -0.005
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19019 | 16400 | 2619 | -2619000 | -2.619 | 967896 | 967895 | 1 | -1000 | -0.001
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996801 | 996996 | -195 | 195000 | 0.195 | 996407 | 996415 | -8 | 8000 | 0.008
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979406 | 980251 | -845 | 845000 | 0.845 | 992295 | 992299 | -4 | 4000 | 0.004
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4128 | 4288 | -160 | -32000 | -0.032 | 11893 | 11880 | 13 | 2600 | 0.0026
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15191 | 14930 | 261 | 261000 | 0.261 | 31689 | 31680 | 9 | 9000 | 0.009
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 109927 | 111280 | -1353 | -135300 | -0.1353 | 1617 | 1617 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 109245 | 105385 | 3860 | 386000 | 0.386 | 2383 | 2383 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -3.9655 |  |  |  |  | -8.9151
| (A) NET ENERGY TO CENTRAL | [8 empty] | -3.9655 |  |  |  |  | -8.9151
JANUARY-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993290 | 993757 | -467 | 467000 | 0.467 | 917781 | 917856 | -75 | 75000 | 0.075
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13437 | 13625 | -188 | 188000 | 0.188 | 937575 | 937709 | -134 | 134000 | 0.134
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994886 | 995562 | -676 | 676000 | 0.676 | 981842 | 981903 | -61 | 61000 | 0.061
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 911059 | 913335 | -2276 | 2276000 | 2.276 | 992037 | 992037 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 900369 | 902876 | -2507 | 2507000 | 2.507 | 990458 | 990458 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3837 | 3279 | 558 | -558000 | -0.558 | 992182 | 992192 | -10 | 10000 | 0.01
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999338 | 999009 | 329 | -658000 | -0.658 | 985571 | 985600 | -29 | 58000 | 0.058
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999820 | 999928 | -108 | 108000 | 0.108 | 963243 | 963309 | -66 | 66000 | 0.066
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3553 | 4809 | -1256 | 1256000 | 1.256 | 914509 | 914639 | -130 | 130000 | 0.13
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962486 | 963108 | -622 | 622000 | 0.622 | 870778 | 870828 | -50 | 50000 | 0.05
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21177 | 20586 | 591 | -591000 | -0.591 | 34071 | 34073 | -2 | 2000 | 0.002
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21223 | 20529 | 694 | -694000 | -0.694 | 43767 | 43771 | -4 | 4000 | 0.004
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.599 |  |  |  |  | 0.59
| (B) NET ENERGY TO EAST | [8 empty] | 5.599 |  |  |  |  | 0.59
JANUARY-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 829 | 448 | 381 | -152400 | -0.1524 | 0 | 0 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2064 | 1838 | 226 | -113000 | -0.113 | 2061 | 2047 | 14 | -7000 | -0.007
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 43625 | 42728 | 897 | -179400 | -0.1794 | 72228 | 72223 | 5 | -1000 | -0.001
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 70493 | 70493 | 0 | 0 | 0 | 139686 | 139686 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 982764 | 983165 | -401 | 80200 | 0.0802 | 1910 | 1904 | 6 | -1200 | -0.0012
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 70983 | 69713 | 1270 | -254000 | -0.254 | 88803 | 88791 | 12 | -2400 | -0.0024
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 5694 | 4982 | 712 | -569600 | -0.5696 | 1140 | 1140 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13678 | 13532 | 146 | -292000 | -0.292 | 925 | 924 | 1 | -2000 | -0.002
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983971 | 984467 | -496 | 396800 | 0.3968 | 993044 | 993049 | -5 | 4000 | 0.004
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 990510 | 991894 | -1384 | 1107200 | 1.1072 | 994937 | 994960 | -23 | 18400 | 0.0184
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 995345 | 996344 | -999 | 799200 | 0.7992 | 997817 | 997872 | -55 | 44000 | 0.044
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993816 | 994343 | -527 | 527000 | 0.527 | 37398 | 37395 | 3 | -3000 | -0.003
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 994022 | 994435 | -413 | 550665.29 | 0.55067 | 999560 | 999561 | -1 | 1333.33 | 0.0013333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1649 | 1564 | 85 | -85000 | -0.085 | 21111 | 21101 | 10 | -10000 | -0.01
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 176 | 269 | -93 | 93000 | 0.093 | 2015 | 2013 | 2 | -2000 | -0.002
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1160 | 1194 | -34 | 34000 | 0.034 | 60903 | 60903 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5522 | 5452 | 70 | -35000 | -0.035 | 28829 | 28792 | 37 | -18500 | -0.0185
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3653 | 3601 | 52 | -26000 | -0.026 | 26679 | 26659 | 20 | -10000 | -0.01
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 5360 | 5206 | 154 | -77000 | -0.077 | 14551 | 14551 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 659 | 566 | 93 | -62000 | -0.062 | 554 | 554 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 141850 | 138816 | 3034 | -303400 | -0.3034 | 23969 | 23963 | 6 | -600 | -0.0006
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21153 | 21001 | 152 | -15200 | -0.0152 | 41336 | 41325 | 11 | -1100 | -0.0011
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 993449 | 993917 | -468 | 46800 | 0.0468 | 5897 | 5898 | -1 | 100 | 0.0001
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7916 | 7991 | -75 | 7500 | 0.0075 | 15336 | 15336 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23461 | 22445 | 1016 | -101600 | -0.1016 | 54106 | 54105 | 1 | -100 | -0.0001
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4619 | 4695 | -76 | 7600 | 0.0076 | 999973 | 999974 | -1 | 100 | 0.0001
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998747 | 998783 | -36 | 3600 | 0.0036 | 131 | 131 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 18036 | 17398 | 638 | -63800 | -0.0638 | 71879 | 71878 | 1 | -100 | -0.0001
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 13702 | 12965 | 737 | -73700 | -0.0737 | 62674 | 62674 | 0 | 0 | 0
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 999879 | 998976 | 903 | -90300 | -0.0903 | 999953 | 999952 | 1 | -100 | -0.0001 | Meter changed 30/12/13
[10 empty] | 1.1602 |  |  |  |  | 0.0088333
JANUARY-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -3.9655 |  |  |  |  | -8.9151
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.1602 |  |  |  |  | 0.0088333
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.271 |  |  |  |  | 0.0042
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.0763 |  |  |  |  | -8.9021
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.599 |  |  |  |  | 0.59
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.5227 |  |  |  |  | -8.3121
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.5227 | (REACTIVE MUs) |  |  |  | -8.3121 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.61906 | (REACTIVE MUs) |  |  |  | -1.7824 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.1417 | (REACTIVE MUs) |  |  |  | -10.0944 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998005 | 998057 | -52 | -208000 | -0.208 | 8808 | 8806 | 2 | 8000 | 0.008
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986917 | 987298 | -381 | -507998.73 | -0.508 | 673964 | 673971 | -7 | -9333.31 | -0.0093333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  |  |  | 0.052 |  |  |  |  | 0.078 | Metering not in order
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11940 | 11880 | 60 | 60000 | 0.06 | 999582 | 999564 | 18 | 18000 | 0.018
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0179 |  |  |  |  | 0.1758 | Metering not in order
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 10385 | 10385 | 0 | 0 | 0 | 126249 | 126249 | 0 | 0 | 0
| BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 764159 | 767350 | -3191 | -239325 | -0.23933 | 49641 | 49641 | 0 | 0 | 0 | Meter changed wef-22/01/2014
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0087 |  |  |  |  | -0.0269 | Metering not in order
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 |  |  |  |  | -0.0054 |  |  |  |  | -0.1071 | Metering not in order
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990071 | 989747 | 324 | -324000 | -0.324 | 946021 | 946102 | -81 | 81000 | 0.081
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987453 | 987162 | 291 | -291000 | -0.291 | 951102 | 951148 | -46 | 46000 | 0.046
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978199 | 979146 | -947 | 947000 | 0.947 | 930219 | 930396 | -177 | 177000 | 0.177
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993166 | 994111 | -945 | 945000 | 0.945 | 950509 | 950681 | -172 | 172000 | 0.172
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992054 | 993307 | -1253 | 1253000 | 1.253 | 980399 | 980412 | -13 | 13000 | 0.013
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21202 | 19402 | 1800 | -1800000 | -1.8 | 985422 | 985418 | 4 | -4000 | -0.004
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11772 | 6212 | 5560 | -5560000 | -5.56 | 2 | 2 | 0 | 0 | 0
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2060 | 2342 | -282 | 282000 | 0.282 | 999471 | 999528 | -57 | 57000 | 0.057
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8103 | 9559 | -1456 | 1456000 | 1.456 | 1687 | 1780 | -93 | 93000 | 0.093
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24825 | 25598 | -773 | 773000 | 0.773 | 6233 | 6299 | -66 | 66000 | 0.066
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000232 | 999951 | 281 | -281000 | -0.281 | 999946 | 999949 | -3 | 3000 | 0.003
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9527 | 9095 | 432 | 432000 | 0.432 | 7077 | 7061 | 16 | 16000 | 0.016
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 910450 | 911784 | -1334 | 1334000 | 1.334 | 890290 | 890303 | -13 | 13000 | 0.013
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957168 | 958336 | -1168 | 1168000 | 1.168 | 857225 | 857225 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000093 | 999979 | 114 | -114000 | -0.114 | 971781 | 972497 | -716 | 716000 | 0.716
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998166 | 999019 | -853 | 853000 | 0.853 | 955134 | 956312 | -1178 | 1178000 | 1.178
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995884 | 996147 | -263 | 263000 | 0.263 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998581 | 998827 | -246 | 246000 | 0.246 | 889794 | 889905 | -111 | 111000 | 0.111
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997461 | 997789 | -328 | 328000 | 0.328 | 869047 | 869236 | -189 | 189000 | 0.189
BRPL(+) continue | [14 empty] | JANUARY-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995877 | 996667 | -790 | 790000 | 0.79 | 972494 | 972687 | -193 | 193000 | 0.193
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997681 | 998310 | -629 | 629000 | 0.629 | 988528 | 988842 | -314 | 314000 | 0.314
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996144 | 995616 | 528 | -1056000 | -1.056 | 970065 | 970107 | -42 | 84000 | 0.084
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996451 | 996358 | 93 | -93000 | -0.093 | 915181 | 915270 | -89 | 89000 | 0.089
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995214 | 995227 | -13 | 13000 | 0.013 | 928164 | 928164 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000108 | 999997 | 111 | -111000 | -0.111 | 999920 | 999982 | -62 | 62000 | 0.062
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993768 | 996486 | -2718 | 2718000 | 2.718 | 999934 | 999934 | 0 | 0 | 0
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 986950 | 988485 | -1535 | 1023332.31 | 1.0233 | 984337 | 984337 | 0 | 0 | 0
38 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 972575 | 972375 | 200 | -133333.2 | -0.13333 | 971784 | 971784 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1776 | 1600 | 176 | -352000 | -0.352 | 1521 | 1494 | 27 | -54000 | -0.054
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998722 | 998533 | 189 | -378000 | -0.378 | 662 | 642 | 20 | -40000 | -0.04
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944702 | 946519 | -1817 | 1817000 | 1.817 | 995781 | 995781 | 0 | 0 | 0
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955868 | 957885 | -2017 | 2017000 | 2.017 | 996014 | 996014 | 0 | 0 | 0
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 1447 | 1447 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 20832 | 19785 | 1047 | 837600 | 0.8376 | 1045 | 1045 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 947710 | 951178 | -3468 | -2774400 | -2.7744 | 999692 | 999692 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993816 | 994343 | -527 | -527000 | -0.527 | 37398 | 37395 | 3 | 3000 | 0.003
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 994022 | 994435 | -413 | -550665.29 | -0.55067 | 999560 | 999561 | -1 | -1333.33 | -0.0013333
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11667 | 10596 | 1071 | -1071000 | -1.071 | 975086 | 975123 | -37 | 37000 | 0.037
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5696 | 2730 | 2966 | -2966000 | -2.966 | 989739 | 989738 | 1 | -1000 | -0.001
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 14946 | 14265 | 681 | 68100 | 0.0681 | 14309 | 14243 | 66 | 6600 | 0.0066
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11361 | 11533 | -172 | -17200 | -0.0172 | 61482 | 61483 | -1 | -100 | -0.0001
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 947433 | 949018 | -1585 | -1585000 | -1.585 | 992454 | 992454 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1198 | 1380 | -182 | -18200 | -0.0182 | 9910 | 9911 | -1 | -100 | -0.0001
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9602 | 9385 | 217 | 21700 | 0.0217 | 21831 | 21795 | 36 | 3600 | 0.0036
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.62759 |  |  |  |  | 3.7591
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 894127 | 892330 | 1797 | -179700 | -0.1797
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 109927 | 111280 | -1353 | 135300 | 0.1353 | 1617 | 1617 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 109245 | 105385 | 3860 | -386000 | -0.386 | 2383 | 2383 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996912 | 997066 | -154 | 15400 | 0.0154 | 999978 | 999978 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996726 | 996724 | 2 | -200 | -0.0002 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1124 | 1057 | 67 | -134000 | -0.134 | 73243 | 73243 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8387 | 7453 | 934 | -934000 | -0.934 | 81 | 81 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 896915 | 895535 | 1380 | -690000 | -0.69 | 54462 | 54462 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 62067 | 59979 | 2088 | -208800 | -0.2088 | 58841 | 58837 | 4 | -400 | -0.0004
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 55490 | 53124 | 2366 | -236600 | -0.2366 | 56909 | 56893 | 16 | -1600 | -0.0016
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85534 | 85677 | -143 | 28600 | 0.0286 | 112978 | 112978 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 1359 | 1749 | -390 | -195000 | -0.195 | 17870 | 17884 | -14 | -7000 | -0.007
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3500 | 3500 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 989710 | 989720 | -10 | -1666.6667 | -0.0016667 | 993688 | 993688 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 296753 | 294510 | 2243 | -224300 | -0.2243 | 44661 | 44379 | 282 | -28200 | -0.0282
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3928 | 3725 | 203 | -20300 | -0.0203 | 18453 | 18309 | 144 | -14400 | -0.0144
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 804 | 804 | 0 | 0 | 0 | 77767 | 77729 | 38 | -3800 | -0.0038
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9516 | 9213 | 303 | -30300 | -0.0303 | 28944 | 28708 | 236 | -23600 | -0.0236
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10500 | 10525 | -25 | 2500 | 0.0025 | 51166 | 51109 | 57 | -5700 | -0.0057
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16003 | 15813 | 190 | -19000 | -0.019 | 54139 | 53799 | 340 | -34000 | -0.034
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 42712 | 42428 | 284 | -28400 | -0.0284 | 17558 | 17222 | 336 | -33600 | -0.0336
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17043 | 16873 | 170 | -17000 | -0.017 | 15656 | 15236 | 420 | -42000 | -0.042
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998772 | 999086 | -314 | 13954.16 | 0.013954 | 372 | 587 | -215 | 9554.6 | 0.0095546
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999273 | 0 | 0 | 0 | 999400 | 999398 | 2 | -200 | -0.0002
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.9298 |  |  |  |  | -0.36465
JANUARY-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.62759 |  |  |  |  | 3.7591
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.9298 |  |  |  |  | -0.36465
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.73029 |  |  |  |  | 0.24026
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2576 |  |  |  |  | -0.0364
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.0847 |  |  |  |  | 3.5984
Meter changed on 28/11/13
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.0847 | (REACTIVE MUs) |  |  |  | 3.5984 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.1159 | (REACTIVE MUs) |  |  |  | -3.2127 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.9689 | (REACTIVE MUs) |  |  |  | 0.38564 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 43625 | 42728 | 897 | 179400 | 0.1794 | 72228 | 72223 | 5 | 1000 | 0.001
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 70493 | 70493 | 0 | 0 | 0 | 139686 | 139686 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 982764 | 983165 | -401 | -80200 | -0.0802 | 1910 | 1904 | 6 | 1200 | 0.0012
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 70983 | 69713 | 1270 | 254000 | 0.254 | 88803 | 88791 | 12 | 2400 | 0.0024
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 5694 | 4982 | 712 | 569600 | 0.5696 | 1140 | 1140 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13678 | 13532 | 146 | 292000 | 0.292 | 925 | 924 | 1 | 2000 | 0.002
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983971 | 984467 | -496 | -396800 | -0.3968 | 993044 | 993049 | -5 | -4000 | -0.004
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 990510 | 991894 | -1384 | -1107200 | -1.1072 | 994937 | 994960 | -23 | -18400 | -0.0184
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 995345 | 996344 | -999 | -799200 | -0.7992 | 997817 | 997872 | -55 | -44000 | -0.044
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0027 |  |  |  |  | 0.4049 | Metering not in order
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.7396 | Metering not in order
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0078 |  |  |  |  | 0.1386 | Metering not in order
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.3322 | Metering not in order
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999881 | 999881 | 0 | 0 | 0 | 175798 | 175798 | 0 | 0 | 0
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259759 | 259759 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51073 | 0 | 0 | 0 | 704427 | 704427 | 0 | 0 | 0
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 74748 | 73735 | 1013 | 1114300 | 1.1143
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2779 | 3148 | -369 | -369000 | -0.369 | 37830 | 37831 | -1 | -1000 | -0.001
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 144273 | 143906 | 367 | 403700 | 0.4037
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8017 | 8529 | -512 | -512000 | -0.512 | 53177 | 53179 | -2 | -2000 | -0.002
[10 empty] | -0.881 |  |  |  |  | 1.515
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1124 | 1057 | 67 | 134000 | 0.134 | 73243 | 73243 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8387 | 7453 | 934 | 934000 | 0.934 | 81 | 81 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 896915 | 895535 | 1380 | 690000 | 0.69 | 54462 | 54462 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 1359 | 1749 | -390 | 195000 | 0.195 | 17870 | 17884 | -14 | 7000 | 0.007
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3500 | 3500 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 989710 | 989720 | -10 | 1666.6667 | 0.0016667 | 993688 | 993688 | 0 | 0 | 0
JANUARY-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983916 | 984251 | -335 | 335000 | 0.335 | 991155 | 991560 | -405 | 405000 | 0.405
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987346 | 988824 | -1478 | 1478000 | 1.478 | 990826 | 990826 | 0 | 0 | 0
28 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997816 | 999362 | -1546 | 1546000 | 1.546 | 29 | 29 | 0 | 0 | 0
KIDWAI NAGAR
29 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 296753 | 294510 | 2243 | 224300 | 0.2243 | 44661 | 44379 | 282 | 28200 | 0.0282
EXHIBITION I
30 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3928 | 3725 | 203 | 20300 | 0.0203 | 18453 | 18309 | 144 | 14400 | 0.0144
31 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
32 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 62067 | 59979 | 2088 | 208800 | 0.2088 | 58841 | 58837 | 4 | 400 | 0.0004
33 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 55490 | 53124 | 2366 | 236600 | 0.2366 | 56909 | 56893 | 16 | 1600 | 0.0016
34 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85534 | 85677 | -143 | -28600 | -0.0286 | 112978 | 112978 | 0 | 0 | 0
TILAK MARG
35 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 894127 | 892330 | 1797 | 179700 | 0.1797
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1198 | 1380 | -182 | 18200 | 0.0182 | 9910 | 9911 | -1 | 100 | 0.0001
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9602 | 9385 | 217 | -21700 | -0.0217 | 21831 | 21795 | 36 | -3600 | -0.0036
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.9971 |  |  |  |  | 3.7033
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.9971 |  |  |  |  | 3.7033
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.14323 |  |  |  |  | -0.41239
| TOTAL ENERGY TO NDMC | [8 empty] | 4.1403 |  |  |  |  | 3.2909

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1136 | 1024 | 112 | 112000 | 0.112 | 23327 | 23208 | 119 | 119000 | 0.119
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 747 | 680 | 67 | 67000 | 0.067 | 26004 | 25959 | 45 | 45000 | 0.045
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1922 | 1714 | 208 | 208000 | 0.208 | 33869 | 33803 | 66 | 66000 | 0.066
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 908 | 919 | -11 | -11000 | -0.011 | 18328 | 18332 | -4 | -4000 | -0.004
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3856 | 3630 | 226 | 226000 | 0.226 | 10174 | 10168 | 6 | 6000 | 0.006
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | -500 | 10686 | 10757 | -71 | 35500 | 0.0355 | 58531 | 58534 | -3 | 1500 | 0.0015 | Reverse Polarity
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996912 | 997066 | -154 | -15400 | -0.0154 | 999978 | 999978 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996726 | 996724 | 2 | 200 | 0.0002 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.6223 |  |  |  |  | 0.2335
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 45863 | 45584 | 279 | 27900 | 0.0279 | 71861 | 71775 | 86 | 8600 | 0.0086
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73183 | 72568 | 615 | 61500 | 0.0615 | 11074 | 11074 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 43444 | 42432 | 1012 | 101200 | 0.1012 | 60002 | 59758 | 244 | 24400 | 0.0244
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 83448 | 82778 | 670 | 67000 | 0.067 | 58213 | 58179 | 34 | 3400 | 0.0034
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 6039 | 5659 | 380 | 38000 | 0.038 | 1833 | 1801 | 32 | 3200 | 0.0032
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2576 |  |  |  |  | 0.0364
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2576 |  |  |  |  | 0.0364
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.6223 |  |  |  |  | 0.2335
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.8799 |  |  |  |  | 0.2699
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.8799 | (REACTIVE MUs) |  |  |  | 0.2699 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.033981 | (REACTIVE MUs) |  |  |  | -0.097835 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.91388 | (REACTIVE MUs) |  |  |  | 0.17206 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 41422 | 42230 | -808 | -80800 | -0.0808 | 79281 | 79302 | -21 | -2100 | -0.0021
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 995452 | 994865 | 587 | 58700 | 0.0587 | 999109 | 999021 | 88 | 8800 | 0.0088
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 248495 | 248148 | 347 | 34700 | 0.0347 | 98385 | 98273 | 112 | 11200 | 0.0112
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 30888 | 30259 | 629 | 589687.5 | 0.58969 | 18491 | 18468 | 23 | 21562.5 | 0.021562
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985592 | 985708 | -116 | 58000 | 0.058 | 925037 | 925169 | -132 | 66000 | 0.066
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989476 | 989616 | -140 | 70000 | 0.07 | 980176 | 980448 | -272 | 136000 | 0.136
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 999992 | 999996 | -4 | -1200 | -0.0012
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.73029 |  |  |  |  | 0.24026
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 931551 | 932905 | -1354 | -270800 | -0.2708 | 991747 | 991739 | 8 | 1600 | 0.0016
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 990191 | 995192 | -5001 | -1000200 | -1.0002 | 118 | 105 | 13 | 2600 | 0.0026
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.271 |  |  |  |  | 0.0042
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 230629 | 228152 | 2477 | 495400 | 0.4954 | 263938 | 263868 | 70 | 14000 | 0.014
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 103346 | 101141 | 2205 | 441000 | 0.441 | 41544 | 41520 | 24 | 4800 | 0.0048
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 166751 | 162312 | 4439 | 443900 | 0.4439 | 72478 | 72424 | 54 | 5400 | 0.0054
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990042 | 989897 | 145 | 145000 | 0.145 | 998420 | 998410 | 10 | 10000 | 0.01
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 965168 | 966358 | -1190 | -119000 | -0.119 | 7127 | 7143 | -16 | -1600 | -0.0016
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999305 | 999368 | -63 | -59062.5 | -0.059062 | 999762 | 999855 | -93 | -87187.5 | -0.087188
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 987217 | 987674 | -457 | 285625 | 0.28563 | 995537 | 995542 | -5 | 3125 | 0.003125
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 999992 | 999996 | -4 | 1200 | 0.0012
| TOTAL NDPL | [8 empty] | 1.6329 |  |  |  |  | -0.050263
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.73029 |  |  |  |  | 0.24026
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.271 |  |  |  |  | 0.0042
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.6329 |  |  |  |  | -0.050263

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 2209 | 1055 | 1154 | 2308000 | 2.308 | 414 | 406 | 8 | 16000 | 0.016
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 14101 | 13097 | 1004 | 2008000 | 2.008 | 2251 | 2242 | 9 | 18000 | 0.018
[7 empty] | NET REACTIVE ENERGY |  |  | 4.316 |  | NET REACTIVE ENERGY |  |  | 0.034
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 993698 | 993312 | 386 | 386000 | 0.386 | 39612 | 39613 | -1 | -1000 | -0.001
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 997191 | 996230 | 961 | 961000 | 0.961 | 994062 | 994062 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 1.347 |  | NET REACTIVE ENERGY |  |  | -0.001
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.663 |  |  |  |  | 0.033
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.0748 |  |  |  |  | -9.3424
[7 empty] | NDMC = |  |  | -0.881 |  |  |  |  | 1.515
MES =
[7 empty] | 2)TOTAL |  |  | -2.9558 |  |  |  |  | -7.8274
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.7072 |  |  |  |  | -7.7944
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.3686 | % |  |  | 0.79507 |  |  |  |  | -2.2891
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.2182 | % |  |  | 1.1159 |  |  |  |  | -3.2127
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.8673 | % |  |  | 0.61906 |  |  |  |  | -1.7824
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2908 | % |  |  | 0.14323 |  |  |  |  | -0.41239
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.2552 | % |  |  | 0.033981 |  |  |  |  | -0.097835
Note :Sharing taken from wk-40 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2014 TO 31ST JANUARY-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -2.3282 |  | -2.0451
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -1.9689 | + | 0.38564
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 2.1417 |  | -10.0944
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.1403 | + | 3.2909
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.91388 | + | 0.17206
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2014 | INTIAL READING 01/01/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 957681 | 957896 | -215 | -322500 | -0.3225 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 997719 | 997920 | -201 | -301500 | -0.3015 | 995977 | 995977 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 908895 | 910368 | -1473 | -2209500 | -2.2095 | 966279 | 966279 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -2.8335 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997823 | 997786 | 37 | 185000 | 0.185 | 31027 | 31064 | -37 | -185000 | -0.185
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999692 | 999668 | 24 | 24000 | 0.024 | 3036 | 3099 | -63 | -63000 | -0.063
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 972799 | 971815 | 984 | 984000 | 0.984 | 990195 | 990180 | 15 | 15000 | 0.015
[8 empty] | NET REACTIVE ENERGY |  | 1.193 |  |  | NET REACTIVE ENERGY |  | -0.233