## NDPL
DELHI TRANSCO LIMITED | [15 empty] | September-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975703 | 975930 | -227 | 227000 | 0.227 | 995525 | 995566 | -41 | 41000 | 0.041
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72 | 56 | 16 | -16000 | -0.016 | 176 | 76 | 100 | -100000 | -0.1
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987173 | 987471 | -298 | 298000 | 0.298 | 996034 | 996052 | -18 | 18000 | 0.018
SUBZI MANDI
4 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999973 | 999974 | -1 | 1000 | 0.001 | 994132 | 995051 | -919 | 919000 | 0.919
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 920093 | 920136 | -43 | 43000 | 0.043 | 933770 | 933889 | -119 | 119000 | 0.119
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22932 | 22975 | -43 | 43000 | 0.043 | 17868 | 17896 | -28 | 28000 | 0.028
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8266 | 8266 | 0 | 0 | 0 | 11571 | 11571 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.081 |  |  |  |  | -0.008
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13377 | 13398 | -21 | 26250 | 0.02625 | 993297 | 993449 | -152 | 190000 | 0.19
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 537 | 619 | -82 | 82000 | 0.082 | 982545 | 982712 | -167 | 167000 | 0.167
SHALIMAR BAGH
10 | Tx.1 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19367 | 19509 | -142 | 142000 | 0.142 | 7739 | 7773 | -34 | 34000 | 0.034
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986781 | 986975 | -194 | 194000 | 0.194 | 3105 | 3115 | -10 | 10000 | 0.01
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985965 | 986100 | -135 | 135000 | 0.135 | 997759 | 997760 | -1 | 1000 | 0.001
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995221 | 997204 | -1983 | -1983000 | -1.983 | 999999 | 999999 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984244 | 984276 | -32 | 32000 | 0.032 | 16836 | 16829 | 7 | -7000 | -0.007
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 824 | 787 | 37 | -37000 | -0.037 | 20178 | 20169 | 9 | -9000 | -0.009
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5154 | 5080 | 74 | -74000 | -0.074 | 1000004 | 999998 | 6 | -6000 | -0.006
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999998 | 999998 | 0 | 0 | 0 | 982025 | 982449 | -424 | -84800 | -0.0848
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 713 | 713 | 0 | 0 | 0 | 29105 | 29140 | -35 | -35000 | -0.035
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5582 | 5582 | 0 | 0 | 0 | 166358 | 165759 | 599 | 59900 | 0.0599
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 33326 | 33281 | 45 | 4500 | 0.0045 | 247747 | 246688 | 1059 | 105900 | 0.1059
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996479 | 996479 | 0 | 0 | 0 | 1070 | 1404 | -334 | -334000 | -0.334
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 559 | 559 | 0 | 0 | 0 | 5954 | 6214 | -260 | -260000 | -0.26
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999949 | 999938 | 11 | 11000 | 0.011 | 55 | 55 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634586 | 634662 | -76 | -76000 | -0.076 | 797068 | 797125 | -57 | -57000 | -0.057
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640397 | 640454 | -57 | -57000 | -0.057 | 830237 | 830304 | -67 | -67000 | -0.067
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4804 | 4702 | 102 | 40800 | 0.0408 | 999020 | 999070 | -50 | -20000 | -0.02
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4071 | 4068 | 3 | 1500 | 0.0015 | 3413 | 3701 | -288 | -144000 | -0.144
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23951 | 24147 | -196 | 196000 | 0.196 | 980954 | 980962 | -8 | 8000 | 0.008
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7136 | 7084 | 52 | -52000 | -0.052 | 996755 | 996775 | -20 | 20000 | 0.02
BAWANA
30 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6861 | 6947 | -86 | 86000 | 0.086 | 923590 | 923764 | -174 | 174000 | 0.174
DSIDC BAWANA
31 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 283 | 191 | 92 | -92000 | -0.092 | 998903 | 998866 | 37 | -37000 | -0.037
32 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 561 | 358 | 203 | -203000 | -0.203 | 1419 | 1141 | 278 | -278000 | -0.278
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2550 | 2785 | -235 | 235000 | 0.235 | 998687 | 998688 | -1 | 1000 | 0.001
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3302 | 3308 | -6 | 6000 | 0.006 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996017 | 996116 | -99 | 99000 | 0.099 | 999496 | 999606 | -110 | 110000 | 0.11
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4481 | 4500 | -19 | 19000 | 0.019 | 999993 | 999993 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2143 | 2142 | 1 | 1000 | 0.001 | 24676 | 24346 | 330 | 330000 | 0.33
38 | PUSA GRID-II | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 32 | 8 | 8000 | 0.008 | 299 | 177 | 122 | 122000 | 0.122 | Check Meter Data
| NDPL(+) continue | [14 empty] | September-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 173024 | 173146 | -122 | -15250 | -0.01525 | 261254 | 261196 | 58 | 7250 | 0.00725
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9528 | 9232 | 296 | 29600 | 0.0296 | 32306 | 31867 | 439 | 43900 | 0.0439
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11433 | 11053 | 380 | 38000 | 0.038 | 64275 | 63439 | 836 | 83600 | 0.0836
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 19154 | 18947 | 207 | 20700 | 0.0207 | 65995 | 65673 | 322 | 32200 | 0.0322
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 7958 | 7644 | 314 | 31400 | 0.0314 | 6062 | 5867 | 195 | 19500 | 0.0195
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17175 | 17219 | -44 | -4400 | -0.0044 | 20957 | 20758 | 199 | 19900 | 0.0199
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 995070 | 995194 | -124 | -5510.56 | -0.0055106 | 747 | 683 | 64 | 2844.16 | 0.0028442
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5473 | 5473 | 0 | 0 | 0 | 32762 | 32548 | 214 | 107000 | 0.107
52 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 182 | 99 | 83 | 41500 | 0.0415
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6759 | 6712 | 47 | 23500 | 0.0235 | 14986 | 14978 | 8 | 4000 | 0.004
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2049 | 2002 | 47 | 31333.3333 | 0.031333 | 1079 | 1066 | 13 | 8666.6667 | 0.0086667
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998465 | 998476 | -11 | -1100 | -0.0011 | 28 | 30 | -2 | -200 | -0.0002
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999925 | 999925 | 0 | 0 | 0 | 999987 | 999990 | -3 | -300 | -0.0003
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24156 | 23827 | 329 | 32900 | 0.0329 | 57144 | 57143 | 1 | 100 | 0.0001
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999954 | 999956 | -2 | -200 | -0.0002 | 999996 | 999997 | -1 | -100 | -0.0001
60 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 179980 | 179904 | 76 | 7600 | 0.0076 | 55257 | 54812 | 445 | 44500 | 0.0445 | Data till 21/09/2015
[10 empty] | 0.0032 |  |  |  |  | 0.019 | Assessment
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 22625 | 21935 | 690 | 69000 | 0.069 | 66418 | 66300 | 118 | 11800 | 0.0118
63 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 11237 | 11237 | 0 | 0 | 0 | 4695 | 4695 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0.1331 |  |  |  |  | 0.0085 | Assessment
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 171724 | 170229 | 1495 | 149500 | 0.1495 | 20535 | 20532 | 3 | 300 | 0.0003
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23895 | 23889 | 6 | 600 | 0.0006 | 47710 | 47140 | 570 | 57000 | 0.057
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 418 | 381 | 37 | -11100 | -0.0111
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995596 | 995596 | 0 | 0 | 0 | 51 | 50 | 1 | -400 | -0.0004
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 976866 | 976835 | 31 | 24800 | 0.0248 | 254 | 254 | 0 | 0 | 0
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 529 | 339 | 190 | 380000 | 0.38 | 29 | 28 | 1 | 2000 | 0.002
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 682 | 21 | 661 | 66100 | 0.0661 | 151 | 39 | 112 | 11200 | 0.0112
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 0.27492 |  |  |  |  | 1.5237
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | September-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 20862 | 20836 | 26 | -2600 | -0.0026 | 21035 | 19825 | 1210 | -121000 | -0.121
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13793 | 13503 | 290 | -290000 | -0.29 | 7864 | 7858 | 6 | -6000 | -0.006
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 9263 | 9263 | 0 | 0 | 0 | 21190 | 21601 | -411 | 82200 | 0.0822
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85726 | 85726 | 0 | 0 | 0 | 119881 | 119565 | 316 | -316000 | -0.316
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 9407 | 9450 | -43 | 4300 | 0.0043 | 61339 | 61354 | -15 | 1500 | 0.0015
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917636 | 917919 | -283 | 283000 | 0.283 | 991937 | 991937 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.0053 |  |  |  |  | -0.3593
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 0.27492 |  |  |  |  | 1.5237
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.0053 |  |  |  |  | -0.3593
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.4127 |  |  |  |  | -0.055575
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.68232 |  |  |  |  | 1.1088
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.68232 | (REACTIVE MUs) |  |  |  | 1.1088 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.30091 | (REACTIVE MUs) |  |  |  | -1.1981 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.98323 | (REACTIVE MUs) |  |  |  | -0.089328 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | September-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 1003442 | 999102 | 4340 | 434000 | 0.434 | 1000078 | 999971 | 107 | 10700 | 0.0107
2 | KAMLA MKT.B-30 | 4865164 | ELSTER | Kvarh(Lead/Lag) | 50 | 23786 | 7645 | 16141 | 807050 | 0.80705 | 23106 | 22802 | 304 | 15200 | 0.0152 | Check Meter Data
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 7788 | 11394 | -3606 | -360600 | -0.3606 | 32501 | 32446 | 55 | 5500 | 0.0055
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 504 | 1201 | -697 | -209100 | -0.2091 | 5364 | 5366 | -2 | -600 | -0.0006
Assessment
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 500 | 1557 | 1641 | -84 | -42000 | -0.042 | 2699 | 2665 | 34 | 17000 | 0.017
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 23873 | 26435 | -2562 | -256200 | -0.2562 | 172613 | 172615 | -2 | -200 | -0.0002
7 | MINTO RD. B-34 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 100 | 37100 | 36467 | 633 | 63300 | 0.0633 | 122482 | 122418 | 64 | 6400 | 0.0064 | Check Meter Data
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990797 | 990789 | 8 | 8000 | 0.008 | 1617 | 1668 | -51 | -51000 | -0.051
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998233 | 998234 | -1 | -1000 | -0.001 | 2871 | 2636 | 235 | 235000 | 0.235
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 599 | 517 | 82 | 82000 | 0.082 | 1310 | 1330 | -20 | -20000 | -0.02
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997657 | 997655 | 2 | 2000 | 0.002 | 2077 | 2186 | -109 | -109000 | -0.109
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996990 | 997169 | -179 | -179000 | -0.179 | 4872 | 4832 | 40 | 40000 | 0.04
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13 | 41 | -28 | -28000 | -0.028 | 999550 | 999647 | -97 | -97000 | -0.097
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999327 | 999343 | -16 | -16000 | -0.016 | 17342 | 17380 | -38 | -38000 | -0.038
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1124 | 1137 | -13 | -13000 | -0.013 | 38726 | 38702 | 24 | 24000 | 0.024
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999938 | 999930 | 8 | 8000 | 0.008 | 27966 | 27477 | 489 | 489000 | 0.489
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1591 | 1594 | -3 | -3000 | -0.003 | 9501 | 9512 | -11 | -11000 | -0.011
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11379 | 11364 | 15 | 1500 | 0.0015 | 336 | 333 | 3 | 300 | 0.0003
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996818 | 996821 | -3 | -3000 | -0.003 | 15175 | 14921 | 254 | 254000 | 0.254
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 992080 | 994468 | -2388 | -3283500 | -3.2835
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 711590 | 715114 | -3524 | -3876400 | -3.8764
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984048 | 984281 | -233 | -233000 | -0.233 | 8332 | 8432 | -100 | -100000 | -0.1
| KASHMIRI GATE | [8 empty] | -0.3745 |  |  |  |  | -6.5436
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955529 | 955588 | -59 | 59000 | 0.059 | 947105 | 947242 | -137 | 137000 | 0.137
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964022 | 963988 | 34 | -34000 | -0.034 | 955128 | 955198 | -70 | 70000 | 0.07
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 418 | 381 | 37 | 11100 | 0.0111
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 540 | 540 | 0 | 0 | 0 | 5935 | 6007 | -72 | -72000 | -0.072
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54442 | 54239 | 203 | -203000 | -0.203 | 974918 | 974650 | 268 | -268000 | -0.268
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41816 | 41749 | 67 | -67000 | -0.067 | 970758 | 970511 | 247 | -247000 | -0.247
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996988 | 996957 | 31 | -31000 | -0.031 | 995127 | 995297 | -170 | 170000 | 0.17
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 102 | 35 | 67 | -67000 | -0.067 | 999846 | 999730 | 116 | -116000 | -0.116
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3121 | 3140 | -19 | 38000 | 0.038 | 999615 | 999631 | -16 | 32000 | 0.032
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999522 | 999545 | -23 | 46000 | 0.046 | 999933 | 999940 | -7 | 14000 | 0.014
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1012 | 1124 | -112 | 112000 | 0.112 | 999919 | 999922 | -3 | 3000 | 0.003
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 9263 | 9263 | 0 | 0 | 0 | 21190 | 21601 | -411 | -82200 | -0.0822
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85726 | 85726 | 0 | 0 | 0 | 119881 | 119565 | 316 | 316000 | 0.316
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 97721 | 97842 | -121 | -12100 | -0.0121 | 1089 | 1179 | -90 | -9000 | -0.009
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 149936 | 149536 | 400 | 40000 | 0.04 | 16878 | 15336 | 1542 | 154200 | 0.1542
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.05715 |  |  |  |  | -6.3765
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.05715 |  |  |  |  | -6.3765
September-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982915 | 982923 | -8 | 8000 | 0.008 | 897480 | 899628 | -2148 | 2148000 | 2.148
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6286 | 6287 | -1 | 1000 | 0.001 | 917984 | 920058 | -2074 | 2074000 | 2.074
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982644 | 982662 | -18 | 18000 | 0.018 | 962875 | 964899 | -2024 | 2024000 | 2.024
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996010 | 995790 | 220 | -440000 | -0.44 | 984366 | 984722 | -356 | 712000 | 0.712
PPG
4 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995617 | 996517 | -900 | 900000 | 0.9 | 999994 | 999995 | -1 | 1000 | 0.001
5 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993905 | 994170 | -265 | 265000 | 0.265 | 999631 | 999788 | -157 | 157000 | 0.157
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6897 | 6619 | 278 | -278000 | -0.278 | 984109 | 984147 | -38 | 38000 | 0.038
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1314 | 1256 | 58 | -58000 | -0.058 | 999593 | 999653 | -60 | 60000 | 0.06
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998229 | 998199 | 30 | -30000 | -0.03 | 944536 | 944559 | -23 | 23000 | 0.023
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983679 | 983737 | -58 | 58000 | 0.058 | 974458 | 977183 | -2725 | 2725000 | 2.725
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958667 | 958668 | -1 | 1000 | 0.001 | 854216 | 859061 | -4845 | 4845000 | 4.845
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16520 | 16702 | -182 | 182000 | 0.182 | 34593 | 34608 | -15 | 15000 | 0.015
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22966 | 22989 | -23 | 23000 | 0.023 | 44416 | 44473 | -57 | 57000 | 0.057
14 | TX-3 | 5269165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1093 | 31 | 1062 | -1062000 | -1.062 | 304 | 260 | 44 | -44000 | -0.044
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.412 |  |  |  |  | 14.835
| (B) NET ENERGY TO EAST | [8 empty] | -0.412 |  |  |  |  | 14.835
September-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4804 | 4702 | 102 | -40800 | -0.0408 | 999020 | 999070 | -50 | 20000 | 0.02
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4071 | 4068 | 3 | -1500 | -0.0015 | 3413 | 3701 | -288 | 144000 | 0.144
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 51709 | 51674 | 35 | -7000 | -0.007 | 81258 | 80550 | 708 | -141600 | -0.1416
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73719 | 73728 | -9 | 900 | 0.0009 | 140003 | 140114 | -111 | 11100 | 0.0111
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 978315 | 978323 | -8 | 1600 | 0.0016 | 997372 | 997822 | -450 | 90000 | 0.09
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 80725 | 80716 | 9 | -1800 | -0.0018 | 100584 | 99376 | 1208 | -241600 | -0.2416
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 11552 | 11529 | 23 | -18400 | -0.0184 | 7099 | 6580 | 519 | -415200 | -0.4152
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13995 | 13988 | 7 | -14000 | -0.014 | 2921 | 2807 | 114 | -228000 | -0.228
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980631 | 980639 | -8 | 6400 | 0.0064 | 989731 | 989913 | -182 | 145600 | 0.1456
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 979050 | 979083 | -33 | 26400 | 0.0264 | 983901 | 984625 | -724 | 579200 | 0.5792
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 988197 | 988217 | -20 | 16000 | 0.016 | 992701 | 993113 | -412 | 329600 | 0.3296
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 988877 | 988901 | -24 | 0 | 0 | 994540 | 994725 | -185 | 0 | 0 | W.E.f 04/07/2015
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988434 | 988493 | -59 | 59000 | 0.059 | 35288 | 35473 | -185 | 185000 | 0.185
14 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990039 | 990135 | -96 | 192000 | 0.192 | 17206 | 17310 | -104 | 208000 | 0.208
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2143 | 2142 | 1 | -1000 | -0.001 | 24676 | 24346 | 330 | -330000 | -0.33
16 | PUSA GRID-II | 4864830 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40 | 32 | 8 | -8000 | -0.008 | 299 | 177 | 122 | -122000 | -0.122 | Check Meter data
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5473 | 5473 | 0 | 0 | 0 | 32762 | 32548 | 214 | -107000 | -0.107
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 182 | 99 | 83 | -41500 | -0.0415
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6759 | 6712 | 47 | -23500 | -0.0235 | 14986 | 14978 | 8 | -4000 | -0.004
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2049 | 2002 | 47 | -31333.3333 | -0.031333 | 1079 | 1066 | 13 | -8666.6667 | -0.0086667
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 171724 | 170229 | 1495 | -149500 | -0.1495 | 20535 | 20532 | 3 | -300 | -0.0003
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23895 | 23889 | 6 | -600 | -0.0006 | 47710 | 47140 | 570 | -57000 | -0.057
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998465 | 998476 | -11 | 1100 | 0.0011 | 28 | 30 | -2 | 200 | 0.0002
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999925 | 999925 | 0 | 0 | 0 | 999987 | 999990 | -3 | 300 | 0.0003
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24156 | 23827 | 329 | -32900 | -0.0329 | 57144 | 57143 | 1 | -100 | -0.0001
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999954 | 999956 | -2 | 200 | 0.0002 | 999996 | 999997 | -1 | 100 | 0.0001
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 179980 | 179904 | 76 | -7600 | -0.0076 | 55257 | 54812 | 445 | -44500 | -0.0445 | Data till 21/09/2015
[10 empty] | -0.0032 |  |  |  |  | -0.019 | Assessment
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 22625 | 21935 | 690 | -69000 | -0.069 | 66418 | 66300 | 118 | -11800 | -0.0118
32 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 11237 | 11237 | 0 | 0 | 0 | 4695 | 4695 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.1331 |  |  |  |  | -0.0085 | Assessment
[10 empty] | -0.23963 |  |  |  |  | -0.067667
September-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.05715 |  |  |  |  | -6.3765
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.23963 |  |  |  |  | -0.067667
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.10687 |  |  |  |  | -0.17195
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.40366 |  |  |  |  | -6.6161
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.412 |  |  |  |  | 14.835
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.81566 |  |  |  |  | 8.2189
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.81566 | (REACTIVE MUs) |  |  |  | 8.2189 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.25186 | (REACTIVE MUs) |  |  |  | -1.0028 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.5638 | (REACTIVE MUs) |  |  |  | 7.2161 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | September-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 174 | 108 | 66 | 330000 | 0.33 | 999921 | 999914 | 7 | 35000 | 0.035
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985244 | 984977 | 267 | 355999.11 | 0.356 | 673109 | 673097 | 12 | 15999.96 | 0.016
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10188 | 10151 | 37 | 185000 | 0.185 | 71149 | 71148 | 1 | 5000 | 0.005
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14197 | 13773 | 424 | 424000 | 0.424 | 184 | 175 | 9 | 9000 | 0.009
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 2372 | 1582 | 790 | 79000 | 0.079 | 367 | 231 | 136 | 13600 | 0.0136
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 721413 | 714108 | 7305 | 547875 | 0.54788 | 27920 | 27866 | 54 | 4050 | 0.00405
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 997288 | 996676 | 612 | 45900 | 0.0459 | 999803 | 999655 | 148 | 11100 | 0.0111
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999627 | 999684 | -57 | -51300 | -0.0513 | 998740 | 998741 | -1 | -900 | -0.0009
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 208 | 150 | 58 | -29000 | -0.029 | 994683 | 994631 | 52 | -26000 | -0.026
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987787 | 987759 | 28 | -28000 | -0.028 | 948093 | 948068 | 25 | -25000 | -0.025
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996014 | 996017 | -3 | 3000 | 0.003 | 996171 | 996155 | 16 | -16000 | -0.016
13 | Tx.4 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 154 | 159 | -5 | 5000 | 0.005 | 999990 | 999977 | 13 | -13000 | -0.013
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979119 | 979146 | -27 | 27000 | 0.027 | 969969 | 970265 | -296 | 296000 | 0.296
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35914 | 35813 | 101 | -101000 | -0.101 | 983855 | 983636 | 219 | -219000 | -0.219
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38294 | 38307 | -13 | 13000 | 0.013 | 992469 | 992921 | -452 | 452000 | 0.452
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 2677 | 2673 | 4 | -2000 | -0.002 | 996504 | 997269 | -765 | 382500 | 0.3825
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2005 | 1880 | 125 | -125000 | -0.125 | 995619 | 995652 | -33 | 33000 | 0.033
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23031 | 23034 | -3 | 3000 | 0.003 | 1341 | 1781 | -440 | 440000 | 0.44
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10491 | 10168 | 323 | -323000 | -0.323 | 999718 | 999638 | 80 | -80000 | -0.08
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13793 | 13503 | 290 | 290000 | 0.29 | 7864 | 7858 | 6 | 6000 | 0.006
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990733 | 990920 | -187 | 187000 | 0.187 | 993701 | 994339 | -638 | 638000 | 0.638
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997407 | 997456 | -49 | 49000 | 0.049 | 994682 | 995086 | -404 | 404000 | 0.404
OKHLA
24 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998655 | 998563 | 92 | -92000 | -0.092 | 997240 | 997338 | -98 | 98000 | 0.098
25 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990496 | 990389 | 107 | -107000 | -0.107 | 942616 | 942877 | -261 | 261000 | 0.261
26 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998047 | 997984 | 63 | -63000 | -0.063 | 37063 | 37139 | -76 | 76000 | 0.076
27 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999800 | 999819 | -19 | 19000 | 0.019 | 998113 | 998131 | -18 | 18000 | 0.018
28 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997031 | 997033 | -2 | 2000 | 0.002 | 864769 | 864839 | -70 | 70000 | 0.07
BRPL(+) continue | [14 empty] | September-2015
VASANT KUNJ
29 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997297 | 997295 | 2 | -2000 | -0.002 | 972319 | 972325 | -6 | 6000 | 0.006
30 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 445 | 438 | 7 | -3500 | -0.0035 | 999222 | 999256 | -34 | 17000 | 0.017
31 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2007 | 1970 | 37 | -74000 | -0.074 | 969682 | 969683 | -1 | 2000 | 0.002
MEHRAULI
32 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993086 | 993089 | -3 | 3000 | 0.003 | 906233 | 906535 | -302 | 302000 | 0.302
33 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994499 | 994499 | 0 | 0 | 0 | 927516 | 927517 | -1 | 1000 | 0.001
34 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996883 | 996886 | -3 | 3000 | 0.003 | 991330 | 991617 | -287 | 287000 | 0.287
35 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980536 | 980753 | -217 | 217000 | 0.217 | 980762 | 981363 | -601 | 601000 | 0.601
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 977773 | 978753 | -980 | 653332.68 | 0.65333 | 977073 | 977173 | -100 | 66666.6 | 0.066667
37 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 990979 | 991678 | -699 | 1747500 | 1.7475 | 481 | 481 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3763 | 3763 | 0 | 0 | 0 | 2006 | 1989 | 17 | -34000 | -0.034
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 555 | 555 | 0 | 0 | 0 | 1055 | 1042 | 13 | -26000 | -0.026 | Data till 24/09/2015
[10 empty] | 0 |  |  |  |  | -0.006 | Assessment
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929849 | 929904 | -55 | 55000 | 0.055 | 988463 | 988727 | -264 | 264000 | 0.264
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938250 | 938269 | -19 | 19000 | 0.019 | 992113 | 992353 | -240 | 240000 | 0.24
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30411 | 30341 | 70 | 56000 | 0.056 | 1674 | 1670 | 4 | 3200 | 0.0032
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 914538 | 915129 | -591 | -472800 | -0.4728 | 999542 | 999545 | -3 | -2400 | -0.0024
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988434 | 988493 | -59 | -59000 | -0.059 | 35288 | 35473 | -185 | -185000 | -0.185
47 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | 2000 | 990039 | 990135 | -96 | -192000 | -0.192 | 17206 | 17310 | -104 | -208000 | -0.208
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30316 | 30249 | 67 | -67000 | -0.067 | 973263 | 973439 | -176 | 176000 | 0.176
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16436 | 16463 | -27 | 27000 | 0.027 | 987957 | 988560 | -603 | 603000 | 0.603
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 20862 | 20836 | 26 | 2600 | 0.0026 | 21035 | 19825 | 1210 | 121000 | 0.121
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 9407 | 9450 | -43 | -4300 | -0.0043 | 61339 | 61354 | -15 | -1500 | -0.0015
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 917636 | 917919 | -283 | -283000 | -0.283 | 991937 | 991937 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 1582 | 1524 | 58 | 4350 | 0.00435 | 6767 | 5983 | 784 | 58800 | 0.0588
55 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 159 | 115 | 44 | 4400 | 0.0044 | 1378 | 842 | 536 | 53600 | 0.0536
PEERGARHI
56 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 26 | 0 | 26 | 26000 | 0.026 | 999971 | 999950 | 21 | 21000 | 0.021
57 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3 | 0 | 3 | 3000 | 0.003 | 128 | 82 | 46 | 46000 | 0.046
58 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999971 | 999995 | -24 | -24000 | -0.024 | 55 | 30 | 25 | 25000 | 0.025
59 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14 | 0 | 14 | 14000 | 0.014 | 499 | 337 | 162 | 162000 | 0.162
60 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
61 | PASCHIM PURI - 2(L-8) | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 10 | 9 | 1 | 1000 | 0.001
62 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16 | 3 | 13 | 13000 | 0.013 | 32 | 10 | 22 | 22000 | 0.022
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.3111 |  |  |  |  | 5.5047
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | September-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 90341 | 83639 | 6702 | -670200 | -0.6702 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 97721 | 97842 | -121 | 12100 | 0.0121 | 1089 | 1179 | -90 | 9000 | 0.009
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 149936 | 149536 | 400 | -40000 | -0.04 | 16878 | 15336 | 1542 | -154200 | -0.1542
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996175 | 996175 | 0 | 0 | 0 | 999925 | 999857 | 68 | -6800 | -0.0068
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4843 | 4674 | 169 | -338000 | -0.338 | 73943 | 73932 | 11 | -22000 | -0.022
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14611 | 14681 | -70 | 70000 | 0.07 | 284 | 286 | -2 | 2000 | 0.002
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905739 | 905715 | 24 | -12000 | -0.012 | 56786 | 56244 | 542 | -271000 | -0.271
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 403 | 769 | -366 | 146400 | 0.1464 | 2927 | 2929 | -2 | 800 | 0.0008
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 75776 | 75714 | 62 | -6200 | -0.0062 | 68322 | 68059 | 263 | -26300 | -0.0263
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 80571 | 80378 | 193 | -19300 | -0.0193 | 66867 | 66604 | 263 | -26300 | -0.0263
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 9982 | 9850 | 132 | -13200 | -0.0132 | 10099 | 8725 | 1374 | -137400 | -0.1374
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) |  | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987102 | 987102 | 0 | 0 | 0 | 993179 | 993179 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 347196 | 345772 | 1424 | -142400 | -0.1424 | 49584 | 49564 | 20 | -2000 | -0.002
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3992 | 3976 | 16 | -1600 | -0.0016 | 23179 | 23046 | 133 | -13300 | -0.0133
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 173024 | 173146 | -122 | 15250 | 0.01525 | 261254 | 261196 | 58 | -7250 | -0.00725
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9528 | 9232 | 296 | -29600 | -0.0296 | 32306 | 31867 | 439 | -43900 | -0.0439
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11433 | 11053 | 380 | -38000 | -0.038 | 64275 | 63439 | 836 | -83600 | -0.0836
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 19154 | 18947 | 207 | -20700 | -0.0207 | 65995 | 65673 | 322 | -32200 | -0.0322
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 7958 | 7644 | 314 | -31400 | -0.0314 | 6062 | 5867 | 195 | -19500 | -0.0195
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17175 | 17219 | -44 | 4400 | 0.0044 | 20957 | 20758 | 199 | -19900 | -0.0199
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 995070 | 995194 | -124 | 5510.56 | 0.0055106 | 747 | 683 | 64 | -2844.16 | -0.0028442
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995596 | 995596 | 0 | 0 | 0 | 51 | 50 | 1 | 400 | 0.0004
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.1089 |  |  |  |  | -0.85629
September-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.3111 |  |  |  |  | 5.5047
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.1089 |  |  |  |  | -0.85629
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.41109 |  |  |  |  | -0.0921
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0169 |  |  |  |  | -0.27668
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 2.5963 |  |  |  |  | 4.2796
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.5963 | (REACTIVE MUs) |  |  |  | 4.2796 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.44175 | (REACTIVE MUs) |  |  |  | -1.7589 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.0381 | (REACTIVE MUs) |  |  |  | 2.5208 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | September-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 51709 | 51674 | 35 | 7000 | 0.007 | 81258 | 80550 | 708 | 141600 | 0.1416
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73719 | 73728 | -9 | -900 | -0.0009 | 140003 | 140114 | -111 | -11100 | -0.0111
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 978315 | 978323 | -8 | -1600 | -0.0016 | 997372 | 997822 | -450 | -90000 | -0.09
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 80725 | 80716 | 9 | 1800 | 0.0018 | 100584 | 99376 | 1208 | 241600 | 0.2416
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 11552 | 11529 | 23 | 18400 | 0.0184 | 7099 | 6580 | 519 | 415200 | 0.4152
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13995 | 13988 | 7 | 14000 | 0.014 | 2921 | 2807 | 114 | 228000 | 0.228
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980631 | 980639 | -8 | -6400 | -0.0064 | 989731 | 989913 | -182 | -145600 | -0.1456
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 979050 | 979083 | -33 | -26400 | -0.0264 | 983901 | 984625 | -724 | -579200 | -0.5792
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 988197 | 988217 | -20 | -16000 | -0.016 | 992701 | 993113 | -412 | -329600 | -0.3296
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 988877 | 988901 | -24 | 0 | 0 | 994540 | 994725 | -185 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 1182 | 256 | 926 | 92600 | 0.0926 | 397872 | 397540 | 332 | 33200 | 0.0332
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 994891 | 995627 | -736 | -55200 | -0.0552 | 3272 | 3266 | 6 | 450 | 0.00045
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 21858 | 20047 | 1811 | 181100 | 0.1811 | 377402 | 377127 | 275 | 27500 | 0.0275
14 | BAY-10 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999574 | 1000172 | -598 | -59800 | -0.0598 | 327800 | 327813 | -13 | -1300 | -0.0013 | Check Meter Data
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 994969 | 995356 | -387 | -38700 | -0.0387 | 315413 | 315250 | 163 | 16300 | 0.0163
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999633 | 1000194 | -561 | -56100 | -0.0561 | 194495 | 194526 | -31 | -3100 | -0.0031
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 11938 | 10671 | 1267 | 126700 | 0.1267 | 258503 | 258417 | 86 | 8600 | 0.0086
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 65895 | 63007 | 2888 | 288800 | 0.2888 | 714163 | 714070 | 93 | 9300 | 0.0093
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 98330 | 96049 | 2281 | 2509100 | 2.5091
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1268 | 1129 | 139 | 139000 | 0.139 | 42459 | 42102 | 357 | 357000 | 0.357
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 151294 | 151365 | -71 | -78100 | -0.0781
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3584 | 3593 | -9 | -9000 | -0.009 | 56266 | 55900 | 366 | 366000 | 0.366
[10 empty] | 0.13 |  |  |  |  | 3.154
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 4843 | 4674 | 169 | 338000 | 0.338 | 73943 | 73932 | 11 | 22000 | 0.022
Assessment
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14611 | 14681 | -70 | -70000 | -0.07 | 284 | 286 | -2 | -2000 | -0.002
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905739 | 905715 | 24 | 12000 | 0.012 | 56786 | 56244 | 542 | 271000 | 0.271
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 403 | 769 | -366 | -146400 | -0.1464 | 2927 | 2929 | -2 | -800 | -0.0008
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987102 | 987102 | 0 | 0 | 0 | 993179 | 993179 | 0 | 0 | 0
September-2015
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963488 | 963800 | -312 | 312000 | 0.312 | 973075 | 973505 | -430 | 430000 | 0.43
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998903 | 999195 | -292 | 292000 | 0.292 | 997111 | 997583 | -472 | 472000 | 0.472
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971580 | 971833 | -253 | 253000 | 0.253 | 981389 | 981851 | -462 | 462000 | 0.462
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986816 | 987078 | -262 | 262000 | 0.262 | 993183 | 993654 | -471 | 471000 | 0.471
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 347196 | 345772 | 1424 | 142400 | 0.1424 | 49584 | 49564 | 20 | 2000 | 0.002
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3992 | 3976 | 16 | 1600 | 0.0016 | 23179 | 23046 | 133 | 13300 | 0.0133
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 75776 | 75714 | 62 | 6200 | 0.0062 | 68322 | 68059 | 263 | 26300 | 0.0263
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 80571 | 80378 | 193 | 19300 | 0.0193 | 66867 | 66604 | 263 | 26300 | 0.0263
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 9982 | 9850 | 132 | 13200 | 0.0132 | 10099 | 8725 | 1374 | 137400 | 0.1374
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 90341 | 83639 | 6702 | 670200 | 0.6702 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 1582 | 1524 | 58 | -4350 | -0.00435 | 6767 | 5983 | 784 | -58800 | -0.0588
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 159 | 115 | 44 | -4400 | -0.0044 | 1378 | 842 | 536 | -53600 | -0.0536
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.6961 |  |  |  |  | 5.3339
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.6961 |  |  |  |  | 5.3339
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.055092 |  |  |  |  | -0.21936
| TOTAL ENERGY TO NDMC | [8 empty] | 2.7511 |  |  |  |  | 5.1146

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | September-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2416 | 2416 | 0 | 0 | 0 | 30559 | 30122 | 437 | 437000 | 0.437
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1482 | 1482 | 0 | 0 | 0 | 32123 | 31611 | 512 | 512000 | 0.512
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3919 | 3919 | 0 | 0 | 0 | 39452 | 38748 | 704 | 704000 | 0.704
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 3 | 3 | 0 | 0 | 0 | 10342 | 9224 | 1118 | 149066.294 | 0.14907
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5327 | 5327 | 0 | 0 | 0 | 11023 | 11023 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12358 | 12358 | 0 | 0 | 0 | 60469 | 60036 | 433 | 216500 | 0.2165
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996175 | 996175 | 0 | 0 | 0 | 999925 | 999857 | 68 | 6800 | 0.0068
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 2.0254
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 54169 | 54009 | 160 | 16000 | 0.016 | 80069 | 79556 | 513 | 51300 | 0.0513
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13217 | 13217 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 52316 | 52316 | 0 | 0 | 0 | 81334 | 79090 | 2244 | 224400 | 0.2244
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 12 | 0 | 12 | 900 | 0.0009 | 41 | 28 | 13 | 975 | 0.000975
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9375 | 9375 | 0 | 0 | 0 | 3114 | 3105 | 9 | 900 | 0.0009
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0169 |  |  |  |  | 0.27668
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0169 |  |  |  |  | 0.27668
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 2.0254
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0169 |  |  |  |  | 2.302
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0169 | (REACTIVE MUs) |  |  |  | 2.302 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0078911 | (REACTIVE MUs) |  |  |  | -0.031419 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.024791 | (REACTIVE MUs) |  |  |  | 2.2706 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | September-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 13439 | 13989 | -550 | -55000 | -0.055 | 2405 | 2363 | 42 | 4200 | 0.0042
2 | O/G SBMILL-2 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 375 | 561 | 349 | 212 | 79500 | 0.0795 | 999863 | 1000086 | -223 | -83625 | -0.083625 | Check Meter Data
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 310688 | 308369 | 2319 | 231900 | 0.2319 | 104355 | 103733 | 622 | 62200 | 0.0622
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40818 | 40845 | -27 | -25312.5 | -0.025313 | 19124 | 19190 | -66 | -61875 | -0.061875
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 982695 | 982844 | -149 | 74500 | 0.0745 | 909098 | 909081 | 17 | -8500 | -0.0085
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 988119 | 988330 | -211 | 105500 | 0.1055 | 976521 | 976518 | 3 | -1500 | -0.0015
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 20 | 30 | -10 | -3000 | -0.003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.41109 |  |  |  |  | -0.0921
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 996671 | 996821 | -150 | -30000 | -0.03 | 999820 | 999836 | -16 | -3200 | -0.0032
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 939751 | 939956 | -205 | -76875 | -0.076875 | 998068 | 998518 | -450 | -168750 | -0.16875
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.10687 |  |  |  |  | -0.17195
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 275417 | 274640 | 777 | 155400 | 0.1554 | 266054 | 265796 | 258 | 51600 | 0.0516
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 127153 | 126806 | 347 | 69400 | 0.0694 | 42863 | 42748 | 115 | 23000 | 0.023
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 212295 | 211611 | 684 | 68400 | 0.0684 | 75044 | 74822 | 222 | 22200 | 0.0222
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 621 | 609 | 12 | 12000 | 0.012 | 14 | 25 | -11 | -11000 | -0.011
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997809 | 0 | 0 | 0 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998853 | 998853 | 0 | 0 | 0 | 996241 | 996283 | -42 | -39375 | -0.039375 | Data till 07/09/2015
[10 empty] | 0 |  |  |  |  | -0.101
|  | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 0 | 0 | 0 | 0 | 0 | 999940 | 1000000 | -60 | -9000 | -0.009 | w.e.f 26/09/2015
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999901 | 999944 | -43 | 107500 | 0.1075 | 3075 | 3077 | -2 | 5000 | 0.005
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 20 | 30 | -10 | 3000 | 0.003
| TOTAL NDPL | [8 empty] | 0.4127 |  |  |  |  | -0.055575
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.41109 |  |  |  |  | -0.0921
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.10687 |  |  |  |  | -0.17195
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.4127 |  |  |  |  | -0.055575

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | September-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 18532 | 17842 | 690 | 1380000 | 1.38 | 1575 | 1418 | 157 | 314000 | 0.314
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 999848 | 999850 | -2 | -10000 | -0.01 | 999913 | 1000046 | -133 | -665000 | -0.665
[7 empty] | NET REACTIVE ENERGY |  |  | 1.37 |  | NET REACTIVE ENERGY |  |  | -0.351
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 991870 | 991859 | 11 | 11000 | 0.011 | 37141 | 37297 | -156 | -156000 | -0.156
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 994882 | 994961 | -79 | -79000 | -0.079 | 992644 | 992958 | -314 | -314000 | -0.314
[7 empty] | NET REACTIVE ENERGY |  |  | -0.068 |  | NET REACTIVE ENERGY |  |  | -0.47
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.302 |  |  |  |  | -0.821
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.3745 |  |  |  |  | -6.5436
[7 empty] | NDMC = |  |  | 0.13 |  |  |  |  | 3.154
MES =
[7 empty] | 2)TOTAL |  |  | -0.2445 |  |  |  |  | -3.3896
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.0575 |  |  |  |  | -4.2106
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.4547 | % |  |  | 0.30091 |  |  |  |  | -1.1981
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.7726 | % |  |  | 0.44175 |  |  |  |  | -1.7589
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.8168 | % |  |  | 0.25186 |  |  |  |  | -1.0028
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2096 | % |  |  | 0.055092 |  |  |  |  | -0.21936
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7462 | % |  |  | 0.0078911 |  |  |  |  | -0.031419
Note :Sharing taken from wk-25 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st September-2015 TO 1st October-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.98323 |  | -0.089328
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 3.0381 | + | 2.5208
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.5638 | + | 7.2161
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.7511 | + | 5.1146
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.024791 | + | 2.2706
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2015 | INTIAL READING 01/09/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952711 | 952723 | -12 | -18000 | -0.018 | 979232 | 979234 | -2 | -3000 | -0.003
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991506 | 991494 | 12 | 18000 | 0.018 | 992872 | 993668 | -796 | -1194000 | -1.194
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 942777 | 944157 | -1380 | -1035000 | -1.035 | 999302 | 999307 | -5 | -3750 | -0.00375
[8 empty] | NET REACTIVE ENERGY |  | -1.035 |  |  | NET REACTIVE ENERGY |  | -1.2007
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 31088 | 31629 | -541 | -2705000 | -2.705
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999998 | 999998 | 0 | 0 | 0 | 980316 | 984110 | -3794 | -3794000 | -3.794
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976164 | 977083 | -919 | -919000 | -0.919 | 991135 | 991183 | -48 | -48000 | -0.048
[8 empty] | NET REACTIVE ENERGY |  | -0.919 |  |  | NET REACTIVE ENERGY |  | -6.547