## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981636 | 982051 | -415 | 415000 | 0.415 | 999213 | 999213 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34544 | 33612 | 932 | -932000 | -0.932 | 999499 | 999499 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946204 | 946630 | -426 | 426000 | 0.426 | 995658 | 995658 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999201 | 999006 | 195 | -195000 | -0.195 | 997407 | 997418 | -11 | 11000 | 0.011
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989297 | 988959 | 338 | -338000 | -0.338 | 999574 | 999574 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25975 | 25894 | 81 | -81000 | -0.081 | 16837 | 16848 | -11 | 11000 | 0.011
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1674 | 1609 | 65 | -65000 | -0.065 | 998903 | 998909 | -6 | 6000 | 0.006
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998732 | 998772 | -40 | 40000 | 0.04 | 998046 | 998072 | -26 | 26000 | 0.026
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 973635 | 973988 | -353 | 176500 | 0.1765 | 817743 | 817785 | -42 | 21000 | 0.021
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1295 | 997 | 298 | -298000 | -0.298 | 999343 | 999343 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14019 | 11891 | 2128 | -2128000 | -2.128 | 999453 | 999453 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2294 | 2010 | 284 | -284000 | -0.284 | 998296 | 998297 | -1 | 1000 | 0.001
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 873159 | 879587 | -6428 | -6428000 | -6.428 | 999981 | 999981 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982150 | 981509 | 641 | -641000 | -0.641 | 16729 | 16729 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14155 | 12772 | 1383 | -1383000 | -1.383 | 20500 | 20500 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26396 | 24818 | 1578 | -1578000 | -1.578 | 274 | 274 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999946 | -3 | -3000 | -0.003 | 995991 | 995975 | 16 | 16000 | 0.016
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 680 | 682 | -2 | -2000 | -0.002 | 25156 | 25175 | -19 | -19000 | -0.019
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1096 | 1091 | 5 | 2500 | 0.0025 | 4640 | 4625 | 15 | 7500 | 0.0075
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 138468 | 138143 | 325 | 32500 | 0.0325 | 290736 | 290714 | 22 | 2200 | 0.0022
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995831 | 995838 | -7 | -7000 | -0.007 | 986096 | 986130 | -34 | -34000 | -0.034
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 997821 | 997901 | -80 | -80000 | -0.08
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50214 | 50507 | -293 | -29300 | -0.0293 | 33272 | 33272 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 613710 | 616426 | -2716 | -2716000 | -2.716 | 795906 | 795906 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 591165 | 593530 | -2365 | -2365000 | -2.365 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1000471 | 999971 | 500 | 133335 | 0.13334 | 0 | 0 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7007 | 6826 | 181 | 90500 | 0.0905 | 1765 | 1765 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 884 | 782 | 102 | -102000 | -0.102 | 997510 | 997511 | -1 | 1000 | 0.001
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 7387 | 6792 | 595 | -297500 | -0.2975 | 999700 | 999700 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19905 | 18193 | 1712 | -1712000 | -1.712 | 999613 | 999618 | -5 | 5000 | 0.005
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 18175 | 16423 | 1752 | -3504000 | -3.504 | 101 | 101 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35636 | 34208 | 1428 | -1428000 | -1.428 | 998919 | 998919 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71047 | 68103 | 2944 | -2944000 | -2.944 | 2422 | 2422 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21521 | 20031 | 1490 | -1490000 | -1.49 | 999323 | 999323 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11365 | 10610 | 755 | -755000 | -0.755 | 784 | 784 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000132 | 997902 | 2230 | -2230000 | -2.23 | 998728 | 998728 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14218 | 14397 | -179 | 179000 | 0.179 | 1378 | 1380 | -2 | 2000 | 0.002
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1829 | 1845 | -16 | -16000 | -0.016 | 28240 | 28237 | 3 | 3000 | 0.003
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 11875 | 9040 | 2835 | 283500 | 0.2835 | 26256 | 26250 | 6 | 600 | 0.0006
| NDPL(+) continue | [14 empty] | MARCH-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1292 | 1308 | -16 | -16000 | -0.016 | 61300 | 61300 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 998113 | 998020 | 93 | 38749.38 | 0.038749 | 999151 | 999137 | 14 | 5833.24 | 0.0058332
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9014 | 9019 | -5 | -500 | -0.0005 | 37463 | 37486 | -23 | -2300 | -0.0023 | data till 19/03
[10 empty] | -0.00022 |  |  |  |  | -0.0012 | Assessment
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11760 | 11820 | -60 | -6000 | -0.006 | 77077 | 77294 | -217 | -21700 | -0.0217
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1412 | 1401 | 11 | 1100 | 0.0011 | 19585 | 19240 | 345 | 34500 | 0.0345
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 381 | 373 | 8 | 10664 | 0.010664 | 301 | 277 | 24 | 31992 | 0.031992
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 96 | 44 | 52 | 5200 | 0.0052 | 999988 | 999987 | 1 | 100 | 0.0001
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 22/03/18
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000113 | 999946 | 167 | 16700 | 0.0167 | 17203 | 17161 | 42 | 4200 | 0.0042
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989591 | -3 | -133.32 | -0.00013332 | 305 | 328 | -23 | -1022.12 | -0.0010221
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1421 | 1422 | -1 | -166.66 | -0.00016666 | 1879 | 1879 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999833 | 999834 | -1 | -500 | -0.0005 | 534 | 540 | -6 | -3000 | -0.003
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1189 | 1154 | 35 | 23333.45 | 0.023333 | 128 | 126 | 2 | 1333.34 | 0.0013333
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4075 | 4071 | 4 | 2666.6667 | 0.0026667 | 1431 | 1431 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997238 | 997270 | -32 | -3200 | -0.0032 | 2191 | 2299 | -108 | -10800 | -0.0108
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 230 | -5 | -500 | -0.0005 | 999991 | 999999 | -8 | -800 | -0.0008
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 999885 | 999912 | -27 | -2700 | -0.0027 | 999985 | 999985 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
62 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 2710 | 2560 | 150 | 15000 | 0.015 | 10334 | 10140 | 194 | 19400 | 0.0194
63 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 3066 | 2649 | 417 | 41700 | 0.0417 | 302 | 264 | 38 | 3800 | 0.0038
64 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 17404 | 16664 | 740 | 74000 | 0.074 | 5652 | 5528 | 124 | 12400 | 0.0124
KASHMIRI GATE
65 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 19970 | 17643 | 2327 | 232700 | 0.2327 | 1781 | 1781 | 0 | 0 | 0
66 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25416 | 25416 | 0 | 0 | 0 | 51316 | 51320 | -4 | -400 | -0.0004
67 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 468 | 469 | -1 | 300 | 0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
68 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 86 | 0 | 0 | 0
69 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
70 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 996994 | 997405 | -411 | -328800 | -0.3288 | 999998 | 999998 | 0 | 0 | 0
71 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 86 | 167 | -81 | -162000 | -0.162 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
72 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 994888 | 995700 | -812 | -81200 | -0.0812 | 999834 | 999834 | 0 | 0 | 0
73 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998776 | 998512 | 264 | 66000 | 0.066 | 132 | 132 | 0 | 0 | 0
REWARI LINE
74 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998561 | 998801 | -240 | -240000 | -0.24 | 848 | 242 | 606 | 606000 | 0.606
75 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 63 | 124 | -61 | -45750 | -0.04575 | 31 | 28 | 3 | 2250 | 0.00225
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -32.5328 |  |  |  |  | 0.66119
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10676 | 10669 | 7 | -700 | -0.0007 | 49686 | 46433 | 3253 | -325300 | -0.3253
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 10 | 12 | -2 | 1600 | 0.0016 | 1854 | 1803 | 51 | -40800 | -0.0408
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1190 | 1046 | 144 | -144000 | -0.144 | 390 | 390 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 2126 | 1994 | 132 | -52800 | -0.0528 | 9 | 9 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999872 | 999952 | -80 | 15000 | 0.015 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12 | 12 | 0 | 0 | 0 | 22 | 22 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 976790 | 977773 | -983 | 786400 | 0.7864 | 999001 | 999001 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA DSIDC (RAILWAY CKTS)
9 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 999975 | 1000000 | -25 | 15625 | 0.015625 | 0 | 0 | 0 | 0 | 0
10 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999999 | 1000000 | -1 | 625 | 0.000625 | 0 | 0 | 0 | 0 | 0
REWARI LINE
11 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999739 | 999967 | -228 | 45600 | 0.0456 | 288 | 226 | 62 | -12400 | -0.0124
12 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999209 | 999317 | -108 | 20250 | 0.02025 | 999891 | 999926 | -35 | 6562.5 | 0.0065625
13 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999037 | 999152 | -115 | 21562.5 | 0.021562 | 117 | 41 | 76 | -14250 | -0.01425
14 | 20MVATX-3 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 999592 | 999671 | -79 | 19750 | 0.01975 | 101 | 89 | 12 | -3000 | -0.003
15 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999896 | 999896 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.72891 |  |  |  |  | -0.38919
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -32.5328 |  |  |  |  | 0.66119
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.72891 |  |  |  |  | -0.38919
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.3927 |  |  |  |  | 0.3159
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -29.4112 |  |  |  |  | 0.5879
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -29.4112 | (REACTIVE MUs) |  |  |  | 0.5879 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.2291 | (REACTIVE MUs) |  |  |  | -1.2621 | (REACTIVE MUs)
[9 empty] | TOTAL | -28.1821 | (REACTIVE MUs) |  |  |  | -0.67425 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 11288 | 11403 | -115 | -11500 | -0.0115 | 999148 | 999218 | -70 | -7000 | -0.007
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8118 | 8203 | -85 | -25500 | -0.0255 | 7958 | 7624 | 334 | 100200 | 0.1002
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 28694 | 28730 | -36 | -2700 | -0.0027 | 203742 | 196887 | 6855 | 514125 | 0.51413
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998301 | 998350 | -49 | -14700 | -0.0147 | 5688 | 5886 | -198 | -59400 | -0.0594
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1728 | 1724 | 4 | 5333.2 | 0.0053332 | 3156 | 3059 | 97 | 129330.1 | 0.12933
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35179 | 34983 | 196 | 19600 | 0.0196 | 159464 | 158991 | 473 | 47300 | 0.0473
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 16525 | 16610 | -85 | -6375 | -0.006375 | 46413 | 45571 | 842 | 63150 | 0.06315
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986728 | 987067 | -339 | -339000 | -0.339 | 2261 | 2261 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995742 | 995866 | -124 | -124000 | -0.124 | 3874 | 3885 | -11 | -11000 | -0.011
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999385 | 998824 | 561 | 561000 | 0.561 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992708 | 992999 | -291 | -291000 | -0.291 | 1454 | 1455 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993398 | 993414 | -16 | -16000 | -0.016 | 5565 | 5587 | -22 | -22000 | -0.022
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997257 | 997242 | 15 | 15000 | 0.015 | 998989 | 998684 | 305 | 305000 | 0.305
14 | JAMA MASJID-1 | 4864868 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998342 | 998396 | -54 | -54000 | -0.054 | 16278 | 16282 | -4 | -4000 | -0.004
|  | 5128408 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999996 | 1000000 | -4 | -4000 | -0.004 | 999999 | 1000000 | -1 | -1000 | -0.001 | w.e.f 27/03/18
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999039 | 999050 | -11 | -8800 | -0.0088 | 2237 | 2328 | -91 | -72800 | -0.0728
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999170 | 998720 | 450 | 450000 | 0.45 | 32996 | 32997 | -1 | -1000 | -0.001
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2046 | 2072 | -26 | -26000 | -0.026 | 9728 | 9728 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1315 | 1628 | -313 | -313000 | -0.313 | 17082 | 17083 | -1 | -1000 | -0.001
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 982695 | 984650 | -1955 | -2443750 | -2.4438 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 963381 | 966950 | -3569 | -3925900 | -3.9259
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965411 | 966956 | -1545 | -1545000 | -1.545 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.9888 |  |  |  |  | -3.9259
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996377 | 996865 | -488 | 488000 | 0.488 | 999978 | 999978 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995976 | 996167 | -191 | 191000 | 0.191 | 999973 | 999973 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 468 | 469 | -1 | -300 | -0.0003
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999838 | 999851 | -13 | -13000 | -0.013 | 6886 | 6849 | 37 | 37000 | 0.037
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27020 | 24006 | 3014 | -3014000 | -3.014 | 0 | 0 | 0 | 0 | 0
[5 empty] | -1000 | 23421 | 21676 | 1745 | -1745000 | -1.745
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16871 | 16376 | 495 | -495000 | -0.495 | 999911 | 999921 | -10 | 10000 | 0.01
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989538 | 989966 | -428 | 428000 | 0.428 | 991708 | 991899 | -191 | 191000 | 0.191
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993770 | 993687 | 83 | -83000 | -0.083 | 998813 | 998824 | -11 | 11000 | 0.011
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997701 | 997682 | 19 | -19000 | -0.019 | 999528 | 999572 | -44 | 44000 | 0.044
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998630 | 998629 | 1 | -1000 | -0.001 | 146 | 153 | -7 | 7000 | 0.007
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992548 | 992478 | 70 | -70000 | -0.07 | 999644 | 999648 | -4 | 4000 | 0.004
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1190 | 1046 | 144 | 144000 | 0.144 | 390 | 390 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 2126 | 1994 | 132 | 52800 | 0.0528 | 9 | 9 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998159 | 24 | 24000 | 0.024 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 150769 | 150719 | 50 | 50000 | 0.05 | 54272 | 54270 | 2 | 2000 | 0.002
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983873 | 983838 | 35 | -35000 | -0.035 | 999984 | 999984 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997900 | 997870 | 30 | -30000 | -0.03 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -8.3016 |  |  |  |  | -2.6413
| (A) NET ENERGY TO CENTRAL | [8 empty] | -8.3016 |  |  |  |  | -2.6413
MARCH-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978229 | 978185 | 44 | -44000 | -0.044 | 879040 | 879040 | 0 | 0 | 0
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996840 | 996225 | 615 | -615000 | -0.615 | 962312 | 962312 | 0 | 0 | 0
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996648 | 996969 | -321 | 321000 | 0.321 | 998957 | 998957 | 0 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 983437 | 984465 | -1028 | 2056000 | 2.056 | 972206 | 972206 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1001177 | 999941 | 1236 | -1236000 | -1.236 | 999125 | 999125 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995147 | 995276 | -129 | 129000 | 0.129 | 998563 | 998563 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3186 | 3618 | -432 | 432000 | 0.432 | 999628 | 999628 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984653 | 984746 | -93 | 93000 | 0.093 | 937384 | 937384 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982627 | 983761 | -1134 | 1134000 | 1.134 | 989673 | 989678 | -5 | 5000 | 0.005
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998400 | 999916 | -1516 | 1516000 | 1.516 | 0 | 0 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959308 | 959019 | 289 | -289000 | -0.289 | 829366 | 829366 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23653 | 22086 | 1567 | -1567000 | -1.567 | 33706 | 33706 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9334 | 8661 | 673 | -673000 | -0.673 | 999918 | 999918 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967213 | 965519 | 1694 | -1694000 | -1.694 | 919598 | 919598 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.437 |  |  |  |  | 0.005
| (B) NET ENERGY TO EAST | [8 empty] | -0.437 |  |  |  |  | 0.005
MARCH-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 1000471 | 999971 | 500 | -133335 | -0.13334 | 0 | 0 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7007 | 6826 | 181 | -90500 | -0.0905 | 1765 | 1765 | 0 | 0 | 0
| EXPORT TO NDMC FROM PARK STREET | [9 empty] | #N/A
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3670 | 3348 | 322 | -85864.52 | -0.085865 | 547 | 524 | 23 | -6133.18 | -0.0061332
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 79268 | 78517 | 751 | -75100 | -0.0751 | 144097 | 144004 | 93 | -9300 | -0.0093
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 968131 | 968738 | -607 | 121400 | 0.1214 | 994949 | 994945 | 4 | -800 | -0.0008
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 48753 | 47535 | 1218 | -243600 | -0.2436 | 118643 | 118468 | 175 | -35000 | -0.035
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 18780 | 18635 | 145 | -116000 | -0.116 | 13864 | 13864 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15687 | 15565 | 122 | -244000 | -0.244 | 4478 | 4478 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 970606 | 970966 | -360 | 288000 | 0.288 | 986568 | 986568 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 975493 | 976024 | -531 | 424800 | 0.4248 | 987337 | 987337 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 984022 | 984806 | -784 | 627200 | 0.6272 | 993925 | 993925 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 974353 | 974882 | -529 | 423200 | 0.4232 | 994513 | 994513 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969569 | 970740 | -1171 | 1171000 | 1.171 | 32283 | 32283 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1829 | 1845 | -16 | 16000 | 0.016 | 28240 | 28237 | 3 | -3000 | -0.003
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 11875 | 9040 | 2835 | -283500 | -0.2835 | 26256 | 26250 | 6 | -600 | -0.0006
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1292 | 1308 | -16 | 16000 | 0.016 | 61300 | 61300 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1421 | 1422 | -1 | 166.66 | 0.00016666 | 1879 | 1879 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999833 | 999834 | -1 | 500 | 0.0005 | 534 | 540 | -6 | 3000 | 0.003
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1189 | 1154 | 35 | -23333.45 | -0.023333 | 128 | 126 | 2 | -1333.34 | -0.0013333
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4075 | 4071 | 4 | -2666.6667 | -0.0026667 | 1431 | 1431 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 19970 | 17643 | 2327 | -232700 | -0.2327 | 1781 | 1781 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25416 | 25416 | 0 | 0 | 0 | 51316 | 51320 | -4 | 400 | 0.0004
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997238 | 997270 | -32 | 3200 | 0.0032 | 2191 | 2299 | -108 | 10800 | 0.0108
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 230 | -5 | -500 | -0.0005 | 999991 | 999999 | -8 | -800 | -0.0008
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 999885 | 999912 | -27 | 2700 | 0.0027 | 999985 | 999985 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 2710 | 2560 | 150 | -15000 | -0.015 | 10334 | 10140 | 194 | -19400 | -0.0194
30 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 3066 | 2649 | 417 | -41700 | -0.0417 | 302 | 264 | 38 | -3800 | -0.0038
31 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 17404 | 16664 | 740 | -74000 | -0.074 | 5652 | 5528 | 124 | -12400 | -0.0124
[10 empty] | 1.4324 |  |  |  |  | -0.078367
MARCH-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -8.3016 |  |  |  |  | -2.6413
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.4324 |  |  |  |  | -0.078367
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.6533 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -8.5225 |  |  |  |  | -2.7197
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.437 |  |  |  |  | 0.005
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -8.9595 |  |  |  |  | -2.7147
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.9595 | (REACTIVE MUs) |  |  |  | -2.7147 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.86391 | (REACTIVE MUs) |  |  |  | -0.8871 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.0956 | (REACTIVE MUs) |  |  |  | -3.6018 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999505 | 999509 | -4 | -20000 | -0.02 | 999286 | 999354 | -68 | -340000 | -0.34
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984577 | 984596 | -19 | -25333.27 | -0.025333 | 670959 | 671097 | -138 | -183999.54 | -0.184
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1219 | 1283 | -64 | -25600 | -0.0256 | 63291 | 64407 | -1116 | -446400 | -0.4464
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999973 | 999971 | 2 | 2666.66 | 0.0026667 | 45 | 25 | 20 | 26666.6 | 0.026667
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18831 | 18786 | 45 | 4500 | 0.0045 | 20966 | 20177 | 789 | 78900 | 0.0789
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 719767 | 720783 | -1016 | -76200 | -0.0762 | 993133 | 996563 | -3430 | -257250 | -0.25725
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 999210 | 999289 | -79 | -5925 | -0.005925 | 2234 | 138 | 2096 | 157200 | 0.1572
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997475 | 997498 | -23 | -20700 | -0.0207 | 994907 | 995498 | -591 | -531900 | -0.5319
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3083 | 3126 | -43 | 43000 | 0.043 | 997652 | 997657 | -5 | 5000 | 0.005
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975 | 883 | 92 | -92000 | -0.092 | 992925 | 992925 | 0 | 0 | 0 | data till 13/03/18
|  | 4902563 | ELSTER | Kvarh(Lead/Lag) | -1000 | 505 | 505 | 0 | 0 | 0 | 999539 | 999539 | 0 | 0 | 0 | check meter data
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10791 | 10438 | 353 | -353000 | -0.353 | 999400 | 999400 | 0 | 0 | 0
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967910 | 967310 | 600 | -600000 | -0.6 | 996373 | 996373 | 0 | 0 | 0
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14110 | 12355 | 1755 | -1755000 | -1.755 | 999849 | 999849 | 0 | 0 | 0
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19261 | 17820 | 1441 | -1441000 | -1.441 | 158 | 158 | 0 | 0 | 0
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7634 | 6865 | 769 | -1538000 | -1.538 | 999044 | 999044 | 0 | 0 | 0
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996523 | 996806 | -283 | 283000 | 0.283 | 902651 | 902651 | 0 | 0 | 0
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3098 | 2849 | 249 | -249000 | -0.249 | 982785 | 982883 | -98 | 98000 | 0.098
22 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996756 | 996793 | -37 | 37000 | 0.037 | 983472 | 983536 | -64 | 64000 | 0.064
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997119 | 997025 | 94 | -94000 | -0.094 | 990212 | 990500 | -288 | 288000 | 0.288
24 | Tx.4 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52958 | 52995 | -37 | 37000 | 0.037 | 28936 | 28417 | 519 | -519000 | -0.519 | check meter data
|  | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 1000000 | -1 | 1000 | 0.001 | 999968 | 1000000 | -32 | 32000 | 0.032 | w.e.f 23/03/18
IMPORT
MANGOLPURI
25 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 10 | 12 | -2 | -1600 | -0.0016 | 1854 | 1803 | 51 | 40800 | 0.0408
LODHI ROAD
26 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978846 | 978846 | 0 | 0 | 0 | 978303 | 978303 | 0 | 0 | 0
27 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
28 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980767 | 980380 | 387 | -387000 | -0.387 | 999323 | 999323 | 0 | 0 | 0
OKHLA
29 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996358 | 996246 | 112 | -112000 | -0.112 | 988447 | 988628 | -181 | 181000 | 0.181
30 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994181 | 993673 | 508 | -508000 | -0.508 | 928117 | 928117 | 0 | 0 | 0
31 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7973 | 7634 | 339 | -339000 | -0.339 | 33391 | 33391 | 0 | 0 | 0
32 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997841 | 997712 | 129 | -129000 | -0.129 | 996139 | 996139 | 0 | 0 | 0
33 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999733 | 999694 | 39 | -39000 | -0.039 | 999709 | 999709 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | MARCH-2018
VASANT KUNJ
34 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7046 | 7061 | -15 | 15000 | 0.015 | 999943 | 999943 | 0 | 0 | 0
35 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 10961 | 10997 | -36 | 18000 | 0.018 | 998246 | 998246 | 0 | 0 | 0
36 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50901 | 45361 | 5540 | -11080000 | -11.08 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
37 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2129 | 1735 | 394 | -394000 | -0.394 | 999881 | 999885 | -4 | 4000 | 0.004
38 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994406 | 994405 | 1 | -1000 | -0.001 | 927385 | 927385 | 0 | 0 | 0
39 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1867 | 1396 | 471 | -471000 | -0.471 | 999263 | 999265 | -2 | 2000 | 0.002
40 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1681 | 1217 | 464 | -928000 | -0.928 | 999117 | 999117 | 0 | 0 | 0
RIDGE VALLEY
41 | Tx-1 | 4865064 | ELSTER | Kvarh(Lead/Lag) | -750 | 980033 | 979710 | 323 | -242250 | -0.24225 | 963167 | 963167 | 0 | 0 | 0
|  | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 108 | 0 | 108 | -108000 | -0.108 | 0 | 0 | 0 | 0 | 0 | w.e.f 09/03/18
42 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7579 | 6308 | 1271 | -2542000 | -2.542 | 999749 | 999749 | 0 | 0 | 0
DIAL
43 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6547 | 6531 | 16 | -32000 | -0.032 | 2419 | 2419 | 0 | 0 | 0
44 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3339 | 3316 | 23 | -46000 | -0.046 | 1380 | 1380 | 0 | 0 | 0
MASJID MOD
45 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917456 | 917460 | -4 | 4000 | 0.004 | 981209 | 981209 | 0 | 0 | 0
46 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28 | 38 | -10 | 10000 | 0.01 | 996785 | 996785 | 0 | 0 | 0
MUNDKA
47 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
48 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 997096 | 997437 | -341 | -272800 | -0.2728 | 27 | 27 | 0 | 0 | 0
49 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 983181 | 983856 | -675 | -540000 | -0.54 | 999988 | 999988 | 0 | 0 | 0
50 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1489 | 1527 | -38 | -30400 | -0.0304 | 999795 | 999795 | 0 | 0 | 0
52 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 404 | 450 | -46 | -36800 | -0.0368 | 1 | 1 | 0 | 0 | 0
PARK STREET
53 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 969569 | 970740 | -1171 | -1171000 | -1.171 | 32283 | 32283 | 0 | 0 | 0
54 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
55 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69160 | 64759 | 4401 | -4401000 | -4.401 | 27 | 27 | 0 | 0 | 0
56 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15931 | 15176 | 755 | -755000 | -0.755 | 998472 | 998472 | 0 | 0 | 0
57 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48492 | 44199 | 4293 | -4293000 | -4.293 | 10 | 10 | 0 | 0 | 0
NARAINA
58 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10676 | 10669 | 7 | 700 | 0.0007 | 49686 | 46433 | 3253 | 325300 | 0.3253
SUDARSHAN PARK
59 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999872 | 999952 | -80 | -15000 | -0.015 | 0 | 0 | 0 | 0 | 0
60 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 8467 | 9987 | -1520 | -608000 | -0.608 | 21171 | 21171 | 0 | 0 | 0
61 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 995789 | 996071 | -282 | -112800 | -0.1128 | 34211 | 34211 | 0 | 0 | 0
REWARI LINE
62 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12 | 12 | 0 | 0 | 0 | 22 | 22 | 0 | 0 | 0
KANJAWALA
63 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 976790 | 977773 | -983 | -786400 | -0.7864 | 999001 | 999001 | 0 | 0 | 0
Trauma Centre
64 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 338664 | 336057 | 2607 | 260700 | 0.2607 | 8000 | 8000 | 0 | 0 | 0
[5 empty] | 100 | 303847 | 300318 | 3529 | 352900 | 0.3529
65 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4511 | 4568 | -57 | -57000 | -0.057 | 338 | 338 | 0 | 0 | 0
A.I.I.M.S.
66 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10264 | 10222 | 42 | 3150 | 0.00315 | 14661 | 14600 | 61 | 4575 | 0.004575
67 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4842 | 4814 | 28 | 2800 | 0.0028 | 5871 | 5851 | 20 | 2000 | 0.002
PEERGARHI
68 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 3656 | 3309 | 347 | 173500 | 0.1735 | 2775 | 2775 | 0 | 0 | 0
69 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3414 | 3928 | -514 | -514000 | -0.514 | 4064 | 4064 | 0 | 0 | 0
70 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995413 | 995747 | -334 | -334000 | -0.334 | 1304 | 1304 | 0 | 0 | 0
71 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3883 | 3788 | 95 | 95000 | 0.095 | 6440 | 6440 | 0 | 0 | 0
72 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 573 | 584 | -11 | -11000 | -0.011 | 381 | 381 | 0 | 0 | 0
73 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 47390 | 47532 | -142 | -14200 | -0.0142 | 44751 | 44751 | 0 | 0 | 0
74 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 500 | 999958 | 1000154 | -196 | -98000 | -0.098 | 2 | 2 | 0 | 0 | 0
75 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2292 | 2158 | 134 | 134000 | 0.134 | 5893 | 5893 | 0 | 0 | 0
REWARI LINE
76 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999739 | 999967 | -228 | -45600 | -0.0456 | 288 | 226 | 62 | 12400 | 0.0124
77 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999209 | 999317 | -108 | -20250 | -0.02025 | 999891 | 999926 | -35 | -6562.5 | -0.0065625
78 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999037 | 999152 | -115 | -21562.5 | -0.021562 | 117 | 41 | 76 | 14250 | 0.01425
79 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 999592 | 999671 | -79 | -19750 | -0.01975 | 101 | 89 | 12 | 3000 | 0.003
80 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999896 | 999896 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -36.3353 |  |  |  |  | -0.94602
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 195393 | 193969 | 1424 | -142400 | -0.1424 | 913610 | 913602 | 8 | -800 | -0.0008
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998159 | 24 | -24000 | -0.024 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 150769 | 150719 | 50 | -50000 | -0.05 | 54272 | 54270 | 2 | -2000 | -0.002
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997373 | 997464 | -91 | 18200 | 0.0182 | 999125 | 999125 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1051 | 927 | 124 | -124000 | -0.124 | 11 | 11 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998895 | 999137 | -242 | 242000 | 0.242 | 742 | 742 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 4857 | 3995 | 862 | -137920 | -0.13792 | 3771 | 3771 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -1000 | 907658 | 907544 | 114 | -114000 | -0.114 | 62170 | 62169 | 1 | -1000 | -0.001
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994614 | 995195 | -581 | 581000 | 0.581 | 999819 | 999819 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 96783 | 96670 | 113 | -11300 | -0.0113 | 71783 | 71749 | 34 | -3400 | -0.0034
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 106190 | 105946 | 244 | -24400 | -0.0244 | 72535 | 72466 | 69 | -6900 | -0.0069
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 27867 | 28272 | -405 | 40500 | 0.0405 | 33191 | 33191 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 433427 | 429322 | 4105 | -410500 | -0.4105 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 6632 | 6565 | 67 | -6700 | -0.0067 | 30414 | 30196 | 218 | -21800 | -0.0218
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 998113 | 998020 | 93 | -38749.38 | -0.038749 | 999151 | 999137 | 14 | -5833.24 | -0.0058332
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9014 | 9019 | -5 | 500 | 0.0005 | 37463 | 37486 | -23 | 2300 | 0.0023 | data till 19/03
[10 empty] | 0.00022 |  |  |  |  | 0.0012 | Assessment
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11760 | 11820 | -60 | 6000 | 0.006 | 77077 | 77294 | -217 | 21700 | 0.0217
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1412 | 1401 | 11 | -1100 | -0.0011 | 19585 | 19240 | 345 | -34500 | -0.0345
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 381 | 373 | 8 | -10664 | -0.010664 | 301 | 277 | 24 | -31992 | -0.031992
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 96 | 44 | 52 | -5200 | -0.0052 | 999988 | 999987 | 1 | -100 | -0.0001
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 22/03/18
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000113 | 999946 | 167 | -16700 | -0.0167 | 17203 | 17161 | 42 | -4200 | -0.0042
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989591 | -3 | 133.32 | 0.00013332 | 305 | 328 | -23 | 1022.12 | 0.0010221
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 86 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
33 | 66KV RLY Ckt-1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -500 | 999215 | 999225 | -10 | 5000 | 0.005 | 999999 | 999999 | 0 | 0 | 0
REWARI LINE
34 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998561 | 998801 | -240 | 240000 | 0.24 | 848 | 242 | 606 | -606000 | -0.606
35 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 63 | 124 | -61 | 45750 | 0.04575 | 31 | 28 | 3 | -2250 | -0.00225
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.06167 |  |  |  |  | -0.69455
MARCH-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -36.3353 |  |  |  |  | -0.94602
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.06167 |  |  |  |  | -0.69455
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.7643 |  |  |  |  | 0
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0079 |  |  |  |  | -0.1055
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -35.5172 |  |  |  |  | -1.7461
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -35.5172 | (REACTIVE MUs) |  |  |  | -1.7461 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.5249 | (REACTIVE MUs) |  |  |  | -1.5659 | (REACTIVE MUs)
[9 empty] | TOTAL | -33.9923 | (REACTIVE MUs) |  |  |  | -3.3119 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3670 | 3348 | 322 | 85867.74 | 0.085868 | 547 | 524 | 23 | 6133.41 | 0.0061334
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 79268 | 78517 | 751 | 75100 | 0.0751 | 144097 | 144004 | 93 | 9300 | 0.0093
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 968131 | 968738 | -607 | -121400 | -0.1214 | 994949 | 994945 | 4 | 800 | 0.0008
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 48753 | 47535 | 1218 | 243600 | 0.2436 | 118643 | 118468 | 175 | 35000 | 0.035
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 18780 | 18635 | 145 | 116000 | 0.116 | 13864 | 13864 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15687 | 15565 | 122 | 244000 | 0.244 | 4478 | 4478 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 970606 | 970966 | -360 | -288000 | -0.288 | 986568 | 986568 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 975493 | 976024 | -531 | -424800 | -0.4248 | 987337 | 987337 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 984022 | 984806 | -784 | -627200 | -0.6272 | 993925 | 993925 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 974353 | 974882 | -529 | -423200 | -0.4232 | 994513 | 994513 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997505 | 997609 | -104 | -5200 | -0.0052 | 8059 | 7923 | 136 | 6800 | 0.0068
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989447 | 989635 | -188 | -14100 | -0.0141 | 15280 | 14175 | 1105 | 82875 | 0.082875
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 117 | 127 | -10 | -5000 | -0.005 | 2287 | 2268 | 19 | 9500 | 0.0095
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999217 | 999203 | 14 | 5250 | 0.00525 | 3983 | 3003 | 980 | 367500 | 0.3675
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988082 | 988151 | -69 | -6900 | -0.0069 | 330957 | 330899 | 58 | 5800 | 0.0058
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 266 | 317 | -51 | -3825 | -0.003825 | 13924 | 10744 | 3180 | 238500 | 0.2385
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 89199 | 88909 | 290 | 29000 | 0.029 | 743259 | 739759 | 3500 | 350000 | 0.35
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997624 | 997757 | -133 | -133000 | -0.133 | 102070 | 102070 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994476 | 995166 | -690 | -690000 | -0.69 | 45221 | 45221 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991990 | 993023 | -1033 | -1033000 | -1.033 | 143903 | 143903 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5188 | 5162 | 26 | 26000 | 0.026 | 59490 | 59490 | 0 | 0 | 0
[10 empty] | -1.83 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998895 | 999137 | -242 | -242000 | -0.242 | 742 | 742 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 4857 | 3995 | 862 | 137920 | 0.13792 | 3771 | 3771 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 1000 | 907658 | 907544 | 114 | 114000 | 0.114 | 62170 | 62169 | 1 | 1000 | 0.001
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994614 | 995195 | -581 | -581000 | -0.581 | 999819 | 999819 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
MARCH-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926393 | 926831 | -438 | 438000 | 0.438 | 970568 | 970568 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 962337 | 963057 | -720 | 360000 | 0.36 | 998213 | 998213 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998310 | 997894 | 416 | -832000 | -0.832 | 999721 | 999721 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990780 | 991474 | -694 | 694000 | 0.694 | 999418 | 999418 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 433427 | 429322 | 4105 | 410500 | 0.4105 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 6632 | 6565 | 67 | 6700 | 0.0067 | 30414 | 30196 | 218 | 21800 | 0.0218
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 96783 | 96670 | 113 | 11300 | 0.0113 | 71783 | 71749 | 34 | 3400 | 0.0034
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 106190 | 105946 | 244 | 24400 | 0.0244 | 72535 | 72466 | 69 | 6900 | 0.0069
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 27867 | 28272 | -405 | -40500 | -0.0405 | 33191 | 33191 | 0 | 0 | 0
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 195393 | 193969 | 1424 | 142400 | 0.1424 | 913610 | 913602 | 8 | 800 | 0.0008
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 338664 | 336057 | 2607 | -260700 | -0.2607 | 8000 | 8000 | 0 | 0 | 0
[5 empty] | -100 | 303847 | 300318 | 3529 | -352900 | -0.3529
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4511 | 4568 | -57 | 57000 | 0.057 | 338 | 338 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10264 | 10222 | 42 | -3150 | -0.00315 | 14661 | 14600 | 61 | -4575 | -0.004575
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4842 | 4814 | 28 | -2800 | -0.0028 | 5871 | 5851 | 20 | -2000 | -0.002
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.8696 |  |  |  |  | 1.1395
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.8696 |  |  |  |  | 1.1395
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.17856 |  |  |  |  | -0.18336
| TOTAL ENERGY TO NDMC | [8 empty] | -2.6911 |  |  |  |  | 0.95618

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3392 | 3165 | 227 | 45400 | 0.0454 | 22239 | 21974 | 265 | 53000 | 0.053
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42431 | 42441 | -10 | -10000 | -0.01
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4249 | 4239 | 10 | 10000 | 0.01 | 52313 | 52308 | 5 | 5000 | 0.005
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 152 | 154 | -2 | -800 | -0.0008 | 678 | 615 | 63 | 25200 | 0.0252
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6467 | 6470 | -3 | -3000 | -0.003 | 12075 | 12075 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 283 | 286 | -3 | -1200 | -0.0012 | 999257 | 999263 | -6 | -2400 | -0.0024
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997373 | 997464 | -91 | -18200 | -0.0182 | 999125 | 999125 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1051 | 927 | 124 | 124000 | 0.124 | 11 | 11 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1562 |  |  |  |  | 0.0708
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 59371 | 59292 | 79 | 7900 | 0.0079 | 91906 | 91816 | 90 | 9000 | 0.009
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78160 | 78160 | 0 | 0 | 0 | 16991 | 16714 | 277 | 27700 | 0.0277
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 65242 | 65242 | 0 | 0 | 0 | 113903 | 113218 | 685 | 68500 | 0.0685
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1312 | 1312 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10281 | 10281 | 0 | 0 | 0 | 3989 | 3986 | 3 | 300 | 0.0003
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0079 |  |  |  |  | 0.1055
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0079 |  |  |  |  | 0.1055
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1562 |  |  |  |  | 0.0708
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1641 |  |  |  |  | 0.1763
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1641 | (REACTIVE MUs) |  |  |  | 0.1763 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.027776 | (REACTIVE MUs) |  |  |  | -0.028522 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.19188 | (REACTIVE MUs) |  |  |  | 0.14778 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 999975 | 1000000 | -25 | -15625 | -0.015625 | 0 | 0 | 0 | 0 | 0
2 | 66KV RLY Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999999 | 1000000 | -1 | -625 | -0.000625 | 0 | 0 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV RLY Ckt-1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | 500 | 999215 | 999225 | -10 | -5000 | -0.005 | 999999 | 999999 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.02125 |  |  |  |  | 0

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 986504 | 990612 | -4108 | -410800 | -0.4108 | 1983 | 1983 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 64385 | 57644 | 6741 | 674100 | 0.6741 | 5269 | 5269 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 9170 | 8575 | 595 | 297500 | 0.2975 | 2077 | 2077 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999812 | 999460 | 352 | 330000 | 0.33 | 143 | 143 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 985749 | 987127 | -1378 | -344500 | -0.3445 | 983682 | 983682 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 979387 | 979823 | -436 | 218000 | 0.218 | 976331 | 976331 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 36 | 0 | 0 | 0 | 999925 | 999925 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.7643 |  |  |  |  | 0
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987173 | 987979 | -806 | -161200 | -0.1612 | 999926 | 999926 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 892338 | 892338 | 0 | 0 | 0 | 996596 | 996596 | 0 | 0 | 0
[10 empty] | -0.624 |  |  |  |  | 0 | Assessment
|  | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999074 | 1000000 | -926 | -868125 | -0.86813 | 0 | 0 | 0 | 0 | 0 | w.e.f 13/03/18
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.6533 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 238 | 67 | 171 | 213750 | 0.21375 | 0 | 0 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 312283 | 303129 | 9154 | 915400 | 0.9154 | 998711 | 998711 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 261706 | 247687 | 14019 | 876187.5 | 0.87619 | 985547 | 985547 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2010 | 1663 | 347 | 277600 | 0.2776 | 1796 | 1796 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 979112 | 980504 | -1392 | -139200 | -0.1392 | 999283 | 999283 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 1000023 | 999980 | 43 | 6450 | 0.00645 | 987182 | 985076 | 2106 | 315900 | 0.3159
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998427 | 998524 | -97 | 242500 | 0.2425 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 36 | 0 | 0 | 0 | 999925 | 999925 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 2.3927 |  |  |  |  | 0.3159
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.7643 |  |  |  |  | 0
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.6533 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.3927 |  |  |  |  | 0.3159

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 29139 | 24177 | 4962 | 4962000 | 4.962 | 999997 | 999997 | 0 | 0 | 0 | w.e.f 18/08/17
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 13202 | 12266 | 936 | 4680000 | 4.68 | 80 | 80 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 9.642 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 9.642 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.9888 |  |  |  |  | -3.9259
[7 empty] | NDMC = |  |  | -1.83 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -5.8187 |  |  |  |  | -3.9259
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 3.8232 |  |  |  |  | -3.9259
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.1492 | % |  |  | 1.2291 |  |  |  |  | -1.2621
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.8858 | % |  |  | 1.5249 |  |  |  |  | -1.5659
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5961 | % |  |  | 0.86391 |  |  |  |  | -0.8871
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6704 | % |  |  | 0.17856 |  |  |  |  | -0.18336
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7265 | % |  |  | 0.027776 |  |  |  |  | -0.028522
Note :Sharing taken from wk-51 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2018 TO 1st APRIL-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -28.1821 |  | -0.67425
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -33.9923 |  | -3.3119
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -8.0956 |  | -3.6018
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -2.6911 | + | 0.95618
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.19188 | + | 0.14778
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.02125 |  | 0
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2018 | INTIAL READING 01/03/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 13355 | 12501 | 854 | 640500 | 0.6405 | 999964 | 999964 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 1001902 | 999491 | 2411 | 3616500 | 3.6165 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 847426 | 853201 | -5775 | -4331250 | -4.3312 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.07425 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 850 | 778 | 72 | 360000 | 0.36 | 11729 | 11729 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 918585 | 920116 | -1531 | -1531000 | -1.531
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973818 | 973712 | 106 | 106000 | 0.106 | 998844 | 998314 | 530 | 530000 | 0.53
[8 empty] | NET REACTIVE ENERGY |  | 0.466 |  |  | NET REACTIVE ENERGY |  | -1.001