## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18169 | 18201 | -32 | 32000 | 0.032 | 978882 | 979294 | -412 | 412000 | 0.412
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000006 | 999980 | 26 | -26000 | -0.026 | 116 | 131 | -15 | 15000 | 0.015
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19450 | 19874 | -424 | 424000 | 0.424 | 997175 | 997176 | -1 | 1000 | 0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974895 | 974967 | -72 | 72000 | 0.072 | 978547 | 978577 | -30 | 30000 | 0.03
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 922680 | 922982 | -302 | 302000 | 0.302 | 949966 | 950007 | -41 | 41000 | 0.041
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18359 | 18317 | 42 | -42000 | -0.042 | 16533 | 16544 | -11 | 11000 | 0.011
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19332 | 19313 | 19 | -19000 | -0.019 | 12678 | 12691 | -13 | 13000 | 0.013
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14779 | 12450 | 2329 | -2329000 | -2.329 | 986848 | 986851 | -3 | 3000 | 0.003
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34911 | 35004 | -93 | 93000 | 0.093 | 9878 | 9897 | -19 | 19000 | 0.019
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1847 | 1983 | -136 | 136000 | 0.136 | 4212 | 4226 | -14 | 14000 | 0.014
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999080 | 998960 | 120 | -120000 | -0.12 | 999506 | 999502 | 4 | -4000 | -0.004
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957305 | 959675 | -2370 | -2370000 | -2.37 | 920550 | 920550 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997632 | 997560 | 72 | -72000 | -0.072 | 17255 | 17230 | 25 | -25000 | -0.025
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999236 | 998875 | 361 | -361000 | -0.361 | 19572 | 19558 | 14 | -14000 | -0.014
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1115 | 1116 | -1 | 1000 | 0.001 | 21124 | 21160 | -36 | 36000 | 0.036
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999565 | 999566 | -1 | -1000 | -0.001 | 27836 | 27808 | 28 | 28000 | 0.028
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 197 | 196 | 1 | 1000 | 0.001 | 26452 | 26440 | 12 | 12000 | 0.012
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1811 | 1792 | 19 | 1900 | 0.0019 | 121446 | 121006 | 440 | 44000 | 0.044
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 3078 | 3023 | 55 | 5500 | 0.0055 | 169587 | 168959 | 628 | 62800 | 0.0628
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996102 | 996105 | -3 | -3000 | -0.003 | 997670 | 997700 | -30 | -30000 | -0.03
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999947 | 999947 | 0 | 0 | 0 | 1740 | 1713 | 27 | 27000 | 0.027
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 654503 | 654764 | -261 | -261000 | -0.261 | 801405 | 801428 | -23 | -23000 | -0.023
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661474 | 661805 | -331 | -331000 | -0.331 | 833894 | 833902 | -8 | -8000 | -0.008
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991185 | 991111 | 74 | 74000 | 0.074 | 998458 | 998457 | 1 | 1000 | 0.001
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999601 | 999474 | 127 | 63500 | 0.0635 | 999824 | 999815 | 9 | 4500 | 0.0045
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7235 | 6964 | 271 | -271000 | -0.271 | 981912 | 981915 | -3 | 3000 | 0.003
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999071 | 998964 | 107 | -107000 | -0.107 | 948539 | 948540 | -1 | 1000 | 0.001
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992302 | 992459 | -157 | 157000 | 0.157 | 935241 | 936250 | -1009 | 1009000 | 1.009
DSIDC BAWANA
30 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5562 | 4632 | 930 | -930000 | -0.93 | 9 | 14 | -5 | 5000 | 0.005
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
31 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 770 | 776 | -6 | -6000 | -0.006 | 16245 | 16226 | 19 | 19000 | 0.019
32 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999286 | 999235 | 51 | 51000 | 0.051 | 3064 | 3020 | 44 | 44000 | 0.044
| NDPL(+) continue | [14 empty] | DECEMBER-2011
DMS
33 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 878 | 791 | 87 | 87000 | 0.087 | 55662 | 55483 | 179 | 179000 | 0.179
REWARI LINE
34 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 12641 | 11244 | 1397 | 139700 | 0.1397 | 58503 | 58551 | -48 | -4800 | -0.0048
VISHAL
35 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8055 | 7648 | 407 | 40700 | 0.0407 | 12588 | 12074 | 514 | 51400 | 0.0514
36 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9550 | 9530 | 20 | 2000 | 0.002 | 30692 | 30605 | 87 | 8700 | 0.0087
37 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13712 | 13704 | 8 | 800 | 0.0008 | 35895 | 35097 | 798 | 79800 | 0.0798
S.B.MILL
38 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 32127 | 31897 | 230 | 23000 | 0.023 | 10634 | 10523 | 111 | 11100 | 0.0111
39 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
40 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
41 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 15364 | 15105 | 259 | 25900 | 0.0259 | 10978 | 10897 | 81 | 8100 | 0.0081
44 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
B.G.ROAD
45 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5092 | 5085 | 7 | 3500 | 0.0035 | 22452 | 22230 | 222 | 111000 | 0.111
46 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3257 | 3245 | 12 | 6000 | 0.006 | 20550 | 20396 | 154 | 77000 | 0.077
47 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3276 | 3266 | 10 | 5000 | 0.005 | 13851 | 13791 | 60 | 30000 | 0.03
48 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3222 | 3212 | 10 | 5000 | 0.005 | 16071 | 15945 | 126 | 63000 | 0.063
D.M.S.
49 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999722 | 999785 | -63 | -6300 | -0.0063 | 5791 | 5777 | 14 | 1400 | 0.0014
50 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2795 | 2674 | 121 | 12100 | 0.0121 | 13610 | 13597 | 13 | 1300 | 0.0013
51 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 7519 | 7145 | 374 | 37400 | 0.0374 | 48720 | 48700 | 20 | 2000 | 0.002
52 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8090 | 8123 | -33 | -3300 | -0.0033 | 19073 | 19085 | -12 | -1200 | -0.0012
53 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999553 | 999586 | -33 | -3300 | -0.0033 | 254 | 256 | -2 | -200 | -0.0002
54 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
55 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 2547 | 2336 | 211 | 21100 | 0.0211 | 61880 | 61617 | 263 | 26300 | 0.0263
56 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 4258 | 3967 | 291 | 29100 | 0.0291 | 52893 | 52713 | 180 | 18000 | 0.018
57 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 5014 | 4668 | 346 | 34600 | 0.0346 | 76223 | 75877 | 346 | 34600 | 0.0346
KASHMIRI GATE
58 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 108967 | 107538 | 1429 | 142900 | 0.1429 | 26833 | 26728 | 105 | 10500 | 0.0105
59 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 15004 | 14749 | 255 | 25500 | 0.0255 | 33459 | 33449 | 10 | 1000 | 0.001
60 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
61 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12610 | 12609 | 1 | -400 | -0.0004
62 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999305 | 0 | 0 | 0 | 999301 | 999292 | 9 | 900 | 0.0009
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -5.2067 |  |  |  |  | 2.4598
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 5783 | 5570 | 213 | -21300 | -0.0213 | 9003 | 8885 | 118 | -11800 | -0.0118
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5779 | 5761 | 18 | -18000 | -0.018 | 4369 | 4071 | 298 | -298000 | -0.298
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12948 | 12862 | 86 | -86000 | -0.086 | 24254 | 24028 | 226 | -226000 | -0.226
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 39650 | 40087 | -437 | 43700 | 0.0437 | 147069 | 147125 | -56 | 5600 | 0.0056
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977416 | 978778 | -1362 | 1362000 | 1.362 | 992717 | 992720 | -3 | 3000 | 0.003
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 997929 | 997987 | -58 | 72500 | 0.0725 | 629 | 629 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.3529 |  |  |  |  | -0.5272
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -5.2067 |  |  |  |  | 2.4598
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.3529 |  |  |  |  | -0.5272
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.7436 |  |  |  |  | 0.14916
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -2.1102 |  |  |  |  | 2.0818
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.1102 | (REACTIVE MUs) |  |  |  | 2.0818 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.14515 | (REACTIVE MUs) |  |  |  | 1.3785 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.9651 | (REACTIVE MUs) |  |  |  | 3.4602 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 989512 | 989885 | -373 | -37300 | -0.0373 | 77180 | 78622 | -1442 | -144200 | -0.1442
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17681 | 17586 | 95 | 9500 | 0.0095 | 1000534 | 999494 | 1040 | 104000 | 0.104 | ROLL OVER
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 24165 | 24148 | 17 | 1700 | 0.0017 | 31423 | 31215 | 208 | 20800 | 0.0208
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998882 | 998891 | -9 | -900 | -0.0009 | 5614 | 5027 | 587 | 58700 | 0.0587
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8769 | 8694 | 75 | 7500 | 0.0075 | 74705 | 74279 | 426 | 42600 | 0.0426
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1127 | 1166 | -39 | -3900 | -0.0039 | 48671 | 46702 | 1969 | 196900 | 0.1969
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999621 | 999611 | 10 | 10000 | 0.01 | 999732 | 999713 | 19 | 19000 | 0.019
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999834 | 999854 | -20 | -20000 | -0.02 | 2298 | 2316 | -18 | -18000 | -0.018
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 376 | 364 | 12 | 12000 | 0.012 | 1376 | 1307 | 69 | 69000 | 0.069
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 142 | 139 | 3 | 3000 | 0.003 | 2473 | 2433 | 40 | 40000 | 0.04
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999766 | 999766 | 0 | 0 | 0 | 2221 | 2216 | 5 | 5000 | 0.005
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 459 | 459 | 0 | 0 | 0 | 1078 | 1072 | 6 | 6000 | 0.006
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 158 | 158 | 0 | 0 | 0 | 13668 | 13529 | 139 | 139000 | 0.139
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 297 | 299 | -2 | -2000 | -0.002 | 34199 | 34171 | 28 | 28000 | 0.028
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 254 | 254 | 0 | 0 | 0 | 10169 | 9439 | 730 | 730000 | 0.73
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 245 | 248 | -3 | -3000 | -0.003 | 5322 | 5325 | -3 | -3000 | -0.003
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 30185 | 30121 | 64 | 6400 | 0.0064 | 535 | 532 | 3 | 300 | 0.0003
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998544 | 998543 | 1 | 1000 | 0.001 | 6011 | 5750 | 261 | 261000 | 0.261
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 832329 | 835678 | -3349 | -3683900 | -3.6839
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 873762 | 876886 | -3124 | -3436400 | -3.4364
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993292 | 993602 | -310 | -310000 | -0.31 | 10106 | 10106 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.3026 |  |  |  |  | -5.844
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965749 | 965892 | -143 | 143000 | 0.143 | 977989 | 978078 | -89 | 89000 | 0.089
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982501 | 982728 | -227 | 227000 | 0.227 | 984346 | 984544 | -198 | 198000 | 0.198
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999952 | 999952 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958 | 942 | 16 | 16000 | 0.016 | 56597 | 56348 | 249 | 249000 | 0.249
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3891 | 2803 | 1088 | -1088000 | -1.088 | 974705 | 974707 | -2 | 2000 | 0.002
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4667 | 4035 | 632 | -632000 | -0.632 | 979779 | 980149 | -370 | 370000 | 0.37
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993904 | 994814 | -910 | 910000 | 0.91 | 991219 | 991320 | -101 | 101000 | 0.101
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996715 | 997522 | -807 | 807000 | 0.807 | 996197 | 996261 | -64 | 64000 | 0.064
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12948 | 12862 | 86 | 86000 | 0.086 | 24254 | 24028 | 226 | 226000 | 0.226
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 87177 | 85585 | 1592 | 159200 | 0.1592 | 1707 | 1663 | 44 | 4400 | 0.0044
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 53019 | 52818 | 201 | 20100 | 0.0201 | 999576 | 999576 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.3223 |  |  |  |  | -4.2618
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.3223 |  |  |  |  | -4.2618
DECEMBER-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997628 | 997697 | -69 | 69000 | 0.069 | 942711 | 943877 | -1166 | 1166000 | 1.166
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15596 | 15608 | -12 | 12000 | 0.012 | 961235 | 962478 | -1243 | 1243000 | 1.243
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13977 | 14099 | -122 | 122000 | 0.122 | 948849 | 949921 | -1072 | 1072000 | 1.072
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955437 | 957462 | -2025 | 2025000 | 2.025 | 993732 | 993732 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946356 | 948417 | -2061 | 2061000 | 2.061 | 992021 | 992021 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999573 | 999709 | -136 | 136000 | 0.136 | 994246 | 994530 | -284 | 284000 | 0.284
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1340 | 1382 | -42 | 42000 | 0.042 | 984032 | 984339 | -307 | 307000 | 0.307
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998829 | 999028 | -199 | 398000 | 0.398 | 990435 | 990694 | -259 | 518000 | 0.518
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12753 | 12797 | -44 | 44000 | 0.044 | 957689 | 958342 | -653 | 653000 | 0.653
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968022 | 968608 | -586 | 586000 | 0.586 | 903775 | 906340 | -2565 | 2565000 | 2.565
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21368 | 21363 | 5 | -5000 | -0.005 | 27349 | 27127 | 222 | -222000 | -0.222
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19083 | 19047 | 36 | -36000 | -0.036 | 36513 | 36353 | 160 | -160000 | -0.16
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.454 |  |  |  |  | 7.426
| (B) NET ENERGY TO EAST | [8 empty] | 5.454 |  |  |  |  | 7.426
6
DECEMBER-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991185 | 991111 | 74 | -74000 | -0.074 | 998458 | 998457 | 1 | -1000 | -0.001
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999601 | 999474 | 127 | -63500 | -0.0635 | 999824 | 999815 | 9 | -4500 | -0.0045
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 20451 | 19184 | 1267 | -253400 | -0.2534 | 62321 | 62309 | 12 | -2400 | -0.0024
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 26326 | 23609 | 2717 | -271700 | -0.2717 | 121106 | 121060 | 46 | -4600 | -0.0046
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 990875 | 991807 | -932 | 186400 | 0.1864 | 4238 | 4243 | -5 | 1000 | 0.001
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 38971 | 35172 | 3799 | -379900 | -0.3799 | 80095 | 80036 | 59 | -5900 | -0.0059
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63631 | 63548 | 83 | -83000 | -0.083 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2788 | 1240 | 1548 | -1548000 | -1.548 | 53 | 53 | 0 | 0 | 0
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 997668 | 998552 | -884 | 707200 | 0.7072 | 998652 | 998661 | -9 | 7200 | 0.0072
EXPORT TO SOUTH & WEST FROM PARK STREET
10 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998329 | 998742 | -413 | 413000 | 0.413 | 37910 | 37905 | 5 | -5000 | -0.005
11 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 998214 | 998649 | -435 | 579998.55 | 0.58 | 510 | 510 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
12 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 770 | 776 | -6 | 6000 | 0.006 | 16245 | 16226 | 19 | -19000 | -0.019
13 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999286 | 999235 | 51 | -51000 | -0.051 | 3064 | 3020 | 44 | -44000 | -0.044
DMS
14 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 878 | 791 | 87 | -87000 | -0.087 | 55662 | 55483 | 179 | -179000 | -0.179
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
15 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5092 | 5085 | 7 | -3500 | -0.0035 | 22452 | 22230 | 222 | -111000 | -0.111
16 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3257 | 3245 | 12 | -6000 | -0.006 | 20550 | 20396 | 154 | -77000 | -0.077
17 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3276 | 3266 | 10 | -5000 | -0.005 | 13851 | 13791 | 60 | -30000 | -0.03
18 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3222 | 3212 | 10 | -5000 | -0.005 | 16071 | 15945 | 126 | -63000 | -0.063
KASHMIRI GATE
19 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 108967 | 107538 | 1429 | -142900 | -0.1429 | 26833 | 26728 | 105 | -10500 | -0.0105
20 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 15004 | 14749 | 255 | -25500 | -0.0255 | 33459 | 33449 | 10 | -1000 | -0.001
D.M.S.
21 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999722 | 999785 | -63 | 6300 | 0.0063 | 5791 | 5777 | 14 | -1400 | -0.0014
22 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2795 | 2674 | 121 | -12100 | -0.0121 | 13610 | 13597 | 13 | -1300 | -0.0013
23 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 7519 | 7145 | 374 | -37400 | -0.0374 | 48720 | 48700 | 20 | -2000 | -0.002
24 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8090 | 8123 | -33 | 3300 | 0.0033 | 19073 | 19085 | -12 | 1200 | 0.0012
25 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999553 | 999586 | -33 | 3300 | 0.0033 | 254 | 256 | -2 | 200 | 0.0002
26 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
27 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 2547 | 2336 | 211 | -21100 | -0.0211 | 61880 | 61617 | 263 | -26300 | -0.0263
28 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 4258 | 3967 | 291 | -29100 | -0.0291 | 52893 | 52713 | 180 | -18000 | -0.018
29 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 5014 | 4668 | 346 | -34600 | -0.0346 | 76223 | 75877 | 346 | -34600 | -0.0346
[10 empty] | -1.2282 |  |  |  |  | -0.6319
DECEMBER-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.3223 |  |  |  |  | -4.2618
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.2282 |  |  |  |  | -0.6319
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4523 |  |  |  |  | 0.0054
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.3582 |  |  |  |  | -4.8883
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.454 |  |  |  |  | 7.426
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 4.0958 |  |  |  |  | 2.5377
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.0958 | (REACTIVE MUs) |  |  |  | 2.5377 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.11191 | (REACTIVE MUs) |  |  |  | 1.0628 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.2077 | (REACTIVE MUs) |  |  |  | 3.6005 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998677 | 998905 | -228 | -228000 | -0.228 | 11272 | 11358 | -86 | -86000 | -0.086
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 991080 | 991081 | -1 | -100 | -0.0001 | 677754 | 677756 | -2 | -200 | -0.0002
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990969 | 991080 | -111 | -147999.63 | -0.148 | 677710 | 677754 | -44 | -58666.52 | -0.058667 | CTR Changes from 300/5 to 800/1 w.e.f. 03/12/11
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6629 | 6485 | 144 | 144000 | 0.144 | 46364 | 45839 | 525 | 525000 | 0.525
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10802 | 10757 | 45 | 45000 | 0.045 | 515 | 491 | 24 | 24000 | 0.024
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7353 | 7251 | 102 | 10200 | 0.0102 | 86184 | 86425 | -241 | -24100 | -0.0241
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 42852 | 43166 | -314 | -31400 | -0.0314 | 269044 | 268755 | 289 | 28900 | 0.0289
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8053 | 7985 | 68 | 6800 | 0.0068 | 344272 | 343419 | 853 | 85300 | 0.0853
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999932 | 999924 | 8 | 8000 | 0.008 | 12988 | 12602 | 386 | 386000 | 0.386 | Reading taken from 1/12/11 to 20/12/11
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999925 | 999926 | -1 | -1000 | -0.001 | 15465 | 15177 | 288 | 288000 | 0.288 | Chech meter data taken from 19/12/11
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994650 | 994903 | -253 | 253000 | 0.253 | 961911 | 962111 | -200 | 200000 | 0.2
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993185 | 993492 | -307 | 307000 | 0.307 | 964553 | 964715 | -162 | 162000 | 0.162
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988785 | 988930 | -145 | 145000 | 0.145 | 948941 | 949221 | -280 | 280000 | 0.28
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999539 | 999682 | -143 | 143000 | 0.143 | 965092 | 965366 | -274 | 274000 | 0.274
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999233 | 999683 | -450 | 450000 | 0.45 | 993758 | 993800 | -42 | 42000 | 0.042
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2185 | 1493 | 692 | -692000 | -0.692 | 996780 | 996773 | 7 | -7000 | -0.007
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39775 | 39545 | 230 | -230000 | -0.23 | 26792 | 27243 | -451 | 451000 | 0.451
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4848 | 4965 | -117 | 117000 | 0.117 | 11783 | 11991 | -208 | 208000 | 0.208
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24749 | 24644 | 105 | -105000 | -0.105 | 12899 | 13336 | -437 | 437000 | 0.437
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14184 | 13704 | 480 | -480000 | -0.48 | 42797 | 42849 | -52 | 52000 | 0.052
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5779 | 5761 | 18 | 18000 | 0.018 | 4369 | 4071 | 298 | 298000 | 0.298
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957767 | 958858 | -1091 | 1091000 | 1.091 | 906495 | 906495 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988977 | 991495 | -2518 | 2518000 | 2.518 | 870148 | 870175 | -27 | 27000 | 0.027
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 340 | 342 | -2 | 2000 | 0.002 | 996233 | 997650 | -1417 | 1417000 | 1.417
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 452 | 452 | 0 | 0 | 0 | 982866 | 984714 | -1848 | 1848000 | 1.848
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999193 | 999014 | 179 | -179000 | -0.179 | 957903 | 957923 | -20 | 20000 | 0.02
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 923916 | 927306 | -3390 | 3390000 | 3.39
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 910588 | 914349 | -3761 | 3761000 | 3.761
BRPL(+) continue | [14 empty] | DECEMBER-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998860 | 998860 | 0 | 0 | 0 | 976039 | 976614 | -575 | 575000 | 0.575
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69 | 69 | 0 | 0 | 0 | 994152 | 994332 | -180 | 180000 | 0.18
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990518 | 990508 | 10 | -20000 | -0.02 | 972406 | 972321 | 85 | -170000 | -0.17
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998024 | 998217 | -193 | 193000 | 0.193 | 932882 | 933569 | -687 | 687000 | 0.687
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1584 | 1586 | -2 | 2000 | 0.002 | 948831 | 949778 | -947 | 947000 | 0.947
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998141 | 998365 | -224 | 224000 | 0.224 | 939398 | 940004 | -606 | 606000 | 0.606
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 984778 | 987634 | -2856 | 1903998.096 | 1.904 | 976489 | 976515 | -26 | 17333.316 | 0.017333
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 239 | 222 | 17 | -34000 | -0.034 | 1075 | 1049 | 26 | -52000 | -0.052
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996974 | 996950 | 24 | -48000 | -0.048 | 343 | 322 | 21 | -42000 | -0.042
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990343 | 992809 | -2466 | 2466000 | 2.466 | 999915 | 999915 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987660 | 989601 | -1941 | 1941000 | 1.941 | 999997 | 999997 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999756 | 999854 | -98 | -78400 | -0.0784 | 129 | 129 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 1158 | 823 | 335 | 268000 | 0.268 | 60 | 60 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 995403 | 996752 | -1349 | -1079200 | -1.0792 | 999957 | 999957 | 0 | 0 | 0
PARK STREET
45 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998329 | 998742 | -413 | -413000 | -0.413 | 37910 | 37905 | 5 | 5000 | 0.005
46 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998214 | 998649 | -435 | -579998.55 | -0.58 | 510 | 510 | 0 | 0 | 0
SARITA VIHAR
47 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1274 | 1393 | -119 | 119000 | 0.119 | 982920 | 982991 | -71 | 71000 | 0.071
48 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999837 | 999321 | 516 | -516000 | -0.516 | 989769 | 989778 | -9 | 9000 | 0.009
NARAINA
49 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 5783 | 5570 | 213 | 21300 | 0.0213 | 9003 | 8885 | 118 | 11800 | 0.0118
SUDARSHAN PARK
50 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 39650 | 40087 | -437 | -43700 | -0.0437 | 147069 | 147125 | -56 | -5600 | -0.0056
REWARI LINE
51 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
52 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977416 | 978778 | -1362 | -1362000 | -1.362 | 992717 | 992720 | -3 | -3000 | -0.003
A.I.I.M.S.
53 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000398 | 999910 | 488 | 48800 | 0.0488 | 5334 | 5332 | 2 | 200 | 0.0002
54 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 4806 | 4067 | 739 | 73900 | 0.0739 | 12600 | 12596 | 4 | 400 | 0.0004
66KV GHEBRA
55 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 997929 | 997987 | -58 | -72500 | -0.0725 | 629 | 629 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.1777 |  |  |  |  | 16.8654
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 996097 | 994807 | 1290 | -129000 | -0.129 | 857884 | 857824 | 60 | -6000 | -0.006
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 87177 | 85585 | 1592 | -159200 | -0.1592 | 1707 | 1663 | 44 | -4400 | -0.0044
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 53019 | 52818 | 201 | -20100 | -0.0201 | 999576 | 999576 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 80 | 249 | -169 | 16900 | 0.0169 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 135 | 351 | -216 | 21600 | 0.0216 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 484 | 474 | 10 | -10000 | -0.01 | 72604 | 72602 | 2 | -2000 | -0.002
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5090 | 4394 | 696 | -696000 | -0.696 | 2117 | 2117 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 811429 | 807007 | 4422 | -442200 | -0.4422 | 46054 | 46054 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 23205 | 21517 | 1688 | -168800 | -0.1688 | 51164 | 51164 | 0 | 0 | 0
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 20815 | 18530 | 2285 | -228500 | -0.2285 | 52520 | 52492 | 28 | -2800 | -0.0028
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 62945 | 57618 | 5327 | -1065400 | -1.0654 | 103509 | 103507 | 2 | -400 | -0.0004
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 28636 | 24646 | 3990 | -399000 | -0.399 | 12533 | 12533 | 0 | 0 | 0
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 28808 | 27122 | 1686 | -168600 | -0.1686 | 624296 | 622633 | 1663 | -166300 | -0.1663
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 92694 | 90396 | 2298 | -229800 | -0.2298 | 230688 | 230277 | 411 | -41100 | -0.0411
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 185827 | 175277 | 10550 | 1055000 | 1.055 | 36217 | 36217 | 0 | 0 | 0
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 865 | 871 | -6 | 600 | 0.0006 | 12678 | 12636 | 42 | -4200 | -0.0042
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 12641 | 11244 | 1397 | -139700 | -0.1397 | 58503 | 58551 | -48 | 4800 | 0.0048
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8055 | 7648 | 407 | -40700 | -0.0407 | 12588 | 12074 | 514 | -51400 | -0.0514
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9550 | 9530 | 20 | -2000 | -0.002 | 30692 | 30605 | 87 | -8700 | -0.0087
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13712 | 13704 | 8 | -800 | -0.0008 | 35895 | 35097 | 798 | -79800 | -0.0798
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 32127 | 31897 | 230 | -23000 | -0.023 | 10634 | 10523 | 111 | -11100 | -0.0111
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 15364 | 15105 | 259 | -25900 | -0.0259 | 10978 | 10897 | 81 | -8100 | -0.0081
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 998171 | 998171 | 0 | 0 | 0 | 947 | 947 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12610 | 12609 | 1 | 400 | 0.0004
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999305 | 0 | 0 | 0 | 999301 | 999292 | 9 | -900 | -0.0009
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.8546 |  |  |  |  | -0.382
DECEMBER-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 6.1777 |  |  |  |  | 16.8654
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.8546 |  |  |  |  | -0.382
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.1994 |  |  |  |  | 0.4102
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1148 |  |  |  |  | -0.2412
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 4.4077 |  |  |  |  | 16.6524
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.4077 | (REACTIVE MUs) |  |  |  | 16.6524 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.19742 | (REACTIVE MUs) |  |  |  | 1.8748 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.6051 | (REACTIVE MUs) |  |  |  | 18.5272 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 20451 | 19184 | 1267 | 253400 | 0.2534 | 62321 | 62309 | 12 | 2400 | 0.0024
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 26326 | 23609 | 2717 | 271700 | 0.2717 | 121106 | 121060 | 46 | 4600 | 0.0046
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 990875 | 991807 | -932 | -186400 | -0.1864 | 4238 | 4243 | -5 | -1000 | -0.001
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 38971 | 35172 | 3799 | 379900 | 0.3799 | 80095 | 80036 | 59 | 5900 | 0.0059
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 63631 | 63548 | 83 | 83000 | 0.083 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2788 | 1240 | 1548 | 1548000 | 1.548 | 53 | 53 | 0 | 0 | 0
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 997668 | 998552 | -884 | -707200 | -0.7072 | 998652 | 998661 | -9 | -7200 | -0.0072
I.P.STATION EXPORT TO NDMC
8 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998329 | 998306 | 23 | 2300 | 0.0023 | 282066 | 280365 | 1701 | 170100 | 0.1701
9 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6830 | 6759 | 71 | 7100 | 0.0071 | 417390 | 417119 | 271 | 27100 | 0.0271
10 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 10816 | 10749 | 67 | 6700 | 0.0067 | 203431 | 201179 | 2252 | 225200 | 0.2252
11 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5273 | 5267 | 6 | 600 | 0.0006 | 301060 | 300096 | 964 | 96400 | 0.0964
12 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998755 | 998794 | -39 | -3900 | -0.0039 | 229086 | 227903 | 1183 | 118300 | 0.1183
13 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999475 | 999353 | 122 | 12200 | 0.0122 | 126861 | 126021 | 840 | 84000 | 0.084
14 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12448 | 12150 | 298 | 29800 | 0.0298 | 187140 | 184121 | 3019 | 301900 | 0.3019
15 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 12620 | 12330 | 290 | 29000 | 0.029 | 225617 | 224349 | 1268 | 126800 | 0.1268
G.T.
16 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 58049 | 57899 | 150 | 165000 | 0.165
17 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5205 | 5214 | -9 | -9000 | -0.009 | 36429 | 36417 | 12 | 12000 | 0.012
18 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 130618 | 129169 | 1449 | 1593900 | 1.5939
19 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8340 | 8487 | -147 | -147000 | -0.147 | 48267 | 48268 | -1 | -1000 | -0.001
[10 empty] | -0.156 |  |  |  |  | 1.7699
RIDGE VALLEY
20 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 484 | 474 | 10 | 10000 | 0.01 | 72604 | 72602 | 2 | 2000 | 0.002
21 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5090 | 4394 | 696 | 696000 | 0.696 | 2117 | 2117 | 0 | 0 | 0
22 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 811429 | 807007 | 4422 | 442200 | 0.4422 | 46054 | 46054 | 0 | 0 | 0
A.I.I.M.S.
23 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 28636 | 24646 | 3990 | 399000 | 0.399 | 12533 | 12533 | 0 | 0 | 0
24 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 28808 | 27122 | 1686 | 168600 | 0.1686 | 624296 | 622633 | 1663 | 166300 | 0.1663
25 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 92694 | 90396 | 2298 | 229800 | 0.2298 | 230688 | 230277 | 411 | 41100 | 0.0411
DECEMBER-2011
NDMC(+) Continue…
KIDWAI NAGAR
26 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 185827 | 175277 | 10550 | -1055000 | -1.055 | 36217 | 36217 | 0 | 0 | 0
EXHIBITION I
27 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 865 | 871 | -6 | -600 | -0.0006 | 12678 | 12636 | 42 | 4200 | 0.0042
28 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
29 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 23205 | 21517 | 1688 | 168800 | 0.1688 | 51164 | 51164 | 0 | 0 | 0
30 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 20815 | 18530 | 2285 | 228500 | 0.2285 | 52520 | 52492 | 28 | 2800 | 0.0028
31 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 62945 | 57618 | 5327 | 1065400 | 1.0654 | 103509 | 103507 | 2 | 400 | 0.0004
TILAK MARG
32 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 996097 | 994807 | 1290 | 129000 | 0.129 | 857884 | 857824 | 60 | 6000 | 0.006
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000398 | 999910 | 488 | -48800 | -0.0488 | 5334 | 5332 | 2 | -200 | -0.0002 | ROLL OVER
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 4806 | 4067 | 739 | -73900 | -0.0739 | 12600 | 12596 | 4 | -400 | -0.0004
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.9292 |  |  |  |  | 3.1466
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.9292 |  |  |  |  | 3.1466
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.025731 |  |  |  |  | 0.24436
| TOTAL ENERGY TO NDMC | [8 empty] | 3.9549 |  |  |  |  | 3.391

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 555 | 553 | 2 | 2000 | 0.002 | 14016 | 13970 | 46 | 46000 | 0.046
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 388 | 386 | 2 | 2000 | 0.002 | 18452 | 18414 | 38 | 38000 | 0.038
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 680 | 674 | 6 | 6000 | 0.006 | 26255 | 26157 | 98 | 98000 | 0.098
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 410 | 410 | 0 | 0 | 0 | 13534 | 13488 | 46 | 46000 | 0.046
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1546 | 1444 | 102 | 102000 | 0.102 | 6718 | 6702 | 16 | 16000 | 0.016
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 80 | 249 | -169 | -16900 | -0.0169 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 135 | 351 | -216 | -21600 | -0.0216 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0735 |  |  |  |  | 0.244
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3287 | 0 | 0 | 0 | 32954 | 32952 | 2 | 200 | 0.0002
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 25938 | 25737 | 201 | 20100 | 0.0201 | 59201 | 59111 | 90 | 9000 | 0.009
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 64726 | 64605 | 121 | 12100 | 0.0121 | 7139 | 6611 | 528 | 52800 | 0.0528
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 18024 | 17561 | 463 | 46300 | 0.0463 | 45688 | 45403 | 285 | 28500 | 0.0285
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999845 | 999805 | 40 | 4000 | 0.004 | 17200 | 17006 | 194 | 19400 | 0.0194
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 73041 | 72945 | 96 | 9600 | 0.0096 | 39805 | 38573 | 1232 | 123200 | 0.1232
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 2468 | 2241 | 227 | 22700 | 0.0227 | 3759 | 3678 | 81 | 8100 | 0.0081
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1148 |  |  |  |  | 0.2412
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7848 | 7848 | 0 | 0 | 0 | 18966 | 18966 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1148 |  |  |  |  | 0.2412
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0735 |  |  |  |  | 0.244
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1883 |  |  |  |  | 0.4852
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1883 | (REACTIVE MUs) |  |  |  | 0.4852 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0043842 | (REACTIVE MUs) |  |  |  | 0.041635 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.19268 | (REACTIVE MUs) |  |  |  | 0.52684 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 55829 | 57132 | -1303 | -130300 | -0.1303 | 77473 | 77499 | -26 | -2600 | -0.0026
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 9404 | 7998 | 1406 | 140600 | 0.1406 | 999502 | 999414 | 88 | 8800 | 0.0088
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 172776 | 167600 | 5176 | 517600 | 0.5176 | 91962 | 91882 | 80 | 8000 | 0.008
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14561 | 13918 | 643 | 643000 | 0.643 | 17759 | 17718 | 41 | 41000 | 0.041
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993769 | 993804 | -35 | 17500 | 0.0175 | 944605 | 945032 | -427 | 213500 | 0.2135
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994402 | 994424 | -22 | 11000 | 0.011 | 987222 | 987505 | -283 | 141500 | 0.1415
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999884 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.1994 |  |  |  |  | 0.4102
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 956054 | 955509 | 545 | 109000 | 0.109 | 991934 | 991835 | 99 | 19800 | 0.0198
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 897083 | 902696 | -5613 | -561300 | -0.5613 | 928597 | 928741 | -144 | -14400 | -0.0144
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4523 |  |  |  |  | 0.0054
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 164994 | 162987 | 2007 | 401400 | 0.4014 | 258473 | 258294 | 179 | 35800 | 0.0358
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 52233 | 48999 | 3234 | 646800 | 0.6468 | 40234 | 40242 | -8 | -1600 | -0.0016
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 70126 | 64110 | 6016 | 601600 | 0.6016 | 70029 | 70046 | -17 | -1700 | -0.0017
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987154 | 987116 | 38 | 38000 | 0.038 | 997797 | 997780 | 17 | 17000 | 0.017
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 985465 | 986443 | -978 | -97800 | -0.0978 | 7415 | 7434 | -19 | -1900 | -0.0019
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 121 | 130 | -9 | -8437.5 | -0.0084375 | 2680 | 2577 | 103 | 96562.5 | 0.096562
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 992730 | 993054 | -324 | 162000 | 0.162 | 995735 | 995745 | -10 | 5000 | 0.005
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999884 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.7436 |  |  |  |  | 0.14916
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.1994 |  |  |  |  | 0.4102
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4523 |  |  |  |  | 0.0054
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.7436 |  |  |  |  | 0.14916

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7030 | 7360 | -330 | -660000 | -0.66 | 4 | 1 | 3 | 6000 | 0.006
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 7083 | 6577 | 506 | 1012000 | 1.012 | 999716 | 999697 | 19 | 38000 | 0.038
[7 empty] | NET REACTIVE ENERGY |  |  | 0.352 |  | NET REACTIVE ENERGY |  |  | 0.044
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985849 | 986227 | -378 | -378000 | -0.378 | 991066 | 991638 | -572 | -572000 | -0.572
[7 empty] | NET REACTIVE ENERGY |  |  | -0.378 |  | NET REACTIVE ENERGY |  |  | -0.572
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.026 |  |  |  |  | -0.528
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.3026 |  |  |  |  | -5.844
[7 empty] | NDMC = |  |  | -0.156 |  |  |  |  | 1.7699
MES =
[7 empty] | 2)TOTAL |  |  | -0.4586 |  |  |  |  | -4.0741
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.4846 |  |  |  |  | -4.6021
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.953 | % |  |  | -0.14515 |  |  |  |  | -1.3785
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.739 | % |  |  | -0.19742 |  |  |  |  | -1.8748
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.0935 | % |  |  | -0.11191 |  |  |  |  | -1.0628
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3098 | % |  |  | -0.025731 |  |  |  |  | -0.24436
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9047 | % |  |  | -0.0043842 |  |  |  |  | -0.041635
Note :Sharing taken from wk-36 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2011 TO 31st DECEMBER-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.9651 | + | 3.4602
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 4.6051 | + | 18.5272
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 4.2077 | + | 3.6005
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.9549 | + | 3.391
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.19268 | + | 0.52684
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/12 | INTIAL READING 01/12/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 981989 | 983318 | -1329 | -1993500 | -1.9935 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 976232 | 976696 | -464 | -696000 | -0.696 | 986873 | 986915 | -42 | -63000 | -0.063
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 932510 | 933787 | -1277 | -1915500 | -1.9155 | 970190 | 970201 | -11 | -16500 | -0.0165
[8 empty] | NET REACTIVE ENERGY |  | -4.605 |  |  | NET REACTIVE ENERGY |  | -0.0795
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997040 | 996990 | 50 | 250000 | 0.25 | 36998 | 37096 | -98 | -490000 | -0.49
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999378 | 999379 | -1 | -1000 | -0.001 | 8013 | 8115 | -102 | -102000 | -0.102
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970689 | 971334 | -645 | -645000 | -0.645 | 991026 | 991272 | -246 | -246000 | -0.246
[8 empty] | NET REACTIVE ENERGY |  | -0.396 |  |  | NET REACTIVE ENERGY |  | -0.838