## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 301 | 366 | -65 | 65000 | 0.065 | 999303 | 999323 | -20 | 20000 | 0.02
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 93084 | 93076 | 8 | -16000 | -0.016 | 5066 | 5074 | -8 | 16000 | 0.016
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15469 | 14633 | 836 | -836000 | -0.836 | 999733 | 999800 | -67 | 67000 | 0.067
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69467 | 68460 | 1007 | -1007000 | -1.007 | 112091 | 112069 | 22 | -22000 | -0.022
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000010 | 999578 | 432 | -432000 | -0.432 | 984438 | 984882 | -444 | 444000 | 0.444
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917808 | 917734 | 74 | -74000 | -0.074 | 34830 | 33709 | 1121 | -1121000 | -1.121
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21510 | 21247 | 263 | -263000 | -0.263 | 999664 | 999678 | -14 | 14000 | 0.014
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31760 | 31567 | 193 | -193000 | -0.193 | 997780 | 997799 | -19 | 19000 | 0.019
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22535 | 21503 | 1032 | -1032000 | -1.032 | 996587 | 996588 | -1 | 1000 | 0.001
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 1374 | 154 | 1220 | -610000 | -0.61 | 813314 | 813326 | -12 | 6000 | 0.006
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3960 | 4111 | -151 | 151000 | 0.151 | 998340 | 998376 | -36 | 36000 | 0.036
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17864 | 17013 | 851 | -851000 | -0.851 | 999433 | 999433 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54121 | 54353 | -232 | 232000 | 0.232 | 996470 | 996496 | -26 | 26000 | 0.026
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 716976 | 718415 | -1439 | -1439000 | -1.439 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 777175 | 783468 | -6293 | -3146500 | -3.1465 | 999988 | 999990 | -2 | -1000 | -0.001
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14964 | 14960 | 4 | -4000 | -0.004 | 997998 | 998247 | -249 | 249000 | 0.249
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 77626 | 77352 | 274 | -137000 | -0.137 | 999958 | 1000073 | -115 | 57500 | 0.0575
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60609 | 60441 | 168 | -168000 | -0.168 | 999102 | 999069 | 33 | -33000 | -0.033
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998646 | 998646 | 0 | 0 | 0 | 987153 | 987306 | -153 | -153000 | -0.153
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999593 | 999593 | 0 | 0 | 0 | 999680 | 999698 | -18 | -72000 | -0.072
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1994 | 1993 | 1 | 500 | 0.0005 | 16784 | 16547 | 237 | 118500 | 0.1185
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91330 | 91264 | 66 | 3300 | 0.0033 | 419330 | 419161 | 169 | 8450 | 0.00845
[5 empty] | 50 | [5 empty] | 266618 | 264033 | 2585 | 129250 | 0.12925
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998589 | 998589 | 0 | 0 | 0 | 993726 | 994211 | -485 | -485000 | -0.485
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999159 | 999159 | 0 | 0 | 0 | 995837 | 996546 | -709 | -709000 | -0.709
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16 | 15 | 1 | 1000 | 0.001 | 999990 | 999989 | 1 | 1000 | 0.001
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986304 | 986506 | -202 | -202000 | -0.202 | 997878 | 997905 | -27 | -27000 | -0.027
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 902796 | 902975 | -179 | -89500 | -0.0895 | 999244 | 999282 | -38 | -19000 | -0.019
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993282 | 993263 | 19 | 5066.73 | 0.0050667 | 378 | 376 | 2 | 533.34 | 0.00053334
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2200 | 2200 | 0 | 0 | 0 | 2185 | 2114 | 71 | 35500 | 0.0355
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54844 | 54797 | 47 | -47000 | -0.047 | 995614 | 995678 | -64 | 64000 | 0.064
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 561 | 224 | 337 | -337000 | -0.337 | 999882 | 999901 | -19 | 19000 | 0.019
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24539 | 23134 | 1405 | -2810000 | -2.81 | 999501 | 999549 | -48 | 96000 | 0.096
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 75344 | 74545 | 799 | -799000 | -0.799 | 995844 | 996345 | -501 | 501000 | 0.501
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 5524 | 4843 | 681 | -2724000 | -2.724 | 999998 | 1000000 | -2 | 8000 | 0.008
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 156167 | 155030 | 1137 | -1137000 | -1.137 | 998424 | 998447 | -23 | 23000 | 0.023
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 291409 | 283243 | 8166 | -2721972.78 | -2.722 | 266 | 247 | 19 | -6333.27 | -0.0063333
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 30391 | 28977 | 1414 | -2828000 | -2.828 | 999993 | 999998 | -5 | 10000 | 0.01
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 40786 | 39936 | 850 | -1700000 | -1.7 | 559 | 534 | 25 | -50000 | -0.05
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120924 | 119309 | 1615 | -1615000 | -1.615 | 2316 | 2242 | 74 | -74000 | -0.074
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 7542000 | 7480000 | 62000 | -62000 | -0.062 | 2803000 | 2384000 | 419000 | -419000 | -0.419
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 20368000 | 19881000 | 487000 | -487000 | -0.487 | 2792000 | 2415000 | 377000 | -377000 | -0.377
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21221 | 20846 | 375 | -375000 | -0.375 | 997783 | 997715 | 68 | -68000 | -0.068
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54562 | 54668 | -106 | 106000 | 0.106 | 772 | 1079 | -307 | 307000 | 0.307
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998038 | 998070 | -32 | -32000 | -0.032 | 24786 | 24806 | -20 | -20000 | -0.02
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | SEPTEMBER-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 999962 | 999990 | -28 | -2800 | -0.0028
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3162 | 3162 | 0 | 0 | 0 | 36131 | 35723 | 408 | 40800 | 0.0408
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 754 | 754 | 0 | 0 | 0 | 630 | 628 | 2 | 2666 | 0.002666
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 8 | 2 | 6 | 600 | 0.0006 | 3132 | 2480 | 652 | 65200 | 0.0652
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1921 | 1928 | -7 | -700 | -0.0007 | 8858 | 8466 | 392 | 39200 | 0.0392
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999785 | 999775 | 10 | 5000 | 0.005 | 2439 | 2429 | 10 | 5000 | 0.005
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 25 | 27 | -2 | -1000 | -0.001 | 295 | 292 | 3 | 1500 | 0.0015
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1120 | 1114 | 6 | 3000 | 0.003 | 1558 | 1550 | 8 | 4000 | 0.004
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992948 | 992957 | -9 | -900 | -0.0009 | 2892 | 2878 | 14 | 1400 | 0.0014
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9512 | 9407 | 105 | 10500 | 0.0105 | 16170 | 15953 | 217 | 21700 | 0.0217
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15284 | 14890 | 394 | 39400 | 0.0394 | 6346 | 6321 | 25 | 2500 | 0.0025
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 33350 | 32883 | 467 | 46700 | 0.0467 | 11360 | 11346 | 14 | 1400 | 0.0014
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 62196 | 61837 | 359 | 35900 | 0.0359 | 2519 | 2514 | 5 | 500 | 0.0005
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 433 | 126 | 307 | 40932.31 | 0.040932 | 968 | 939 | 29 | 3866.57 | 0.0038666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 42 | 42 | 0 | 0 | 0 | data till 19/09/22
[10 empty] | 0 |  |  |  |  | 0 | Assessment
|  | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/9/22
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999898 | 999892 | 6 | 2400 | 0.0024 | 999454 | 999454 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 946012 | 946140 | -128 | -102400 | -0.1024 | 999698 | 999699 | -1 | -800 | -0.0008
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992892 | 992894 | -2 | -4000 | -0.004 | 1051 | 1051 | 0 | 0 | 0 | Data till 12/09/22
[10 empty] | -0.0053 |  |  |  |  | 0 | Assessment
|  | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 999999 | 1000000 | -1 | -800 | -0.0008 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/9/22
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 967672 | 967650 | 22 | 4400 | 0.0044 | 2041 | 1902 | 139 | 27800 | 0.0278
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 992763 | 992766 | -3 | -750 | -0.00075 | 853 | 846 | 7 | 1750 | 0.00175
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980904 | 981230 | -326 | -326000 | -0.326 | 2115 | 2083 | 32 | 32000 | 0.032
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1203 | 1197 | 6 | 4500 | 0.0045 | 4402 | 4406 | -4 | -3000 | -0.003
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -27.8596 |  |  |  |  | -1.1349
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 367 | 243 | 124 | -12400 | -0.0124 | 1421 | 1375 | 46 | -4600 | -0.0046
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 403 | 371 | 32 | -25600 | -0.0256 | 639 | 638 | 1 | -800 | -0.0008
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 1000018 | 999988 | 30 | -39999.9 | -0.04 | 3 | 2 | 1 | -1333.33 | -0.0013333
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5359 | 4846 | 513 | -68398.29 | -0.068398 | 8030 | 8009 | 21 | -2799.93 | -0.0027999
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998463 | 998524 | -61 | 11437.5 | 0.011437
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 897917 | 897927 | -10 | 8000 | 0.008 | 997637 | 997638 | -1 | 800 | 0.0008 | Data till 05/09/22
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991510 | 991506 | 4 | -2500 | -0.0025 | 507 | 481 | 26 | -16250 | -0.01625
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999884 | 999892 | -8 | 4000 | 0.004 | 214 | 221 | -7 | 3500 | 0.0035
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992041 | 992038 | 3 | -600 | -0.0006 | 20513 | 20441 | 72 | -14400 | -0.0144
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987339 | 987895 | -556 | 104250 | 0.10425 | 4307 | 4379 | -72 | 13500 | 0.0135
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981621 | 981853 | -232 | 43500 | 0.0435 | 3469 | 3215 | 254 | -47625 | -0.047625
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4260 | 3951 | 309 | -77250 | -0.07725 | 8539 | 8526 | 13 | -3250 | -0.00325
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993332 | 993335 | -3 | 300 | 0.0003 | 30634 | 30703 | -69 | 6900 | 0.0069
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.066698 |  |  |  |  | -0.054921
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -27.8596 |  |  |  |  | -1.1349
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.066698 |  |  |  |  | -0.054921
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.14888 |  |  |  |  | 0.64663
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -28.0752 |  |  |  |  | -0.54321
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -28.0752 | (REACTIVE MUs) |  |  |  | -0.54321 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.1473 | (REACTIVE MUs) |  |  |  | 0.020217 | (REACTIVE MUs)
[9 empty] | TOTAL | -25.9279 | (REACTIVE MUs) |  |  |  | -0.523 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997849 | 997889 | -40 | -40000 | -0.04 | 995750 | 995964 | -214 | -214000 | -0.214
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998588 | 998557 | 31 | 31000 | 0.031 | 998918 | 998916 | 2 | 2000 | 0.002
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999719 | 999778 | -59 | -59000 | -0.059 | 994946 | 995632 | -686 | -686000 | -0.686
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999806 | 999791 | 15 | 19999.95 | 0.02 | 999429 | 999458 | -29 | -38666.57 | -0.038667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997613 | 997565 | 48 | 72000 | 0.072 | 999349 | 999330 | 19 | 28500 | 0.0285
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10456 | 10530 | -74 | -7400 | -0.0074 | 20327 | 20464 | -137 | -13700 | -0.0137
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994931 | 994860 | 71 | 71000 | 0.071 | 996107 | 996112 | -5 | -5000 | -0.005
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991275 | 991734 | -459 | -34425 | -0.034425 | 992197 | 992517 | -320 | -24000 | -0.024
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996800 | 996796 | 4 | 3200 | 0.0032 | 999009 | 999036 | -27 | -21600 | -0.0216
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988612 | 988617 | -5 | -6666.65 | -0.0066666 | 265045 | 265040 | 5 | 6666.65 | 0.0066666
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 969 | 1015 | -46 | 306666.636 | 0.30667 | 999956 | 999973 | -17 | 113333.322 | 0.11333
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29927 | 28646 | 1281 | -1281000 | -1.281 | 996602 | 996631 | -29 | 29000 | 0.029
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5158 | 5207 | -49 | 98000 | 0.098 | 996012 | 996099 | -87 | 174000 | 0.174
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 561 | 224 | 337 | -337000 | -0.337 | 999882 | 999901 | -19 | 19000 | 0.019
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2332 | 3035 | -703 | 703000 | 0.703 | 993856 | 994286 | -430 | 430000 | 0.43
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 142137 | 141833 | 304 | -304000 | -0.304 | 22249 | 21894 | 355 | -355000 | -0.355
[5 empty] | -1000 | [5 empty] | 21232 | 21197 | 35 | -35000 | -0.035
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6563 | 6552 | 11 | -11000 | -0.011 | 999411 | 999460 | -49 | 49000 | 0.049
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38320 | 38320 | 0 | 0 | 0 | 1130 | 505 | 625 | -1250000 | -1.25
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1657 | 1740 | -83 | 166000 | 0.166 | 999658 | 999698 | -40 | 80000 | 0.08
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 122696 | 122600 | 96 | -76800 | -0.0768 | 10434 | 9602 | 832 | -665600 | -0.6656
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121739 | 121739 | 0 | 0 | 0 | 5508 | 4772 | 736 | -588800 | -0.5888
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944212 | 944669 | -457 | 457000 | 0.457 | 959181 | 959232 | -51 | 51000 | 0.051
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952481 | 952735 | -254 | 508000 | 0.508 | 991213 | 991299 | -86 | 172000 | 0.172
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 909060 | 909657 | -597 | 1194000 | 1.194 | 971759 | 971767 | -8 | 16000 | 0.016
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11056 | 11367 | -311 | 311000 | 0.311 | 995903 | 995924 | -21 | 21000 | 0.021
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997168 | 997221 | -53 | 53000 | 0.053 | 997231 | 997231 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980804 | 980869 | -65 | 65000 | 0.065 | 999859 | 999858 | 1 | -1000 | -0.001
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277537 | 277474 | 63 | -63000 | -0.063 | 124834 | 124833 | 1 | -1000 | -0.001
[5 empty] | -1000 | [5 empty] | 124470 | 124286 | 184 | -184000 | -0.184
[5 empty] | -1000 | [5 empty] | 123001 | 122947 | 54 | -54000 | -0.054
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7534 | 7522 | 12 | -24000 | -0.024 | 524 | 441 | 83 | -166000 | -0.166
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 403 | 371 | 32 | 25600 | 0.0256 | 639 | 638 | 1 | 800 | 0.0008
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934129 | 935406 | -1277 | 1277000 | 1.277 | 965240 | 965244 | -4 | 4000 | 0.004
32 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998554 | 999882 | -1328 | 1328000 | 1.328 | 999513 | 999519 | -6 | 6000 | 0.006
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 40916 | 40768 | 148 | -118400 | -0.1184 | 1239 | 1038 | 201 | -160800 | -0.1608
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62766 | 62688 | 78 | -124800 | -0.1248 | 995569 | 995435 | 134 | -214400 | -0.2144
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996019 | 996237 | -218 | 436000 | 0.436 | 987716 | 987725 | -9 | 18000 | 0.018
37 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999992 | 1000094 | -102 | 102000 | 0.102 | 997968 | 998015 | -47 | 47000 | 0.047
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23566 | 23559 | 7 | -7000 | -0.007 | 31452 | 31477 | -25 | 25000 | 0.025
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2342 | 2412 | -70 | 70000 | 0.07 | 996765 | 996768 | -3 | 3000 | 0.003
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 837 | 854 | -17 | 17000 | 0.017 | 1251 | 1259 | -8 | 8000 | 0.008
BRPL(+) continue | [14 empty] | SEPTEMBER-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3283 | 3329 | -46 | 46000 | 0.046 | 999943 | 999943 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21878 | 21903 | -25 | 25000 | 0.025 | 343 | 343 | 0 | 0 | 0
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11608 | 14075 | -2467 | 2467000 | 2.467 | 997965 | 998102 | -137 | 0 | 0
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1144 | 1139 | 5 | -5000 | -0.005 | 2449 | 2193 | 256 | -256000 | -0.256
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 218 | 54 | 164 | -82000 | -0.082 | 1080 | 995 | 85 | -42500 | -0.0425
46 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 51 | 9 | 42 | -105000 | -0.105 | 868 | 777 | 91 | -227500 | -0.2275
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 613 | 505 | 108 | -216000 | -0.216 | 631 | 576 | 55 | -110000 | -0.11
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86140 | 86021 | 119 | -119000 | -0.119 | 997109 | 997312 | -203 | 203000 | 0.203
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57593 | 57346 | 247 | -494000 | -0.494 | 999373 | 999374 | -1 | 2000 | 0.002
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 5879 | 5728 | 151 | -226500 | -0.2265 | 27 | 21 | 6 | -9000 | -0.009
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9049 | 8804 | 245 | -245000 | -0.245 | 999968 | 999965 | 3 | -3000 | -0.003
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996459 | 996516 | -57 | 57000 | 0.057 | 999841 | 999862 | -21 | 21000 | 0.021
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991092 | 991172 | -80 | 80000 | 0.08 | 994546 | 994561 | -15 | 15000 | 0.015
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990564 | 990726 | -162 | 162000 | 0.162 | 986865 | 986867 | -2 | 2000 | 0.002
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995115 | 995229 | -114 | -456000 | -0.456 | 999990 | 999991 | -1 | -4000 | -0.004
[10 empty] | -0.14 |  |  |  |  | -0.008 | Assessment- June to Aug 2022
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 969878 | 970064 | -186 | -148800 | -0.1488 | 634 | 632 | 2 | 1600 | 0.0016
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 915232 | 915706 | -474 | -379200 | -0.3792 | 999431 | 999433 | -2 | -1600 | -0.0016
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997073 | 997082 | -9 | -7200 | -0.0072 | 999853 | 999852 | 1 | 800 | 0.0008
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994567 | 994584 | -17 | -13600 | -0.0136 | 52 | 52 | 0 | 0 | 0
61 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 999333 | 999822 | -489 | -391200 | -0.3912 | 999988 | 999991 | -3 | -2400 | -0.0024
62 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 999149 | 999791 | -642 | -513600 | -0.5136 | 999982 | 999987 | -5 | -4000 | -0.004
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986837 | 986967 | -130 | -260000 | -0.26 | 998523 | 998544 | -21 | -42000 | -0.042
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109815 | 109544 | 271 | -542000 | -0.542 | 5755 | 5389 | 366 | -732000 | -0.732
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11743 | 11514 | 229 | -229000 | -0.229 | 4670 | 4281 | 389 | -389000 | -0.389
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138322 | 138126 | 196 | -196000 | -0.196 | 3099 | 2962 | 137 | -137000 | -0.137
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 367 | 243 | 124 | 12400 | 0.0124 | 1421 | 1375 | 46 | 4600 | 0.0046
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998463 | 998524 | -61 | -11437.5 | -0.011437
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998763 | 998785 | -22 | -22000 | -0.022 | 387 | 317 | 70 | 70000 | 0.07
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998786 | 998797 | -11 | -11000 | -0.011 | 296 | 251 | 45 | 45000 | 0.045
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 897917 | 897927 | -10 | -8000 | -0.008 | 997637 | 997638 | -1 | -800 | -0.0008 | Data till 05/09/22
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 625 | 568 | 57 | 57000 | 0.057 | 999973 | 999981 | -8 | -8000 | -0.008
72 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998786 | 998797 | -11 | -11000 | -0.011 | 296 | 251 | 45 | 45000 | 0.045
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 1276 | 1370 | -94 | -9400 | -0.0094 | Data till 18/9/22
[10 empty] | 0 |  |  |  |  | -0.0031 | Assessment
74 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 2715 | 2348 | 367 | 36700 | 0.0367
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9542 | 9536 | 6 | 3000 | 0.003 | 3096 | 3159 | -63 | -31500 | -0.0315
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996586 | 996590 | -4 | -4000 | -0.004 | 4210 | 4187 | 23 | 23000 | 0.023
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981721 | 981727 | -6 | -6000 | -0.006 | 544 | 579 | -35 | -35000 | -0.035
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7676 | 7669 | 7 | 7000 | 0.007 | 6923 | 6875 | 48 | 48000 | 0.048
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 18 | 0 | 18 | 2700 | 0.0027 | 227 | 150 | 77 | 11550 | 0.01155
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4874 | 4814 | 60 | 6000 | 0.006 | 912160 | 911660 | 500 | 50000 | 0.05
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999978 | 999945 | 33 | 8800.11 | 0.0088001 | 639 | 451 | 188 | 50133.96 | 0.050134
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5551 | 5550 | 1 | 1000 | 0.001 | 7967 | 7811 | 156 | 156000 | 0.156
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992041 | 992038 | 3 | 600 | 0.0006 | 20513 | 20441 | 72 | 14400 | 0.0144
84 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987339 | 987895 | -556 | -104250 | -0.10425 | 4307 | 4379 | -72 | -13500 | -0.0135
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981621 | 981853 | -232 | -43500 | -0.0435 | 3469 | 3215 | 254 | 47625 | 0.047625
86 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4260 | 3951 | 309 | 77250 | 0.07725 | 8539 | 8526 | 13 | 3250 | 0.00325
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993332 | 993335 | -3 | -300 | -0.0003 | 30634 | 30703 | -69 | -6900 | -0.0069
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.8536 |  |  |  |  | -4.6122
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21932 | 21957 | -25 | 12500 | 0.0125 | 5284 | 5270 | 14 | -7000 | -0.007
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992630 | 992633 | -3 | 399.99 | 0.00039999 | 8597 | 9119 | -522 | 69598.26 | 0.069598
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999996 | 1000000 | -4 | 2666.668 | 0.0026667 | 503 | 176 | 327 | -218000.109 | -0.218
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1269 | 1272 | -3 | 3000 | 0.003 | 316 | 413 | -97 | 97000 | 0.097
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990814 | 990847 | -33 | 33000 | 0.033 | 2543 | 2506 | 37 | -37000 | -0.037
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3037 | 3037 | 0 | 0 | 0 | 38593 | 37869 | 724 | -115840 | -0.11584
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3822 | 3810 | 12 | -2400 | -0.0024 | 18607 | 17174 | 1433 | -286600 | -0.2866
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971810 | 971873 | -63 | 63000 | 0.063 | 999383 | 999253 | 130 | -130000 | -0.13
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000081 | 999878 | 203 | -20300 | -0.0203 | 1727 | 1695 | 32 | -3200 | -0.0032
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3831 | 3742 | 89 | -8900 | -0.0089 | 5073 | 4992 | 81 | -8100 | -0.0081
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 833 | 407 | 426 | 354998.58 | 0.355
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2209 | 418 | -261250 | -0.26125
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 999962 | 999990 | -28 | 2800 | 0.0028
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3162 | 3162 | 0 | 0 | 0 | 36131 | 35723 | 408 | -40800 | -0.0408
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 754 | 754 | 0 | 0 | 0 | 630 | 628 | 2 | -2666 | -0.002666
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 8 | 2 | 6 | -600 | -0.0006 | 3132 | 2480 | 652 | -65200 | -0.0652
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1921 | 1928 | -7 | 700 | 0.0007 | 8858 | 8466 | 392 | -39200 | -0.0392
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 42 | 42 | 0 | 0 | 0 | Data till 19/9/2022
[10 empty] | 0 |  |  |  |  | 0 | Assessment
|  | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/9/2022
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999898 | 999892 | 6 | -2400 | -0.0024 | 999454 | 999454 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 100 | 0 | 100 | -80000 | -0.08 | 549 | 54 | 495 | -396000 | -0.396
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980904 | 981230 | -326 | 326000 | 0.326 | 2115 | 2083 | 32 | -32000 | -0.032
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1203 | 1197 | 6 | -4500 | -0.0045 | 4402 | 4406 | -4 | 3000 | 0.003
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.32217 |  |  |  |  | -1.1155
SEPTEMBER-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.8536 |  |  |  |  | -4.6122
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.32217 |  |  |  |  | -1.1155
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.14596 |  |  |  |  | -0.0777
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.004875 |  |  |  |  | -0.32874
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 3.3168 |  |  |  |  | -6.1341
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.3168 | (REACTIVE MUs) |  |  |  | -6.1341 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.9926 | (REACTIVE MUs) |  |  |  | 0.029117 | (REACTIVE MUs)
[9 empty] | TOTAL | 6.3094 | (REACTIVE MUs) |  |  |  | -6.105 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36586 | 36255 | 331 | 88377 | 0.088377 | 992174 | 992537 | -363 | -96921 | -0.096921
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11235 | 11229 | 6 | 24000 | 0.024 | 1574 | 1612 | -38 | -152000 | -0.152
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24926 | 24930 | -4 | -533.32 | -0.00053332 | 34801 | 34798 | 3 | 399.99 | 0.00039999
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999797 | 999827 | -30 | -30000 | -0.03 | 999834 | 999837 | -3 | -3000 | -0.003
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 92 | 0 | 0 | 0 | 999944 | 999944 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18467 | 18474 | -7 | -9333.31 | -0.0093333 | 4960 | 4925 | 35 | 46666.55 | 0.046667
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999705 | 999849 | -144 | -28800 | -0.0288 | 999908 | 1000067 | -159 | -31800 | -0.0318
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975082 | 975257 | -175 | -175000 | -0.175 | 1219 | 1219 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983523 | 983613 | -90 | -45000 | -0.045 | 281 | 281 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997694 | 997475 | 219 | 219000 | 0.219 | 999839 | 999839 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982878 | 982999 | -121 | -121000 | -0.121 | 1094 | 1094 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000203 | 999948 | 255 | 255000 | 0.255 | 3401 | 3394 | 7 | 7000 | 0.007
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993471 | 993557 | -86 | -86000 | -0.086 | 995524 | 995524 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992545 | 992614 | -69 | -69000 | -0.069 | 999987 | 999993 | -6 | -6000 | -0.006
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994221 | 994355 | -134 | -107200 | -0.1072 | 7469 | 7471 | -2 | -1600 | -0.0016
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14442 | 12535 | 1907 | 254260.31 | 0.25426 | 8354 | 8354 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000039 | 999962 | 77 | 77000 | 0.077 | 999848 | 999840 | 8 | 8000 | 0.008
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 636 | 473 | 163 | 163000 | 0.163 | 16908 | 16908 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 955001 | 955583 | -582 | -727500 | -0.7275 | 947183 | 947184 | -1 | -1250 | -0.00125
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 946346 | 947341 | -995 | -995000 | -0.995 | 933516 | 933518 | -2 | -2000 | -0.002
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992643 | 992733 | -90 | -90000 | -0.09 | 998682 | 998686 | -4 | -4000 | -0.004
| KASHMIRI GATE | [8 empty] | -1.8125 |  |  |  |  | -0.00725
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999362 | 999374 | -12 | 12000 | 0.012 | 998981 | 999091 | -110 | 110000 | 0.11
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6426 | 6475 | -49 | 49000 | 0.049 | 997845 | 997855 | -10 | 10000 | 0.01
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998920 | 998920 | 0 | 0 | 0 | 12515 | 12598 | -83 | -83000 | -0.083
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 263734 | 263395 | 339 | -339000 | -0.339 | 26012 | 25926 | 86 | -86000 | -0.086
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 554 | 78 | 476 | -476000 | -0.476 | 1163 | 1040 | 123 | -123000 | -0.123
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7790 | 8021 | -231 | 231000 | 0.231 | 998980 | 998980 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5881 | 6345 | -464 | 464000 | 0.464 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101588 | 101123 | 465 | -465000 | -0.465 | 982674 | 982674 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93748 | 93376 | 372 | -372000 | -0.372 | 334 | 333 | 1 | -1000 | -0.001
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 970 | 808 | 162 | -810000 | -0.81 | 1000000 | 999999 | 1 | -5000 | -0.005
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 1000018 | 999988 | 30 | 39999.9 | 0.04 | 3 | 2 | 1 | 1333.33 | 0.0013333
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5359 | 4846 | 513 | 68398.29 | 0.068398 | 8030 | 8009 | 21 | 2799.93 | 0.0027999
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992630 | 992633 | -3 | -399 | -0.000399 | 8597 | 9119 | -522 | -69426 | -0.069426
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974749 | 975127 | -378 | 378000 | 0.378 | 990097 | 990097 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961390 | 961767 | -377 | 377000 | 0.377 | 969105 | 969105 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -2.2467 |  |  |  |  | -0.4798
| (A) NET ENERGY TO CENTRAL | [8 empty] | -2.2467 |  |  |  |  | -0.4798
SEPTEMBER-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999979 | 1000000 | -21 | 21000 | 0.021 | 21 | 5 | 16 | -16000 | -0.016
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981144 | 981151 | -7 | 7000 | 0.007 | 930694 | 930656 | 38 | -38000 | -0.038
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999979 | 1000000 | -21 | 21000 | 0.021 | 999969 | 999990 | -21 | 21000 | 0.021
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999655 | 999813 | -158 | 158000 | 0.158 | 999728 | 999738 | -10 | 10000 | 0.01
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39375 | 39295 | 80 | -80000 | -0.08 | 998157 | 998013 | 144 | -144000 | -0.144
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 17034 | 16878 | 156 | -78000 | -0.078 | 645 | 455 | 190 | -95000 | -0.095
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999709 | 999794 | -85 | 85000 | 0.085 | 999989 | 999979 | 10 | -10000 | -0.01
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9475 | 9676 | -201 | 201000 | 0.201 | 999422 | 999533 | -111 | 111000 | 0.111
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 802 | 854 | -52 | 52000 | 0.052 | 21 | 8 | 13 | -13000 | -0.013
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970610 | 970639 | -29 | 29000 | 0.029 | 954861 | 954901 | -40 | 40000 | 0.04
[5 empty] | -1000 | 991401 | 991404 | -3 | 3000 | 0.003
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 190 | 0 | 190 | -190000 | -0.19 | 31 | 10 | 21 | -21000 | -0.021
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13429 | 13245 | 184 | -920000 | -0.92 | 51 | 51 | 0 | 0 | 0
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24354 | 23335 | 1019 | -1019000 | -1.019 | 81 | 81 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5524 | 5395 | 129 | -129000 | -0.129 | 4 | 4 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -1.839 |  |  |  |  | -0.155
| (B) NET ENERGY TO EAST | [8 empty] | -1.839 |  |  |  |  | -0.155
SEPTEMBER-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993282 | 993263 | 19 | -5066.73 | -0.0050667 | 378 | 376 | 2 | -533.34 | -0.00053334
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2200 | 2200 | 0 | 0 | 0 | 2185 | 2114 | 71 | -35500 | -0.0355
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1372 | 1429 | -57 | 15199.62 | 0.0152 | 2245 | 2245 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -400 | 3205 | 1634 | 1571 | -628400 | -0.6284 | 23 | 23 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 977580 | 977893 | -313 | 62600 | 0.0626 | 999384 | 999384 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1325 | 1392 | -67 | 67000 | 0.067 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3673 | 3639 | 34 | -27200 | -0.0272 | 4728 | 4672 | 56 | -44800 | -0.0448
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2133 | 2158 | -25 | 20000 | 0.02 | 1667 | 1675 | -8 | 6400 | 0.0064
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 945742 | 946117 | -375 | 300000 | 0.3 | 988578 | 988615 | -37 | 29600 | 0.0296
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986837 | 986967 | -130 | 260000 | 0.26 | 998523 | 998544 | -21 | 42000 | 0.042
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998038 | 998070 | -32 | 32000 | 0.032 | 24786 | 24806 | -20 | 20000 | 0.02
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999785 | 999775 | 10 | -5000 | -0.005 | 2439 | 2429 | 10 | -5000 | -0.005
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 25 | 27 | -2 | 1000 | 0.001 | 295 | 292 | 3 | -1500 | -0.0015
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1120 | 1114 | 6 | -3000 | -0.003 | 1558 | 1550 | 8 | -4000 | -0.004
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 62196 | 61837 | 359 | -35900 | -0.0359 | 2519 | 2514 | 5 | -500 | -0.0005
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 433 | 126 | 307 | -40932.31 | -0.040932 | 968 | 939 | 29 | -3866.57 | -0.0038666
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992948 | 992957 | -9 | 900 | 0.0009 | 2892 | 2878 | 14 | -1400 | -0.0014
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9512 | 9407 | 105 | -10500 | -0.0105 | 16170 | 15953 | 217 | -21700 | -0.0217
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15284 | 14890 | 394 | -39400 | -0.0394 | 6346 | 6321 | 25 | -2500 | -0.0025
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 33350 | 32883 | 467 | -46700 | -0.0467 | 11360 | 11346 | 14 | -1400 | -0.0014
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 66880 | 66790 | 90 | 90 | 9e-05 | 317129 | 307209 | 9920 | 9920 | 0.00992
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 38670 | 37520 | 1150 | 1150 | 0.00115 | 537630 | 530580 | 7050 | 7050 | 0.00705
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 230600 | 217500 | 13100 | 13100 | 0.0131 | 1624700 | 1572099 | 52601 | 52601 | 0.052601
[10 empty] | -0.069059 |  |  |  |  | 0.044871
SEPTEMBER-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -2.2467 |  |  |  |  | -0.4798
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.069059 |  |  |  |  | 0.044871
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.12358 |  |  |  |  | -0.28582
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.1922 |  |  |  |  | -0.72075
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -1.839 |  |  |  |  | -0.155
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -4.0312 |  |  |  |  | -0.87575
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.0312 | (REACTIVE MUs) |  |  |  | -0.87575 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.6384 | (REACTIVE MUs) |  |  |  | 0.016906 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.3928 | (REACTIVE MUs) |  |  |  | -0.85885 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1372 | 1429 | -57 | -15200.19 | -0.0152 | 2245 | 2245 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 400 | 3205 | 1634 | 1571 | 628400 | 0.6284 | 23 | 23 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 977580 | 977893 | -313 | -62600 | -0.0626 | 999384 | 999384 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1325 | 1392 | -67 | -67000 | -0.067 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3673 | 3639 | 34 | 27200 | 0.0272 | 4728 | 4672 | 56 | 44800 | 0.0448
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2133 | 2158 | -25 | -20000 | -0.02 | 1667 | 1675 | -8 | -6400 | -0.0064
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0 | UNDER S/DN
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0 | UNDER S/DN
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 945742 | 946117 | -375 | -300000 | -0.3 | 988578 | 988615 | -37 | -29600 | -0.0296
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953103 | 953332 | -229 | -11450 | -0.01145 | 29694 | 28786 | 908 | 45400 | 0.0454
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999631 | 999935 | -304 | -30400 | -0.0304 | 3114 | 2867 | 247 | 24700 | 0.0247
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997802 | 997792 | 10 | 5000 | 0.005 | 7357 | 7120 | 237 | 118500 | 0.1185
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999871 | 999871 | 0 | 0 | 0 | 997954 | 997954 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998537 | 998687 | -150 | -15000 | -0.015 | 6548 | 6173 | 375 | 37500 | 0.0375
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11076 | 11064 | 12 | 12000 | 0.012 | 42021 | 41938 | 83 | 83000 | 0.083
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 916 | 1080 | -164 | -16400 | -0.0164 | 1577 | 1715 | -138 | -13800 | -0.0138
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993974 | 994206 | -232 | -232000 | -0.232 | 406 | 411 | -5 | -5000 | -0.005
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981938 | 982100 | -162 | -162000 | -0.162 | 2783 | 2778 | 5 | 5000 | 0.005
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998386 | 998417 | -31 | -77500 | -0.0775 | 81 | 77 | 4 | 10000 | 0.01
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 995823 | 995859 | -36 | -90000 | -0.09 | 461 | 459 | 2 | 5000 | 0.005
[10 empty] | -0.5615 |  |  |  |  | 0.015
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990814 | 990847 | -33 | -33000 | -0.033 | 2543 | 2506 | 37 | 37000 | 0.037
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3037 | 3037 | 0 | 0 | 0 | 38593 | 37869 | 724 | 115840 | 0.11584
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3822 | 3810 | 12 | 2400 | 0.0024 | 18607 | 17174 | 1433 | 286600 | 0.2866
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971810 | 971873 | -63 | -63000 | -0.063 | 999383 | 999253 | 130 | 130000 | 0.13
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 833 | 407 | 426 | -354998.58 | -0.355
SEPTEMBER-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996690 | 996761 | -71 | 71000 | 0.071 | 989453 | 989515 | -62 | 62000 | 0.062
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998860 | 998943 | -83 | 83000 | 0.083 | 995339 | 995392 | -53 | 53000 | 0.053
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998018 | 998042 | -24 | 48000 | 0.048 | 995229 | 995351 | -122 | 244000 | 0.244
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999903 | 999949 | -46 | 46000 | 0.046 | 992498 | 992759 | -261 | 261000 | 0.261
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2209 | 418 | 261250 | 0.26125
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000081 | 999878 | 203 | 20300 | 0.0203 | 1727 | 1695 | 32 | 3200 | 0.0032
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3831 | 3742 | 89 | 8900 | 0.0089 | 5073 | 4992 | 81 | 8100 | 0.0081
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21932 | 21957 | -25 | -12500 | -0.0125 | 5284 | 5270 | 14 | 7000 | 0.007
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 625 | 568 | 57 | -57000 | -0.057 | 999973 | 999981 | -8 | 8000 | 0.008
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999525 | 999533 | -8 | 8000 | 0.008 | 999915 | 999918 | -3 | 3000 | 0.003
AIIMS
3 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 1276 | 1370 | -94 | 9400 | 0.0094 | Data till 18/9/22
[10 empty] | 0 |  |  |  |  | 0.0031 | Assessment
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 2715 | 2348 | 367 | -36700 | -0.0367
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.30485 |  |  |  |  | 1.4199
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.30485 |  |  |  |  | 1.4199
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.12451 |  |  |  |  | 0.0037087
| TOTAL ENERGY TO NDMC | [8 empty] | -0.18034 |  |  |  |  | 1.4236

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4293 | 4287 | 6 | 1200 | 0.0012 | 79290 | 78818 | 472 | 94400 | 0.0944
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999891 | 999894 | -3 | -480 | -0.00048 | 32469 | 32304 | 165 | 26400 | 0.0264
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 17 | 8 | 9 | 1800 | 0.0018 | 2182 | 1740 | 442 | 88400 | 0.0884
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999886 | 0 | 0 | 0 | 19266 | 19296 | -30 | -12000 | -0.012
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999503 | 999490 | 13 | 10400 | 0.0104 | 817 | 802 | 15 | 12000 | 0.012
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2635 | 2692 | -57 | -22800 | -0.0228 | 6655 | 6659 | -4 | -1600 | -0.0016
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999996 | 1000000 | -4 | -2666.668 | -0.0026667 | 503 | 176 | 327 | 218000.109 | 0.218
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1269 | 1272 | -3 | -3000 | -0.003 | 316 | 413 | -97 | -97000 | -0.097
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.015547 |  |  |  |  | 0.3286
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4177 | 4047 | 130 | 4875 | 0.004875 | 39756 | 37559 | 2197 | 82387.5 | 0.082388
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 1591 | 1530 | 61 | 6100 | 0.0061
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 59207 | 56676 | 2531 | 189825 | 0.18982
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
|  | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 13 | 1300 | 0.0013 | w.e.f 26/9/22
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 6165 | 5626 | 539 | 40425 | 0.040425
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 7733 | 7646 | 87 | 8700 | 0.0087
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.004875 |  |  |  |  | 0.32874
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.015547 |  |  |  |  | 0.3286
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.010672 |  |  |  |  | 0.65734
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.010672 | (REACTIVE MUs) |  |  |  | 0.65734 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.038974 | (REACTIVE MUs) |  |  |  | -7.2303e-05 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.049645 | (REACTIVE MUs) |  |  |  | 0.65727 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991510 | 991506 | 4 | 2500 | 0.0025 | 507 | 481 | 26 | 16250 | 0.01625
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999884 | 999892 | -8 | -4000 | -0.004 | 214 | 221 | -7 | -3500 | -0.0035
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 100 | 0 | 100 | 80000 | 0.08 | 549 | 54 | 495 | 396000 | 0.396
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 66880 | 66790 | 90 | -90 | -9e-05 | 317129 | 307209 | 9920 | -9920 | -0.00992
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 38670 | 37520 | 1150 | -1150 | -0.00115 | 537630 | 530580 | 7050 | -7050 | -0.00705
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 230600 | 217500 | 13100 | -13100 | -0.0131 | 1624700 | 1572099 | 52601 | -52601 | -0.052601
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.06416 |  |  |  |  | 0.33918
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0060671 |  |  |  |  | -4.0095e-05
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.070227 |  |  |  |  | 0.33914

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 996075 | 996132 | -57 | -28500 | -0.0285 | 999659 | 999680 | -21 | -10500 | -0.0105
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29720 | 29726 | -6 | -600 | -0.0006 | 992348 | 992350 | -2 | -200 | -0.0002
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16406 | 16156 | 250 | 125000 | 0.125 | 6270 | 6113 | 157 | 78500 | 0.0785
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997491 | 997468 | 23 | 21562.5 | 0.021562 | 999333 | 999461 | -128 | -120000 | -0.12
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999440 | 999453 | -13 | 13000 | 0.013 | 998979 | 999092 | -113 | 113000 | 0.113
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993737 | 993768 | -31 | 15500 | 0.0155 | 536 | 259 | 277 | -138500 | -0.1385
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.14596 |  |  |  |  | -0.0777
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 962500 | 961974 | 526 | 105200 | 0.1052 | 991453 | 991609 | -156 | -31200 | -0.0312
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 159 | 61 | 98 | 18375 | 0.018375 | 993656 | 995014 | -1358 | -254625 | -0.25462
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.12358 |  |  |  |  | -0.28582
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1378 | 1367 | 11 | 13750 | 0.01375 | 998650 | 998670 | -20 | -25000 | -0.025
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999983 | 1000009 | -26 | -24375 | -0.024375 | 999635 | 999647 | -12 | -11250 | -0.01125
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 999908 | 999849 | 59 | 7375 | 0.007375 | 996784 | 996825 | -41 | -5125 | -0.005125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 612 | 618 | -6 | -22500 | -0.0225 | 130 | 143 | -13 | -48750 | -0.04875
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999211 | 999229 | -18 | -18000 | -0.018 | 999670 | 999724 | -54 | -54000 | -0.054
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978532 | 978649 | -117 | -117000 | -0.117 | 990756 | 989969 | 787 | 787000 | 0.787
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 345 | 364 | -19 | 11875 | 0.011875 | 999799 | 999805 | -6 | 3750 | 0.00375
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.14888 |  |  |  |  | 0.64663
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.14596 |  |  |  |  | -0.0777
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.12358 |  |  |  |  | -0.28582
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.14888 |  |  |  |  | 0.64663

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2022 | INTIAL READING 01/09/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 1849 | 1238 | 611 | 1222000 | 1.222 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 29664 | 29041 | 623 | 1246000 | 1.246 | 1628 | 1628 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 2.468 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -2.374 |  |  |  |  | 0.00775
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 4.842 |  |  |  |  | -0.00775
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 1.4366 |  |  |  |  | -0.0022994
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 2.0109 |  |  |  |  | -0.0032186
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 1.1011 |  |  |  |  | -0.0017623
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.23968 |  |  |  |  | -0.00038363
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 866368 | 869163 | -2795 | 1397500 | 1.3975 | 997812 | 997989 | -177 | 88500 | 0.0885
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 1.3975 |  |  |  |  | 0.0885
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.40807 |  |  |  |  | 0.025842
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.58429 |  |  |  |  | 0.037002
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.334 |  |  |  |  | 0.021152
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.071133 |  |  |  |  | 0.0045046
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 180691 | 179959 | 732 | -549000 | -0.549 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | -1000 | 73720 | 72213 | 1507 | -1507000 | -1.507 | 999650 | 999650 | 0 | 0 | 0
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 994222 | 995889 | -1667 | 1250250 | 1.2503 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.80575 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.15535 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.22795 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.12948 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.24414 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.048828 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 399964 | 407504 | -7540 | 754000 | 0.754 | 984122 | 984122 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.754 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 26 FY2022-23) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.228 | % | 0.2225 | 0.23546 | 0.45796 |  |  | -0.0033259 | 0 | -0.0033259 | Highlighted portion denote last month assessment owing to error in formula
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.5318 | % | 0.31217 | 0.31315 | 0.62532 |  |  | -0.0046662 | 0 | -0.0046662
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.1124 | % | 0.16613 | 0.16673 | 0.33285 |  |  | -0.0024832 | 0 | -0.0024832
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.0133 | % | 0.027583 | 0.03026 | 0.057843 |  |  | -0.0004123 | 0 | -0.0004123
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6655 | % | 0.0048371 | 0.0050179 | 0.0098549 |  |  | -7.2303e-05 | 0 | -7.2303e-05
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4489 | % | 0.0026824 | 0.0033847 | 0.0060671 |  |  | -4.0095e-05 | 0 | -4.0095e-05
E) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D)
1) | NDPL |  |  |  | = |  |  |  |  | 2.1473 |  |  |  |  | 0.020217
2) | BRPL |  |  |  | = |  |  |  |  | 2.9926 |  |  |  |  | 0.029117
3) | BYPL |  |  |  | = |  |  |  |  | 1.6384 |  |  |  |  | 0.016906
4) | NDMC |  |  |  | = |  |  |  |  | 0.12451 |  |  |  |  | 0.0037087
5) | MES |  |  |  | = |  |  |  |  | -0.038974 |  |  |  |  | -7.2303e-05
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0060671 |  |  |  |  | -4.0095e-05

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2022 TO 30th SEPTEMBER-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -25.9279 |  | -0.523
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 6.3094 |  | -6.105
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -2.3928 |  | -0.85885
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.18034 | + | 1.4236
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.049645 | + | 0.65727
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.070227 | + | 0.33914
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:- Reactive Energy is Provided by Metering Department