## NDPL
DELHI TRANSCO LIMITED | [15 empty] | November-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974250 | 975712 | -1462 | 1462000 | 1.462 | 995525 | 995525 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1996 | 302 | 1694 | -1694000 | -1.694 | 170 | 176 | -6 | 6000 | 0.006
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982727 | 985685 | -2958 | 2958000 | 2.958 | 996034 | 996034 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999114 | 999867 | -753 | 753000 | 0.753 | 993700 | 993709 | -9 | 9000 | 0.009
5 | Tx.2 | 4865173 | ELSTER | Kvarh(Lead/Lag) | -12500 | 183 | 182 | 1 | -12500 | -0.0125 | 6 | 6 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22570 | 22748 | -178 | 178000 | 0.178 | 17589 | 17859 | -270 | 270000 | 0.27
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999506 | 999799 | -293 | 293000 | 0.293 | 999999 | 1000000 | -1 | 1000 | 0.001
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 12834 | 13222 | -388 | 485000 | 0.485 | 993253 | 993253 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999019 | 1000142 | -1123 | 1123000 | 1.123 | 982515 | 982515 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999543 | 999771 | -228 | 228000 | 0.228 | 0 | 0 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986154 | 986419 | -265 | 265000 | 0.265 | 3105 | 3105 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984341 | 985573 | -1232 | 1232000 | 1.232 | 997759 | 997759 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987556 | 991905 | -4349 | -4349000 | -4.349 | 999999 | 999999 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984038 | 983970 | 68 | -68000 | -0.068 | 16835 | 16835 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2239 | 863 | 1376 | -1376000 | -1.376 | 20178 | 20178 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7336 | 5768 | 1568 | -1568000 | -1.568 | 0 | 0 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 134 | 156 | -22 | -4400 | -0.0044 | 982040 | 982057 | -17 | -3400 | -0.0034
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 789 | 768 | 21 | 21000 | 0.021 | 29103 | 29106 | -3 | -3000 | -0.003
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5896 | 5672 | 224 | 22400 | 0.0224 | 166442 | 166394 | 48 | 4800 | 0.0048
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 40459 | 36636 | 3823 | 382300 | 0.3823 | 247921 | 247880 | 41 | 4100 | 0.0041
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996472 | 996479 | -7 | -7000 | -0.007 | 750 | 923 | -173 | -173000 | -0.173
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 554 | 559 | -5 | -5000 | -0.005 | 5884 | 5982 | -98 | -98000 | -0.098
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 37 | 15 | 22 | 22000 | 0.022 | 55 | 55 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634586 | 634586 | 0 | 0 | 0 | 797068 | 797068 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 637208 | 639623 | -2415 | -2415000 | -2.415 | 830233 | 830234 | -1 | -1000 | -0.001
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 5381 | 4982 | 399 | 159600 | 0.1596 | 999007 | 999007 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4719 | 4418 | 301 | 150500 | 0.1505 | 3390 | 3383 | 7 | 3500 | 0.0035
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23039 | 23502 | -463 | 463000 | 0.463 | 980953 | 980953 | 0 | 0 | 0
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7631 | 6984 | 647 | -647000 | -0.647 | 996755 | 996755 | 0 | 0 | 0
BAWANA
30 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 765 | 13 | 752 | -752000 | -0.752 | 999999 | 1000000 | -1 | 1000 | 0.001
DSIDC BAWANA
31 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2912 | 771 | 2141 | -2141000 | -2.141 | 998853 | 998862 | -9 | 9000 | 0.009
32 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5225 | 1499 | 3726 | -3726000 | -3.726 | 1491 | 1484 | 7 | -7000 | -0.007
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3536 | 2619 | 917 | -917000 | -0.917 | 998687 | 998687 | 0 | 0 | 0
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3302 | 3302 | 0 | 0 | 0 | 999996 | 999996 | 0 | 0 | 0
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994409 | 995508 | -1099 | 1099000 | 1.099 | 999496 | 999496 | 0 | 0 | 0
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5542 | 4375 | 1167 | -1167000 | -1.167 | 999993 | 999993 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2112 | 2133 | -21 | -21000 | -0.021 | 24739 | 24727 | 12 | 12000 | 0.012
38 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 317 | 204 | 113 | 113000 | 0.113 | 201 | 295 | -94 | -94000 | -0.094
|  | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 40 | 34 | 6 | 6000 | 0.006 | 299 | 315 | -16 | -16000 | -0.016 | Assessment last month
| NDPL(+) continue | [14 empty] | November-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 174304 | 172822 | 1482 | 185250 | 0.18525 | 261306 | 261275 | 31 | 3875 | 0.003875
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9488 | 9510 | -22 | -2200 | -0.0022 | 32292 | 32302 | -10 | -1000 | -0.001
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11807 | 12057 | -250 | -25000 | -0.025 | 64484 | 64382 | 102 | 10200 | 0.0102
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 19432 | 19412 | 20 | 2000 | 0.002 | 66371 | 66371 | 0 | 0 | 0 | Data till 02/11
[10 empty] | 0.025 |  |  |  |  | 0.0376 | Assessment
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 8805 | 8121 | 684 | 68400 | 0.0684 | 6259 | 6246 | 13 | 1300 | 0.0013
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17116 | 17102 | 14 | 1400 | 0.0014 | 21191 | 21190 | 1 | 100 | 0.0001
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 994032 | 994757 | -725 | -32219 | -0.032219 | 772 | 776 | -4 | -177.76 | -0.00017776
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5458 | 5473 | -15 | -7500 | -0.0075 | 32980 | 32954 | 26 | 13000 | 0.013
52 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999955 | 999996 | -41 | -20500 | -0.0205 | 229 | 225 | 4 | 2000 | 0.002 | w.e.f 04/08/2015
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6903 | 6831 | 72 | 36000 | 0.036 | 14987 | 14987 | 0 | 0 | 0
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2234 | 2152 | 82 | 54666.6667 | 0.054667 | 1082 | 1082 | 0 | 0 | 0
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998464 | 998464 | 0 | 0 | 0 | 29 | 29 | 0 | 0 | 0
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999865 | 999910 | -45 | -4500 | -0.0045 | 999987 | 999987 | 0 | 0 | 0
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24416 | 24672 | -256 | -25600 | -0.0256 | 57144 | 57144 | 0 | 0 | 0
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999875 | 999933 | -58 | -5800 | -0.0058 | 999995 | 999996 | -1 | -100 | -0.0001
60 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1541 | 698 | 843 | 84300 | 0.0843 | 64 | 17 | 47 | 4700 | 0.0047 | w.e.f 14/10/2015
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 24529 | 23649 | 880 | 88000 | 0.088 | 66456 | 66438 | 18 | 1800 | 0.0018
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 2098 | 811 | 1287 | 128700 | 0.1287 | 41 | 15 | 26 | 2600 | 0.0026 | w.e.f 14/10/2015
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 175768 | 173628 | 2140 | 214000 | 0.214 | 20593 | 20586 | 7 | 700 | 0.0007
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24021 | 23918 | 103 | 10300 | 0.0103 | 47833 | 47819 | 14 | 1400 | 0.0014
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 426 | 426 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995602 | 995596 | 6 | -2400 | -0.0024 | 52 | 51 | 1 | -400 | -0.0004
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999931 | 999933 | -2 | -800 | -0.0008 | 3 | 2 | 1 | 400 | 0.0004
MUNDKA
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 975807 | 976874 | -1067 | -853600 | -0.8536 | 254 | 254 | 0 | 0 | 0
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1632 | 853 | 779 | 1558000 | 1.558 | 29 | 29 | 0 | 0 | 0
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 1224 | 1410 | -186 | -18600 | -0.0186 | 162 | 162 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -7.9968 |  |  |  |  | 0.0029972
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | November-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 22362 | 21361 | 1001 | -100100 | -0.1001 | 21536 | 21522 | 14 | -1400 | -0.0014
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13828 | 13864 | -36 | 36000 | 0.036 | 7863 | 7863 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 9531 | 9288 | 243 | -48600 | -0.0486 | 21476 | 21476 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85800 | 85733 | 67 | -67000 | -0.067 | 120114 | 120110 | 4 | -4000 | -0.004 | w.e.f 28/05/2015
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 8986 | 9261 | -275 | 27500 | 0.0275 | 61338 | 61338 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915448 | 916966 | -1518 | 1518000 | 1.518 | 991937 | 991937 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.3658 |  |  |  |  | -0.0054
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -7.9968 |  |  |  |  | 0.0029972
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.3658 |  |  |  |  | -0.0054
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.1138 |  |  |  |  | 0.04685
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -6.5172 |  |  |  |  | 0.044447
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.5172 | (REACTIVE MUs) |  |  |  | 0.044447 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.43142 | (REACTIVE MUs) |  |  |  | -2.363 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.0858 | (REACTIVE MUs) |  |  |  | -2.3185 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | November-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 7943 | 6582 | 1361 | 136100 | 0.1361 | 87 | 78 | 9 | 900 | 0.0009
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 2580 | 2491 | 89 | 26700 | 0.0267 | 73 | 0 | 73 | 21900 | 0.0219
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15435 | 14809 | 626 | 62600 | 0.0626 | 32558 | 32501 | 57 | 5700 | 0.0057
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 917 | 618 | 299 | 89700 | 0.0897 | 5365 | 5364 | 1 | 300 | 0.0003
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1739 | 1568 | 171 | 227994.3 | 0.22799 | 2701 | 2699 | 2 | 2666.6 | 0.0026666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 32204 | 30816 | 1388 | 138800 | 0.1388 | 172619 | 172613 | 6 | 600 | 0.0006
7 | MINTO RD. B-34 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 13884 | 4565 | 9319 | 931900 | 0.9319 | 50 | 0 | 50 | 5000 | 0.005
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990413 | 990692 | -279 | -279000 | -0.279 | 1680 | 1680 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997948 | 998141 | -193 | -193000 | -0.193 | 2869 | 2872 | -3 | -3000 | -0.003
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 696 | 949 | -253 | -253000 | -0.253 | 1299 | 1299 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997345 | 997663 | -318 | -318000 | -0.318 | 2126 | 2126 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997169 | 997018 | 151 | 151000 | 0.151 | 4872 | 4872 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999694 | 999855 | -161 | -161000 | -0.161 | 999531 | 999527 | 4 | 4000 | 0.004
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999314 | 999262 | 52 | 52000 | 0.052 | 17370 | 17360 | 10 | 10000 | 0.01
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 806 | 1022 | -216 | -216000 | -0.216 | 38810 | 38812 | -2 | -2000 | -0.002
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000000 | 999896 | 104 | 104000 | 0.104 | 28358 | 28345 | 13 | 13000 | 0.013
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1558 | 1600 | -42 | -42000 | -0.042 | 9503 | 9503 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11516 | 11429 | 87 | 8700 | 0.0087 | 338 | 338 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997377 | 996951 | 426 | 426000 | 0.426 | 15142 | 15143 | -1 | -1000 | -0.001
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 986705 | 989494 | -2789 | -3834875 | -3.8349
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 703956 | 707540 | -3584 | -3942400 | -3.9424
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983068 | 983479 | -411 | -411000 | -0.411 | 8329 | 8332 | -3 | -3000 | -0.003
| KASHMIRI GATE | [8 empty] | -1.1313 |  |  |  |  | -7.7593
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954997 | 955477 | -480 | 480000 | 0.48 | 945637 | 946289 | -652 | 652000 | 0.652
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962419 | 963662 | -1243 | 1243000 | 1.243 | 955082 | 955110 | -28 | 28000 | 0.028
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 426 | 426 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 808 | 679 | 129 | 129000 | 0.129 | 5939 | 5945 | -6 | -6000 | -0.006
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58305 | 55278 | 3027 | -3027000 | -3.027 | 974939 | 974936 | 3 | -3000 | -0.003
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44133 | 41895 | 2238 | -2238000 | -2.238 | 970542 | 970599 | -57 | 57000 | 0.057
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996284 | 996956 | -672 | 672000 | 0.672 | 994722 | 994917 | -195 | 195000 | 0.195
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999525 | 1000087 | -562 | 562000 | 0.562 | 999742 | 999786 | -44 | 44000 | 0.044
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3153 | 2983 | 170 | -340000 | -0.34 | 999598 | 999598 | 0 | 0 | 0
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999175 | 999380 | -205 | 410000 | 0.41 | 999932 | 999932 | 0 | 0 | 0
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999305 | 1000143 | -838 | 838000 | 0.838 | 999919 | 999919 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 9531 | 9288 | 243 | 48600 | 0.0486 | 21476 | 21476 | 0 | 0 | 0
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85800 | 85733 | 67 | 67000 | 0.067 | 120114 | 120110 | 4 | 4000 | 0.004
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 96449 | 97431 | -982 | -98200 | -0.0982 | 1073 | 1073 | 0 | 0 | 0
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151733 | 150939 | 794 | 79400 | 0.0794 | 17434 | 17434 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.69171 |  |  |  |  | -6.7512
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.69171 |  |  |  |  | -6.7512
November-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981709 | 982710 | -1001 | 1001000 | 1.001 | 896980 | 897083 | -103 | 103000 | 0.103
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5438 | 6155 | -717 | 717000 | 0.717 | 917404 | 917524 | -120 | 120000 | 0.12
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981186 | 982394 | -1208 | 1208000 | 1.208 | 962447 | 962531 | -84 | 84000 | 0.084
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995364 | 995828 | -464 | 928000 | 0.928 | 984194 | 984214 | -20 | 40000 | 0.04
PPG
4 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993702 | 993763 | -61 | 61000 | 0.061 | 999981 | 999981 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992400 | 992520 | -120 | 120000 | 0.12 | 999631 | 999631 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6865 | 7019 | -154 | 154000 | 0.154 | 984095 | 984095 | 0 | 0 | 0
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) |  | 999730 | 981 | 998749 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996766 | 997938 | -1172 | 1172000 | 1.172 | 944500 | 944500 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981329 | 983166 | -1837 | 1837000 | 1.837 | 974119 | 974140 | -21 | 21000 | 0.021
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958075 | 958627 | -552 | 552000 | 0.552 | 850916 | 851565 | -649 | 649000 | 0.649
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13134 | 15818 | -2684 | 2684000 | 2.684 | 34573 | 34575 | -2 | 2000 | 0.002
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20331 | 22527 | -2196 | 2196000 | 2.196 | 44357 | 44361 | -4 | 4000 | 0.004
14 | TX-3 | 5269165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9043 | 2478 | 6565 | -6565000 | -6.565 | 6 | 6 | 0 | 0 | 0
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 6.065 |  |  |  |  | 1.023
| (B) NET ENERGY TO EAST | [8 empty] | 6.065 |  |  |  |  | 1.023
November-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 5381 | 4982 | 399 | -159600 | -0.1596 | 999007 | 999007 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4719 | 4418 | 301 | -150500 | -0.1505 | 3390 | 3383 | 7 | -3500 | -0.0035
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 52509 | 51882 | 627 | -125400 | -0.1254 | 81560 | 81474 | 86 | -17200 | -0.0172
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73990 | 73630 | 360 | -36000 | -0.036 | 139965 | 139960 | 5 | -500 | -0.0005
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 977968 | 978251 | -283 | 56600 | 0.0566 | 997230 | 997209 | 21 | -4200 | -0.0042
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 81299 | 80875 | 424 | -84800 | -0.0848 | 101980 | 101655 | 325 | -65000 | -0.065
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 12421 | 11697 | 724 | -579200 | -0.5792 | 7145 | 7143 | 2 | -1600 | -0.0016
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14079 | 14024 | 55 | -110000 | -0.11 | 2927 | 2927 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980049 | 980524 | -475 | 380000 | 0.38 | 989710 | 989712 | -2 | 1600 | 0.0016
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 976940 | 978669 | -1729 | 1383200 | 1.3832 | 983809 | 983819 | -10 | 8000 | 0.008
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 986875 | 987948 | -1073 | 858400 | 0.8584 | 992651 | 992655 | -4 | 3200 | 0.0032
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 987919 | 988696 | -777 | 0 | 0 | 994526 | 994528 | -2 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987727 | 988292 | -565 | 565000 | 0.565 | 35243 | 35263 | -20 | 20000 | 0.02
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 508 | -501 | 1002000 | 1.002 | 999722 | 999725 | -3 | 6000 | 0.006
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2112 | 2133 | -21 | 21000 | 0.021 | 24739 | 24727 | 12 | -12000 | -0.012
16 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 317 | 204 | 113 | -113000 | -0.113 | 201 | 295 | -94 | 94000 | 0.094
|  | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40 | 34 | 6 | -6000 | -0.006 | 299 | 315 | -16 | 16000 | 0.016 | Assessment for last month
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5458 | 5473 | -15 | 7500 | 0.0075 | 32980 | 32954 | 26 | -13000 | -0.013
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) |  | 999955 | 999996 | -41 | 0 | 0 | 229 | 225 | 4 | 0 | 0
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6903 | 6831 | 72 | -36000 | -0.036 | 14987 | 14987 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2234 | 2152 | 82 | -54666.6667 | -0.054667 | 1082 | 1082 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 175768 | 173628 | 2140 | -214000 | -0.214 | 20593 | 20586 | 7 | -700 | -0.0007
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24021 | 23918 | 103 | -10300 | -0.0103 | 47833 | 47819 | 14 | -1400 | -0.0014
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998464 | 998464 | 0 | 0 | 0 | 29 | 29 | 0 | 0 | 0
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999865 | 999910 | -45 | 4500 | 0.0045 | 999987 | 999987 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24416 | 24672 | -256 | 25600 | 0.0256 | 57144 | 57144 | 0 | 0 | 0
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999875 | 999933 | -58 | 5800 | 0.0058 | 999995 | 999996 | -1 | 100 | 0.0001
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1541 | 698 | 843 | -84300 | -0.0843 | 64 | 17 | 47 | -4700 | -0.0047
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 24529 | 23649 | 880 | -88000 | -0.088 | 66456 | 66438 | 18 | -1800 | -0.0018
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 2098 | 811 | 1287 | -128700 | -0.1287 | 41 | 15 | 26 | -2600 | -0.0026
[10 empty] | 2.3291 |  |  |  |  | 0.0207
November-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.69171 |  |  |  |  | -6.7512
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.3291 |  |  |  |  | 0.0207
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.19368 |  |  |  |  | 0.0072
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 1.4438 |  |  |  |  | -6.7233
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 6.065 |  |  |  |  | 1.023
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 7.5088 |  |  |  |  | -5.7003
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 7.5088 | (REACTIVE MUs) |  |  |  | -5.7003 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.33993 | (REACTIVE MUs) |  |  |  | -1.8619 | (REACTIVE MUs)
[9 empty] | TOTAL | 7.8487 | (REACTIVE MUs) |  |  |  | -7.5622 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | November-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999901 | 1000019 | -118 | -590000 | -0.59 | 999922 | 999921 | 1 | 5000 | 0.005
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984852 | 985086 | -234 | -311999.22 | -0.312 | 673116 | 673109 | 7 | 9333.31 | 0.0093333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10028 | 10100 | -72 | -360000 | -0.36 | 71148 | 71149 | -1 | -5000 | -0.005
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14997 | 15181 | -184 | -184000 | -0.184 | 181 | 184 | -3 | -3000 | -0.003
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 7487 | 4088 | 3399 | 339900 | 0.3399 | 413 | 367 | 46 | 4600 | 0.0046
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 718430 | 724639 | -6209 | -465675 | -0.46568 | 27999 | 27920 | 79 | 5925 | 0.005925
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 994430 | 996560 | -2130 | -159750 | -0.15975 | 999775 | 999803 | -28 | -2100 | -0.0021
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 998372 | 999033 | -661 | -594900 | -0.5949 | 998733 | 998740 | -7 | -6300 | -0.0063
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 999488 | 999950 | -462 | 231000 | 0.231 | 994676 | 994682 | -6 | 3000 | 0.003
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987415 | 987654 | -239 | 239000 | 0.239 | 948089 | 948093 | -4 | 4000 | 0.004
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995187 | 995805 | -618 | 618000 | 0.618 | 996160 | 996165 | -5 | 5000 | 0.005
13 | Tx.4 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999321 | 999940 | -619 | 619000 | 0.619 | 999980 | 999985 | -5 | 5000 | 0.005
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979077 | 978858 | 219 | -219000 | -0.219 | 969962 | 969962 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40275 | 36530 | 3745 | -3745000 | -3.745 | 983858 | 983858 | 0 | 0 | 0
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37394 | 37932 | -538 | 538000 | 0.538 | 992410 | 992416 | -6 | 6000 | 0.006
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 1442 | 2675 | -1233 | 616500 | 0.6165 | 996481 | 996488 | -7 | 3500 | 0.0035
Assessment
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1040 | 1880 | -840 | 840000 | 0.84 | 995562 | 995588 | -26 | 26000 | 0.026
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21768 | 22883 | -1115 | 1115000 | 1.115 | 1328 | 1332 | -4 | 4000 | 0.004
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10509 | 10556 | -47 | 47000 | 0.047 | 999727 | 999739 | -12 | 12000 | 0.012
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13828 | 13864 | -36 | -36000 | -0.036 | 7863 | 7863 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987951 | 989835 | -1884 | 1884000 | 1.884 | 993432 | 993433 | -1 | 1000 | 0.001
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995088 | 996916 | -1828 | 1828000 | 1.828 | 994368 | 994378 | -10 | 10000 | 0.01
OKHLA
24 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997351 | 998373 | -1022 | 1022000 | 1.022 | 997180 | 997196 | -16 | 16000 | 0.016
25 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991517 | 991325 | 192 | -192000 | -0.192 | 942471 | 942494 | -23 | 23000 | 0.023
26 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997851 | 997966 | -115 | 115000 | 0.115 | 37025 | 37025 | 0 | 0 | 0
27 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999782 | 999754 | 28 | -28000 | -0.028 | 998110 | 998110 | 0 | 0 | 0
28 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996866 | 997036 | -170 | 170000 | 0.17 | 864740 | 864743 | -3 | 3000 | 0.003
BRPL(+) continue | [14 empty] | November-2015
VASANT KUNJ
29 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996358 | 997089 | -731 | 731000 | 0.731 | 972319 | 972319 | 0 | 0 | 0
30 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 998351 | 999970 | -1619 | 809500 | 0.8095 | 999222 | 999222 | 0 | 0 | 0 | MF Change
Assessment
31 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3620 | 2491 | 1129 | -2258000 | -2.258 | 969682 | 969682 | 0 | 0 | 0
MEHRAULI
32 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992592 | 992924 | -332 | 332000 | 0.332 | 906180 | 906182 | -2 | 2000 | 0.002
33 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994499 | 994499 | 0 | 0 | 0 | 927516 | 927516 | 0 | 0 | 0
34 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996389 | 996712 | -323 | 323000 | 0.323 | 991282 | 991284 | -2 | 2000 | 0.002
35 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978681 | 979574 | -893 | 893000 | 0.893 | 980713 | 980726 | -13 | 13000 | 0.013
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 971432 | 975403 | -3971 | 2647330.686 | 2.6473 | 977072 | 977072 | 0 | 0 | 0
37 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992021 | 991417 | 604 | -1510000 | -1.51 | 481 | 481 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3894 | 3783 | 111 | -222000 | -0.222 | 2014 | 2013 | 1 | -2000 | -0.002
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 706 | 580 | 126 | -252000 | -0.252 | 1061 | 1060 | 1 | -2000 | -0.002
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927461 | 929339 | -1878 | 1878000 | 1.878 | 988357 | 988358 | -1 | 1000 | 0.001
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936108 | 937835 | -1727 | 1727000 | 1.727 | 991924 | 991924 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 31488 | 31170 | 318 | 254400 | 0.2544 | 1674 | 1674 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 909524 | 913016 | -3492 | -2793600 | -2.7936 | 999542 | 999542 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987727 | 988292 | -565 | -565000 | -0.565 | 35243 | 35263 | -20 | -20000 | -0.02
47 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 508 | -501 | -1002000 | -1.002 | 999722 | 999725 | -3 | -6000 | -0.006
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33149 | 30648 | 2501 | -2501000 | -2.501 | 973252 | 973252 | 0 | 0 | 0
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16246 | 16331 | -85 | 85000 | 0.085 | 987948 | 987949 | -1 | 1000 | 0.001
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 22362 | 21361 | 1001 | 100100 | 0.1001 | 21536 | 21522 | 14 | 1400 | 0.0014
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 8986 | 9261 | -275 | -27500 | -0.0275 | 61338 | 61338 | 0 | 0 | 0
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 915448 | 916966 | -1518 | -1518000 | -1.518 | 991937 | 991937 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 2477 | 1841 | 636 | 47700 | 0.0477 | 6949 | 6946 | 3 | 225 | 0.000225
55 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 669 | 323 | 346 | 34600 | 0.0346 | 1486 | 1484 | 2 | 200 | 0.0002
PEERGARHI
56 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 245 | 118 | 127 | 127000 | 0.127 | 999983 | 999983 | 0 | 0 | 0
57 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 283 | 122 | 161 | 161000 | 0.161 | 144 | 144 | 0 | 0 | 0
58 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999329 | 999813 | -484 | -484000 | -0.484 | 60 | 60 | 0 | 0 | 0
59 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 781 | 175 | 606 | 606000 | 0.606 | 522 | 522 | 0 | 0 | 0
60 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
61 | PASCHIM PURI - 2(L-8) | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 44 | 18 | 26 | 26000 | 0.026 | 24 | 23 | 1 | 1000 | 0.001
62 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 614 | 230 | 384 | 384000 | 0.384 | 32 | 32 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.3696 |  |  |  |  | 0.12178
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | November-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 104351 | 95996 | 8355 | -835500 | -0.8355 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 96449 | 97431 | -982 | 98200 | 0.0982 | 1073 | 1073 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151733 | 150939 | 794 | -79400 | -0.0794 | 17434 | 17434 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996334 | 996171 | 163 | -16300 | -0.0163 | 135 | 135 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5897 | 5276 | 621 | -1242000 | -1.242 | 73943 | 73943 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14314 | 14511 | -197 | 197000 | 0.197 | 284 | 284 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906205 | 905855 | 350 | -175000 | -0.175 | 56962 | 56962 | 0 | 0 | 0
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 997323 | 999377 | -2054 | 821600 | 0.8216 | 2926 | 2926 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 77481 | 76255 | 1226 | -122600 | -0.1226 | 68418 | 68417 | 1 | -100 | -0.0001
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 82456 | 81354 | 1102 | -110200 | -0.1102 | 66994 | 66984 | 10 | -1000 | -0.001
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 13497 | 10636 | 2861 | -572200 | -0.5722 | 10623 | 10612 | 11 | -2200 | -0.0022
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) |  | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987102 | 987102 | 0 | 0 | 0 | 993179 | 993179 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 358322 | 349278 | 9044 | -904400 | -0.9044 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4137 | 4109 | 28 | -2800 | -0.0028 | 23383 | 23275 | 108 | -10800 | -0.0108
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 174304 | 172822 | 1482 | -185250 | -0.18525 | 261306 | 261275 | 31 | -3875 | -0.003875
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9488 | 9510 | -22 | 2200 | 0.0022 | 32292 | 32302 | -10 | 1000 | 0.001
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11807 | 12057 | -250 | 25000 | 0.025 | 64484 | 64382 | 102 | -10200 | -0.0102 | Data till 02/11
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 19432 | 19412 | 20 | -2000 | -0.002 | 66371 | 66371 | 0 | 0 | 0 | Assessment
[10 empty] | -0.025 |  |  |  |  | -0.0376
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 8805 | 8121 | 684 | -68400 | -0.0684 | 6259 | 6246 | 13 | -1300 | -0.0013
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17116 | 17102 | 14 | -1400 | -0.0014 | 21191 | 21190 | 1 | -100 | -0.0001
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 994032 | 994757 | -725 | 32219 | 0.032219 | 772 | 776 | -4 | 177.76 | 0.00017776
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995602 | 995596 | 6 | 2400 | 0.0024 | 52 | 51 | 1 | 400 | 0.0004
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999931 | 999933 | -2 | 800 | 0.0008 | 3 | 2 | 1 | -400 | -0.0004
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.163 |  |  |  |  | -0.065997
November-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 1.3696 |  |  |  |  | 0.12178
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.163 |  |  |  |  | -0.065997
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 2.2951 |  |  |  |  | -0.2181
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.17365 |  |  |  |  | -0.02195
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 0.32805 |  |  |  |  | -0.18426
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.32805 | (REACTIVE MUs) |  |  |  | -0.18426 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.61131 | (REACTIVE MUs) |  |  |  | -3.3483 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.93936 | (REACTIVE MUs) |  |  |  | -3.5325 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | November-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 52509 | 51882 | 627 | 125400 | 0.1254 | 81560 | 81474 | 86 | 17200 | 0.0172
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73990 | 73630 | 360 | 36000 | 0.036 | 139965 | 139960 | 5 | 500 | 0.0005
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 977968 | 978251 | -283 | -56600 | -0.0566 | 997230 | 997209 | 21 | 4200 | 0.0042
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 81299 | 80875 | 424 | 84800 | 0.0848 | 101980 | 101655 | 325 | 65000 | 0.065
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 12421 | 11697 | 724 | 579200 | 0.5792 | 7145 | 7143 | 2 | 1600 | 0.0016
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14079 | 14024 | 55 | 110000 | 0.11 | 2927 | 2927 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980049 | 980524 | -475 | -380000 | -0.38 | 989710 | 989712 | -2 | -1600 | -0.0016
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 976940 | 978669 | -1729 | -1383200 | -1.3832 | 983809 | 983819 | -10 | -8000 | -0.008
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 986875 | 987948 | -1073 | -858400 | -0.8584 | 992651 | 992655 | -4 | -3200 | -0.0032
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 987919 | 988696 | -777 | 0 | 0 | 994526 | 994528 | -2 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 3328 | 2743 | 585 | 58500 | 0.0585 | 397874 | 397872 | 2 | 200 | 0.0002
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 991018 | 992519 | -1501 | -112575 | -0.11257 | 3300 | 3272 | 28 | 2100 | 0.0021
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 24495 | 24396 | 99 | 9900 | 0.0099 | 377414 | 377402 | 12 | 1200 | 0.0012
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999258 | 999605 | -347 | -130125 | -0.13012 | 999995 | 999999 | -4 | -1500 | -0.0015 | w.e.f 09/10/2015
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 993344 | 994314 | -970 | -97000 | -0.097 | 315400 | 315413 | -13 | -1300 | -0.0013
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 1001298 | 998527 | 2771 | 277100 | 0.2771 | 194511 | 194495 | 16 | 1600 | 0.0016
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 9990 | 11431 | -1441 | -144100 | -0.1441 | 258498 | 258503 | -5 | -500 | -0.0005
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 70411 | 71560 | -1149 | -114900 | -0.1149 | 714157 | 714163 | -6 | -600 | -0.0006
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 100098 | 99508 | 590 | 649000 | 0.649
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1064 | 1252 | -188 | -188000 | -0.188 | 42512 | 42517 | -5 | -5000 | -0.005
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 149195 | 150106 | -911 | -1002100 | -1.0021
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3527 | 3600 | -73 | -73000 | -0.073 | 56275 | 56269 | 6 | 6000 | 0.006
[10 empty] | -0.261 |  |  |  |  | -0.3521
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 5897 | 5276 | 621 | 1242000 | 1.242 | 73943 | 73943 | 0 | 0 | 0
Assessment
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14314 | 14511 | -197 | -197000 | -0.197 | 284 | 284 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906205 | 905855 | 350 | 175000 | 0.175 | 56962 | 56962 | 0 | 0 | 0
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 997323 | 999377 | -2054 | -821600 | -0.8216 | 2926 | 2926 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987102 | 987102 | 0 | 0 | 0 | 993179 | 993179 | 0 | 0 | 0
November-2015
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960608 | 962662 | -2054 | 2054000 | 2.054 | 973046 | 973046 | 0 | 0 | 0
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996116 | 998128 | -2012 | 2012000 | 2.012 | 997074 | 997074 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969872 | 970874 | -1002 | 1002000 | 1.002 | 981319 | 981319 | 0 | 0 | 0
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985038 | 986083 | -1045 | 1045000 | 1.045 | 993117 | 993117 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 358322 | 349278 | 9044 | 904400 | 0.9044 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4137 | 4109 | 28 | 2800 | 0.0028 | 23383 | 23275 | 108 | 10800 | 0.0108
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 77481 | 76255 | 1226 | 122600 | 0.1226 | 68418 | 68417 | 1 | 100 | 0.0001
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 82456 | 81354 | 1102 | 110200 | 0.1102 | 66994 | 66984 | 10 | 1000 | 0.001
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 13497 | 10636 | 2861 | 286100 | 0.2861 | 10623 | 10612 | 11 | 1100 | 0.0011
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 104351 | 95996 | 8355 | 835500 | 0.8355 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 2477 | 1841 | 636 | -47700 | -0.0477 | 6949 | 6946 | 3 | -225 | -0.000225
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 669 | 323 | 346 | -34600 | -0.0346 | 1486 | 1484 | 2 | -200 | -0.0002
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.4337 |  |  |  |  | -0.26262
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.4337 |  |  |  |  | -0.26262
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.077051 |  |  |  |  | -0.42203
| TOTAL ENERGY TO NDMC | [8 empty] | 6.5108 |  |  |  |  | -0.68465

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | November-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2430 | 2416 | 14 | 14000 | 0.014 | 30996 | 30839 | 157 | 157000 | 0.157
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1482 | 1482 | 0 | 0 | 0 | 32344 | 32332 | 12 | 12000 | 0.012
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3919 | 3920 | -1 | -1000 | -0.001 | 40094 | 39908 | 186 | 186000 | 0.186
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 3 | 44 | 5866.652 | 0.0058667 | 11135 | 10914 | 221 | 29466.593 | 0.029467
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5337 | 5327 | 10 | 10000 | 0.01 | 11030 | 11023 | 7 | 7000 | 0.007
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12631 | 12435 | 196 | 98000 | 0.098 | 60605 | 60601 | 4 | 2000 | 0.002
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996334 | 996171 | 163 | 16300 | 0.0163 | 135 | 135 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.14317 |  |  |  |  | 0.39347
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 54719 | 54366 | 353 | 35300 | 0.0353 | 80529 | 80527 | 2 | 200 | 0.0002
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13217 | 13217 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 53689 | 52607 | 1082 | 108200 | 0.1082 | 82586 | 82418 | 168 | 16800 | 0.0168
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 415 | 13 | 402 | 30150 | 0.03015 | 136 | 70 | 66 | 4950 | 0.00495
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9406 | 9406 | 0 | 0 | 0 | 3167 | 3147 | 20 | 2000 | 0.002
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.17365 |  |  |  |  | 0.02195
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.17365 |  |  |  |  | 0.02195
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.14317 |  |  |  |  | 0.39347
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.31682 |  |  |  |  | 0.41542
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.31682 | (REACTIVE MUs) |  |  |  | 0.41542 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.010991 | (REACTIVE MUs) |  |  |  | -0.060198 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.32781 | (REACTIVE MUs) |  |  |  | 0.35522 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | November-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 3099 | 11466 | -8367 | -836700 | -0.8367 | 1 | 2403 | -2402 | -240200 | -0.2402
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3099 | 355 | 2744 | 2744000 | 2.744 | 1 | 0 | 1 | 1000 | 0.001
3 | O/G VISHAL-1 | 4864821 | ELSTER | Kvarh(Lead/Lag) | 100 | 999584 | 999982 | -398 | -39800 | -0.0398 | 999854 | 999643 | 211 | 21100 | 0.0211 | Check Meter Data
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40433 | 40803 | -370 | -346875 | -0.34687 | 19105 | 19105 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 980967 | 982006 | -1039 | 519500 | 0.5195 | 909091 | 909091 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 987146 | 987656 | -510 | 255000 | 0.255 | 976523 | 976523 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 20 | 20 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 2.2951 |  |  |  |  | -0.2181
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 996799 | 996423 | 376 | 75200 | 0.0752 | 999933 | 999897 | 36 | 7200 | 0.0072
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 937969 | 938686 | -717 | -268875 | -0.26887 | 997625 | 997625 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.19368 |  |  |  |  | 0.0072
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 272893 | 275427 | -2534 | -506800 | -0.5068 | 266025 | 266060 | -35 | -7000 | -0.007
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 129480 | 128153 | 1327 | 265400 | 0.2654 | 43202 | 43114 | 88 | 17600 | 0.0176
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 216827 | 214233 | 2594 | 259400 | 0.2594 | 75715 | 75539 | 176 | 17600 | 0.0176
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 699 | 736 | -37 | -37000 | -0.037 | 999991 | 1000004 | -13 | -13000 | -0.013
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997809 | 0 | 0 | 0 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999584 | 999982 | -398 | -59700 | -0.0597 | 999854 | 999643 | 211 | 31650 | 0.03165
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999743 | 999820 | -77 | 192500 | 0.1925 | 3075 | 3075 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 20 | 20 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.1138 |  |  |  |  | 0.04685
| E) NET EXPORT TO BSES RPL | [8 empty] | 2.2951 |  |  |  |  | -0.2181
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.19368 |  |  |  |  | 0.0072
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.1138 |  |  |  |  | 0.04685

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | November-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 21184 | 20115 | 1069 | 2138000 | 2.138 | 1589 | 1576 | 13 | 26000 | 0.026
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 1000115 | 999970 | 145 | 725000 | 0.725 | 999919 | 999913 | 6 | 30000 | 0.03
[7 empty] | NET REACTIVE ENERGY |  |  | 2.863 |  | NET REACTIVE ENERGY |  |  | 0.056
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.863 |  |  |  |  | 0.056
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.1313 |  |  |  |  | -7.7593
[7 empty] | NDMC = |  |  | -0.261 |  |  |  |  | -0.3521
MES =
[7 empty] | 2)TOTAL |  |  | -1.3923 |  |  |  |  | -8.1114
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.4707 |  |  |  |  | -8.0554
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.3341 | % |  |  | 0.43142 |  |  |  |  | -2.363
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.5657 | % |  |  | 0.61131 |  |  |  |  | -3.3483
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.1138 | % |  |  | 0.33993 |  |  |  |  | -1.8619
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.2391 | % |  |  | 0.077051 |  |  |  |  | -0.42203
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7473 | % |  |  | 0.010991 |  |  |  |  | -0.060198
Note :Sharing taken from wk-36 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st November-2015 TO 1st December-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -6.0858 |  | -2.3185
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 0.93936 |  | -3.5325
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 7.8487 |  | -7.5622
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.5108 |  | -0.68465
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.32781 | + | 0.35522
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2015 | INTIAL READING 01/11/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953249 | 953038 | 211 | 316500 | 0.3165 | 979232 | 979232 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992451 | 991673 | 778 | 1167000 | 1.167 | 992897 | 992896 | 1 | 1500 | 0.0015
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 926279 | 936433 | -10154 | -7615500 | -7.6155 | 999302 | 999302 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -6.132 |  |  | NET REACTIVE ENERGY |  | 0.0015
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997898 | 997886 | 12 | 60000 | 0.06 | 30703 | 30778 | -75 | -375000 | -0.375
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999962 | 999981 | -19 | -19000 | -0.019 | 977048 | 978072 | -1024 | -1024000 | -1.024
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977388 | 976323 | 1065 | 1065000 | 1.065 | 991138 | 991135 | 3 | 3000 | 0.003
[8 empty] | NET REACTIVE ENERGY |  | 1.106 |  |  | NET REACTIVE ENERGY |  | -1.396