## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965078 | 965078 | 0 | 0 | 0 | 997865 | 997893 | -28 | 28000 | 0.028
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83279 | 83259 | 20 | -40000 | -0.04 | 3689 | 2738 | 951 | -1902000 | -1.902
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1018 | 1018 | 0 | 0 | 0 | 999439 | 999753 | -314 | 314000 | 0.314
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998197 | 998197 | 0 | 0 | 0 | 993058 | 993142 | -84 | 84000 | 0.084
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894375 | 894375 | 0 | 0 | 0 | 17941 | 17750 | 191 | -191000 | -0.191
[5 empty] | -1000 | [5 empty] | 10149 | 8329 | 1820 | -1820000 | -1.82
ROHINI
6 | Transformer | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35842 | 35738 | 104 | -104000 | -0.104 | 16103 | 16106 | -3 | 3000 | 0.003
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10096 | 10009 | 87 | -87000 | -0.087 | 998073 | 998076 | -3 | 3000 | 0.003
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5536 | 5541 | -5 | 5000 | 0.005 | 997886 | 998043 | -157 | 157000 | 0.157
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 965080 | 965423 | -343 | 171500 | 0.1715 | 840811 | 840839 | -28 | 14000 | 0.014
[5 empty] | -500 | [5 empty] | 843385 | 843683 | -298 | 149000 | 0.149
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1718 | 1786 | -68 | 68000 | 0.068 | 998336 | 998301 | 35 | -35000 | -0.035
11 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2321 | 2331 | -10 | 10000 | 0.01 | 11 | 8 | 3 | -3000 | -0.003
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34575 | 34456 | 119 | -119000 | -0.119 | 996829 | 996895 | -66 | 66000 | 0.066
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 12252 | 11970 | 282 | -282 | -0.282 | 99999952 | 99999952 | 0 | 0 | 0
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 803344 | 806192 | -2848 | -2848000 | -2.848 | 999752 | 999752 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 912773 | 912773 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8787 | 8533 | 254 | -254000 | -0.254 | 999989 | 999999 | -10 | 10000 | 0.01
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 51970 | 51718 | 252 | -126000 | -0.126 | 171 | 67 | 104 | -52000 | -0.052
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47581 | 47426 | 155 | -155000 | -0.155 | 18 | 86 | -68 | 68000 | 0.068
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999930 | 0 | 0 | 0 | 991102 | 991315 | -213 | -213000 | -0.213
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 21290 | 21437 | -147 | -147000 | -0.147
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1357 | 1357 | 0 | 0 | 0 | 12850 | 12237 | 613 | 306500 | 0.3065
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 2565 | 2565 | 0 | 0 | 0 | 110039 | 106544 | 3495 | 174750 | 0.17475
[5 empty] | 50 | [5 empty] | 96201 | 89864 | 6337 | 316850 | 0.31685
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995075 | 995075 | 0 | 0 | 0 | 982659 | 983497 | -838 | -838000 | -0.838 | Data till 22/06
|  | 4864876 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995282 | 995282 | 0 | 0 | 0 | 983365 | 983760 | -395 | -395000 | -0.395 | Check meter data w.e.f 23/6
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999590 | 999590 | 0 | 0 | 0 | 999187 | 1000106 | -919 | -919000 | -0.919
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 54855 | 54851 | 4 | 400 | 0.0004 | 191645 | 189897 | 1748 | 174800 | 0.1748
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998351 | 998375 | -24 | -24000 | -0.024 | 999918 | 999992 | -74 | -74000 | -0.074
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 965192 | 965796 | -604 | -302000 | -0.302 | 999990 | 999999 | -9 | -4500 | -0.0045
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 997090 | 997053 | 37 | 9866.79 | 0.0098668 | 999883 | 999852 | 31 | 8266.77 | 0.0082668
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1796 | 1793 | 3 | 1500 | 0.0015 | 1000198 | 999978 | 220 | 110000 | 0.11
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37832 | 37785 | 47 | -47000 | -0.047 | 996630 | 996463 | 167 | -167000 | -0.167
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 192366 | 192261 | 105 | -52500 | -0.0525 | 15330 | 14809 | 521 | -260500 | -0.2605
[5 empty] | -500 | 191291 | 191211 | 80 | -40000 | -0.04
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3481 | 3444 | 37 | -74000 | -0.074 | 999706 | 999931 | -225 | 450000 | 0.45
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36773 | 35914 | 859 | -859000 | -0.859 | 999952 | 999959 | -7 | 7000 | 0.007
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 86278 | 84355 | 1923 | -3846000 | -3.846 | 280 | 280 | 0 | 0 | 0
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 89711 | 88217 | 1494 | -1494000 | -1.494 | 998486 | 998486 | 0 | 0 | 0
36 | 66KV TX.3 | 4864919 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4178 | 1570 | 2608 | -2608000 | -2.608 | 0 | 0 | 0 | 0 | 0
ROHINI-II
37 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8759 | 8563 | 196 | -392000 | -0.392 | 50 | 13 | 37 | -74000 | -0.074
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53972 | 53568 | 404 | -404000 | -0.404 | 1285 | 1206 | 79 | -79000 | -0.079
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 402 | 555 | -153 | 153000 | 0.153 | 998296 | 998503 | -207 | 207000 | 0.207
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43135 | 42764 | 371 | -371000 | -0.371 | 1639 | 1638 | 1 | -1000 | -0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999962 | 999969 | -7 | -7000 | -0.007 | 27429 | 27566 | -137 | -137000 | -0.137
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JUNE-2020
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970 | 970 | 0 | 0 | 0 | 61230 | 61240 | -10 | -10000 | -0.01
VISHAL
43 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999462 | 999465 | -3 | -300 | -0.0003 | 999405 | 999227 | 178 | 17800 | 0.0178
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3055 | 3022 | 33 | 3300 | 0.0033 | 29805 | 29550 | 255 | 25500 | 0.0255
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 771 | 771 | 0 | 0 | 0 | 522 | 501 | 21 | 27993 | 0.027993
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1871 | 1871 | 0 | 0 | 0 | 1867 | 1546 | 321 | 32100 | 0.0321
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 1841 | 1710 | 131 | 65500 | 0.0655
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2259 | 2259 | 0 | 0 | 0 | 377 | 336 | 41 | 27333.47 | 0.027333
55 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 571 | 571 | 0 | 0 | 0 | 305 | 212 | 93 | 46500 | 0.0465
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996383 | 996383 | 0 | 0 | 0 | 3346 | 3574 | -228 | -22800 | -0.0228
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7616 | 7541 | 75 | 7500 | 0.0075 | 12459 | 12256 | 203 | 20300 | 0.0203
58 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9645 | 9398 | 247 | 24700 | 0.0247 | 2556 | 2439 | 117 | 11700 | 0.0117
59 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28917 | 28720 | 197 | 19700 | 0.0197 | 8099 | 8005 | 94 | 9400 | 0.0094
KASHMIRI GATE
60 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 53207 | 53067 | 140 | 14000 | 0.014 | 1728 | 1525 | 203 | 20300 | 0.0203
61 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999707 | 999703 | 4 | 533.32 | 0.00053332 | 343 | 263 | 80 | 10666.4 | 0.010666
62 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999439 | 999439 | 0 | 0 | 0
MUNDKA
65 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 972453 | 972782 | -329 | -263200 | -0.2632 | 999748 | 999760 | -12 | -9600 | -0.0096
66 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996590 | 996606 | -16 | -32000 | -0.032 | 1055 | 1055 | 0 | 0 | 0
PEERAGARHI
67 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 980621 | 980622 | -1 | -200 | -0.0002 | 637 | 377 | 260 | 52000 | 0.052
68 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998255 | 998287 | -32 | -8000 | -0.008 | 383 | 340 | 43 | 10750 | 0.01075
REWARI LINE
69 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992803 | 993029 | -226 | -226000 | -0.226 | 2211 | 2218 | -7 | -7000 | -0.007
70 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1852 | 1819 | 33 | 24750 | 0.02475 | 3307 | 3300 | 7 | 5250 | 0.00525
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -14.5514 |  |  |  |  | -4.3271
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15325 | 15325 | 0 | 0 | 0 | 122449 | 120210 | 2239 | -223900 | -0.2239
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 328 | 267 | 61 | -48800 | -0.0488 | 627 | 547 | 80 | -64000 | -0.064
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 821 | 821 | 0 | 0 | 0 | 98 | 143 | -45 | 45000 | 0.045
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6546 | 6546 | 0 | 0 | 0 | 1637 | 370 | 1267 | -168929.11 | -0.16893
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997459 | 997424 | 35 | -6562.5 | -0.0065625 | 999947 | 999954 | -7 | 1312.5 | 0.0013125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 921567 | 921917 | -350 | 280000 | 0.28 | 997983 | 998082 | -99 | 79200 | 0.0792
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989683 | 989713 | -30 | 18750 | 0.01875 | 999993 | 999990 | 3 | -1875 | -0.001875
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990782 | 990858 | -76 | 47500 | 0.0475 | 999843 | 999844 | -1 | 625 | 0.000625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 997021 | 997143 | -122 | 24400 | 0.0244 | 14496 | 14464 | 32 | -6400 | -0.0064
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 993733 | 993932 | -199 | 37312.5 | 0.037312 | 5448 | 5456 | -8 | 1500 | 0.0015
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 992516 | 992703 | -187 | 35062.5 | 0.035063 | 4053 | 4034 | 19 | -3562.5 | -0.0035625
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3330 | 3131 | 199 | -49750 | -0.04975 | 7981 | 7914 | 67 | -16750 | -0.01675
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 996144 | 995899 | 245 | -24500 | -0.0245 | 29054 | 28669 | 385 | -38500 | -0.0385
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.31341 |  |  |  |  | -0.39628
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -14.5514 |  |  |  |  | -4.3271
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.31341 |  |  |  |  | -0.39628
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.025913 |  |  |  |  | -0.22425
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -14.2121 |  |  |  |  | -4.9477
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.2121 | (REACTIVE MUs) |  |  |  | -4.9477 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.2599 | (REACTIVE MUs) |  |  |  | -0.059475 | (REACTIVE MUs)
[9 empty] | TOTAL | -16.472 | (REACTIVE MUs) |  |  |  | -5.0071 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 26420 | 24723 | 1697 | 169700 | 0.1697 | 994511 | 994116 | 395 | 39500 | 0.0395
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11254 | 10959 | 295 | 88500 | 0.0885 | 3251 | 3447 | -196 | -58800 | -0.0588
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 86779 | 86243 | 536 | 40200 | 0.0402 | 402066 | 399925 | 2141 | 160575 | 0.16057
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994855 | 994938 | -83 | -24900 | -0.0249 | 5943 | 5953 | -10 | -3000 | -0.003
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1549 | 1545 | 4 | 5333.2 | 0.0053332 | 3598 | 3584 | 14 | 18666.2 | 0.018666
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 12911 | 10447 | 2464 | 246400 | 0.2464 | 3844 | 3231 | 613 | 61300 | 0.0613
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 108562 | 103981 | 4581 | 343575 | 0.34358 | 892218 | 892000 | 218 | 16350 | 0.01635
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980029 | 980253 | -224 | -224000 | -0.224 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 989825 | 989916 | -91 | -45500 | -0.0455 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996594 | 996594 | 0 | 0 | 0 | 1621 | 1621 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987840 | 988062 | -222 | -222000 | -0.222 | 1354 | 1354 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990200 | 990340 | -140 | -140000 | -0.14 | 6258 | 6258 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997242 | 997511 | -269 | -269000 | -0.269 | 998667 | 998667 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995487 | 995595 | -108 | -108000 | -0.108 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995769 | 995743 | 26 | 20800 | 0.0208 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4551 | 1951 | 2600 | 346658 | 0.34666 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 829 | 864 | -35 | -35000 | -0.035 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634 | 815 | -181 | -181000 | -0.181 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971612 | 971612 | 0 | 0 | 0 | 949341 | 949883 | -542 | -677500 | -0.6775
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 985081 | 985081 | 0 | 0 | 0 | 936158 | 936318 | -160 | -176000 | -0.176
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999993 | 999993 | 0 | 0 | 0 | 999743 | 999875 | -132 | -132000 | -0.132
| KASHMIRI GATE | [8 empty] | 0 |  |  |  |  | -0.9855
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988350 | 988392 | -42 | 42000 | 0.042 | 998307 | 998662 | -355 | 355000 | 0.355
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986102 | 986102 | 0 | 0 | 0 | 998829 | 998998 | -169 | 169000 | 0.169
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 999814 | 0 | 0 | 0 | 13016 | 13454 | -438 | -438000 | -0.438
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 156163 | 151439 | 4724 | -4724000 | -4.724 | 8706 | 8706 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40571 | 40101 | 470 | -470000 | -0.47 | 198 | 242 | -44 | 44000 | 0.044
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 814 | 1198 | -384 | 384000 | 0.384 | 999304 | 999310 | -6 | 6000 | 0.006
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 178 | 153 | 25 | -25000 | -0.025 | 998780 | 998893 | -113 | 113000 | 0.113
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26054 | 25988 | 66 | -66000 | -0.066 | 982935 | 982958 | -23 | 23000 | 0.023
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43148 | 42858 | 290 | -290000 | -0.29 | 311 | 298 | 13 | -13000 | -0.013
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 30613 | 30225 | 388 | -776000 | -0.776 | 24 | 23 | 1 | -2000 | -0.002
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 821 | 821 | 0 | 0 | 0 | 98 | 143 | -45 | -45000 | -0.045
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6546 | 6546 | 0 | 0 | 0 | 1637 | 370 | 1267 | 168929.11 | 0.16893
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993880 | 993880 | 0 | 0 | 0 | 9387 | 9893 | -506 | -67298 | -0.067298
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953808 | 954635 | -827 | 827000 | 0.827 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979679 | 980613 | -934 | 934000 | 0.934 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -4.1522 |  |  |  |  | -0.43728
| (A) NET ENERGY TO CENTRAL | [8 empty] | -4.1522 |  |  |  |  | -0.43728
JUNE-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990510 | 990711 | -201 | 201000 | 0.201 | 997303 | 997454 | -151 | 151000 | 0.151
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989369 | 989465 | -96 | 96000 | 0.096 | 962650 | 963036 | -386 | 386000 | 0.386
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993759 | 993953 | -194 | 194000 | 0.194 | 997954 | 998178 | -224 | 224000 | 0.224
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993421 | 993975 | -554 | 554000 | 0.554 | 998633 | 999127 | -494 | 494000 | 0.494
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27613 | 27219 | 394 | -394000 | -0.394 | 997456 | 997521 | -65 | 65000 | 0.065
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12879 | 12674 | 205 | -205000 | -0.205 | 996489 | 996536 | -47 | 47000 | 0.047
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7062 | 7280 | -218 | 218000 | 0.218 | 12471 | 12500 | -29 | 29000 | 0.029
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999415 | 999575 | -160 | 160000 | 0.16 | 999971 | 999995 | -24 | 24000 | 0.024
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 942120 | 942077 | 43 | -43000 | -0.043 | 979010 | 979092 | -82 | 82000 | 0.082
[5 empty] | -1000 | 957748 | 957856 | -108 | 108000 | 0.108
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972024 | 971987 | 37 | -37000 | -0.037 | 975566 | 975996 | -430 | 430000 | 0.43
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962530 | 962451 | 79 | -79000 | -0.079 | 825383 | 825371 | 12 | -12000 | -0.012
GAZIPUR
13 | TX.-1 | 5295150 | ELSTER | Kvarh(Lead/Lag) | -2000 | 59932 | 59838 | 94 | -188000 | -0.188 | 984149 | 984149 | 0 | 0 | 0
|  | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 73 | 0 | 73 | -146000 | -0.146 | 2 | 0 | 2 | -4000 | -0.004 | w.e.f 4/6/20
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 440 | 269 | 171 | -171000 | -0.171 | 39 | 7 | 32 | -32000 | -0.032
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21907 | 21863 | 44 | -44000 | -0.044 | 1000138 | 999989 | 149 | -149000 | -0.149
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.224 |  |  |  |  | 1.735
| (B) NET ENERGY TO EAST | [8 empty] | 0.224 |  |  |  |  | 1.735
JUNE-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 997090 | 997053 | 37 | -9866.79 | -0.0098668 | 999883 | 999852 | 31 | -8266.77 | -0.0082668
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1796 | 1793 | 3 | -1500 | -0.0015 | 1000198 | 999978 | 220 | -110000 | -0.11
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2915 | 2607 | 308 | -82131.28 | -0.082131 | 2200 | 2196 | 4 | -1066.64 | -0.0010666
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 105935 | 103992 | 1943 | -194300 | -0.1943 | 152406 | 152389 | 17 | -1700 | -0.0017
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 989276 | 989256 | 20 | -4000 | -0.004 | 999322 | 999322 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000099 | 999974 | 125 | -125000 | -0.125 | 17 | 16 | 1 | -1000 | -0.001
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 1613 | 1380 | 233 | -186400 | -0.1864 | 2608 | 2607 | 1 | -800 | -0.0008
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3248 | 3338 | -90 | 72000 | 0.072 | 1312 | 1312 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 994461 | 995295 | -834 | 667200 | 0.6672 | 998909 | 998909 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 960760 | 961684 | -924 | 739200 | 0.7392 | 980523 | 980527 | -4 | 3200 | 0.0032
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 964472 | 965642 | -1170 | 936000 | 0.936 | 989885 | 989887 | -2 | 1600 | 0.0016
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997542 | 997826 | -284 | 568000 | 0.568 | 999571 | 999571 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996054 | 996310 | -256 | 512000 | 0.512 | 999516 | 999516 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999962 | 999969 | -7 | 7000 | 0.007 | 27429 | 27566 | -137 | 137000 | 0.137
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970 | 970 | 0 | 0 | 0 | 61230 | 61240 | -10 | 10000 | 0.01
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 1841 | 1710 | 131 | -65500 | -0.0655
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2259 | 2259 | 0 | 0 | 0 | 377 | 336 | 41 | -27333.47 | -0.027333
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 571 | 571 | 0 | 0 | 0 | 305 | 212 | 93 | -46500 | -0.0465
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 53207 | 53067 | 140 | -14000 | -0.014 | 1728 | 1525 | 203 | -20300 | -0.0203
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999707 | 999703 | 4 | -533.32 | -0.00053332 | 343 | 263 | 80 | -10666.4 | -0.010666
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996383 | 996383 | 0 | 0 | 0 | 3346 | 3574 | -228 | 22800 | 0.0228
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7616 | 7541 | 75 | -7500 | -0.0075 | 12459 | 12256 | 203 | -20300 | -0.0203
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9645 | 9398 | 247 | -24700 | -0.0247 | 2556 | 2439 | 117 | -11700 | -0.0117
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28917 | 28720 | 197 | -19700 | -0.0197 | 8099 | 8005 | 94 | -9400 | -0.0094
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 15480 | 15230 | 250 | 250 | 0.00025 | 31140 | 19670 | 11470 | 11470 | 0.01147
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 5570 | 5510 | 60 | 60 | 6e-05 | 81020 | 64710 | 16310 | 16310 | 0.01631
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 30900 | 30100 | 800 | 800 | 0.0008 | 322500 | 245600 | 76900 | 76900 | 0.0769
[10 empty] | 2.8329 |  |  |  |  | -0.055253
JUNE-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -4.1522 |  |  |  |  | -0.43728
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.8329 |  |  |  |  | -0.055253
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0248 |  |  |  |  | -0.013912
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.3442 |  |  |  |  | -0.50644
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.224 |  |  |  |  | 1.735
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.1202 |  |  |  |  | 1.2286
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.1202 | (REACTIVE MUs) |  |  |  | 1.2286 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.7583 | (REACTIVE MUs) |  |  |  | -0.046274 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.8785 | (REACTIVE MUs) |  |  |  | 1.1823 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998915 | 998927 | -12 | -60000 | -0.06 | 998779 | 998787 | -8 | -40000 | -0.04
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980281 | 980268 | 13 | 17333.29 | 0.017333 | 670561 | 670532 | 29 | 38666.57 | 0.038667
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 990241 | 990235 | 6 | 1200 | 0.0012 | 1383 | 1336 | 47 | 9400 | 0.0094
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999886 | 999829 | 57 | 75999.81 | 0.076 | 999768 | 999750 | 18 | 23999.94 | 0.024
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998926 | 998875 | 51 | 76500 | 0.0765 | 999980 | 999977 | 3 | 4500 | 0.0045
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 15856 | 15930 | -74 | -7400 | -0.0074 | 21962 | 22009 | -47 | -4700 | -0.0047
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 629457 | 629445 | 12 | 900 | 0.0009 | 979725 | 979543 | 182 | 13650 | 0.01365
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 978352 | 979029 | -677 | -50775 | -0.050775 | 17383 | 17415 | -32 | -2400 | -0.0024
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 998984 | 998989 | -5 | -4500 | -0.0045 | 999876 | 999849 | 27 | 24300 | 0.0243
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 995781 | 995774 | 7 | 700 | 0.0007 | 265178 | 265195 | -17 | -1700 | -0.0017
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13742 | 13790 | -48 | 48000 | 0.048 | 996511 | 996566 | -55 | 55000 | 0.055
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2469 | 2547 | -78 | 156000 | 0.156 | 997071 | 997207 | -136 | 272000 | 0.272
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15986 | 16022 | -36 | 36000 | 0.036 | 996327 | 996364 | -37 | 37000 | 0.037
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977416 | 977402 | 14 | -14000 | -0.014 | 990210 | 990477 | -267 | 267000 | 0.267
[5 empty] | -1000 | [5 empty] | 992183 | 992346 | -163 | 163000 | 0.163
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88204 | 87488 | 716 | -716000 | -0.716 | 18975 | 18975 | 0 | 0 | 0
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 71058 | 70081 | 977 | -488500 | -0.4885 | 35936 | 35818 | 118 | -59000 | -0.059
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16546 | 16239 | 307 | -614000 | -0.614 | 998481 | 998481 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7292 | 7982 | -690 | 690000 | 0.69 | 814040 | 814110 | -70 | 70000 | 0.07
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 13133 | 12974 | 159 | -127200 | -0.1272 | 1107 | 1136 | -29 | 23200 | 0.0232
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 60383 | 60184 | 199 | -159200 | -0.1592 | 998205 | 998227 | -22 | 17600 | 0.0176
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993519 | 995556 | -2037 | 2037000 | 2.037 | 961069 | 961073 | -4 | 4000 | 0.004
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 980773 | 983207 | -2434 | 4868000 | 4.868 | 992269 | 992282 | -13 | 26000 | 0.026
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 937161 | 938050 | -889 | 1778000 | 1.778 | 983829 | 983832 | -3 | 6000 | 0.006
[5 empty] | -2000 | 938330 | 939180 | -850 | 1700000 | 1.7
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10469 | 10188 | 281 | -281000 | -0.281 | 997192 | 997224 | -32 | 32000 | 0.032
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4940 | 4868 | 72 | -72000 | -0.072 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981657 | 981899 | -242 | 242000 | 0.242 | 10 | 21 | -11 | 11000 | 0.011
[5 empty] | -1000 | 997648 | 997680 | -32 | 32000 | 0.032
[5 empty] | -1000 | 1237 | 1287 | -50 | 50000 | 0.05
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 160745 | 160716 | 29 | -29000 | -0.029 | 42390 | 42145 | 245 | -245000 | -0.245
[5 empty] | -1000 | [5 empty] | 41951 | 41844 | 107 | -107000 | -0.107
[5 empty] | -1000 | [5 empty] | 14261 | 14208 | 53 | -53000 | -0.053
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 328 | 267 | 61 | 48800 | 0.0488 | 627 | 547 | 80 | 64000 | 0.064
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959317 | 959834 | -517 | 517000 | 0.517 | 965553 | 965846 | -293 | 293000 | 0.293
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983809 | 984236 | -427 | 427000 | 0.427 | 984014 | 984081 | -67 | 67000 | 0.067
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50655 | 50584 | 71 | -71000 | -0.071 | 985569 | 985552 | 17 | -17000 | -0.017
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 17716 | 17703 | 13 | -10400 | -0.0104 | 999028 | 999088 | -60 | 48000 | 0.048
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 36128 | 36122 | 6 | -9600 | -0.0096 | 999872 | 999905 | -33 | 52800 | 0.0528
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996678 | 996678 | 0 | 0 | 0 | 984834 | 985049 | -215 | 430000 | 0.43
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5993 | 5993 | 0 | 0 | 0 | 990783 | 991264 | -481 | 240500 | 0.2405
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21449 | 21447 | 2 | -2000 | -0.002 | 32190 | 32450 | -260 | 260000 | 0.26
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 189 | 164 | 25 | -25000 | -0.025 | 996060 | 996083 | -23 | 23000 | 0.023
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999913 | 999910 | 3 | -3000 | -0.003 | 999252 | 999196 | 56 | -56000 | -0.056
BRPL(+) continue | [14 empty] | JUNE-2020
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47274 | 47273 | 1 | -1000 | -0.001 | 999275 | 999205 | 70 | -70000 | -0.07
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8582 | 8578 | 4 | -4000 | -0.004 | 999272 | 999121 | 151 | -151000 | -0.151
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1664 | 948 | 716 | -716000 | -0.716 | 999959 | 1000003 | -44 | 44000 | 0.044
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 2 | 6 | -6000 | -0.006 | 1000026 | 999995 | 31 | -31000 | -0.031 | w.e.f 29/5/20
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1167 | 1162 | 5 | -5000 | -0.005 | 925037 | 925267 | -230 | 230000 | 0.23
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37920 | 37910 | 10 | -10000 | -0.01 | 7657 | 7619 | 38 | -38000 | -0.038
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 113 | 112 | 1 | -2000 | -0.002 | 999731 | 999871 | -140 | 280000 | 0.28
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60830 | 60256 | 574 | -574000 | -0.574 | 997181 | 997183 | -2 | 2000 | 0.002
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 31618 | 30788 | 830 | -1660000 | -1.66 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8882 | 8879 | 3 | -6000 | -0.006 | 2529 | 2487 | 42 | -84000 | -0.084
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6961 | 6957 | 4 | -8000 | -0.008 | 1452 | 1409 | 43 | -86000 | -0.086
MASJID MOD
52 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918196 | 919080 | -884 | 884000 | 0.884 | 979168 | 979169 | -1 | 1000 | 0.001
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 414 | 1376 | -962 | 962000 | 0.962 | 994716 | 994717 | -1 | 1000 | 0.001
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1661 | 1637 | 24 | -24000 | -0.024 | 987117 | 987388 | -271 | 271000 | 0.271
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999950 | 999976 | 0 | 0 | 0 | 999997 | 0 | 0 | 0 | 0 | w.e.f 28/5/20
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 981779 | 981826 | -47 | -37600 | -0.0376 | 612 | 587 | 25 | 20000 | 0.02
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 950632 | 950831 | -199 | -159200 | -0.1592 | 999500 | 999546 | -46 | -36800 | -0.0368
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999537 | 999550 | -13 | -10400 | -0.0104 | 999825 | 999821 | 4 | 3200 | 0.0032
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996330 | 996332 | -2 | -1600 | -0.0016 | 30 | 26 | 4 | 3200 | 0.0032
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996054 | 996310 | -256 | -512000 | -0.512 | 999516 | 999516 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 69649 | 69609 | 40 | -80000 | -0.08 | 923 | 923 | 0 | 0 | 0 | CTR Chnged to 1000 to 2000 w.e.f 26/6/20
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12861 | 11651 | 1210 | -1210000 | -1.21 | 2798 | 2778 | 20 | -20000 | -0.02
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 115924 | 114644 | 1280 | -1280000 | -1.28 | 1469 | 1469 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15325 | 15325 | 0 | 0 | 0 | 122449 | 120210 | 2239 | 223900 | 0.2239
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997459 | 997424 | 35 | 6562.5 | 0.0065625 | 999947 | 999954 | -7 | -1312.5 | -0.0013125
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 949867 | 949862 | 5 | 2000 | 0.002 | 996490 | 996082 | 408 | 163200 | 0.1632
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 10619 | 10607 | 12 | 4800 | 0.0048 | 72909 | 72385 | 524 | 209600 | 0.2096
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 921567 | 921917 | -350 | -280000 | -0.28 | 997983 | 998082 | -99 | -79200 | -0.0792
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 446263 | 445401 | 862 | 86200 | 0.0862 | 85363 | 84822 | 541 | 54100 | 0.0541
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3972 | 4198 | -226 | -226000 | -0.226 | 1870 | 1883 | -13 | -13000 | -0.013
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10809 | 0 | 0 | 0 | 22336 | 22055 | 281 | 21075 | 0.021075
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5309 | 0 | 0 | 0 | 14709 | 14239 | 470 | 47000 | 0.047
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8851 | 8822 | 29 | 14500 | 0.0145 | 3180 | 3144 | 36 | 18000 | 0.018
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999204 | 999205 | -1 | -1000 | -0.001 | 4180 | 4054 | 126 | 126000 | 0.126
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985837 | 985839 | -2 | -2000 | -0.002 | 974 | 1085 | -111 | -111000 | -0.111
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6301 | 6294 | 7 | 7000 | 0.007 | 6593 | 6540 | 53 | 53000 | 0.053
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3547 | 3533 | 14 | 2240 | 0.00224 | 1000090 | 999984 | 106 | 16960 | 0.01696
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3655 | 3613 | 42 | 4200 | 0.0042 | 13 | 159 | -146 | -14600 | -0.0146
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4055 | 4051 | 4 | 4000 | 0.004 | 1030 | 789 | 241 | 241000 | 0.241
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4619 | 4615 | 4 | 4000 | 0.004 | 7292 | 6987 | 305 | 305000 | 0.305
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 997021 | 997143 | -122 | -24400 | -0.0244 | 14496 | 14464 | 32 | 6400 | 0.0064
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993733 | 993932 | -199 | -37312.5 | -0.037312 | 5448 | 5456 | -8 | -1500 | -0.0015
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 992516 | 992703 | -187 | -35062.5 | -0.035063 | 4053 | 4034 | 19 | 3562.5 | 0.0035625
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3330 | 3131 | 199 | 49750 | 0.04975 | 7981 | 7914 | 67 | 16750 | 0.01675
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 996144 | 995899 | 245 | 24500 | 0.0245 | 29054 | 28669 | 385 | 38500 | 0.0385
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.201 |  |  |  |  | 3.6529
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21858 | 21830 | 28 | -14000 | -0.014 | 4883 | 4882 | 1 | -500 | -0.0005
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993880 | 993880 | 0 | 0 | 0 | 9387 | 9893 | -506 | 67464.98 | 0.067465
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1296 | 1297 | -1 | 1000 | 0.001 | 998502 | 998561 | -59 | 59000 | 0.059
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996436 | 996459 | -23 | 23000 | 0.023 | 2245 | 2242 | 3 | -3000 | -0.003
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9125 | 9123 | 2 | -320 | -0.00032 | 26935 | 26227 | 708 | -113280 | -0.11328
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3857 | 3856 | 1 | -200 | -0.0002 | 8017 | 7683 | 334 | -66800 | -0.0668
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983380 | 983478 | -98 | 98000 | 0.098 | 999247 | 999246 | 1 | -1000 | -0.001
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102335 | 102335 | 0 | 0 | 0 | 75752 | 75578 | 174 | -17400 | -0.0174
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4024 | 3996 | 28 | -2800 | -0.0028 | 1314 | 1306 | 8 | -800 | -0.0008
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 16825 | 16564 | 261 | -26100 | -0.0261 | 70818 | 70352 | 466 | -46600 | -0.0466
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16650 | -29 | -14500 | -0.0145
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1340 | 1249 | 91 | -56875 | -0.056875
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999462 | 999465 | -3 | 300 | 0.0003 | 999405 | 999227 | 178 | -17800 | -0.0178
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3055 | 3022 | 33 | -3300 | -0.0033 | 29805 | 29550 | 255 | -25500 | -0.0255
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 771 | 771 | 0 | 0 | 0 | 522 | 501 | 21 | -27993 | -0.027993
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1871 | 1871 | 0 | 0 | 0 | 1867 | 1546 | 321 | -32100 | -0.0321
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999439 | 999439 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 12085 | 12029 | 56 | -44800 | -0.0448 | 6007 | 5997 | 10 | -8000 | -0.008
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992803 | 993029 | -226 | 226000 | 0.226 | 2211 | 2218 | -7 | 7000 | 0.007
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1852 | 1819 | 33 | -24750 | -0.02475 | 3307 | 3300 | 7 | -5250 | -0.00525
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.23203 |  |  |  |  | -0.30393
JUNE-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 5.201 |  |  |  |  | 3.6529
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.23203 |  |  |  |  | -0.30393
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.25791 |  |  |  |  | 0.055863
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.031675 |  |  |  |  | -0.22478
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 5.6593 |  |  |  |  | 3.18
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 5.6593 | (REACTIVE MUs) |  |  |  | 3.18 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.426 | (REACTIVE MUs) |  |  |  | -0.090163 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.2333 | (REACTIVE MUs) |  |  |  | 3.0898 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2915 | 2607 | 308 | 82134.36 | 0.082134 | 2200 | 2196 | 4 | 1066.68 | 0.0010667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 105935 | 103992 | 1943 | 194300 | 0.1943 | 152406 | 152389 | 17 | 1700 | 0.0017
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 989276 | 989256 | 20 | 4000 | 0.004 | 999322 | 999322 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000099 | 999974 | 125 | 125000 | 0.125 | 17 | 16 | 1 | 1000 | 0.001
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 1613 | 1380 | 233 | 186400 | 0.1864 | 2608 | 2607 | 1 | 800 | 0.0008
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3248 | 3338 | -90 | -72000 | -0.072 | 1312 | 1312 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 994461 | 995295 | -834 | -667200 | -0.6672 | 998909 | 998909 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 960760 | 961684 | -924 | -739200 | -0.7392 | 980523 | 980527 | -4 | -3200 | -0.0032
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 964472 | 965642 | -1170 | -936000 | -0.936 | 989885 | 989887 | -2 | -1600 | -0.0016
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997542 | 997826 | -284 | -568000 | -0.568 | 999571 | 999571 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 971604 | 971750 | -146 | -7300 | -0.0073 | 20000 | 19651 | 349 | 17450 | 0.01745
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 975501 | 975856 | -355 | -26625 | -0.026625 | 22556 | 22529 | 27 | 2025 | 0.002025
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998855 | 998860 | -5 | -2500 | -0.0025 | 5476 | 5473 | 3 | 1500 | 0.0015
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997459 | 997484 | -25 | -9375 | -0.009375 | 7378 | 7392 | -14 | -5250 | -0.00525
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 992364 | 992506 | -142 | -14200 | -0.0142 | 999541 | 999438 | 103 | 10300 | 0.0103
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11791 | 11632 | 159 | 11925 | 0.011925 | 40517 | 40161 | 356 | 26700 | 0.0267
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 12038 | 11827 | 211 | 21100 | 0.0211 | 2062 | 1918 | 144 | 14400 | 0.0144
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995577 | 995577 | 0 | 0 | 0 | 104755 | 104598 | 157 | 157000 | 0.157
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994304 | 994304 | 0 | 0 | 0 | 1877 | 1903 | -26 | -26000 | -0.026
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985062 | 985062 | 0 | 0 | 0 | 144748 | 144622 | 126 | 126000 | 0.126
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999205 | 999205 | 0 | 0 | 0 | 520 | 591 | -71 | -177500 | -0.1775
[10 empty] | 0 |  |  |  |  | 0.0795
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996436 | 996459 | -23 | -23000 | -0.023 | 2245 | 2242 | 3 | 3000 | 0.003
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9125 | 9123 | 2 | 320 | 0.00032 | 26935 | 26227 | 708 | 113280 | 0.11328
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3857 | 3856 | 1 | 200 | 0.0002 | 8017 | 7683 | 334 | 66800 | 0.0668
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983380 | 983478 | -98 | -98000 | -0.098 | 999247 | 999246 | 1 | 1000 | 0.001
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16650 | -29 | 14500 | 0.0145
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
JUNE-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996371 | 996327 | 44 | -44000 | -0.044 | 990180 | 990233 | -53 | 53000 | 0.053
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997734 | 997684 | 50 | -50000 | -0.05 | 995939 | 995982 | -43 | 43000 | 0.043
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997514 | 997519 | -5 | 10000 | 0.01 | 996905 | 996921 | -16 | 32000 | 0.032
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999020 | 999030 | -10 | 10000 | 0.01 | 996177 | 996215 | -38 | 38000 | 0.038
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1340 | 1249 | 91 | 56875 | 0.056875
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102335 | 102335 | 0 | 0 | 0 | 75752 | 75578 | 174 | 17400 | 0.0174
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4024 | 3996 | 28 | 2800 | 0.0028 | 1314 | 1306 | 8 | 800 | 0.0008
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 16825 | 16564 | 261 | 26100 | 0.0261 | 70818 | 70352 | 466 | 46600 | 0.0466
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 500 | 21858 | 21830 | 28 | 14000 | 0.014 | 4883 | 4882 | 1 | 500 | 0.0005
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 446263 | 445401 | 862 | -86200 | -0.0862 | 85363 | 84822 | 541 | -54100 | -0.0541
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3972 | 4198 | -226 | 226000 | 0.226 | 1870 | 1883 | -13 | 13000 | 0.013
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10809 | 0 | 0 | 0 | 22336 | 22055 | 281 | -21075 | -0.021075
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5309 | 0 | 0 | 0 | 14709 | 14239 | 470 | -47000 | -0.047
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.4293 |  |  |  |  | 0.52397
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.4293 |  |  |  |  | 0.52397
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.27598 |  |  |  |  | -0.0072632
| TOTAL ENERGY TO NDMC | [8 empty] | -2.7053 |  |  |  |  | 0.51671

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3654 | 3654 | 0 | 0 | 0 | 63279 | 63573 | -294 | -58800 | -0.0588
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 32 | 32 | 0 | 0 | 0 | 14499 | 8883 | 5616 | 898560 | 0.89856
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4510 | 4510 | 0 | 0 | 0 | 56538 | 55880 | 658 | 658000 | 0.658
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 165 | 165 | 0 | 0 | 0 | 17358 | 17489 | -131 | -52400 | -0.0524
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 12 | 12 | 0 | 0 | 0 | 436 | 290 | 146 | 116800 | 0.1168
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1440 | 1440 | 0 | 0 | 0 | 5282 | 4935 | 347 | 138800 | 0.1388
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1296 | 1297 | -1 | -1000 | -0.001 | 998502 | 998561 | -59 | -59000 | -0.059
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.001 |  |  |  |  | 1.642
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 67291 | 67020 | 271 | 27100 | 0.0271 | 103981 | 102976 | 1005 | 100500 | 0.1005
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 3 | 3 | 0 | 0 | 0 | 72 | 72 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 1059 | 998 | 61 | 4575 | 0.004575 | 26551 | 24894 | 1657 | 124275 | 0.12427
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 738 | 0 | 0 | 0 | 1706 | 1706 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4366 | 4366 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.031675 |  |  |  |  | 0.22478
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.001 |  |  |  |  | 1.642
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.030675 |  |  |  |  | 1.8667
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.030675 | (REACTIVE MUs) |  |  |  | 1.8667 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.055216 | (REACTIVE MUs) |  |  |  | -0.0014531 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.024541 | (REACTIVE MUs) |  |  |  | 1.8653 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989683 | 989713 | -30 | -18750 | -0.01875 | 999993 | 999990 | 3 | 1875 | 0.001875
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990782 | 990858 | -76 | -47500 | -0.0475 | 999843 | 999844 | -1 | -625 | -0.000625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 12085 | 12029 | 56 | 44800 | 0.0448 | 6007 | 5997 | 10 | 8000 | 0.008
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 15480 | 15230 | 250 | -250 | -0.00025 | 31140 | 19670 | 11470 | -11470 | -0.01147
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 5570 | 5510 | 60 | -60 | -6e-05 | 81020 | 64710 | 16310 | -16310 | -0.01631
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 30900 | 30100 | 800 | -800 | -0.0008 | 322500 | 245600 | 76900 | -76900 | -0.0769
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.02256 |  |  |  |  | -0.09543
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.017917 |  |  |  |  | -0.00047152
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.040477 |  |  |  |  | -0.095902

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 949956 | 950325 | -369 | -36900 | -0.0369 | 2081 | 2032 | 49 | 4900 | 0.0049
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57297 | 57055 | 242 | 24200 | 0.0242 | 6225 | 6224 | 1 | 100 | 0.0001
[5 empty] | 100 |  |  |  |  | 0.0618 | [5 empty] | Assessment last month
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16770 | 16466 | 304 | 152000 | 0.152 | 3962 | 3870 | 92 | 46000 | 0.046
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998795 | 998840 | -45 | -42187.5 | -0.042188 | 95 | 104 | -9 | -8437.5 | -0.0084375
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993950 | 994020 | -70 | 70000 | 0.07 | 999791 | 999811 | -20 | 20000 | 0.02
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 992541 | 992599 | -58 | 29000 | 0.029 | 999854 | 999843 | 11 | -5500 | -0.0055
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 230 | 230 | 0 | 0 | 0 | 13 | 17 | -4 | -1200 | -0.0012
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.25791 |  |  |  |  | 0.055863
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 970784 | 970683 | 101 | 20200 | 0.0202 | 999834 | 999777 | 57 | 11400 | 0.0114
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987825 | 987873 | -48 | -45000 | -0.045 | 999892 | 999919 | -27 | -25312.5 | -0.025313
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0248 |  |  |  |  | -0.013912
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1848 | 1843 | 5 | 6250 | 0.00625 | 999884 | 999935 | -51 | -63750 | -0.06375
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 368802 | 368770 | 32 | 3200 | 0.0032 | 179515 | 179853 | -338 | -33800 | -0.0338
[5 empty] | 100 | 376448 | 376354 | 94 | 9400 | 0.0094
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 335175 | 334742 | 433 | 27062.5 | 0.027062 | 103704 | 104248 | -544 | -34000 | -0.034
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1444 | 1485 | -41 | -32800 | -0.0328 | 1659 | 1723 | -64 | -51200 | -0.0512
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 954026 | 954187 | -161 | -16100 | -0.0161 | 999032 | 999066 | -34 | -3400 | -0.0034
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 990336 | 990310 | 26 | 3900 | 0.0039 | 990133 | 990395 | -262 | -39300 | -0.0393
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997261 | 997271 | -10 | 25000 | 0.025 | 3053 | 3053 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 230 | 230 | 0 | 0 | 0 | 13 | 17 | -4 | 1200 | 0.0012
| TOTAL NDPL | [8 empty] | 0.025913 |  |  |  |  | -0.22425
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.25791 |  |  |  |  | 0.055863
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0248 |  |  |  |  | -0.013912
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.025913 |  |  |  |  | -0.22425

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 100802 | 100802 | 0 | 0 | 0 | 25682 | 25260 | 422 | 422000 | 0.422
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 4686 | 4686 | 0 | 0 | 0 | 590 | 359 | 231 | 462000 | 0.462
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 937313 | 938699 | -1386 | 693000 | 0.693 | 998671 | 998674 | -3 | 1500 | 0.0015
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 581699 | 581806 | -107 | 10700 | 0.0107 | 997073 | 997077 | -4 | 400 | 0.0004
[7 empty] | NET REACTIVE ENERGY |  |  | 0.7037 |  | NET REACTIVE ENERGY |  |  | 0.8859
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.7037 |  |  |  |  | 0.8859
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -7.948 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.549 |  |  |  |  | -1.1705
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 0.0795
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -8.497 |  |  |  |  | -1.091
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -7.7933 |  |  |  |  | -0.2051
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.9982 | % |  |  | -2.2599 |  |  |  |  | -0.059475
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.9603 | % |  |  | -3.426 |  |  |  |  | -0.090163
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5618 | % |  |  | -1.7583 |  |  |  |  | -0.046274
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.5413 | % |  |  | -0.27598 |  |  |  |  | -0.0072632
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7085 | % |  |  | -0.055216 |  |  |  |  | -0.0014531
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2299 | % |  |  | -0.017917 |  |  |  |  | -0.00047152
Note :Sharing taken from wk-13abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2020 TO 30th JUNE-2020
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -16.472 |  | -5.0071
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 2.2333 | + | 3.0898
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -2.8785 | + | 1.1823
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -2.7053 | + | 0.51671
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.024541 | + | 1.8653
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.040477 |  | -0.095902
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2020 | INTIAL READING 01/06/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83