## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997999 | 998027 | -28 | 28000 | 0.028 | 999256 | 999364 | -108 | 108000 | 0.108
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 132 | 201 | -69 | 69000 | 0.069 | 998764 | 998960 | -196 | 196000 | 0.196
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12900 | 12573 | 327 | -327000 | -0.327 | 996281 | 996279 | 2 | -2000 | -0.002
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976191 | 976178 | 13 | -13000 | -0.013 | 976196 | 976178 | 18 | -18000 | -0.018
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918586 | 918612 | -26 | 26000 | 0.026 | 941679 | 942641 | -962 | 962000 | 0.962
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18589 | 18595 | -6 | 6000 | 0.006 | 17152 | 17150 | 2 | -2000 | -0.002
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19235 | 19246 | -11 | 11000 | 0.011 | 13139 | 13139 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17095 | 17112 | -17 | 21250 | 0.02125 | 995491 | 995503 | -12 | 15000 | 0.015
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13258 | 13307 | -49 | 49000 | 0.049 | 985298 | 985312 | -14 | 14000 | 0.014
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30941 | 30941 | 0 | 0 | 0 | 9200 | 9233 | -33 | 33000 | 0.033
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996469 | 996589 | -120 | 120000 | 0.12 | 3867 | 3867 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996563 | 996568 | -5 | 5000 | 0.005 | 999477 | 999516 | -39 | 39000 | 0.039
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 921118 | 922691 | -1573 | -1573000 | -1.573 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995697 | 995665 | 32 | -32000 | -0.032 | 16927 | 16926 | 1 | -1000 | -0.001
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1528 | 1148 | 380 | -380000 | -0.38 | 19649 | 19648 | 1 | -1000 | -0.001
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 448 | 21 | 427 | -427000 | -0.427 | 1 | 1 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999999 | 1000000 | -1 | -200 | -0.0002 | 994629 | 995389 | -760 | -152000 | -0.152
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 246 | 0 | 0 | 0 | 29528 | 29622 | -94 | -94000 | -0.094
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2342 | 2335 | 7 | 700 | 0.0007 | 153431 | 153099 | 332 | 33200 | 0.0332
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4843 | 4776 | 67 | 6700 | 0.0067 | 226332 | 225710 | 622 | 62200 | 0.0622
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996024 | 996022 | 2 | 2000 | 0.002 | 3979 | 4030 | -51 | -51000 | -0.051
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999940 | 5 | 5000 | 0.005 | 7842 | 7829 | 13 | 13000 | 0.013
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 647775 | 647818 | -43 | -43000 | -0.043 | 798983 | 799026 | -43 | -43000 | -0.043
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655590 | 655825 | -235 | -235000 | -0.235 | 832166 | 832239 | -73 | -73000 | -0.073
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992343 | 992281 | 62 | 62000 | 0.062 | 998575 | 998535 | 40 | 40000 | 0.04
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1054 | 1052 | 2 | 1000 | 0.001 | 1888 | 1607 | 281 | 140500 | 0.1405
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14427 | 14458 | -31 | 31000 | 0.031 | 981912 | 981927 | -15 | 15000 | 0.015
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 819 | 820 | -1 | 1000 | 0.001 | 999845 | 999852 | -7 | 7000 | 0.007
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992591 | 992515 | 76 | -76000 | -0.076 | 926780 | 926949 | -169 | 169000 | 0.169
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 464 | 68 | 396 | -396000 | -0.396 | 999911 | 999912 | -1 | 1000 | 0.001
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36517 | 34812 | 1705 | -1705000 | -1.705 | 999931 | 999932 | -1 | 1000 | 0.001
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999450 | 999645 | -195 | 195000 | 0.195 | 99999 | 99999 | 0 | 0 | 0 | reading upto 30/8/13
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
33 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1373 | 1344 | 29 | 29000 | 0.029 | 20763 | 20536 | 227 | 227000 | 0.227
34 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 209 | 167 | 42 | 42000 | 0.042 | 2175 | 2251 | -76 | -76000 | -0.076
| NDPL(+) continue | [14 empty] | AUGUST-2013
DMS
35 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1278 | 1281 | -3 | -3000 | -0.003 | 60890 | 60656 | 234 | 234000 | 0.234
REWARI LINE
36 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77732 | 0 | 0 | 0
VISHAL
37 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9226 | 9228 | -2 | -200 | -0.0002 | 28547 | 28603 | -56 | -5600 | -0.0056
38 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10202 | 10197 | 5 | 500 | 0.0005 | 48530 | 47641 | 889 | 88900 | 0.0889
39 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15515 | 15486 | 29 | 2900 | 0.0029 | 52602 | 52134 | 468 | 46800 | 0.0468
S.B.MILL
40 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 40448 | 39541 | 907 | 90700 | 0.0907 | 15159 | 14382 | 777 | 77700 | 0.0777
41 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
42 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
43 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16659 | 16656 | 3 | 300 | 0.0003 | 13854 | 13231 | 623 | 62300 | 0.0623
46 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 999895 | 999985 | -90 | -3999.6 | -0.0039996 | 470 | 335 | 135 | 5999.4 | 0.0059994 | installed on dated 24/07/13
B.G.ROAD
47 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5308 | 5308 | 0 | 0 | 0 | 28160 | 27798 | 362 | 181000 | 0.181
48 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3469 | 3469 | 0 | 0 | 0 | 25943 | 25462 | 481 | 240500 | 0.2405
49 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4534 | 4508 | 26 | 13000 | 0.013 | 14509 | 14393 | 116 | 58000 | 0.058
50 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 101 | 85 | 16 | 10666.6667 | 0.010667 | 509 | 351 | 158 | 105333.3333 | 0.10533
D.M.S.
51 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 995991 | 996125 | -134 | -13400 | -0.0134 | 5902 | 5910 | -8 | -800 | -0.0008
52 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8170 | 8179 | -9 | -900 | -0.0009 | 15338 | 15201 | 137 | 13700 | 0.0137
53 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 20745 | 20476 | 269 | 26900 | 0.0269 | 54020 | 53558 | 462 | 46200 | 0.0462
54 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2364 | 2400 | -36 | -3600 | -0.0036 | 999960 | 999962 | -2 | -200 | -0.0002
55 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998971 | 998989 | -18 | -1800 | -0.0018 | 133 | 146 | -13 | -1300 | -0.0013
56 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 14199 | 12857 | 1342 | 134200 | 0.1342 | 71718 | 71609 | 109 | 10900 | 0.0109
58 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 10628 | 9681 | 947 | 94700 | 0.0947 | 62479 | 62352 | 127 | 12700 | 0.0127
59 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 12140 | 11413 | 727 | 72700 | 0.0727 | 90084 | 89993 | 91 | 9100 | 0.0091
KASHMIRI GATE
60 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 129020 | 128061 | 959 | 95900 | 0.0959 | 24771 | 25311 | -540 | -54000 | -0.054
61 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 19700 | 19562 | 138 | 13800 | 0.0138 | 41022 | 40692 | 330 | 33000 | 0.033
62 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999273 | 0 | 0 | 0 | 999399 | 999397 | 2 | 200 | 0.0002
Mundka
65 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 344 | 344 | 0 | 0 | 0
66 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 995160 | 996309 | -1149 | -919200 | -0.9192 | 999993 | 999993 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -4.8864 |  |  |  |  | 2.7273
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 13423 | 13125 | 298 | -29800 | -0.0298 | 13961 | 13883 | 78 | -7800 | -0.0078
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8135 | 8136 | -1 | 1000 | 0.001 | 6864 | 6859 | 5 | -5000 | -0.005
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4244 | 4127 | 117 | -23400 | -0.0234 | 11007 | 8868 | 2139 | -427800 | -0.4278
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14193 | 14178 | 15 | -15000 | -0.015 | 31175 | 30681 | 494 | -494000 | -0.494
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 12335 | 12437 | -102 | 10200 | 0.0102 | 61509 | 61527 | -18 | 1800 | 0.0018
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954926 | 955106 | -180 | 180000 | 0.18 | 992454 | 992455 | -1 | 1000 | 0.001
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.123 |  |  |  |  | -0.9318
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -4.8864 |  |  |  |  | 2.7273
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.123 |  |  |  |  | -0.9318
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.87351 |  |  |  |  | -0.025687
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -3.8899 |  |  |  |  | 1.7698
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.8899 | (REACTIVE MUs) |  |  |  | 1.7698 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0028747 | (REACTIVE MUs) |  |  |  | -0.036184 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.887 | (REACTIVE MUs) |  |  |  | 1.7337 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988334 | 988124 | 210 | 21000 | 0.021 | 64162 | 64159 | 3 | 300 | 0.0003
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15713 | 15702 | 11 | 1100 | 0.0011 | 9764 | 10818 | -1054 | -105400 | -0.1054
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 20778 | 21411 | -633 | -63300 | -0.0633 | 24773 | 25633 | -860 | -86000 | -0.086
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 999738 | 999952 | -214 | -21400 | -0.0214 | 2235 | 2423 | -188 | -18800 | -0.0188
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9851 | 9568 | 283 | 28300 | 0.0283 | 142766 | 138652 | 4114 | 411400 | 0.4114
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1585 | 1246 | 339 | 33900 | 0.0339 | 68783 | 66461 | 2322 | 232200 | 0.2322
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998029 | 998200 | -171 | -171000 | -0.171 | 834 | 793 | 41 | 41000 | 0.041
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999639 | 999692 | -53 | -53000 | -0.053 | 1932 | 1950 | -18 | -18000 | -0.018
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 796 | 782 | 14 | 14000 | 0.014 | 1286 | 1319 | -33 | -33000 | -0.033
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 49 | 53 | -4 | -4000 | -0.004 | 2733 | 2723 | 10 | 10000 | 0.01
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998968 | 998842 | 126 | 126000 | 0.126 | 4092 | 3867 | 225 | 225000 | 0.225
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 440 | 490 | -50 | -50000 | -0.05 | 1018 | 853 | 165 | 165000 | 0.165
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 180 | 197 | -17 | -17000 | -0.017 | 16500 | 16489 | 11 | 11000 | 0.011
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 633 | 503 | 130 | 130000 | 0.13 | 37078 | 36904 | 174 | 174000 | 0.174
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 265 | 266 | -1 | -1000 | -0.001 | 24317 | 23992 | 325 | 325000 | 0.325
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 740 | 601 | 139 | 139000 | 0.139 | 8351 | 8113 | 238 | 238000 | 0.238
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 465 | 158 | 307 | 30700 | 0.0307 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998590 | 998620 | -30 | -30000 | -0.03 | 12500 | 12457 | 43 | 43000 | 0.043
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 768883 | 772088 | -3205 | -3525500 | -3.5255
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 812265 | 815839 | -3574 | -3931400 | -3.9314
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989248 | 989398 | -150 | -150000 | -0.15 | 9202 | 9255 | -53 | -53000 | -0.053
| KASHMIRI GATE | [8 empty] | -0.0363 |  |  |  |  | -6.3289
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962572 | 962688 | -116 | 116000 | 0.116 | 967032 | 968594 | -1562 | 1562000 | 1.562
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976363 | 976588 | -225 | 225000 | 0.225 | 963650 | 964726 | -1076 | 1076000 | 1.076
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14 | 14 | 0 | 0 | 0 | 3690 | 3136 | 554 | 554000 | 0.554
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26389 | 26103 | 286 | -286000 | -0.286 | 973190 | 973504 | -314 | 314000 | 0.314
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10237 | 9955 | 282 | -282000 | -0.282 | 968308 | 968638 | -330 | 330000 | 0.33
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997974 | 997831 | 143 | -143000 | -0.143 | 996446 | 996616 | -170 | 170000 | 0.17
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982535 | 982579 | -44 | 44000 | 0.044 | 992316 | 992315 | 1 | -1000 | -0.001
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4244 | 4127 | 117 | 23400 | 0.0234 | 11007 | 8868 | 2139 | 427800 | 0.4278
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14193 | 14178 | 15 | 15000 | 0.015 | 31175 | 30681 | 494 | 494000 | 0.494
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 110897 | 111547 | -650 | -65000 | -0.065 | 1620 | 1622 | -2 | -200 | -0.0002
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 89447 | 83759 | 5688 | 568800 | 0.5688 | 2262 | 2064 | 198 | 19800 | 0.0198
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.1795 |  |  |  |  | -0.9488
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.1795 |  |  |  |  | -0.9488
AUGUST-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994845 | 994856 | -11 | 11000 | 0.011 | 918268 | 919518 | -1250 | 1250000 | 1.25
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14028 | 14033 | -5 | 5000 | 0.005 | 938076 | 939267 | -1191 | 1191000 | 1.191
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997211 | 997230 | -19 | 19000 | 0.019 | 982298 | 983577 | -1279 | 1279000 | 1.279
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923691 | 925344 | -1653 | 1653000 | 1.653 | 992038 | 992149 | -111 | 111000 | 0.111
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 913614 | 915276 | -1662 | 1662000 | 1.662 | 990458 | 990567 | -109 | 109000 | 0.109
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 698 | 562 | 136 | -136000 | -0.136 | 992233 | 992110 | 123 | -123000 | -0.123
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998657 | 998631 | 26 | -52000 | -0.052 | 985840 | 986089 | -249 | 498000 | 0.498
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998994 | 998967 | 27 | -27000 | -0.027 | 963849 | 964472 | -623 | 623000 | 0.623
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9323 | 9445 | -122 | 122000 | 0.122 | 916189 | 920312 | -4123 | 4123000 | 4.123
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963045 | 962779 | 266 | -266000 | -0.266 | 871256 | 871692 | -436 | 436000 | 0.436
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22038 | 21792 | 246 | -246000 | -0.246 | 34086 | 34088 | -2 | 2000 | 0.002
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20547 | 20434 | 113 | -113000 | -0.113 | 43789 | 43777 | 12 | -12000 | -0.012
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 2.632 |  |  |  |  | 9.487
| (B) NET ENERGY TO EAST | [8 empty] | 2.632 |  |  |  |  | 9.487
AUGUST-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992343 | 992281 | 62 | -62000 | -0.062 | 998575 | 998535 | 40 | -40000 | -0.04
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1054 | 1052 | 2 | -1000 | -0.001 | 1888 | 1607 | 281 | -140500 | -0.1405
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 39871 | 39629 | 242 | -48400 | -0.0484 | 72062 | 71694 | 368 | -73600 | -0.0736
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 69976 | 69113 | 863 | -86300 | -0.0863 | 139438 | 138782 | 656 | -65600 | -0.0656
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984594 | 984725 | -131 | 26200 | 0.0262 | 1955 | 2085 | -130 | 26000 | 0.026
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 65498 | 64505 | 993 | -198600 | -0.1986 | 88689 | 88326 | 363 | -72600 | -0.0726
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 2004 | 1386 | 618 | -494400 | -0.4944 | 1026 | 922 | 104 | -83200 | -0.0832
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13155 | 13102 | 53 | -106000 | -0.106 | 857 | 798 | 59 | -118000 | -0.118
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 985817 | 985870 | -53 | 42400 | 0.0424 | 993260 | 993441 | -181 | 144800 | 0.1448
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 995744 | 995823 | -79 | 63200 | 0.0632 | 996237 | 996876 | -639 | 511200 | 0.5112
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 999423 | 999479 | -56 | 44800 | 0.0448 | 998281 | 998436 | -155 | 124000 | 0.124
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996288 | 996356 | -68 | 68000 | 0.068 | 37046 | 36738 | 308 | -308000 | -0.308
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 995812 | 995878 | -66 | 87999.78 | 0.088 | 999529 | 999483 | 46 | -61333.18 | -0.061333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1373 | 1344 | 29 | -29000 | -0.029 | 20763 | 20536 | 227 | -227000 | -0.227
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 209 | 167 | 42 | -42000 | -0.042 | 2175 | 2251 | -76 | 76000 | 0.076
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1278 | 1281 | -3 | 3000 | 0.003 | 60890 | 60656 | 234 | -234000 | -0.234
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5308 | 5308 | 0 | 0 | 0 | 28160 | 27798 | 362 | -181000 | -0.181
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3469 | 3469 | 0 | 0 | 0 | 25943 | 25462 | 481 | -240500 | -0.2405
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4534 | 4508 | 26 | -13000 | -0.013 | 14509 | 14393 | 116 | -58000 | -0.058
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 101 | 85 | 16 | -10666.6667 | -0.010667 | 509 | 351 | 158 | -105333.3333 | -0.10533
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 129020 | 128061 | 959 | -95900 | -0.0959 | 24771 | 25311 | -540 | 54000 | 0.054
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 19700 | 19562 | 138 | -13800 | -0.0138 | 41022 | 40692 | 330 | -33000 | -0.033
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 995991 | 996125 | -134 | 13400 | 0.0134 | 5902 | 5910 | -8 | 800 | 0.0008
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8170 | 8179 | -9 | 900 | 0.0009 | 15338 | 15201 | 137 | -13700 | -0.0137
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 20745 | 20476 | 269 | -26900 | -0.0269 | 54020 | 53558 | 462 | -46200 | -0.0462
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2364 | 2400 | -36 | 3600 | 0.0036 | 999960 | 999962 | -2 | 200 | 0.0002
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998971 | 998989 | -18 | 1800 | 0.0018 | 133 | 146 | -13 | 1300 | 0.0013
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 14199 | 12857 | 1342 | -134200 | -0.1342 | 71718 | 71609 | 109 | -10900 | -0.0109
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 10628 | 9681 | 947 | -94700 | -0.0947 | 62479 | 62352 | 127 | -12700 | -0.0127
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 12140 | 11413 | 727 | -72700 | -0.0727 | 90084 | 89993 | 91 | -9100 | -0.0091
[10 empty] | -1.1743 |  |  |  |  | -1.196
AUGUST-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.1795 |  |  |  |  | -0.9488
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.1743 |  |  |  |  | -1.196
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.6244 |  |  |  |  | 0.0271
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.6192 |  |  |  |  | -2.1177
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 2.632 |  |  |  |  | 9.487
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.0128 |  |  |  |  | 7.3693
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.0128 | (REACTIVE MUs) |  |  |  | 7.3693 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0024889 | (REACTIVE MUs) |  |  |  | -0.031327 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.0153 | (REACTIVE MUs) |  |  |  | 7.338 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998077 | 998119 | -42 | -168000 | -0.168 | 8863 | 8923 | -60 | -240000 | -0.24
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988158 | 988366 | -208 | -277332.64 | -0.27733 | 673968 | 673940 | 28 | 37333.24 | 0.037333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6941 | 6848 | 93 | 93000 | 0.093 | 65222 | 64794 | 428 | 428000 | 0.428
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11486 | 11357 | 129 | 129000 | 0.129 | 999577 | 999398 | 179 | 179000 | 0.179
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 9120 | 8854 | 266 | 26600 | 0.0266 | 123928 | 122495 | 1433 | 143300 | 0.1433
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 25578 | 28261 | -2683 | -268300 | -0.2683 | 244954 | 244507 | 447 | 44700 | 0.0447
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7369 | 7902 | -533 | -53300 | -0.0533 | 393254 | 393921 | -667 | -66700 | -0.0667
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999229 | 999214 | 15 | 13500 | 0.0135 | 998755 | 998746 | 9 | 8100 | 0.0081
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990817 | 990729 | 88 | -88000 | -0.088 | 946643 | 947279 | -636 | 636000 | 0.636
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988544 | 988455 | 89 | -89000 | -0.089 | 951531 | 952068 | -537 | 537000 | 0.537
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983840 | 983997 | -157 | 157000 | 0.157 | 931341 | 932156 | -815 | 815000 | 0.815
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996472 | 996478 | -6 | 6000 | 0.006 | 951097 | 951476 | -379 | 379000 | 0.379
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998236 | 998443 | -207 | 207000 | 0.207 | 981488 | 982088 | -600 | 600000 | 0.6
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14502 | 14144 | 358 | -358000 | -0.358 | 986323 | 986957 | -634 | 634000 | 0.634
NAJAFGARH
16 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2060 | 1357 | 703 | -703000 | -0.703 | 999613 | 999671 | -58 | 58000 | 0.058
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10636 | 9593 | 1043 | -1043000 | -1.043 | 2325 | 2584 | -259 | 259000 | 0.259
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26574 | 25965 | 609 | -609000 | -0.609 | 6400 | 6469 | -69 | 69000 | 0.069
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36795 | 34828 | 1967 | -1967000 | -1.967 | 42850 | 42779 | 71 | -71000 | -0.071
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8135 | 8136 | -1 | -1000 | -0.001 | 6864 | 6859 | 5 | 5000 | 0.005
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 916887 | 918062 | -1175 | 1175000 | 1.175 | 891514 | 892815 | -1301 | 1301000 | 1.301
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962664 | 963293 | -629 | 629000 | 0.629 | 858581 | 859785 | -1204 | 1204000 | 1.204
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 175 | 215 | -40 | 40000 | 0.04 | 974303 | 975375 | -1072 | 1072000 | 1.072
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 629 | 653 | -24 | 24000 | 0.024 | 959225 | 961390 | -2165 | 2165000 | 2.165
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998143 | 998796 | -653 | 653000 | 0.653 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999147 | 999193 | -46 | 46000 | 0.046 | 890215 | 890767 | -552 | 552000 | 0.552
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998411 | 998477 | -66 | 66000 | 0.066 | 869772 | 870383 | -611 | 611000 | 0.611
BRPL(+) continue | [14 empty] | AUGUST-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997639 | 997578 | 61 | -61000 | -0.061 | 972943 | 973064 | -121 | 121000 | 0.121
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998884 | 998837 | 47 | -47000 | -0.047 | 989532 | 989721 | -189 | 189000 | 0.189
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994037 | 994007 | 30 | -60000 | -0.06 | 970428 | 970622 | -194 | 388000 | 0.388
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997130 | 997129 | 1 | -1000 | -0.001 | 916828 | 917804 | -976 | 976000 | 0.976
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996496 | 996586 | -90 | 90000 | 0.09 | 929364 | 930216 | -852 | 852000 | 0.852
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997040 | 997037 | 3 | -3000 | -0.003 | 921956 | 922710 | -754 | 754000 | 0.754
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 993745 | 994277 | -532 | 354666.312 | 0.35467 | 984737 | 985159 | -422 | 281333.052 | 0.28133
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1094 | 1093 | 1 | -2000 | -0.002 | 1381 | 1352 | 29 | -58000 | -0.058
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997971 | 997969 | 2 | -4000 | -0.004 | 551 | 529 | 22 | -44000 | -0.044
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954099 | 955307 | -1208 | 1208000 | 1.208 | 995944 | 996184 | -240 | 240000 | 0.24
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963348 | 964209 | -861 | 861000 | 0.861 | 996405 | 996572 | -167 | 167000 | 0.167
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994198 | 994581 | -383 | -306400 | -0.3064 | 1400 | 344 | 1056 | 844800 | 0.8448
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 13969 | 13249 | 720 | 576000 | 0.576 | 1007 | 983 | 24 | 19200 | 0.0192
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 963764 | 969229 | -5465 | -4372000 | -4.372 | 999696 | 999696 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996288 | 996356 | -68 | -68000 | -0.068 | 37046 | 36738 | 308 | 308000 | 0.308
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 995812 | 995878 | -66 | -87999.78 | -0.088 | 999529 | 999483 | 46 | 61333.18 | 0.061333
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8446 | 8409 | 37 | -37000 | -0.037 | 976247 | 976434 | -187 | 187000 | 0.187
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999249 | 999249 | 0 | 0 | 0 | 989125 | 988419 | 706 | -706000 | -0.706
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 13423 | 13125 | 298 | 29800 | 0.0298 | 13961 | 13883 | 78 | 7800 | 0.0078
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 12335 | 12437 | -102 | -10200 | -0.0102 | 61509 | 61527 | -18 | -1800 | -0.0018
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 954926 | 955106 | -180 | -180000 | -0.18 | 992454 | 992455 | -1 | -1000 | -0.001
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1396 | 1407 | -11 | -1100 | -0.0011 | 9505 | 9160 | 345 | 34500 | 0.0345
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8582 | 8416 | 166 | 16600 | 0.0166 | 20176 | 19146 | 1030 | 103000 | 0.103
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.4645 |  |  |  |  | 16.0829
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 110897 | 111547 | -650 | 65000 | 0.065 | 1620 | 1622 | -2 | 200 | 0.0002
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 89447 | 83759 | 5688 | -568800 | -0.5688 | 2262 | 2064 | 198 | -19800 | -0.0198
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998154 | 998317 | -163 | 16300 | 0.0163 | 999980 | 999984 | -4 | 400 | 0.0004
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996802 | 996926 | -124 | 12400 | 0.0124 | 999920 | 999921 | -1 | 100 | 0.0001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1066 | 943 | 123 | -246000 | -0.246 | 73073 | 72968 | 105 | -210000 | -0.21
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3152 | 2134 | 1018 | -1018000 | -1.018 | 35 | 25 | 10 | -10000 | -0.01
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 890228 | 890228 | 0 | 0 | 0 | 54461 | 54461 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 56586 | 56261 | 325 | -32500 | -0.0325 | 58093 | 57435 | 658 | -65800 | -0.0658
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 47510 | 46969 | 541 | -54100 | -0.0541 | 56583 | 56324 | 259 | -25900 | -0.0259
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 84284 | 83873 | 411 | -82200 | -0.0822 | 112654 | 111914 | 740 | -148000 | -0.148
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 3751 | 4184 | -433 | -216500 | -0.2165 | 18286 | 18690 | -404 | -202000 | -0.202
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3889 | 3893 | -4 | -333.3333 | -0.00033333 | 979525 | 979641 | -116 | -9666.6667 | -0.0096667
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 993391 | 996551 | -3160 | -526666.6667 | -0.52667 | 994133 | 994291 | -158 | -26333.3333 | -0.026333
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 285548 | 282358 | 3190 | -319000 | -0.319 | 44294 | 44269 | 25 | -2500 | -0.0025
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1834 | 1573 | 261 | -26100 | -0.0261 | 17805 | 17540 | 265 | -26500 | -0.0265
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77732 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9226 | 9228 | -2 | 200 | 0.0002 | 28547 | 28603 | -56 | 5600 | 0.0056
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10202 | 10197 | 5 | -500 | -0.0005 | 48530 | 47641 | 889 | -88900 | -0.0889
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15515 | 15486 | 29 | -2900 | -0.0029 | 52602 | 52134 | 468 | -46800 | -0.0468
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 40448 | 39541 | 907 | -90700 | -0.0907 | 15159 | 14382 | 777 | -77700 | -0.0777
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16659 | 16656 | 3 | -300 | -0.0003 | 13854 | 13231 | 623 | -62300 | -0.0623
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 999895 | 999985 | -90 | 3999.6 | 0.0039996 | 470 | 335 | 135 | -5999.4 | -0.0059994 | installed on dated 24/07/13
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999273 | 0 | 0 | 0 | 999399 | 999397 | 2 | -200 | -0.0002
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.0867 |  |  |  |  | -1.0221
AUGUST-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -4.4645 |  |  |  |  | 16.0829
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.0867 |  |  |  |  | -1.0221
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.5098 |  |  |  |  | 0.36329
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2074 |  |  |  |  | -0.2176
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -7.2488 |  |  |  |  | 15.2065
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.2488 | (REACTIVE MUs) |  |  |  | 15.2065 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.004206 | (REACTIVE MUs) |  |  |  | -0.052941 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.2446 | (REACTIVE MUs) |  |  |  | 15.1535 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 39871 | 39629 | 242 | 48400 | 0.0484 | 72062 | 71694 | 368 | 73600 | 0.0736
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 69976 | 69113 | 863 | 86300 | 0.0863 | 139438 | 138782 | 656 | 65600 | 0.0656
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984594 | 984725 | -131 | -26200 | -0.0262 | 1955 | 2085 | -130 | -26000 | -0.026
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 65498 | 64505 | 993 | 198600 | 0.1986 | 88689 | 88326 | 363 | 72600 | 0.0726
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 2004 | 1386 | 618 | 494400 | 0.4944 | 1026 | 922 | 104 | 83200 | 0.0832
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13155 | 13102 | 53 | 106000 | 0.106 | 857 | 798 | 59 | 118000 | 0.118
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 985817 | 985870 | -53 | -42400 | -0.0424 | 993260 | 993441 | -181 | -144800 | -0.1448
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 995744 | 995823 | -79 | -63200 | -0.0632 | 996237 | 996876 | -639 | -511200 | -0.5112
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 999423 | 999479 | -56 | -44800 | -0.0448 | 998281 | 998436 | -155 | -124000 | -0.124
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998963 | 998999 | -36 | -3600 | -0.0036 | 357017 | 353371 | 3646 | 364600 | 0.3646
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6440 | 6440 | 0 | 0 | 0 | 467498 | 467732 | -234 | -23400 | -0.0234
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12236 | 12225 | 11 | 1100 | 0.0011 | 340073 | 331587 | 8486 | 848600 | 0.8486
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5531 | 5386 | 145 | 14500 | 0.0145 | 350715 | 347569 | 3146 | 314600 | 0.3146
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997754 | 997754 | 0 | 0 | 0 | 290304 | 286235 | 4069 | 406900 | 0.4069
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 414 | 572 | -158 | -15800 | -0.0158 | 175454 | 175997 | -543 | -54300 | -0.0543
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 261759 | 260247 | 1512 | 151200 | 0.1512
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 50434 | 49397 | 1037 | 103700 | 0.1037 | 701561 | 698785 | 2776 | 277600 | 0.2776
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 69401 | 66953 | 2448 | 2692800 | 2.6928
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3359 | 3459 | -100 | -100000 | -0.1 | 37399 | 37231 | 168 | 168000 | 0.168
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 138948 | 135856 | 3092 | 3401200 | 3.4012
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9116 | 9106 | 10 | 10000 | 0.01 | 52696 | 52356 | 340 | 340000 | 0.34
[10 empty] | -0.09 |  |  |  |  | 6.602
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1066 | 943 | 123 | 246000 | 0.246 | 73073 | 72968 | 105 | 210000 | 0.21
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3152 | 2134 | 1018 | 1018000 | 1.018 | 35 | 25 | 10 | 10000 | 0.01
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 890228 | 890228 | 0 | 0 | 0 | 54461 | 54461 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 3751 | 4184 | -433 | 216500 | 0.2165 | 18286 | 18690 | -404 | 202000 | 0.202
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3889 | 3893 | -4 | 333.3333 | 0.00033333 | 979525 | 979641 | -116 | 9666.6667 | 0.0096667
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 993391 | 996551 | -3160 | 526666.6667 | 0.52667 | 994133 | 994291 | -158 | 26333.3333 | 0.026333
AUGUST-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984466 | 984674 | -208 | 208000 | 0.208 | 992447 | 992866 | -419 | 419000 | 0.419
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995269 | 995726 | -457 | 457000 | 0.457 | 991385 | 992071 | -686 | 686000 | 0.686
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 285548 | 282358 | 3190 | 319000 | 0.319 | 44294 | 44269 | 25 | 2500 | 0.0025
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1834 | 1573 | 261 | 26100 | 0.0261 | 17805 | 17540 | 265 | 26500 | 0.0265
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 56586 | 56261 | 325 | 32500 | 0.0325 | 58093 | 57435 | 658 | 65800 | 0.0658
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 47510 | 46969 | 541 | 54100 | 0.0541 | 56583 | 56324 | 259 | 25900 | 0.0259
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 84284 | 83873 | 411 | 82200 | 0.0822 | 112654 | 111914 | 740 | 148000 | 0.148
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1396 | 1407 | -11 | 1100 | 0.0011 | 9505 | 9160 | 345 | -34500 | -0.0345
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8582 | 8416 | 166 | -16600 | -0.0166 | 20176 | 19146 | 1030 | -103000 | -0.103
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.9379 |  |  |  |  | 10.189
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.9379 |  |  |  |  | 10.189
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.00051796 |  |  |  |  | -0.0065195
| TOTAL ENERGY TO NDMC | [8 empty] | 3.9384 |  |  |  |  | 10.1825

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 732 | 732 | 0 | 0 | 0 | 22376 | 21621 | 755 | 755000 | 0.755
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 496 | 496 | 0 | 0 | 0 | 25170 | 24576 | 594 | 594000 | 0.594
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1275 | 1275 | 0 | 0 | 0 | 33123 | 32722 | 401 | 401000 | 0.401
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930 | 930 | 0 | 0 | 0 | 18088 | 17627 | 461 | 461000 | 0.461
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3129 | 3118 | 11 | 11000 | 0.011 | 10111 | 9941 | 170 | 170000 | 0.17
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998154 | 998317 | -163 | -16300 | -0.0163 | 999980 | 999984 | -4 | -400 | -0.0004
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996802 | 996926 | -124 | -12400 | -0.0124 | 999920 | 999921 | -1 | -100 | -0.0001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0177 |  |  |  |  | 2.3805
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34363 | 1 | 100 | 0.0001
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 43509 | 42798 | 711 | 71100 | 0.0711 | 70908 | 70339 | 569 | 56900 | 0.0569
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 72003 | 71330 | 673 | 67300 | 0.0673 | 10893 | 10870 | 23 | 2300 | 0.0023
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 38248 | 37917 | 331 | 33100 | 0.0331 | 58576 | 57474 | 1102 | 110200 | 0.1102
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 81142 | 80783 | 359 | 35900 | 0.0359 | 56809 | 56328 | 481 | 48100 | 0.0481
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 4786 | 4771 | 15 | 1500 | 0.0015 | 1481 | 1465 | 16 | 1600 | 0.0016
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2074 |  |  |  |  | 0.2176
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2074 |  |  |  |  | 0.2176
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0177 |  |  |  |  | 2.3805
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1897 |  |  |  |  | 2.5981
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1897 | (REACTIVE MUs) |  |  |  | 2.5981 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 7.9087e-05 | (REACTIVE MUs) |  |  |  | -0.00099545 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.18978 | (REACTIVE MUs) |  |  |  | 2.5971 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 54132 | 59703 | -5571 | -557100 | -0.5571 | 79311 | 79366 | -55 | -5500 | -0.0055
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 994456 | 995670 | -1214 | -121400 | -0.1214 | 999189 | 999274 | -85 | -8500 | -0.0085
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 222927 | 220619 | 2308 | 230800 | 0.2308 | 98088 | 98062 | 26 | 2600 | 0.0026
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 26360 | 25896 | 464 | 435000 | 0.435 | 18436 | 18383 | 53 | 49687.5 | 0.049688
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 989724 | 990760 | -1036 | 518000 | 0.518 | 925471 | 925519 | -48 | 24000 | 0.024
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989824 | 989833 | -9 | 4500 | 0.0045 | 981486 | 982094 | -608 | 304000 | 0.304
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 11 | 21 | -10 | -3000 | -0.003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.5098 |  |  |  |  | 0.36329
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 939838 | 940506 | -668 | -133600 | -0.1336 | 991737 | 991707 | 30 | 6000 | 0.006
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 795434 | 800342 | -4908 | -490800 | -0.4908 | 928157 | 927946 | 211 | 21100 | 0.0211
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.6244 |  |  |  |  | 0.0271
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 214133 | 211383 | 2750 | 550000 | 0.55 | 263778 | 263722 | 56 | 11200 | 0.0112
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 92202 | 91456 | 746 | 149200 | 0.1492 | 41487 | 41461 | 26 | 5200 | 0.0052
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 144833 | 143353 | 1480 | 148000 | 0.148 | 72348 | 72294 | 54 | 5400 | 0.0054
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989023 | 988983 | 40 | 40000 | 0.04 | 998400 | 998393 | 7 | 7000 | 0.007
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 970105 | 970720 | -615 | -61500 | -0.0615 | 7164 | 7192 | -28 | -2800 | -0.0028
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999443 | 999442 | 1 | 937.5 | 0.0009375 | 385 | 450 | -65 | -60937.5 | -0.060937
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 989362 | 989437 | -75 | 46875 | 0.046875 | 995548 | 995558 | -10 | 6250 | 0.00625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 11 | 21 | -10 | 3000 | 0.003
| TOTAL NDPL | [8 empty] | 0.87351 |  |  |  |  | -0.025687
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.5098 |  |  |  |  | 0.36329
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.6244 |  |  |  |  | 0.0271
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.87351 |  |  |  |  | -0.025687

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 999797 | 1000000 | -203 | -406000 | -0.406 | 999984 | 1000000 | -16 | -32000 | -0.032 | Meter replaced 2/8/13
| Assessment on PRO-RATA base for the period 01/08/13 | [8 empty] | -0.013533 |  |  |  |  | -0.0010667
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 12157 | 11645 | 512 | 1024000 | 1.024 | 2560 | 2547 | 13 | 26000 | 0.026
[7 empty] | NET REACTIVE ENERGY |  |  | 0.60447 |  | NET REACTIVE ENERGY |  |  | -0.0070667
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 994349 | 994817 | -468 | -468000 | -0.468 | 39652 | 40046 | -394 | -394000 | -0.394
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996200 | 996679 | -479 | -479000 | -0.479 | 994961 | 995455 | -494 | -494000 | -0.494
[7 empty] | NET REACTIVE ENERGY |  |  | -0.468 |  | NET REACTIVE ENERGY |  |  | -0.394
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.13647 |  |  |  |  | -0.40107
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0363 |  |  |  |  | -6.3289
[7 empty] | NDMC = |  |  | -0.09 |  |  |  |  | 6.602
MES =
[7 empty] | 2)TOTAL |  |  | -0.1263 |  |  |  |  | 0.2731
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.010167 |  |  |  |  | -0.12797
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.2761 | % |  |  | 0.0028747 |  |  |  |  | -0.036184
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.3706 | % |  |  | 0.004206 |  |  |  |  | -0.052941
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.4807 | % |  |  | 0.0024889 |  |  |  |  | -0.031327
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0947 | % |  |  | 0.00051796 |  |  |  |  | -0.0065195
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7779 | % |  |  | 7.9087e-05 |  |  |  |  | -0.00099545
Note :Sharing taken from wk-21 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2013 TO 31st AUGUST-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -3.887 | + | 1.7337
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -7.2446 | + | 15.1535
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.0153 | + | 7.338
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.9384 | + | 10.1825
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.18978 | + | 2.5971
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2013 | INTIAL READING 01/08/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 961497 | 962523 | -1026 | -1539000 | -1.539 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999633 | 999799 | -166 | -249000 | -0.249 | 996026 | 996163 | -137 | -205500 | -0.2055
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 916545 | 917961 | -1416 | -2124000 | -2.124 | 966284 | 966406 | -122 | -183000 | -0.183
[8 empty] | NET REACTIVE ENERGY |  | -3.912 |  |  | NET REACTIVE ENERGY |  | -0.3885
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997420 | 997298 | 122 | 610000 | 0.61 | 31089 | 31073 | 16 | 80000 | 0.08
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999634 | 999634 | 0 | 0 | 0 | 2791 | 2365 | 426 | 426000 | 0.426
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.61 |  |  | NET REACTIVE ENERGY |  | 0.506