## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965079 | 965078 | 1 | -1000 | -0.001 | 997232 | 997885 | -653 | 653000 | 0.653
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83354 | 83351 | 3 | -6000 | -0.006 | 4320 | 3937 | 383 | -766000 | -0.766
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1018 | 1018 | 0 | 0 | 0 | 999733 | 999318 | 415 | -415000 | -0.415
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/8/20
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998197 | 998197 | 0 | 0 | 0 | 992573 | 992728 | -155 | 155000 | 0.155
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894375 | 894375 | 0 | 0 | 0 | 21755 | 21827 | -72 | 72000 | 0.072
[5 empty] | -1000 | [5 empty] | 21060 | 20343 | 717 | -717000 | -0.717
ROHINI
7 | Transformer | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35863 | 35847 | 16 | -16000 | -0.016 | 16147 | 16123 | 24 | -24000 | -0.024
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10094 | 10091 | 3 | -3000 | -0.003 | 998123 | 998093 | 30 | -30000 | -0.03
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5525 | 5533 | -8 | 8000 | 0.008 | 997645 | 997759 | -114 | 114000 | 0.114
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 964733 | 964951 | -218 | 109000 | 0.109 | 839514 | 839514 | 0 | 0 | 0
[5 empty] | -500 | [5 empty] | 839942 | 840362 | -420 | 210000 | 0.21
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1710 | 1713 | -3 | 3000 | 0.003 | 998549 | 998393 | 156 | -156000 | -0.156
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2197 | 2257 | -60 | 60000 | 0.06 | 999913 | 999968 | -55 | 55000 | 0.055
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34706 | 34644 | 62 | -62000 | -0.062 | 996773 | 996735 | 38 | -38000 | -0.038
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 12763 | 12451 | 312 | -312 | -0.312 | 99999908 | 99999939 | -31 | 31 | 0.031
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 796220 | 800486 | -4266 | -4266000 | -4.266 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 912773 | 912773 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8888 | 8830 | 58 | -58000 | -0.058 | 999961 | 999963 | -2 | 2000 | 0.002
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 52540 | 52216 | 324 | -162000 | -0.162 | 167 | 157 | 10 | -5000 | -0.005
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47636 | 47646 | -10 | 10000 | 0.01 | 999206 | 999914 | -708 | 708000 | 0.708
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999930 | 0 | 0 | 0 | 989640 | 990352 | -712 | -712000 | -0.712
21 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 20088 | 20612 | -524 | -524000 | -0.524
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1357 | 1357 | 0 | 0 | 0 | 13709 | 13300 | 409 | 204500 | 0.2045
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 2612 | 2612 | 0 | 0 | 0 | 179221 | 175795 | 3426 | 171300 | 0.1713
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 998034 | 998848 | -814 | -814000 | -0.814
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999590 | 999590 | 0 | 0 | 0 | 998738 | 998791 | -53 | -53000 | -0.053
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 55252 | 55086 | 166 | 16600 | 0.0166 | 192248 | 192078 | 170 | 17000 | 0.017
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998262 | 998340 | -78 | -78000 | -0.078 | 999677 | 999736 | -59 | -59000 | -0.059
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 964851 | 965008 | -157 | -78500 | -0.0785 | 999909 | 999933 | -24 | -12000 | -0.012
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 996744 | 996599 | 145 | 38667.15 | 0.038667 | 999883 | 999883 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1867 | 1813 | 54 | 27000 | 0.027 | 192 | 188 | 4 | 2000 | 0.002
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39758 | 38646 | 1112 | -1112000 | -1.112 | 996635 | 996634 | 1 | -1000 | -0.001
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 210340 | 208257 | 2083 | -1041500 | -1.0415 | 17433 | 17429 | 4 | -2000 | -0.002
[5 empty] | -500 | 197398 | 195979 | 1419 | -709500 | -0.7095 |  |  |  |  | -0.0235
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2853 | 3229 | -376 | 752000 | 0.752 | 999678 | 999679 | -1 | 2000 | 0.002
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37788 | 37189 | 599 | -599000 | -0.599 | 999416 | 999624 | -208 | 208000 | 0.208
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 89774 | 87829 | 1945 | -3890000 | -3.89 | 284 | 282 | 2 | -4000 | -0.004
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 92510 | 90817 | 1693 | -1693000 | -1.693 | 998491 | 998488 | 3 | -3000 | -0.003
37 | 66KV TX.3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88187 | 87433 | 754 | -754000 | -0.754 | 361 | 354 | 7 | -7000 | -0.007
|  | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.34 | 5996 | 0 | 5996 | -1998706.64 | -1.9987 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/8/20
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9018 | 8846 | 172 | -344000 | -0.344 | 195 | 131 | 64 | -128000 | -0.128
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54545 | 54162 | 383 | -383000 | -0.383 | 1584 | 1454 | 130 | -130000 | -0.13
WAZIRPUR
40 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 127 | 289 | -162 | 162000 | 0.162 | 997861 | 998004 | -143 | 143000 | 0.143
41 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43774 | 43294 | 480 | -480000 | -0.48 | 1624 | 1618 | 6 | -6000 | -0.006
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
42 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999938 | 999946 | -8 | -8000 | -0.008 | 27312 | 27400 | -88 | -88000 | -0.088
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | AUGUST-2020
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970 | 970 | 0 | 0 | 0 | 61209 | 61215 | -6 | -6000 | -0.006
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999477 | 999462 | 15 | 1500 | 0.0015 | 999576 | 999566 | 10 | 1000 | 0.001
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3072 | 3055 | 17 | 1700 | 0.0017 | 30382 | 30190 | 192 | 19200 | 0.0192
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 775 | 773 | 2 | 2666 | 0.002666 | 548 | 538 | 10 | 13330 | 0.01333
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1600 | 1592 | 8 | 800 | 0.0008
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1898 | 1883 | 15 | 1500 | 0.0015 | 2655 | 2293 | 362 | 36200 | 0.0362
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 2077 | 1938 | 139 | 69500 | 0.0695
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2276 | 2264 | 12 | 8000.04 | 0.008 | 418 | 404 | 14 | 9333.38 | 0.0093334
56 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 602 | 579 | 23 | 11500 | 0.0115 | 399 | 368 | 31 | 15500 | 0.0155
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996381 | 996382 | -1 | -100 | -0.0001 | 3228 | 3199 | 29 | 2900 | 0.0029
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7982 | 7806 | 176 | 17600 | 0.0176 | 12844 | 12634 | 210 | 21000 | 0.021
59 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10537 | 10145 | 392 | 39200 | 0.0392 | 2746 | 2635 | 111 | 11100 | 0.0111
60 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29620 | 29302 | 318 | 31800 | 0.0318 | 8253 | 8159 | 94 | 9400 | 0.0094
KASHMIRI GATE
61 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 56167 | 54480 | 1687 | 168700 | 0.1687 | 1729 | 1729 | 0 | 0 | 0
62 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999795 | 999743 | 52 | 6933.16 | 0.0069332 | 360 | 357 | 3 | 399.99 | 0.00039999
63 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 76 | -1 | 300 | 0.0003 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999452 | 999439 | 13 | 5200 | 0.0052
MUNDKA
66 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 972298 | 972400 | -102 | -81600 | -0.0816 | 999721 | 999740 | -19 | -15200 | -0.0152
67 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996526 | 996564 | -38 | -76000 | -0.076 | 1053 | 1054 | -1 | -2000 | -0.002
PEERAGARHI
68 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 980632 | 980624 | 8 | 1600 | 0.0016 | 1364 | 936 | 428 | 85600 | 0.0856
69 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998260 | 998257 | 3 | 750 | 0.00075 | 562 | 420 | 142 | 35500 | 0.0355
REWARI LINE
70 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992370 | 992669 | -299 | -299000 | -0.299 | 2207 | 2196 | 11 | 11000 | 0.011
71 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1937 | 1893 | 44 | 33000 | 0.033 | 3312 | 3310 | 2 | 1500 | 0.0015
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -16.9989 |  |  |  |  | -1.6444
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15443 | 15405 | 38 | -3800 | -0.0038 | 143424 | 143076 | 348 | -34800 | -0.0348
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 343 | 331 | 12 | -9600 | -0.0096 | 680 | 697 | -17 | 13600 | 0.0136
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 821 | 821 | 0 | 0 | 0 | 175 | 187 | -12 | 12000 | 0.012
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6546 | 6546 | 0 | 0 | 0 | 5866 | 3793 | 2073 | -276393.09 | -0.27639
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997441 | 997452 | -11 | 2062.5 | 0.0020625 | 999877 | 999924 | -47 | 8812.5 | 0.0088125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 915586 | 918785 | -3199 | 2559200 | 2.5592 | 997978 | 997978 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989623 | 989654 | -31 | 19375 | 0.019375 | 999993 | 999992 | 1 | -625 | -0.000625
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990789 | 990780 | 9 | -5625 | -0.005625 | 999855 | 999853 | 2 | -1250 | -0.00125
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 997003 | 996921 | 82 | -16400 | -0.0164 | 14603 | 14460 | 143 | -28600 | -0.0286
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 993329 | 993555 | -226 | 42375 | 0.042375 | 5421 | 5439 | -18 | 3375 | 0.003375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 992251 | 992387 | -136 | 25500 | 0.0255 | 4073 | 4078 | -5 | 937.5 | 0.0009375
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3732 | 3501 | 231 | -57750 | -0.05775 | 8032 | 8010 | 22 | -5500 | -0.0055
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 996633 | 996340 | 293 | -29300 | -0.0293 | 29665 | 29346 | 319 | -31900 | -0.0319
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.526 |  |  |  |  | -0.34034
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -16.9989 |  |  |  |  | -1.6444
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.526 |  |  |  |  | -0.34034
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.017788 |  |  |  |  | 0.0016875
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -14.4906 |  |  |  |  | -1.9831
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.4906 | (REACTIVE MUs) |  |  |  | -1.9831 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.7273 | (REACTIVE MUs) |  |  |  | 0.01863 | (REACTIVE MUs)
[9 empty] | TOTAL | -17.218 | (REACTIVE MUs) |  |  |  | -1.9645 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 31130 | 28740 | 2390 | 239000 | 0.239 | 994508 | 994508 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 12355 | 11758 | 597 | 179100 | 0.1791 | 3235 | 3240 | -5 | -1500 | -0.0015
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 345060 | 332910 | 12150 | 911250 | 0.91125 | 402557 | 402524 | 33 | 2475 | 0.002475
[5 empty] | 75 | 241137 | 239260 | 1877 | 140775 | 0.14078
[5 empty] | 75 | 94613 | 93538 | 1075 | 80625 | 0.080625
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994727 | 994700 | 27 | 8100 | 0.0081 | 5941 | 5941 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1533 | 1529 | 4 | 5333.2 | 0.0053332 | 3601 | 3601 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 14438 | 14500 | -62 | -6200 | -0.0062 | 3863 | 3863 | 0 | 0 | 0
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 136916 | 128458 | 8458 | 634350 | 0.63435 | 892277 | 892277 | 0 | 0 | 0
[5 empty] | 75 | 127215 | 120443 | 6772 | 507900 | 0.5079
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979929 | 979928 | 1 | 1000 | 0.001 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 989495 | 989681 | -186 | -93000 | -0.093 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996682 | 996938 | -256 | -256000 | -0.256 | 1625 | 1625 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987417 | 987539 | -122 | -122000 | -0.122 | 1353 | 1353 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989651 | 990044 | -393 | -393000 | -0.393 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996704 | 996866 | -162 | -162000 | -0.162 | 998644 | 998668 | -24 | -24000 | -0.024
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994936 | 995218 | -282 | -282000 | -0.282 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995532 | 995523 | 9 | 7200 | 0.0072 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 3592 | 4907 | -1315 | -175328.95 | -0.17533 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 861 | 812 | 49 | 49000 | 0.049 | 9732 | 9730 | 2 | 2000 | 0.002
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1203 | 643 | 560 | 560000 | 0.56 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971610 | 971610 | 0 | 0 | 0 | 948840 | 949086 | -246 | -307500 | -0.3075
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985076 | 985079 | -3 | -3000 | -0.003 | 935957 | 936053 | -96 | -96000 | -0.096
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999961 | 999971 | -10 | -10000 | -0.01 | 999601 | 999672 | -71 | -71000 | -0.071
| KASHMIRI GATE | [8 empty] | -0.013 |  |  |  |  | -0.4745
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987235 | 987862 | -627 | 627000 | 0.627 | 998280 | 998287 | -7 | 7000 | 0.007
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984874 | 985586 | -712 | 712000 | 0.712 | 998826 | 998826 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 76 | -1 | -300 | -0.0003 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 999814 | 0 | 0 | 0 | 13514 | 13345 | 169 | 169000 | 0.169
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 169570 | 169361 | 209 | -209000 | -0.209 | 8701 | 8701 | 0 | 0 | 0
[5 empty] | -1000 | 169083 | 167363 | 1720 | -1720000 | -1.72
[5 empty] | -1000 | 167094 | 166344 | 750 | -750000 | -0.75
[5 empty] | -1000 | 166131 | 164079 | 2052 | -2052000 | -2.052
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41635 | 41089 | 546 | -546000 | -0.546 | 161 | 191 | -30 | 30000 | 0.03
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999912 | 1000335 | -423 | 423000 | 0.423 | 999283 | 999286 | -3 | 3000 | 0.003
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 351 | 338 | 13 | -13000 | -0.013 | 998531 | 998710 | -179 | 179000 | 0.179
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26142 | 26023 | 119 | -119000 | -0.119 | 982856 | 982865 | -9 | 9000 | 0.009
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44316 | 43621 | 695 | -695000 | -0.695 | 316 | 316 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 31886 | 31152 | 734 | -1468000 | -1.468 | 24 | 24 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 821 | 821 | 0 | 0 | 0 | 175 | 187 | -12 | -12000 | -0.012
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6546 | 6546 | 0 | 0 | 0 | 5866 | 3793 | 2073 | 276393.09 | 0.27639
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993879 | 993879 | 0 | 0 | 0 | 8407 | 8845 | -438 | -58254 | -0.058254
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951455 | 952543 | -1088 | 1088000 | 1.088 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972202 | 972377 | -175 | 175000 | 0.175 | 999923 | 999923 | 0 | 0 | 0
[5 empty] | -1000 | 977498 | 978388 | -890 | 890000 | 0.89
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.8362 |  |  |  |  | 0.10761
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.8362 |  |  |  |  | 0.10761
AUGUST-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987963 | 989406 | -1443 | 1443000 | 1.443 | 997277 | 997285 | -8 | 8000 | 0.008
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971758 | 972663 | -905 | 905000 | 0.905 | 962539 | 962553 | -14 | 14000 | 0.014
[5 empty] | -1000 | 972948 | 972948 | 0 | 0 | 0
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991559 | 992837 | -1278 | 1278000 | 1.278 | 997911 | 997921 | -10 | 10000 | 0.01
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988724 | 991406 | -2682 | 2682000 | 2.682 | 998594 | 998606 | -12 | 12000 | 0.012
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27811 | 27732 | 79 | -79000 | -0.079 | 997321 | 997424 | -103 | 103000 | 0.103
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13013 | 12949 | 64 | -64000 | -0.064 | 996326 | 996453 | -127 | 127000 | 0.127
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6921 | 6965 | -44 | 44000 | 0.044 | 12332 | 12368 | -36 | 36000 | 0.036
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999312 | 999378 | -66 | 66000 | 0.066 | 999850 | 999882 | -32 | 32000 | 0.032
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 931247 | 931542 | -295 | 295000 | 0.295 | 978698 | 978726 | -28 | 28000 | 0.028
[5 empty] | -1000 | 941293 | 941260 | 33 | -33000 | -0.033
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972056 | 971964 | 92 | -92000 | -0.092 | 974768 | 975173 | -405 | 405000 | 0.405
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962735 | 962600 | 135 | -135000 | -0.135 | 825293 | 825303 | -10 | 10000 | 0.01
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 304 | 101 | 203 | -406000 | -0.406 | 3 | 2 | 1 | -2000 | -0.002
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 789 | 508 | 281 | -281000 | -0.281 | 69 | 61 | 8 | -8000 | -0.008
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22600 | 21939 | 661 | -661000 | -0.661 | 227 | 225 | 2 | -2000 | -0.002
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 4.962 |  |  |  |  | 0.773
| (B) NET ENERGY TO EAST | [8 empty] | 4.962 |  |  |  |  | 0.773
AUGUST-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 996744 | 996599 | 145 | -38667.15 | -0.038667 | 999883 | 999883 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1867 | 1813 | 54 | -27000 | -0.027 | 192 | 188 | 4 | -2000 | -0.002
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3623 | 3270 | 353 | -94130.98 | -0.094131 | 2219 | 2219 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 108976 | 107254 | 1722 | -172200 | -0.1722 | 152456 | 152454 | 2 | -200 | -0.0002
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 989301 | 989347 | -46 | 9200 | 0.0092 | 999330 | 999330 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 371 | 217 | 154 | -154000 | -0.154 | 22 | 21 | 1 | -1000 | -0.001
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2199 | 1911 | 288 | -230400 | -0.2304 | 2626 | 2626 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3499 | 3275 | 224 | -179200 | -0.1792 | 1314 | 1314 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 992603 | 993730 | -1127 | 901600 | 0.9016 | 998903 | 998903 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 959658 | 960473 | -815 | 652000 | 0.652 | 980449 | 980449 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 962293 | 963622 | -1329 | 1063200 | 1.0632 | 989870 | 989870 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996899 | 997261 | -362 | 724000 | 0.724 | 999568 | 999568 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995241 | 995892 | -651 | 1302000 | 1.302 | 999516 | 999516 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999938 | 999946 | -8 | 8000 | 0.008 | 27312 | 27400 | -88 | 88000 | 0.088
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970 | 970 | 0 | 0 | 0 | 61209 | 61215 | -6 | 6000 | 0.006
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 2077 | 1938 | 139 | -69500 | -0.0695
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2276 | 2264 | 12 | -8000.04 | -0.008 | 418 | 404 | 14 | -9333.38 | -0.0093334
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 602 | 579 | 23 | -11500 | -0.0115 | 399 | 368 | 31 | -15500 | -0.0155
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 56167 | 54480 | 1687 | -168700 | -0.1687 | 1729 | 1729 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999795 | 999743 | 52 | -6933.16 | -0.0069332 | 360 | 357 | 3 | -399.99 | -0.00039999
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996381 | 996382 | -1 | 100 | 0.0001 | 3228 | 3199 | 29 | -2900 | -0.0029
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7982 | 7806 | 176 | -17600 | -0.0176 | 12844 | 12634 | 210 | -21000 | -0.021
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10537 | 10145 | 392 | -39200 | -0.0392 | 2746 | 2635 | 111 | -11100 | -0.0111
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29620 | 29302 | 318 | -31800 | -0.0318 | 8253 | 8159 | 94 | -9400 | -0.0094
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 17020 | 15670 | 1350 | 1350 | 0.00135 | 38510 | 36150 | 2360 | 2360 | 0.00236
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 6150 | 5680 | 470 | 470 | 0.00047 | 149160 | 121130 | 28030 | 28030 | 0.02803
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 35300 | 32600 | 2700 | 2700 | 0.0027 | 453400 | 392600 | 60800 | 60800 | 0.0608
[10 empty] | 3.4853 |  |  |  |  | 0.042857
AUGUST-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.8362 |  |  |  |  | 0.10761
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.4853 |  |  |  |  | 0.042857
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.075588 |  |  |  |  | -0.059125
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 1.5735 |  |  |  |  | 0.091346
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 4.962 |  |  |  |  | 0.773
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 6.5355 |  |  |  |  | 0.86435
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 6.5355 | (REACTIVE MUs) |  |  |  | 0.86435 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.9633 | (REACTIVE MUs) |  |  |  | 0.013411 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.5722 | (REACTIVE MUs) |  |  |  | 0.87776 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998898 | 998887 | 11 | 55000 | 0.055 | 998779 | 998778 | 1 | 5000 | 0.005
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980262 | 980293 | -31 | -41333.23 | -0.041333 | 670565 | 670564 | 1 | 1333.33 | 0.0013333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 990001 | 990156 | -155 | -31000 | -0.031 | 1375 | 1372 | 3 | 600 | 0.0006
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 1000175 | 999977 | 198 | 263999.34 | 0.264 | 999772 | 999771 | 1 | 1333.33 | 0.0013333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 999045 | 998975 | 70 | 105000 | 0.105 | 999980 | 999980 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 15302 | 15632 | -330 | -33000 | -0.033 | 21955 | 21955 | 0 | 0 | 0
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 628846 | 627009 | 1837 | 137775 | 0.13778 | 979717 | 979717 | 0 | 0 | 0
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 973604 | 977070 | -3466 | -259950 | -0.25995 | 17385 | 17385 | 0 | 0 | 0
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 998733 | 998897 | -164 | -147600 | -0.1476 | 999881 | 999882 | -1 | -900 | -0.0009
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 995166 | 995523 | -357 | -35700 | -0.0357 | 265176 | 265176 | 0 | 0 | 0
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13715 | 13715 | 0 | 0 | 0 | 996488 | 996500 | -12 | 12000 | 0.012
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2423 | 2435 | -12 | 24000 | 0.024 | 997041 | 997045 | -4 | 8000 | 0.008
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16236 | 16068 | 168 | -168000 | -0.168 | 996316 | 996315 | 1 | -1000 | -0.001
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953142 | 953089 | 53 | -53000 | -0.053 | 989129 | 989761 | -632 | 632000 | 0.632
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 89167 | 88656 | 511 | -511000 | -0.511 | 18974 | 18973 | 1 | -1000 | -0.001
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 71773 | 71678 | 95 | -47500 | -0.0475 | 35972 | 35973 | -1 | 500 | 0.0005
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16976 | 16731 | 245 | -490000 | -0.49 | 998482 | 998482 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939832 | 940346 | -514 | 514000 | 0.514 | 814024 | 814024 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 14705 | 13976 | 729 | -583200 | -0.5832 | 1102 | 1106 | -4 | 3200 | 0.0032
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 60902 | 60644 | 258 | -206400 | -0.2064 | 998216 | 998219 | -3 | 2400 | 0.0024
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973724 | 973888 | -164 | 164000 | 0.164 | 961055 | 961058 | -3 | 3000 | 0.003
[5 empty] | -1000 | 981201 | 982757 | -1556 | 1556000 | 1.556
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 975641 | 978522 | -2881 | 5762000 | 5.762 | 992244 | 992255 | -11 | 22000 | 0.022
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 929965 | 931420 | -1455 | 2910000 | 2.91 | 983823 | 983825 | -2 | 4000 | 0.004
[5 empty] | -2000 | 935244 | 935537 | -293 | 586000 | 0.586
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10255 | 10478 | -223 | 223000 | 0.223 | 997134 | 997154 | -20 | 20000 | 0.02
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4989 | 5122 | -133 | 133000 | 0.133 | 53 | 53 | 0 | 0 | 0
[5 empty] | -1000 |  |  |  |  | 0.065 | [5 empty] | Last month Assessment
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980247 | 980811 | -564 | 564000 | 0.564 | 9 | 9 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 161376 | 161162 | 214 | -214000 | -0.214 | 55221 | 55158 | 63 | -63000 | -0.063
[5 empty] | -1000 |  |  |  |  | 0.122 | 52801 | 52731 | 70 | -70000 | -0.07
[5 empty] | -1000 | [5 empty] | 42865 | 42800 | 65 | -65000 | -0.065
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 343 | 331 | 12 | 9600 | 0.0096 | 680 | 697 | -17 | -13600 | -0.0136
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955543 | 957686 | -2143 | 2143000 | 2.143 | 965552 | 965552 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981520 | 982703 | -1183 | 1183000 | 1.183 | 984014 | 984014 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53246 | 51391 | 1855 | -1855000 | -1.855 | 985569 | 985569 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 17778 | 17762 | 16 | -12800 | -0.0128 | 999003 | 999003 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 36157 | 36152 | 5 | -8000 | -0.008 | 978825 | 978825 | 0 | 0 | 0
[5 empty] | -1600 | [5 empty] | 999866 | 999866 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996692 | 996692 | 0 | 0 | 0 | 984446 | 984545 | -99 | 198000 | 0.198
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5985 | 5985 | 0 | 0 | 0 | 989749 | 990425 | -676 | 338000 | 0.338
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21440 | 21448 | -8 | 8000 | 0.008 | 31865 | 31915 | -50 | 50000 | 0.05
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 208 | 190 | 18 | -18000 | -0.018 | 995947 | 995999 | -52 | 52000 | 0.052
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999919 | 999913 | 6 | -6000 | -0.006 | 999426 | 999466 | -40 | 40000 | 0.04
BRPL(+) continue | [14 empty] | AUGUST-2020
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47324 | 47291 | 33 | -33000 | -0.033 | 999436 | 999369 | 67 | -67000 | -0.067
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8598 | 8583 | 15 | -15000 | -0.015 | 999696 | 999529 | 167 | -167000 | -0.167
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2365 | 2105 | 260 | -260000 | -0.26 | 999649 | 999923 | -274 | 274000 | 0.274
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21 | 18 | 3 | -3000 | -0.003 | 168 | 98 | 70 | -70000 | -0.07
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1165 | 1169 | -4 | 4000 | 0.004 | 924922 | 924924 | -2 | 2000 | 0.002
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37967 | 37948 | 19 | -19000 | -0.019 | 7791 | 7718 | 73 | -73000 | -0.073
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 115 | 113 | 2 | -4000 | -0.004 | 999581 | 999663 | -82 | 164000 | 0.164
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61472 | 60982 | 490 | -490000 | -0.49 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 33499 | 32033 | 1466 | -2932000 | -2.932 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8888 | 8886 | 2 | -4000 | -0.004 | 2611 | 2580 | 31 | -62000 | -0.062
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6991 | 6977 | 14 | -28000 | -0.028 | 1498 | 1486 | 12 | -24000 | -0.024
MASJID MOD
52 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 916234 | 917399 | -1165 | 1165000 | 1.165 | 979168 | 979168 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998292 | 999544 | -1252 | 1252000 | 1.252 | 994716 | 994716 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999477 | 1000515 | -1038 | 1038000 | 1.038 | 987095 | 987095 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999832 | 999895 | 0 | 0 | 0 | 999994 | 999994 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 981779 | 981779 | 0 | 0 | 0 | 612 | 612 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 950391 | 950527 | -136 | -108800 | -0.1088 | 999488 | 999494 | -6 | -4800 | -0.0048
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999496 | 999516 | -20 | -16000 | -0.016 | 999835 | 999829 | 6 | 4800 | 0.0048
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996370 | 996348 | 22 | 17600 | 0.0176 | 43 | 35 | 8 | 6400 | 0.0064
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995241 | 995892 | -651 | -1302000 | -1.302 | 999516 | 999516 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 73313 | 71210 | 2103 | -4206000 | -4.206 | 923 | 923 | 0 | 0 | 0
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16495 | 15071 | 1424 | -1424000 | -1.424 | 2798 | 2798 | 0 | 0 | 0
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 116304 | 116414 | -110 | 110000 | 0.11 | 1469 | 1469 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15443 | 15405 | 38 | 3800 | 0.0038 | 143424 | 143076 | 348 | 34800 | 0.0348
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997441 | 997452 | -11 | -2062.5 | -0.0020625 | 999877 | 999924 | -47 | -8812.5 | -0.0088125
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 949866 | 949867 | -1 | -400 | -0.0004 | 993121 | 993101 | 20 | 8000 | 0.008
[5 empty] | 400 | [5 empty] | 992940 | 993354 | -414 | -165600 | -0.1656
[5 empty] | 400 | [5 empty] | 997956 | 997977 | -21 | -8400 | -0.0084
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 10618 | 10619 | -1 | -400 | -0.0004 | 73250 | 73180 | 70 | 28000 | 0.028
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 915586 | 918785 | -3199 | -2559200 | -2.5592 | 997978 | 997978 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 447628 | 447192 | 436 | 43600 | 0.0436 | 85633 | 85516 | 117 | 11700 | 0.0117
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4030 | 3997 | 33 | 33000 | 0.033 | 1876 | 1868 | 8 | 8000 | 0.008
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10809 | 0 | 0 | 0 | 23184 | 22800 | 384 | 28800 | 0.0288
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5309 | 0 | 0 | 0 | 15726 | 15247 | 479 | 47900 | 0.0479
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8877 | 8854 | 23 | 11500 | 0.0115 | 3218 | 3228 | -10 | -5000 | -0.005
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999208 | 999205 | 3 | 3000 | 0.003 | 4215 | 4201 | 14 | 14000 | 0.014
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985832 | 985835 | -3 | -3000 | -0.003 | 933 | 915 | 18 | 18000 | 0.018
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6304 | 6303 | 1 | 1000 | 0.001 | 6679 | 6636 | 43 | 43000 | 0.043
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3577 | 3524 | 53 | 8480 | 0.00848 | 1451 | 1062 | 389 | 62240 | 0.06224
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3905 | 3752 | 153 | 15300 | 0.0153 | 909914 | 909498 | 416 | 41600 | 0.0416
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4066 | 4058 | 8 | 8000 | 0.008 | 1107 | 1094 | 13 | 13000 | 0.013
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4630 | 4622 | 8 | 8000 | 0.008 | 7423 | 7373 | 50 | 50000 | 0.05
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 997003 | 996921 | 82 | 16400 | 0.0164 | 14603 | 14460 | 143 | 28600 | 0.0286
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993329 | 993555 | -226 | -42375 | -0.042375 | 5421 | 5439 | -18 | -3375 | -0.003375
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 992251 | 992387 | -136 | -25500 | -0.0255 | 4073 | 4078 | -5 | -937.5 | -0.0009375
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3732 | 3501 | 231 | 57750 | 0.05775 | 8032 | 8010 | 22 | 5500 | 0.0055
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 996633 | 996340 | 293 | 29300 | 0.0293 | 29665 | 29346 | 319 | 31900 | 0.0319
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.1549 |  |  |  |  | 1.4452
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 22036 | 21968 | 68 | -34000 | -0.034 | 4883 | 4883 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993879 | 993879 | 0 | 0 | 0 | 8407 | 8845 | -438 | 58398.54 | 0.058399
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1296 | 1296 | 0 | 0 | 0 | 998482 | 998440 | 42 | -42000 | -0.042
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996283 | 996413 | -130 | 130000 | 0.13 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9127 | 9125 | 2 | -320 | -0.00032 | 28594 | 27966 | 628 | -100480 | -0.10048
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3857 | 3857 | 0 | 0 | 0 | 7851 | 7992 | -141 | 28200 | 0.0282
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983198 | 983329 | -131 | 131000 | 0.131 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102416 | 102365 | 51 | -5100 | -0.0051 | 75860 | 75857 | 3 | -300 | -0.0003
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4649 | 4212 | 437 | -43700 | -0.0437 | 1372 | 1363 | 9 | -900 | -0.0009
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 18258 | 18121 | 137 | -13700 | -0.0137 | 70821 | 70821 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999477 | 999462 | 15 | -1500 | -0.0015 | 999576 | 999566 | 10 | -1000 | -0.001
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3072 | 3055 | 17 | -1700 | -0.0017 | 30382 | 30190 | 192 | -19200 | -0.0192
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 775 | 773 | 2 | -2666 | -0.002666 | 548 | 538 | 10 | -13330 | -0.01333
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1600 | 1592 | 8 | -800 | -0.0008
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1898 | 1883 | 15 | -1500 | -0.0015 | 2655 | 2293 | 362 | -36200 | -0.0362
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999452 | 999439 | 13 | -5200 | -0.0052
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 993772 | 993666 | 106 | -84800 | -0.0848 | 6014 | 6014 | 0 | 0 | 0
[5 empty] | -800 | 12080 | 12207 | -127 | 101600 | 0.1016
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992370 | 992669 | -299 | 299000 | 0.299 | 2207 | 2196 | 11 | -11000 | -0.011
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1937 | 1893 | 44 | -33000 | -0.033 | 3312 | 3310 | 2 | -1500 | -0.0015
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.43961 |  |  |  |  | -0.14531
AUGUST-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.1549 |  |  |  |  | 1.4452
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.43961 |  |  |  |  | -0.14531
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.21724 |  |  |  |  | 0.0167
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.31605 |  |  |  |  | -0.004175
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 2.4957 |  |  |  |  | 1.3124
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.4957 | (REACTIVE MUs) |  |  |  | 1.3124 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.5873 | (REACTIVE MUs) |  |  |  | 0.024504 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.0917 | (REACTIVE MUs) |  |  |  | 1.3369 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3623 | 3270 | 353 | 94134.51 | 0.094135 | 2219 | 2219 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 108976 | 107254 | 1722 | 172200 | 0.1722 | 152456 | 152454 | 2 | 200 | 0.0002
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 989301 | 989347 | -46 | -9200 | -0.0092 | 999330 | 999330 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 371 | 217 | 154 | 154000 | 0.154 | 22 | 21 | 1 | 1000 | 0.001
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2199 | 1911 | 288 | 230400 | 0.2304 | 2626 | 2626 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3499 | 3275 | 224 | 179200 | 0.1792 | 1314 | 1314 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 992603 | 993730 | -1127 | -901600 | -0.9016 | 998903 | 998903 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 959658 | 960473 | -815 | -652000 | -0.652 | 980449 | 980449 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 962293 | 963622 | -1329 | -1063200 | -1.0632 | 989870 | 989870 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996899 | 997261 | -362 | -724000 | -0.724 | 999568 | 999568 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 969982 | 970931 | -949 | -47450 | -0.04745 | 20086 | 20074 | 12 | 600 | 0.0006
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 974444 | 974926 | -482 | -36150 | -0.03615 | 22554 | 22554 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998844 | 998860 | -16 | -8000 | -0.008 | 5479 | 5478 | 1 | 500 | 0.0005
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997308 | 997371 | -63 | -23625 | -0.023625 | 7372 | 7373 | -1 | -375 | -0.000375
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 991654 | 992222 | -568 | -56800 | -0.0568 | 999554 | 999554 | 0 | 0 | 0
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 13011 | 12252 | 759 | 56925 | 0.056925 | 40613 | 40601 | 12 | 900 | 0.0009
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11492 | 11833 | -341 | -34100 | -0.0341 | 2065 | 2065 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995576 | 995576 | 0 | 0 | 0 | 104834 | 104859 | -25 | -25000 | -0.025
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994303 | 994303 | 0 | 0 | 0 | 2181 | 1971 | 210 | 210000 | 0.21
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985061 | 985061 | 0 | 0 | 0 | 144988 | 144910 | 78 | 78000 | 0.078
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999203 | 999204 | -1 | -2500 | -0.0025 | 505 | 517 | -12 | -30000 | -0.03
[10 empty] | -0.0025 |  |  |  |  | 0.233
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996283 | 996413 | -130 | -130000 | -0.13 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9127 | 9125 | 2 | 320 | 0.00032 | 28594 | 27966 | 628 | 100480 | 0.10048
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3857 | 3857 | 0 | 0 | 0 | 7851 | 7992 | -141 | -28200 | -0.0282
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983198 | 983329 | -131 | -131000 | -0.131 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
AUGUST-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996241 | 996304 | -63 | 63000 | 0.063 | 990071 | 990105 | -34 | 34000 | 0.034
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997561 | 997654 | -93 | 93000 | 0.093 | 995851 | 995880 | -29 | 29000 | 0.029
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997485 | 997506 | -21 | 42000 | 0.042 | 996866 | 996871 | -5 | 10000 | 0.01
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998965 | 999003 | -38 | 38000 | 0.038 | 996083 | 996095 | -12 | 12000 | 0.012
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102416 | 102365 | 51 | 5100 | 0.0051 | 75860 | 75857 | 3 | 300 | 0.0003
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4649 | 4212 | 437 | 43700 | 0.0437 | 1372 | 1363 | 9 | 900 | 0.0009
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 18258 | 18121 | 137 | 13700 | 0.0137 | 70821 | 70821 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 500 | 22036 | 21968 | 68 | 34000 | 0.034 | 4883 | 4883 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 447628 | 447192 | 436 | -43600 | -0.0436 | 85633 | 85516 | 117 | -11700 | -0.0117
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4030 | 3997 | 33 | -33000 | -0.033 | 1876 | 1868 | 8 | -8000 | -0.008
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10809 | 0 | 0 | 0 | 23184 | 22800 | 384 | -28800 | -0.0288
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5309 | 0 | 0 | 0 | 15726 | 15247 | 479 | -47900 | -0.0479
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.6765 |  |  |  |  | 0.2979
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.6765 |  |  |  |  | 0.2979
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.32512 |  |  |  |  | 0.0022208
| TOTAL ENERGY TO NDMC | [8 empty] | -3.0017 |  |  |  |  | 0.30013

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3654 | 3654 | 0 | 0 | 0 | 64760 | 63070 | 1690 | 338000 | 0.338
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 32 | 32 | 0 | 0 | 0 | 21660 | 20077 | 1583 | 253280 | 0.25328
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4510 | 4510 | 0 | 0 | 0 | 57932 | 57479 | 453 | 453000 | 0.453
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 165 | 165 | 0 | 0 | 0 | 17060 | 17184 | -124 | -49600 | -0.0496
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 14 | 14 | 0 | 0 | 0 | 667 | 622 | 45 | 36000 | 0.036
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1440 | 1440 | 0 | 0 | 0 | 5289 | 5257 | 32 | 12800 | 0.0128
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1296 | 1296 | 0 | 0 | 0 | 998482 | 998440 | 42 | 42000 | 0.042
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 1.0855
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 71439 | 69120 | 2319 | 231900 | 0.2319 | 104375 | 104375 | 0 | 0 | 0
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 587 | 587 | 0 | 0 | 0 | 72 | 72 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3024 | 1902 | 1122 | 84150 | 0.08415 | 26692 | 26663 | 29 | 2175 | 0.002175
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 77 | 75 | 2 | 2000 | 0.002
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1706 | 1706 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4366 | 4366 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.31605 |  |  |  |  | 0.004175
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 1.0855
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.31605 |  |  |  |  | 1.0897
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.31605 | (REACTIVE MUs) |  |  |  | 1.0897 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.059762 | (REACTIVE MUs) |  |  |  | 0.00040822 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.25629 | (REACTIVE MUs) |  |  |  | 1.0901 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989623 | 989654 | -31 | -19375 | -0.019375 | 999993 | 999992 | 1 | 625 | 0.000625
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990789 | 990780 | 9 | 5625 | 0.005625 | 999855 | 999853 | 2 | 1250 | 0.00125
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 993772 | 993666 | 106 | 84800 | 0.0848 | 6014 | 6014 | 0 | 0 | 0
FED FROM BYPL (RLY.) |  |  |  |  | 800 | 12080 | 12207 | -127 | -101600 | -0.1016
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 17020 | 15670 | 1350 | -1350 | -0.00135 | 38510 | 36150 | 2360 | -2360 | -0.00236
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 6150 | 5680 | 470 | -470 | -0.00047 | 149160 | 121130 | 28030 | -28030 | -0.02803
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 35300 | 32600 | 2700 | -2700 | -0.0027 | 453400 | 392600 | 60800 | -60800 | -0.0608
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.03507 |  |  |  |  | -0.089315
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.01843 |  |  |  |  | 0.00012589
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.0535 |  |  |  |  | -0.089189

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 950208 | 950170 | 38 | 3800 | 0.0038 | 2252 | 2193 | 59 | 5900 | 0.0059
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57257 | 57202 | 55 | 5500 | 0.0055 | 6245 | 6067 | 178 | 17800 | 0.0178
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 17264 | 16870 | 394 | 197000 | 0.197 | 3958 | 3997 | -39 | -19500 | -0.0195
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998767 | 998782 | -15 | -14062.5 | -0.014063 | 44 | 60 | -16 | -15000 | -0.015
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993919 | 993931 | -12 | 12000 | 0.012 | 999719 | 999745 | -26 | 26000 | 0.026
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 992489 | 992515 | -26 | 13000 | 0.013 | 999903 | 999906 | -3 | 1500 | 0.0015
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 230 | 230 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.21724 |  |  |  |  | 0.0167
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 970551 | 970943 | -392 | -78400 | -0.0784 | 999780 | 999860 | -80 | -16000 | -0.016
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987856 | 987853 | 3 | 2812.5 | 0.0028125 | 999724 | 999770 | -46 | -43125 | -0.043125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.075588 |  |  |  |  | -0.059125
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1871 | 1884 | -13 | -16250 | -0.01625 | 999832 | 999862 | -30 | -37500 | -0.0375
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 369384 | 369217 | 167 | 16700 | 0.0167 | 247333 | 246896 | 437 | 43700 | 0.0437
[5 empty] | 100 | [5 empty] | 179252 | 179253 | -1 | -100 | -0.0001
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 337109 | 336596 | 513 | 32062.5 | 0.032063 | 74199 | 73388 | 811 | 50687.5 | 0.050688
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1365 | 1431 | -66 | -52800 | -0.0528 | 1603 | 1616 | -13 | -10400 | -0.0104
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 953935 | 953983 | -48 | -9600 | -0.0096 | 998822 | 998909 | -87 | -17400 | -0.0174
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 990351 | 990337 | 14 | 2100 | 0.0021 | 989413 | 989645 | -232 | -34800 | -0.0348
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997254 | 997258 | -4 | 10000 | 0.01 | 3047 | 3050 | -3 | 7500 | 0.0075
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 230 | 230 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.017788 |  |  |  |  | 0.0016875
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.21724 |  |  |  |  | 0.0167
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.075588 |  |  |  |  | -0.059125
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.017788 |  |  |  |  | 0.0016875

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 100953 | 100831 | 122 | 122000 | 0.122 | 25924 | 25800 | 124 | 124000 | 0.124
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 4697 | 4690 | 7 | 14000 | 0.014 | 731 | 661 | 70 | 140000 | 0.14
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 934399 | 936046 | -1647 | 823500 | 0.8235 | 998212 | 998337 | -125 | 62500 | 0.0625
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 580564 | 581148 | -584 | 58400 | 0.0584 | 984126 | 984129 | -3 | 300 | 0.0003
[7 empty] | NET REACTIVE ENERGY |  |  | 1.0179 |  | NET REACTIVE ENERGY |  |  | 0.3268
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.0179 |  |  |  |  | 0.3268
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -8.3357 |  |  |  |  | -0.014
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.361 |  |  |  |  | -0.4865
[7 empty] | NDMC = |  |  | -0.0025 |  |  |  |  | 0.233
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -9.6992 |  |  |  |  | -0.2675
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -8.6813 |  |  |  |  | 0.0593
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.4162 | % |  |  | -2.7273 |  |  |  |  | 0.01863
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.3226 | % |  |  | -3.5873 |  |  |  |  | 0.024504
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6154 | % |  |  | -1.9633 |  |  |  |  | 0.013411
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.7451 | % |  |  | -0.32512 |  |  |  |  | 0.0022208
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6884 | % |  |  | -0.059762 |  |  |  |  | 0.00040822
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2123 | % |  |  | -0.01843 |  |  |  |  | 0.00012589
Note :Sharing taken from wk-22 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st August-2020 TO 31st August-2020
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -17.218 |  | -1.9645
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -1.0917 | + | 1.3369
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 4.5722 | + | 0.87776
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -3.0017 | + | 0.30013
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.25629 | + | 1.0901
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.0535 |  | -0.089189
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2020 | INTIAL READING 01/08/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83