## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964595 | 964776 | -181 | 181000 | 0.181 | 993310 | 993395 | -85 | 85000 | 0.085
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 86395 | 85909 | 486 | -972000 | -0.972 | 4985 | 4982 | 3 | -6000 | -0.006
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3224 | 2598 | 626 | -626000 | -0.626 | 418 | 423 | -5 | 5000 | 0.005
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31943 | 31781 | 162 | -162000 | -0.162 | 96759 | 96873 | -114 | 114000 | 0.114
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998486 | 0 | 0 | 0 | 986465 | 987009 | -544 | 544000 | 0.544 | Data till 21/8/21
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898577 | 898572 | 5 | -5000 | -0.005 | 26905 | 26899 | 6 | -6000 | -0.006
| ROHINI | [8 empty] | s
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10118 | 9697 | 421 | -421000 | -0.421 | 999811 | 999815 | -4 | 4000 | 0.004
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21816 | 21507 | 309 | -309000 | -0.309 | 997984 | 997989 | -5 | 5000 | 0.005
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14005 | 14030 | -25 | 25000 | 0.025 | 996976 | 997056 | -80 | 80000 | 0.08
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 975059 | 975258 | -199 | 99500 | 0.0995 | 837119 | 837284 | -165 | 82500 | 0.0825
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 834 | 887 | -53 | 53000 | 0.053 | 998385 | 998411 | -26 | 26000 | 0.026
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9358 | 9492 | -134 | 134000 | 0.134 | 999604 | 999631 | -27 | 27000 | 0.027
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52330 | 52340 | -10 | 10000 | 0.01 | 996582 | 996609 | -27 | 27000 | 0.027
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 21830 | 21414 | 416 | -416 | -0.416 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 752921 | 753743 | -822 | -822000 | -0.822 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 854351 | 857226 | -2875 | -1437500 | -1.4375 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12525 | 12476 | 49 | -49000 | -0.049 | 999381 | 999564 | -183 | 183000 | 0.183
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 64048 | 63244 | 804 | -402000 | -0.402 | 440 | 479 | -39 | 19500 | 0.0195
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54717 | 54322 | 395 | -395000 | -0.395 | 998769 | 998752 | 17 | -17000 | -0.017
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999858 | 999856 | 2 | 2000 | 0.002 | 988712 | 988512 | 200 | 200000 | 0.2
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999936 | 999933 | 3 | 12000 | 0.012 | 999839 | 999821 | 18 | 72000 | 0.072
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1628 | 1542 | 86 | 43000 | 0.043 | 15062 | 14959 | 103 | 51500 | 0.0515
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 50321 | 47070 | 3251 | 162550 | 0.16255 | 214260 | 213403 | 857 | 42850 | 0.04285
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999769 | 999769 | 0 | 0 | 0 | 996265 | 996536 | -271 | -271000 | -0.271
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999451 | 999451 | 0 | 0 | 0 | 999548 | 999248 | 300 | 300000 | 0.3
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 45837 | 46788 | -951 | -95100 | -0.0951 | 193628 | 193447 | 181 | 18100 | 0.0181
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994288 | 994297 | -9 | -9000 | -0.009 | 997992 | 998335 | -343 | -343000 | -0.343
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 928894 | 929050 | -156 | -78000 | -0.078 | 999477 | 999501 | -24 | -12000 | -0.012
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 995458 | 995253 | 205 | 54667.35 | 0.054667 | 83 | 41 | 42 | 11200.14 | 0.0112
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2233 | 2233 | 0 | 0 | 0 | 1139 | 929 | 210 | 105000 | 0.105
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46584 | 46708 | -124 | 124000 | 0.124 | 996515 | 996535 | -20 | 20000 | 0.02
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 249617 | 247776 | 1841 | -920500 | -0.9205 | 17481 | 17495 | -14 | 7000 | 0.007
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7851 | 7630 | 221 | -442000 | -0.442 | 999498 | 999510 | -12 | 24000 | 0.024
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57864 | 57653 | 211 | -211000 | -0.211 | 997589 | 998299 | -710 | 710000 | 0.71
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 135159 | 133176 | 1983 | -3966000 | -3.966 | 293 | 293 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 127987 | 125877 | 2110 | -2110000 | -2.11 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 175699 | 171292 | 4407 | -1468985.31 | -1.469 | 228 | 218 | 10 | -3333.3 | -0.0033333
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2771 | 1735 | 1036 | -2072000 | -2.072 | 2 | 1 | 1 | -2000 | -0.002
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22143 | 22110 | 33 | -66000 | -0.066 | 469 | 423 | 46 | -92000 | -0.092
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 82135 | 82043 | 92 | -92000 | -0.092 | 2089 | 2006 | 83 | -83000 | -0.083
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 1882000 | 1882000 | 0 | 0 | 0 | 1077000 | 683000 | 394000 | 394000 | 0.394
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 10955000 | 10955000 | 0 | 0 | 0 | 1140000 | 770000 | 370000 | 370000 | 0.37
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5994 | 6534 | -540 | 540000 | 0.54 | 997665 | 997665 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51845 | 52358 | -513 | 513000 | 0.513 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998305 | 998407 | -102 | -102000 | -0.102 | 26343 | 26355 | -12 | -12000 | -0.012
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | AUGUST-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 999660 | 999668 | -8 | -800 | -0.0008 | 999849 | 999878 | -29 | -2900 | -0.0029
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3191 | 3191 | 0 | 0 | 0 | 31704 | 31148 | 556 | 55600 | 0.0556
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 765 | 765 | 0 | 0 | 0 | 585 | 583 | 2 | 2666 | 0.002666
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3197 | 3197 | 0 | 0 | 0 | 2146 | 2146 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2015 | 2015 | 0 | 0 | 0 | 4327 | 4081 | 246 | 24600 | 0.0246
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999805 | 999802 | 3 | 1500 | 0.0015 | 2257 | 2243 | 14 | 7000 | 0.007
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 5 | 0 | 5 | 2500 | 0.0025 | 145 | 121 | 24 | 12000 | 0.012
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1025 | 1018 | 7 | 3500 | 0.0035 | 963 | 921 | 42 | 21000 | 0.021
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 994365 | 994373 | -8 | -800 | -0.0008 | 2718 | 2678 | 40 | 4000 | 0.004
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8453 | 8197 | 256 | 25600 | 0.0256 | 14803 | 14632 | 171 | 17100 | 0.0171
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 11442 | 11227 | 215 | 21500 | 0.0215 | 5601 | 5412 | 189 | 18900 | 0.0189
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 30316 | 30162 | 154 | 15400 | 0.0154 | 10871 | 10715 | 156 | 15600 | 0.0156
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 61111 | 60529 | 582 | 58200 | 0.0582 | 2406 | 2282 | 124 | 12400 | 0.0124
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 1000046 | 999925 | 121 | 16132.93 | 0.016133 | 472 | 467 | 5 | 666.65 | 0.00066665
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 960464 | 960991 | -527 | -421600 | -0.4216 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994769 | 994875 | -106 | -212000 | -0.212 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 974475 | 973833 | 642 | 128400 | 0.1284 | 1723 | 1723 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 995755 | 996017 | -262 | -65500 | -0.0655 | 733 | 733 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988170 | 988304 | -134 | -134000 | -0.134 | 2363 | 2359 | 4 | 4000 | 0.004
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1623 | 1499 | 124 | 93000 | 0.093 | 3410 | 3372 | 38 | 28500 | 0.0285
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -16.1643 |  |  |  |  | 2.9014
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 23861 | 21385 | 2476 | -247600 | -0.2476 | 149937 | 149844 | 93 | -9300 | -0.0093
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 849 | 854 | -5 | 5000 | 0.005 | 517 | 485 | 32 | -32000 | -0.032
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4401 | 4443 | -42 | 5599.86 | 0.0055999 | 7293 | 7000 | 293 | -39065.69 | -0.039066
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997177 | 997193 | -16 | 3000 | 0.003 | 999097 | 999173 | -76 | 14250 | 0.01425
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 902934 | 903878 | -944 | 755200 | 0.7552 | 997776 | 997781 | -5 | 4000 | 0.004
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990410 | 990213 | 197 | -123125 | -0.12312 | 201 | 183 | 18 | -11250 | -0.01125
9 | 66KV RLY Ckt-1 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -500 | 987456 | 987438 | 18 | -9000 | -0.009 | 999926 | 999879 | 47 | -23500 | -0.0235 | Check meter data
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994784 | 994695 | 89 | -17800 | -0.0178 | 15245 | 14938 | 307 | -61400 | -0.0614
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990398 | 990446 | -48 | 9000 | 0.009 | 4796 | 4849 | -53 | 9937.5 | 0.0099375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987399 | 987483 | -84 | 15750 | 0.01575 | 3872 | 3912 | -40 | 7500 | 0.0075
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4553 | 4543 | 10 | -2500 | -0.0025 | 8122 | 8115 | 7 | -1750 | -0.00175
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994667 | 994650 | 17 | -1700 | -0.0017 | 29815 | 29740 | 75 | -7500 | -0.0075
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.39182 |  |  |  |  | -0.15008
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -16.1643 |  |  |  |  | 2.9014
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.39182 |  |  |  |  | -0.15008
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.0025 |  |  |  |  | -1.4576
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -15.77 |  |  |  |  | 1.2937
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -15.77 | (REACTIVE MUs) |  |  |  | 1.2937 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.1569 | (REACTIVE MUs) |  |  |  | 0.023476 | (REACTIVE MUs)
[9 empty] | TOTAL | -18.9269 | (REACTIVE MUs) |  |  |  | 1.3172 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 37185 | 36653 | 532 | 142044 | 0.14204 | 994566 | 994549 | 17 | 4539 | 0.004539
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11523 | 11409 | 114 | 34200 | 0.0342 | 2874 | 2998 | -124 | -37200 | -0.0372
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 100 | 23661 | 23295 | 366 | 36600 | 0.0366 | 32517 | 32232 | 285 | 28500 | 0.0285
4 | IG STD- BAY-29 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 997953 | 998166 | -213 | -21300 | -0.0213 | 143 | 133 | 10 | 1000 | 0.001
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 51 | 34 | 17 | 27200 | 0.0272 | 43 | 26 | 17 | 27200 | 0.0272
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 18343 | 17833 | 510 | 51000 | 0.051 | 4947 | 4886 | 61 | 6100 | 0.0061
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 290686 | 286194 | 4492 | 336900 | 0.3369 | 903951 | 903951 | 0 | 0 | 0
|  | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 978572 | 978642 | -70 | -7000 | -0.007 | 998414 | 998425 | -11 | -1100 | -0.0011 | w.e.f 9/8/21
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975813 | 975960 | -147 | -147000 | -0.147 | 2274 | 2274 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 984218 | 984384 | -166 | -83000 | -0.083 | 219 | 219 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997954 | 998074 | -120 | -120000 | -0.12 | 999999 | 999999 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983673 | 983802 | -129 | -129000 | -0.129 | 1356 | 1356 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000113 | 999955 | 158 | 158000 | 0.158 | 1000003 | 999999 | 4 | 4000 | 0.004
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993841 | 993940 | -99 | -99000 | -0.099 | 998606 | 998568 | 38 | 38000 | 0.038
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992745 | 992864 | -119 | -119000 | -0.119 | 349 | 349 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994747 | 994807 | -60 | -48000 | -0.048 | 5238 | 5238 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14410 | 15106 | -696 | -92797.68 | -0.092798 | 3674 | 3674 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 767 | 826 | -59 | -59000 | -0.059 | 17474 | 17474 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 968607 | 969079 | -472 | -590000 | -0.59 | 947204 | 947244 | -40 | -50000 | -0.05
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976248 | 977129 | -881 | -881000 | -0.881 | 933587 | 933695 | -108 | -108000 | -0.108
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997840 | 998096 | -256 | -256000 | -0.256 | 998715 | 998750 | -35 | -35000 | -0.035
| KASHMIRI GATE | [8 empty] | -1.727 |  |  |  |  | -0.193
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984822 | 984836 | -14 | 14000 | 0.014 | 996055 | 996783 | -728 | 728000 | 0.728
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981115 | 981121 | -6 | 6000 | 0.006 | 997944 | 998020 | -76 | 76000 | 0.076
[5 empty] | -1000 | 982115 | 982235 | -120 | 120000 | 0.12
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999640 | 0 | 0 | 0 | 13934 | 13708 | 226 | 226000 | 0.226
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 247813 | 243616 | 4197 | -4197000 | -4.197 | 9242 | 9242 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58839 | 58101 | 738 | -738000 | -0.738 | 199 | 287 | -88 | 88000 | 0.088
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4928 | 4864 | 64 | -64000 | -0.064 | 999056 | 999091 | -35 | 35000 | 0.035
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4521 | 4394 | 127 | -127000 | -0.127 | 998164 | 998166 | -2 | 2000 | 0.002
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88281 | 87637 | 644 | -644000 | -0.644 | 982830 | 982830 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68027 | 66618 | 1409 | -1409000 | -1.409 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 49799 | 48494 | 1305 | -2610000 | -2.61 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 849 | 854 | -5 | -5000 | -0.005 | 517 | 485 | 32 | 32000 | 0.032
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4401 | 4443 | -42 | -5599.86 | -0.0055999 | 7293 | 7000 | 293 | 39065.69 | 0.039066
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993250 | 993250 | 0 | 0 | 0 | 12828 | 11334 | 1494 | 198702 | 0.1987
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949357 | 949887 | -530 | 530000 | 0.53 | 990121 | 990121 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969156 | 969839 | -683 | 683000 | 0.683 | 981160 | 981160 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -10.3128 |  |  |  |  | 1.3028
| (A) NET ENERGY TO CENTRAL | [8 empty] | -10.3128 |  |  |  |  | 1.3028
AUGUST-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990328 | 990341 | -13 | 13000 | 0.013 | 993645 | 994291 | -646 | 646000 | 0.646
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979019 | 979025 | -6 | 6000 | 0.006 | 929718 | 930644 | -926 | 926000 | 0.926
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992352 | 992363 | -11 | 11000 | 0.011 | 993340 | 994136 | -796 | 796000 | 0.796
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993363 | 993562 | -199 | 199000 | 0.199 | 995571 | 996004 | -433 | 433000 | 0.433
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34621 | 34607 | 14 | -14000 | -0.014 | 997623 | 997713 | -90 | 90000 | 0.09
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 2554 | 2586 | -32 | 16000 | 0.016 | 182 | 367 | -185 | 92500 | 0.0925
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76 | 253 | -177 | 177000 | 0.177 | 999501 | 999633 | -132 | 132000 | 0.132
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1605 | 1605 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2077 | 2233 | -156 | 156000 | 0.156 | 999509 | 999615 | -106 | 106000 | 0.106
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934499 | 934327 | 172 | -172000 | -0.172 | 978386 | 978498 | -112 | 112000 | 0.112
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979297 | 979295 | 2 | -2000 | -0.002 | 955669 | 955533 | 136 | -136000 | -0.136
[5 empty] | -1000 | 978513 | 978424 | 89 | -89000 | -0.089
[5 empty] | -1000 | 985918 | 985926 | -8 | 8000 | 0.008
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966413 | 966407 | 6 | -6000 | -0.006 | 823871 | 824237 | -366 | 366000 | 0.366
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 10272 | 10038 | 234 | -1170000 | -1.17 | 34 | 34 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8381 | 7226 | 1155 | -1155000 | -1.155 | 77 | 77 | 0 | 0 | 0
15 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -2000 | 447 | 303 | 144 | -288000 | -0.288 | 999990 | 999990 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.31 |  |  |  |  | 3.5635
| (B) NET ENERGY TO EAST | [8 empty] | -2.31 |  |  |  |  | 3.5635
AUGUST-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 995458 | 995253 | 205 | -54667.35 | -0.054667 | 83 | 41 | 42 | -11200.14 | -0.0112
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2233 | 2233 | 0 | 0 | 0 | 1139 | 929 | 210 | -105000 | -0.105
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2429 | 2483 | -54 | 14399.64 | 0.0144 | 2323 | 2320 | 3 | -799.98 | -0.00079998
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 999905 | 1000000 | -95 | 9500 | 0.0095 | 999990 | 1000000 | -10 | 1000 | 0.001 | w.e.f 20/7/21
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 982897 | 983329 | -432 | 86400 | 0.0864 | 999384 | 999365 | 19 | -3800 | -0.0038
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915 | 901 | 14 | -14000 | -0.014 | 74 | 74 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3669 | 3389 | 280 | -224000 | -0.224 | 2708 | 2701 | 7 | -5600 | -0.0056
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2951 | 3069 | -118 | 94400 | 0.0944 | 1325 | 1323 | 2 | -1600 | -0.0016
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982977 | 983546 | -569 | 455200 | 0.4552 | 998654 | 998658 | -4 | 3200 | 0.0032
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 951506 | 952226 | -720 | 576000 | 0.576 | 979552 | 979565 | -13 | 10400 | 0.0104
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 952108 | 953035 | -927 | 741600 | 0.7416 | 989685 | 989703 | -18 | 14400 | 0.0144
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993608 | 993894 | -286 | 572000 | 0.572 | 999527 | 999528 | -1 | 2000 | 0.002
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 988979 | 989510 | -531 | 1062000 | 1.062 | 999480 | 999481 | -1 | 2000 | 0.002
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998305 | 998407 | -102 | 102000 | 0.102 | 26343 | 26355 | -12 | 12000 | 0.012
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 999660 | 999668 | -8 | 800 | 0.0008 | 999849 | 999878 | -29 | 2900 | 0.0029
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999805 | 999802 | 3 | -1500 | -0.0015 | 2257 | 2243 | 14 | -7000 | -0.007
19 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 5 | 0 | 5 | -2500 | -0.0025 | 145 | 121 | 24 | -12000 | -0.012 | w.e.f 5/4
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1025 | 1018 | 7 | -3500 | -0.0035 | 963 | 921 | 42 | -21000 | -0.021
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 61111 | 60529 | 582 | -58200 | -0.0582 | 2406 | 2282 | 124 | -12400 | -0.0124
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 1000046 | 999925 | 121 | -16132.93 | -0.016133 | 472 | 467 | 5 | -666.65 | -0.00066665
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 994365 | 994373 | -8 | 800 | 0.0008 | 2718 | 2678 | 40 | -4000 | -0.004
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8453 | 8197 | 256 | -25600 | -0.0256 | 14803 | 14632 | 171 | -17100 | -0.0171
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 11442 | 11227 | 215 | -21500 | -0.0215 | 5601 | 5412 | 189 | -18900 | -0.0189
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 30316 | 30162 | 154 | -15400 | -0.0154 | 10871 | 10715 | 156 | -15600 | -0.0156
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 50420 | 44600 | 5820 | 5820 | 0.00582 | 214820 | 190050 | 24770 | 24770 | 0.02477
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 21610 | 21010 | 600 | 600 | 0.0006 | 350760 | 327320 | 23440 | 23440 | 0.02344
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 101300 | 91500 | 9800 | 9800 | 0.0098 | 1050300 | 984600 | 65700 | 65700 | 0.0657
[10 empty] | 3.2943 |  |  |  |  | -0.074857
AUGUST-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -10.3128 |  |  |  |  | 1.3028
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.2943 |  |  |  |  | -0.074857
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.001875 |  |  |  |  | -0.03465
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -7.0166 |  |  |  |  | 1.1933
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.31 |  |  |  |  | 3.5635
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -9.3266 |  |  |  |  | 4.7568
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -9.3266 | (REACTIVE MUs) |  |  |  | 4.7568 | (REACTIVE MUs)
Assessment on Tx-1 at 220KV Gazipur S/Stn due to change in M.F.(2020-21 w.e.f 4th June 2020) | [9 empty] | -7.3751 |  |  |  |  | -0.0067
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.4141 | (REACTIVE MUs) |  |  |  | 0.017952 | (REACTIVE MUs)
[9 empty] | TOTAL | -19.1158 | (REACTIVE MUs) |  |  |  | 4.7681 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998188 | 998184 | 4 | 4000 | 0.004 | 998375 | 998421 | -46 | -46000 | -0.046
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999022 | 999048 | -26 | -26000 | -0.026 | 999811 | 999820 | -9 | -9000 | -0.009
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 983684 | 983717 | -33 | -6600 | -0.0066 | 998982 | 999148 | -166 | -33200 | -0.0332
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999881 | 999858 | 23 | 30666.59 | 0.030667 | 999777 | 999776 | 1 | 1333.33 | 0.0013333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998251 | 998134 | 117 | 175500 | 0.1755 | 999956 | 999957 | -1 | -1500 | -0.0015
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11264 | 11293 | -29 | -2900 | -0.0029 | 22178 | 22011 | 167 | 16700 | 0.0167
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 979034 | 978763 | 271 | 20325 | 0.020325 | 998311 | 998333 | -22 | -1650 | -0.00165
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 995932 | 996196 | -264 | -19800 | -0.0198 | 998846 | 998909 | -63 | -4725 | -0.004725
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997168 | 997145 | 23 | 18400 | 0.0184 | 999666 | 999641 | 25 | 20000 | 0.02
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 988934 | 989156 | -222 | -22200 | -0.0222 | 265056 | 265049 | 7 | 700 | 0.0007
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 316 | 313 | 0 | 0 | 0 | 36 | 34 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18587 | 18587 | 0 | 0 | 0 | 996590 | 996602 | -12 | 12000 | 0.012
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3206 | 3216 | -10 | 20000 | 0.02 | 996426 | 996548 | -122 | 244000 | 0.244
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16820 | 16848 | -28 | 28000 | 0.028 | 996304 | 996320 | -16 | 16000 | 0.016
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 999430 | 999465 | -35 | 35000 | 0.035
[5 empty] | -1000 | [5 empty] | 999364 | 999314 | 50 | -50000 | -0.05
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120405 | 120055 | 350 | -350000 | -0.35 | 19347 | 19339 | 8 | -8000 | -0.008
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50 | 71 | -21 | 21000 | 0.021 | 999817 | 999906 | -89 | 89000 | 0.089
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 25165 | 25082 | 83 | -166000 | -0.166 | 998798 | 998778 | 20 | -40000 | -0.04
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925037 | 925067 | -30 | 30000 | 0.03 | 813389 | 813560 | -171 | 171000 | 0.171
[5 empty] | -1000 | 925269 | 925357 | -88 | 88000 | 0.088
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 56633 | 53425 | 3208 | -2566400 | -2.5664 | 1964 | 1953 | 11 | -8800 | -0.0088
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 85293 | 84897 | 396 | -316800 | -0.3168 | 998920 | 998899 | 21 | -16800 | -0.0168
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951379 | 951477 | -98 | 98000 | 0.098 | 959443 | 959580 | -137 | 137000 | 0.137
[5 empty] | -1000 | [5 empty] | 959799 | 959873 | -74 | 74000 | 0.074
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 960929 | 961096 | -167 | 334000 | 0.334 | 991345 | 991476 | -131 | 262000 | 0.262
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 914436 | 914456 | -20 | 40000 | 0.04 | 971841 | 971844 | -3 | 6000 | 0.006
[5 empty] | -2000 | [5 empty] | 978837 | 979057 | -220 | 440000 | 0.44
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9572 | 9598 | -26 | 26000 | 0.026 | 996113 | 996262 | -149 | 149000 | 0.149
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996800 | 996747 | 53 | -53000 | -0.053 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980473 | 980435 | 38 | -38000 | -0.038 | 999864 | 999864 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 245968 | 245938 | 30 | -30000 | -0.03 | 120826 | 120816 | 10 | -10000 | -0.01
[5 empty] | -1000 | 245588 | 244807 | 781 | -781000 | -0.781 | 81745 | 81745 | 0 | 0 | 0
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3421 | 3119 | 302 | -604000 | -0.604 | 27 | 25 | 2 | -4000 | -0.004
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940145 | 941988 | -1843 | 1843000 | 1.843 | 965460 | 965460 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974706 | 976072 | -1366 | 1366000 | 1.366 | 983983 | 983983 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 94121 | 92164 | 1957 | -1957000 | -1.957 | 985625 | 985625 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 29152 | 29033 | 119 | -95200 | -0.0952 | 999226 | 999226 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 48266 | 48208 | 58 | -92800 | -0.0928 | 978991 | 978991 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996878 | 997105 | -227 | 454000 | 0.454 | 984289 | 984289 | 0 | 0 | 0
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5151 | 5482 | -331 | 165500 | 0.1655 | 990688 | 990851 | -163 | 81500 | 0.0815
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23128 | 22663 | 465 | -465000 | -0.465 | 31864 | 31864 | 0 | 0 | 0
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1925 | 2329 | -404 | 404000 | 0.404 | 996553 | 996553 | 0 | 0 | 0
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 532 | 627 | -95 | 95000 | 0.095 | 660 | 670 | -10 | 10000 | 0.01
BRPL(+) continue | [14 empty] | AUGUST-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51601 | 51556 | 45 | -45000 | -0.045 | 999554 | 999655 | -101 | 101000 | 0.101
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12423 | 12371 | 52 | -52000 | -0.052 | 447 | 528 | -81 | 81000 | 0.081
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7540 | 7288 | 252 | -252000 | -0.252 | 998393 | 998384 | 9 | -9000 | -0.009
[5 empty] | -1000 | [9 empty] | -0.09 | Assessment
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6171 | 6077 | 94 | -94000 | -0.094 | 458 | 458 | 0 | 0 | 0
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6022 | 6669 | -647 | 647000 | 0.647 | 925068 | 925068 | 0 | 0 | 0
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62109 | 61997 | 112 | -112000 | -0.112 | 17060 | 17060 | 0 | 0 | 0
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3162 | 3482 | -320 | 640000 | 0.64 | 999557 | 999557 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74465 | 74482 | -17 | 17000 | 0.017 | 997154 | 997152 | 2 | -2000 | -0.002
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50127 | 50271 | -144 | 288000 | 0.288 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10534 | 10542 | -8 | 16000 | 0.016 | 2273 | 2383 | -110 | 220000 | 0.22
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9130 | 9108 | 22 | -44000 | -0.044 | 2045 | 1921 | 124 | -248000 | -0.248
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997789 | 998681 | -892 | 892000 | 0.892 | 999976 | 999976 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991998 | 993047 | -1049 | 1049000 | 1.049 | 994638 | 994638 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994301 | 995474 | -1173 | 1173000 | 1.173 | 987076 | 987076 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997553 | 997658 | 0 | 0 | 0 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 977667 | 977330 | 337 | 269600 | 0.2696 | 607 | 607 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 932562 | 933399 | -837 | -669600 | -0.6696 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 998117 | 997938 | 179 | 143200 | 0.1432 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995716 | 995639 | 77 | 61600 | 0.0616 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 988979 | 989510 | -531 | -1062000 | -1.062 | 999480 | 999481 | -1 | -2000 | -0.002
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 92239 | 90942 | 1297 | -2594000 | -2.594 | 1786 | 1786 | 0 | 0 | 0
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20455 | 20455 | 0 | 0 | 0 | 11888 | 11888 | 0 | 0 | 0 | under Shutdown
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 121478 | 119789 | 1689 | -1689000 | -1.689 | 1949 | 1949 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 23861 | 21385 | 2476 | 247600 | 0.2476 | 149937 | 149844 | 93 | 9300 | 0.0093
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997177 | 997193 | -16 | -3000 | -0.003 | 999097 | 999173 | -76 | -14250 | -0.01425
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 943847 | 943829 | 18 | 7200 | 0.0072 | 994557 | 994533 | 24 | 9600 | 0.0096
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 980662 | 980627 | 35 | 14000 | 0.014 | 73969 | 73955 | 14 | 5600 | 0.0056
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 902934 | 903878 | -944 | -755200 | -0.7552 | 997776 | 997781 | -5 | -4000 | -0.004
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 492889 | 491561 | 1328 | 132800 | 0.1328 | 87686 | 88074 | -388 | -38800 | -0.0388
[5 empty] | 100 | 491172 | 490711 | 461 | 46100 | 0.0461
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2044 | 2069 | -25 | -25000 | -0.025 | 1573 | 1642 | -69 | -69000 | -0.069
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10810 | 0 | 0 | 0 | 25592 | 24741 | 851 | 63825 | 0.063825
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5310 | 0 | 0 | 0 | 18644 | 18196 | 448 | 44800 | 0.0448
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9777 | 9385 | 392 | 196000 | 0.196 | 3257 | 3257 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997872 | 997693 | 179 | 179000 | 0.179 | 4221 | 4221 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984087 | 984243 | -156 | -156000 | -0.156 | 914 | 914 | 0 | 0 | 0
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7147 | 6975 | 172 | 172000 | 0.172 | 6740 | 6740 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999975 | 999922 | 53 | 53000 | 0.053 | 18 | 18 | 0 | 0 | 0 | w.e.f 20/4
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 984879 | 984693 | 186 | 18600 | 0.0186 | 910413 | 910413 | 0 | 0 | 0
[5 empty] | 100 | 982520 | 980004 | 2516 | 251600 | 0.2516
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5335 | 5098 | 237 | 237000 | 0.237 | 1125 | 1125 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5042 | 4925 | 117 | 117000 | 0.117 | 7449 | 7449 | 0 | 0 | 0
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994784 | 994695 | 89 | 17800 | 0.0178 | 15245 | 14938 | 307 | 61400 | 0.0614
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990398 | 990446 | -48 | -9000 | -0.009 | 4796 | 4849 | -53 | -9937.5 | -0.0099375
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987399 | 987483 | -84 | -15750 | -0.01575 | 3872 | 3912 | -40 | -7500 | -0.0075
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4553 | 4543 | 10 | 2500 | 0.0025 | 8122 | 8115 | 7 | 1750 | 0.00175
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994667 | 994650 | 17 | 1700 | 0.0017 | 29815 | 29740 | 75 | 7500 | 0.0075
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.0186 |  |  |  |  | 1.6428
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21658 | 21595 | 63 | -31500 | -0.0315 | 4953 | 4950 | 3 | -1500 | -0.0015
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993250 | 993250 | 0 | 0 | 0 | 12828 | 11334 | 1494 | -199195.02 | -0.1992
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1130 | 1130 | 0 | 0 | 0 | 999353 | 999298 | 55 | -55000 | -0.055
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992888 | 992858 | 30 | -30000 | -0.03 | 2284 | 2280 | 4 | -4000 | -0.004
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6781 | 6781 | 0 | 0 | 0 | 31755 | 31453 | 302 | -48320 | -0.04832
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3556 | 3556 | 0 | 0 | 0 | 10863 | 10418 | 445 | -89000 | -0.089
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977067 | 977160 | -93 | 93000 | 0.093 | 999295 | 999282 | 13 | -13000 | -0.013
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102835 | 102749 | 86 | -8600 | -0.0086 | 76408 | 76359 | 49 | -4900 | -0.0049
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4223 | 4231 | -8 | 800 | 0.0008 | 1585 | 1552 | 33 | -3300 | -0.0033
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 6535 | 6214 | 321 | -32100 | -0.0321 | 70842 | 70841 | 1 | -100 | -0.0001
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998664 | 998664 | 0 | 0 | 0 | 16617 | 16617 | 0 | 0 | 0
14 | SIRI FORT | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 31/5
|  | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 9/8/21
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1284 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3191 | 3191 | 0 | 0 | 0 | 31704 | 31148 | 556 | -55600 | -0.0556
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 765 | 765 | 0 | 0 | 0 | 585 | 583 | 2 | -2666 | -0.002666
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3197 | 3197 | 0 | 0 | 0 | 2146 | 2146 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2015 | 2015 | 0 | 0 | 0 | 4327 | 4081 | 246 | -24600 | -0.0246
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 996050 | 996181 | -131 | 104800 | 0.1048 | 6221 | 6205 | 16 | -12800 | -0.0128
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988170 | 988304 | -134 | 134000 | 0.134 | 2363 | 2359 | 4 | -4000 | -0.004
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1623 | 1499 | 124 | -93000 | -0.093 | 3410 | 3372 | 38 | -28500 | -0.0285
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.1374 |  |  |  |  | -0.54648
AUGUST-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.0186 |  |  |  |  | 1.6428
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.1374 |  |  |  |  | -0.54648
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -2.5e-05 |  |  |  |  | -0.81826
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.030113 |  |  |  |  | -0.044625
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -2.9113 |  |  |  |  | 0.23348
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.9113 | (REACTIVE MUs) |  |  |  | 0.23348 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.5121 | (REACTIVE MUs) |  |  |  | 0.033554 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.4234 | (REACTIVE MUs) |  |  |  | 0.26703 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2429 | 2483 | -54 | -14400.18 | -0.0144 | 2323 | 2320 | 3 | 800.01 | 0.00080001
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 999905 | 1000000 | -95 | -9500 | -0.0095 | 999990 | 1000000 | -10 | -1000 | -0.001 | w.e.f 20/7/21
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 982897 | 983329 | -432 | -86400 | -0.0864 | 999384 | 999365 | 19 | 3800 | 0.0038
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 915 | 901 | 14 | 14000 | 0.014 | 74 | 74 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3669 | 3389 | 280 | 224000 | 0.224 | 2708 | 2701 | 7 | 5600 | 0.0056
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2951 | 3069 | -118 | -94400 | -0.0944 | 1325 | 1323 | 2 | 1600 | 0.0016
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982977 | 983546 | -569 | -455200 | -0.4552 | 998654 | 998658 | -4 | -3200 | -0.0032
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 951506 | 952226 | -720 | -576000 | -0.576 | 979552 | 979565 | -13 | -10400 | -0.0104
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 952108 | 953035 | -927 | -741600 | -0.7416 | 989685 | 989703 | -18 | -14400 | -0.0144
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993608 | 993894 | -286 | -572000 | -0.572 | 999527 | 999528 | -1 | -2000 | -0.002
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 956814 | 957141 | -327 | -16350 | -0.01635 | 21952 | 21423 | 529 | 26450 | 0.02645
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 969457 | 969908 | -451 | -33825 | -0.033825 | 22632 | 22597 | 35 | 2625 | 0.002625
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998012 | 998003 | 9 | 4500 | 0.0045 | 5468 | 5435 | 33 | 16500 | 0.0165
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996193 | 996215 | -22 | -8250 | -0.00825 | 7627 | 7640 | -13 | -4875 | -0.004875
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999717 | 999731 | -14 | -1400 | -0.0014 | 405 | 405 | 0 | 0 | 0 | w.e.f 28/6/2021
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11147 | 11023 | 124 | 9300 | 0.0093 | 40780 | 40648 | 132 | 9900 | 0.0099
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 4230 | 4392 | -162 | -16200 | -0.0162 | 2060 | 2038 | 22 | 2200 | 0.0022
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999674 | 999811 | -137 | -137000 | -0.137 | 242 | 177 | 65 | 65000 | 0.065 | w.e.f 6/4
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991784 | 991959 | -175 | -175000 | -0.175 | 2680 | 2482 | 198 | 198000 | 0.198
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999915 | 999993 | -78 | -195000 | -0.195 | 41 | 0 | 41 | 102500 | 0.1025 | w.e.f 9/7/21
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998255 | 998316 | -61 | -152500 | -0.1525 | 463 | 432 | 31 | 77500 | 0.0775
[10 empty] | -0.6595 |  |  |  |  | 0.443
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992888 | 992858 | 30 | 30000 | 0.03 | 2284 | 2280 | 4 | 4000 | 0.004
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6781 | 6781 | 0 | 0 | 0 | 31755 | 31453 | 302 | 48320 | 0.04832
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3556 | 3556 | 0 | 0 | 0 | 10863 | 10418 | 445 | 89000 | 0.089
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977067 | 977160 | -93 | -93000 | -0.093 | 999295 | 999282 | 13 | 13000 | 0.013
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998664 | 998664 | 0 | 0 | 0 | 16617 | 16617 | 0 | 0 | 0
28 | SIRI FORT | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 31/5
|  | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 9/8/2021
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
AUGUST-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996627 | 996716 | -89 | 89000 | 0.089 | 989824 | 989842 | -18 | 18000 | 0.018
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997887 | 998000 | -113 | 113000 | 0.113 | 995628 | 995644 | -16 | 16000 | 0.016
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997760 | 997790 | -30 | 60000 | 0.06 | 996409 | 996503 | -94 | 188000 | 0.188
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999423 | 999479 | -56 | 56000 | 0.056 | 995055 | 995264 | -209 | 209000 | 0.209
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1284 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102835 | 102749 | 86 | 8600 | 0.0086 | 76408 | 76359 | 49 | 4900 | 0.0049
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4223 | 4231 | -8 | -800 | -0.0008 | 1585 | 1552 | 33 | 3300 | 0.0033
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 6535 | 6214 | 321 | 32100 | 0.0321 | 70842 | 70841 | 1 | 100 | 0.0001
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21658 | 21595 | 63 | 31500 | 0.0315 | 4953 | 4950 | 3 | 1500 | 0.0015
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 492889 | 491561 | 1328 | -132800 | -0.1328 | 87686 | 88074 | -388 | 38800 | 0.0388
[5 empty] | -100 | 491172 | 490711 | 461 | -46100 | -0.0461
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2044 | 2069 | -25 | 25000 | 0.025 | 1573 | 1642 | -69 | 69000 | 0.069
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10810 | 0 | 0 | 0 | 25592 | 24741 | 851 | -63825 | -0.063825
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5310 | 0 | 0 | 0 | 18644 | 18196 | 448 | -44800 | -0.0448
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.8607 |  |  |  |  | 1.0709
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.8607 |  |  |  |  | 1.0709
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.39814 |  |  |  |  | 0.0029607
| TOTAL ENERGY TO NDMC | [8 empty] | -3.2589 |  |  |  |  | 1.0739

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3782 | 3782 | 0 | 0 | 0 | 77378 | 76917 | 461 | 92200 | 0.0922
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1113 | 1111 | 2 | 320 | 0.00032 | 30503 | 28736 | 1767 | 282720 | 0.28272
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4654 | 4655 | -1 | -1000 | -0.001 | 59190 | 59048 | 142 | 142000 | 0.142
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 279 | 279 | 0 | 0 | 0 | 19365 | 19070 | 295 | 118000 | 0.118
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999707 | 999724 | -17 | -13600 | -0.0136 | 724 | 726 | -2 | -1600 | -0.0016
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2380 | 2015 | 365 | 146000 | 0.146 | 6043 | 5916 | 127 | 50800 | 0.0508
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1130 | 0 | 0 | 0 | 999353 | 999298 | 55 | 55000 | 0.055
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.13172 |  |  |  |  | 0.73912
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 3487 | 2816 | 671 | 25162.5 | 0.025163 | 7410 | 6996 | 414 | 15525 | 0.015525
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 79 | 79 | 0 | 0 | 0 | w.e.f 28/5
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3870 | 3804 | 66 | 4950 | 0.00495 | 33078 | 32872 | 206 | 15450 | 0.01545
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 1928 | 1746 | 182 | 13650 | 0.01365
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4379 | 4379 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.030113 |  |  |  |  | 0.044625
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.13172 |  |  |  |  | 0.73912
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.16183 |  |  |  |  | 0.78375
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.16183 | (REACTIVE MUs) |  |  |  | 0.78375 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.066613 | (REACTIVE MUs) |  |  |  | 0.00049536 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.095219 | (REACTIVE MUs) |  |  |  | 0.78424 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990410 | 990213 | 197 | 123125 | 0.12312 | 201 | 183 | 18 | 11250 | 0.01125
2 | 66KV Rly Ckt-2 | 4864984 | ELSTER | Kvarh(Lead/Lag) | 500 | 987456 | 987438 | 18 | 9000 | 0.009 | 999926 | 999879 | 47 | 23500 | 0.0235 | Check Meter Data
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 996050 | 996181 | -131 | -104800 | -0.1048 | 6221 | 6205 | 16 | 12800 | 0.0128
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 50420 | 44600 | 5820 | -5820 | -0.00582 | 214820 | 190050 | 24770 | -24770 | -0.02477
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 21610 | 21010 | 600 | -600 | -0.0006 | 350760 | 327320 | 23440 | -23440 | -0.02344
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 101300 | 91500 | 9800 | -9800 | -0.0098 | 1050300 | 984600 | 65700 | -65700 | -0.0657
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.011105 |  |  |  |  | -0.06636
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.030763 |  |  |  |  | 0.00022876
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.019658 |  |  |  |  | -0.066131

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 933231 | 933264 | -33 | -3300 | -0.0033 | 998141 | 1000203 | -2062 | -206200 | -0.2062
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 44988 | 44989 | -1 | -100 | -0.0001 | 998837 | 1002442 | -3605 | -360500 | -0.3605
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16721 | 16721 | 0 | 0 | 0 | 5197 | 5676 | -479 | -239500 | -0.2395
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997862 | 997860 | 2 | 1875 | 0.001875 | 999684 | 999723 | -39 | -36562.5 | -0.036562
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999924 | 999925 | -1 | 1000 | 0.001 | 999756 | 999858 | -102 | 102000 | 0.102
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993093 | 993094 | -1 | 500 | 0.0005 | 1000084 | 999929 | 155 | -77500 | -0.0775
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -2.5e-05 |  |  |  |  | -0.81826
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 968177 | 968177 | 0 | 0 | 0 | 994361 | 994328 | 33 | 6600 | 0.0066
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 986841 | 986839 | 2 | 1875 | 0.001875 | 999463 | 999507 | -44 | -41250 | -0.04125
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.001875 |  |  |  |  | -0.03465
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1748 | 1748 | 0 | 0 | 0 | 998736 | 998667 | 69 | 86250 | 0.08625
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 63380 | 63380 | 0 | 0 | 0 | 988323 | 991118 | -2795 | -393046.875 | -0.39305
12 | O/G 33KV RAMPURA-2 | 4864790 | ELSTER | Kvarh(Lead/Lag) | 166.667 | 44199 | 44199 | 0 | 0 | 0 | 989428 | 991708 | -2280 | -380000.76 | -0.38
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 944 | 944 | 0 | 0 | 0 | 238 | 449 | -211 | -791250 | -0.79125
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 948778 | 948781 | -3 | -600 | -0.0006 | 997867 | 998116 | -249 | -49800 | -0.0498
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 987206 | 987202 | 4 | 600 | 0.0006 | 988870 | 988581 | 289 | 43350 | 0.04335
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999982 | 999986 | -4 | 2500 | 0.0025 | 999921 | 999964 | -43 | 26875 | 0.026875
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.0025 |  |  |  |  | -1.4576
| E) NET EXPORT TO BSES RPL | [8 empty] | -2.5e-05 |  |  |  |  | -0.81826
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.001875 |  |  |  |  | -0.03465
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.0025 |  |  |  |  | -1.4576

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 127295 | 125871 | 1424 | 1424000 | 1.424 | 47799 | 47873 | -74 | -74000 | -0.074
[5 empty] | 1000 | [5 empty] | 47939 | 47947 | -8 | -8000 | -0.008
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 10897 | 10259 | 638 | 1276000 | 1.276 | 1626 | 1668 | -42 | -84000 | -0.084
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 899724 | 902030 | -2306 | 1153000 | 1.153 | 998004 | 998004 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 426005 | 427854 | -1849 | 184900 | 0.1849 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 4.0379 |  | NET REACTIVE ENERGY |  |  | -0.166
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 4.0379 |  |  |  |  | -0.166
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -9.617 |  |  |  |  | -0.0053333
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.34 |  |  |  |  | -0.193
[7 empty] | NDMC = |  |  | -0.6595 |  |  |  |  | 0.443
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -14.6165 |  |  |  |  | 0.24467
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -10.5786 |  |  |  |  | 0.078667
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.8422 | % |  |  | -3.1569 |  |  |  |  | 0.023476
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.6528 | % |  |  | -4.5121 |  |  |  |  | 0.033554
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.8209 | % |  |  | -2.4141 |  |  |  |  | 0.017952
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.7636 | % |  |  | -0.39814 |  |  |  |  | 0.0029607
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6297 | % |  |  | -0.066613 |  |  |  |  | 0.00049536
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2908 | % |  |  | -0.030763 |  |  |  |  | 0.00022876
Note :Sharing taken from wk-21 ABT bill 2021-22

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2021 TO 31st AUGUST-2021
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -18.9269 | + | 1.3172
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -7.4234 | + | 0.26703
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -19.1158 | + | 4.7681
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -3.2589 | + | 1.0739
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.095219 | + | 0.78424
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.019658 |  | -0.066131
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2021 | INTIAL READING 01/08/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83