## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972021 | 971974 | 47 | -47000 | -0.047 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 71039 | 67945 | 3094 | -6188000 | -6.188 | 1628 | 1628 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934779 | 935317 | -538 | 538000 | 0.538 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997841 | 997452 | 389 | -389000 | -0.389 | 996076 | 996076 | 0 | 0 | 0
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 880424 | 879456 | 968 | -968000 | -0.968 | 999454 | 999454 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28848 | 28289 | 559 | -559000 | -0.559 | 16306 | 16306 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4052 | 3558 | 494 | -494000 | -0.494 | 998306 | 998306 | 0 | 0 | 0
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1640 | 1238 | 402 | -402000 | -0.402 | 999492 | 999497 | -5 | 5000 | 0.005
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 968829 | 969273 | -444 | 222000 | 0.222 | 847860 | 847860 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3121 | 2727 | 394 | -394000 | -0.394 | 998906 | 998906 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38608 | 35324 | 3284 | -3284000 | -3.284 | 999172 | 999172 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14528 | 12507 | 2021 | -2021000 | -2.021 | 997044 | 997044 | 0 | 0 | 0
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 844349 | 848146 | -3797 | -3797000 | -3.797 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 951443 | 957750 | -6307 | -6307000 | -6.307 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981354 | 980445 | 909 | -909000 | -0.909 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 15086 | 11376 | 3710 | -1855000 | -1.855 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40275 | 38167 | 2108 | -2108000 | -2.108 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 991015 | 990924 | 91 | 91000 | 0.091
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 645 | 646 | -1 | -1000 | -0.001 | 22761 | 22736 | 25 | 25000 | 0.025
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1348 | 1346 | 2 | 1000 | 0.001 | 7584 | 7573 | 11 | 5500 | 0.0055
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 149721 | 148963 | 758 | 75800 | 0.0758 | 311103 | 311012 | 91 | 9100 | 0.0091
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995508 | 995521 | -13 | -13000 | -0.013 | 984592 | 984589 | 3 | 3000 | 0.003
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2 | 3 | -1 | -1000 | -0.001 | 999124 | 999072 | 52 | 52000 | 0.052
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 48676 | 49512 | -836 | -83600 | -0.0836 | 121239 | 121239 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979792 | 983272 | -3480 | -3480000 | -3.48 | 999816 | 999816 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 561727 | 565389 | -3662 | -3662000 | -3.662 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 998677 | 998551 | 126 | 33600.42 | 0.0336 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 765 | 508 | 257 | 128500 | 0.1285 | 0 | 0 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20641 | 18056 | 2585 | -2585000 | -2.585 | 996962 | 996962 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 91995 | 89204 | 2791 | -1395500 | -1.3955 | 14971 | 14971 | 0 | 0 | 0
[5 empty] | -500 | 88884 | 84763 | 4121 | -2060500 | -2.0605
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11869 | 10399 | 1470 | -1470000 | -1.47 | 999970 | 999970 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 44240 | 40426 | 3814 | -7628000 | -7.628 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 59412 | 56275 | 3137 | -3137000 | -3.137 | 998776 | 998776 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 113232 | 107498 | 5734 | -5734000 | -5.734 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37835 | 37177 | 658 | -658000 | -0.658 | 999204 | 999204 | 0 | 0 | 0 | Check Meter Data
|  | 4864953 | ELSTER | Kvarh(Lead/Lag) | -2500 | 180 | 0 | 180 | -450000 | -0.45 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/3/19
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26733 | 22623 | 4110 | -4110000 | -4.11 | 916 | 916 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999360 | 999415 | -55 | 55000 | 0.055 | 998710 | 998710 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29743 | 27243 | 2500 | -2500000 | -2.5 | 1576 | 1576 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 917 | 1147 | -230 | -230000 | -0.23 | 28602 | 28615 | -13 | -13000 | -0.013
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | MARCH-2019
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1176 | 1201 | -25 | -25000 | -0.025 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999323 | 999353 | -30 | -3000 | -0.003 | 999448 | 999554 | -106 | -10600 | -0.0106
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2470 | 2453 | 17 | 1700 | 0.0017 | 27133 | 27011 | 122 | 12200 | 0.0122
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 489 | 488 | 1 | 1333 | 0.001333 | 378 | 371 | 7 | 9331 | 0.009331
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2801 | 2801 | 0 | 0 | 0 | 1515 | 1515 | 0 | 0 | 0
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 951 | 951 | 0 | 0 | 0 | 30320 | 30320 | 0 | 0 | 0
[10 empty] | 0.030271 |  |  |  |  | 0.0026
|  | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 75 | 7500 | 0.0075 | w.e.f 27/3/19
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7157 | 6954 | 203 | 33831.98 | 0.033832
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999855 | 999865 | -10 | -5000 | -0.005 | 1189 | 1181 | 8 | 4000 | 0.004
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1903 | 1894 | 9 | 6000.03 | 0.006 | 167 | 162 | 5 | 3333.35 | 0.0033334
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4827 | 4807 | 20 | 13333.3333 | 0.013333 | 1475 | 1469 | 6 | 4000 | 0.004
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997340 | 997360 | -20 | -2000 | -0.002 | 3816 | 3788 | 28 | 2800 | 0.0028
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 5827 | 5803 | 24 | 2400 | 0.0024 | 11077 | 11069 | 8 | 800 | 0.0008
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 5437 | 5373 | 64 | 6400 | 0.0064 | 535 | 468 | 67 | 6700 | 0.0067
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 25649 | 25590 | 59 | 5900 | 0.0059 | 6408 | 6403 | 5 | 500 | 0.0005
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 41967 | 40857 | 1110 | 111000 | 0.111 | 1823 | 1823 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26262 | 26261 | 1 | 100 | 0.0001 | 51572 | 51566 | 6 | 600 | 0.0006
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 306 | 305 | 1 | -300 | -0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 985037 | 987283 | -2246 | -1796800 | -1.7968 | 999916 | 999916 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998416 | 998687 | -271 | -542000 | -0.542 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 985507 | 988723 | -3216 | -321600 | -0.3216 | 250 | 250 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999710 | 999981 | -271 | -67750 | -0.06775 | 255 | 255 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999461 | 999895 | -434 | -434000 | -0.434 | 1743 | 1743 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1018 | 1130 | -112 | -84000 | -0.084 | 2684 | 2684 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -70.9694 |  |  |  |  | 0.2549
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12494 | 12462 | 32 | -3200 | -0.0032 | 105522 | 104848 | 674 | -67400 | -0.0674
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 161 | 177 | -16 | 12800 | 0.0128 | 9043 | 9043 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2599 | 2311 | 288 | -288000 | -0.288 | 606 | 606 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 4505 | 4726 | -221 | 88400 | 0.0884 | 486 | 486 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998689 | 998856 | -167 | 31312.5 | 0.031313 | 999934 | 999934 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 950767 | 952748 | -1981 | 1584800 | 1.5848 | 998693 | 998693 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 995413 | 995569 | -156 | 97500 | 0.0975 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 996482 | 997584 | -1102 | 688750 | 0.68875 | 999883 | 999883 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999296 | 999685 | -389 | 77800 | 0.0778 | 11232 | 11233 | -1 | 200 | 0.0002
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997227 | 997533 | -306 | 57375 | 0.057375 | 5078 | 5075 | 3 | -562.5 | -0.0005625
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 1154 | 1072 | 82 | -20500 | -0.0205 | 5385 | 5385 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 998888 | 999130 | -242 | 24200 | 0.0242 | 16960 | 16959 | 1 | -100 | -0.0001
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.3512 |  |  |  |  | -0.067863
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -70.9694 |  |  |  |  | 0.2549
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.3512 |  |  |  |  | -0.067863
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.49878 |  |  |  |  | 0.0047875
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -69.1169 |  |  |  |  | 0.19182
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -69.1169 | (REACTIVE MUs) |  |  |  | 0.19182 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.20198 | (REACTIVE MUs) |  |  |  | -0.00031922 | (REACTIVE MUs)
[9 empty] | TOTAL | -69.3189 | (REACTIVE MUs) |  |  |  | 0.1915 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 20857 | 17637 | 3220 | 322000 | 0.322 | 993443 | 993440 | 3 | 300 | 0.0003
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 9445 | 9798 | -353 | -105900 | -0.1059 | 3975 | 3969 | 6 | 1800 | 0.0018
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 40981 | 38924 | 2057 | 154275 | 0.15427 | 344345 | 344037 | 308 | 23100 | 0.0231
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995816 | 996237 | -421 | -126300 | -0.1263 | 5954 | 5954 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1719 | 1749 | -30 | -39999 | -0.039999 | 3585 | 3586 | -1 | -1333.3 | -0.0013333
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 49095 | 48096 | 999 | 99900 | 0.0999 | 155827 | 155819 | 8 | 800 | 0.0008
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 33602 | 29555 | 4047 | 303525 | 0.30352 | 40935 | 40915 | 20 | 1500 | 0.0015
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983197 | 983607 | -410 | -410000 | -0.41 | 2295 | 2295 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 996619 | 997180 | -561 | -280500 | -0.2805 | 564 | 564 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998242 | 998610 | -368 | -368000 | -0.368 | 1522 | 1522 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991362 | 991597 | -235 | -235000 | -0.235 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992776 | 993520 | -744 | -744000 | -0.744 | 6231 | 6231 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998461 | 994945 | 3516 | 3516000 | 3.516 | 998569 | 998569 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997997 | 998355 | -358 | -358000 | -0.358 | 999873 | 999900 | -27 | -27000 | -0.027
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996567 | 997028 | -461 | -368800 | -0.3688 | 4977 | 4977 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999559 | 999878 | -319 | -319000 | -0.319 | 33439 | 33439 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1576 | 1672 | -96 | -96000 | -0.096 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1342 | 1760 | -418 | -418000 | -0.418 | 17363 | 17363 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 974243 | 975054 | -811 | -1013750 | -1.0137 | 951762 | 951762 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 991356 | 992906 | -1550 | -1705000 | -1.705 | 938557 | 938557 | 0 | 0 | 0
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958535 | 959110 | -575 | -575000 | -0.575 | 7609 | 7609 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.2938 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993045 | 994245 | -1200 | 1200000 | 1.2 | 999999 | 999999 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988562 | 984708 | 3854 | -3854000 | -3.854 | 999906 | 999906 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 306 | 305 | 1 | 300 | 0.0003
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 9539 | 9496 | 43 | 43000 | 0.043
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 103169 | 95787 | 7382 | -7382000 | -7.382 | 835 | 835 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27671 | 26105 | 1566 | -1566000 | -1.566 | 999032 | 999049 | -17 | 17000 | 0.017
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) |  | 998888 | 999418 | -530 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996192 | 995775 | 417 | -417000 | -0.417 | 998352 | 998352 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995499 | 993259 | 2240 | -2240000 | -2.24 | 985887 | 985887 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17594 | 13818 | 3776 | -3776000 | -3.776 | 289 | 289 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 12973 | 10796 | 2177 | -4354000 | -4.354 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2599 | 2311 | 288 | 288000 | 0.288 | 606 | 606 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 4505 | 4726 | -221 | -88400 | -0.0884 | 486 | 486 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 996717 | 997078 | -361 | -48013 | -0.048013 | 13589 | 13591 | -2 | -266 | -0.000266
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975900 | 976285 | -385 | 385000 | 0.385 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988949 | 989268 | -319 | 319000 | 0.319 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -24.301 |  |  |  |  | 0.059201
| (A) NET ENERGY TO CENTRAL | [8 empty] | -24.301 |  |  |  |  | 0.059201
MARCH-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993879 | 994337 | -458 | 458000 | 0.458 | 998769 | 998769 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990115 | 989996 | 119 | -119000 | -0.119 | 965178 | 965178 | 0 | 0 | 0
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998781 | 999669 | -888 | 888000 | 0.888 | 999999 | 999999 | 0 | 0 | 0 | w.e.f 15/2/19
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995394 | 997453 | -2059 | 2059000 | 2.059 | 999999 | 999999 | 0 | 0 | 0 | w.e.f 01/01/19
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15894 | 14168 | 1726 | -1726000 | -1.726 | 998809 | 998809 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1001827 | 999630 | 2197 | -2197000 | -2.197 | 997784 | 997784 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6815 | 5526 | 1289 | -1289000 | -1.289 | 937188 | 937188 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956276 | 956613 | -337 | 337000 | 0.337 | 989486 | 989486 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965108 | 966212 | -1104 | 1104000 | 1.104 | 989820 | 989820 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957664 | 957521 | 143 | -143000 | -0.143 | 827844 | 827844 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 34245 | 1933 | -1933000 | -1.933 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29431 | 26629 | 2802 | -2802000 | -2.802 | 136 | 136 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11780 | 5557 | 6223 | -6223000 | -6.223 | 919565 | 919565 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -11.586 |  |  |  |  | 0
| (B) NET ENERGY TO EAST | [8 empty] | -11.586 |  |  |  |  | 0
MARCH-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 998677 | 998551 | 126 | -33600.42 | -0.0336 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 765 | 508 | 257 | -128500 | -0.1285 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/01/19
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3062 | 3254 | -192 | 51198.72 | 0.051199 | 2196 | 2196 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 90976 | 89389 | 1587 | -158700 | -0.1587 | 149421 | 149421 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 994720 | 995220 | -500 | 100000 | 0.1 | 998999 | 998999 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 60997 | 59735 | 1262 | -252400 | -0.2524 | 124666 | 124666 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 527 | 293 | 234 | -187200 | -0.1872 | 24 | 24 | 0 | 0 | 0 | w.e.f 25/1/19
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3178 | 3084 | 94 | -75200 | -0.0752 | 705 | 705 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 964786 | 965993 | -1207 | 965600 | 0.9656 | 985959 | 985959 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966558 | 967218 | -660 | 528000 | 0.528 | 986530 | 986530 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 973824 | 975137 | -1313 | 1050400 | 1.0504 | 992674 | 992674 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 967419 | 968482 | -1063 | 850400 | 0.8504 | 994421 | 994421 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997675 | 998458 | -783 | 1566000 | 1.566 | 999996 | 999999 | -3 | 6000 | 0.006
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917 | 1147 | -230 | 230000 | 0.23 | 28602 | 28615 | -13 | 13000 | 0.013
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1176 | 1201 | -25 | 25000 | 0.025 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7157 | 6954 | 203 | -33831.98 | -0.033832
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999855 | 999865 | -10 | 5000 | 0.005 | 1189 | 1181 | 8 | -4000 | -0.004
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1903 | 1894 | 9 | -6000.03 | -0.006 | 167 | 162 | 5 | -3333.35 | -0.0033334
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4827 | 4807 | 20 | -13333.3333 | -0.013333 | 1475 | 1469 | 6 | -4000 | -0.004
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 41967 | 40857 | 1110 | -111000 | -0.111 | 1823 | 1823 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26262 | 26261 | 1 | -100 | -0.0001 | 51572 | 51566 | 6 | -600 | -0.0006
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997340 | 997360 | -20 | 2000 | 0.002 | 3816 | 3788 | 28 | -2800 | -0.0028
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 5827 | 5803 | 24 | -2400 | -0.0024 | 11077 | 11069 | 8 | -800 | -0.0008
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 5437 | 5373 | 64 | -6400 | -0.0064 | 535 | 468 | 67 | -6700 | -0.0067
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 25649 | 25590 | 59 | -5900 | -0.0059 | 6408 | 6403 | 5 | -500 | -0.0005
[10 empty] | 4.3929 |  |  |  |  | -0.037565
MARCH-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -24.301 |  |  |  |  | 0.059201
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 4.3929 |  |  |  |  | -0.037565
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.59796 |  |  |  |  | -0.0002
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -20.5061 |  |  |  |  | 0.021435
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -11.586 |  |  |  |  | 0
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -32.0921 |  |  |  |  | 0.021435
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -32.0921 | (REACTIVE MUs) |  |  |  | 0.021435 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.14012 | (REACTIVE MUs) |  |  |  | -0.00022145 | (REACTIVE MUs)
[9 empty] | TOTAL | -32.2322 | (REACTIVE MUs) |  |  |  | 0.021214 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999362 | 999378 | -16 | -80000 | -0.08 | 998900 | 998902 | -2 | -10000 | -0.01
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 981591 | 982216 | -625 | -833331.25 | -0.83333 | 670302 | 670302 | 0 | 0 | 0
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 997443 | 997982 | -539 | -107800 | -0.1078 | 2693 | 2700 | -7 | -1400 | -0.0014
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999804 | 999861 | -57 | -75999.81 | -0.076 | 999631 | 999631 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18779 | 18869 | -90 | -9000 | -0.009 | 22635 | 22638 | -3 | -300 | -0.0003
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 682076 | 685213 | -3137 | -235275 | -0.23528 | 980886 | 980886 | 0 | 0 | 0
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 993464 | 993919 | -455 | -34125 | -0.034125 | 18322 | 18322 | 0 | 0 | 0
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996403 | 996635 | -232 | -208800 | -0.2088 | 995132 | 995140 | -8 | -7200 | -0.0072
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3081 | 3358 | -277 | -27700 | -0.0277 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7804 | 7278 | 526 | -526000 | -0.526 | 997137 | 997138 | -1 | 1000 | 0.001
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 78 | 124 | -46 | 92000 | 0.092 | 998585 | 998585 | 0 | 0 | 0
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12950 | 12545 | 405 | -405000 | -0.405 | 997882 | 997882 | 0 | 0 | 0
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973829 | 972888 | 941 | -941000 | -0.941 | 992130 | 992136 | -6 | 6000 | 0.006
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50924 | 50246 | 678 | -678000 | -0.678 | 996615 | 996615 | 0 | 0 | 0
[5 empty] | -1000 | 43017 | 42951 | 66 | -66000 | -0.066
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 53238 | 46502 | 6736 | -3368000 | -3.368 | 21219 | 21219 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9770 | 9442 | 328 | -656000 | -0.656 | 997380 | 997380 | 0 | 0 | 0
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22106 | 20248 | 1858 | -1858000 | -1.858 | 845956 | 845956 | 0 | 0 | 0
[5 empty] | -1000 | 2878 | 2431 | 447 | -447000 | -0.447
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 35988 | 28854 | 7134 | -5707200 | -5.7072 | 998996 | 998996 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4786 | 4041 | 745 | -745000 | -0.745 | 963193 | 963195 | -2 | 2000 | 0.002
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997077 | 997421 | -344 | 344000 | 0.344 | 995905 | 995907 | -2 | 2000 | 0.002
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975578 | 975211 | 367 | -367000 | -0.367 | 987160 | 987160 | 0 | 0 | 0
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 447 | 457 | -10 | 10000 | 0.01 | 997824 | 998235 | -411 | 411000 | 0.411
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1370 | 1144 | 226 | -226000 | -0.226 | 999999 | 999999 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 185 | 81 | 104 | -104000 | -0.104 | 0 | 0 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46787 | 43202 | 3585 | -3585000 | -3.585 | 999999 | 999999 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 5156 | 4668 | 488 | -1626665.04 | -1.6267 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 161 | 177 | -16 | -12800 | -0.0128 | 9043 | 9043 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976906 | 976987 | -81 | 81000 | 0.081 | 968992 | 968992 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989152 | 989021 | 131 | -131000 | -0.131 | 985012 | 985012 | 0 | 0 | 0
[5 empty] | -1000 | 987005 | 986180 | 825 | -825000 | -0.825
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 4730 | 3441 | 1289 | -1031200 | -1.0312 | 0 | 0 | 0 | 0 | 0
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 2689 | 2237 | 452 | -723200 | -0.7232 | 0 | 0 | 0 | 0 | 0
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 11778 | 9021 | 2757 | -1378500 | -1.3785 | 999807 | 999811 | -4 | 2000 | 0.002
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17824 | 17195 | 629 | -629000 | -0.629 | 33167 | 33167 | 0 | 0 | 0
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998562 | 998219 | 343 | -343000 | -0.343 | 996213 | 996213 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999606 | 999351 | 255 | -255000 | -0.255 | 999745 | 999745 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | MARCH-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30293 | 26441 | 3852 | -3852000 | -3.852 | 999885 | 999885 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5945 | 5725 | 220 | -220000 | -0.22 | 999899 | 999899 | 0 | 0 | 0
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10287 | 8816 | 1471 | -1471000 | -1.471 | 999354 | 999354 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997821 | 996790 | 1031 | -1031000 | -1.031 | 926348 | 926348 | 0 | 0 | 0
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12044 | 10454 | 1590 | -1590000 | -1.59 | 9398 | 9398 | 0 | 0 | 0
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2849 | 2621 | 228 | -456000 | -0.456 | 996534 | 996534 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34700 | 30346 | 4354 | -4354000 | -4.354 | 997817 | 997817 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13532 | 10496 | 3036 | -6072000 | -6.072 | 999440 | 999440 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7624 | 7605 | 19 | -38000 | -0.038 | 2311 | 2310 | 1 | -2000 | -0.002
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4907 | 4822 | 85 | -170000 | -0.17 | 1277 | 1277 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919061 | 918847 | 214 | -214000 | -0.214 | 981030 | 981009 | 21 | -21000 | -0.021
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1630 | 1388 | 242 | -242000 | -0.242 | 996478 | 996478 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1083 | 731 | 352 | -352000 | -0.352 | 989282 | 989282 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 990733 | 992246 | -1513 | -1210400 | -1.2104 | 414 | 414 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 970009 | 973479 | -3470 | -2776000 | -2.776 | 999839 | 999839 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1118 | 1181 | -63 | -50400 | -0.0504 | 999817 | 999817 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 998093 | 998304 | -211 | -168800 | -0.1688 | 999991 | 999991 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997675 | 998458 | -783 | -1566000 | -1.566 | 999996 | 999999 | -3 | -6000 | -0.006 | w.e.f 02/01/2019
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34809 | 30948 | 3861 | -3861000 | -3.861 | 684 | 684 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65767 | 53751 | 12016 | -12016000 | -12.016 | 168 | 168 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74588 | 71887 | 2701 | -2701000 | -2.701 | 503 | 503 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12494 | 12462 | 32 | 3200 | 0.0032 | 105522 | 104848 | 674 | 67400 | 0.0674
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998689 | 998856 | -167 | -31312.5 | -0.031313 | 999934 | 999934 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 76 | 806 | -730 | -292000 | -0.292 | 993802 | 993802 | 0 | 0 | 0
[5 empty] | 400 | 3926 | 4227 | -301 | -120400 | -0.1204
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 993644 | 994659 | -1015 | -406000 | -0.406 | 70253 | 70253 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 950767 | 952748 | -1981 | -1584800 | -1.5848 | 998693 | 998693 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 385107 | 381253 | 3854 | 385400 | 0.3854 | 2041 | 2041 | 0 | 0 | 0
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5018 | 4867 | 151 | 151000 | 0.151 | 1922 | 1922 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10780 | 10739 | 41 | 3075 | 0.003075 | 17619 | 17598 | 21 | 1575 | 0.001575
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5292 | 5259 | 33 | 3300 | 0.0033 | 9963 | 9897 | 66 | 6600 | 0.0066
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6248 | 6314 | -66 | -33000 | -0.033 | 2822 | 2822 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1749 | 2738 | -989 | -989000 | -0.989 | 4095 | 4095 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992451 | 992982 | -531 | -531000 | -0.531 | 1160 | 1160 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4750 | 4585 | 165 | 165000 | 0.165 | 6516 | 6516 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 4654 | 5536 | -882 | -141120 | -0.14112 | 999701 | 999701 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 178630 | 179274 | -644 | -64400 | -0.0644 | 45852 | 45852 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2592 | 2290 | 302 | 302000 | 0.302 | 337 | 337 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3434 | 3416 | 18 | 18000 | 0.018 | 6439 | 6439 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999296 | 999685 | -389 | -77800 | -0.0778 | 11232 | 11233 | -1 | -200 | -0.0002
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997227 | 997533 | -306 | -57375 | -0.057375 | 5078 | 5075 | 3 | 562.5 | 0.0005625
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 1154 | 1072 | 82 | 20500 | 0.0205 | 5385 | 5385 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 998888 | 999130 | -242 | -24200 | -0.0242 | 16960 | 16959 | 1 | 100 | 0.0001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -75.4321 |  |  |  |  | 0.45214
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 19045 | 18750 | 295 | -29500 | -0.0295 | 1056 | 277 | 779 | -77900 | -0.0779
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 996717 | 997078 | -361 | 48132.13 | 0.048132 | 13589 | 13591 | -2 | 266.66 | 0.00026666
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994131 | 994435 | -304 | 60800 | 0.0608 | 4096 | 4096 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1721 | 1594 | 127 | -127000 | -0.127 | 998682 | 998682 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997755 | 998467 | -712 | 712000 | 0.712 | 1869 | 1869 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 8984 | 9064 | -80 | 12800 | 0.0128 | 10782 | 10782 | 0 | 0 | 0
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2761 | 2609 | 152 | -30400 | -0.0304 | 2841 | 2840 | 1 | -200 | -0.0002
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990115 | 990982 | -867 | 867000 | 0.867 | 999555 | 999555 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101116 | 101047 | 69 | -6900 | -0.0069 | 74172 | 74169 | 3 | -300 | -0.0003
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 1884 | 1614 | 270 | -27000 | -0.027 | 10 | 3 | 7 | -700 | -0.0007
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 24753 | 25965 | -1212 | 121200 | 0.1212 | 62222 | 62222 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998691 | 998802 | -111 | -55500 | -0.0555 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 447045 | 446445 | 600 | -60000 | -0.06 | 50240 | 48308 | 1932 | -193200 | -0.1932
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999323 | 999353 | -30 | 3000 | 0.003 | 999448 | 999554 | -106 | 10600 | 0.0106
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2470 | 2453 | 17 | -1700 | -0.0017 | 27133 | 27011 | 122 | -12200 | -0.0122
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 489 | 488 | 1 | -1333 | -0.001333 | 378 | 371 | 7 | -9331 | -0.009331
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2801 | 2801 | 0 | 0 | 0 | 1515 | 1515 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 951 | 951 | 0 | 0 | 0 | 30320 | 30320 | 0 | 0 | 0
[10 empty] | -0.030271 |  |  |  |  | -0.0026 | Assessment
|  | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 75 | -7500 | -0.0075 | w.w.f 27/3
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 995651 | 996166 | -515 | 206000 | 0.206 | 999896 | 999896 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999461 | 999895 | -434 | 434000 | 0.434 | 1743 | 1743 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1018 | 1130 | -112 | 84000 | 0.084 | 2684 | 2684 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.1793 |  |  |  |  | -0.29306
MARCH-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -75.4321 |  |  |  |  | 0.45214
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.1793 |  |  |  |  | -0.29306
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.44203 |  |  |  |  | 0
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.0017 |  |  |  |  | -0.15113
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -73.6931 |  |  |  |  | 0.0079482
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -73.6931 | (REACTIVE MUs) |  |  |  | 0.0079482 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.25447 | (REACTIVE MUs) |  |  |  | -0.00040217 | (REACTIVE MUs)
[9 empty] | TOTAL | -73.9476 | (REACTIVE MUs) |  |  |  | 0.007546 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3062 | 3254 | -192 | -51200.64 | -0.051201 | 2196 | 2196 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 90976 | 89389 | 1587 | 158700 | 0.1587 | 149421 | 149421 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 994720 | 995220 | -500 | -100000 | -0.1 | 998999 | 998999 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 60997 | 59735 | 1262 | 252400 | 0.2524 | 124666 | 124666 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 527 | 293 | 234 | 187200 | 0.1872 | 24 | 24 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3178 | 3084 | 94 | 75200 | 0.0752 | 705 | 705 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 964786 | 965993 | -1207 | -965600 | -0.9656 | 985959 | 985959 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966558 | 967218 | -660 | -528000 | -0.528 | 986530 | 986530 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 973824 | 975137 | -1313 | -1050400 | -1.0504 | 992674 | 992674 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 967419 | 968482 | -1063 | -850400 | -0.8504 | 994421 | 994421 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 989036 | 990108 | -1072 | -53600 | -0.0536 | 19247 | 19246 | 1 | 50 | 5e-05
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 981112 | 982344 | -1232 | -92400 | -0.0924 | 22789 | 22786 | 3 | 225 | 0.000225
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999586 | 999721 | -135 | -67500 | -0.0675 | 5209 | 5204 | 5 | 2500 | 0.0025
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999128 | 999222 | -94 | -35250 | -0.03525 | 7706 | 7710 | -4 | -1500 | -0.0015
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 982782 | 983610 | -828 | -82800 | -0.0828 | 340325 | 340330 | -5 | -500 | -0.0005
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 4601 | 4297 | 304 | 22800 | 0.0228 | 36312 | 36244 | 68 | 5100 | 0.0051
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 7965 | 7065 | 900 | 90000 | 0.09 | 1311 | 1306 | 5 | 500 | 0.0005
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996694 | 997051 | -357 | -357000 | -0.357 | 102135 | 102136 | -1 | -1000 | -0.001
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996158 | 996800 | -642 | -642000 | -0.642 | 15 | 15 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985891 | 986243 | -352 | -352000 | -0.352 | 143913 | 143913 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4741 | 4972 | -231 | -231000 | -0.231 | 59503 | 59503 | 0 | 0 | 0
[10 empty] | -1.582 |  |  |  |  | -0.001
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997755 | 998467 | -712 | -712000 | -0.712 | 1869 | 1869 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 8984 | 9064 | -80 | -12800 | -0.0128 | 10782 | 10782 | 0 | 0 | 0
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2761 | 2609 | 152 | 30400 | 0.0304 | 2841 | 2840 | 1 | 200 | 0.0002
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990115 | 990982 | -867 | -867000 | -0.867 | 999555 | 999555 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998691 | 998802 | -111 | 55500 | 0.0555 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
MARCH-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998881 | 999559 | -678 | 678000 | 0.678 | 994496 | 994496 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 959629 | 960947 | -1318 | 659000 | 0.659 | 986905 | 986905 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997834 | 997889 | -55 | 110000 | 0.11 | 998656 | 998656 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999674 | 999805 | -131 | 131000 | 0.131 | 0 | 0 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 447045 | 446445 | 600 | 60000 | 0.06 | 50240 | 48308 | 1932 | 193200 | 0.1932
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101116 | 101047 | 69 | 6900 | 0.0069 | 74172 | 74169 | 3 | 300 | 0.0003
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) |  | 1884 | 1614 | 270 | 0 | 0 | 10 | 3 | 7 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 24753 | 25965 | -1212 | -121200 | -0.1212 | 62222 | 62222 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 19045 | 18750 | 295 | 29500 | 0.0295 | 1056 | 277 | 779 | 77900 | 0.0779
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 385107 | 381253 | 3854 | -385400 | -0.3854 | 2041 | 2041 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5018 | 4867 | 151 | -151000 | -0.151 | 1922 | 1922 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10780 | 10739 | 41 | -3075 | -0.003075 | 17619 | 17598 | 21 | -1575 | -0.001575
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5292 | 5259 | 33 | -3300 | -0.0033 | 9963 | 9897 | 66 | -6600 | -0.0066
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.1683 |  |  |  |  | 0.2688
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.1683 |  |  |  |  | 0.2688
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.029291 |  |  |  |  | -4.6291e-05
| TOTAL ENERGY TO NDMC | [8 empty] | -5.1976 |  |  |  |  | 0.26875

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3764 | 3764 | 0 | 0 | 0 | 36069 | 33723 | 2346 | 469200 | 0.4692
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4462 | 4466 | -4 | -4000 | -0.004 | 52492 | 52487 | 5 | 5000 | 0.005
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 13136 | 13147 | -11 | -4400 | -0.0044
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 130 | 195 | -65 | -52000 | -0.052 | 365 | 366 | -1 | -800 | -0.0008
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 557 | 398 | 159 | 63600 | 0.0636 | 2631 | 2628 | 3 | 1200 | 0.0012
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994131 | 994435 | -304 | -60800 | -0.0608 | 4096 | 4096 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1721 | 1594 | 127 | 127000 | 0.127 | 998682 | 998682 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0738 |  |  |  |  | 0.4702
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 63974 | 63991 | -17 | -1700 | -0.0017 | 95814 | 95729 | 85 | 8500 | 0.0085
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78249 | 78249 | 0 | 0 | 0 | 18291 | 18291 | 0 | 0 | 0
12 | SUBROTO PARK | 5295189 | ELSTER | Kvarh(Lead/Lag) | 75 | 42321 | 42321 | 0 | 0 | 0 | 136670 | 135978 | 692 | 51900 | 0.0519
|  | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 1207 | 0 | 1207 | 90525 | 0.090525 | w.e.f 12/3/19
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6 | 6 | 0 | 0 | 0 | 40 | 40 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1662 | 1662 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4280 | 4278 | 2 | 200 | 0.0002
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.0017 |  |  |  |  | 0.15113
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0738 |  |  |  |  | 0.4702
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0721 |  |  |  |  | 0.62133
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0721 | (REACTIVE MUs) |  |  |  | 0.62133 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0044514 | (REACTIVE MUs) |  |  |  | -7.035e-06 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.067649 | (REACTIVE MUs) |  |  |  | 0.62132 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 995413 | 995569 | -156 | -97500 | -0.0975 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 996482 | 997584 | -1102 | -688750 | -0.68875 | 999883 | 999883 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 995651 | 996166 | -515 | -206000 | -0.206 | 999896 | 999896 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.99225 |  |  |  |  | 0

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 959664 | 962983 | -3319 | -331900 | -0.3319 | 2000 | 2000 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 71829 | 73374 | -1545 | -154500 | -0.1545 | 5721 | 5721 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 14988 | 14785 | 203 | 101500 | 0.1015 | 2762 | 2762 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999040 | 999430 | -390 | -365625 | -0.36562 | 106 | 106 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 997274 | 997891 | -617 | 308500 | 0.3085 | 0 | 0 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 74 | 74 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.44203 |  |  |  |  | 0
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 980114 | 980746 | -632 | -126400 | -0.1264 | 5 | 6 | -1 | -200 | -0.0002
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 991081 | 991584 | -503 | -471562.5 | -0.47156 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.59796 |  |  |  |  | -0.0002
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1890 | 1914 | -24 | -30000 | -0.03 | 93 | 93 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 356774 | 357705 | -931 | -93100 | -0.0931 | 999887 | 999887 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 296036 | 298894 | -2858 | -178625 | -0.17863 | 94593 | 94594 | -1 | -62.5 | -6.25e-05
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2646 | 2785 | -139 | -111200 | -0.1112 | 1947 | 1946 | 1 | 800 | 0.0008
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 966968 | 968203 | -1235 | -123500 | -0.1235 | 999175 | 999175 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 995909 | 996358 | -449 | -67350 | -0.06735 | 987291 | 987264 | 27 | 4050 | 0.00405
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997741 | 997783 | -42 | 105000 | 0.105 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 74 | 74 | 0 | 0 | 0 | 999900 | 999900 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.49878 |  |  |  |  | 0.0047875
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.44203 |  |  |  |  | 0
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.59796 |  |  |  |  | -0.0002
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.49878 |  |  |  |  | 0.0047875

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 58838 | 56120 | 2718 | 2718000 | 2.718 | 999989 | 999989 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 18233 | 17928 | 305 | 1525000 | 1.525 | 78 | 78 | 0 | 0 | 0
[10 empty] | 0.1525 |  |  |  |  | 0 | Assessment
|  | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 297 | 0 | 297 | 594000 | 0.594 | 0 | 0 | 0 | 0 | 0 | w..e.f 22/3/19
[7 empty] | NET REACTIVE ENERGY |  |  | 4.243 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 4.243 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.2938 |  |  |  |  | 0
[7 empty] | NDMC = |  |  | -1.582 |  |  |  |  | -0.001
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -4.8758 |  |  |  |  | -0.001
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.63275 |  |  |  |  | -0.001
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.9216 | % |  |  | -0.20198 |  |  |  |  | -0.00031922
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.2167 | % |  |  | -0.25447 |  |  |  |  | -0.00040217
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.1451 | % |  |  | -0.14012 |  |  |  |  | -0.00022145
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6291 | % |  |  | -0.029291 |  |  |  |  | -4.6291e-05
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7035 | % |  |  | -0.0044514 |  |  |  |  | -7.035e-06
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.384 | % |  |  | -0.0024298 |  |  |  |  | -3.84e-06
Note :Sharing taken from wk-53 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2019 TO 31st MARCH-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Reactive Energy for above 103%(In MUs) |  | Reactive Energy for below 97%(In MUs)
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -69.3189 | + | 0.1915
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -73.9476 | + | 0.007546
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -32.2322 | + | 0.021214
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -5.1976 | + | 0.26875
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.067649 | + | 0.62132
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.99225 | + | 0
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2019 | INTIAL READING 01/03/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 39575 | 38764 | 811 | 608250 | 0.60825 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 827120 | 827093 | 27 | 20250 | 0.02025 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1425 | 1245 | 180 | 900000 | 0.9 | 12856 | 12856 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 886571 | 887539 | -968 | -968000 | -0.968
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976135 | 975529 | 606 | 606000 | 0.606 | 414 | 283 | 131 | 131000 | 0.131
[8 empty] | NET REACTIVE ENERGY |  | 1.506 |  |  | NET REACTIVE ENERGY |  | -0.837