## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23593 | 23601 | -8 | 8000 | 0.008 | 979293 | 979300 | -7 | 7000 | 0.007
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 581 | 581 | 0 | 0 | 0 | 994431 | 995882 | -1451 | 1451000 | 1.451
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20570 | 20430 | 140 | -140000 | -0.14 | 1263 | 1274 | -11 | 11000 | 0.011
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974127 | 974083 | 44 | -44000 | -0.044 | 989208 | 989295 | -87 | 87000 | 0.087
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928118 | 928459 | -341 | 341000 | 0.341 | 960792 | 961782 | -990 | 990000 | 0.99
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15308 | 14861 | 447 | -447000 | -0.447 | 8881 | 8748 | 133 | -133000 | -0.133
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16204 | 15753 | 451 | -451000 | -0.451 | 6101 | 6005 | 96 | -96000 | -0.096
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13043 | 10416 | 2627 | -2627000 | -2.627 | 995923 | 995920 | 3 | -3000 | -0.003
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9369 | 7427 | 1942 | -1942000 | -1.942 | 988358 | 988359 | -1 | 1000 | 0.001
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35688 | 34698 | 990 | -990000 | -0.99 | 9991 | 9991 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4501 | 5615 | -1114 | 1114000 | 1.114 | 4239 | 4239 | 0 | 0 | 0
12 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980020 | 982870 | -2850 | -2850000 | -2.85 | 920614 | 920614 | 0 | 0 | 0
NARELA
13 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998031 | 998584 | -553 | 553000 | 0.553 | 15284 | 15285 | -1 | 1000 | 0.001
14 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998261 | 998328 | -67 | 67000 | 0.067 | 18282 | 18265 | 17 | -17000 | -0.017
15 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 716 | 757 | -41 | 41000 | 0.041 | 20017 | 20030 | -13 | 13000 | 0.013
NARAINA
16 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 133 | 128 | 5 | 5000 | 0.005 | 31443 | 31521 | -78 | -78000 | -0.078
17 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 301 | 285 | 16 | 16000 | 0.016 | 26001 | 26007 | -6 | -6000 | -0.006
18 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 804 | 575 | 229 | 22900 | 0.0229 | 96760 | 96442 | 318 | 31800 | 0.0318
19 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 1496 | 1443 | 53 | 5300 | 0.0053 | 149815 | 148837 | 978 | 97800 | 0.0978
20 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997045 | 997055 | -10 | -10000 | -0.01 | 998935 | 998777 | 158 | 158000 | 0.158
KASHMIRI GATE
21 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 50 | 659449 | 659465 | -16 | -800 | -0.0008 | 804252 | 805450 | -1198 | -59900 | -0.0599
22 | 220 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 50 | 665962 | 666254 | -292 | -14600 | -0.0146 | 835007 | 835711 | -704 | -35200 | -0.0352
23 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992329 | 993305 | -976 | -976000 | -0.976 | 998658 | 998658 | 0 | 0 | 0
24 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 | 991743 | 994864 | -3121 | -312100 | -0.3121 | 11898 | 11898 | 0 | 0 | 0
KANJAWALA
25 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1872 | 1221 | 651 | -651000 | -0.651 | 979795 | 979779 | 16 | -16000 | -0.016
26 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997215 | 997073 | 142 | -142000 | -0.142 | 950914 | 950923 | -9 | 9000 | 0.009
BAWANA
27 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995856 | 996907 | -1051 | 1051000 | 1.051 | 959917 | 959936 | -19 | 19000 | 0.019
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
28 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 349 | 347 | 2 | 2000 | 0.002 | 12741 | 12392 | 349 | 349000 | 0.349
29 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998947 | 998945 | 2 | 2000 | 0.002 | 3146 | 3132 | 14 | 14000 | 0.014
| NDPL(+) continue | [14 empty] | OCTOBER 2010
DMS
30 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 54 | 13 | 41 | 41000 | 0.041 | 49878 | 49326 | 552 | 552000 | 0.552
REWARI LINE
31 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7594 | 7172 | 422 | 42200 | 0.0422 | 43999 | 43002 | 997 | 99700 | 0.0997
VISHAL
32 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 6023 | 5656 | 367 | 36700 | 0.0367 | 6418 | 6270 | 148 | 14800 | 0.0148
33 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 8028 | 7729 | 299 | 29900 | 0.0299 | 24792 | 24736 | 56 | 5600 | 0.0056
34 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 12815 | 12033 | 782 | 78200 | 0.0782 | 32316 | 32014 | 302 | 30200 | 0.0302
S.B.MILL
35 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 25223 | 24065 | 1158 | 115800 | 0.1158 | 8520 | 8484 | 36 | 3600 | 0.0036
36 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 829 | 796 | 33 | 3300 | 0.0033 | 185 | 185 | 0 | 0 | 0
37 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
38 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 9898 | 9409 | 489 | 48900 | 0.0489 | 8307 | 8268 | 39 | 3900 | 0.0039
41 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997881 | 997958 | -77 | -7700 | -0.0077 | 999973 | 999963 | 10 | 1000 | 0.001
B.G.ROAD
42 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3077 | 3071 | 6 | 3000 | 0.003 | 25693 | 25455 | 238 | 119000 | 0.119
43 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 2878 | 2856 | 22 | 11000 | 0.011 | 17531 | 17284 | 247 | 123500 | 0.1235
44 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 2877 | 2866 | 11 | 5500 | 0.0055 | 11926 | 11878 | 48 | 24000 | 0.024
45 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 2948 | 2939 | 9 | 4500 | 0.0045 | 13555 | 13391 | 164 | 82000 | 0.082
D.M.S.
46 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999564 | 999613 | -49 | -4900 | -0.0049 | 4633 | 4606 | 27 | 2700 | 0.0027
47 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 793 | 745 | 48 | 4800 | 0.0048 | 11326 | 11270 | 56 | 5600 | 0.0056
48 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 2595 | 2247 | 348 | 34800 | 0.0348 | 43661 | 43523 | 138 | 13800 | 0.0138
49 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 5415 | 4886 | 529 | 52900 | 0.0529 | 18716 | 18608 | 108 | 10800 | 0.0108
50 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999939 | 999957 | -18 | -1800 | -0.0018 | 273 | 275 | -2 | -200 | -0.0002
51 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
52 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 578 | 425 | 153 | 15300 | 0.0153 | 52383 | 51659 | 724 | 72400 | 0.0724
53 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 166 | 164 | 2 | 200 | 0.0002 | 47882 | 47498 | 384 | 38400 | 0.0384
54 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 246 | 241 | 5 | 500 | 0.0005 | 68135 | 66752 | 1383 | 138300 | 0.1383
KASHMIRI GATE
55 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 73751 | 68618 | 5133 | 513300 | 0.5133 | 25579 | 25579 | 0 | 0 | 0
56 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 6943 | 6777 | 166 | 16600 | 0.0166 | 25876 | 25532 | 344 | 34400 | 0.0344
57 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999943 | 999947 | -4 | 1200 | 0.0012
REWARI LINE (11KV TRANSFER OF ENERGY)
58 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 341 | 0 | 0 | 0 | 839 | 839 | 0 | 0 | 0
59 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999468 | 999508 | -40 | -4000 | -0.004 | 999145 | 999148 | -3 | -300 | -0.0003
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -7.3293 |  |  |  |  | 4.1719
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | OCTOBER 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 3718 | 3556 | 162 | -16200 | -0.0162 | 7265 | 7080 | 185 | -18500 | -0.0185
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4314 | 3933 | 381 | -381000 | -0.381 | 3268 | 3267 | 1 | -1000 | -0.001
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4886 | 4424 | 462 | -462000 | -0.462 | 3562 | 3561 | 1 | -1000 | -0.001
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 2781 | 2300 | 481 | -96200 | -0.0962 | 3120 | 1461 | 1659 | -331800 | -0.3318
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9842 | 9723 | 119 | -119000 | -0.119 | 10336 | 10144 | 192 | -192000 | -0.192
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 28837 | 28070 | 767 | -76700 | -0.0767 | 147831 | 147653 | 178 | -17800 | -0.0178
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987993 | 989434 | -1441 | 1441000 | 1.441 | 994126 | 994126 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.2899 |  |  |  |  | -0.5621
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -7.3293 |  |  |  |  | 4.1719
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.2899 |  |  |  |  | -0.5621
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.2126 |  |  |  |  | 0.1497
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -7.252 |  |  |  |  | 3.7595
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.252 | (REACTIVE MUs) |  |  |  | 3.7595 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.11489 | (REACTIVE MUs) |  |  |  | -2.495 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.3669 | (REACTIVE MUs) |  |  |  | 1.2645 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER 2010
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 994966 | 995418 | -452 | -45200 | -0.0452 | 64771 | 62951 | 1820 | 182000 | 0.182
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 11425 | 6488 | 4937 | 493700 | 0.4937 | 995111 | 995037 | 74 | 7400 | 0.0074
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 16979 | 16914 | 65 | 6500 | 0.0065 | 27009 | 25500 | 1509 | 150900 | 0.1509
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 25 | 26 | -1 | -100 | -0.0001 | 996803 | 996508 | 295 | 29500 | 0.0295
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8656 | 8656 | 0 | 0 | 0 | 66218 | 59972 | 6246 | 624600 | 0.6246
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 999015 | 998904 | 111 | 11100 | 0.0111 | 46256 | 44816 | 1440 | 144000 | 0.144
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999978 | 1000000 | -22 | -22000 | -0.022 | ROLL OVER
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999937 | 999937 | 0 | 0 | 0 | 2391 | 2375 | 16 | 16000 | 0.016
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 77 | 77 | 0 | 0 | 0 | 737 | 702 | 35 | 35000 | 0.035
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 237 | 237 | 0 | 0 | 0 | 2537 | 2641 | -104 | -104000 | -0.104
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 223 | 223 | 0 | 0 | 0 | 1800 | 1634 | 166 | 166000 | 0.166
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 292 | 292 | 0 | 0 | 0 | 998750 | 998563 | 187 | 187000 | 0.187
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 30 | 0 | 0 | 0 | 12793 | 12796 | -3 | -3000 | -0.003
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 112 | 112 | 0 | 0 | 0 | 32691 | 31620 | 1071 | 1071000 | 1.071
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 263 | 263 | 0 | 0 | 0 | 5946 | 6024 | -78 | -78000 | -0.078
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 279 | 279 | 0 | 0 | 0 | 4527 | 4530 | -3 | -3000 | -0.003
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 26676 | 26497 | 179 | 17900 | 0.0179 | 418 | 417 | 1 | 100 | 0.0001
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998963 | 998963 | 0 | 0 | 0 | 3736 | 3669 | 67 | 67000 | 0.067
| GT | [8 empty] | 0.0179 |  |  |  |  | 1.3321
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 888704 | 893258 | -4554 | -5009400 | -5.0094
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 914902 | 917938 | -3036 | -3339600 | -3.3396
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999363 | 999543 | -180 | -180000 | -0.18 | 10127 | 10127 | 0 | 0 | 0
KASHMIRI GATE
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969261 | 969238 | 23 | -23000 | -0.023 | 980646 | 980646 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989762 | 990939 | -1177 | 1177000 | 1.177 | 987794 | 987794 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999943 | 999947 | -4 | -1200 | -0.0012
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 124 | 124 | 0 | 0 | 0 | 47731 | 47330 | 401 | 401000 | 0.401
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 163 | 163 | 0 | 0 | 0 | 980856 | 981171 | -315 | 315000 | 0.315
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1660 | 1652 | 8 | -8000 | -0.008 | 988663 | 988895 | -232 | 232000 | 0.232
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13 | 54 | -41 | 41000 | 0.041 | 993462 | 993438 | 24 | -24000 | -0.024
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999806 | 999806 | 0 | 0 | 0 | 998134 | 998293 | -159 | 159000 | 0.159
IMPORTS
SUBZI MANDI
| O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 2781 | 2300 | 481 | 96200 | 0.0962 | 3120 | 1461 | 1659 | 331800 | 0.3318
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9842 | 9723 | 119 | 119000 | 0.119 | 10336 | 10144 | 192 | 192000 | 0.192
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 61907 | 62147 | -240 | -24000 | -0.024 | 1633 | 1633 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 28680 | 23759 | 4921 | 492100 | 0.4921 | 999407 | 999407 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.1742 |  |  |  |  | -4.2729
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.1742 |  |  |  |  | -4.2729
OCTOBER 2010
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999345 | 999345 | 0 | 0 | 0 | 965607 | 969094 | -3487 | 3487000 | 3.487
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16334 | 16334 | 0 | 0 | 0 | 974447 | 976363 | -1916 | 1916000 | 1.916
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15935 | 15936 | -1 | 1000 | 0.001 | 965778 | 967933 | -2155 | 2155000 | 2.155
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988427 | 989303 | -876 | 876000 | 0.876 | 993846 | 993853 | -7 | 7000 | 0.007
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978767 | 979652 | -885 | 885000 | 0.885 | 992116 | 992123 | -7 | 7000 | 0.007
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1642 | 1642 | 0 | 0 | 0 | 997585 | 998006 | -421 | 421000 | 0.421
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1051 | 1051 | 0 | 0 | 0 | 984626 | 984488 | 138 | -138000 | -0.138
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965 | 965 | 0 | 0 | 0 | 998688 | 999345 | -657 | 657000 | 0.657 | from 13/10/10 to 1/11/10
|  | 4864894 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1213 | 1213 | 0 | 0 | 0 | 999347 | 999970 | -623 | 623000 | 0.623 | from 1/10/10 to 13/10/10 CHECK METER
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999921 | 999921 | 0 | 0 | 0 | 986074 | 987694 | -1620 | 1620000 | 1.62
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13835 | 13835 | 0 | 0 | 0 | 971544 | 972861 | -1317 | 1317000 | 1.317
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973555 | 973555 | 0 | 0 | 0 | 935701 | 938737 | -3036 | 3036000 | 3.036
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21219 | 21212 | 7 | -7000 | -0.007 | 20736 | 20797 | -61 | 61000 | 0.061
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14832 | 14832 | 0 | 0 | 0 | 29044 | 29017 | 27 | -27000 | -0.027
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.755 |  |  |  |  | 15.142
| (B) NET ENERGY TO EAST | [8 empty] | 1.755 |  |  |  |  | 15.142
OCTOBER 2010
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992329 | 993305 | -976 | 976000 | 0.976 | 998658 | 998658 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 | 991743 | 994864 | -3121 | 312100 | 0.3121 | 11898 | 11898 | 0 | 0 | 0
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 2228 | 2157 | 71 | -7100 | -0.0071 | 52856 | 52678 | 178 | -17800 | -0.0178
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 2206 | 1980 | 226 | -22600 | -0.0226 | 111362 | 111347 | 15 | -1500 | -0.0015
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 999308 | 999569 | -261 | 26100 | 0.0261 | 4314 | 4318 | -4 | 400 | 0.0004
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 3584 | 3659 | -75 | 7500 | 0.0075 | 72907 | 72954 | -47 | 4700 | 0.0047
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31478 | 29543 | 1935 | -1935000 | -1.935 | 232 | 232 | 0 | 0 | 0
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999981 | 999981 | 0 | 0 | 0 | 36474 | 36474 | 0 | 0 | 0
9 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 10 | 10 | 0 | 0 | 0 | 733 | 878 | -145 | 193332.85 | 0.19333
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 349 | 347 | 2 | -2000 | -0.002 | 12741 | 12392 | 349 | -349000 | -0.349
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998947 | 998945 | 2 | -2000 | -0.002 | 3146 | 3132 | 14 | -14000 | -0.014
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54 | 13 | 41 | -41000 | -0.041 | 49878 | 49326 | 552 | -552000 | -0.552
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3077 | 3071 | 6 | -3000 | -0.003 | 25693 | 25455 | 238 | -119000 | -0.119
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 2878 | 2856 | 22 | -11000 | -0.011 | 17531 | 17284 | 247 | -123500 | -0.1235
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 2877 | 2866 | 11 | -5500 | -0.0055 | 11926 | 11878 | 48 | -24000 | -0.024
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 2948 | 2939 | 9 | -4500 | -0.0045 | 13555 | 13391 | 164 | -82000 | -0.082
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 73751 | 68618 | 5133 | -513300 | -0.5133 | 25579 | 25579 | 0 | 0 | 0
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 6943 | 6777 | 166 | -16600 | -0.0166 | 25876 | 25532 | 344 | -34400 | -0.0344
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999564 | 999613 | -49 | 4900 | 0.0049 | 4633 | 4606 | 27 | -2700 | -0.0027
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 793 | 745 | 48 | -4800 | -0.0048 | 11326 | 11270 | 56 | -5600 | -0.0056
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 2595 | 2247 | 348 | -34800 | -0.0348 | 43661 | 43523 | 138 | -13800 | -0.0138
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 5415 | 4886 | 529 | -52900 | -0.0529 | 18716 | 18608 | 108 | -10800 | -0.0108
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999939 | 999957 | -18 | 1800 | 0.0018 | 273 | 275 | -2 | 200 | 0.0002
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 578 | 425 | 153 | -15300 | -0.0153 | 52383 | 51659 | 724 | -72400 | -0.0724
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 166 | 164 | 2 | -200 | -0.0002 | 47882 | 47498 | 384 | -38400 | -0.0384
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 246 | 241 | 5 | -500 | -0.0005 | 68135 | 66752 | 1383 | -138300 | -0.1383
[10 empty] | -1.3437 |  |  |  |  | -1.4006
OCTOBER 2010
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.1742 |  |  |  |  | -4.2729
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.3437 |  |  |  |  | -1.4006
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.3592 |  |  |  |  | -0.0267
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.4713 |  |  |  |  | -5.7002
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.755 |  |  |  |  | 15.142
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 2.2263 |  |  |  |  | 9.4418
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.2263 | (REACTIVE MUs) |  |  |  | 9.4418 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.098178 | (REACTIVE MUs) |  |  |  | -2.1322 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.1281 | (REACTIVE MUs) |  |  |  | 7.3097 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999716 | 999733 | -17 | -17000 | -0.017 | 11997 | 12086 | -89 | -89000 | -0.089
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 16314 | 16381 | -67 | -6700 | -0.0067 | 681180 | 682454 | -1274 | -127400 | -0.1274
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4738 | 4026 | 712 | 712000 | 0.712 | 42943 | 42922 | 21 | 21000 | 0.021
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8942 | 8675 | 267 | 267000 | 0.267 | 338 | 333 | 5 | 5000 | 0.005
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 3470 | 2376 | 1094 | 218800 | 0.2188 | 986940 | 986919 | 21 | 4200 | 0.0042
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 2451 | 2451 | 0 | 0 | 0 | 77684 | 77046 | 638 | 63800 | 0.0638
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 23365 | 23971 | -606 | -60600 | -0.0606 | 269098 | 269702 | -604 | -60400 | -0.0604
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 999784 | 999784 | 0 | 0 | 0 | 325693 | 320060 | 5633 | 563300 | 0.5633
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999958 | 999958 | 0 | 0 | 0 | 9964 | 8993 | 971 | 971000 | 0.971
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998413 | 998515 | -102 | 102000 | 0.102 | 969208 | 969800 | -592 | 592000 | 0.592
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997564 | 997735 | -171 | 171000 | 0.171 | 970710 | 971080 | -370 | 370000 | 0.37
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997544 | 997950 | -406 | 406000 | 0.406 | 963760 | 964277 | -517 | 517000 | 0.517
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998462 | 998491 | -29 | 29000 | 0.029 | 971769 | 972045 | -276 | 276000 | 0.276
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3319 | 2762 | 557 | -557000 | -0.557 | 31625 | 31625 | 0 | 0 | 0
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 424 | 425 | -1 | 1000 | 0.001 | 979758 | 979758 | 0 | 0 | 0
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37326 | 36124 | 1202 | -1202000 | -1.202 | 27747 | 27766 | -19 | 19000 | 0.019
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5104 | 5262 | -158 | 158000 | 0.158 | 14179 | 14182 | -3 | 3000 | 0.003
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23938 | 23247 | 691 | -691000 | -0.691 | 14737 | 14753 | -16 | 16000 | 0.016
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8866 | 8386 | 480 | -480000 | -0.48 | 40071 | 40070 | 1 | -1000 | -0.001
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4314 | 3933 | 381 | 381000 | 0.381 | 3268 | 3267 | 1 | 1000 | 0.001
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4886 | 4424 | 462 | 462000 | 0.462 | 3562 | 3561 | 1 | 1000 | 0.001
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986063 | 986471 | -408 | 408000 | 0.408 | 910341 | 910445 | -104 | 104000 | 0.104
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998357 | 998357 | 0 | 0 | 0 | 889847 | 891626 | -1779 | 1779000 | 1.779
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 10146 | 10931 | -785 | 785000 | 0.785
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 2988 | 4398 | -1410 | 1410000 | 1.41
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996281 | 996080 | 201 | -201000 | -0.201 | 959838 | 959949 | -111 | 111000 | 0.111
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977143 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 968172 | 971449 | -3277 | 3277000 | 3.277
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999082 | 999082 | 0 | 0 | 0 | 965438 | 970214 | -4776 | 4776000 | 4.776
BRPL(+) continue | [14 empty] | OCTOBER 2010
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 611 | 589 | 22 | -22000 | -0.022 | 979551 | 980359 | -808 | 808000 | 0.808
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1826 | 1802 | 24 | -24000 | -0.024 | 996214 | 996866 | -652 | 652000 | 0.652
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989527 | 989417 | 110 | -220000 | -0.22 | 982454 | 982629 | -175 | 350000 | 0.35
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999665 | 999703 | -38 | 38000 | 0.038 | 953238 | 953809 | -571 | 571000 | 0.571 | Off from 19/07/10
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3507 | 3835 | -328 | 328000 | 0.328 | 967740 | 968435 | -695 | 695000 | 0.695
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000045 | 999879 | 166 | -166000 | -0.166 | 959379 | 960678 | -1299 | 1299000 | 1.299 | ROLL OVER
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 1523 | 1755 | -232 | 154666.512 | 0.15467 | 744 | 1055 | -311 | 207333.126 | 0.20733
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 999893 | 1000743 | -850 | 566666.1 | 0.56667 | 999430 | 999871 | -441 | 293999.706 | 0.294 | ROLL OVER
DIAL
| Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999969 | 1000000 | -31 | -62000 | -0.062 | 999999 | 1000000 | -1 | -2000 | -0.002 | Loaded on 21/10/10. Polarity in reverse direction till 28/10/10. ROLL OVER
| Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999969 | 999969 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0 | from 28/10/10 to 01/11/10
| Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996559 | 996558 | 1 | -2000 | -0.002 | 999337 | 999333 | 4 | -8000 | -0.008 | Loaded on 28/10/10
PARK STREET
38 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999981 | 999981 | 0 | 0 | 0 | 36474 | 36474 | 0 | 0 | 0
39 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10 | 10 | 0 | 0 | 0 | 733 | 878 | -145 | -193332.85 | -0.19333
SARITA VIHAR
40 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 752 | 748 | 4 | -4000 | -0.004 | 983786 | 983911 | -125 | 125000 | 0.125
41 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 384 | 384 | 0 | 0 | 0 | 988836 | 989363 | -527 | 527000 | 0.527
NARAINA
42 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 3718 | 3556 | 162 | 16200 | 0.0162 | 7265 | 7080 | 185 | 18500 | 0.0185
SUDARSHAN PARK
43 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 28837 | 28070 | 767 | 76700 | 0.0767 | 147831 | 147653 | 178 | 17800 | 0.0178
REWARI LINE
44 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
45 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987993 | 989434 | -1441 | -1441000 | -1.441 | 994126 | 994126 | 0 | 0 | 0
A.I.I.M.S.
46 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999806 | 1000009 | -203 | -20300 | -0.0203 | 1076 | 1032 | 44 | 4400 | 0.0044 | ROLL OVER
47 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 550 | 118 | 432 | 43200 | 0.0432 | 2500 | 2250 | 250 | 25000 | 0.025
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.63737 |  |  |  |  | 20.7782
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | OCTOBER 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 991701 | 992258 | -557 | -55700 | -0.0557 | 859638 | 861675 | -2037 | -203700 | -0.2037
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 61907 | 62147 | -240 | 24000 | 0.024 | 1633 | 1633 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 28680 | 23759 | 4921 | -492100 | -0.4921 | 999407 | 999407 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 513 | 512 | 1 | -100 | -0.0001 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 682705 | 663982 | 18723 | -1872300 | -1.8723 | 43192 | 43192 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1416 | 633 | 783 | -783000 | -0.783 | 774 | 754 | 20 | -20000 | -0.02
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 663074 | 639274 | 23800 | -2380000 | -2.38 | 38217 | 38217 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 4579 | 4295 | 284 | -28400 | -0.0284 | 48461 | 48364 | 97 | -9700 | -0.0097
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 6997 | 6963 | 34 | -3400 | -0.0034 | 46373 | 46187 | 186 | -18600 | -0.0186
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 29445 | 29176 | 269 | -26900 | -0.0269 | 100649 | 100564 | 85 | -8500 | -0.0085
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 4130 | 2023 | 2107 | -210700 | -0.2107 | 2200 | 2159 | 41 | -4100 | -0.0041
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 6726 | 6506 | 220 | -22000 | -0.022 | 607173 | 609087 | -1914 | 191400 | 0.1914
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 70584 | 66514 | 4070 | -407000 | -0.407 | 153006 | 151985 | 1021 | -102100 | -0.1021
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145709 | 145806 | -97 | -9700 | -0.0097 | 24263 | 24265 | -2 | -200 | -0.0002
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 811 | 814 | -3 | 300 | 0.0003 | 11115 | 11107 | 8 | -800 | -0.0008
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7594 | 7172 | 422 | -42200 | -0.0422 | 43999 | 43002 | 997 | -99700 | -0.0997
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 6023 | 5656 | 367 | -36700 | -0.0367 | 6418 | 6270 | 148 | -14800 | -0.0148
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 8028 | 7729 | 299 | -29900 | -0.0299 | 24792 | 24736 | 56 | -5600 | -0.0056
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 12815 | 12033 | 782 | -78200 | -0.0782 | 32316 | 32014 | 302 | -30200 | -0.0302
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 25223 | 24065 | 1158 | -115800 | -0.1158 | 8520 | 8484 | 36 | -3600 | -0.0036
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 829 | 796 | 33 | -3300 | -0.0033 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 9898 | 9409 | 489 | -48900 | -0.0489 | 8307 | 8268 | 39 | -3900 | -0.0039
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997881 | 997958 | -77 | 7700 | 0.0077 | 999973 | 999963 | 10 | -1000 | -0.001
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 314 | 341 | -27 | -2700 | -0.0027 | 839 | 839 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999468 | 999508 | -40 | 4000 | 0.004 | 999145 | 999148 | -3 | 300 | 0.0003
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -6.613 |  |  |  |  | -0.3348
OCTOBER 2010
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.63737 |  |  |  |  | 20.7782
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -6.613 |  |  |  |  | -0.3348
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.2561 |  |  |  |  | 0.6978
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.0426 |  |  |  |  | -0.20285
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -5.9517 |  |  |  |  | 20.9383
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.9517 | (REACTIVE MUs) |  |  |  | 20.9383 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.16656 | (REACTIVE MUs) |  |  |  | -3.6172 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.1182 | (REACTIVE MUs) |  |  |  | 17.3211 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 2228 | 2157 | 71 | 7100 | 0.0071 | 52856 | 52678 | 178 | 17800 | 0.0178
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 2206 | 1980 | 226 | 22600 | 0.0226 | 111362 | 111347 | 15 | 1500 | 0.0015
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 999308 | 999569 | -261 | -26100 | -0.0261 | 4314 | 4318 | -4 | -400 | -0.0004
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 3584 | 3659 | -75 | -7500 | -0.0075 | 72907 | 72954 | -47 | -4700 | -0.0047
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 31478 | 29543 | 1935 | 1935000 | 1.935 | 232 | 232 | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 172 | 173 | -1 | -100 | -0.0001 | 268351 | 266176 | 2175 | 217500 | 0.2175
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 1695 | 1675 | 20 | 2000 | 0.002 | 392284 | 389292 | 2992 | 299200 | 0.2992
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 1973 | 1940 | 33 | 3300 | 0.0033 | 170199 | 169048 | 1151 | 115100 | 0.1151
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 1123 | 1112 | 11 | 1100 | 0.0011 | 287903 | 287473 | 430 | 43000 | 0.043
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 999958 | 999965 | -7 | -700 | -0.0007 | 194529 | 191454 | 3075 | 307500 | 0.3075
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 472 | 480 | -8 | -800 | -0.0008 | 123968 | 124316 | -348 | -34800 | -0.0348
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 2350 | 2217 | 133 | 13300 | 0.0133 | 168458 | 166654 | 1804 | 180400 | 0.1804
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 2887 | 2857 | 30 | 3000 | 0.003 | 212983 | 209847 | 3136 | 313600 | 0.3136
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 43019 | 40056 | 2963 | 3259300 | 3.2593
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5143 | 5130 | 13 | 13000 | 0.013 | 36028 | 36028 | 0 | 0 | 0
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 113170 | 109775 | 3395 | 3734500 | 3.7345
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7509 | 7439 | 70 | 70000 | 0.07 | 48033 | 48033 | 0 | 0 | 0
[10 empty] | 0.083 |  |  |  |  | 6.9938
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 682705 | 663982 | 18723 | 1872300 | 1.8723 | 43192 | 43192 | 0 | 0 | 0
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1416 | 633 | 783 | 783000 | 0.783 | 774 | 754 | 20 | 20000 | 0.02
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 663074 | 639274 | 23800 | 2380000 | 2.38 | 38217 | 38217 | 0 | 0 | 0
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 4130 | 2023 | 2107 | 210700 | 0.2107 | 2200 | 2159 | 41 | 4100 | 0.0041
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 6726 | 6506 | 220 | 22000 | 0.022 | 607173 | 609087 | -1914 | -191400 | -0.1914
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 70584 | 66514 | 4070 | 407000 | 0.407 | 153006 | 151985 | 1021 | 102100 | 0.1021
OCTOBER 2010
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145709 | 145806 | -97 | 9700 | 0.0097 | 24263 | 24265 | -2 | 200 | 0.0002
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 811 | 814 | -3 | -300 | -0.0003 | 11115 | 11107 | 8 | 800 | 0.0008
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 4579 | 4295 | 284 | 28400 | 0.0284 | 48461 | 48364 | 97 | 9700 | 0.0097
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 6997 | 6963 | 34 | 3400 | 0.0034 | 46373 | 46187 | 186 | 18600 | 0.0186
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 29445 | 29176 | 269 | 26900 | 0.0269 | 100649 | 100564 | 85 | 8500 | 0.0085
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 991701 | 992258 | -557 | 55700 | 0.0557 | 859638 | 861675 | -2037 | 203700 | 0.2037
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999806 | 1000009 | -203 | 20300 | 0.0203 | 1076 | 1032 | 44 | -4400 | -0.0044 | ROLL OVER
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 550 | 118 | 432 | -43200 | -0.0432 | 2500 | 2250 | 250 | -25000 | -0.025
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.8111 |  |  |  |  | 8.5964
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.8111 |  |  |  |  | 8.5964
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.020289 |  |  |  |  | -0.44063
| TOTAL ENERGY TO NDMC | [8 empty] | 7.7908 |  |  |  |  | 8.1558

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER 2010
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 226 | 226 | 0 | 0 | 0 | 11692 | 11545 | 147 | 147000 | 0.147
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 123 | 123 | 0 | 0 | 0 | 16254 | 16075 | 179 | 179000 | 0.179
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 41 | 40 | 1 | 1000 | 0.001 | 23228 | 23031 | 197 | 197000 | 0.197
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 107 | 107 | 0 | 0 | 0 | 12142 | 11960 | 182 | 182000 | 0.182
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 551 | 486 | 65 | 65000 | 0.065 | 5916 | 5894 | 22 | 22000 | 0.022
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 513 | 512 | 1 | 100 | 0.0001 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0661 |  |  |  |  | 0.727
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3092 | 3028 | 64 | 6400 | 0.0064 | 32021 | 31863 | 158 | 15800 | 0.0158
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 20973 | 20855 | 118 | 11800 | 0.0118 | 51425 | 51006 | 419 | 41900 | 0.0419
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 61796 | 61796 | 0 | 0 | 0 | 5154 | 5154 | 0 | 0 | 0
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 11663 | 11523 | 140 | 14000 | 0.014 | 35673 | 34927 | 746 | 74600 | 0.0746
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999911 | 999913 | -2 | -200 | -0.0002 | 13910 | 13917 | -7 | -700 | -0.0007
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 65129 | 64946 | 183 | 18300 | 0.0183 | 24848 | 24115 | 733 | 73300 | 0.0733
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 257 | 257 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0503 |  |  |  |  | 0.2049
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 6433 | 4575 | 1858 | 92900 | 0.0929 | 18536 | 18495 | 41 | 2050 | 0.00205
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0929 |  |  |  |  | 0.00205
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.0426 |  |  |  |  | 0.20285
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0661 |  |  |  |  | 0.727
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0235 |  |  |  |  | 0.92985
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0235 | (REACTIVE MUs) |  |  |  | 0.92985 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0029867 | (REACTIVE MUs) |  |  |  | -0.064863 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.020513 | (REACTIVE MUs) |  |  |  | 0.86499 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER 2010
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 62399 | 61221 | 1178 | 117800 | 0.1178 | 76418 | 76445 | -27 | -2700 | -0.0027
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 7886 | 6562 | 1324 | 132400 | 0.1324 | 999858 | 999530 | 328 | 32800 | 0.0328
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 125598 | 122884 | 2714 | 271400 | 0.2714 | 85173 | 85057 | 116 | 11600 | 0.0116
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9876 | 9409 | 467 | 467000 | 0.467 | 16764 | 16683 | 81 | 81000 | 0.081
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994819 | 994819 | 0 | 0 | 0 | 962913 | 964020 | -1107 | 553500 | 0.5535
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994885 | 995420 | -535 | 267500 | 0.2675 | 991584 | 991626 | -42 | 21000 | 0.021
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999900 | 999898 | 2 | 600 | 0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.2561 |  |  |  |  | 0.6978
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 964823 | 965730 | -907 | -181400 | -0.1814 | 990932 | 990944 | -12 | -2400 | -0.0024
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 954531 | 956309 | -1778 | -177800 | -0.1778 | 931792 | 932035 | -243 | -24300 | -0.0243
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.3592 |  |  |  |  | -0.0267
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 136266 | 132412 | 3854 | 770800 | 0.7708 | 248487 | 248241 | 246 | 49200 | 0.0492
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 20508 | 21677 | -1169 | -233800 | -0.2338 | 38682 | 38467 | 215 | 43000 | 0.043
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 9879 | 12092 | -2213 | -221300 | -0.2213 | 67277 | 66862 | 415 | 41500 | 0.0415
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992435 | 993012 | -577 | -577000 | -0.577 | 997603 | 997591 | 12 | 12000 | 0.012
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 989360 | 989848 | -488 | -48800 | -0.0488 | 7894 | 7918 | -24 | -2400 | -0.0024
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 996599 | 996794 | -195 | 97500 | 0.0975 | 995926 | 995940 | -14 | 7000 | 0.007
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999900 | 999898 | 2 | -600 | -0.0006
| TOTAL NDPL | [8 empty] | -0.2126 |  |  |  |  | 0.1497
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.2561 |  |  |  |  | 0.6978
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.3592 |  |  |  |  | -0.0267
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.2126 |  |  |  |  | 0.1497

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER 2010
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 4803 | 4716 | 87 | 174000 | 0.174 | 999844 | 999844 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 3547 | 3483 | 64 | 128000 | 0.128 | 999609 | 999609 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.302 |  |  | NET REACTIVE ENERGY |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999773 | 999773 | 0 | 0 | 0 | 40282 | 40059 | 223 | 223000 | 0.223
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991532 | 991532 | 0 | 0 | 0 | 986440 | 986239 | 201 | 201000 | 0.201
[8 empty] | NET REACTIVE ENERGY |  | 0 |  |  | NET REACTIVE ENERGY |  | 0.424
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.302 |  |  |  |  | 0.424
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0179 |  |  |  |  | 1.3321
[7 empty] | NDMC = |  |  | 0.083 |  |  |  |  | 6.9938
MES =
[7 empty] | 2)TOTAL |  |  | 0.1009 |  |  |  |  | 8.3259
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.4029 |  |  |  |  | 8.7499
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.5147 | % |  |  | 0.11489 |  |  |  |  | 2.495
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.3403 | % |  |  | 0.16656 |  |  |  |  | 3.6172
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.3679 | % |  |  | 0.098178 |  |  |  |  | 2.1322
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0358 | % |  |  | 0.020289 |  |  |  |  | 0.44063
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7413 | % |  |  | 0.0029867 |  |  |  |  | 0.064863
Note :Sharing taken from wk-29 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2010 TO 31st OCTOBER-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -7.3669 | + | 1.2645
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -6.1182 | + | 17.3211
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 2.1281 | + | 7.3097
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 7.7908 | + | 8.1558
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.020513 | + | 0.86499
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/10 | INTIAL READING 01/10/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 990515 | 990530 | -15 | -22500 | -0.0225 | 981827 | 981910 | -83 | -124500 | -0.1245
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 990595 | 990643 | -48 | -72000 | -0.072 | 987407 | 987407 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 953222 | 953384 | -162 | -243000 | -0.243 | 971757 | 971811 | -54 | -81000 | -0.081
[8 empty] | NET REACTIVE ENERGY |  | -0.3375 |  |  | NET REACTIVE ENERGY |  | -0.2055
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 997546 | 997549 | -3 | -3000 | -0.003 | 38321 | 38332 | -11 | -11000 | -0.011
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 222 | 210 | 12 | 12000 | 0.012 | 12827 | 13599 | -772 | -772000 | -0.772
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981993 | 983420 | -1427 | -1427000 | -1.427 | 992911 | 992912 | -1 | -1000 | -0.001
[8 empty] | NET REACTIVE ENERGY |  | -1.418 |  |  | NET REACTIVE ENERGY |  | -0.784