## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980117 | 981370 | -1253 | 1253000 | 1.253 | 999035 | 999035 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34701 | 34701 | 0 | 0 | 0 | 1000295 | 999682 | 613 | -613000 | -0.613
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944283 | 945791 | -1508 | 1508000 | 1.508 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999348 | 999354 | -6 | 6000 | 0.006 | 997002 | 997272 | -270 | 270000 | 0.27
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 881467 | 881643 | -176 | 176000 | 0.176 | 999541 | 999567 | -26 | 26000 | 0.026
[5 empty] | -1000 | 988157 | 988644 | -487 | 487000 | 0.487
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25981 | 25986 | -5 | 5000 | 0.005 | 16561 | 16651 | -90 | 90000 | 0.09
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1678 | 1684 | -6 | 6000 | 0.006 | 998578 | 998674 | -96 | 96000 | 0.096
8 | Tx.-3 | 5128431 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982965 | 983118 | -153 | 153000 | 0.153 | 971605 | 971707 | -102 | 102000 | 0.102 | Check Meter Data
|  | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999929 | 1000000 | -71 | 71000 | 0.071 | w.e.f 19/6/18
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 973635 | 973635 | 0 | 0 | 0 | 816362 | 816843 | -481 | 240500 | 0.2405
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1347 | 1300 | 47 | -47000 | -0.047 | 999065 | 999061 | 4 | -4000 | -0.004
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14469 | 14495 | -26 | 26000 | 0.026 | 999228 | 999584 | -356 | 356000 | 0.356
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2277 | 2292 | -15 | 15000 | 0.015 | 997270 | 997625 | -355 | 355000 | 0.355
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 866416 | 866869 | -453 | -453000 | -0.453 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993529 | 994490 | -961 | -961000 | -0.961 | 999997 | 999997 | 0 | 0 | 0 | w.e.f 26/04/18
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981849 | 981764 | 85 | -85000 | -0.085 | 16697 | 16697 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15229 | 14689 | 540 | -540000 | -0.54 | 20478 | 20478 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28171 | 27495 | 676 | -676000 | -0.676 | 269 | 269 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 992909 | 994201 | -1292 | -1292000 | -1.292
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 680 | 680 | 0 | 0 | 0 | 23754 | 24310 | -556 | -556000 | -0.556
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1096 | 1096 | 0 | 0 | 0 | 6100 | 5463 | 637 | 318500 | 0.3185
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 138527 | 138499 | 28 | 2800 | 0.0028 | 303449 | 300658 | 2791 | 279100 | 0.2791
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995831 | 995831 | 0 | 0 | 0 | 984812 | 984919 | -107 | -107000 | -0.107
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 24 | 24 | 0 | 0 | 0 | 997603 | 997115 | 488 | 488000 | 0.488
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50608 | 50474 | 134 | 13400 | 0.0134 | 116664 | 116626 | 38 | 3800 | 0.0038
[5 empty] | 100 | [5 empty] | 41562 | 38280 | 3282 | 328200 | 0.3282
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999871 | 999998 | -127 | -127000 | -0.127 | 999881 | 999997 | -116 | -116000 | -0.116 | w.e.f 24/05/18
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 586899 | 587345 | -446 | -446000 | -0.446 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 326 | 680 | -354 | -94401.18 | -0.094401 | 999999 | 1000000 | -1 | -266.67 | -0.00026667
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7147 | 7101 | 46 | 23000 | 0.023 | 1754 | 1758 | -4 | -2000 | -0.002
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960 | 920 | 40 | -40000 | -0.04 | 997102 | 997200 | -98 | 98000 | 0.098
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 8017 | 7617 | 400 | -200000 | -0.2 | 999446 | 999538 | -92 | 46000 | 0.046
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21484 | 21409 | 75 | -75000 | -0.075 | 999068 | 999444 | -376 | 376000 | 0.376
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 20909 | 20018 | 891 | -1782000 | -1.782 | 103 | 106 | -3 | 6000 | 0.006
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37904 | 36964 | 940 | -940000 | -0.94 | 998794 | 998795 | -1 | 1000 | 0.001
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 75167 | 73690 | 1477 | -1477000 | -1.477 | 2427 | 2427 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21957 | 21957 | 0 | 0 | 0 | 999202 | 999193 | 9 | -9000 | -0.009
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11746 | 11744 | 2 | -2000 | -0.002 | 845 | 826 | 19 | -19000 | -0.019
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1031 | 1036 | -5 | 5000 | 0.005 | 998741 | 998760 | -19 | 19000 | 0.019
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14350 | 14184 | 166 | -166000 | -0.166 | 1561 | 1477 | 84 | -84000 | -0.084
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1843 | 1842 | 1 | 1000 | 0.001 | 28549 | 28428 | 121 | 121000 | 0.121
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 12035 | 11877 | 158 | 15800 | 0.0158 | 28396 | 27000 | 1396 | 139600 | 0.1396
| NDPL(+) continue | [14 empty] | JUNE-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61284 | -7 | -7000 | -0.007
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12005 | 11987 | 18 | 1800 | 0.0018 | 78313 | 77583 | 730 | 73000 | 0.073
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1862 | 1846 | 16 | 1600 | 0.0016 | 22442 | 20810 | 1632 | 163200 | 0.1632
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 381 | 381 | 0 | 0 | 0 | 299 | 296 | 3 | 3999 | 0.003999
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 207 | 178 | 29 | 2900 | 0.0029 | 457 | 398 | 59 | 5900 | 0.0059
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 415 | 331 | 84 | 8400 | 0.0084 | 20233 | 19991 | 242 | 24200 | 0.0242
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1420 | 1420 | 0 | 0 | 0 | 4270 | 3250 | 1020 | 169993.2 | 0.16999
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999832 | 999832 | 0 | 0 | 0 | 867 | 683 | 184 | 92000 | 0.092
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1311 | 1256 | 55 | 36666.85 | 0.036667 | 149 | 146 | 3 | 2000.01 | 0.002
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4230 | 4163 | 67 | 44666.6667 | 0.044667 | 1452 | 1448 | 4 | 2666.6667 | 0.0026667
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997502 | 997493 | 9 | 900 | 0.0009 | 3928 | 3286 | 642 | 64200 | 0.0642
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 4029 | 3604 | 425 | 42500 | 0.0425 | 10878 | 10771 | 107 | 10700 | 0.0107
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 3569 | 3415 | 154 | 15400 | 0.0154 | 349 | 338 | 11 | 1100 | 0.0011
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 20170 | 18448 | 1722 | 172200 | 0.1722 | 6079 | 5927 | 152 | 15200 | 0.0152
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 23274 | 21616 | 1658 | 165800 | 0.1658 | 1826 | 1826 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25486 | 25442 | 44 | 4400 | 0.0044 | 51497 | 51406 | 91 | 9100 | 0.0091
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995619 | 995611 | 8 | -3200 | -0.0032 | 86 | 86 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999989 | -4 | -1600 | -0.0016 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 996324 | 996341 | -17 | -13600 | -0.0136 | 999951 | 999980 | -29 | -23200 | -0.0232
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 4 | 8 | -4 | -8000 | -0.008 | 1094 | 1096 | -2 | -4000 | -0.004
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 995407 | 995311 | 96 | 9600 | 0.0096 | 1000219 | 999953 | 266 | 26600 | 0.0266
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998783 | 998865 | -82 | -20500 | -0.0205 | 245 | 211 | 34 | 8500 | 0.0085
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1001719 | 998725 | 2994 | 2994000 | 2.994 | 1434 | 1434 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 143 | 139 | 4 | 3000 | 0.003 | 1207 | 495 | 712 | 534000 | 0.534
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.95847 |  |  |  |  | 2.2006
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10693 | 10693 | 0 | 0 | 0 | 89648 | 83832 | 5816 | -581600 | -0.5816
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 10 | 10 | 0 | 0 | 0 | 5632 | 4095 | 1537 | -1229600 | -1.2296
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1236 | 1221 | 15 | -15000 | -0.015 | 503 | 418 | 85 | -85000 | -0.085
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 2316 | 2205 | 111 | -44400 | -0.0444 | 247 | 61 | 186 | -74400 | -0.0744
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999851 | 999856 | -5 | 937.5 | 0.0009375 | 999950 | 999979 | -29 | 5437.5 | 0.0054375
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 975744 | 976312 | -568 | 454400 | 0.4544 | 998734 | 998784 | -50 | 40000 | 0.04
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 998969 | 998986 | -17 | 10625 | 0.010625 | 999989 | 999989 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999652 | 999805 | -153 | 95625 | 0.095625 | 999918 | 999967 | -49 | 30625 | 0.030625
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999615 | 999621 | -6 | 1200 | 0.0012 | 3682 | 2067 | 1615 | -323000 | -0.323
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999024 | 999011 | 13 | -2437.5 | -0.0024375 | 1002158 | 999964 | 2194 | -411375 | -0.41137
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999015 | 999014 | 1 | -187.5 | -0.0001875 | 1934 | 1156 | 778 | -145875 | -0.14588
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 1000067 | 999993 | 74 | -18500 | -0.0185 | 2759 | 1331 | 1428 | -357000 | -0.357
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999890 | 999857 | 33 | -3300 | -0.0033 | 6522 | 1730 | 4792 | -479200 | -0.4792
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.47896 |  |  |  |  | -3.611
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.95847 |  |  |  |  | 2.2006
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.47896 |  |  |  |  | -3.611
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.018638 |  |  |  |  | 0.41224
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.49814 |  |  |  |  | -0.99816
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.49814 | (REACTIVE MUs) |  |  |  | -0.99816 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.24515 | (REACTIVE MUs) |  |  |  | -1.0092 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.25299 | (REACTIVE MUs) |  |  |  | -2.0074 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 11204 | 11288 | -84 | -8400 | -0.0084 | 993724 | 994086 | -362 | -36200 | -0.0362
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8217 | 8118 | 99 | 29700 | 0.0297 | 4385 | 4775 | -390 | -117000 | -0.117
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 29304 | 28694 | 610 | 45750 | 0.04575 | 325293 | 319719 | 5574 | 418050 | 0.41805
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998313 | 998301 | 12 | 3600 | 0.0036 | 5936 | 5592 | 344 | 103200 | 0.1032
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1732 | 1728 | 4 | 5333.2 | 0.0053332 | 3410 | 3357 | 53 | 70664.9 | 0.070665
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35798 | 35179 | 619 | 61900 | 0.0619 | 154612 | 155377 | -765 | -76500 | -0.0765
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 17368 | 16525 | 843 | 63225 | 0.063225 | 43892 | 41336 | 2556 | 191700 | 0.1917
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985889 | 985895 | -6 | -6000 | -0.006 | 2260 | 2256 | 4 | 4000 | 0.004
9 | FOUNTAIN BAY-16 | 5295122 | ELSTER | Kvarh(Lead/Lag) | 100 | 976635 | 976635 | 0 | 0 | 0 | 35907 | 35669 | 238 | 23800 | 0.0238 | Check Meter Data
|  | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 258 | 0 | 258 | 129000 | 0.129 | w.e.f 04/06/18
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999214 | 999196 | 18 | 18000 | 0.018 | 1480 | 1479 | 1 | 1000 | 0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992182 | 992214 | -32 | -32000 | -0.032 | 1486 | 1470 | 16 | 16000 | 0.016
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993398 | 993398 | 0 | 0 | 0 | 5636 | 5493 | 143 | 143000 | 0.143
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997251 | 997251 | 0 | 0 | 0 | 998640 | 998707 | -67 | -67000 | -0.067
14 | JAMA MASJID-1 | 5128408 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999955 | 999960 | -5 | -5000 | -0.005 | 999612 | 999661 | -49 | -49000 | -0.049
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999037 | 999037 | 0 | 0 | 0 | 3964 | 2853 | 1111 | 888800 | 0.8888
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998876 | 998865 | 11 | 11000 | 0.011 | 33151 | 33042 | 109 | 109000 | 0.109
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2013 | 2015 | -2 | -2000 | -0.002 | 9729 | 9726 | 3 | 3000 | 0.003
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3209 | 3129 | 80 | 80000 | 0.08 | 17257 | 17164 | 93 | 93000 | 0.093
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 981573 | 981573 | 0 | 0 | 0 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 954269 | 957491 | -3222 | -3544200 | -3.5442
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963936 | 964088 | -152 | -152000 | -0.152 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.152 |  |  |  |  | -3.5442
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995836 | 996258 | -422 | 422000 | 0.422 | 999978 | 999978 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995111 | 995696 | -585 | 585000 | 0.585 | 999917 | 999921 | -4 | 4000 | 0.004
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999838 | 999838 | 0 | 0 | 0 | 6961 | 6498 | 463 | 463000 | 0.463
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31818 | 30319 | 1499 | -1499000 | -1.499 | 883 | 146 | 737 | -737000 | -0.737
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17226 | 17219 | 7 | -7000 | -0.007 | 999815 | 999835 | -20 | 20000 | 0.02
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989451 | 989427 | 24 | -24000 | -0.024 | 990941 | 991389 | -448 | 448000 | 0.448
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993799 | 993763 | 36 | -36000 | -0.036 | 998688 | 998719 | -31 | 31000 | 0.031
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997730 | 997816 | -86 | 86000 | 0.086 | 986100 | 987144 | -1044 | 1044000 | 1.044
[5 empty] | -1000 | [5 empty] | 998348 | 998348 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998596 | 998643 | -47 | 47000 | 0.047 | 293 | 294 | -1 | 1000 | 0.001
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999951 | 1000020 | -69 | 138000 | 0.138 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1236 | 1221 | 15 | 15000 | 0.015 | 503 | 418 | 85 | 85000 | 0.085
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 2316 | 2205 | 111 | 44400 | 0.0444 | 247 | 61 | 186 | 74400 | 0.0744
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1147 | 1144 | 3 | 3000 | 0.003
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 33 | 33 | 0 | 0 | 0 | 9258 | 1935 | 7323 | 973959 | 0.97396
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983819 | 983775 | 44 | -44000 | -0.044 | 990187 | 990216 | -29 | 29000 | 0.029
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997940 | 997900 | 40 | -40000 | -0.04 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.19949 |  |  |  |  | 0.74367
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.19949 |  |  |  |  | 0.74367
JUNE-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4865051 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975474 | 975500 | -26 | 26000 | 0.026 | 885732 | 885920 | -188 | 188000 | 0.188 | Check Meter Data
|  | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999891 | 1000000 | -109 | 109000 | 0.109 | 999708 | 1000000 | -292 | 292000 | 0.292 | w.e.f 11/06/18
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996603 | 996686 | -83 | 83000 | 0.083 | 943679 | 944423 | -744 | 744000 | 0.744
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996418 | 996527 | -109 | 109000 | 0.109 | 997201 | 997900 | -699 | 699000 | 0.699
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 982872 | 983118 | -246 | 492000 | 0.492 | 971556 | 971707 | -151 | 302000 | 0.302
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1136 | 1123 | 13 | -13000 | -0.013 | 998930 | 999033 | -103 | 103000 | 0.103
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995073 | 995051 | 22 | -22000 | -0.022 | 998278 | 998437 | -159 | 159000 | 0.159
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2900 | 2909 | -9 | 9000 | 0.009 | 999566 | 999617 | -51 | 51000 | 0.051
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983290 | 983072 | 218 | -218000 | -0.218 | 937320 | 937371 | -51 | 51000 | 0.051
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960234 | 960334 | -100 | 100000 | 0.1 | 989592 | 989641 | -49 | 49000 | 0.049
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11636 | 11825 | -189 | 189000 | 0.189 | 990115 | 990325 | -210 | 210000 | 0.21
[5 empty] | -1000 | [5 empty] | 999510 | 999576 | -66 | 66000 | 0.066
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959776 | 959530 | 246 | -246000 | -0.246 | 828104 | 828256 | -152 | 152000 | 0.152
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24508 | 24656 | -148 | 148000 | 0.148 | 33694 | 33694 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9898 | 9807 | 91 | -91000 | -0.091 | 1000028 | 999933 | 95 | -95000 | -0.095
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987456 | 987532 | -76 | 76000 | 0.076 | 919579 | 919579 | 0 | 0 | 0
[5 empty] | -1000 | 966838 | 967083 | -245 | 245000 | 0.245
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.996 |  |  |  |  | 2.971
| (B) NET ENERGY TO EAST | [8 empty] | 0.996 |  |  |  |  | 2.971
JUNE-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 326 | 680 | -354 | 94401.18 | 0.094401 | 999999 | 1000000 | -1 | 266.67 | 0.00026667
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7147 | 7101 | 46 | -23000 | -0.023 | 1754 | 1758 | -4 | 2000 | 0.002
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3761 | 3731 | 30 | -7999.8 | -0.0079998 | 2078 | 1187 | 891 | -237594.06 | -0.23759
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 79514 | 79468 | 46 | -4600 | -0.0046 | 148808 | 146109 | 2699 | -269900 | -0.2699
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 999989 | 1000000 | -11 | 2200 | 0.0022 | 999086 | 999651 | -565 | 113000 | 0.113 | w.e.f 18/05/18
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 49338 | 49166 | 172 | -34400 | -0.0344 | 123571 | 120367 | 3204 | -640800 | -0.6408
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 19041 | 18917 | 124 | -99200 | -0.0992 | 14419 | 14199 | 220 | -176000 | -0.176
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 213 | 40 | 173 | -138400 | -0.1384 | 597 | 393 | 204 | -163200 | -0.1632 | w.e.f 03-05-2018
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 970170 | 970404 | -234 | 187200 | 0.1872 | 986017 | 986263 | -246 | 196800 | 0.1968
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 974922 | 975160 | -238 | 190400 | 0.1904 | 986783 | 986989 | -206 | 164800 | 0.1648
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 983353 | 983614 | -261 | 208800 | 0.2088 | 992934 | 993360 | -426 | 340800 | 0.3408
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 973717 | 973927 | -210 | 168000 | 0.168 | 994475 | 994591 | -116 | 92800 | 0.0928
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968482 | 968902 | -420 | 420000 | 0.42 | 31752 | 31949 | -197 | 197000 | 0.197
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1843 | 1842 | 1 | -1000 | -0.001 | 28549 | 28428 | 121 | -121000 | -0.121
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 12035 | 11877 | 158 | -15800 | -0.0158 | 28396 | 27000 | 1396 | -139600 | -0.1396
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61284 | -7 | 7000 | 0.007
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1420 | 1420 | 0 | 0 | 0 | 4270 | 3250 | 1020 | -169993.2 | -0.16999
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999832 | 999832 | 0 | 0 | 0 | 867 | 683 | 184 | -92000 | -0.092
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1311 | 1256 | 55 | -36666.85 | -0.036667 | 149 | 146 | 3 | -2000.01 | -0.002
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4230 | 4163 | 67 | -44666.6667 | -0.044667 | 1452 | 1448 | 4 | -2666.6667 | -0.0026667
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 23274 | 21616 | 1658 | -165800 | -0.1658 | 1826 | 1826 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25486 | 25442 | 44 | -4400 | -0.0044 | 51497 | 51406 | 91 | -9100 | -0.0091
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997502 | 997493 | 9 | -900 | -0.0009 | 3928 | 3286 | 642 | -64200 | -0.0642
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 4029 | 3604 | 425 | -42500 | -0.0425 | 10878 | 10771 | 107 | -10700 | -0.0107
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 3569 | 3415 | 154 | -15400 | -0.0154 | 349 | 338 | 11 | -1100 | -0.0011
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 20170 | 18448 | 1722 | -172200 | -0.1722 | 6079 | 5927 | 152 | -15200 | -0.0152
[10 empty] | 0.46407 |  |  |  |  | -1.0006
JUNE-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.19949 |  |  |  |  | 0.74367
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.46407 |  |  |  |  | -1.0006
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0768 |  |  |  |  | -0.015562
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.18778 |  |  |  |  | -0.27248
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.996 |  |  |  |  | 2.971
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.1838 |  |  |  |  | 2.6985
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.1838 | (REACTIVE MUs) |  |  |  | 2.6985 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.19763 | (REACTIVE MUs) |  |  |  | -0.81359 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.3814 | (REACTIVE MUs) |  |  |  | 1.8849 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999512 | 999505 | 7 | 35000 | 0.035 | 998926 | 999012 | -86 | -430000 | -0.43
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984583 | 984577 | 6 | 7999.98 | 0.008 | 670172 | 670291 | -119 | -158666.27 | -0.15867
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 998357 | 998296 | 61 | 12200 | 0.0122 | 999448 | 999492 | -44 | -8800 | -0.0088 | w.e.f 21/05/18
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999993 | 999973 | 20 | 26666.6 | 0.026667 | 999423 | 999406 | 17 | 22666.61 | 0.022667
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18839 | 18831 | 8 | 800 | 0.0008 | 22276 | 22026 | 250 | 25000 | 0.025
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 719722 | 719766 | -44 | -3300 | -0.0033 | 979467 | 981387 | -1920 | -144000 | -0.144
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 999227 | 999210 | 17 | 1275 | 0.001275 | 7934 | 4757 | 3177 | 238275 | 0.23827
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997488 | 997475 | 13 | 11700 | 0.0117 | 994551 | 994357 | 194 | 174600 | 0.1746
10 | BAY-38 (Supreme Court) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3586 | 3394 | 192 | -192000 | -0.192 | 997498 | 997493 | 5 | -5000 | -0.005
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 117 | 37 | 80 | -160000 | -0.16 | 999578 | 999694 | -116 | 232000 | 0.232 | w.e.f 06/04/18
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10608 | 10601 | 7 | -7000 | -0.007 | 998985 | 999228 | -243 | 243000 | 0.243
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967891 | 967882 | 9 | -9000 | -0.009 | 995015 | 995440 | -425 | 425000 | 0.425
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31582 | 31570 | 12 | -12000 | -0.012 | 997372 | 997368 | 4 | -4000 | -0.004
[5 empty] | -1000 | [5 empty] | 267 | 578 | -311 | 311000 | 0.311
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 19336 | 19335 | 1 | -500 | -0.0005 | 9088 | 3938 | 5150 | -2575000 | -2.575
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7788 | 7787 | 1 | -2000 | -0.002 | 999516 | 999560 | -44 | 88000 | 0.088
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996415 | 996414 | 1 | -1000 | -0.001 | 852799 | 853159 | -360 | 360000 | 0.36
[5 empty] | -1000 | [5 empty] | 855413 | 855717 | -304 | 304000 | 0.304
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999967 | 999997 | -30 | 30000 | 0.03 | 999412 | 999986 | -574 | 574000 | 0.574
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2895 | 2803 | 92 | -92000 | -0.092 | 981557 | 981847 | -290 | 290000 | 0.29
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 59 | 11 | 48 | -48000 | -0.048 | 998980 | 999723 | -743 | 743000 | 0.743 | w.e.f 25/05/18
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996530 | 996537 | -7 | 7000 | 0.007 | 988820 | 989106 | -286 | 286000 | 0.286
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 189 | 64 | 125 | -125000 | -0.125 | 998987 | 998905 | 82 | -82000 | -0.082
R.K.PURAM
26 | 33KV I/C-1 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 12/06/18
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 10 | 10 | 0 | 0 | 0 | 5632 | 4095 | 1537 | 1229600 | 1.2296
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978250 | 978250 | 0 | 0 | 0 | 976279 | 977783 | -1504 | 1504000 | 1.504
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980156 | 980156 | 0 | 0 | 0 | 997739 | 998693 | -954 | 954000 | 0.954
OKHLA
34 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996335 | 996352 | -17 | 17000 | 0.017 | 986932 | 988360 | -1428 | 1428000 | 1.428
35 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994181 | 994189 | -8 | 8000 | 0.008 | 925559 | 927646 | -2087 | 2087000 | 2.087
36 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9403 | 9091 | 312 | -312000 | -0.312 | 33248 | 33312 | -64 | 64000 | 0.064
37 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997846 | 997915 | -69 | 69000 | 0.069 | 996315 | 996289 | 26 | -26000 | -0.026
38 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999723 | 999748 | -25 | 25000 | 0.025 | 288 | 231 | 57 | -57000 | -0.057
BRPL(+) continue | [14 empty] | JUNE-2018
VASANT KUNJ
39 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8392 | 7928 | 464 | -464000 | -0.464 | 1000055 | 999875 | 180 | -180000 | -0.18
40 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 13817 | 13507 | 310 | -155000 | -0.155 | 999155 | 998478 | 677 | -338500 | -0.3385
41 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
42 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2333 | 2252 | 81 | -81000 | -0.081 | 999783 | 999957 | -174 | 174000 | 0.174
43 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994402 | 994406 | -4 | 4000 | 0.004 | 927306 | 927353 | -47 | 47000 | 0.047
44 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2221 | 2068 | 153 | -153000 | -0.153 | 10201 | 10654 | -453 | 453000 | 0.453
45 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1711 | 1708 | 3 | -6000 | -0.006 | 998112 | 998750 | -638 | 1276000 | 1.276
RIDGE VALLEY
46 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1705 | 1707 | -2 | 2000 | 0.002 | 999049 | 999830 | -781 | 781000 | 0.781
47 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8104 | 8189 | -85 | 170000 | 0.17 | 999612 | 999738 | -126 | 252000 | 0.252
DIAL
48 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6556 | 6551 | 5 | -10000 | -0.01 | 2341 | 2392 | -51 | 102000 | 0.102
49 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3348 | 3343 | 5 | -10000 | -0.01 | 1306 | 1356 | -50 | 100000 | 0.1
MASJID MOD
50 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917438 | 917438 | 0 | 0 | 0 | 981429 | 981123 | 306 | -306000 | -0.306
51 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 8 | 0 | 0 | 0 | 996999 | 996725 | 274 | -274000 | -0.274
52 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 468 | 468 | 0 | 0 | 0 | 996606 | 997269 | -663 | 663000 | 0.663
MUNDKA
53 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
54 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 996843 | 996887 | -44 | -35200 | -0.0352 | 142 | 100 | 42 | 33600 | 0.0336
55 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 982437 | 982461 | -24 | -19200 | -0.0192 | 999947 | 999963 | -16 | -12800 | -0.0128
56 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1481 | 1512 | -31 | -24800 | -0.0248 | 999779 | 999792 | -13 | -10400 | -0.0104
58 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 280 | 329 | -49 | -39200 | -0.0392 | 999997 | 1000003 | -6 | -4800 | -0.0048
PARK STREET
59 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968482 | 968902 | -420 | -420000 | -0.42 | 31752 | 31949 | -197 | -197000 | -0.197
60 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
61 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 404 | 414 | -10 | 10000 | 0.01 | 667 | 513 | 154 | -154000 | -0.154
62 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16570 | 16495 | 75 | -75000 | -0.075 | 1000163 | 999702 | 461 | -461000 | -0.461
63 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48993 | 49062 | -69 | 69000 | 0.069 | 501 | 387 | 114 | -114000 | -0.114
NARAINA
64 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10693 | 10693 | 0 | 0 | 0 | 89648 | 83832 | 5816 | 581600 | 0.5816
SUDARSHAN PARK
65 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999851 | 999856 | -5 | -937.5 | -0.0009375 | 999950 | 999979 | -29 | -5437.5 | -0.0054375
66 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 8115 | 8113 | 2 | 800 | 0.0008 | 996651 | 996714 | -63 | -25200 | -0.0252
[5 empty] | 400 | [5 empty] | 10693 | 10793 | -100 | -40000 | -0.04
67 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996011 | 995917 | 94 | 37600 | 0.0376 | 42283 | 40668 | 1615 | 646000 | 0.646
KANJAWALA
68 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 975744 | 976312 | -568 | -454400 | -0.4544 | 998734 | 998784 | -50 | -40000 | -0.04
Trauma Centre
69 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 344184 | 344183 | 1 | 100 | 0.0001 | 986691 | 987708 | -1017 | -101700 | -0.1017
[5 empty] | 100 | [5 empty] | 10657 | 10334 | 323 | 32300 | 0.0323
70 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4640 | 4640 | 0 | 0 | 0 | 766 | 405 | 361 | 361000 | 0.361
A.I.I.M.S.
71 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10268 | 10268 | 0 | 0 | 0 | 15886 | 15237 | 649 | 48675 | 0.048675
72 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4853 | 4853 | 0 | 0 | 0 | 7720 | 6801 | 919 | 91900 | 0.0919
PEERGARHI
73 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 4091 | 4015 | 76 | 38000 | 0.038 | 2807 | 2786 | 21 | 10500 | 0.0105
74 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3321 | 3307 | 14 | 14000 | 0.014 | 4048 | 4018 | 30 | 30000 | 0.03
75 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995188 | 995206 | -18 | -18000 | -0.018 | 1178 | 1206 | -28 | -28000 | -0.028
76 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3845 | 3844 | 1 | 1000 | 0.001 | 6507 | 6480 | 27 | 27000 | 0.027
77 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 999329 | 999876 | -547 | -87520 | -0.08752 | 999404 | 999485 | -81 | -12960 | -0.01296 | w.e.f 17/05/18
78 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 48799 | 48238 | 561 | 56100 | 0.0561 | 45712 | 45551 | 161 | 16100 | 0.0161
79 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999985 | 999934 | 51 | 51000 | 0.051 | 263 | 134 | 129 | 129000 | 0.129
80 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2374 | 2325 | 49 | 49000 | 0.049 | 6352 | 6181 | 171 | 171000 | 0.171
REWARI LINE
81 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999615 | 999621 | -6 | -1200 | -0.0012 | 3682 | 2067 | 1615 | 323000 | 0.323
82 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999024 | 999011 | 13 | 2437.5 | 0.0024375 | 1002158 | 999964 | 2194 | 411375 | 0.41137
83 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999015 | 999014 | 1 | 187.5 | 0.0001875 | 1934 | 1156 | 778 | 145875 | 0.14588
84 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 1000067 | 999993 | 74 | 18500 | 0.0185 | 2759 | 1331 | 1428 | 357000 | 0.357
85 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999890 | 999857 | 33 | 3300 | 0.0033 | 6522 | 1730 | 4792 | 479200 | 0.4792
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.2396 |  |  |  |  | 13.53
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -300 | 1248 | 0 | 1248 | -374400 | -0.3744 | 226 | 25 | 201 | -60300 | -0.0603 | w.e.f 31/05/18
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1147 | 1144 | 3 | -3000 | -0.003
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 33 | 33 | 0 | 0 | 0 | 9258 | 1935 | 7323 | -976375.59 | -0.97638 | w.e.f 18/05/18
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997572 | 997572 | 0 | 0 | 0 | 1001678 | 999423 | 2255 | -451000 | -0.451
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1022 | 1022 | 0 | 0 | 0 | 999474 | 999839 | -365 | 365000 | 0.365
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999060 | 999056 | 4 | -4000 | -0.004 | 1242 | 805 | 437 | -437000 | -0.437
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 5605 | 5605 | 0 | 0 | 0 | 6554 | 4621 | 1933 | -309280 | -0.30928
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 425 | 437 | -12 | 2400 | 0.0024 | 999669 | 999540 | 129 | -25800 | -0.0258
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994202 | 994203 | -1 | 1000 | 0.001 | 999762 | 999844 | -82 | 82000 | 0.082
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 96928 | 96782 | 146 | -14600 | -0.0146 | 73884 | 73255 | 629 | -62900 | -0.0629
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 106254 | 106204 | 50 | -5000 | -0.005 | 77353 | 75947 | 1406 | -140600 | -0.1406
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28118 | 28118 | 0 | 0 | 0 | 39372 | 34465 | 4907 | -490700 | -0.4907
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 435903 | 436106 | -203 | 20300 | 0.0203 | 47450 | 48706 | -1256 | 125600 | 0.1256
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 04/05/18
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12005 | 11987 | 18 | -1800 | -0.0018 | 78313 | 77583 | 730 | -73000 | -0.073
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1862 | 1846 | 16 | -1600 | -0.0016 | 22442 | 20810 | 1632 | -163200 | -0.1632
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 381 | 381 | 0 | 0 | 0 | 299 | 296 | 3 | -3999 | -0.003999
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 207 | 178 | 29 | -2900 | -0.0029 | 457 | 398 | 59 | -5900 | -0.0059
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 415 | 331 | 84 | -8400 | -0.0084 | 20233 | 19991 | 242 | -24200 | -0.0242
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995619 | 995611 | 8 | 3200 | 0.0032 | 86 | 86 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999989 | -4 | 1600 | 0.0016 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 999701 | 999701 | 0 | 0 | 0 | 999657 | 999959 | -302 | 120800 | 0.1208 | w.e.f 20/04/18
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1001719 | 998725 | 2994 | -2994000 | -2.994 | 1434 | 1434 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 143 | 139 | 4 | -3000 | -0.003 | 1207 | 495 | 712 | -534000 | -0.534
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.3812 |  |  |  |  | -3.0679
JUNE-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.2396 |  |  |  |  | 13.53
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.3812 |  |  |  |  | -3.0679
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.057412 |  |  |  |  | -0.01547
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0431 |  |  |  |  | -0.2899
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -5.6065 |  |  |  |  | 10.1568
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.6065 | (REACTIVE MUs) |  |  |  | 10.1568 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.37232 | (REACTIVE MUs) |  |  |  | -1.5327 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.2342 | (REACTIVE MUs) |  |  |  | 8.6241 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3761 | 3731 | 30 | 8000.1 | 0.0080001 | 2078 | 1187 | 891 | 237602.97 | 0.2376
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 79514 | 79468 | 46 | 4600 | 0.0046 | 148808 | 146109 | 2699 | 269900 | 0.2699
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 999989 | 1000000 | -11 | -2200 | -0.0022 | 999086 | 999651 | -565 | -113000 | -0.113
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 49338 | 49166 | 172 | 34400 | 0.0344 | 123571 | 120367 | 3204 | 640800 | 0.6408
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 19041 | 18917 | 124 | 99200 | 0.0992 | 14419 | 14199 | 220 | 176000 | 0.176
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 213 | 40 | 173 | 138400 | 0.1384 | 597 | 393 | 204 | 163200 | 0.1632
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 970170 | 970404 | -234 | -187200 | -0.1872 | 986017 | 986263 | -246 | -196800 | -0.1968
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 974922 | 975160 | -238 | -190400 | -0.1904 | 986783 | 986989 | -206 | -164800 | -0.1648
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 983353 | 983614 | -261 | -208800 | -0.2088 | 992934 | 993360 | -426 | -340800 | -0.3408
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 973717 | 973927 | -210 | -168000 | -0.168 | 994475 | 994591 | -116 | -92800 | -0.0928
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997506 | 997505 | 1 | 50 | 5e-05 | 17656 | 16944 | 712 | 35600 | 0.0356
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989392 | 989447 | -55 | -4125 | -0.004125 | 22262 | 21232 | 1030 | 77250 | 0.07725
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 135 | 117 | 18 | 9000 | 0.009 | 4083 | 3724 | 359 | 179500 | 0.1795
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999231 | 999217 | 14 | 5250 | 0.00525 | 6274 | 5650 | 624 | 234000 | 0.234
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988090 | 988082 | 8 | 800 | 0.0008 | 336944 | 334580 | 2364 | 236400 | 0.2364
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 352 | 266 | 86 | 6450 | 0.00645 | 28007 | 24051 | 3956 | 296700 | 0.2967
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 89303 | 89199 | 104 | 10400 | 0.0104 | 748678 | 748581 | 97 | 9700 | 0.0097
|  | 4865119 | ELSTER | Kvarh(Lead/Lag) | 100 | 59364 | 59343 | 21 | 2100 | 0.0021 | 344364 | 344173 | 191 | 19100 | 0.0191 | Check Meter data
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997808 | 997869 | -61 | -61000 | -0.061 | 102086 | 102084 | 2 | 2000 | 0.002
19 | VIDYUT BHAWAN-2 | 4865044 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993746 | 993771 | -25 | -25000 | -0.025 | 21818 | 21818 | 0 | 0 | 0 | Check Meter data
|  | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999978 | 1000000 | -22 | -22000 | -0.022 | 1 | 0 | 1 | 1000 | 0.001 | 2018-06-06
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990657 | 990717 | -60 | -60000 | -0.06 | 143903 | 143898 | 5 | 5000 | 0.005
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6078 | 6150 | -72 | -72000 | -0.072 | 59493 | 59493 | 0 | 0 | 0
[10 empty] | -0.24 |  |  |  |  | 0.008
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999060 | 999056 | 4 | 4000 | 0.004 | 1242 | 805 | 437 | 437000 | 0.437
23 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 5605 | 5605 | 0 | 0 | 0 | 6554 | 4621 | 1933 | 309280 | 0.30928
24 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 425 | 437 | -12 | -2400 | -0.0024 | 999669 | 999540 | 129 | 25800 | 0.0258
25 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994202 | 994203 | -1 | -1000 | -0.001 | 999762 | 999844 | -82 | -82000 | -0.082
A.I.I.M.S.
26 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
27 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
28 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999850 | -270 | 224999.1 | 0.225
JUNE-2018
NDMC(+) Continue…
TRAUMA CENTRE
29 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999923 | 999923 | 0 | 0 | 0 | 998390 | 999494 | -1104 | 1104000 | 1.104 | w.e.f 07/05/18
30 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 961634 | 961634 | 0 | 0 | 0 | 994886 | 997134 | -2248 | 1124000 | 1.124
ELECTRIC LANE
31 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998903 | 998903 | 0 | 0 | 0 | 998884 | 999484 | -600 | 1200000 | 1.2
32 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989055 | 989055 | 0 | 0 | 0 | 997647 | 998851 | -1204 | 1204000 | 1.204
KIDWAI NAGAR
33 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 435903 | 436106 | -203 | -20300 | -0.0203 | 47450 | 48706 | -1256 | -125600 | -0.1256
EXHIBITION I
34 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 21/05/18
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 96928 | 96782 | 146 | 14600 | 0.0146 | 73884 | 73255 | 629 | 62900 | 0.0629
36 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 106254 | 106204 | 50 | 5000 | 0.005 | 77353 | 75947 | 1406 | 140600 | 0.1406
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28118 | 28118 | 0 | 0 | 0 | 39372 | 34465 | 4907 | 490700 | 0.4907
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 1248 | 0 | 1248 | 124800 | 0.1248 | 226 | 0 | 226 | 22600 | 0.0226 | w.e.f 31/05/18
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 344184 | 344183 | 1 | -100 | -0.0001 | 986691 | 987708 | -1017 | 101700 | 0.1017
[5 empty] | -100 | [5 empty] | 10657 | 10334 | 323 | -32300 | -0.0323
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4640 | 4640 | 0 | 0 | 0 | 766 | 405 | 361 | -361000 | -0.361
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10268 | 10268 | 0 | 0 | 0 | 15886 | 15237 | 649 | -48675 | -0.048675
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4853 | 4853 | 0 | 0 | 0 | 7720 | 6801 | 919 | -91900 | -0.0919
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.55747 |  |  |  |  | 7.3817
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.55747 |  |  |  |  | 7.3817
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.036843 |  |  |  |  | -0.15167
| TOTAL ENERGY TO NDMC | [8 empty] | -0.52063 |  |  |  |  | 7.23

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3392 | 3392 | 0 | 0 | 0 | 26103 | 26056 | 47 | 9400 | 0.0094
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42415 | 42416 | -1 | -1000 | -0.001
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4249 | 4249 | 0 | 0 | 0 | 52385 | 52384 | 1 | 1000 | 0.001
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 151 | 151 | 0 | 0 | 0 | 8021 | 4235 | 3786 | 1514400 | 1.5144
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6467 | 6467 | 0 | 0 | 0 | 12161 | 12140 | 21 | 21000 | 0.021
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 283 | 283 | 0 | 0 | 0 | 919 | 615 | 304 | 121600 | 0.1216
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997572 | 997572 | 0 | 0 | 0 | 1001678 | 999423 | 2255 | 451000 | 0.451
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1022 | 1022 | 0 | 0 | 0 | 999474 | 999839 | -365 | -365000 | -0.365
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 1.7524
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 59574 | 59373 | 201 | 20100 | 0.0201 | 94517 | 93872 | 645 | 64500 | 0.0645
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78200 | 78162 | 38 | 3800 | 0.0038 | 18202 | 18071 | 131 | 13100 | 0.0131
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 65436 | 65244 | 192 | 19200 | 0.0192 | 120016 | 118051 | 1965 | 196500 | 0.1965
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1320 | 1320 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10281 | 10281 | 0 | 0 | 0 | 4242 | 4084 | 158 | 15800 | 0.0158
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0431 |  |  |  |  | 0.2899
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0431 |  |  |  |  | 0.2899
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 1.7524
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0431 |  |  |  |  | 2.0423
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0431 | (REACTIVE MUs) |  |  |  | 2.0423 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.005672 | (REACTIVE MUs) |  |  |  | -0.02335 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.048772 | (REACTIVE MUs) |  |  |  | 2.019 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 998969 | 998986 | -17 | -10625 | -0.010625 | 999989 | 999989 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999652 | 999805 | -153 | -95625 | -0.095625 | 999918 | 999967 | -49 | -30625 | -0.030625
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 999701 | 999701 | 0 | 0 | 0 | 999657 | 999959 | -302 | -120800 | -0.1208
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.10625 |  |  |  |  | -0.15143

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 978675 | 979110 | -435 | -43500 | -0.0435 | 1870 | 1890 | -20 | -2000 | -0.002
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 70924 | 70508 | 416 | 41600 | 0.0416 | 5209 | 5254 | -45 | -4500 | -0.0045
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 11049 | 10678 | 371 | 185500 | 0.1855 | 2236 | 2138 | 98 | 49000 | 0.049
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999945 | 999870 | 75 | 70312.5 | 0.070312 | 135 | 135 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 983110 | 983110 | 0 | 0 | 0 | 983667 | 983667 | 0 | 0 | 0
[10 empty] | -0.192 |  |  |  |  | -0.00247 | Assessment
|  | 5128406 | ELSTER | Kvarh(Lead/Lag) | 500 | 999950 | 1000000 | -50 | -25000 | -0.025 | 999899 | 1000000 | -101 | -50500 | -0.0505 | w.e.f 21/06/18
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978668 | 978709 | -41 | 20500 | 0.0205 | 976344 | 976334 | 10 | -5000 | -0.005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.057412 |  |  |  |  | -0.01547
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987123 | 987282 | -159 | -31800 | -0.0318 | 999870 | 999915 | -45 | -9000 | -0.009
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998430 | 998478 | -48 | -45000 | -0.045 | 999994 | 1000001 | -7 | -6562.5 | -0.0065625
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0768 |  |  |  |  | -0.015562
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 928 | 829 | 99 | 123750 | 0.12375 | 46 | 13 | 33 | 41250 | 0.04125
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 327162 | 328630 | -1468 | -146800 | -0.1468 | 997792 | 998753 | -961 | -96100 | -0.0961
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 258956 | 259607 | -651 | -40687.5 | -0.040688 | 987630 | 985619 | 2011 | 125687.5 | 0.12569
[5 empty] | 62.5 | 287064 | 286664 | 400 | 25000 | 0.025
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2629 | 2643 | -14 | -11200 | -0.0112 | 1840 | 1823 | 17 | 13600 | 0.0136
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 977427 | 977564 | -137 | -13700 | -0.0137 | 999271 | 999278 | -7 | -700 | -0.0007
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 184 | 184 | 0 | 0 | 0 | 989428 | 987238 | 2190 | 328500 | 0.3285
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998273 | 998291 | -18 | 45000 | 0.045 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.018638 |  |  |  |  | 0.41224
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.057412 |  |  |  |  | -0.01547
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0768 |  |  |  |  | -0.015562
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.018638 |  |  |  |  | 0.41224

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 34445 | 33744 | 701 | 701000 | 0.701 | 0 | 0 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 14198 | 14088 | 110 | 550000 | 0.55 | 81 | 81 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 1.251 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.251 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.152 |  |  |  |  | -3.5442
[7 empty] | NDMC = |  |  | -0.24 |  |  |  |  | 0.008
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -0.392 |  |  |  |  | -3.5362
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.859 |  |  |  |  | -3.5362
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.5394 | % |  |  | 0.24515 |  |  |  |  | -1.0092
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.3438 | % |  |  | 0.37232 |  |  |  |  | -1.5327
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.0075 | % |  |  | 0.19763 |  |  |  |  | -0.81359
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.2891 | % |  |  | 0.036843 |  |  |  |  | -0.15167
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6603 | % |  |  | 0.005672 |  |  |  |  | -0.02335
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.1599 | % |  |  | 0.0013735 |  |  |  |  | -0.0056544
Note :Sharing taken from wk-12 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2018 TO 30th JUNE-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.25299 |  | -2.0074
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -5.2342 | + | 8.6241
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 1.3814 | + | 1.8849
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.52063 | + | 7.23
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.048772 | + | 2.019
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.10625 |  | -0.15143
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2018 | INTIAL READING 01/06/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 14849 | 14470 | 379 | 284250 | 0.28425 | 999882 | 999882 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 4800 | 4164 | 636 | 954000 | 0.954 | 999995 | 1000000 | -5 | -7500 | -0.0075
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 844879 | 844419 | 460 | 345000 | 0.345 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 1.5833 |  |  | NET REACTIVE ENERGY |  | -0.0075
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1152 | 1152 | 0 | 0 | 0 | 12423 | 12038 | 385 | 1925000 | 1.925
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 912143 | 915180 | -3037 | -3037000 | -3.037
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973730 | 973818 | -88 | -88000 | -0.088 | 448 | 409 | 39 | 39000 | 0.039
[8 empty] | NET REACTIVE ENERGY |  | -0.088 |  |  | NET REACTIVE ENERGY |  | -1.073