## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 631 | 631 | 0 | 0 | 0 | 998938 | 998913 | 25 | -25000 | -0.025
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 100800 | 100799 | 1 | -2000 | -0.002 | 5281 | 5281 | 0 | 0 | 0
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 2815000.06 | 2763000.06 | 52000 | -52000 | -0.052 | 10000 | 10000 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19283 | 19283 | 0 | 0 | 0 | 2600 | 2600 | 0 | 0 | 0
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 3409999.87 | 3409999.87 | 0 | 0 | 0 | 55000 | 55000 | 0 | 0 | 0
SUBZI MANDI
5 | Tx.1 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 450 | 450 | 0 | 0 | 0 | 432 | 536 | -104 | 104000 | 0.104
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 331 | 331 | 0 | 0 | 0 | 2918 | 2192 | 726 | -1452000 | -1.452
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42017 | 41917 | 100 | -100000 | -0.1 | 999162 | 999162 | 0 | 0 | 0
8 | Tx.2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1752 | 1671 | 81 | -81000 | -0.081 | 11 | 11 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37542 | 37508 | 34 | -34000 | -0.034 | 997128 | 997128 | 0 | 0 | 0
10 | Tx.-4 | 4902498 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1682 | 1668 | 14 | -14000 | -0.014 | 86 | 86 | 0 | 0 | 0
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17446 | 17390 | 56 | -56000 | -0.056 | 998590 | 998590 | 0 | 0 | 0
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40133 | 40044 | 89 | -89000 | -0.089 | 2316 | 1051 | 1265 | -1265000 | -1.265
[10 empty] | -0.001335 |  |  |  |  | -0.019 | Assesment
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65575 | 65569 | 6 | -6000 | -0.006 | 995674 | 995674 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 645093 | 649581 | -4488 | -4488000 | -4.488 | 999743 | 999743 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 649540 | 655496 | -5956 | -2978000 | -2.978 | 999974 | 999974 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16454 | 16454 | 0 | 0 | 0 | 1457 | 1308 | 149 | -149000 | -0.149
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 113 | 113 | 0 | 0 | 0 | 12965 | 11427 | 1538 | -1538000 | -1.538
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64243 | 64243 | 0 | 0 | 0 | 2626 | 2592 | 34 | -34000 | -0.034
NARAINA
20 | O/G REWARI LINE 1(payal) | 4865057 | ELSTER | Kvarh(Lead/Lag) | 300 | 999125 | 999125 | 0 | 0 | 0 | 999921 | 999988 | -67 | -20100 | -0.0201
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999545 | 999545 | 0 | 0 | 0 | 999488 | 999490 | -2 | -8000 | -0.008
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1915 | 1915 | 0 | 0 | 0 | 17404 | 17396 | 8 | 4000 | 0.004
23 | 16 MVA TX.-2 | 4864860 | ELSTER | Kvarh(Lead/Lag) | 500 | 11365 | 11364 | 1 | 500 | 0.0005 | 31192 | 31189 | 3 | 1500 | 0.0015
24 | INDER PURI | 4902486 | ELSTER | Kvarh(Lead/Lag) | 150 | 995924 | 995924 | 0 | 0 | 0 | 9814 | 10442 | -628 | -94200 | -0.0942
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999992 | 999992 | 0 | 0 | 0 | 991969 | 992782 | -813 | -1083999.729 | -1.084
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999692 | 999692 | 0 | 0 | 0 | 4 | 2 | 2 | 2000 | 0.002
KASHMIRI GATE
27 | 220 kV DMRC #1 | 5128479 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993667 | 994229 | -562 | -562000 | -0.562 | 28 | 28 | 0 | 0 | 0
28 | 220 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 871417 | 871759 | -342 | -171000 | -0.171 | 999208 | 999208 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 989712 | 989726 | -14 | -3733.38 | -0.0037334 | 999910 | 999930 | -20 | -5333.4 | -0.0053334
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6 | 6 | 0 | 0 | 0 | 151 | 150 | 1 | 2000 | 0.002
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62187 | 62187 | 0 | 0 | 0 | 995628 | 995618 | 10 | -10000 | -0.01
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7692 | 7692 | 0 | 0 | 0 | 489 | 465 | 24 | -24000 | -0.024
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 45630 | 45629 | 1 | -2000 | -0.002 | 999966 | 999962 | 4 | -8000 | -0.008
BAWANA
34 | I/C 100 MVA PR.TR. | 4864847 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2521 | 2519 | 2 | -5000 | -0.005 | 0 | 22 | -22 | 55000 | 0.055
[5 empty] | -2500 | [5 empty] | 999980 | 999999 | -19 | 47500 | 0.0475
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 20467 | 20294 | 173 | -692000 | -0.692 | 150 | 149 | 1 | -4000 | -0.004
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 182790 | 182523 | 267 | -267000 | -0.267 | 998564 | 998560 | 4 | -4000 | -0.004
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 439906 | 439325 | 581 | -193664.73 | -0.19366 | 2797 | 2797 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 64071 | 63884 | 187 | -374000 | -0.374 | 218 | 218 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 7470 | 7411 | 59 | -147500 | -0.1475 | 153 | 153 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 172238 | 172051 | 187 | -187000 | -0.187 | 2714 | 2714 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 23433000 | 23391000 | 42000 | -42000 | -0.042 | 5184000 | 5184000 | 0 | 0 | 0
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 65859000 | 65763000 | 96000 | -96000 | -0.096 | 3368000 | 3368000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55167 | 54814 | 353 | -353000 | -0.353 | 998035 | 998035 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62721 | 62714 | 7 | -7000 | -0.007 | 985 | 985 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991435 | 991520 | -85 | -85000 | -0.085 | 24309 | 24310 | -1 | -1000 | -0.001
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | APRIL-2024
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3099 | 3099 | 0 | 0 | 0 | 35745 | 35717 | 28 | 2800 | 0.0028
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 737 | 737 | 0 | 0 | 0 | 603 | 603 | 0 | 0 | 0
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4738 | 4738 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999942 | 999942 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1543 | 1543 | 0 | 0 | 0 | 13050 | 13012 | 38 | 3800 | 0.0038
B.G.ROAD
55 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999859 | 999859 | 0 | 0 | 0 | 2648 | 2594 | 54 | 27000 | 0.027
57 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | 500 | 999982 | 999982 | 0 | 0 | 0 | 999932 | 999932 | 0 | 0 | 0
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1202 | 1202 | 0 | 0 | 0 | 1666 | 1640 | 26 | 13000 | 0.013
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992178 | 992182 | -4 | -400 | -0.0004 | 3915 | 3806 | 109 | 10900 | 0.0109
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 33 | 33 | 0 | 0 | 0 | 149 | 120 | 29 | 38666.57 | 0.038667
61 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 72 | 8 | 64 | 8533.12 | 0.0085331 | 383 | 283 | 100 | 13333 | 0.013333
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 2808 | 2764 | 44 | 4400 | 0.0044 | 637 | 564 | 73 | 7300 | 0.0073
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59273 | 59260 | 13 | 1300 | 0.0013 | 2661 | 2640 | 21 | 2100 | 0.0021
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 424 | 424 | 0 | 0 | 0 | 1179 | 1182 | -3 | -399.99 | -0.00039999 | up to 15.04.24
[15 empty] | -0.0004 | Assesment
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 4 | 3 | 1 | -400 | -0.0004
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999994 | 999999 | -5 | 2000 | 0.002
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 929049 | 929049 | 0 | 0 | 0 | 999633 | 999633 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 991389 | 991460 | -71 | -56800 | -0.0568 | 999987 | 999987 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 955196 | 955249 | -53 | -10600 | -0.0106 | 2237 | 2237 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 987244 | 987277 | -33 | -8250 | -0.00825 | 827 | 827 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973791 | 973909 | -118 | -118000 | -0.118 | 1753 | 1744 | 9 | 9000 | 0.009
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999542 | 999537 | 5 | 1406.25 | 0.0014062 | 432 | 435 | -3 | -843.75 | -0.00084375
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -854000 | -850000 | -4000 | -4000 | -0.004 | -16000 | -16000 | 0 | 0 | 0
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | -462000 | -429000 | -33000 | -33000 | -0.033 | 0 | 0 | 0 | 0 | 0
76 | 33KV NARAINA DTC CKT-I | Q0487627 | Secure | Kvarh(Lead/Lag) | 1 | -498000 | -474000 | -24000 | -24000 | -0.024 | -8000 | -8000 | 0 | 0 | 0
77 | 33KV NARAINA DTC CKT-II | Q0487631 | Secure | Kvarh(Lead/Lag) | 1 | -1050000 | -1022000 | -28000 | -28000 | -0.028 | -10000 | -9000 | -1000 | -1000 | -0.001
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -11.3561 |  |  |  |  | -5.4018
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2024
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 676 | 676 | 0 | 0 | 0 | 5683 | 4868 | 815 | -81500 | -0.0815
MANGOLPURI
2 | NANGLOI-2 EXP | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 867500 | 870000 | -2500 | 2000 | 0.002 | 17000 | 17000 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | -500 | 972976 | 972977 | -1 | 500 | 0.0005 | 992103 | 992102 | 1 | -500 | -0.0005
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5651 | 5668 | -17 | 2266.61 | 0.0022666 | 8304 | 8304 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995661 | 995697 | -36 | 6750 | 0.00675 | 998167 | 998167 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | Y0357713 | ELSTER | Kvarh(Lead/Lag) | -0.4 | -2151000 | -2151000 | 0 | 0 | 0 | -2662000 | -2662000 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992002 | 992002 | 0 | 0 | 0 | 1387 | 1392 | -5 | 3125 | 0.003125
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999605 | 999605 | 0 | 0 | 0 | 869 | 872 | -3 | 1500 | 0.0015
REWARI LINE
10 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | -400 | 998574 | 998573 | 1 | -400 | -0.0004 | 999989 | 999990 | -1 | 400 | 0.0004
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999253 | 999270 | -17 | 15937.5 | 0.015938 | 999730 | 999732 | -2 | 1875 | 0.001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 977810 | 977878 | -68 | 12750 | 0.01275 | 2501 | 2505 | -4 | 750 | 0.00075
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999961 | 999961 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 992293 | 992299 | -6 | 600 | 0.0006 | 32226 | 32207 | 19 | -1900 | -0.0019
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.040404 |  |  |  |  | -0.07625
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -11.3561 |  |  |  |  | -5.4018
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.040404 |  |  |  |  | -0.07625
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.12388 |  |  |  |  | -0.33163
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -11.4396 |  |  |  |  | -5.8097
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -11.4396 | (REACTIVE MUs) |  |  |  | -5.8097 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.7418 | (REACTIVE MUs) |  |  |  | 0.051151 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.6978 | (REACTIVE MUs) |  |  |  | -5.7585 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997800 | 997800 | 0 | 0 | 0 | 984852 | 985652 | -800 | -800000 | -0.8
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998503 | 998503 | 0 | 0 | 0 | 996701 | 997223 | -522 | -522000 | -0.522
3 | BAY-13 | 4864878 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996936 | 996936 | 0 | 0 | 0 | 989656 | 990788 | -1132 | -1132000 | -1.132 | From 04.04.24
[5 empty] | 1000 | [9 empty] | -0.1258 | Assesment
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999792 | 999792 | 0 | 0 | 0 | 995638 | 995417 | 221 | 294665.93 | 0.29467
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997312 | 997312 | 0 | 0 | 0 | 996982 | 996958 | 24 | 36000 | 0.036
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10342 | 10342 | 0 | 0 | 0 | 17464 | 17725 | -261 | -347999.13 | -0.348
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994424 | 994424 | 0 | 0 | 0 | 993640 | 994229 | -589 | -589000 | -0.589
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990600 | 990600 | 0 | 0 | 0 | 984203 | 984522 | -319 | -319000 | -0.319
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999990 | 999990 | 0 | 0 | 0 | 995359 | 996362 | -1003 | -802400 | -0.8024
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988541 | 988541 | 0 | 0 | 0 | 264820 | 264879 | -59 | -78666.47 | -0.078666
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1867 | 1841 | 26 | -173333.316 | -0.17333 | 108 | 108 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45503 | 44897 | 606 | -606000 | -0.606 | 997384 | 997384 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7120 | 7118 | 2 | -4000 | -0.004 | 999698 | 999710 | -12 | 24000 | 0.024
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7183 | 7094 | 89 | -89000 | -0.089 | 996113 | 996144 | -31 | 31000 | 0.031
PAAPANKALAN-II
15 | Tx.1 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -1250 | 3930 | 3924 | 6 | -7500 | -0.0075 | 314 | 309 | 5 | -6250 | -0.00625
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13806 | 13806 | 0 | 0 | 0 | 921 | 940 | -19 | 19000 | 0.019
17 | Tx.3 | 4865044 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15129 | 15129 | 0 | 0 | 0 | 7543 | 7298 | 245 | -490000 | -0.49 | Check meter Data
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4789 | 4789 | 0 | 0 | 0 | 999853 | 999884 | -31 | 62000 | 0.062
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 6267 | 6229 | 38 | -60800 | -0.0608 | 2225 | 2216 | 9 | -14400 | -0.0144
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 142099 | 141960 | 139 | -111200 | -0.1112 | 8233 | 8190 | 43 | -34400 | -0.0344
[10 empty] | -0.000556 |  |  |  |  | -0.000172 | Assesment
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 243 | 242 | 1 | -2500 | -0.0025 | 999888 | 999890 | -2 | 5000 | 0.005
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952825 | 952828 | -3 | 6000 | 0.006 | 988893 | 988917 | -24 | 48000 | 0.048
23 | Tx.3 | 4864787 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998457 | 998500 | -43 | 86000 | 0.086 | 999965 | 999965 | 0 | 0 | 0
24 | Tx.4 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2112 | 2099 | 13 | -13000 | -0.013 | 999909 | 999909 | 0 | 0 | 0
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997762 | 997762 | 0 | 0 | 0 | 997368 | 997366 | 2 | -2000 | -0.002
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981701 | 981701 | 0 | 0 | 0 | 13093 | 13092 | 1 | -1000 | -0.001
27 | 66KV I/C-1 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 162 | 134 | 28 | -56000 | -0.056 | 6 | 6 | 0 | 0 | 0
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8663 | 8644 | 19 | -38000 | -0.038 | 1564 | 1564 | 0 | 0 | 0
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 867500 | 870000 | -2500 | -2000 | -0.002 | 17000 | 17000 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930448 | 930481 | -33 | 33000 | 0.033 | 965241 | 965241 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992392 | 992470 | -78 | 78000 | 0.078 | 999484 | 999484 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6050 | 5986 | 64 | -64000 | -0.064 | 999976 | 999976 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41994 | 41994 | 0 | 0 | 0 | 17412 | 17156 | 256 | -204800 | -0.2048
34 | 66KV I/C-2 | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1200 | 503 | 503 | 0 | 0 | 0 | 1870 | 1694 | 176 | -211200 | -0.2112
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 369 | 250 | 119 | -238000 | -0.238 | 2183 | 2163 | 20 | -40000 | -0.04
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 295 | 302 | -7 | 7000 | 0.007 | 1812 | 1624 | 188 | -188000 | -0.188
37 | Tx.5 (33 KV)-Ckt No.3 | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5 | 6 | -1 | 1000 | 0.001 | 593 | 638 | -45 | 45000 | 0.045
[5 empty] | -1000 | 999941 | 999993 | -52 | 52000 | 0.052
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5817 | 5764 | 53 | -53000 | -0.053 | 997937 | 997922 | 15 | -15000 | -0.015
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1325 | 1324 | 1 | -1000 | -0.001 | 6683 | 5862 | 821 | -821000 | -0.821
BRPL(+) continue | [14 empty] | APRIL-2024
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10809 | 10819 | -10 | 10000 | 0.01 | 75 | 75 | 0 | 0 | 0
41 | Tx.2 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27784 | 27779 | 5 | -5000 | -0.005 | 1454 | 1392 | 62 | -62000 | -0.062 | upto 29.04.2024
[10 empty] | -0.0002 |  |  |  |  | -0.0021 | Assesment
42 | Tx.3 | 4864900 | ELSTER | Kvarh(Lead/Lag) | -2500 | 244 | 244 | 0 | 0 | 0 | 999956 | 999960 | -4 | 10000 | 0.01
MEHRAULI
43 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2374 | 2374 | 0 | 0 | 0 | 277 | 284 | -7 | 7000 | 0.007
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 27121 | 27067 | 54 | -27000 | -0.027 | 2183 | 2187 | -4 | 2000 | 0.002
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3622 | 3619 | 3 | -7500 | -0.0075 | 1227 | 1231 | -4 | 10000 | 0.01
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7313 | 7309 | 4 | -8000 | -0.008 | 1305 | 1280 | 25 | -50000 | -0.05
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 114950 | 113805 | 1145 | -1145000 | -1.145 | 996806 | 996806 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83418 | 81898 | 1520 | -3040000 | -3.04 | 999341 | 999341 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 15672 | 15574 | 98 | -147000 | -0.147 | 71 | 71 | 0 | 0 | 0
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18985 | 18811 | 174 | -174000 | -0.174 | 16 | 16 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 5295132 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960197 | 960197 | 0 | 0 | 0 | 103556 | 103546 | 10 | -10000 | -0.01 | Check meter Data
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991340 | 991340 | 0 | 0 | 0 | 994891 | 994903 | -12 | 12000 | 0.012
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989987 | 989987 | 0 | 0 | 0 | 986770 | 986775 | -5 | 5000 | 0.005
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 992448 | 992448 | 0 | 0 | 0 | 999981 | 999981 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 956874 | 957026 | -152 | -121600 | -0.1216 | 596 | 596 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 903221 | 903331 | -110 | -88000 | -0.088 | 999389 | 999389 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 999450 | 999390 | 60 | 48000 | 0.048 | 22 | 22 | 0 | 0 | 0
59 | BAY No 612 | 4902511 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999911 | 999915 | -4 | -16000 | -0.016 | 11 | 11 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 977959 | 978046 | -87 | -69600 | -0.0696 | 999112 | 999120 | -8 | -6400 | -0.0064
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 970559 | 971029 | -470 | -376000 | -0.376 | 999887 | 999887 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | Y0357818 | Secure | Kvarh(Lead/Lag) | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 5100232 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8451 | 7878 | 573 | -1146000 | -1.146 | 26 | 26 | 0 | 0 | 0
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20410 | 20410 | 0 | 0 | 0 | 25190 | 20738 | 4452 | -4452000 | -4.452
[15 empty] | 0.0003 | Assesment
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151336 | 151157 | 179 | -179000 | -0.179 | 3521 | 3521 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 676 | 676 | 0 | 0 | 0 | 5683 | 4868 | 815 | 81500 | 0.0815
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995661 | 995697 | -36 | -6750 | -0.00675 | 998167 | 998167 | 0 | 0 | 0
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997794 | 997794 | 0 | 0 | 0 | 382 | 355 | 27 | 27000 | 0.027
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997146 | 997146 | 0 | 0 | 0 | 358 | 343 | 15 | 15000 | 0.015
KANJAWALA
70 | 66KV DMRC | Y0357713 | Secure | Kvarh(Lead/Lag) | 0.4 | -2151000 | -2151000 | 0 | 0 | 0 | -2662000 | -2662000 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 741 | 634 | 107 | 107000 | 0.107 | 999569 | 999569 | 0 | 0 | 0
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993853 | 994001 | -148 | -148000 | -0.148 | 999563 | 999563 | 0 | 0 | 0
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999689 | 999701 | -12 | -1200 | -0.0012 | 999677 | 999677 | 0 | 0 | 0
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 263 | 258 | 5 | 1000 | 0.001 | 407 | 407 | 0 | 0 | 0
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 7848 | 7853 | -5 | -2500 | -0.0025 | 2906 | 2906 | 0 | 0 | 0
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993636 | 993643 | -7 | -7000 | -0.007 | 4034 | 4034 | 0 | 0 | 0
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980272 | 980275 | -3 | -3000 | -0.003 | 519 | 519 | 0 | 0 | 0
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7448 | 7445 | 3 | 3000 | 0.003 | 6930 | 6930 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 992771 | 992774 | -3 | -450 | -0.00045 | 715 | 715 | 0 | 0 | 0
80 | PASCHIM PURI - 2(L-8) | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999900 | 999902 | -2 | -2000 | -0.002 | 999999 | 999999 | 0 | 0 | 0
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3277 | 3273 | 4 | 1066.68 | 0.0010667 | 557 | 557 | 0 | 0 | 0
82 | MUKHERJEE PARK - II | 4865154 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999952 | 999950 | 2 | 2000 | 0.002 | 80 | 74 | 6 | 6000 | 0.006
REWARI LINE
83 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | 400 | 998574 | 998573 | 1 | 400 | 0.0004 | 999989 | 999990 | -1 | -400 | -0.0004
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999253 | 999270 | -17 | -15937.5 | -0.015938 | 999730 | 999732 | -2 | -1875 | -0.001875
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 977810 | 977878 | -68 | -12750 | -0.01275 | 2501 | 2505 | -4 | -750 | -0.00075
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999961 | 999961 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 992293 | 992299 | -6 | -600 | -0.0006 | 32226 | 32207 | 19 | 1900 | 0.0019
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.8345 |  |  |  |  | -10.5882
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2024
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21801 | 21801 | 0 | 0 | 0 | 6227 | 6169 | 58 | -29000 | -0.029
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992379 | 992379 | 0 | 0 | 0 | 427 | 1050 | -623 | 83064.59 | 0.083065
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999406 | 999406 | 0 | 0 | 0 | 83 | 140 | -57 | 38000.019 | 0.038
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984 | 984 | 0 | 0 | 0 | 410 | 385 | 25 | -25000 | -0.025
6 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | -2 | 0 | 0 | 0 | 0 | 0 | 184100 | 149200 | 34900 | -69800 | -0.0698
EXPORTS(*)
EXPORT TO NDMC
7 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986900 | 987056 | -156 | 156000 | 0.156 | 2695 | 2695 | 0 | 0 | 0
8 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2431 | 2431 | 0 | 0 | 0 | 45559 | 45532 | 27 | -4320 | -0.00432
9 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3759 | 3759 | 0 | 0 | 0 | 27125 | 27029 | 96 | -19200 | -0.0192
10 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964842 | 964947 | -105 | 105000 | 0.105 | 999618 | 999618 | 0 | 0 | 0
EXPORT TO NDMC
11 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 903 | 903 | 0 | 0 | 0 | 3562 | 3550 | 12 | -1200 | -0.0012
12 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5793 | 5793 | 0 | 0 | 0 | 6690 | 6303 | 387 | -38700 | -0.0387
13 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | -200 | 998273 | 998299 | -26 | 5200 | 0.0052 | 999703 | 999703 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
14 | KILOKARI | 4902557 | ELSTER | Kvarh(Lead/Lag) | 1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999999 | 999999 | 0 | 0 | 0 | 999870 | 999870 | 0 | 0 | 0
16 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 718 | 718 | 0 | 0 | 0 | 8283 | 7971 | 312 | 259998.96 | 0.26
KIDWAI NAGAR
17 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 542 | 542 | 0 | 0 | 0 | 9069 | 8818 | 251 | -156875 | -0.15687
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | -266.667 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3099 | 3099 | 0 | 0 | 0 | 35745 | 35717 | 28 | -2800 | -0.0028
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 737 | 737 | 0 | 0 | 0 | 603 | 603 | 0 | 0 | 0
22 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4738 | 4738 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999942 | 999942 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1543 | 1543 | 0 | 0 | 0 | 13050 | 13012 | 38 | -3800 | -0.0038
REWARI LINE (11KV TRANSFER OF ENERGY)
27 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999994 | 999999 | -5 | -2000 | -0.002
28 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
29 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 2629 | 2692 | -63 | 50400 | 0.0504 | 1609 | 1609 | 0 | 0 | 0
REWARI LINE
30 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973791 | 973909 | -118 | 118000 | 0.118 | 1753 | 1744 | 9 | -9000 | -0.009
31 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999542 | 999537 | 5 | -1406.25 | -0.0014062 | 432 | 435 | -3 | 843.75 | 0.00084375
FED FROM BRPL(RLY.)
32 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.18 | 0.18 | 0 | 0 | 0 | 53.48 | 50.39 | 3.09 | -1854 | -0.001854
33 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.69 | 0.69 | 0 | 0 | 0 | 41.35 | 39.23 | 2.12 | -6360 | -0.00636
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.43319 |  |  |  |  | 0.011998
APRIL-2024
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -7.8345 |  |  |  |  | -10.5882
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.43319 |  |  |  |  | 0.011998
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.039804 |  |  |  |  | 0.016146
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.18115
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -7.4411 |  |  |  |  | -10.7413
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.4411 | (REACTIVE MUs) |  |  |  | -10.7413 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 6.6173 | (REACTIVE MUs) |  |  |  | 0.071014 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.82382 | (REACTIVE MUs) |  |  |  | -10.6702 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2024
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36443 | 36443 | 0 | 0 | 0 | 974422 | 976848 | -2426 | -647742 | -0.64774
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 998481 | 998754 | -273 | -1092000 | -1.092
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24928 | 24928 | 0 | 0 | 0 | 33329 | 33653 | -324 | -43198.92 | -0.043199
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999556 | 999556 | 0 | 0 | 0 | 998171 | 998180 | -9 | -9000 | -0.009
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 88 | 88 | 0 | 0 | 0 | 999326 | 999022 | 304 | 486400 | 0.4864
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18398 | 18398 | 0 | 0 | 0 | 3259 | 3067 | 192 | 255999.36 | 0.256
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999439 | 999439 | 0 | 0 | 0 | 977207 | 982733 | -5526 | -1105200 | -1.1052
RPH
8 | KAMLA MKT.-2 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999787 | 999794 | -7 | -9333.31 | -0.0093333 | 999998 | 999998 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 981895 | 981907 | -12 | -6000 | -0.006 | 541 | 545 | -4 | -2000 | -0.002
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996956 | 996964 | -8 | -8000 | -0.008 | 999765 | 999765 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982172 | 982183 | -11 | -11000 | -0.011 | 1003 | 1003 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999954 | 999954 | 0 | 0 | 0 | 3234 | 3177 | 57 | 75999.81 | 0.076
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993224 | 993233 | -9 | -9000 | -0.009 | 994525 | 994526 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992482 | 992485 | -3 | -3000 | -0.003 | 999543 | 999585 | -42 | -42000 | -0.042
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994292 | 994300 | -8 | -6400 | -0.0064 | 6682 | 6682 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14112 | 14129 | -17 | -2266.61 | -0.0022666 | 8685 | 8685 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 999858 | 999857 | 1 | 1000 | 0.001
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 141 | 148 | -7 | -7000 | -0.007 | 16393 | 16394 | -1 | -1000 | -0.001
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 931697 | 932980 | -1283 | -1603750 | -1.6038 | 947108 | 947108 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 898816 | 901906 | -3090 | -3090000 | -3.09 | 933434 | 933434 | 0 | 0 | 0
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997771 | 998363 | -592 | -592000 | -0.592 | 999959 | 999959 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -5.2857 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999993 | 999993 | 0 | 0 | 0 | 999979 | 999979 | 0 | 0 | 0 | Under Shut Down
23 | 100 MVA TX.-2 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 843 | 782 | 61 | -61000 | -0.061 | 0 | 21 | -21 | 21000 | 0.021
[5 empty] | -1000 | [5 empty] | 999995 | 999999 | -4 | 4000 | 0.004
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 4 | 3 | 1 | 400 | 0.0004
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998863 | 998863 | 0 | 0 | 0 | 10989 | 11152 | -163 | -163000 | -0.163
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25722 | 24584 | 1138 | -1138000 | -1.138 | 2300 | 2295 | 5 | -5000 | -0.005
27 | TX.-2(66KV) | Y0357712 | Secure | Kvarh(Lead/Lag) | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17794 | 17654 | 140 | -140000 | -0.14 | 999188 | 999156 | 32 | -32000 | -0.032
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9349 | 9217 | 132 | -132000 | -0.132 | 998021 | 998021 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -2000 | 585 | 585 | 0 | 0 | 0 | 165 | 164 | 1 | -2000 | -0.002
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99382 | 99382 | 0 | 0 | 0 | 6536 | 6536 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 4320 | 4316 | 4 | -20000 | -0.02 | 450 | 450 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | 500 | 972976 | 972977 | -1 | -500 | -0.0005 | 992103 | 992102 | 1 | 500 | 0.0005
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5651 | 5668 | -17 | -2266.61 | -0.0022666 | 8304 | 8304 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992379 | 992379 | 0 | 0 | 0 | 427 | 1050 | -623 | -82859 | -0.082859
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998116 | 67 | -67000 | -0.067 | 990317 | 990317 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8566 | 8493 | 73 | -73000 | -0.073 | 969563 | 969563 | 0 | 0 | 0
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | 1600000 | 1547000.06 | 52999.94 | -52999.94 | -0.053 | 26000 | 26000 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 4180999.94 | 4102000.13 | 78999.81 | -78999.81 | -0.079 | 25000 | 25000 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -7.1135 |  |  |  |  | -2.3827
| (A) NET ENERGY TO CENTRAL | [8 empty] | -7.1135 |  |  |  |  | -2.3827
APRIL-2024
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1913 | 1913 | 0 | 0 | 0 | 742 | 734 | 8 | -8000 | -0.008
2 | Tx.2 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1458 | 1458 | 0 | 0 | 0 | 626 | 586 | 40 | -40000 | -0.04
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 904 | 904 | 0 | 0 | 0 | 310 | 309 | 1 | -1000 | -0.001
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4756 | 4756 | 0 | 0 | 0 | 999794 | 999809 | -15 | 15000 | 0.015
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41972 | 41972 | 0 | 0 | 0 | 331 | 269 | 62 | -62000 | -0.062
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 25334 | 25334 | 0 | 0 | 0 | 3058 | 3026 | 32 | -16000 | -0.016
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 474 | 474 | 0 | 0 | 0 | 401 | 400 | 1 | -1000 | -0.001
8 | 100MVA Tx.3 (33 KV) | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141 | 141 | 0 | 0 | 0 | 199 | 204 | -5 | 5000 | 0.005
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2033 | 2033 | 0 | 0 | 0 | 333 | 339 | -6 | 6000 | 0.006
GEETA COLONY
10 | I/C-I | 5128441 | ELSTER | Kvarh(Lead/Lag) | -1000 | 248 | 248 | 0 | 0 | 0 | 1085 | 1091 | -6 | 6000 | 0.006
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1691 | 1671 | 20 | -20000 | -0.02 | 2093 | 2096 | -3 | 3000 | 0.003
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14385 | 14380 | 5 | -25000 | -0.025 | 1286 | 1285 | 1 | -5000 | -0.005
13 | TX-2 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16783 | 10713 | 6070 | -6070000 | -6.07 | 29 | 29 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6183 | 11559 | -5376 | 5376000 | 5.376 | 912 | 912 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.739 |  |  |  |  | -0.098
| (B) NET ENERGY TO EAST | [8 empty] | -0.739 |  |  |  |  | -0.098
APRIL-2024
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 989712 | 989726 | -14 | 3733.38 | 0.0037334 | 999910 | 999930 | -20 | 5333.4 | 0.0053334
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6 | 6 | 0 | 0 | 0 | 151 | 150 | 1 | -2000 | -0.002
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 999808 | 999850 | -42 | 11199.72 | 0.0112 | 2165 | 2146 | 19 | -5066.54 | -0.0050665
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 17424 | 16991 | 433 | -43300 | -0.0433 | 1657 | 1603 | 54 | -5400 | -0.0054
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 966210 | 966555 | -345 | 69000 | 0.069 | 256 | 244 | 12 | -2400 | -0.0024
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47 | 88 | -41 | 41000 | 0.041 | 365 | 365 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999793 | 999813 | -20 | 16000 | 0.016 | 1136 | 1134 | 2 | -1600 | -0.0016
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 950 | 963 | -13 | 10400 | 0.0104 | 2259 | 2252 | 7 | -5600 | -0.0056
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 934528 | 934983 | -455 | 364000 | 0.364 | 987471 | 987472 | -1 | 800 | 0.0008
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991771 | 991788 | -17 | 34000 | 0.034 | 997977 | 997964 | 13 | -26000 | -0.026
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | Y0357818 | SECURE | Kvarh(Lead/Lag) | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991435 | 991520 | -85 | 85000 | 0.085 | 24309 | 24310 | -1 | 1000 | 0.001
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999859 | 999859 | 0 | 0 | 0 | 2648 | 2594 | 54 | -27000 | -0.027
18 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | -500 | 999982 | 999982 | 0 | 0 | 0 | 999932 | 999932 | 0 | 0 | 0
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1202 | 1202 | 0 | 0 | 0 | 1666 | 1640 | 26 | -13000 | -0.013
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59273 | 59260 | 13 | -1300 | -0.0013 | 2661 | 2640 | 21 | -2100 | -0.0021
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 424 | 424 | 0 | 0 | 0 | 1179 | 1182 | -3 | 399.99 | 0.00039999 | up to 15.04.2024
[15 empty] | 0.0004 | Assesment
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992178 | 992182 | -4 | 400 | 0.0004 | 3915 | 3806 | 109 | -10900 | -0.0109
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 33 | 33 | 0 | 0 | 0 | 149 | 120 | 29 | -38666.57 | -0.038667
24 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 72 | 8 | 64 | -8533.12 | -0.0085331 | 383 | 283 | 100 | -13333 | -0.013333
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 2808 | 2764 | 44 | -4400 | -0.0044 | 637 | 564 | 73 | -7300 | -0.0073
FED FROM BYPL (RLY.)
26 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | -1 | 103470 | 93400 | 10070 | -10070 | -0.01007 | 474790.02 | 459750.02 | 15040 | -15040 | -0.01504
27 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | -1 | 60020 | 60020 | 0 | 0 | 0 | 718209.98 | 716350.02 | 1859.96 | -1859.96 | -0.00186 | 01.04.2024
|  | Q0430839 | SECURE | Kvarh(Lead/Lag) | -6000 | 0.53 | 0 | 0.53 | -3180 | -0.00318 | 5.44 | 0 | 5.44 | -32640 | -0.03264 | w.e.f 02.04.2024
28 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | -1 | 364500 | 356200 | 8300 | -8300 | -0.0083 | 2468900.1 | 2407399.94 | 61500.16 | -61500.16 | -0.0615
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -854000 | -850000 | -4000 | 4000 | 0.004 | -16000 | -16000 | 0 | 0 | 0
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | -462000 | -429000 | -33000 | 33000 | 0.033 | 0 | 0 | 0 | 0 | 0
31 | 33KV NARAINA DTC CKT-I | Q0487627 | SECURE | Kvarh(Lead/Lag) | -1 | -498000 | -474000 | -24000 | 24000 | 0.024 | -8000 | -8000 | 0 | 0 | 0
32 | 33KV NARAINA DTC CKT-II | Q0487631 | SECURE | Kvarh(Lead/Lag) | -1 | -1050000 | -1022000 | -28000 | 28000 | 0.028 | -10000 | -9000 | -1000 | 1000 | 0.001
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 41.61 | 36.16 | 5.45 | -6540 | -0.00654 | 87.64 | 66.65 | 20.99 | -25188 | -0.025188
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 2.4 | 1.71 | 0.69 | -828 | -0.000828 | 267.9 | 256.75 | 11.15 | -13380 | -0.01338
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 4.14 | 4.14 | 0 | 0 | 0 | 64.22 | 55.47 | 8.75 | -10500 | -0.0105
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 6.55 | 6.45 | 0.1 | -120 | -0.00012 | 64.37 | 56.35 | 8.02 | -9624 | -0.009624
35 | KODIYA PUL | 29000015 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.11 | 0.11 | 0 | 0 | 0 | 26.41 | 22.95 | 3.46 | -10380 | -0.01038 | Check Meter Data
[10 empty] | 0.63716 |  |  |  |  | -0.33154
APRIL-2024
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -7.1135 |  |  |  |  | -2.3827
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.63716 |  |  |  |  | -0.33154
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -6.4764 |  |  |  |  | -2.7142
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.739 |  |  |  |  | -0.098
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -7.2154 |  |  |  |  | -2.8122
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.2154 | (REACTIVE MUs) |  |  |  | -2.8122 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.6098 | (REACTIVE MUs) |  |  |  | 0.039748 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.6055 | (REACTIVE MUs) |  |  |  | -2.7725 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999808 | 999850 | -42 | -11200.14 | -0.0112 | 2165 | 2146 | 19 | 5066.73 | 0.0050667
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 17424 | 16991 | 433 | 43300 | 0.0433 | 1657 | 1603 | 54 | 5400 | 0.0054
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 966210 | 966555 | -345 | -69000 | -0.069 | 256 | 244 | 12 | 2400 | 0.0024
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 47 | 88 | -41 | -41000 | -0.041 | 365 | 365 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999793 | 999813 | -20 | -16000 | -0.016 | 1136 | 1134 | 2 | 1600 | 0.0016
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 950 | 963 | -13 | -10400 | -0.0104 | 2259 | 2252 | 7 | 5600 | 0.0056
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 934528 | 934983 | -455 | -364000 | -0.364 | 987471 | 987472 | -1 | -800 | -0.0008
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 991771 | 991788 | -17 | -34000 | -0.034 | 997977 | 997964 | 13 | 26000 | 0.026
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952637 | 952637 | 0 | 0 | 0 | 16539 | 20532 | -3993 | -199650 | -0.19965
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998744 | 998744 | 0 | 0 | 0 | 0 | 415 | -415 | -41500 | -0.0415
[5 empty] | 100 | [5 empty] | 999593 | 999999 | -406 | -40600 | -0.0406
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997770 | 997770 | 0 | 0 | 0 | 7827 | 8469 | -642 | -321000 | -0.321
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999817 | 999817 | 0 | 0 | 0 | 991739 | 993481 | -1742 | -174200 | -0.1742
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998334 | 998334 | 0 | 0 | 0 | 4277 | 4288 | -11 | -14666.63 | -0.014667
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43246 | 43244 | 2 | 2000 | 0.002
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999842 | 999842 | 0 | 0 | 0 | 4117 | 3932 | 185 | 246666.05 | 0.24667
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985271 | 985962 | -691 | -691000 | -0.691 | 399 | 399 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970038 | 970711 | -673 | -673000 | -0.673 | 3090 | 3090 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4864851 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999360 | 999360 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 990365 | 990690 | -325 | -812500 | -0.8125 | 512 | 512 | 0 | 0 | 0
[10 empty] | -2.1765 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986900 | 987056 | -156 | -156000 | -0.156 | 2695 | 2695 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2431 | 2431 | 0 | 0 | 0 | 45559 | 45532 | 27 | 4320 | 0.00432
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3759 | 3759 | 0 | 0 | 0 | 27125 | 27029 | 96 | 19200 | 0.0192
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 964842 | 964947 | -105 | -105000 | -0.105 | 999618 | 999618 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4902557 | ELSTER | Kvarh(Lead/Lag) | -1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999999 | 999999 | 0 | 0 | 0 | 999870 | 999870 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 718 | 718 | 0 | 0 | 0 | 8283 | 7971 | 312 | -259998.96 | -0.26
APRIL-2024
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1561 | 1298 | 263 | -263000 | -0.263 | 0 | 0 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16057 | 15757 | 300 | -300000 | -0.3 | 995101 | 995101 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998618 | 998625 | -7 | 14000 | 0.014 | 994584 | 994584 | 0 | 0 | 0
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999808 | 999871 | -63 | 63000 | 0.063 | 998753 | 998753 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 542 | 542 | 0 | 0 | 0 | 9069 | 8818 | 251 | 156875 | 0.15687
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 903 | 903 | 0 | 0 | 0 | 3562 | 3550 | 12 | 1200 | 0.0012
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5793 | 5793 | 0 | 0 | 0 | 6690 | 6303 | 387 | 38700 | 0.0387
37 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | 200 | 998273 | 998299 | -26 | -5200 | -0.0052 | 999703 | 999703 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21801 | 21801 | 0 | 0 | 0 | 6227 | 6169 | 58 | 29000 | 0.029
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 741 | 634 | 107 | -107000 | -0.107 | 999569 | 999569 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993853 | 994001 | -148 | 148000 | 0.148 | 999563 | 999563 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999689 | 999701 | -12 | 1200 | 0.0012 | 999677 | 999677 | 0 | 0 | 0
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 263 | 258 | 5 | -1000 | -0.001 | 407 | 407 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.3898 |  |  |  |  | -0.50839
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -3.3898 |  |  |  |  | -0.50839
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.69123 |  |  |  |  | 0.0082878
| TOTAL ENERGY TO NDMC | [8 empty] | -2.6986 |  |  |  |  | -0.5001

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2024
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3445 | 3445 | 0 | 0 | 0 | 82232 | 82218 | 14 | 2800 | 0.0028
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999605 | 999605 | 0 | 0 | 0 | 32799 | 32807 | -8 | -1280 | -0.00128
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999857 | 999857 | 0 | 0 | 0 | 2419 | 2422 | -3 | -600 | -0.0006
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999726 | 999726 | 0 | 0 | 0 | 20204 | 20081 | 123 | 49200 | 0.0492
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999255 | 999255 | 0 | 0 | 0 | 678 | 648 | 30 | 24000 | 0.024
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2201 | 2201 | 0 | 0 | 0 | 6727 | 6744 | -17 | -6800 | -0.0068
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999406 | 999406 | 0 | 0 | 0 | 83 | 140 | -57 | -38000.019 | -0.038
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984 | 984 | 0 | 0 | 0 | 410 | 385 | 25 | 25000 | 0.025
9 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | 2 | 0 | 0 | 0 | 0 | 0 | 184100 | 149200 | 34900 | 69800 | 0.0698
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 0.12412
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
10 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 164 | 164 | 0 | 0 | 0 | 1000 | 914 | 86 | 43000 | 0.043
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 105 | 105 | 0 | 0 | 0 | 1855 | 1855 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4831 | 4831 | 0 | 0 | 0 | 78463 | 76657 | 1806 | 135450 | 0.13545
13 | SUBROTO PARK | 4865088 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 5945 | 5909 | 36 | 2700 | 0.0027
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10294 | 0 | 0 | 0 | 8855 | 8855 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.18115
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 0.12412
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0 |  |  |  |  | 0.30527
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0 | (REACTIVE MUs) |  |  |  | 0.30527 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.013854 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.013854 | (REACTIVE MUs) |  |  |  | 0.30527 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2024
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992002 | 992002 | 0 | 0 | 0 | 1387 | 1392 | -5 | -3125 | -0.003125
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999605 | 999605 | 0 | 0 | 0 | 869 | 872 | -3 | -1500 | -0.0015
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 2629 | 2692 | -63 | -50400 | -0.0504 | 1609 | 1609 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | 1 | 103470 | 93400 | 10070 | 10070 | 0.01007 | 474790.02 | 459750.02 | 15040 | 15040 | 0.01504
2 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | 1 | 60020 | 60020 | 0 | 0 | 0 | 718209.98 | 716350.02 | 1859.96 | 1859.96 | 0.00186 | 01.04.2024
|  | Q0430839 | SECURE | Kvarh(Lead/Lag) | 6000 | 0.53 | 0 | 0.53 | 3180 | 0.00318 | 5.44 | 0 | 5.44 | 32640 | 0.03264 | w.e.f 02.04.2024
3 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | 1 | 364500 | 356200 | 8300 | 8300 | 0.0083 | 2468900.1 | 2407399.94 | 61500.16 | 61500.16 | 0.0615
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 41.61 | 36.16 | 5.45 | 6540 | 0.00654 | 87.64 | 66.65 | 20.99 | 25188 | 0.025188
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 2.4 | 1.71 | 0.69 | 828 | 0.000828 | 267.9 | 256.75 | 11.15 | 13380 | 0.01338
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 4.14 | 4.14 | 0 | 0 | 0 | 64.22 | 55.47 | 8.75 | 10500 | 0.0105
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 6.55 | 6.45 | 0.1 | 120 | 0.00012 | 64.37 | 56.35 | 8.02 | 9624 | 0.009624
8 | KODIYA PUL | 29000015 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.11 | 0.11 | 0 | 0 | 0 | 26.41 | 22.95 | 3.46 | 10380 | 0.01038
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.18 | 0.18 | 0 | 0 | 0 | 53.48 | 50.39 | 3.09 | 1854 | 0.001854
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.69 | 0.69 | 0 | 0 | 0 | 41.35 | 39.23 | 2.12 | 6360 | 0.00636
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.021362 |  |  |  |  | 0.1837
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0057776 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.015584 |  |  |  |  | 0.1837

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2024
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 991794 | 991892 | -98 | -91875 | -0.091875 | 999237 | 999237 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 11712 | 11594 | 118 | 11800 | 0.0118 | 985564 | 985549 | 15 | 1500 | 0.0015
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999466 | 999468 | -2 | -1666.666 | -0.0016667 | 276 | 272 | 4 | 3333.332 | 0.0033333
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996761 | 996730 | 31 | 29062.5 | 0.029063 | 998647 | 998646 | 1 | 937.5 | 0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 9 | -9 | 9000 | 0.009 | 999994 | 999995 | -1 | 1000 | 0.001
[5 empty] | -1000 | 999997 | 999999 | -2 | 2000 | 0.002
6 | TX-II | 4902535 | ELSTER | Kvarh(Lead/Lag) | -1875 | 168 | 169 | -1 | 1875 | 0.001875 | 0 | 4 | -4 | 7500 | 0.0075
[5 empty] | -1875 | [5 empty] | 999998 | 999999 | -1 | 1875 | 0.001875
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 177 | 177 | 0 | 0 | 0 | 999936 | 999936 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.039804 |  |  |  |  | 0.016146
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4902496 | ELSTER | Kvarh(Lead/Lag) | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998706 | 998729 | -23 | -28750 | -0.02875 | 998435 | 998434 | 1 | 1250 | 0.00125
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996789 | 996793 | -4 | -3750 | -0.00375 | 999107 | 999286 | -179 | -167812.5 | -0.16781
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 983080 | 983104 | -24 | -4500 | -0.0045 | 993406 | 994217 | -811 | -152062.5 | -0.15206
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998481 | 998556 | -75 | -93750 | -0.09375 | 999922 | 999922 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997487 | 997513 | -26 | -26000 | -0.026 | 999422 | 999426 | -4 | -4000 | -0.004
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957485 | 957489 | -4 | -4000 | -0.004 | 988276 | 988285 | -9 | -9000 | -0.009
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999299 | 999358 | -59 | 36875 | 0.036875 | 999742 | 999742 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 177 | 177 | 0 | 0 | 0 | 999936 | 999936 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.12388 |  |  |  |  | -0.33163
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.039804 |  |  |  |  | 0.016146
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.12388 |  |  |  |  | -0.33163

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2024
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2024 | INTIAL READING 01/04/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 32973 | 31037 | 1936 | 3872000 | 3.872 | 999980 | 999980 | 0 | 0 | 0
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 23714 | 21809 | 1905 | 3810000 | 3.81 | 999976 | 999976 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 7.682 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -7.4622 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 15.1442 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 4.4933 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 6.2894 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 3.4438 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.74964 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864884 | ELSTER | kvarh (Lead/lag) | -1000 | 995699 | 995810 | -111 | 111000 | 0.111 | 999117 | 999124 | -7 | 7000 | 0.007
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.111 |  |  |  |  | 0.007
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.032412 |  |  |  |  | 0.002044
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.046409 |  |  |  |  | 0.0029267
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.026529 |  |  |  |  | 0.001673
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.0056499 |  |  |  |  | 0.0003563
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 198821 | 198299 | 522 | -391500 | -0.3915 | 999741 | 999741 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 11378 | 10901 | 477 | -477000 | -0.477 | 4 | 4 | 0 | 0 | 0
3 | STG | 4902483 | ELSTER | kvarh (lag) | -750 | 992698 | 993418 | -720 | 540000 | 0.54 | 999402 | 999402 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.3285 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.063335 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.092933 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.05279 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.099535 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.019907 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 241523 | 250457 | -8934 | 893400 | 0.8934 | 984104 | 984104 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.8934 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 1 FY2024-25) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.274 | % |  |  | 0.2794 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.9088 | % |  |  | 0.37441 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.521 | % |  |  | 0.19227 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.971 | % |  |  | 0.035477 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6775 | % |  |  | 0.0060528 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6467 | % |  |  | 0.0057776 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PLANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -3.34 | -3.34 | 0 | 0 | 0 | -32.18 | -31.5 | -0.68 | 163200 | 0.1632
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0 |  |  |  |  | 0.049107
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0 |  |  |  |  | 0.068087
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0 |  |  |  |  | 0.038075
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0 |  |  |  |  | 0.0079315
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 4.7418 |  |  |  |  | 0.051151
2) | BRPL |  |  |  | = |  |  |  |  | 6.6173 |  |  |  |  | 0.071014
3) | BYPL |  |  |  | = |  |  |  |  | 3.6098 |  |  |  |  | 0.039748
4) | NDMC |  |  |  | = |  |  |  |  | 0.69123 |  |  |  |  | 0.0082878
5) | MES |  |  |  | = |  |  |  |  | -0.013854 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0057776 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2024 TO 30th APRIL-2024
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -6.6978 |  | -5.7585
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -0.82382 |  | -10.6702
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -3.6055 |  | -2.7725
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -2.6986 |  | -0.5001
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.013854 | + | 0.30527
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.015584 | + | 0.1837
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department