## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000002 | 999999 | 3 | -3000 | -0.003 | 999573 | 999934 | -361 | 361000 | 0.361
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 92493 | 92367 | 126 | -252000 | -0.252 | 5040 | 4989 | 51 | -102000 | -0.102
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14708 | 14737 | -29 | 29000 | 0.029 | 999903 | 1000242 | -339 | 339000 | 0.339
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68428 | 67724 | 704 | -704000 | -0.704 | 112003 | 112175 | -172 | 172000 | 0.172
| SUBZI MANDI |  |  |  | -1000 | [5 empty] | 99026 | 99025 | 1 | -1000 | -0.001
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999577 | 999577 | 0 | 0 | 0 | 985859 | 986249 | -390 | 390000 | 0.39
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917735 | 917735 | 0 | 0 | 0 | 31289 | 31029 | 260 | -260000 | -0.26
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21241 | 21198 | 43 | -43000 | -0.043 | 999731 | 999807 | -76 | 76000 | 0.076
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31573 | 31559 | 14 | -14000 | -0.014 | 997863 | 997974 | -111 | 111000 | 0.111
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21338 | 21341 | -3 | 3000 | 0.003 | 996784 | 996932 | -148 | 148000 | 0.148
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 237 | 351 | -114 | 57000 | 0.057 | 813838 | 814281 | -443 | 221500 | 0.2215
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4206 | 4224 | -18 | 18000 | 0.018 | 998337 | 998333 | 4 | -4000 | -0.004
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16620 | 16567 | 53 | -53000 | -0.053 | 999490 | 999604 | -114 | 114000 | 0.114
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54618 | 54661 | -43 | 43000 | 0.043 | 996539 | 996584 | -45 | 45000 | 0.045
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30886 | -9 | 9 | 0.009 | 99999712 | 99999723 | -11 | 11 | 0.011 | Data upto 9/6/2022
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 722680 | 723688 | -1008 | -1008000 | -1.008 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 786427 | 787194 | -767 | -383500 | -0.3835 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14960 | 14960 | 0 | 0 | 0 | 998650 | 999254 | -604 | 604000 | 0.604
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 77342 | 77320 | 22 | -11000 | -0.011 | 132 | 510 | -378 | 189000 | 0.189
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60426 | 60415 | 11 | -11000 | -0.011 | 999004 | 999012 | -8 | 8000 | 0.008
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998646 | 998646 | 0 | 0 | 0 | 987713 | 987937 | -224 | -224000 | -0.224
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999593 | 999593 | 0 | 0 | 0 | 999696 | 999716 | -20 | -80000 | -0.08
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1993 | 1993 | 0 | 0 | 0 | 15982 | 15600 | 382 | 191000 | 0.191
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91190 | 91190 | 0 | 0 | 0 | 249879 | 244134 | 5745 | 287250 | 0.28725
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998589 | 998589 | 0 | 0 | 0 | 994893 | 994980 | -87 | -87000 | -0.087
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999159 | 999159 | 0 | 0 | 0 | 996991 | 996344 | 647 | 647000 | 0.647
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 29810 | 29821 | -11 | -1100 | -0.0011 | 195020 | 194767 | 253 | 25300 | 0.0253 | Data till 20/6/22
[10 empty] | -0.000165 |  |  |  |  | 0.003795 | Assessment
|  | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999982 | 1000000 | -18 | -18000 | -0.018 | w.e.f 24.06.2022
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986555 | 986556 | -1 | -1000 | -0.001 | 997975 | 997985 | -10 | -10000 | -0.01
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 903002 | 903006 | -4 | -2000 | -0.002 | 999398 | 999436 | -38 | -19000 | -0.019
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993190 | 993192 | -2 | -533.34 | -0.00053334 | 304 | 213 | 91 | 24266.97 | 0.024267
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2200 | 2200 | 0 | 0 | 0 | 1731 | 1584 | 147 | 73500 | 0.0735
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54807 | 54801 | 6 | -6000 | -0.006 | 995842 | 996165 | -323 | 323000 | 0.323
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 303116 | 303116 | 0 | 0 | 0 | 16992 | 17180 | -188 | 94000 | 0.094 | Data till 6/6/22
|  | 5295138 | ELSTER | Kvarh(Lead/Lag) | -1000 | 192204 | 192192 | 12 | -12000 | -0.012 | 7856 | 7840 | 16 | -16000 | -0.016 | Check Meter Data
|  | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1 | 0 | 1 | -1000 | -0.001 | 999981 | 1000000 | -19 | 19000 | 0.019 | w.e.f 29.06.2022
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22521 | 22479 | 42 | -84000 | -0.084 | 999547 | 999512 | 35 | -70000 | -0.07
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73418 | 73189 | 229 | -229000 | -0.229 | 996769 | 997084 | -315 | 315000 | 0.315
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 3630 | 3099 | 531 | -2124000 | -2.124 | 0 | 0 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151346 | 150272 | 1074 | -1074000 | -1.074 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 267951 | 261786 | 6165 | -2054979.45 | -2.055 | 245 | 245 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24028 | 22469 | 1559 | -3118000 | -3.118 | 999997 | 999997 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 39203 | 38916 | 287 | -574000 | -0.574 | 499 | 470 | 29 | -58000 | -0.058
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117838 | 117228 | 610 | -610000 | -0.61 | 2150 | 2090 | 60 | -60000 | -0.06
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 7480000 | 7480000 | 0 | 0 | 0 | 1881000 | 1257000 | 624000 | -624000 | -0.624
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 19854000 | 19854000 | 0 | 0 | 0 | 1942000 | 1354000 | 588000 | -588000 | -0.588
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20832 | 20829 | 3 | -3000 | -0.003 | 997692 | 997666 | 26 | -26000 | -0.026
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54668 | 54668 | 0 | 0 | 0 | 1160 | 1381 | -221 | 221000 | 0.221
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998116 | 998116 | 0 | 0 | 0 | 25091 | 24680 | 411 | 411000 | 0.411
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JUNE-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 999996 | 1000000 | -4 | -400 | -0.0004
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3162 | 3162 | 0 | 0 | 0 | 34846 | 34104 | 742 | 74200 | 0.0742
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 754 | 754 | 0 | 0 | 0 | 611 | 604 | 7 | 9331 | 0.009331
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 1046 | 472 | 574 | 57400 | 0.0574
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1926 | 1926 | 0 | 0 | 0 | 7503 | 6899 | 604 | 60400 | 0.0604
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999775 | 999775 | 0 | 0 | 0 | 2398 | 2320 | 78 | 39000 | 0.039
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 25 | 24 | 1 | 500 | 0.0005 | 271 | 242 | 29 | 14500 | 0.0145
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1098 | 1096 | 2 | 1000 | 0.001 | 1502 | 1436 | 66 | 33000 | 0.033
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992964 | 992965 | -1 | -100 | -0.0001 | 2844 | 2741 | 103 | 10300 | 0.0103
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9293 | 9031 | 262 | 26200 | 0.0262 | 15361 | 15241 | 120 | 12000 | 0.012
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13962 | 13369 | 593 | 59300 | 0.0593 | 6183 | 6116 | 67 | 6700 | 0.0067
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 32167 | 31777 | 390 | 39000 | 0.039 | 11267 | 11236 | 31 | 3100 | 0.0031
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 61372 | 61071 | 301 | 30100 | 0.0301 | 2462 | 2444 | 18 | 1800 | 0.0018
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 104 | 104 | 0 | 0 | 0 | 846 | 811 | 35 | 4666.55 | 0.0046666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 50 | 59 | -9 | 3600 | 0.0036
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999892 | 999883 | 9 | 3600 | 0.0036 | 999454 | 999434 | 20 | 8000 | 0.008
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 946160 | 946176 | -16 | -12800 | -0.0128 | 999695 | 999701 | -6 | -4800 | -0.0048
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992913 | 992919 | -6 | -12000 | -0.012 | 1052 | 1053 | -1 | -2000 | -0.002
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 967650 | 967650 | 0 | 0 | 0 | 1777 | 1668 | 109 | 21800 | 0.0218
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 992766 | 992766 | 0 | 0 | 0 | 759 | 711 | 48 | 12000 | 0.012
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981498 | 981503 | -5 | -5000 | -0.005 | 2041 | 1835 | 206 | 206000 | 0.206
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1197 | 1197 | 0 | 0 | 0 | 3990 | 3980 | 10 | 7500 | 0.0075
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -12.0885 |  |  |  |  | 3.7557
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 185 | 182 | 3 | -300 | -0.0003 | 1270 | 947 | 323 | -32300 | -0.0323
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 350 | 347 | 3 | -2400 | -0.0024 | 635 | 629 | 6 | -4800 | -0.0048
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1374 | 1374 | 0 | 0 | 0 | 560 | 537 | 23 | -23000 | -0.023 | Data till 13/06/22
|  | 4865169 | ELSTER | Kvarh(Lead/Lag) | -5000 | 113 | 113 | 0 | 0 | 0 | 71 | 71 | 0 | 0 | 0 | Check Meter Data
|  | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999998 | 1000000 | -2 | 2666.66 | 0.0026667 | 999999 | 1000000 | -1 | 1333.33 | 0.0013333 | w.e.f 27.06.2022
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4739 | 4654 | 85 | -11333.05 | -0.011333 | 7901 | 7400 | 501 | -66798.33 | -0.066798
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998631 | 998728 | -97 | 18187.5 | 0.018187
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 898718 | 898790 | -72 | 57600 | 0.0576 | 997672 | 997776 | -104 | 83200 | 0.0832
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991453 | 991433 | 20 | -12500 | -0.0125 | 432 | 316 | 116 | -72500 | -0.0725
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999884 | 999887 | -3 | 1500 | 0.0015 | 232 | 250 | -18 | 9000 | 0.009
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992042 | 992042 | 0 | 0 | 0 | 17938 | 17969 | -31 | 6200 | 0.0062
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 988003 | 988004 | -1 | 187.5 | 0.0001875 | 4578 | 4755 | -177 | 33187.5 | 0.033188
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981938 | 981939 | -1 | 187.5 | 0.0001875 | 3364 | 3593 | -229 | 42937.5 | 0.042938
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3943 | 3942 | 1 | -250 | -0.00025 | 8398 | 8187 | 211 | -52750 | -0.05275
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993337 | 993337 | 0 | 0 | 0 | 30357 | 29741 | 616 | -61600 | -0.0616
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.035359 |  |  |  |  | -0.1197
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -12.0885 |  |  |  |  | 3.7557
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.035359 |  |  |  |  | -0.1197
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.12475 |  |  |  |  | -0.92397
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -11.9284 |  |  |  |  | 2.712
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -11.9284 | (REACTIVE MUs) |  |  |  | 2.712 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.4344 | (REACTIVE MUs) |  |  |  | 0.016713 | (REACTIVE MUs)
[9 empty] | TOTAL | -14.3628 | (REACTIVE MUs) |  |  |  | 2.7287 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36222 | 36222 | 0 | 0 | 0 | 993572 | 994319 | -747 | -199449 | -0.19945
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11229 | 11229 | 0 | 0 | 0 | 1663 | 1671 | -8 | -32000 | -0.032
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 24930 | 24930 | 0 | 0 | 0 | 34545 | 34358 | 187 | 249332.71 | 0.24933
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999828 | 999828 | 0 | 0 | 0 | 999741 | 999765 | -24 | -24000 | -0.024
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 92 | 0 | 0 | 0 | 999984 | 1000021 | -37 | -59200 | -0.0592
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18472 | 18472 | 0 | 0 | 0 | 5065 | 5175 | -110 | -146666.3 | -0.14667
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999824 | 999824 | 0 | 0 | 0 | 285 | 512 | -227 | -45400 | -0.0454
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975350 | 975352 | -2 | -2000 | -0.002 | 1286 | 1905 | -619 | -619000 | -0.619
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983639 | 983639 | 0 | 0 | 0 | 246 | 301 | -55 | -27500 | -0.0275
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997568 | 997569 | -1 | -1000 | -0.001 | 999836 | 999867 | -31 | -31000 | -0.031
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983082 | 983083 | -1 | -1000 | -0.001 | 1092 | 1266 | -174 | -174000 | -0.174
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999927 | 999927 | 0 | 0 | 0 | 2591 | 994 | 1597 | 1597000 | 1.597
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993597 | 993597 | 0 | 0 | 0 | 995880 | 997426 | -1546 | -1546000 | -1.546
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992623 | 992623 | 0 | 0 | 0 | 57 | 312 | -255 | -255000 | -0.255
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994298 | 994298 | 0 | 0 | 0 | 7427 | 6427 | 1000 | 800000 | 0.8
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 11660 | 11670 | -10 | -1333.3 | -0.0013333 | 8140 | 6704 | 1436 | 191461.88 | 0.19146
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999961 | 999961 | 0 | 0 | 0 | 999894 | 999908 | -14 | -14000 | -0.014
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 505 | 504 | 1 | 1000 | 0.001 | 16912 | 17238 | -326 | -326000 | -0.326
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 956265 | 956538 | -273 | -341250 | -0.34125 | 947187 | 947186 | 1 | 1250 | 0.00125
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 948880 | 949651 | -771 | -771000 | -0.771 | 933525 | 933541 | -16 | -16000 | -0.016
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993099 | 993503 | -404 | -404000 | -0.404 | 998689 | 998699 | -10 | -10000 | -0.01
| KASHMIRI GATE | [8 empty] | -1.5163 |  |  |  |  | -0.02475
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999376 | 999376 | 0 | 0 | 0 | 999339 | 999461 | -122 | 122000 | 0.122 | Check meter
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978472 | 978449 | 23 | -23000 | -0.023 | 997857 | 997851 | 6 | -6000 | -0.006
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998920 | 998920 | 0 | 0 | 0 | 13178 | 13679 | -501 | -501000 | -0.501
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 263257 | 263257 | 0 | 0 | 0 | 25873 | 25887 | -14 | 14000 | 0.014
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 593 | 272 | 321 | -321000 | -0.321 | w.e.f 30/4/22
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7519 | 7239 | 280 | -280000 | -0.28 | 998982 | 998982 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6345 | 6345 | 0 | 0 | 0 | 998036 | 998036 | 0 | 0 | 0 | under S/D
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101019 | 100952 | 67 | -67000 | -0.067 | 982702 | 982707 | -5 | 5000 | 0.005
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93365 | 93355 | 10 | -10000 | -0.01 | 330 | 330 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 750 | 720 | 30 | -150000 | -0.15 | 999999 | 999999 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1374 | 1374 | 0 | 0 | 0 | 560 | 537 | 23 | 23000 | 0.023 | Data till 13/06/22
|  | 4865169 | ELSTER | Kvarh(Lead/Lag) | 5000 | 113 | 113 | 0 | 0 | 0 | 71 | 71 | 0 | 0 | 0 | Check Meter Data
|  | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999998 | 1000000 | -2 | -2666.66 | -0.0026667 | 999999 | 1000000 | -1 | -1333.33 | -0.0013333 | w.e.f 27.06.2022
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4739 | 4654 | 85 | 11333.05 | 0.011333 | 7901 | 7400 | 501 | 66798.33 | 0.066798
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992633 | 992633 | 0 | 0 | 0 | 10433 | 11406 | -973 | -129409 | -0.12941
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975097 | 975107 | -10 | 10000 | 0.01 | 990097 | 990098 | -1 | 1000 | 0.001
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974842 | 974839 | 3 | -3000 | -0.003 | 969105 | 969115 | -10 | 10000 | 0.01
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -2.0349 |  |  |  |  | -1.4031
| (A) NET ENERGY TO CENTRAL | [8 empty] | -2.0349 |  |  |  |  | -1.4031
JUNE-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992434 | 992434 | 0 | 0 | 0 | 993806 | 993806 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981151 | 981151 | 0 | 0 | 0 | 930500 | 930444 | 56 | -56000 | -0.056
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993246 | 993246 | 0 | 0 | 0 | 993160 | 993285 | -125 | 125000 | 0.125
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999857 | 999848 | 9 | -9000 | -0.009 | 999849 | 999853 | -4 | 4000 | 0.004
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39073 | 38928 | 145 | -145000 | -0.145 | 997918 | 997923 | -5 | 5000 | 0.005
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 16273 | 15876 | 397 | -198500 | -0.1985 | 366 | 372 | -6 | 3000 | 0.003
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999889 | 999794 | 95 | -95000 | -0.095 | 999985 | 999985 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9968 | 9126 | 842 | -842000 | -0.842 | 999480 | 999480 | 0 | 0 | 0
[5 empty] | -1000 | 3266 | 3247 | 19 | -19000 | -0.019
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 885 | 735 | 150 | -150000 | -0.15 | 7 | 7 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991290 | 991283 | 7 | -7000 | -0.007 | 954892 | 954926 | -34 | 34000 | 0.034
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968929 | 968929 | 0 | 0 | 0 | 823789 | 823829 | -40 | 40000 | 0.04
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 12992 | 12967 | 25 | -125000 | -0.125 | 51 | 51 | 0 | 0 | 0
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21686 | 21014 | 672 | -672000 | -0.672 | 81 | 81 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5370 | 5436 | -66 | 66000 | 0.066 | 4 | 4 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.1965 |  |  |  |  | 0.155
| (B) NET ENERGY TO EAST | [8 empty] | -2.1965 |  |  |  |  | 0.155
JUNE-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993190 | 993192 | -2 | 533.34 | 0.00053334 | 304 | 213 | 91 | -24266.97 | -0.024267
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2200 | 2200 | 0 | 0 | 0 | 1731 | 1584 | 147 | -73500 | -0.0735
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1479 | 1525 | -46 | 12266.36 | 0.012266 | 2332 | 2366 | -34 | 9066.44 | 0.0090664
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 7606 | 7646 | -40 | 4000 | 0.004 | 646 | 21 | 625 | -62500 | -0.0625
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 978656 | 979122 | -466 | 93200 | 0.0932 | 999380 | 999386 | -6 | 1200 | 0.0012
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1510 | 1510 | 0 | 0 | 0 | 6 | 82 | -76 | 76000 | 0.076
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3628 | 3628 | 0 | 0 | 0 | 4046 | 3578 | 468 | -374400 | -0.3744
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2163 | 2163 | 0 | 0 | 0 | 1736 | 1736 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 946206 | 946206 | 0 | 0 | 0 | 988450 | 988653 | -203 | 162400 | 0.1624
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999292 | -112 | 224000 | 0.224
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986980 | 986981 | -1 | 2000 | 0.002 | 998734 | 998948 | -214 | 428000 | 0.428
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998116 | 998116 | 0 | 0 | 0 | 25091 | 24680 | 411 | -411000 | -0.411
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999775 | 999775 | 0 | 0 | 0 | 2398 | 2320 | 78 | -39000 | -0.039
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 25 | 24 | 1 | -500 | -0.0005 | 271 | 242 | 29 | -14500 | -0.0145
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1098 | 1096 | 2 | -1000 | -0.001 | 1502 | 1436 | 66 | -33000 | -0.033
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 61372 | 61071 | 301 | -30100 | -0.0301 | 2462 | 2444 | 18 | -1800 | -0.0018
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 104 | 104 | 0 | 0 | 0 | 846 | 811 | 35 | -4666.55 | -0.0046666
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992964 | 992965 | -1 | 100 | 0.0001 | 2844 | 2741 | 103 | -10300 | -0.0103
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9293 | 9031 | 262 | -26200 | -0.0262 | 15361 | 15241 | 120 | -12000 | -0.012
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13962 | 13369 | 593 | -59300 | -0.0593 | 6183 | 6116 | 67 | -6700 | -0.0067
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 32167 | 31777 | 390 | -39000 | -0.039 | 11267 | 11236 | 31 | -3100 | -0.0031
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 62490 | 61330 | 1160 | 1160 | 0.00116 | 287420 | 278689 | 8731 | 8731 | 0.008731
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 34500 | 33550 | 950 | 950 | 0.00095 | 521000 | 499820 | 21180 | 21180 | 0.02118
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 179500 | 156400 | 23100 | 23100 | 0.0231 | 1593999 | 1487399 | 106600 | 106600 | 0.1066
[10 empty] | -0.01879 |  |  |  |  | -0.033556
JUNE-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -2.0349 |  |  |  |  | -1.4031
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.01879 |  |  |  |  | -0.033556
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.001875 |  |  |  |  | -0.70679
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.0556 |  |  |  |  | -2.1435
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.1965 |  |  |  |  | 0.155
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -4.2521 |  |  |  |  | -1.9885
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.2521 | (REACTIVE MUs) |  |  |  | -1.9885 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.8192 | (REACTIVE MUs) |  |  |  | 0.01249 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.0713 | (REACTIVE MUs) |  |  |  | -1.976 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997889 | 997889 | 0 | 0 | 0 | 996415 | 996690 | -275 | -275000 | -0.275
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998558 | 998558 | 0 | 0 | 0 | 999058 | 999124 | -66 | -66000 | -0.066
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999783 | 999783 | 0 | 0 | 0 | 996426 | 998361 | -1935 | -1935000 | -1.935
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999791 | 999791 | 0 | 0 | 0 | 999817 | 999834 | -17 | -22666.61 | -0.022667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997554 | 997554 | 0 | 0 | 0 | 999469 | 999707 | -238 | -357000 | -0.357
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10530 | 10530 | 0 | 0 | 0 | 20569 | 20836 | -267 | -26700 | -0.0267
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994851 | 994851 | 0 | 0 | 0 | 996123 | 996212 | -89 | -89000 | -0.089
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991738 | 991738 | 0 | 0 | 0 | 991921 | 992727 | -806 | -60450 | -0.06045
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996796 | 996796 | 0 | 0 | 0 | 998991 | 998979 | 12 | 9600 | 0.0096
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988619 | 988619 | 0 | 0 | 0 | 265035 | 265022 | 13 | 17333.29 | 0.017333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1016 | 1015 | 1 | -6666.666 | -0.0066667 | 2 | 20 | -18 | 119999.988 | 0.12
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28402 | 28362 | 40 | -40000 | -0.04 | 996633 | 996627 | 6 | -6000 | -0.006
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5206 | 5206 | 0 | 0 | 0 | 996308 | 996356 | -48 | 96000 | 0.096
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17418 | 17418 | 0 | 0 | 0 | 996065 | 996065 | 0 | 0 | 0 | Under S/D
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3035 | 3035 | 0 | 0 | 0 | 995601 | 996410 | -809 | 809000 | 0.809
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141811 | 141667 | 144 | -144000 | -0.144 | 19649 | 19358 | 291 | -291000 | -0.291
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6561 | 6548 | 13 | -13000 | -0.013 | 999712 | 999733 | -21 | 21000 | 0.021
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38320 | 38318 | 2 | -4000 | -0.004 | 998944 | 998805 | 139 | -278000 | -0.278
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1783 | 1794 | -11 | 22000 | 0.022 | 999899 | 999930 | -31 | 62000 | 0.062
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 122574 | 122529 | 45 | -36000 | -0.036 | 7326 | 4938 | 2388 | -1910400 | -1.9104
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121739 | 121739 | 0 | 0 | 0 | 2712 | 826 | 1886 | -1508800 | -1.5088
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945683 | 945828 | -145 | 145000 | 0.145 | 959292 | 959345 | -53 | 53000 | 0.053
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 955138 | 956126 | -988 | 1976000 | 1.976 | 991306 | 991320 | -14 | 28000 | 0.028
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 910216 | 910449 | -233 | 466000 | 0.466 | 971791 | 971807 | -16 | 32000 | 0.032
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11881 | 12134 | -253 | 253000 | 0.253 | 995980 | 996038 | -58 | 58000 | 0.058
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997230 | 997275 | -45 | 45000 | 0.045 | 999994 | 999994 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980936 | 980992 | -56 | 56000 | 0.056 | 999859 | 999859 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277462 | 277462 | 0 | 0 | 0 | 122314 | 121892 | 422 | -422000 | -0.422
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7521 | 7521 | 0 | 0 | 0 | 337 | 234 | 103 | -206000 | -0.206
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 350 | 347 | 3 | 2400 | 0.0024 | 635 | 629 | 6 | 4800 | 0.0048
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935515 | 935566 | -51 | 51000 | 0.051 | 965315 | 965384 | -69 | 69000 | 0.069
32 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999963 | 999997 | -34 | 34000 | 0.034 | 999759 | 999976 | -217 | 217000 | 0.217
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 40768 | 40768 | 0 | 0 | 0 | 1000515 | 999583 | 932 | -745600 | -0.7456
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62688 | 62688 | 0 | 0 | 0 | 989018 | 988551 | 467 | -747200 | -0.7472
[5 empty] | -1600 | [5 empty] | 979412 | 979362 | 50 | -80000 | -0.08
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996241 | 996244 | -3 | 6000 | 0.006 | 987771 | 987803 | -32 | 64000 | 0.064
37 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999965 | 999965 | 0 | 0 | 0 | 998275 | 998336 | -61 | 61000 | 0.061
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23575 | 23567 | 8 | -8000 | -0.008 | 31517 | 31596 | -79 | 79000 | 0.079
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2503 | 2514 | -11 | 11000 | 0.011 | 996783 | 996801 | -18 | 18000 | 0.018
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 856 | 856 | 0 | 0 | 0 | 1506 | 1472 | 34 | -34000 | -0.034
BRPL(+) continue | [14 empty] | JUNE-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3453 | 3456 | -3 | 3000 | 0.003 | 999946 | 999973 | -27 | 27000 | 0.027
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22009 | 22011 | -2 | 2000 | 0.002 | 346 | 373 | -27 | 27000 | 0.027
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15813 | 15883 | -70 | 70000 | 0.07 | 998105 | 998204 | -99 | 99000 | 0.099
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1129 | 1129 | 0 | 0 | 0 | 1433 | 338 | 1095 | -1095000 | -1.095
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 39 | 39 | 0 | 0 | 0 | 914 | 234 | 680 | -340000 | -0.34
46 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 5 | 5 | 0 | 0 | 0 | 516 | 116 | 400 | -1000000 | -1
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 502 | 503 | -1 | 2000 | 0.002 | 459 | 160 | 299 | -598000 | -0.598
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86020 | 86016 | 4 | -4000 | -0.004 | 997361 | 997191 | 170 | -170000 | -0.17
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57252 | 57223 | 29 | -58000 | -0.058 | 999376 | 999377 | -1 | 2000 | 0.002
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 5516 | 5424 | 92 | -138000 | -0.138 | 14 | 3 | 11 | -16500 | -0.0165
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8515 | 8428 | 87 | -87000 | -0.087 | 999988 | 999995 | -7 | 7000 | 0.007
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996538 | 996538 | 0 | 0 | 0 | 999928 | 999933 | -5 | 5000 | 0.005
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991210 | 991215 | -5 | 5000 | 0.005 | 994619 | 994623 | -4 | 4000 | 0.004
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990787 | 990797 | -10 | 10000 | 0.01 | 986975 | 986999 | -24 | 24000 | 0.024
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995263 | 995264 | 0 | 0 | 0 | 999993 | 999993 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 970244 | 970301 | -57 | -45600 | -0.0456 | 629 | 614 | 15 | 12000 | 0.012
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 915898 | 915914 | -16 | -12800 | -0.0128 | 999461 | 999471 | -10 | -8000 | -0.008
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997071 | 997071 | 0 | 0 | 0 | 999843 | 999838 | 5 | 4000 | 0.004
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994575 | 994575 | 0 | 0 | 0 | 47 | 42 | 5 | 4000 | 0.004
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986980 | 986981 | -1 | -2000 | -0.002 | 998734 | 998948 | -214 | -428000 | -0.428
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109544 | 109544 | 0 | 0 | 0 | 4728 | 3590 | 1138 | -2276000 | -2.276
63 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11514 | 11511 | 3 | -3000 | -0.003 | 3019 | 1594 | 1425 | -1425000 | -1.425
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138126 | 138126 | 0 | 0 | 0 | 2599 | 2118 | 481 | -481000 | -0.481
NARAINA
65 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 185 | 182 | 3 | 300 | 0.0003 | 1270 | 947 | 323 | 32300 | 0.0323
SUDARSHAN PARK
66 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998631 | 998728 | -97 | -18187.5 | -0.018187
67 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998780 | 998780 | 0 | 0 | 0 | 165 | 105 | 60 | 60000 | 0.06
68 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998789 | 998789 | 0 | 0 | 0 | 132 | 67 | 65 | 65000 | 0.065
KANJAWALA
69 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 898718 | 898790 | -72 | -57600 | -0.0576 | 997672 | 997776 | -104 | -83200 | -0.0832
Trauma Centre
70 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 551 | 537 | 14 | 14000 | 0.014 | 10 | 29 | -19 | -19000 | -0.019
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998789 | 998789 | 0 | 0 | 0 | 132 | 67 | 65 | 65000 | 0.065
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 752 | 124 | 628 | 62800 | 0.0628
73 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 1336 | 517 | 819 | 0 | 0
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9536 | 9536 | 0 | 0 | 0 | 3211 | 3262 | -51 | -25500 | -0.0255
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996590 | 996590 | 0 | 0 | 0 | 4199 | 4228 | -29 | -29000 | -0.029
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981727 | 981727 | 0 | 0 | 0 | 718 | 858 | -140 | -140000 | -0.14
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7669 | 7669 | 0 | 0 | 0 | 6812 | 6784 | 28 | 28000 | 0.028
78 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999645 | 999645 | 0 | 0 | 0 | 126 | 73 | 53 | 53000 | 0.053
79 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4814 | 4814 | 0 | 0 | 0 | 911243 | 910871 | 372 | 37200 | 0.0372
80 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999945 | 999945 | 0 | 0 | 0 | 145 | 77 | 68 | 18133.56 | 0.018134
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5550 | 5550 | 0 | 0 | 0 | 7592 | 7549 | 43 | 43000 | 0.043
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992042 | 992042 | 0 | 0 | 0 | 17938 | 17969 | -31 | -6200 | -0.0062
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 988003 | 988004 | -1 | -187.5 | -0.0001875 | 4578 | 4755 | -177 | -33187.5 | -0.033188
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981938 | 981939 | -1 | -187.5 | -0.0001875 | 3364 | 3593 | -229 | -42937.5 | -0.042938
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3943 | 3942 | 1 | 250 | 0.00025 | 8398 | 8187 | 211 | 52750 | 0.05275
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993337 | 993337 | 0 | 0 | 0 | 30357 | 29741 | 616 | 61600 | 0.0616
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.5139 |  |  |  |  | -14.683
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21967 | 21967 | 0 | 0 | 0 | 5152 | 5086 | 66 | -33000 | -0.033
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992633 | 992633 | 0 | 0 | 0 | 10433 | 11406 | -973 | 129730.09 | 0.12973
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 0 | 0 | 0 | 0 | 0 | 999847 | 1000000 | -153 | 102000.051 | 0.102 | w.e.f 01/04/22
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 1000144 | 999560 | 584 | -584000 | -0.584
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990849 | 990840 | 9 | -9000 | -0.009 | 2459 | 2332 | 127 | -127000 | -0.127
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3037 | 3037 | 0 | 0 | 0 | 33951 | 32559 | 1392 | -222720 | -0.22272
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3810 | 3810 | 0 | 0 | 0 | 13669 | 12749 | 920 | -184000 | -0.184
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971873 | 971878 | -5 | 5000 | 0.005 | 999188 | 999235 | -47 | 47000 | 0.047
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999878 | 999878 | 0 | 0 | 0 | 1034 | 871 | 163 | -16300 | -0.0163
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3742 | 3742 | 0 | 0 | 0 | 3685 | 2690 | 995 | -99500 | -0.0995
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
[15 empty] | -0.1075 | Assessment Last Month
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 1904 | 1904 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 999996 | 1000000 | -4 | 400 | 0.0004
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3162 | 3162 | 0 | 0 | 0 | 34846 | 34104 | 742 | -74200 | -0.0742
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 754 | 754 | 0 | 0 | 0 | 611 | 604 | 7 | -9331 | -0.009331
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 1046 | 472 | 574 | -57400 | -0.0574
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1926 | 1926 | 0 | 0 | 0 | 7503 | 6899 | 604 | -60400 | -0.0604
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 50 | 59 | -9 | -3600 | -0.0036
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999892 | 999883 | 9 | -3600 | -0.0036 | 999454 | 999434 | 20 | -8000 | -0.008
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 9318 | 9316 | 2 | -1600 | -0.0016 | 7895 | 7824 | 71 | -56800 | -0.0568
[5 empty] | -800 | [5 empty] | 6245 | 6247 | -2 | 1600 | 0.0016
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981498 | 981498 | 0 | 0 | 0 | 2041 | 2041 | 0 | 0 | 0
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1197 | 1197 | 0 | 0 | 0 | 3990 | 3980 | 10 | -7500 | -0.0075
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.0092 |  |  |  |  | -1.3705
JUNE-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.5139 |  |  |  |  | -14.683
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.0092 |  |  |  |  | -1.3705
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.0006 |  |  |  |  | 0.15839
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.69173
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 2.5041 |  |  |  |  | -16.5869
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.5041 | (REACTIVE MUs) |  |  |  | -16.5869 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.4058 | (REACTIVE MUs) |  |  |  | 0.023382 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.90166 | (REACTIVE MUs) |  |  |  | -16.5635 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1479 | 1525 | -46 | -12266.82 | -0.012267 | 2332 | 2366 | -34 | -9066.78 | -0.0090668
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 7606 | 7646 | -40 | -4000 | -0.004 | 646 | 21 | 625 | 62500 | 0.0625
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 978656 | 979122 | -466 | -93200 | -0.0932 | 999380 | 999386 | -6 | -1200 | -0.0012
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1510 | 1510 | 0 | 0 | 0 | 6 | 82 | -76 | -76000 | -0.076
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3628 | 3628 | 0 | 0 | 0 | 4046 | 3578 | 468 | 374400 | 0.3744
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2163 | 2163 | 0 | 0 | 0 | 1736 | 1736 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 946206 | 946206 | 0 | 0 | 0 | 988450 | 988653 | -203 | -162400 | -0.1624
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999292 | -112 | -224000 | -0.224
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953333 | 953331 | 2 | 100 | 0.0001 | 23965 | 21045 | 2920 | 146000 | 0.146
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999947 | 999947 | 0 | 0 | 0 | 1293 | 231 | 1062 | 106200 | 0.1062
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997792 | 997792 | 0 | 0 | 0 | 6244 | 5795 | 449 | 224500 | 0.2245
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999871 | 999871 | 0 | 0 | 0 | 998770 | 999229 | -459 | -45900 | -0.0459
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998688 | 998688 | 0 | 0 | 0 | 2848 | 1108 | 1740 | 174000 | 0.174
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11064 | 11064 | 0 | 0 | 0 | 41480 | 41222 | 258 | 258000 | 0.258
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 1104 | 1104 | 0 | 0 | 0 | 1873 | 1873 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994364 | 994346 | 18 | 18000 | 0.018 | 402 | 402 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982319 | 982383 | -64 | -64000 | -0.064 | 2746 | 2724 | 22 | 22000 | 0.022
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998435 | 998431 | 4 | 10000 | 0.01 | 73 | 47 | 26 | 65000 | 0.065
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 995956 | 996020 | -64 | -160000 | -0.16 | 459 | 457 | 2 | 5000 | 0.005
[10 empty] | -0.196 |  |  |  |  | 0.092
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990849 | 990840 | 9 | 9000 | 0.009 | 2459 | 2332 | 127 | 127000 | 0.127
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3037 | 3037 | 0 | 0 | 0 | 33951 | 32559 | 1392 | 222720 | 0.22272
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3810 | 3810 | 0 | 0 | 0 | 13669 | 12749 | 920 | 184000 | 0.184
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971873 | 971878 | -5 | -5000 | -0.005 | 999188 | 999235 | -47 | -47000 | -0.047
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
JUNE-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996801 | 996832 | -31 | 31000 | 0.031 | 989588 | 989697 | -109 | 109000 | 0.109
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998998 | 999040 | -42 | 42000 | 0.042 | 995445 | 995531 | -86 | 86000 | 0.086
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998062 | 998073 | -11 | 22000 | 0.022 | 995765 | 996167 | -402 | 804000 | 0.804
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999984 | 1000002 | -18 | 18000 | 0.018 | 993668 | 994518 | -850 | 850000 | 0.85
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 1904 | 1904 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999878 | 999878 | 0 | 0 | 0 | 1034 | 871 | 163 | 16300 | 0.0163
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3742 | 3742 | 0 | 0 | 0 | 3685 | 2690 | 995 | 99500 | 0.0995
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0 | under S/D
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21967 | 21967 | 0 | 0 | 0 | 5152 | 5086 | 66 | 33000 | 0.033
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 551 | 537 | 14 | -14000 | -0.014 | 10 | 29 | -19 | 19000 | 0.019
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999552 | 999553 | -1 | 1000 | 0.001 | 999950 | 999964 | -14 | 14000 | 0.014
AIIMS
3 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 752 | 124 | 628 | 0 | 0 | w.e.f 26/5/22
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) |  | 0 | 0 | 0 | 0 | 0 | 1336 | 517 | 819 | 0 | 0 | w.e.f 12/5/22
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.20137 |  |  |  |  | 3.4366
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.20137 |  |  |  |  | 3.4366
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.30322 |  |  |  |  | 0.0020817
| TOTAL ENERGY TO NDMC | [8 empty] | -0.50459 |  |  |  |  | 3.4386

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 4287 | 0 | 0 | 0 | 78470 | 78470 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999895 | 999895 | 0 | 0 | 0 | 31744 | 31591 | 153 | 24480 | 0.02448
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4590 | 4590 | 0 | 0 | 0 | 59405 | 59405 | 0 | 0 | 0 | Meter faulty
|  | 4902507 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 414 | 414 | 0 | 0 | 0 | 7297 | 7269 | 28 | 37333.24 | 0.037333 | Check Meter Data
|  | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 516 | 0 | 516 | 103200 | 0.1032 | w.e.f 9/6/2022
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999886 | 0 | 0 | 0 | 19374 | 19395 | -21 | -8400 | -0.0084
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999477 | 999477 | 0 | 0 | 0 | 762 | 775 | -13 | -10400 | -0.0104
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2697 | 2696 | 1 | 400 | 0.0004 | 6597 | 6227 | 370 | 148000 | 0.148
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 0 | 0 | 0 | 0 | 0 | 999847 | 1000000 | -153 | -102000.051 | -0.102
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 1000144 | 999560 | 584 | 584000 | 0.584
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0004 |  |  |  |  | 0.77621
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4047 | 4047 | 0 | 0 | 0 | 27037 | 22293 | 4744 | 177900 | 0.1779
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 1151 | 379 | 772 | 77200 | 0.0772
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 48826 | 45462 | 3364 | 252300 | 0.2523
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 4459 | 2908 | 1551 | 116325 | 0.11632
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 6787 | 6107 | 680 | 68000 | 0.068
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.69173
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0004 |  |  |  |  | 0.77621
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0004 |  |  |  |  | 1.4679
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0004 | (REACTIVE MUs) |  |  |  | 1.4679 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.052672 | (REACTIVE MUs) |  |  |  | 0.00036161 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.052272 | (REACTIVE MUs) |  |  |  | 1.4683 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991453 | 991433 | 20 | 12500 | 0.0125 | 432 | 316 | 116 | 72500 | 0.0725
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999884 | 999887 | -3 | -1500 | -0.0015 | 232 | 250 | -18 | -9000 | -0.009
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 9318 | 9316 | 2 | 1600 | 0.0016 | 7895 | 7824 | 71 | 56800 | 0.0568
[5 empty] | 800 | [5 empty] | 6245 | 6247 | -2 | -1600 | -0.0016
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 62490 | 61330 | 1160 | -1160 | -0.00116 | 287420 | 278689 | 8731 | -8731 | -0.008731
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 34500 | 33550 | 950 | -950 | -0.00095 | 521000 | 499820 | 21180 | -21180 | -0.02118
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 179500 | 156400 | 23100 | -23100 | -0.0231 | 1593999 | 1487399 | 106600 | -106600 | -0.1066
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.01261 |  |  |  |  | -0.017811
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.032319 |  |  |  |  | 0.00022188
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.044929 |  |  |  |  | -0.017589

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 996136 | 996137 | -1 | -500 | -0.0005 | 999827 | 1000043 | -216 | -108000 | -0.108
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29728 | 29729 | -1 | -100 | -0.0001 | 994701 | 997034 | -2333 | -233300 | -0.2333
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16140 | 16140 | 0 | 0 | 0 | 5921 | 5352 | 569 | 284500 | 0.2845
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997466 | 997466 | 0 | 0 | 0 | 999490 | 999597 | -107 | -100312.5 | -0.10031
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999454 | 999454 | 0 | 0 | 0 | 999262 | 999525 | -263 | 263000 | 0.263
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993768 | 993768 | 0 | 0 | 0 | 122 | 227 | -105 | 52500 | 0.0525
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.0006 |  |  |  |  | 0.15839
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 961914 | 961914 | 0 | 0 | 0 | 991666 | 993219 | -1553 | -310600 | -0.3106
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 65 | 75 | -10 | -1875 | -0.001875 | 997624 | 999737 | -2113 | -396187.5 | -0.39619
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.001875 |  |  |  |  | -0.70679
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1338 | 1338 | 0 | 0 | 0 | 998680 | 998657 | 23 | 28750 | 0.02875
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999999 | 999999 | 0 | 0 | 0 | 999664 | 999894 | -230 | -215625 | -0.21563
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 999785 | 999785 | 0 | 0 | 0 | 997040 | 998809 | -1769 | -221125 | -0.22112
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 622 | 622 | 0 | 0 | 0 | 127 | 133 | -6 | -22500 | -0.0225
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999229 | 999229 | 0 | 0 | 0 | 999827 | 999911 | -84 | -84000 | -0.084
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 978629 | 978629 | 0 | 0 | 0 | 990114 | 989327 | 787 | 118050 | 0.11805
[10 empty] | 0.131 |  |  |  |  | -0.5294 | Assessment Last Month
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 366 | 356 | 10 | -6250 | -0.00625 | 999868 | 999871 | -3 | 1875 | 0.001875
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.12475 |  |  |  |  | -0.92397
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.0006 |  |  |  |  | 0.15839
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.001875 |  |  |  |  | -0.70679
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.12475 |  |  |  |  | -0.92397

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 226650 | 226373 | 277 | 277000 | 0.277 | 47835 | 47835 | 0 | 0 | 0 | data upto 16/6/22
|  | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 335 | 0 | 335 | 670000 | 0.67 | 999999 | 1000000 | -1 | -2000 | -0.002 | w.e.f 16/6/22
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 28107 | 27637 | 470 | 940000 | 0.94 | 1629 | 1634 | -5 | -10000 | -0.01
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 873691 | 875326 | -1635 | 817500 | 0.8175 | 997991 | 997991 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 417303 | 417924 | -621 | 62100 | 0.0621 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 2.7666 |  | NET REACTIVE ENERGY |  |  | -0.012
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.7666 |  |  |  |  | -0.012
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -8.371 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.2473 |  |  |  |  | -0.02475
[7 empty] | NDMC = |  |  | -0.196 |  |  |  |  | 0.092
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -10.8142 |  |  |  |  | 0.06725
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -8.0476 |  |  |  |  | 0.05525
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.2504 | % |  |  | -2.4344 |  |  |  |  | 0.016713
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.3202 | % |  |  | -3.4058 |  |  |  |  | 0.023382
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6055 | % |  |  | -1.8192 |  |  |  |  | 0.01249
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.7678 | % |  |  | -0.30322 |  |  |  |  | 0.0020817
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6545 | % |  |  | -0.052672 |  |  |  |  | 0.00036161
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4016 | % |  |  | -0.032319 |  |  |  |  | 0.00022188
Note :Sharing taken from wk-13 abt bill 2022-23

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE -2022 TO 30th JUNE -2022
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -14.3628 | + | 2.7287
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -0.90166 |  | -16.5635
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -6.0713 |  | -1.976
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -0.50459 | + | 3.4386
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.052272 | + | 1.4683
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.044929 |  | -0.017589
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2022 | INTIAL READING 01/06/2022 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83