## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998435 | 999531 | -1096 | 1096000 | 1.096 | 999999 | 1000000 | -1 | 1000 | 0.001 | ROLL OVER
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 250 | 355 | -105 | 105000 | 0.105 | 999286 | 999398 | -112 | 112000 | 0.112
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12804 | 13811 | -1007 | 1007000 | 1.007 | 996384 | 996384 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976179 | 976376 | -197 | 197000 | 0.197 | 977834 | 977886 | -52 | 52000 | 0.052
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918918 | 919344 | -426 | 426000 | 0.426 | 946538 | 946538 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18611 | 18631 | -20 | 20000 | 0.02 | 17220 | 17374 | -154 | 154000 | 0.154
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19267 | 19301 | -34 | 34000 | 0.034 | 13211 | 13344 | -133 | 133000 | 0.133
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17216 | 17545 | -329 | 411250 | 0.41125 | 996519 | 996521 | -2 | 2500 | 0.0025
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13510 | 14139 | -629 | 629000 | 0.629 | 986579 | 986581 | -2 | 2000 | 0.002
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31184 | 31675 | -491 | 491000 | 0.491 | 9646 | 9655 | -9 | 9000 | 0.009
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996660 | 996889 | -229 | 229000 | 0.229 | 4074 | 4077 | -3 | 3000 | 0.003
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996693 | 996423 | 270 | -270000 | -0.27 | 999715 | 999731 | -16 | 16000 | 0.016
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 927728 | 930523 | -2795 | -2795000 | -2.795 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995705 | 995744 | -39 | 39000 | 0.039 | 16939 | 16939 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1036 | 695 | 341 | -341000 | -0.341 | 19631 | 19631 | 0 | 0 | 0
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120 | 231 | -111 | 111000 | 0.111 | 20106 | 20129 | -23 | 23000 | 0.023
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999515 | 999516 | -1 | -1000 | -0.001 | 28040 | 27982 | 58 | 58000 | 0.058
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 243 | 3 | 3000 | 0.003 | 29843 | 29899 | -56 | -56000 | -0.056
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2335 | 2313 | 22 | 2200 | 0.0022 | 138554 | 137982 | 572 | 57200 | 0.0572
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4773 | 4684 | 89 | 8900 | 0.0089 | 211963 | 210826 | 1137 | 113700 | 0.1137
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996023 | -1 | -1000 | -0.001 | 999363 | 999297 | 66 | 66000 | 0.066
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999940 | 999936 | 4 | 4000 | 0.004 | 6957 | 6830 | 127 | 127000 | 0.127
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648167 | 648380 | -213 | -213000 | -0.213 | 800177 | 800177 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655927 | 657164 | -1237 | -1237000 | -1.237 | 833096 | 833096 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992211 | 992117 | 94 | 94000 | 0.094 | 998292 | 998292 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1019 | 889 | 130 | 65000 | 0.065 | 176 | 176 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13782 | 12837 | 945 | -945000 | -0.945 | 982059 | 982052 | 7 | -7000 | -0.007
28 | Tx.2 | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 203 | 313 | -110 | 110000 | 0.11 | 12 | 11 | 1 | -1000 | -0.001
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992387 | 991992 | 395 | -395000 | -0.395 | 927937 | 927999 | -62 | 62000 | 0.062
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999699 | 999529 | 170 | -170000 | -0.17 | 999946 | 999957 | -11 | 11000 | 0.011
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31742 | 30826 | 916 | -916000 | -0.916 | 999925 | 999917 | 8 | -8000 | -0.008
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1330 | 1311 | 19 | 19000 | 0.019 | 18209 | 17979 | 230 | 230000 | 0.23
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 156 | 148 | 8 | 8000 | 0.008 | 3153 | 3177 | -24 | -24000 | -0.024
| NDPL(+) continue | [14 empty] | MARCH-2013
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1284 | 1289 | -5 | -5000 | -0.005 | 59779 | 59779 | 0 | 0 | 0
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 999462 | 998659 | 803 | 80300 | 0.0803 | 73426 | 70514 | 2912 | 291200 | 0.2912 | FINAL READING DATE is 25/3/13
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9168 | 9028 | 140 | 14000 | 0.014 | 27990 | 27280 | 710 | 71000 | 0.071
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9878 | 9730 | 148 | 14800 | 0.0148 | 39130 | 38162 | 968 | 96800 | 0.0968
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 14366 | 14266 | 100 | 10000 | 0.01 | 50361 | 49882 | 479 | 47900 | 0.0479
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 38822 | 38551 | 271 | 27100 | 0.0271 | 12928 | 12882 | 46 | 4600 | 0.0046
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16768 | 16937 | -169 | -16900 | -0.0169 | 12292 | 12268 | 24 | 2400 | 0.0024
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997577 | 997609 | -32 | -3200 | -0.0032 | 2631 | 2623 | 8 | 800 | 0.0008
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5302 | 5277 | 25 | 12500 | 0.0125 | 26164 | 26112 | 52 | 26000 | 0.026
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3461 | 3428 | 33 | 16500 | 0.0165 | 24019 | 23979 | 40 | 20000 | 0.02
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4254 | 4152 | 102 | 51000 | 0.051 | 14085 | 14084 | 1 | 500 | 0.0005
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 4482 | 4390 | 92 | 46000 | 0.046 | 16781 | 16780 | 1 | 500 | 0.0005
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 996579 | 996704 | -125 | -12500 | -0.0125 | 5958 | 5995 | -37 | -3700 | -0.0037
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8113 | 8067 | 46 | 4600 | 0.0046 | 14936 | 14936 | 0 | 0 | 0
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 18852 | 18187 | 665 | 66500 | 0.0665 | 50669 | 50668 | 1 | 100 | 0.0001
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2507 | 2559 | -52 | -5200 | -0.0052 | 999989 | 999995 | -6 | -600 | -0.0006
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999036 | 999048 | -12 | -1200 | -0.0012 | 205 | 210 | -5 | -500 | -0.0005
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 8341 | 8339 | 2 | 200 | 0.0002 | 69989 | 69209 | 780 | 78000 | 0.078
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 7403 | 7402 | 1 | 100 | 0.0001 | 60146 | 59412 | 734 | 73400 | 0.0734
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 8648 | 8648 | 0 | 0 | 0 | 86966 | 85669 | 1297 | 129700 | 0.1297
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 127235 | 125558 | 1677 | 167700 | 0.1677 | 28868 | 28855 | 13 | 1300 | 0.0013
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 19374 | 18929 | 445 | 44500 | 0.0445 | 38539 | 38519 | 20 | 2000 | 0.002
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 41 | -18 | 5400 | 0.0054 | 59 | 30 | 29 | -8700 | -0.0087
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999276 | 999273 | 3 | 300 | 0.0003 | 999397 | 999397 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994857 | 995754 | -897 | -717600 | -0.7176 | 345 | 336 | 9 | 7200 | 0.0072
65 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 998600 | 999839 | -1239 | -991200 | -0.9912 | 999999 | 999999 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -3.366 |  |  |  |  | 1.9763
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 9634 | 9340 | 294 | -29400 | -0.0294 | 12734 | 12730 | 4 | -400 | -0.0004
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8069 | 7899 | 170 | -170000 | -0.17 | 6853 | 6851 | 2 | -2000 | -0.002
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4063 | 3928 | 135 | -27000 | -0.027 | 2409 | 2360 | 49 | -9800 | -0.0098
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14123 | 13971 | 152 | -152000 | -0.152 | 27641 | 27629 | 12 | -12000 | -0.012
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 36660 | 35817 | 843 | -84300 | -0.0843 | 147017 | 146986 | 31 | -3100 | -0.0031
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957761 | 960529 | -2768 | 2768000 | 2.768 | 992480 | 992480 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999455 | -32 | -64000 | -0.064 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.2413 |  |  |  |  | -0.0273
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -3.366 |  |  |  |  | 1.9763
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.2413 |  |  |  |  | -0.0273
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.0748 |  |  |  |  | 0.013475
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.95017 |  |  |  |  | 1.9625
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.95017 | (REACTIVE MUs) |  |  |  | 1.9625 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.15013 | (REACTIVE MUs) |  |  |  | -2.2709 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.80004 | (REACTIVE MUs) |  |  |  | -0.30841 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988079 | 988084 | -5 | -500 | -0.0005 | 56489 | 53262 | 3227 | 322700 | 0.3227
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16021 | 15889 | 132 | 13200 | 0.0132 | 13903 | 11804 | 2099 | 209900 | 0.2099
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21524 | 21621 | -97 | -9700 | -0.0097 | 19004 | 18937 | 67 | 6700 | 0.0067
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 997560 | 997339 | 221 | 22100 | 0.0221 | 8535 | 5452 | 3083 | 308300 | 0.3083 | FINAL READING date is 25/3/13
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9324 | 8979 | 345 | 34500 | 0.0345 | 110509 | 104561 | 5948 | 594800 | 0.5948
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1237 | 1173 | 64 | 6400 | 0.0064 | 64044 | 61112 | 2932 | 293200 | 0.2932
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998244 | 998600 | -356 | -356000 | -0.356 | 371 | 370 | 1 | 1000 | 0.001
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999698 | 999707 | -9 | -9000 | -0.009 | 2217 | 2195 | 22 | 22000 | 0.022
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 786 | 755 | 31 | 31000 | 0.031 | 1479 | 1475 | 4 | 4000 | 0.004
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 70 | 30 | 40 | 40000 | 0.04 | 2865 | 2860 | 5 | 5000 | 0.005
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998810 | 998923 | -113 | -113000 | -0.113 | 3106 | 3106 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 490 | 439 | 51 | 51000 | 0.051 | 124 | 127 | -3 | -3000 | -0.003
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 202 | 172 | 30 | 30000 | 0.03 | 15131 | 15116 | 15 | 15000 | 0.015
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 486 | 356 | 130 | 130000 | 0.13 | 35891 | 35889 | 2 | 2000 | 0.002
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 266 | 264 | 2 | 2000 | 0.002 | 18780 | 18618 | 162 | 162000 | 0.162
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 554 | 547 | 7 | 7000 | 0.007 | 6439 | 6253 | 186 | 186000 | 0.186
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 39062 | 37490 | 1572 | 157200 | 0.1572 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998606 | 998530 | 76 | 76000 | 0.076 | 10672 | 10646 | 26 | 26000 | 0.026
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 784656 | 788083 | -3427 | -3769700 | -3.7697
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 829269 | 832787 | -3518 | -3869800 | -3.8698
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989512 | 989650 | -138 | -138000 | -0.138 | 9583 | 9600 | -17 | -17000 | -0.017
| KASHMIRI GATE | [8 empty] | -0.0918 |  |  |  |  | -7.2365
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962928 | 963124 | -196 | 196000 | 0.196 | 974392 | 974392 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976902 | 977596 | -694 | 694000 | 0.694 | 973352 | 973361 | -9 | 9000 | 0.009
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 41 | -18 | -5400 | -0.0054 | 59 | 30 | 29 | 8700 | 0.0087
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14 | 22 | -8 | -8000 | -0.008 | 1385 | 1253 | 132 | 132000 | 0.132
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25643 | 24557 | 1086 | -1086000 | -1.086 | 973226 | 973094 | 132 | -132000 | -0.132
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9614 | 9153 | 461 | -461000 | -0.461 | 971087 | 971647 | -560 | 560000 | 0.56
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997794 | 997924 | -130 | 130000 | 0.13 | 998861 | 999564 | -703 | 703000 | 0.703
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982258 | 982092 | 166 | -166000 | -0.166 | 993885 | 994522 | -637 | 637000 | 0.637
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4063 | 3928 | 135 | 27000 | 0.027 | 2409 | 2360 | 49 | 9800 | 0.0098
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14123 | 13971 | 152 | 152000 | 0.152 | 27641 | 27629 | 12 | 12000 | 0.012
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 111746 | 108942 | 2804 | 280400 | 0.2804 | 1623 | 1623 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 65632 | 65264 | 368 | 36800 | 0.0368 | 131 | 131 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.236 |  |  |  |  | -3.5614
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.236 |  |  |  |  | -3.5614
MARCH-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994934 | 995403 | -469 | 469000 | 0.469 | 930671 | 931096 | -425 | 425000 | 0.425
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14065 | 14336 | -271 | 271000 | 0.271 | 949592 | 950159 | -567 | 567000 | 0.567
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997344 | 997929 | -585 | 585000 | 0.585 | 994550 | 994911 | -361 | 361000 | 0.361
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928866 | 932579 | -3713 | 3713000 | 3.713 | 993112 | 993112 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918923 | 922676 | -3753 | 3753000 | 3.753 | 991447 | 991448 | -1 | 1000 | 0.001
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 580 | 591 | -11 | 11000 | 0.011 | 992487 | 992761 | -274 | 274000 | 0.274
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998643 | 998710 | -67 | 134000 | 0.134 | 987741 | 987806 | -65 | 130000 | 0.13
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998992 | 999139 | -147 | 147000 | 0.147 | 969329 | 969919 | -590 | 590000 | 0.59
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9659 | 10118 | -459 | 459000 | 0.459 | 947511 | 947784 | -273 | 273000 | 0.273
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962853 | 963455 | -602 | 602000 | 0.602 | 877912 | 878087 | -175 | 175000 | 0.175
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21624 | 21610 | 14 | -14000 | -0.014 | 31391 | 31404 | -13 | 13000 | 0.013
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20296 | 20177 | 119 | -119000 | -0.119 | 40280 | 40296 | -16 | 16000 | 0.016
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0 | METER FAULTY
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 10.011 |  |  |  |  | 2.825
| (B) NET ENERGY TO EAST | [8 empty] | 10.011 |  |  |  |  | 2.825
MARCH-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992211 | 992117 | 94 | -94000 | -0.094 | 998292 | 998292 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1019 | 889 | 130 | -65000 | -0.065 | 176 | 176 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 39214 | 38976 | 238 | -47600 | -0.0476 | 66080 | 65466 | 614 | -122800 | -0.1228
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 68172 | 67947 | 225 | -22500 | -0.0225 | 127644 | 127003 | 641 | -64100 | -0.0641
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984824 | 984978 | -154 | 30800 | 0.0308 | 4086 | 3980 | 106 | -21200 | -0.0212
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 63275 | 62852 | 423 | -84600 | -0.0846 | 83115 | 82360 | 755 | -151000 | -0.151
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -2000 | 73965 | 73959 | 6 | -12000 | -0.012 | 743 | 743 | 0 | 0 | 0 | 4864948 replaced with 4865050 on 04/03/13
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -2000 | 343 | 0 | 343 | -686000 | -0.686 | 0 | 0 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13080 | 13024 | 56 | -112000 | -0.112 | 385 | 370 | 15 | -30000 | -0.03
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 986060 | 986419 | -359 | 287200 | 0.2872 | 996727 | 996973 | -246 | 196800 | 0.1968
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 995898 | 996062 | -164 | 131200 | 0.1312 | 998940 | 999072 | -132 | 105600 | 0.1056
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 999588 | 999873 | -285 | 228000 | 0.228 | 999744 | 999902 | -158 | 126400 | 0.1264
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996403 | 996464 | -61 | 61000 | 0.061 | 37540 | 37654 | -114 | 114000 | 0.114
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 995982 | 996070 | -88 | 117333.04 | 0.11733 | 6 | 57 | -51 | 67999.83 | 0.068
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1330 | 1311 | 19 | -19000 | -0.019 | 18209 | 17979 | 230 | -230000 | -0.23
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 156 | 148 | 8 | -8000 | -0.008 | 3153 | 3177 | -24 | 24000 | 0.024
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1284 | 1289 | -5 | 5000 | 0.005 | 59779 | 59779 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5302 | 5277 | 25 | -12500 | -0.0125 | 26164 | 26112 | 52 | -26000 | -0.026
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3461 | 3428 | 33 | -16500 | -0.0165 | 24019 | 23979 | 40 | -20000 | -0.02
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4254 | 4152 | 102 | -51000 | -0.051 | 14085 | 14084 | 1 | -500 | -0.0005
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 4482 | 4390 | 92 | -46000 | -0.046 | 16781 | 16780 | 1 | -500 | -0.0005
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 127235 | 125558 | 1677 | -167700 | -0.1677 | 28868 | 28855 | 13 | -1300 | -0.0013
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 19374 | 18929 | 445 | -44500 | -0.0445 | 38539 | 38519 | 20 | -2000 | -0.002
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 996579 | 996704 | -125 | 12500 | 0.0125 | 5958 | 5995 | -37 | 3700 | 0.0037
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8113 | 8067 | 46 | -4600 | -0.0046 | 14936 | 14936 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 18852 | 18187 | 665 | -66500 | -0.0665 | 50669 | 50668 | 1 | -100 | -0.0001
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2507 | 2559 | -52 | 5200 | 0.0052 | 999989 | 999995 | -6 | 600 | 0.0006
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999036 | 999048 | -12 | 1200 | 0.0012 | 205 | 210 | -5 | 500 | 0.0005
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 8341 | 8339 | 2 | -200 | -0.0002 | 69989 | 69209 | 780 | -78000 | -0.078
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 7403 | 7402 | 1 | -100 | -0.0001 | 60146 | 59412 | 734 | -73400 | -0.0734
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 8648 | 8648 | 0 | 0 | 0 | 86966 | 85669 | 1297 | -129700 | -0.1297
[10 empty] | -0.68087 |  |  |  |  | -0.311
MARCH-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.236 |  |  |  |  | -3.5614
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.68087 |  |  |  |  | -0.311
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.2741 |  |  |  |  | -0.0024
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.191 |  |  |  |  | -3.8748
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 10.011 |  |  |  |  | 2.825
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 7.82 |  |  |  |  | -1.0498
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 7.82 | (REACTIVE MUs) |  |  |  | -1.0498 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.10854 | (REACTIVE MUs) |  |  |  | -1.6418 | (REACTIVE MUs)
[9 empty] | TOTAL | 7.7115 | (REACTIVE MUs) |  |  |  | -2.6916 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998135 | 998139 | -4 | -16000 | -0.016 | 9342 | 9459 | -117 | -468000 | -0.468
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988525 | 988812 | -287 | -382665.71 | -0.38267 | 674451 | 674610 | -159 | -211999.47 | -0.212
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6734 | 6612 | 122 | 122000 | 0.122 | 61593 | 60265 | 1328 | 1328000 | 1.328
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11305 | 11253 | 52 | 52000 | 0.052 | 999378 | 999266 | 112 | 112000 | 0.112
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8803 | 8737 | 66 | 6600 | 0.0066 | 114937 | 114185 | 752 | 75200 | 0.0752
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 29096 | 31999 | -2903 | -290300 | -0.2903 | 243862 | 244408 | -546 | -54600 | -0.0546
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8146 | 8570 | -424 | -42400 | -0.0424 | 395342 | 396419 | -1077 | -107700 | -0.1077
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999262 | 999281 | -19 | -17100 | -0.0171 | 1000004 | 999676 | 328 | 295200 | 0.2952 | ROLL OVER
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990726 | 990903 | -177 | 177000 | 0.177 | 950543 | 950865 | -322 | 322000 | 0.322
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988394 | 988610 | -216 | 216000 | 0.216 | 954827 | 955001 | -174 | 174000 | 0.174
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984695 | 985520 | -825 | 825000 | 0.825 | 939130 | 939685 | -555 | 555000 | 0.555
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996196 | 996467 | -271 | 271000 | 0.271 | 954924 | 955508 | -584 | 584000 | 0.584
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998453 | 997137 | 1316 | -1316000 | -1.316 | 987133 | 987139 | -6 | 6000 | 0.006
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12862 | 10875 | 1987 | -1987000 | -1.987 | 988500 | 988522 | -22 | 22000 | 0.022
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43273 | 43387 | -114 | 114000 | 0.114 | 21610 | 21631 | -21 | 21000 | 0.021
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7925 | 7713 | 212 | -212000 | -0.212 | 8358 | 8385 | -27 | 27000 | 0.027
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24099 | 24485 | -386 | 386000 | 0.386 | 7338 | 7353 | -15 | 15000 | 0.015
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31779 | 30838 | 941 | -941000 | -0.941 | 44207 | 44218 | -11 | 11000 | 0.011
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8069 | 7899 | 170 | 170000 | 0.17 | 6853 | 6851 | 2 | 2000 | 0.002
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 920439 | 921574 | -1135 | 1135000 | 1.135 | 901566 | 901571 | -5 | 5000 | 0.005
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965434 | 967117 | -1683 | 1683000 | 1.683 | 864289 | 864329 | -40 | 40000 | 0.04
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61 | 149 | -88 | 88000 | 0.088 | 979737 | 981019 | -1282 | 1282000 | 1.282
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999298 | 999371 | -73 | 73000 | 0.073 | 893674 | 893678 | -4 | 4000 | 0.004
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998568 | 998667 | -99 | 99000 | 0.099 | 874050 | 874056 | -6 | 6000 | 0.006
BRPL(+) continue | [14 empty] | MARCH-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997517 | 997902 | -385 | 385000 | 0.385 | 973286 | 973400 | -114 | 114000 | 0.114
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998883 | 999240 | -357 | 357000 | 0.357 | 989996 | 990143 | -147 | 147000 | 0.147
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993478 | 993010 | 468 | -936000 | -0.936 | 970945 | 970946 | -1 | 2000 | 0.002
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997171 | 997202 | -31 | 31000 | 0.031 | 925947 | 926095 | -148 | 148000 | 0.148
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996790 | 996975 | -185 | 185000 | 0.185 | 936449 | 936730 | -281 | 281000 | 0.281
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997086 | 997118 | -32 | 32000 | 0.032 | 931051 | 931693 | -642 | 642000 | 0.642
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997851 | 997769 | 82 | -54666.612 | -0.054667 | 991422 | 991422 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973509 | 973442 | 67 | -44666.622 | -0.044667 | 971811 | 971811 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1072 | 1012 | 60 | -120000 | -0.12 | 1308 | 1303 | 5 | -10000 | -0.01
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997944 | 997875 | 69 | -138000 | -0.138 | 499 | 496 | 3 | -6000 | -0.006
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957131 | 959296 | -2165 | 2165000 | 2.165 | 997444 | 997453 | -9 | 9000 | 0.009
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966767 | 966914 | -147 | 147000 | 0.147 | 997913 | 997913 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 996697 | 997071 | -374 | -299200 | -0.2992 | 1239 | 1193 | 46 | 36800 | 0.0368
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 10174 | 8790 | 1384 | 1107200 | 1.1072 | 833 | 833 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 976697 | 977770 | -1073 | -858400 | -0.8584 | 999697 | 999697 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999455 | -32 | 64000 | 0.064 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996403 | 996464 | -61 | -61000 | -0.061 | 37540 | 37654 | -114 | -114000 | -0.114
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 995982 | 996070 | -88 | -117333.04 | -0.11733 | 6 | 57 | -51 | -67999.83 | -0.068
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8164 | 7318 | 846 | -846000 | -0.846 | 978927 | 978928 | -1 | 1000 | 0.001
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999219 | 998896 | 323 | -323000 | -0.323 | 986536 | 986538 | -2 | 2000 | 0.002
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 9634 | 9340 | 294 | 29400 | 0.0294 | 12734 | 12730 | 4 | 400 | 0.0004
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 36660 | 35817 | 843 | 84300 | 0.0843 | 147017 | 146986 | 31 | 3100 | 0.0031
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957761 | 960529 | -2768 | -2768000 | -2.768 | 992480 | 992480 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1392 | 1423 | -31 | -3100 | -0.0031 | 6798 | 6787 | 11 | 1100 | 0.0011
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8378 | 8350 | 28 | 2800 | 0.0028 | 14647 | 14600 | 47 | 4700 | 0.0047
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.7665 |  |  |  |  | 5.2382
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 31179 | 5196 | -519600 | -0.5196 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 111746 | 108942 | 2804 | -280400 | -0.2804 | 1623 | 1623 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 65632 | 65264 | 368 | -36800 | -0.0368 | 131 | 131 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998355 | 997957 | 398 | -39800 | -0.0398 | 999959 | 999959 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 997126 | 997417 | -291 | 29100 | 0.0291 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 805 | 926 | -121 | 242000 | 0.242 | 72536 | 72536 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8480 | 7840 | 640 | -640000 | -0.64 | 2235 | 2235 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 883688 | 877730 | 5958 | -595800 | -0.5958 | 54406 | 54406 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 54895 | 52740 | 2155 | -215500 | -0.2155 | 54018 | 54015 | 3 | -300 | -0.0003
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 44745 | 42660 | 2085 | -208500 | -0.2085 | 54645 | 54641 | 4 | -400 | -0.0004
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 80688 | 77638 | 3050 | -610000 | -0.61 | 105465 | 105434 | 31 | -6200 | -0.0062
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 4488 | 4734 | -246 | -123000 | -0.123 | 21624 | 21794 | -170 | -85000 | -0.085
KIDWAI NAGAR
13 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 267949 | 260816 | 7133 | -713300 | -0.7133 | 39707 | 39707 | 0 | 0 | 0
EXHIBITION I
14 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1185 | 1186 | -1 | 100 | 0.0001 | 15460 | 15176 | 284 | -28400 | -0.0284
15 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
16 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 999462 | 998659 | 803 | -80300 | -0.0803 | 73426 | 70514 | 2912 | -291200 | -0.2912 | Final reading date is 25/03/13
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9168 | 9028 | 140 | -14000 | -0.014 | 27990 | 27280 | 710 | -71000 | -0.071
18 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9878 | 9730 | 148 | -14800 | -0.0148 | 39130 | 38162 | 968 | -96800 | -0.0968
19 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 14366 | 14266 | 100 | -10000 | -0.01 | 50361 | 49882 | 479 | -47900 | -0.0479
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 38822 | 38551 | 271 | -27100 | -0.0271 | 12928 | 12882 | 46 | -4600 | -0.0046
21 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16768 | 16937 | -169 | 16900 | 0.0169 | 12292 | 12268 | 24 | -2400 | -0.0024
26 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997577 | 997609 | -32 | 3200 | 0.0032 | 2631 | 2623 | 8 | -800 | -0.0008
27 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0 | METER FAULTY
REWARI LINE (11KV TRANSFER OF ENERGY)
28 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
29 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999276 | 999273 | 3 | -300 | -0.0003 | 999397 | 999397 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.8379 |  |  |  |  | -0.635
MARCH-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -1.7665 |  |  |  |  | 5.2382
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.8379 |  |  |  |  | -0.635
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 2.9259 |  |  |  |  | 0.2173
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.4469 |  |  |  |  | -0.078
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.1255 |  |  |  |  | 4.7425
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.1255 | (REACTIVE MUs) |  |  |  | 4.7425 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.18103 | (REACTIVE MUs) |  |  |  | -2.7382 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.3065 | (REACTIVE MUs) |  |  |  | 2.0043 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 39214 | 38976 | 238 | 47600 | 0.0476 | 66080 | 65466 | 614 | 122800 | 0.1228
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 68172 | 67947 | 225 | 22500 | 0.0225 | 127644 | 127003 | 641 | 64100 | 0.0641
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984824 | 984978 | -154 | -30800 | -0.0308 | 4086 | 3980 | 106 | 21200 | 0.0212
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 63275 | 62852 | 423 | 84600 | 0.0846 | 83115 | 82360 | 755 | 151000 | 0.151
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 2000 | 73965 | 73959 | 6 | 12000 | 0.012 | 743 | 743 | 0 | 0 | 0 | 4864948 replaced with 4865050 on 04/03/13
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 343 | 0 | 343 | 274400 | 0.2744 | 0 | 0 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13080 | 13024 | 56 | 112000 | 0.112 | 385 | 370 | 15 | 30000 | 0.03
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 986060 | 986419 | -359 | -287200 | -0.2872 | 996727 | 996973 | -246 | -196800 | -0.1968
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 995898 | 996062 | -164 | -131200 | -0.1312 | 998940 | 999072 | -132 | -105600 | -0.1056
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 999588 | 999873 | -285 | -228000 | -0.228 | 999744 | 999902 | -158 | -126400 | -0.1264
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998975 | 999051 | -76 | -7600 | -0.0076 | 335235 | 333968 | 1267 | 126700 | 0.1267
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6445 | 6474 | -29 | -2900 | -0.0029 | 468338 | 469266 | -928 | -92800 | -0.0928
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12186 | 12089 | 97 | 9700 | 0.0097 | 276454 | 271570 | 4884 | 488400 | 0.4884
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5340 | 5282 | 58 | 5800 | 0.0058 | 337313 | 334900 | 2413 | 241300 | 0.2413
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997752 | 997846 | -94 | -9400 | -0.0094 | 270697 | 269809 | 888 | 88800 | 0.0888
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 582 | 563 | 19 | 1900 | 0.0019 | 169600 | 168950 | 650 | 65000 | 0.065
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13438 | 13420 | 18 | 1800 | 0.0018 | 255311 | 249780 | 5531 | 553100 | 0.5531
17 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 21849 | 21244 | 605 | 60500 | 0.0605 | 293772 | 291900 | 1872 | 187200 | 0.1872 | Final reading date is 25/3/13
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 62724 | 62025 | 699 | 768900 | 0.7689
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3419 | 3460 | -41 | -41000 | -0.041 | 35858 | 36003 | -145 | -145000 | -0.145
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 138620 | 139732 | -1112 | -1223200 | -1.2232
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9105 | 9091 | 14 | 14000 | 0.014 | 50649 | 50461 | 188 | 188000 | 0.188
[10 empty] | -0.027 |  |  |  |  | -0.4113
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 805 | 926 | -121 | -242000 | -0.242 | 72536 | 72536 | 0 | 0 | 0
23 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8480 | 7840 | 640 | 640000 | 0.64 | 2235 | 2235 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 883688 | 877730 | 5958 | 595800 | 0.5958 | 54406 | 54406 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 4488 | 4734 | -246 | 123000 | 0.123 | 21624 | 21794 | -170 | 85000 | 0.085
MARCH-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984950 | 985353 | -403 | 403000 | 0.403 | 999818 | 999818 | 0 | 0 | 0
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997210 | 997342 | -132 | 132000 | 0.132 | 999994 | 999994 | 0 | 0 | 0
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 267949 | 260816 | 7133 | 713300 | 0.7133 | 39707 | 39707 | 0 | 0 | 0
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1185 | 1186 | -1 | -100 | -0.0001 | 15460 | 15176 | 284 | 28400 | 0.0284
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 54895 | 52740 | 2155 | 215500 | 0.2155 | 54018 | 54015 | 3 | 300 | 0.0003
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 44745 | 42660 | 2085 | 208500 | 0.2085 | 54645 | 54641 | 4 | 400 | 0.0004
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 80688 | 77638 | 3050 | 610000 | 0.61 | 105465 | 105434 | 31 | 6200 | 0.0062
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 31179 | 5196 | 519600 | 0.5196 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1392 | 1423 | -31 | 3100 | 0.0031 | 6798 | 6787 | 11 | -1100 | -0.0011
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8378 | 8350 | 28 | -2800 | -0.0028 | 14647 | 14600 | 47 | -4700 | -0.0047
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.8276 |  |  |  |  | 1.3212
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.8276 |  |  |  |  | 1.3212
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.039842 |  |  |  |  | -0.60264
| TOTAL ENERGY TO NDMC | [8 empty] | 3.7878 |  |  |  |  | 0.71856

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 732 | 719 | 13 | 13000 | 0.013 | 18885 | 18719 | 166 | 166000 | 0.166
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 496 | 491 | 5 | 5000 | 0.005 | 22854 | 22829 | 25 | 25000 | 0.025
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1277 | 1117 | 160 | 160000 | 0.16 | 31455 | 31434 | 21 | 21000 | 0.021
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 617 | 574 | 43 | 43000 | 0.043 | 15483 | 15483 | 0 | 0 | 0
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3082 | 2938 | 144 | 144000 | 0.144 | 8392 | 8392 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998355 | 997957 | 398 | 39800 | 0.0398 | 999959 | 999959 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 997126 | 997417 | -291 | -29100 | -0.0291 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3757 |  |  |  |  | 0.212
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3432 | 3432 | 0 | 0 | 0 | 34363 | 34363 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 40129 | 38494 | 1635 | 163500 | 0.1635 | 66114 | 65959 | 155 | 15500 | 0.0155
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 69707 | 69553 | 154 | 15400 | 0.0154 | 9999 | 9816 | 183 | 18300 | 0.0183
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 34912 | 32345 | 2567 | 256700 | 0.2567 | 53093 | 53093 | 0 | 0 | 0
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 80268 | 80155 | 113 | 11300 | 0.0113 | 54071 | 53629 | 442 | 44200 | 0.0442
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 3990 | 3174 | 816 | 81600 | 0.0816 | 597 | 597 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.4469 |  |  |  |  | 0.078
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.4469 |  |  |  |  | 0.078
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3757 |  |  |  |  | 0.212
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.8226 |  |  |  |  | 0.29
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.8226 | (REACTIVE MUs) |  |  |  | 0.29 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0042526 | (REACTIVE MUs) |  |  |  | -0.064323 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.81835 | (REACTIVE MUs) |  |  |  | 0.22568 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 67141 | 65019 | 2122 | 212200 | 0.2122 | 79774 | 79770 | 4 | 400 | 0.0004
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 1462 | 2698 | -1236 | -123600 | -0.1236 | 999422 | 999426 | -4 | -400 | -0.0004
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 193369 | 183890 | 9479 | 947900 | 0.9479 | 96666 | 96598 | 68 | 6800 | 0.0068
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 24854 | 23060 | 1794 | 1681875 | 1.6819 | 18202 | 18202 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 991197 | 991498 | -301 | 150500 | 0.1505 | 929558 | 929739 | -181 | 90500 | 0.0905
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989854 | 989968 | -114 | 57000 | 0.057 | 985705 | 985945 | -240 | 120000 | 0.12
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 2.9259 |  |  |  |  | 0.2173
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 942915 | 944325 | -1410 | -282000 | -0.282 | 991778 | 991782 | -4 | -800 | -0.0008
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 817417 | 827338 | -9921 | -992100 | -0.9921 | 928118 | 928134 | -16 | -1600 | -0.0016
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.2741 |  |  |  |  | -0.0024
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 197862 | 194100 | 3762 | 752400 | 0.7524 | 263341 | 263302 | 39 | 7800 | 0.0078
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 86038 | 82932 | 3106 | 621200 | 0.6212 | 41166 | 41147 | 19 | 3800 | 0.0038
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 133366 | 127387 | 5979 | 597900 | 0.5979 | 71746 | 71709 | 37 | 3700 | 0.0037
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988360 | 988128 | 232 | 232000 | 0.232 | 998304 | 998300 | 4 | 4000 | 0.004
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 973237 | 974605 | -1368 | -136800 | -0.1368 | 7271 | 7273 | -2 | -200 | -0.0002
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999458 | 999528 | -70 | -65625 | -0.065625 | 1549 | 1555 | -6 | -5625 | -0.005625
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 990203 | 990321 | -118 | 73750 | 0.07375 | 995561 | 995561 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 2.0748 |  |  |  |  | 0.013475
| E) NET EXPORT TO BSES RPL | [8 empty] | 2.9259 |  |  |  |  | 0.2173
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.2741 |  |  |  |  | -0.0024
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.0748 |  |  |  |  | 0.013475

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7947 | 7878 | 69 | 138000 | 0.138 | 333 | 351 | -18 | -36000 | -0.036
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 11288 | 11100 | 188 | 376000 | 0.376 | 1192 | 1009 | 183 | 366000 | 0.366
[7 empty] | NET REACTIVE ENERGY |  |  | 0.514 |  | NET REACTIVE ENERGY |  |  | 0.33
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 994959 | 995838 | -879 | -879000 | -0.879 | 42456 | 42456 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996683 | 996992 | -309 | -309000 | -0.309 | 999630 | 999903 | -273 | -273000 | -0.273
[7 empty] | NET REACTIVE ENERGY |  |  | -0.879 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.365 |  |  |  |  | 0.33
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0918 |  |  |  |  | -7.2365
[7 empty] | NDMC = |  |  | -0.027 |  |  |  |  | -0.4113
MES =
[7 empty] | 2)TOTAL |  |  | -0.1188 |  |  |  |  | -7.6478
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.4838 |  |  |  |  | -7.3178
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.0323 | % |  |  | -0.15013 |  |  |  |  | -2.2709
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 37.4179 | % |  |  | -0.18103 |  |  |  |  | -2.7382
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.4354 | % |  |  | -0.10854 |  |  |  |  | -1.6418
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 8.2353 | % |  |  | -0.039842 |  |  |  |  | -0.60264
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.879 | % |  |  | -0.0042526 |  |  |  |  | -0.064323
Note :Sharing taken from wk-50 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2013 TO 31st MARCH-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.80004 |  | -0.30841
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.3065 | + | 2.0043
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 7.7115 |  | -2.6916
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.7878 | + | 0.71856
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.81835 | + | 0.22568
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2013 | INTIAL READING 01/03/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 966172 | 967378 | -1206 | -1809000 | -1.809 | 981080 | 981080 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999824 | 106 | 999718 | 1499577000 | 1499.577 | 998126 | 998126 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 918630 | 919595 | -965 | -1447500 | -1.4475 | 968097 | 968097 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 1496.3205 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997239 | 997240 | -1 | -5000 | -0.005 | 31579 | 32034 | -455 | -2275000 | -2.275
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999590 | 999596 | -6 | -6000 | -0.006 | 2801 | 3311 | -510 | -510000 | -0.51
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
[8 empty] | NET REACTIVE ENERGY |  | -0.011 |  |  | NET REACTIVE ENERGY |  | -2.785