## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968699 | 971482 | -2783 | 2783000 | 2.783 | 999036 | 999034 | 2 | -2000 | -0.002
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71815 | 71427 | 388 | -388000 | -0.388 | 1653 | 1621 | 32 | -32000 | -0.032
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930793 | 933661 | -2868 | 2868000 | 2.868 | 995334 | 995463 | -129 | 129000 | 0.129
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997822 | 997818 | 4 | -4000 | -0.004 | 995564 | 995920 | -356 | 356000 | 0.356
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 880580 | 880576 | 4 | -4000 | -0.004 | 1000876 | 999518 | 1358 | -1358000 | -1.358
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28937 | 28911 | 26 | -26000 | -0.026 | 16337 | 16291 | 46 | -46000 | -0.046
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4126 | 4102 | 24 | -24000 | -0.024 | 998333 | 998290 | 43 | -43000 | -0.043
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1643 | 1643 | 0 | 0 | 0 | 999172 | 999251 | -79 | 79000 | 0.079
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 968715 | 968715 | 0 | 0 | 0 | 846385 | 847286 | -901 | 450500 | 0.4505
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3333 | 3192 | 141 | -141000 | -0.141 | 999011 | 998891 | 120 | -120000 | -0.12
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39262 | 39005 | 257 | -257000 | -0.257 | 998925 | 999048 | -123 | 123000 | 0.123
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14633 | 14633 | 0 | 0 | 0 | 997044 | 997044 | 0 | 0 | 0
13 | Tx.-4 | 40001536 | ELSTER | Kvarh(Lead/Lag) | -1 | 999998812 | 1000000013 | -1201 | 1201 | 1.201 | 99999974 | 100000000 | -26 | 26 | 0.026 | w.e.f from 03/05/2019
[5 empty] | 1 | 13 | 0 | 13 | 13 | 0.013 | [5 empty] | up to 02/05/2019
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 837763 | 840008 | -2245 | -2245000 | -2.245 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 944377 | 947698 | -3321 | -3321000 | -3.321 | 999996 | 999996 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979014 | 979823 | -809 | 809000 | 0.809 | 16679 | 16679 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 15694 | 15243 | 451 | -225500 | -0.2255 | 999999 | 1000000 | -1 | 500 | 0.0005
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41245 | 41367 | -122 | 122000 | 0.122 | 264 | 264 | 0 | 0 | 0
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 991249 | 991323 | -74 | -74000 | -0.074
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 638 | 638 | 0 | 0 | 0 | 22637 | 22765 | -128 | -128000 | -0.128
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1350 | 1348 | 2 | 1000 | 0.001 | 8289 | 7957 | 332 | 166000 | 0.166
22 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 149912 | 149786 | 126 | 12600 | 0.0126 | 319091 | 316142 | 2949 | 294900 | 0.2949
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995506 | 995506 | 0 | 0 | 0 | 984125 | 984419 | -294 | -294000 | -0.294
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2 | 2 | 0 | 0 | 0 | 999251 | 999119 | 132 | 132000 | 0.132
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 54953 | 49160 | 5793 | 579300 | 0.5793 | 121892 | 121615 | 277 | 27700 | 0.0277
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976129 | 977169 | -1040 | -1040000 | -1.04 | 999816 | 999816 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 558435 | 559924 | -1489 | -1489000 | -1.489 | 829222 | 829222 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999710 | 999404 | 306 | 81601.02 | 0.081601 | 999999 | 999999 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1003 | 958 | 45 | 22500 | 0.0225 | 18 | 6 | 12 | 6000 | 0.006
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22395 | 21897 | 498 | -498000 | -0.498 | 996874 | 996895 | -21 | 21000 | 0.021
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 112479 | 111675 | 804 | -402000 | -0.402 | 14925 | 14890 | 35 | -17500 | -0.0175
[5 empty] | -500 | 92958 | 92912 | 46 | -23000 | -0.023
32 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13327 | 12676 | 651 | -651000 | -0.651 | 999964 | 999970 | -6 | 6000 | 0.006
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 48898 | 46699 | 2199 | -4398000 | -4.398 | 97 | 96 | 1 | -2000 | -0.002
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62768 | 61317 | 1451 | -1451000 | -1.451 | 998776 | 998776 | 0 | 0 | 0
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119332 | 116903 | 2429 | -2429000 | -2.429 | 2428 | 2426 | 2 | -2000 | -0.002
ROHINI-II
37 | Tx.1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1386 | 1014 | 372 | -930000 | -0.93 | 1000001 | 999999 | 2 | -5000 | -0.005
[10 empty] | 0.09434 | [5 empty] | Assessment due to rate revision
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29899 | 28916 | 983 | -983000 | -0.983 | 919 | 916 | 3 | -3000 | -0.003
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999041 | 999040 | 1 | -1000 | -0.001 | 998597 | 998646 | -49 | 49000 | 0.049
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30610 | 30416 | 194 | -194000 | -0.194 | 1610 | 1579 | 31 | -31000 | -0.031
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 748 | 749 | -1 | -1000 | -0.001 | 28453 | 28601 | -148 | -148000 | -0.148
42 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | MAY-2019
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1158 | 1165 | -7 | -7000 | -0.007 | 61275 | 61275 | 0 | 0 | 0
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999352 | 999327 | 25 | 2500 | 0.0025 | 999587 | 999449 | 138 | 13800 | 0.0138
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2434 | 2409 | 25 | 2500 | 0.0025 | 27805 | 27200 | 605 | 60500 | 0.0605
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 522 | 489 | 33 | 43989 | 0.043989 | 437 | 424 | 13 | 17329 | 0.017329
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2801 | 2801 | 0 | 0 | 0 | 1539 | 1539 | 0 | 0 | 0
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 395 | 3 | 392 | 39200 | 0.0392 | 797 | 766 | 31 | 3100 | 0.0031 | w.e.f 27/3/19
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999855 | 999855 | 0 | 0 | 0 | 1297 | 1221 | 76 | 38000 | 0.038
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1934 | 1925 | 9 | 6000.03 | 0.006 | 198 | 183 | 15 | 10000.05 | 0.01
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4863 | 4849 | 14 | 9333.3333 | 0.0093333 | 1526 | 1496 | 30 | 20000 | 0.02
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997270 | 997339 | -69 | -6900 | -0.0069 | 3797 | 3798 | -1 | -100 | -0.0001
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
60 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 6329 | 6021 | 308 | 30800 | 0.0308 | 11169 | 11098 | 71 | 7100 | 0.0071
62 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 6036 | 5660 | 376 | 37600 | 0.0376 | 1261 | 937 | 324 | 32400 | 0.0324
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 26014 | 25756 | 258 | 25800 | 0.0258 | 6861 | 6622 | 239 | 23900 | 0.0239
KASHMIRI GATE
64 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 45557 | 44520 | 1037 | 103700 | 0.1037 | 1851 | 1823 | 28 | 2800 | 0.0028
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26262 | 26262 | 0 | 0 | 0 | 52159 | 51738 | 421 | 42100 | 0.0421
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 315 | 315 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 983676 | 983914 | -238 | -190400 | -0.1904 | 999913 | 999915 | -2 | -1600 | -0.0016
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998251 | 998278 | -27 | -54000 | -0.054 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 986138 | 986230 | -92 | -9200 | -0.0092 | 358 | 291 | 67 | 6700 | 0.0067
72 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999611 | 999626 | -15 | -3750 | -0.00375 | 317 | 272 | 45 | 11250 | 0.01125
REWARI LINE
73 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998959 | 999211 | -252 | -252000 | -0.252 | 1813 | 1759 | 54 | 54000 | 0.054
74 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1299 | 1265 | 34 | 25500 | 0.0255 | 2836 | 2800 | 36 | 27000 | 0.027
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -12.7345 |  |  |  |  | -0.070621
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12594 | 12500 | 94 | -9400 | -0.0094 | 109275 | 107834 | 1441 | -144100 | -0.1441
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 160 | 160 | 0 | 0 | 0 | 9012 | 9043 | -31 | 24800 | 0.0248
SUBZI MANDI
3 | O/G BG Rd.1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3460 | 3469 | -9 | 9000 | 0.009 | 1283 | 1283 | 0 | 0 | 0 | Check Meter Data
|  | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999997 | 1000000 | -3 | 3000 | 0.003 | w.e.f 31/05/19
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 4937 | 4924 | 13 | -5200 | -0.0052 | 568 | 506 | 62 | -24800 | -0.0248
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998762 | 998762 | 0 | 0 | 0 | 999962 | 999955 | 7 | -1312.5 | -0.0013125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 948252 | 949631 | -1379 | 1103200 | 1.1032 | 998586 | 998672 | -86 | 68800 | 0.0688
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999420 | 999327 | 93 | 74400 | 0.0744
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 994567 | 994714 | -147 | 91875 | 0.091875 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 995401 | 996318 | -917 | 573125 | 0.57312 | 999879 | 999883 | -4 | 2500 | 0.0025
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999416 | 999489 | -73 | 14600 | 0.0146 | 12232 | 11915 | 317 | -63400 | -0.0634
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996946 | 997196 | -250 | 46875 | 0.046875 | 5511 | 5258 | 253 | -47437.5 | -0.047438
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 1732 | 1366 | 366 | -91500 | -0.0915 | 5682 | 5479 | 203 | -50750 | -0.05075
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999524 | 999184 | 340 | -34000 | -0.034 | 18673 | 17763 | 910 | -91000 | -0.091
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.6986 |  |  |  |  | -0.2493
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -12.7345 |  |  |  |  | -0.070621
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.6986 |  |  |  |  | -0.2493
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.22398 |  |  |  |  | -0.70706
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -11.2599 |  |  |  |  | -1.027
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -11.2599 | (REACTIVE MUs) |  |  |  | -1.027 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.6286 | (REACTIVE MUs) |  |  |  | 0.10256 | (REACTIVE MUs)
[9 empty] | TOTAL | -13.8884 | (REACTIVE MUs) |  |  |  | -0.92442 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 26216 | 23457 | 2759 | 275900 | 0.2759 | 993567 | 993554 | 13 | 1300 | 0.0013
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11239 | 10279 | 960 | 288000 | 0.288 | 4158 | 4145 | 13 | 3900 | 0.0039
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 54449 | 54419 | 30 | 2250 | 0.00225 | 345779 | 345398 | 381 | 28575 | 0.028575
[5 empty] | 75 | 49201 | 44156 | 5045 | 378375 | 0.37838
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994802 | 995120 | -318 | -95400 | -0.0954 | 5950 | 5949 | 1 | 300 | 0.0003
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1724 | 1703 | 21 | 27999.3 | 0.027999 | 3587 | 3586 | 1 | 1333.3 | 0.0013333
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 15231 | 15048 | 183 | 18300 | 0.0183 | 983938 | 983938 | 0 | 0 | 0
|  | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 2906 | 0 | 2906 | 290600 | 0.2906 | 31 | 0 | 31 | 3100 | 0.0031 | w.e.f 04/05
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 67836 | 47948 | 19888 | 1491600 | 1.4916 | 41479 | 41304 | 175 | 13125 | 0.013125
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982843 | 982947 | -104 | -104000 | -0.104 | 2292 | 2294 | -2 | -2000 | -0.002
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 996156 | 996260 | -104 | -52000 | -0.052 | 550 | 558 | -8 | -4000 | -0.004
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997946 | 998047 | -101 | -101000 | -0.101 | 1518 | 1521 | -3 | -3000 | -0.003
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991316 | 991362 | -46 | -46000 | -0.046 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992026 | 992399 | -373 | -373000 | -0.373 | 6227 | 6231 | -4 | -4000 | -0.004
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 45 | 54 | -9 | -9000 | -0.009 | 998652 | 998603 | 49 | 49000 | 0.049
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997701 | 997873 | -172 | -172000 | -0.172 | 999802 | 999804 | -2 | -2000 | -0.002
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996389 | 996358 | 31 | 24800 | 0.0248 | 4972 | 4976 | -4 | -3200 | -0.0032
16 | GB PANTH(Bay-13) | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999367 | 999416 | -49 | -49000 | -0.049 | 33226 | 33229 | -3 | -3000 | -0.003 | Check Meter Data
|  | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999752 | 1000000 | -248 | -33065.84 | -0.033066 | 999843 | 1000000 | -157 | -20932.81 | -0.020933 | w.e.f 20/05/19
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1506 | 1533 | -27 | -27000 | -0.027 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1419 | 1155 | 264 | 264000 | 0.264 | 17357 | 17361 | -4 | -4000 | -0.004
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 974034 | 974035 | -1 | -1250 | -0.00125 | 951683 | 951753 | -70 | -87500 | -0.0875
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 990857 | 990859 | -2 | -2200 | -0.0022 | 938403 | 938549 | -146 | -160600 | -0.1606
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958253 | 958261 | -8 | -8000 | -0.008 | 7469 | 7606 | -137 | -137000 | -0.137
| KASHMIRI GATE | [8 empty] | -0.01145 |  |  |  |  | -0.3851
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992372 | 992364 | 8 | -8000 | -0.008 | 999955 | 999976 | -21 | 21000 | 0.021
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990219 | 990367 | -148 | 148000 | 0.148 | 999863 | 999906 | -43 | 43000 | 0.043
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 315 | 315 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 10021 | 9807 | 214 | 214000 | 0.214
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107202 | 106305 | 897 | -897000 | -0.897 | 830 | 835 | -5 | 5000 | 0.005
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29071 | 28901 | 170 | -170000 | -0.17 | 999057 | 999033 | 24 | -24000 | -0.024
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998644 | 998647 | -3 | 3000 | 0.003 | 999842 | 999997 | -155 | 155000 | 0.155
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996646 | 996316 | 330 | -330000 | -0.33 | 998304 | 998336 | -32 | 32000 | 0.032
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995991 | 995857 | 134 | -134000 | -0.134 | 985279 | 985887 | -608 | 608000 | 0.608
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20169 | 19615 | 554 | -554000 | -0.554 | 289 | 289 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14978 | 14455 | 523 | -1046000 | -1.046 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3460 | 3469 | -9 | 9000 | 0.009 | 1283 | 1283 | 0 | 0 | 0 | Check Meter Data
|  | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999997 | 1000000 | -3 | -3000 | -0.003 | w.e.f 31/05/19
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 4937 | 4924 | 13 | 5200 | 0.0052 | 568 | 506 | 62 | 24800 | 0.0248
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 996421 | 996422 | -1 | -133 | -0.000133 | 13594 | 13589 | 5 | 665 | 0.000665
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971479 | 972470 | -991 | 991000 | 0.991 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984945 | 985735 | -790 | 790000 | 0.79 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.79598 |  |  |  |  | 0.74587
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.79598 |  |  |  |  | 0.74587
MAY-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993302 | 993320 | -18 | 18000 | 0.018 | 998167 | 998713 | -546 | 546000 | 0.546
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989792 | 989795 | -3 | 3000 | 0.003 | 964094 | 964899 | -805 | 805000 | 0.805
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998181 | 998192 | -11 | 11000 | 0.011 | 999221 | 999928 | -707 | 707000 | 0.707
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993423 | 993729 | -306 | 306000 | 0.306 | 999744 | 999942 | -198 | 198000 | 0.198
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16556 | 16488 | 68 | -68000 | -0.068 | 998461 | 998795 | -334 | 334000 | 0.334
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2566 | 2427 | 139 | -139000 | -0.139 | 997457 | 997775 | -318 | 318000 | 0.318
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7852 | 7790 | 62 | -62000 | -0.062 | 937149 | 937178 | -29 | 29000 | 0.029
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956394 | 956336 | 58 | -58000 | -0.058 | 989286 | 989314 | -28 | 28000 | 0.028
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964276 | 964287 | -11 | 11000 | 0.011 | 982154 | 982783 | -629 | 629000 | 0.629
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958318 | 957789 | 529 | -529000 | -0.529 | 827799 | 827831 | -32 | 32000 | 0.032
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31227 | 30643 | 584 | -584000 | -0.584 | 128 | 134 | -6 | 6000 | 0.006
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16192 | 15705 | 487 | -487000 | -0.487 | 919557 | 919565 | -8 | 8000 | 0.008
[5 empty] | -1000 | 15456 | 15182 | 274 | -274000 | -0.274
[5 empty] | -1000 | 14572 | 14226 | 346 | -346000 | -0.346
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.198 |  |  |  |  | 3.64
| (B) NET ENERGY TO EAST | [8 empty] | -2.198 |  |  |  |  | 3.64
MAY-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999710 | 999404 | 306 | -81601.02 | -0.081601 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1003 | 958 | 45 | -22500 | -0.0225 | 18 | 6 | 12 | -6000 | -0.006
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2977 | 2983 | -6 | 1599.96 | 0.0016 | 2173 | 2195 | -22 | 5866.52 | 0.0058665
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 91049 | 91023 | 26 | -2600 | -0.0026 | 150638 | 149418 | 1220 | -122000 | -0.122
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 994404 | 994425 | -21 | 4200 | 0.0042 | 998746 | 998997 | -251 | 50200 | 0.0502
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 61836 | 61745 | 91 | -18200 | -0.0182 | 130096 | 130044 | 52 | -10400 | -0.0104
[5 empty] | -200 | [5 empty] | 125451 | 124670 | 781 | -156200 | -0.1562
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 686 | 646 | 40 | -32000 | -0.032 | 277 | 61 | 216 | -172800 | -0.1728
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3198 | 3236 | -38 | 30400 | 0.0304 | 644 | 704 | -60 | 48000 | 0.048
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 964524 | 964589 | -65 | 52000 | 0.052 | 985836 | 985957 | -121 | 96800 | 0.0968
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966396 | 966414 | -18 | 14400 | 0.0144 | 985980 | 986445 | -465 | 372000 | 0.372
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 973393 | 973477 | -84 | 67200 | 0.0672 | 992461 | 992663 | -202 | 161600 | 0.1616
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999912 | 999935 | -23 | 46000 | 0.046 | 1000003 | 999999 | 4 | -8000 | -0.008
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997862 | 997675 | 187 | -374000 | -0.374 | 999991 | 999996 | -5 | 10000 | 0.01
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 748 | 749 | -1 | 1000 | 0.001 | 28453 | 28601 | -148 | 148000 | 0.148
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1158 | 1165 | -7 | 7000 | 0.007 | 61275 | 61275 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999855 | 999855 | 0 | 0 | 0 | 1297 | 1221 | 76 | -38000 | -0.038
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1934 | 1925 | 9 | -6000.03 | -0.006 | 198 | 183 | 15 | -10000.05 | -0.01
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4863 | 4849 | 14 | -9333.3333 | -0.0093333 | 1526 | 1496 | 30 | -20000 | -0.02
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 45557 | 44520 | 1037 | -103700 | -0.1037 | 1851 | 1823 | 28 | -2800 | -0.0028
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26262 | 26262 | 0 | 0 | 0 | 52159 | 51738 | 421 | -42100 | -0.0421
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997270 | 997339 | -69 | 6900 | 0.0069 | 3797 | 3798 | -1 | 100 | 0.0001
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 6329 | 6021 | 308 | -30800 | -0.0308 | 11169 | 11098 | 71 | -7100 | -0.0071
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 6036 | 5660 | 376 | -37600 | -0.0376 | 1261 | 937 | 324 | -32400 | -0.0324
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 26014 | 25756 | 258 | -25800 | -0.0258 | 6861 | 6622 | 239 | -23900 | -0.0239
[10 empty] | -0.51343 |  |  |  |  | 0.24087
MAY-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.79598 |  |  |  |  | 0.74587
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.51343 |  |  |  |  | 0.24087
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.01255 |  |  |  |  | -0.065088
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.29509 |  |  |  |  | 0.92164
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.198 |  |  |  |  | 3.64
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.9029 |  |  |  |  | 4.5616
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.9029 | (REACTIVE MUs) |  |  |  | 4.5616 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.1067 | (REACTIVE MUs) |  |  |  | 0.082198 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.0096 | (REACTIVE MUs) |  |  |  | 4.6438 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999313 | 999302 | 11 | 55000 | 0.055 | 998889 | 998888 | 1 | 5000 | 0.005
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 981098 | 981221 | -123 | -163999.59 | -0.164 | 670298 | 670297 | 1 | 1333.33 | 0.0013333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 996957 | 996889 | 68 | 13600 | 0.0136 | 2580 | 2618 | -38 | -7600 | -0.0076
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999952 | 999855 | 97 | 129333.01 | 0.12933 | 999645 | 999641 | 4 | 5333.32 | 0.0053333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 228 | 230 | -2 | -3000 | -0.003 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/05- mode changed
|  | 4865177 | ELSTER | Kvarh(Lead/Lag) | -1500 | 230 | 0 | 230 | -345000 | -0.345 | 0 | 0 | 0 | 0 | 0 | Recorded on Import mode up to 26/05
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18825 | 18822 | 3 | 300 | 0.0003 | 22645 | 22642 | 3 | 300 | 0.0003
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 671866 | 673565 | -1699 | -127425 | -0.12743 | 980679 | 980698 | -19 | -1425 | -0.001425
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 992507 | 992657 | -150 | -11250 | -0.01125 | 18270 | 18276 | -6 | -450 | -0.00045
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996226 | 996320 | -94 | -84600 | -0.0846 | 995106 | 995112 | -6 | -5400 | -0.0054
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 1902 | 2470 | -568 | -56800 | -0.0568 | 265619 | 265626 | -7 | -700 | -0.0007
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8056 | 8056 | 0 | 0 | 0 | 997062 | 997104 | -42 | 42000 | 0.042
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999948 | 1000100 | -152 | 304000 | 0.304 | 998350 | 998502 | -152 | 304000 | 0.304
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13703 | 13733 | -30 | 30000 | 0.03 | 997733 | 997819 | -86 | 86000 | 0.086
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975259 | 974982 | 277 | -277000 | -0.277 | 994122 | 993630 | 492 | -492000 | -0.492
[5 empty] | -1000 | [5 empty] | 992032 | 991964 | 68 | -68000 | -0.068
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51392 | 51387 | 5 | -5000 | -0.005 | 996681 | 996621 | 60 | -60000 | -0.06
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 55686 | 55599 | 87 | -43500 | -0.0435 | 22550 | 21349 | 1201 | -600500 | -0.6005
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9902 | 9902 | 0 | 0 | 0 | 997403 | 997395 | 8 | -16000 | -0.016
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22549 | 22474 | 75 | -75000 | -0.075 | 845690 | 845925 | -235 | 235000 | 0.235
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999973 | 1000000 | -27 | 21600 | 0.0216
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 38331 | 38319 | 12 | -9600 | -0.0096 | 998935 | 998999 | -64 | 51200 | 0.0512
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3723 | 3961 | -238 | 238000 | 0.238 | 963042 | 963173 | -131 | 131000 | 0.131
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994793 | 994814 | -21 | 21000 | 0.021 | 995222 | 995813 | -591 | 591000 | 0.591
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961393 | 961413 | -20 | 20000 | 0.02 | 986883 | 987138 | -255 | 255000 | 0.255
[5 empty] | -1000 | 973268 | 973795 | -527 | 527000 | 0.527
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1030 | 794 | 236 | -236000 | -0.236 | 997615 | 997791 | -176 | 176000 | 0.176
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1416 | 1416 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 363 | 351 | 12 | -12000 | -0.012 | 1000003 | 999998 | 5 | -5000 | -0.005
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49584 | 49095 | 489 | -489000 | -0.489 | 11527 | 11481 | 46 | -46000 | -0.046
[5 empty] | -1000 | [5 empty] | 3434 | 3434 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 5529 | 5463 | 66 | -219999.78 | -0.22 | 3 | 0 | 3 | -9999.99 | -0.01
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 160 | 160 | 0 | 0 | 0 | 9012 | 9043 | -31 | -24800 | -0.0248
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975983 | 976061 | -78 | 78000 | 0.078 | 968770 | 968981 | -211 | 211000 | 0.211
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991142 | 991194 | -52 | 52000 | 0.052 | 985747 | 985938 | -191 | 191000 | 0.191
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990405 | 990343 | 62 | -62000 | -0.062 | 985016 | 985009 | 7 | -7000 | -0.007
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 5489 | 5491 | -2 | 1600 | 0.0016 | 999981 | 1000000 | -19 | 15200 | 0.0152
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 3071 | 3072 | -1 | 1600 | 0.0016 | 999966 | 1000000 | -34 | 54400 | 0.0544
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 13083 | 13093 | -10 | 5000 | 0.005 | 997277 | 999314 | -2037 | 1018500 | 1.0185
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18842 | 18557 | 285 | -285000 | -0.285 | 33027 | 33152 | -125 | 125000 | 0.125
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998705 | 998705 | 0 | 0 | 0 | 996244 | 996215 | 29 | -29000 | -0.029
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999641 | 999641 | 0 | 0 | 0 | 999836 | 999755 | 81 | -81000 | -0.081
BRPL(+) continue | [14 empty] | MAY-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32868 | 32255 | 613 | -613000 | -0.613 | 999883 | 999888 | -5 | 5000 | 0.005
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7472 | 7219 | 253 | -253000 | -0.253 | 999739 | 999903 | -164 | 164000 | 0.164
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10811 | 10799 | 12 | -12000 | -0.012 | 999373 | 999355 | 18 | -18000 | -0.018
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997898 | 997906 | -8 | 8000 | 0.008 | 926265 | 926337 | -72 | 72000 | 0.072
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12663 | 12644 | 19 | -19000 | -0.019 | 9412 | 9400 | 12 | -12000 | -0.012
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2995 | 2967 | 28 | -56000 | -0.056 | 996087 | 996539 | -452 | 904000 | 0.904
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38828 | 38157 | 671 | -671000 | -0.671 | 997817 | 997817 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 17899 | 16851 | 1048 | -2096000 | -2.096 | 999440 | 999440 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7671 | 7638 | 33 | -66000 | -0.066 | 2336 | 2325 | 11 | -22000 | -0.022
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5003 | 4934 | 69 | -138000 | -0.138 | 1298 | 1294 | 4 | -8000 | -0.008
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919717 | 919715 | 2 | -2000 | -0.002 | 980994 | 981033 | -39 | 39000 | 0.039
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2234 | 2233 | 1 | -1000 | -0.001 | 996436 | 996481 | -45 | 45000 | 0.045
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1983 | 1945 | 38 | -38000 | -0.038 | 989102 | 989285 | -183 | 183000 | 0.183
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 989800 | 989864 | -64 | -51200 | -0.0512 | 417 | 410 | 7 | 5600 | 0.0056
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 967185 | 967328 | -143 | -114400 | -0.1144 | 999826 | 999829 | -3 | -2400 | -0.0024
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999420 | 999327 | 93 | -74400 | -0.0744
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1313 | 1327 | -14 | -11200 | -0.0112 | 999821 | 999819 | 2 | 1600 | 0.0016
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997876 | 997991 | -115 | -92000 | -0.092 | 999991 | 999992 | -1 | -800 | -0.0008
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997862 | 997675 | 187 | 374000 | 0.374 | 999991 | 999996 | -5 | -10000 | -0.01
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39825 | 38500 | 1325 | -1325000 | -1.325 | 698 | 684 | 14 | -14000 | -0.014
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71093 | 70645 | 448 | -448000 | -0.448 | 235 | 175 | 60 | -60000 | -0.06
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77999 | 77315 | 684 | -684000 | -0.684 | 522 | 504 | 18 | -18000 | -0.018
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12594 | 12500 | 94 | 9400 | 0.0094 | 109275 | 107834 | 1441 | 144100 | 0.1441
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998762 | 998762 | 0 | 0 | 0 | 999962 | 999955 | 7 | 1312.5 | 0.0013125
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 957683 | 957551 | 132 | 52800 | 0.0528 | 994059 | 993974 | 85 | 34000 | 0.034
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 994455 | 993834 | 621 | 248400 | 0.2484 | 70409 | 70375 | 34 | 13600 | 0.0136
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 948252 | 949631 | -1379 | -1103200 | -1.1032 | 998586 | 998672 | -86 | -68800 | -0.0688
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 390883 | 387841 | 3042 | 304200 | 0.3042 | 2136 | 2041 | 95 | 9500 | 0.0095
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5648 | 5592 | 56 | 56000 | 0.056 | 1931 | 1922 | 9 | 9000 | 0.009
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10780 | 10780 | 0 | 0 | 0 | 18539 | 17932 | 607 | 45525 | 0.045525
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5292 | 5292 | 0 | 0 | 0 | 11413 | 10490 | 923 | 92300 | 0.0923
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6566 | 6525 | 41 | 20500 | 0.0205 | 2952 | 2841 | 111 | 55500 | 0.0555
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1255 | 1300 | -45 | -45000 | -0.045 | 4076 | 4092 | -16 | -16000 | -0.016
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991853 | 991891 | -38 | -38000 | -0.038 | 1094 | 1136 | -42 | -42000 | -0.042
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4819 | 4833 | -14 | -14000 | -0.014 | 6492 | 6494 | -2 | -2000 | -0.002
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 4694 | 4976 | -282 | -45120 | -0.04512 | 999757 | 999819 | -62 | -9920 | -0.00992
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 178761 | 178526 | 235 | 23500 | 0.0235 | 46676 | 46575 | 101 | 10100 | 0.0101
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2770 | 2790 | -20 | -20000 | -0.02 | 478 | 390 | 88 | 88000 | 0.088
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3472 | 3485 | -13 | -13000 | -0.013 | 6597 | 6498 | 99 | 99000 | 0.099
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999416 | 999489 | -73 | -14600 | -0.0146 | 12232 | 11915 | 317 | 63400 | 0.0634
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996946 | 997196 | -250 | -46875 | -0.046875 | 5511 | 5258 | 253 | 47437.5 | 0.047438
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998719 | 998719 | 0 | 0 | 0 | 3614 | 3614 | 0 | 0 | 0
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 1732 | 1366 | 366 | 91500 | 0.0915 | 5682 | 5479 | 203 | 50750 | 0.05075
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999524 | 999184 | 340 | 34000 | 0.034 | 18673 | 17763 | 910 | 91000 | 0.091
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.838 |  |  |  |  | 3.9604
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 20726 | 19045 | 1681 | -168100 | -0.1681 | 3056 | 2180 | 876 | -87600 | -0.0876
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 996421 | 996422 | -1 | 133.33 | 0.00013333 | 13594 | 13589 | 5 | -666.65 | -0.00066665
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994318 | -6 | 1200 | 0.0012 | 4404 | 4089 | 315 | -63000 | -0.063
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1820 | 1821 | -1 | 1000 | 0.001 | 998697 | 998679 | 18 | -18000 | -0.018
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997633 | 997614 | 19 | -19000 | -0.019 | 1869 | 1869 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9106 | 9103 | 3 | -480 | -0.00048 | 12133 | 10885 | 1248 | -199680 | -0.19968
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2898 | 2930 | -32 | 6400 | 0.0064 | 3333 | 2844 | 489 | -97800 | -0.0978
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989188 | 989370 | -182 | 182000 | 0.182 | 999555 | 999555 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101183 | 101153 | 30 | -3000 | -0.003 | 74870 | 74386 | 484 | -48400 | -0.0484
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 2207 | 2029 | 178 | -17800 | -0.0178 | 358 | 198 | 160 | -16000 | -0.016 | Check Meter Data
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 24894 | 24856 | 38 | -3800 | -0.0038 | 62607 | 62232 | 375 | -37500 | -0.0375
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998691 | 998691 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999572 | 999572 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 446899 | 446895 | 4 | -400 | -0.0004 | 50239 | 49962 | 277 | -27700 | -0.0277
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999352 | 999327 | 25 | -2500 | -0.0025 | 999587 | 999449 | 138 | -13800 | -0.0138
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2434 | 2409 | 25 | -2500 | -0.0025 | 27805 | 27200 | 605 | -60500 | -0.0605
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 522 | 489 | 33 | -43989 | -0.043989 | 437 | 424 | 13 | -17329 | -0.017329
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2801 | 2801 | 0 | 0 | 0 | 1539 | 1539 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 395 | 3 | 392 | -39200 | -0.0392 | 797 | 766 | 31 | -3100 | -0.0031
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 993572 | 994329 | -757 | 302800 | 0.3028 | 999896 | 999896 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998959 | 999211 | -252 | 252000 | 0.252 | 1813 | 1759 | 54 | -54000 | -0.054
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1299 | 1265 | 34 | -25500 | -0.0255 | 2836 | 2800 | 36 | -27000 | -0.027
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.41926 |  |  |  |  | -0.77208
MAY-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -7.838 |  |  |  |  | 3.9604
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.41926 |  |  |  |  | -0.77208
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.74555 |  |  |  |  | 0.27939
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0103 |  |  |  |  | -0.3781
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -6.6835 |  |  |  |  | 3.0896
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.6835 | (REACTIVE MUs) |  |  |  | 3.0896 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.0551 | (REACTIVE MUs) |  |  |  | 0.15822 | (REACTIVE MUs)
[9 empty] | TOTAL | -10.7386 | (REACTIVE MUs) |  |  |  | 3.2478 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2977 | 2983 | -6 | -1600.02 | -0.0016 | 2173 | 2195 | -22 | -5866.74 | -0.0058667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 91049 | 91023 | 26 | 2600 | 0.0026 | 150638 | 149418 | 1220 | 122000 | 0.122
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 994404 | 994425 | -21 | -4200 | -0.0042 | 998746 | 998997 | -251 | -50200 | -0.0502
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 61836 | 61745 | 91 | 18200 | 0.0182 | 130096 | 130044 | 52 | 10400 | 0.0104
[5 empty] | 200 | [5 empty] | 125451 | 124670 | 781 | 156200 | 0.1562
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 686 | 646 | 40 | 32000 | 0.032 | 277 | 61 | 216 | 172800 | 0.1728
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3198 | 3236 | -38 | -30400 | -0.0304 | 644 | 704 | -60 | -48000 | -0.048
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 964524 | 964589 | -65 | -52000 | -0.052 | 985836 | 985957 | -121 | -96800 | -0.0968
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966396 | 966414 | -18 | -14400 | -0.0144 | 985980 | 986445 | -465 | -372000 | -0.372
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 973393 | 973477 | -84 | -67200 | -0.0672 | 992461 | 992663 | -202 | -161600 | -0.1616
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999912 | 999935 | -23 | -46000 | -0.046 | 1000003 | 999999 | 4 | 8000 | 0.008
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 988061 | 988428 | -367 | -18350 | -0.01835 | 19520 | 19424 | 96 | 4800 | 0.0048
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 983133 | 982150 | 983 | 73725 | 0.073725 | 22871 | 22851 | 20 | 1500 | 0.0015
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999670 | 999591 | 79 | 39500 | 0.0395 | 5264 | 5255 | 9 | 4500 | 0.0045
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998960 | 999031 | -71 | -26625 | -0.026625 | 7681 | 7686 | -5 | -1875 | -0.001875
15 | BAY-16 (N BWN) | 4865118 | ELSTER | Kvarh(Lead/Lag) | 100 | 991229 | 991230 | -1 | -100 | -0.0001 | 21496 | 21496 | 0 | 0 | 0 | Check Meter Data upto 07/05
|  | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999901 | 1000000 | -99 | -9900 | -0.0099 | 14 | 0 | 14 | 1400 | 0.0014 | w.e.f 08/05/19
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 6173 | 5211 | 962 | 72150 | 0.07215 | 36880 | 36771 | 109 | 8175 | 0.008175
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 9174 | 8121 | 1053 | 105300 | 0.1053 | 1395 | 1376 | 19 | 1900 | 0.0019
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996626 | 996626 | 0 | 0 | 0 | 102032 | 102130 | -98 | -98000 | -0.098
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996033 | 996033 | 0 | 0 | 0 | 156 | 2 | 154 | 154000 | 0.154
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985788 | 985788 | 0 | 0 | 0 | 144326 | 143900 | 426 | 426000 | 0.426
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999999 | 1000000 | -1 | -2500 | -0.0025 | 117 | 4 | 113 | 282500 | 0.2825
[10 empty] | -0.0025 |  |  |  |  | 0.7645
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997633 | 997614 | 19 | 19000 | 0.019 | 1869 | 1869 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9106 | 9103 | 3 | 480 | 0.00048 | 12133 | 10885 | 1248 | 199680 | 0.19968
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2898 | 2930 | -32 | -6400 | -0.0064 | 3333 | 2844 | 489 | 97800 | 0.0978
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989188 | 989370 | -182 | -182000 | -0.182 | 999555 | 999555 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998691 | 998691 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999572 | 999572 | 0 | 0 | 0
MAY-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998362 | 998405 | -43 | 43000 | 0.043 | 994397 | 994496 | -99 | 99000 | 0.099
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999883 | 999939 | -56 | 56000 | 0.056 | 999930 | 999999 | -69 | 69000 | 0.069
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997623 | 997645 | -22 | 44000 | 0.044 | 998625 | 998656 | -31 | 62000 | 0.062
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999267 | 999300 | -33 | 33000 | 0.033 | 999920 | 999999 | -79 | 79000 | 0.079
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 446899 | 446895 | 4 | 400 | 0.0004 | 50239 | 49962 | 277 | 27700 | 0.0277
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101183 | 101153 | 30 | 3000 | 0.003 | 74870 | 74386 | 484 | 48400 | 0.0484
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 2207 | 2029 | 178 | 17800 | 0.0178 | 358 | 198 | 160 | 16000 | 0.016
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 24894 | 24856 | 38 | 3800 | 0.0038 | 62607 | 62232 | 375 | 37500 | 0.0375
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 20726 | 19045 | 1681 | 168100 | 0.1681 | 3056 | 2180 | 876 | 87600 | 0.0876
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 390883 | 387841 | 3042 | -304200 | -0.3042 | 2136 | 2041 | 95 | -9500 | -0.0095
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5648 | 5592 | 56 | -56000 | -0.056 | 1931 | 1922 | 9 | -9000 | -0.009
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10780 | 10780 | 0 | 0 | 0 | 18539 | 17932 | 607 | -45525 | -0.045525
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5292 | 5292 | 0 | 0 | 0 | 11413 | 10490 | 923 | -92300 | -0.0923
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.08982 |  |  |  |  | 1.1872
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.08982 |  |  |  |  | 1.1872
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.37376 |  |  |  |  | 0.014583
| TOTAL ENERGY TO NDMC | [8 empty] | -0.46358 |  |  |  |  | 1.2018

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3767 | 3764 | 3 | 600 | 0.0006 | 42190 | 39910 | 2280 | 456000 | 0.456
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4465 | 4462 | 3 | 3000 | 0.003 | 52847 | 52507 | 340 | 340000 | 0.34
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 14544 | 14577 | -33 | -13200 | -0.0132
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 79 | 97 | -18 | -14400 | -0.0144 | 322 | 342 | -20 | -16000 | -0.016
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 794 | 688 | 106 | 42400 | 0.0424 | 2879 | 2772 | 107 | 42800 | 0.0428
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994318 | -6 | -1200 | -0.0012 | 4404 | 4089 | 315 | 63000 | 0.063
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1820 | 1821 | -1 | -1000 | -0.001 | 998697 | 998679 | 18 | 18000 | 0.018
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0294 |  |  |  |  | 0.8906
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 64075 | 63972 | 103 | 10300 | 0.0103 | 97193 | 96711 | 482 | 48200 | 0.0482
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78249 | 78249 | 0 | 0 | 0 | 18291 | 18291 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 1 | 1 | 0 | 0 | 0 | 7447 | 4150 | 3297 | 329700 | 0.3297
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6 | 6 | 0 | 0 | 0 | 40 | 40 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1663 | 1663 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4287 | 4285 | 2 | 200 | 0.0002
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0103 |  |  |  |  | 0.3781
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0294 |  |  |  |  | 0.8906
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0397 |  |  |  |  | 1.2687
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0397 | (REACTIVE MUs) |  |  |  | 1.2687 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.058063 | (REACTIVE MUs) |  |  |  | 0.0022655 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.018363 | (REACTIVE MUs) |  |  |  | 1.271 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 994567 | 994714 | -147 | -91875 | -0.091875 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 995401 | 996318 | -917 | -573125 | -0.57312 | 999879 | 999883 | -4 | -2500 | -0.0025
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 993572 | 994329 | -757 | -302800 | -0.3028 | 999896 | 999896 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.9678 |  |  |  |  | -0.0025
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.014807 |  |  |  |  | 0.00057772
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.98261 |  |  |  |  | -0.0019223

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 960462 | 957519 | 2943 | 294300 | 0.2943 | 1990 | 2000 | -10 | -1000 | -0.001
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 71095 | 71930 | -835 | -83500 | -0.0835 | 5708 | 5715 | -7 | -700 | -0.0007
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15156 | 15023 | 133 | 66500 | 0.0665 | 3378 | 2818 | 560 | 280000 | 0.28
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998645 | 998809 | -164 | -153750 | -0.15375 | 103 | 106 | -3 | -2812.5 | -0.0028125
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 995158 | 996402 | -1244 | 622000 | 0.622 | 999987 | 999999 | -12 | 6000 | 0.006
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 74 | 74 | 0 | 0 | 0 | 999893 | 999900 | -7 | -2100 | -0.0021
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.74555 |  |  |  |  | 0.27939
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 980399 | 980505 | -106 | -21200 | -0.0212 | 999799 | 1000176 | -377 | -75400 | -0.0754
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 990912 | 990876 | 36 | 33750 | 0.03375 | 999939 | 999928 | 11 | 10312.5 | 0.010313
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.01255 |  |  |  |  | -0.065088
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1882 | 1889 | -7 | -8750 | -0.00875 | 999970 | 1000069 | -99 | -123750 | -0.12375
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 355454 | 356371 | -917 | -91700 | -0.0917 | 997821 | 999604 | -1783 | -178300 | -0.1783
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 293625 | 295079 | -1454 | -90875 | -0.090875 | 89807 | 94104 | -4297 | -268562.5 | -0.26856
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2638 | 2662 | -24 | -19200 | -0.0192 | 1889 | 1946 | -57 | -45600 | -0.0456
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 965912 | 966471 | -559 | -55900 | -0.0559 | 999164 | 999174 | -10 | -1000 | -0.001
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 995512 | 995929 | -417 | -62550 | -0.06255 | 986667 | 987280 | -613 | -91950 | -0.09195
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997643 | 997685 | -42 | 105000 | 0.105 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 74 | 74 | 0 | 0 | 0 | 999893 | 999900 | -7 | 2100 | 0.0021
| TOTAL NDPL | [8 empty] | -0.22398 |  |  |  |  | -0.70706
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.74555 |  |  |  |  | 0.27939
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.01255 |  |  |  |  | -0.065088
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.22398 |  |  |  |  | -0.70706

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 60213 | 60087 | 126 | 126000 | 0.126 | 999981 | 1000012 | -31 | -31000 | -0.031
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 677 | 677 | 0 | 0 | 0 | 13 | 12 | 1 | 2000 | 0.002 | w..e.f 22/3/19
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 963315 | 964441 | -1126 | 563000 | 0.563 | 999271 | 999276 | -5 | 2500 | 0.0025
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 671579 | 673104 | -1525 | 152500 | 0.1525 | 997178 | 997127 | 51 | -5100 | -0.0051
[7 empty] | NET REACTIVE ENERGY |  |  | 0.126 |  | NET REACTIVE ENERGY |  |  | -0.029
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.126 |  |  |  |  | -0.029
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -8.278 |  |  |  |  | -0.004
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.0824 |  |  |  |  | -0.3711
[7 empty] | NDMC = |  |  | -0.0025 |  |  |  |  | 0.7645
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -9.3629 |  |  |  |  | 0.3894
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -9.237 |  |  |  |  | 0.3604
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.457 | % |  |  | -2.6286 |  |  |  |  | 0.10256
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.9005 | % |  |  | -4.0551 |  |  |  |  | 0.15822
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.8073 | % |  |  | -2.1067 |  |  |  |  | 0.082198
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.0464 | % |  |  | -0.37376 |  |  |  |  | 0.014583
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6286 | % |  |  | -0.058063 |  |  |  |  | 0.0022655
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.1603 | % |  |  | -0.014807 |  |  |  |  | 0.00057772
Note :Sharing taken from wk-10 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2019 TO 31st MAY-2019
FINAL EXECUTIVE SUMMERY
[5 empty] | Reactive Energy for above 103% |  | Reactive Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -13.8884 |  | -0.92442
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -10.7386 | + | 3.2478
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -4.0096 | + | 4.6438
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -0.46358 | + | 1.2018
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.018363 | + | 1.271
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.98261 |  | -0.0019223
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2019 | INTIAL READING 01/05/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 44775 | 42980 | 1795 | 1346250 | 1.3462 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 822229 | 823773 | -1544 | -1158000 | -1.158 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1480 | 1528 | -48 | -240000 | -0.24 | 12861 | 12856 | 5 | 25000 | 0.025
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 878136 | 883337 | -5201 | -5201000 | -5.201
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976191 | 976106 | 85 | 85000 | 0.085 | 836 | 797 | 39 | 39000 | 0.039
[8 empty] | NET REACTIVE ENERGY |  | -0.155 |  |  | NET REACTIVE ENERGY |  | -5.137