## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990619 | 991113 | -494 | 494000 | 0.494 | 999161 | 999168 | -7 | 7000 | 0.007
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994768 | 996091 | -1323 | 1323000 | 1.323 | 998261 | 998261 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4896 | 6660 | -1764 | 1764000 | 1.764 | 996278 | 996281 | -3 | 3000 | 0.003
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974507 | 974508 | -1 | 1000 | 0.001 | 976182 | 976183 | -1 | 1000 | 0.001
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917032 | 917666 | -634 | 634000 | 0.634 | 941048 | 941048 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22913 | 22319 | 594 | -594000 | -0.594 | 17169 | 17169 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13105 | 14607 | -1502 | 1502000 | 1.502 | 13079 | 13079 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 14786 | 15322 | -536 | 670000 | 0.67 | 995453 | 995453 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7571 | 8847 | -1276 | 1276000 | 1.276 | 985257 | 985257 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31560 | 31565 | -5 | 5000 | 0.005 | 9098 | 9098 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993181 | 993983 | -802 | 802000 | 0.802 | 3866 | 3866 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992874 | 993951 | -1077 | 1077000 | 1.077 | 999329 | 999329 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 904418 | 908335 | -3917 | -3917000 | -3.917 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988786 | 990492 | -1706 | 1706000 | 1.706 | 16927 | 16927 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999040 | 999866 | -826 | 826000 | 0.826 | 19649 | 19649 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1992 | 1754 | 238 | -238000 | -0.238 | 999938 | 999938 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999931 | 999765 | 166 | 33200 | 0.0332 | 993127 | 993127 | 0 | 0 | 0
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 584 | 471 | 113 | 113000 | 0.113 | 29294 | 29294 | 0 | 0 | 0
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4282 | 3011 | 1271 | 127100 | 0.1271 | 154884 | 154884 | 0 | 0 | 0
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 14027 | 12728 | 1299 | 129900 | 0.1299 | 229985 | 229985 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996260 | 996148 | 112 | 112000 | 0.112 | 3919 | 3919 | 0 | 0 | 0
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 278 | 148 | 130 | 130000 | 0.13 | 8123 | 8123 | 0 | 0 | 0
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640872 | 641976 | -1104 | -1104000 | -1.104 | 798972 | 798972 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648668 | 649770 | -1102 | -1102000 | -1.102 | 832151 | 832151 | 0 | 0 | 0
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 1615 | 1191 | 424 | 169600 | 0.1696 | 0 | 0 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2525 | 2297 | 228 | 114000 | 0.114 | 2062 | 2061 | 1 | 500 | 0.0005
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15570 | 15441 | 129 | -129000 | -0.129 | 981874 | 981888 | -14 | 14000 | 0.014
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5865 | 5530 | 335 | -335000 | -0.335 | 999830 | 999834 | -4 | 4000 | 0.004
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995476 | 994320 | 1156 | -1156000 | -1.156 | 925828 | 925828 | 0 | 0 | 0
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3265 | 2837 | 428 | -428000 | -0.428 | 999894 | 999894 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55511 | 53116 | 2395 | -2395000 | -2.395 | 999942 | 999943 | -1 | 1000 | 0.001
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 298 | 296 | 2 | -2000 | -0.002 | 999999 | 999999 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2399 | 1488 | 911 | -911000 | -0.911 | 0 | 0 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
34 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1720 | 1685 | 35 | 35000 | 0.035 | 21118 | 21111 | 7 | 7000 | 0.007
35 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 175 | 154 | 21 | 21000 | 0.021 | 2024 | 2015 | 9 | 9000 | 0.009
| NDPL(+) continue | [14 empty] | MARCH-2014
DMS
36 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1134 | 1171 | -37 | -37000 | -0.037 | 60903 | 60903 | 0 | 0 | 0
REWARI LINE
37 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 1863 | 1273 | 590 | 59000 | 0.059 | 79201 | 78585 | 616 | 61600 | 0.0616
VISHAL
38 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9489 | 9510 | -21 | -2100 | -0.0021 | 29149 | 29251 | -102 | -10200 | -0.0102
39 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10626 | 10534 | 92 | 9200 | 0.0092 | 52431 | 51614 | 817 | 81700 | 0.0817
40 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16251 | 16141 | 110 | 11000 | 0.011 | 55049 | 54447 | 602 | 60200 | 0.0602
S.B.MILL
41 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 42990 | 42929 | 61 | 6100 | 0.0061 | 18107 | 17605 | 502 | 50200 | 0.0502
42 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
43 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
44 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17346 | 17337 | 9 | 900 | 0.0009 | 16232 | 15736 | 496 | 49600 | 0.0496
47 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998341 | 998395 | -54 | -2399.76 | -0.0023998 | 262 | 362 | -100 | -4444 | -0.004444
B.G.ROAD
48 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5620 | 5575 | 45 | 22500 | 0.0225 | 28869 | 28844 | 25 | 12500 | 0.0125
49 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3772 | 3702 | 70 | 35000 | 0.035 | 26708 | 26686 | 22 | 11000 | 0.011
50 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 5620 | 5488 | 132 | 66000 | 0.066 | 14551 | 14551 | 0 | 0 | 0
51 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 821 | 737 | 84 | 56000 | 0.056 | 554 | 554 | 0 | 0 | 0
D.M.S.
52 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 993133 | 993250 | -117 | -11700 | -0.0117 | 5897 | 5897 | 0 | 0 | 0
53 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7822 | 7863 | -41 | -4100 | -0.0041 | 15336 | 15336 | 0 | 0 | 0
54 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23350 | 23404 | -54 | -5400 | -0.0054 | 54105 | 54106 | -1 | -100 | -0.0001
55 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4482 | 4548 | -66 | -6600 | -0.0066 | 999972 | 999973 | -1 | -100 | -0.0001
56 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998651 | 998706 | -55 | -5500 | -0.0055 | 131 | 131 | 0 | 0 | 0
57 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 19532 | 18674 | 858 | 85800 | 0.0858 | 71879 | 71879 | 0 | 0 | 0
59 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 14977 | 14394 | 583 | 58300 | 0.0583 | 62674 | 62674 | 0 | 0 | 0
60 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 1751 | 773 | 978 | 97800 | 0.0978 | 999953 | 999953 | 0 | 0 | 0
KASHMIRI GATE
61 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 147444 | 144734 | 2710 | 271000 | 0.271 | 23977 | 23969 | 8 | 800 | 0.0008
62 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21503 | 21307 | 196 | 19600 | 0.0196 | 41340 | 41336 | 4 | 400 | 0.0004
63 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 42 | 36 | 6 | -2400 | -0.0024
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999261 | 999261 | 0 | 0 | 0 | 999397 | 999402 | -5 | -500 | -0.0005
Mundka
66 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 344 | 344 | 0 | 0 | 0
67 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 989759 | 989949 | -190 | -152000 | -0.152 | 999987 | 999987 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 1.3252 |  |  |  |  | 0.35676
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 16308 | 15631 | 677 | -67700 | -0.0677 | 14316 | 14314 | 2 | -200 | -0.0002
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10353 | 9859 | 494 | -494000 | -0.494 | 7078 | 7077 | 1 | -1000 | -0.001
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4278 | 4113 | 165 | -33000 | -0.033 | 11899 | 11897 | 2 | -400 | -0.0004
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15698 | 15441 | 257 | -257000 | -0.257 | 31691 | 31690 | 1 | -1000 | -0.001
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 10890 | 11065 | -175 | 17500 | 0.0175 | 61478 | 61482 | -4 | 400 | 0.0004
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944880 | 945566 | -686 | 686000 | 0.686 | 992454 | 992454 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.1482 |  |  |  |  | -0.0022
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 1.3252 |  |  |  |  | 0.35676
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.1482 |  |  |  |  | -0.0022
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.3111 |  |  |  |  | -0.0596
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 2.4881 |  |  |  |  | 0.29496
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.4881 | (REACTIVE MUs) |  |  |  | 0.29496 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.12868 | (REACTIVE MUs) |  |  |  | -2.3033 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.6168 | (REACTIVE MUs) |  |  |  | -2.0084 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 993185 | 993311 | -126 | -12600 | -0.0126 | 71700 | 71681 | 19 | 1900 | 0.0019
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0056 |  |  |  |  | -0.0017 | Metering not in order
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 20132 | 19919 | 213 | 21300 | 0.0213 | 24118 | 24053 | 65 | 6500 | 0.0065
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2445 | 2800 | -355 | -35500 | -0.0355 | 4496 | 4557 | -61 | -6100 | -0.0061
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0005 |  |  |  |  | 0.2978 | Metering not in order
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0058 |  |  |  |  | -0.07 | Metering not in order
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994466 | 994834 | -368 | -368000 | -0.368 | 835 | 835 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998782 | 998980 | -198 | -198000 | -0.198 | 1942 | 1942 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 689 | 761 | -72 | -72000 | -0.072 | 1326 | 1326 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998799 | 999093 | -294 | -294000 | -0.294 | 2737 | 2737 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999093 | 999083 | 10 | 10000 | 0.01 | 4093 | 4093 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 489 | 480 | 9 | 9000 | 0.009 | 1075 | 1075 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999999 | 999998 | 1 | 1000 | 0.001 | 16514 | 16514 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1633 | 1288 | 345 | 345000 | 0.345 | 37111 | 37106 | 5 | 5000 | 0.005
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 236 | 218 | 18 | 18000 | 0.018 | 24687 | 24601 | 86 | 86000 | 0.086
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1342 | 1257 | 85 | 85000 | 0.085 | 8377 | 8377 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 5039 | 3830 | 1209 | 120900 | 0.1209 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998537 | 998096 | 441 | 441000 | 0.441 | 12609 | 12594 | 15 | 15000 | 0.015
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 742846 | 746547 | -3701 | -4071100 | -4.0711
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 783953 | 788281 | -4328 | -4760800 | -4.7608
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987043 | 987454 | -411 | -411000 | -0.411 | 9051 | 9051 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.3131 |  |  |  |  | -8.7259
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958665 | 959297 | -632 | 632000 | 0.632 | 966180 | 966186 | -6 | 6000 | 0.006
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969628 | 970735 | -1107 | 1107000 | 1.107 | 962270 | 962279 | -9 | 9000 | 0.009
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 119 | 75 | 44 | 44000 | 0.044 | 3528 | 3528 | 0 | 0 | 0
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43338 | 41506 | 1832 | -1832000 | -1.832 | 972934 | 972937 | -3 | 3000 | 0.003
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23062 | 21278 | 1784 | -1784000 | -1.784 | 967891 | 967896 | -5 | 5000 | 0.005
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995828 | 996350 | -522 | 522000 | 0.522 | 996407 | 996407 | 0 | 0 | 0
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976452 | 978119 | -1667 | 1667000 | 1.667 | 992295 | 992295 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4278 | 4113 | 165 | 33000 | 0.033 | 11899 | 11897 | 2 | 400 | 0.0004
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15698 | 15441 | 257 | 257000 | 0.257 | 31691 | 31690 | 1 | 1000 | 0.001
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 107106 | 108594 | -1488 | -148800 | -0.1488 | 1617 | 1617 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 116381 | 112037 | 4344 | 434400 | 0.4344 | 2383 | 2383 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.5808 |  |  |  |  | -8.4731
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.5808 |  |  |  |  | -8.4731
MARCH-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991697 | 992590 | -893 | 893000 | 0.893 | 917632 | 917740 | -108 | 108000 | 0.108
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12493 | 13050 | -557 | 557000 | 0.557 | 937367 | 937494 | -127 | 127000 | 0.127
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992909 | 993984 | -1075 | 1075000 | 1.075 | 981723 | 981810 | -87 | 87000 | 0.087
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 904934 | 908195 | -3261 | 3261000 | 3.261 | 992037 | 992037 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 893984 | 897306 | -3322 | 3322000 | 3.322 | 990458 | 990458 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4636 | 4358 | 278 | -278000 | -0.278 | 992161 | 992173 | -12 | 12000 | 0.012
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999797 | 999655 | 142 | -284000 | -0.284 | 985421 | 985557 | -136 | 272000 | 0.272
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999467 | 999731 | -264 | 264000 | 0.264 | 963166 | 963216 | -50 | 50000 | 0.05
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97 | 2339 | -2242 | 2242000 | 2.242 | 914392 | 914413 | -21 | 21000 | 0.021
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961878 | 962105 | -227 | 227000 | 0.227 | 870704 | 870742 | -38 | 38000 | 0.038
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20742 | 22069 | -1327 | 1327000 | 1.327 | 34069 | 34069 | 0 | 0 | 0
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21860 | 22166 | -306 | 306000 | 0.306 | 43763 | 43763 | 0 | 0 | 0
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 12.912 |  |  |  |  | 0.715
| (B) NET ENERGY TO EAST | [8 empty] | 12.912 |  |  |  |  | 0.715
MARCH-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 1615 | 1191 | 424 | -169600 | -0.1696 | 0 | 0 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2525 | 2297 | 228 | -114000 | -0.114 | 2062 | 2061 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 45022 | 44051 | 971 | -194200 | -0.1942 | 72228 | 72228 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865147 | ELSTER | Kvarh(Lead/Lag) | -100 | 4363 | 4227 | 136 | -13600 | -0.0136 | 11374 | 11374 | 0 | 0 | 0 | Check Meter
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 981340 | 982202 | -862 | 172400 | 0.1724 | 1910 | 1910 | 0 | 0 | 0
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 73647 | 71928 | 1719 | -343800 | -0.3438 | 88803 | 88803 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 7015 | 6444 | 571 | -456800 | -0.4568 | 1140 | 1140 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13748 | 13745 | 3 | -6000 | -0.006 | 925 | 925 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983209 | 983523 | -314 | 251200 | 0.2512 | 993040 | 993044 | -4 | 3200 | 0.0032
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 987900 | 988942 | -1042 | 833600 | 0.8336 | 994924 | 994937 | -13 | 10400 | 0.0104
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 994027 | 994557 | -530 | 424000 | 0.424 | 997661 | 997805 | -144 | 115200 | 0.1152
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992640 | 993158 | -518 | 518000 | 0.518 | 37398 | 37398 | 0 | 0 | 0
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993259 | 993595 | -336 | 447998.88 | 0.448 | 999560 | 999560 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1720 | 1685 | 35 | -35000 | -0.035 | 21118 | 21111 | 7 | -7000 | -0.007
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 175 | 154 | 21 | -21000 | -0.021 | 2024 | 2015 | 9 | -9000 | -0.009
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1134 | 1171 | -37 | 37000 | 0.037 | 60903 | 60903 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5620 | 5575 | 45 | -22500 | -0.0225 | 28869 | 28844 | 25 | -12500 | -0.0125
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3772 | 3702 | 70 | -35000 | -0.035 | 26708 | 26686 | 22 | -11000 | -0.011
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 5620 | 5488 | 132 | -66000 | -0.066 | 14551 | 14551 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 821 | 737 | 84 | -56000 | -0.056 | 554 | 554 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 147444 | 144734 | 2710 | -271000 | -0.271 | 23977 | 23969 | 8 | -800 | -0.0008
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21503 | 21307 | 196 | -19600 | -0.0196 | 41340 | 41336 | 4 | -400 | -0.0004
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 993133 | 993250 | -117 | 11700 | 0.0117 | 5897 | 5897 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7822 | 7863 | -41 | 4100 | 0.0041 | 15336 | 15336 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23350 | 23404 | -54 | 5400 | 0.0054 | 54105 | 54106 | -1 | 100 | 0.0001
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4482 | 4548 | -66 | 6600 | 0.0066 | 999972 | 999973 | -1 | 100 | 0.0001
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998651 | 998706 | -55 | 5500 | 0.0055 | 131 | 131 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 19532 | 18674 | 858 | -85800 | -0.0858 | 71879 | 71879 | 0 | 0 | 0
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 14977 | 14394 | 583 | -58300 | -0.0583 | 62674 | 62674 | 0 | 0 | 0
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 1751 | 773 | 978 | -97800 | -0.0978 | 999953 | 999953 | 0 | 0 | 0
[10 empty] | 0.6515 |  |  |  |  | 0.0878
MARCH-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.5808 |  |  |  |  | -8.4731
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.6515 |  |  |  |  | 0.0878
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.726 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.5063 |  |  |  |  | -8.3853
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 12.912 |  |  |  |  | 0.715
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 13.4183 |  |  |  |  | -7.6703
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 13.4183 | (REACTIVE MUs) |  |  |  | -7.6703 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.097103 | (REACTIVE MUs) |  |  |  | -1.7381 | (REACTIVE MUs)
[9 empty] | TOTAL | 13.5154 | (REACTIVE MUs) |  |  |  | -9.4084 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997963 | 997963 | 0 | 0 | 0 | 8801 | 8801 | 0 | 0 | 0
|  | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 |  |  |  |  | -0.168 |  |  |  |  | -0.24 | Metering not in order
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986211 | 986381 | -170 | -226666.1 | -0.22667 | 673930 | 673937 | -7 | -9333.31 | -0.0093333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  |  |  | 0.052 |  |  |  |  | 0.078 | Metering not in order
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12262 | 12153 | 109 | 109000 | 0.109 | 999584 | 999582 | 2 | 2000 | 0.002
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0179 |  |  |  |  | 0.1758 | Metering not in order
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 751656 | 756967 | -5311 | -398325 | -0.39832 | 49382 | 49488 | -106 | -7950 | -0.00795
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0087 |  |  |  |  | -0.0269 | Metering not in order
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 |  |  |  |  | -0.0054 |  |  |  |  | -0.1071 | Metering not in order
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990332 | 990249 | 83 | -83000 | -0.083 | 945977 | 946018 | -41 | 41000 | 0.041
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987687 | 987611 | 76 | -76000 | -0.076 | 951056 | 951098 | -42 | 42000 | 0.042
12 | Tx.3 | 4864998 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976951 | 977023 | -72 | 72000 | 0.072 | 933407 | 933424 | -17 | 17000 | 0.017 | Check Meter (from 10/3/14)
|  | 4864998 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  |  |  | 0.036 |  |  |  |  | 0.0085 | Assessment
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992477 | 992594 | -117 | 117000 | 0.117 | 950274 | 950353 | -79 | 79000 | 0.079
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988757 | 990806 | -2049 | 2049000 | 2.049 | 980399 | 980399 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24334 | 22935 | 1399 | -1399000 | -1.399 | 985422 | 985422 | 0 | 0 | 0
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21928 | 15892 | 6036 | -6036000 | -6.036 | 2 | 2 | 0 | 0 | 0
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 610 | 1605 | -995 | 995000 | 0.995 | 999450 | 999460 | -10 | 10000 | 0.01
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5139 | 6783 | -1644 | 1644000 | 1.644 | 1656 | 1678 | -22 | 22000 | 0.022
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22294 | 23862 | -1568 | 1568000 | 1.568 | 6211 | 6222 | -11 | 11000 | 0.011
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 902 | 755 | 147 | -147000 | -0.147 | 999931 | 999942 | -11 | 11000 | 0.011
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10353 | 9859 | 494 | 494000 | 0.494 | 7078 | 7077 | 1 | 1000 | 0.001
LODHI ROAD
22 | Tx.1 | 4864923 | ELSTER | Kvarh(Lead/Lag) | -1000 | 905470 | 908534 | -3064 | 3064000 | 3.064 | 895688 | 895688 | 0 | 0 | 0 | Check Meter
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954643 | 955837 | -1194 | 1194000 | 1.194 | 857225 | 857225 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999835 | 1000088 | -253 | 253000 | 0.253 | 971451 | 971451 | 0 | 0 | 0
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996472 | 997473 | -1001 | 1001000 | 1.001 | 954501 | 954502 | -1 | 1000 | 0.001
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864833 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998799 | 999093 | -294 | 294000 | 0.294 | 2737 | 2737 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998954 | 998499 | 455 | -455000 | -0.455 | 889783 | 889783 | 0 | 0 | 0
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997633 | 997287 | 346 | -346000 | -0.346 | 869024 | 869024 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | MARCH-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995533 | 995564 | -31 | 31000 | 0.031 | 972433 | 972485 | -52 | 52000 | 0.052
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997420 | 997406 | 14 | -14000 | -0.014 | 988288 | 988503 | -215 | 215000 | 0.215
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996748 | 996597 | 151 | -302000 | -0.302 | 970064 | 970064 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995545 | 996249 | -704 | 704000 | 0.704 | 915152 | 915155 | -3 | 3000 | 0.003
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995210 | 995214 | -4 | 4000 | 0.004 | 928164 | 928164 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999183 | 999904 | -721 | 721000 | 0.721 | 999903 | 999905 | -2 | 2000 | 0.002
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990828 | 992545 | -1717 | 1717000 | 1.717 | 999920 | 999920 | 0 | 0 | 0
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 981084 | 984607 | -3523 | 2348664.318 | 2.3487 | 984337 | 984337 | 0 | 0 | 0
38 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 974283 | 973607 | 676 | -450666.216 | -0.45067 | 971784 | 971784 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2192 | 1950 | 242 | -484000 | -0.484 | 1524 | 1524 | 0 | 0 | 0
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999175 | 998910 | 265 | -530000 | -0.53 | 664 | 664 | 0 | 0 | 0
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940839 | 943043 | -2204 | 2204000 | 2.204 | 995774 | 995781 | -7 | 7000 | 0.007
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951210 | 954052 | -2842 | 2842000 | 2.842 | 996014 | 996014 | 0 | 0 | 0
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994033 | 994101 | -68 | -54400 | -0.0544 | 1447 | 1447 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 21842 | 21674 | 168 | 134400 | 0.1344 | 1045 | 1045 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 938028 | 943961 | -5933 | -4746400 | -4.7464 | 999692 | 999692 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992640 | 993158 | -518 | -518000 | -0.518 | 37398 | 37398 | 0 | 0 | 0
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993259 | 993595 | -336 | -447998.88 | -0.448 | 999560 | 999560 | 0 | 0 | 0
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15368 | 13314 | 2054 | -2054000 | -2.054 | 975086 | 975086 | 0 | 0 | 0
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9600 | 8016 | 1584 | -1584000 | -1.584 | 989739 | 989739 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 16308 | 15631 | 677 | 67700 | 0.0677 | 14316 | 14314 | 2 | 200 | 0.0002
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 10890 | 11065 | -175 | -17500 | -0.0175 | 61478 | 61482 | -4 | -400 | -0.0004
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 944880 | 945566 | -686 | -686000 | -0.686 | 992454 | 992454 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1198 | 1198 | 0 | 0 | 0 | 9910 | 9910 | 0 | 0 | 0
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9792 | 9837 | -45 | -4500 | -0.0045 | 21843 | 21843 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.4911 |  |  |  |  | 0.38682
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 898346 | 895931 | 2415 | -241500 | -0.2415
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 107106 | 108594 | -1488 | 148800 | 0.1488 | 1617 | 1617 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 116381 | 112037 | 4344 | -434400 | -0.4344 | 2383 | 2383 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996387 | 996590 | -203 | 20300 | 0.0203 | 999978 | 999978 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996684 | 996706 | -22 | 2200 | 0.0022 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1472 | 1236 | 236 | -472000 | -0.472 | 73243 | 73243 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9017 | 8803 | 214 | -214000 | -0.214 | 81 | 81 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 900353 | 898181 | 2172 | -1086000 | -1.086 | 54462 | 54462 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 64395 | 63299 | 1096 | -109600 | -0.1096 | 58841 | 58841 | 0 | 0 | 0
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 61650 | 58417 | 3233 | -323300 | -0.3233 | 56909 | 56909 | 0 | 0 | 0
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85646 | 85721 | -75 | 15000 | 0.015 | 112978 | 112978 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 633 | 931 | -298 | -149000 | -0.149 | 17870 | 17870 | 0 | 0 | 0
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3462 | 3500 | -38 | -3166.6667 | -0.0031667 | 979490 | 979525 | -35 | -2916.6667 | -0.0029167
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 989676 | 989710 | -34 | -5666.6667 | -0.0056667 | 993688 | 993688 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 300724 | 298503 | 2221 | -222100 | -0.2221 | 44675 | 44675 | 0 | 0 | 0
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3912 | 3992 | -80 | 8000 | 0.008 | 18497 | 18470 | 27 | -2700 | -0.0027
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 1863 | 1273 | 590 | -59000 | -0.059 | 79201 | 78585 | 616 | -61600 | -0.0616
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9489 | 9510 | -21 | 2100 | 0.0021 | 29149 | 29251 | -102 | 10200 | 0.0102
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10626 | 10534 | 92 | -9200 | -0.0092 | 52431 | 51614 | 817 | -81700 | -0.0817
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16251 | 16141 | 110 | -11000 | -0.011 | 55049 | 54447 | 602 | -60200 | -0.0602
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 42990 | 42929 | 61 | -6100 | -0.0061 | 18107 | 17605 | 502 | -50200 | -0.0502
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17346 | 17337 | 9 | -900 | -0.0009 | 16232 | 15736 | 496 | -49600 | -0.0496
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998341 | 998395 | -54 | 2399.76 | 0.0023998 | 262 | 362 | -100 | 4444 | 0.004444
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 42 | 36 | 6 | 2400 | 0.0024
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999261 | 999261 | 0 | 0 | 0 | 999397 | 999402 | -5 | 500 | 0.0005
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.9066 |  |  |  |  | -0.53287
MARCH-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.4911 |  |  |  |  | 0.38682
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.9066 |  |  |  |  | -0.53287
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.73454 |  |  |  |  | 0.5077
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2122 |  |  |  |  | -0.0478
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 0.10681 |  |  |  |  | 0.31384
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.10681 | (REACTIVE MUs) |  |  |  | 0.31384 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.16756 | (REACTIVE MUs) |  |  |  | -2.9992 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.27437 | (REACTIVE MUs) |  |  |  | -2.6853 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 45022 | 44051 | 971 | 194200 | 0.1942 | 72228 | 72228 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865147 | ELSTER | Kvarh(Lead/Lag) | 100 | 4363 | 4227 | 136 | 13600 | 0.0136 | 11374 | 11374 | 0 | 0 | 0 | Check Meter
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 981340 | 982202 | -862 | -172400 | -0.1724 | 1910 | 1910 | 0 | 0 | 0
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 73647 | 71928 | 1719 | 343800 | 0.3438 | 88803 | 88803 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 7015 | 6444 | 571 | 456800 | 0.4568 | 1140 | 1140 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13748 | 13745 | 3 | 6000 | 0.006 | 925 | 925 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983209 | 983523 | -314 | -251200 | -0.2512 | 993040 | 993044 | -4 | -3200 | -0.0032
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 987900 | 988942 | -1042 | -833600 | -0.8336 | 994924 | 994937 | -13 | -10400 | -0.0104
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 994027 | 994557 | -530 | -424000 | -0.424 | 997661 | 997805 | -144 | -115200 | -0.1152
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0027 |  |  |  |  | 0.4049 | Metering not in order
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.7396 | Metering not in order
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0078 |  |  |  |  | 0.1386 | Metering not in order
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.3322 | Metering not in order
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999881 | 999881 | 0 | 0 | 0 | 175798 | 175798 | 0 | 0 | 0
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259759 | 259759 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51073 | 0 | 0 | 0 | 704427 | 704427 | 0 | 0 | 0
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 75439 | 75156 | 283 | 311300 | 0.3113
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2419 | 2597 | -178 | -178000 | -0.178 | 37836 | 37835 | 1 | 1000 | 0.001
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146061 | 145226 | 835 | 918500 | 0.9185
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6948 | 7508 | -560 | -560000 | -0.56 | 53177 | 53177 | 0 | 0 | 0
[10 empty] | -0.738 |  |  |  |  | 1.2308
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1472 | 1236 | 236 | 472000 | 0.472 | 73243 | 73243 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9017 | 8803 | 214 | 214000 | 0.214 | 81 | 81 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 900353 | 898181 | 2172 | 1086000 | 1.086 | 54462 | 54462 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 633 | 931 | -298 | 149000 | 0.149 | 17870 | 17870 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3462 | 3500 | -38 | 3166.6667 | 0.0031667 | 979490 | 979525 | -35 | 2916.6667 | 0.0029167
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 989676 | 989710 | -34 | 5666.6667 | 0.0056667 | 993688 | 993688 | 0 | 0 | 0
MARCH-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983045 | 983564 | -519 | 519000 | 0.519 | 991057 | 991067 | -10 | 10000 | 0.01
27 | 33KV TX-1 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | wef 11/3/14
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983050 | 985980 | -2930 | 2930000 | 2.93 | 990826 | 990826 | 0 | 0 | 0
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996565 | 996576 | -11 | 11000 | 0.011 | 29 | 29 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 300724 | 298503 | 2221 | 222100 | 0.2221 | 44675 | 44675 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3912 | 3992 | -80 | -8000 | -0.008 | 18497 | 18470 | 27 | 2700 | 0.0027
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 64395 | 63299 | 1096 | 109600 | 0.1096 | 58841 | 58841 | 0 | 0 | 0
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 61650 | 58417 | 3233 | 323300 | 0.3233 | 56909 | 56909 | 0 | 0 | 0
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85646 | 85721 | -75 | -15000 | -0.015 | 112978 | 112978 | 0 | 0 | 0
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 898346 | 895931 | 2415 | 241500 | 0.2415
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1198 | 1198 | 0 | 0 | 0 | 9910 | 9910 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9792 | 9837 | -45 | 4500 | 0.0045 | 21843 | 21843 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.6164 |  |  |  |  | 2.9744
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.6164 |  |  |  |  | 2.9744
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.021127 |  |  |  |  | -0.37817
| TOTAL ENERGY TO NDMC | [8 empty] | 4.6376 |  |  |  |  | 2.5962

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1345 | 1256 | 89 | 89000 | 0.089 | 23364 | 23356 | 8 | 8000 | 0.008
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 961 | 861 | 100 | 100000 | 0.1 | 26015 | 26013 | 2 | 2000 | 0.002
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2267 | 2043 | 224 | 224000 | 0.224 | 33915 | 33914 | 1 | 1000 | 0.001
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 884 | 895 | -11 | -11000 | -0.011 | 18327 | 18327 | 0 | 0 | 0
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4158 | 4097 | 61 | 61000 | 0.061 | 10176 | 10176 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11253 | 10732 | 521 | 260500 | 0.2605 | 58531 | 58531 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996387 | 996590 | -203 | -20300 | -0.0203 | 999978 | 999978 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996684 | 996706 | -22 | -2200 | -0.0022 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.701 |  |  |  |  | 0.011
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 46546 | 46203 | 343 | 34300 | 0.0343 | 71987 | 71876 | 111 | 11100 | 0.0111
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73647 | 73183 | 464 | 46400 | 0.0464 | 11135 | 11074 | 61 | 6100 | 0.0061
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 45612 | 44502 | 1110 | 111000 | 0.111 | 60137 | 60043 | 94 | 9400 | 0.0094
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84333 | 84128 | 205 | 20500 | 0.0205 | 58337 | 58125 | 212 | 21200 | 0.0212
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 6787 | 6377 | 410 | 41000 | 0.041 | 1839 | 1835 | 4 | 400 | 0.0004
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2122 |  |  |  |  | 0.0478
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2122 |  |  |  |  | 0.0478
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.701 |  |  |  |  | 0.011
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.9132 |  |  |  |  | 0.0588
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.9132 | (REACTIVE MUs) |  |  |  | 0.0588 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0044324 | (REACTIVE MUs) |  |  |  | -0.079337 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.91763 | (REACTIVE MUs) |  |  |  | -0.020537 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 36454 | 37851 | -1397 | -139700 | -0.1397 | 79282 | 79281 | 1 | 100 | 0.0001
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000478 | 999679 | 799 | 79900 | 0.0799 | 999112 | 999109 | 3 | 300 | 0.0003
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 252229 | 247580 | 4649 | 464900 | 0.4649 | 98388 | 98385 | 3 | 300 | 0.0003
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 31779 | 31498 | 281 | 263437.5 | 0.26344 | 18491 | 18491 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985230 | 985314 | -84 | 42000 | 0.042 | 924519 | 925011 | -492 | 246000 | 0.246
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989218 | 989266 | -48 | 24000 | 0.024 | 979627 | 980149 | -522 | 261000 | 0.261
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.73454 |  |  |  |  | 0.5077
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 929033 | 930304 | -1271 | -254200 | -0.2542 | 991747 | 991747 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 982710 | 985069 | -2359 | -471800 | -0.4718 | 118 | 118 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.726 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 236337 | 234625 | 1712 | 342400 | 0.3424 | 263938 | 263938 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 110542 | 108243 | 2299 | 459800 | 0.4598 | 41545 | 41544 | 1 | 200 | 0.0002
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 181308 | 176767 | 4541 | 454100 | 0.4541 | 72480 | 72478 | 2 | 200 | 0.0002
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990335 | 990271 | 64 | 64000 | 0.064 | 998420 | 998420 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 963158 | 964075 | -917 | -91700 | -0.0917 | 7127 | 7127 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999182 | 999208 | -26 | -24375 | -0.024375 | 999702 | 999766 | -64 | -60000 | -0.06
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 986407 | 986578 | -171 | 106875 | 0.10687 | 995537 | 995537 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.3111 |  |  |  |  | -0.0596
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.73454 |  |  |  |  | 0.5077
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.726 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.3111 |  |  |  |  | -0.0596

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 4514 | 3029 | 1485 | 2970000 | 2.97 | 414 | 414 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 15254 | 14885 | 369 | 738000 | 0.738 | 2252 | 2251 | 1 | 2000 | 0.002
[7 empty] | NET REACTIVE ENERGY |  |  | 3.708 |  | NET REACTIVE ENERGY |  |  | 0.002
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992650 | 993531 | -881 | -881000 | -0.881 | 39607 | 39612 | -5 | -5000 | -0.005
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995916 | 997273 | -1357 | -1357000 | -1.357 | 994062 | 994062 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | -2.238 |  | NET REACTIVE ENERGY |  |  | -0.005
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.47 |  |  |  |  | -0.003
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.3131 |  |  |  |  | -8.7259
[7 empty] | NDMC = |  |  | -0.738 |  |  |  |  | 1.2308
MES =
[7 empty] | 2)TOTAL |  |  | -1.0511 |  |  |  |  | -7.4951
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.4189 |  |  |  |  | -7.4981
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.7189 | % |  |  | 0.12868 |  |  |  |  | -2.3033
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.9991 | % |  |  | 0.16756 |  |  |  |  | -2.9992
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.1804 | % |  |  | 0.097103 |  |  |  |  | -1.7381
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0435 | % |  |  | 0.021127 |  |  |  |  | -0.37817
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0581 | % |  |  | 0.0044324 |  |  |  |  | -0.079337
Note :Sharing taken from wk-48 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2014 TO 31st MARCH-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 2.6168 |  | -2.0084
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 0.27437 |  | -2.6853
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 13.5154 |  | -9.4084
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.6376 | + | 2.5962
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.91763 |  | -0.020537
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/04/2014 | INTIAL READING 01/03/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 954117 | 956213 | -2096 | -3144000 | -3.144 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 996072 | 997004 | -932 | -1398000 | -1.398 | 995977 | 995977 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 905765 | 907613 | -1848 | -2772000 | -2.772 | 966279 | 966279 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -7.314 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997877 | 997877 | 0 | 0 | 0 | 31005 | 31009 | -4 | -20000 | -0.02
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999688 | 999714 | -26 | -26000 | -0.026 | 2905 | 2936 | -31 | -31000 | -0.031
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974400 | 973904 | 496 | 496000 | 0.496 | 990272 | 990268 | 4 | 4000 | 0.004
[8 empty] | NET REACTIVE ENERGY |  | 0.47 |  |  | NET REACTIVE ENERGY |  | -0.047