## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991113 | 992186 | -1073 | 1073000 | 1.073 | 999168 | 999254 | -86 | 86000 | 0.086
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996091 | 997085 | -994 | 994000 | 0.994 | 998261 | 998261 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6660 | 7991 | -1331 | 1331000 | 1.331 | 996281 | 996281 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974508 | 974487 | 21 | -21000 | -0.021 | 976183 | 976183 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917666 | 918117 | -451 | 451000 | 0.451 | 941048 | 941048 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22319 | 21437 | 882 | -882000 | -0.882 | 17169 | 17169 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14607 | 15798 | -1191 | 1191000 | 1.191 | 13079 | 13079 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 15322 | 15442 | -120 | 150000 | 0.15 | 995453 | 995453 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8847 | 9606 | -759 | 759000 | 0.759 | 985257 | 985257 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31565 | 31385 | 180 | -180000 | -0.18 | 9098 | 9098 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993983 | 994424 | -441 | 441000 | 0.441 | 3866 | 3866 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993951 | 994658 | -707 | 707000 | 0.707 | 999329 | 999329 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 908335 | 912008 | -3673 | -3673000 | -3.673 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990492 | 991733 | -1241 | 1241000 | 1.241 | 16927 | 16927 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999866 | 1000283 | -417 | 417000 | 0.417 | 19649 | 19649 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1754 | 1378 | 376 | -376000 | -0.376 | 999938 | 999938 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999765 | 999755 | 10 | 2000 | 0.002 | 993127 | 993113 | 14 | 2800 | 0.0028
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 471 | 415 | 56 | 56000 | 0.056 | 29294 | 29293 | 1 | 1000 | 0.001
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 3011 | 2848 | 163 | 16300 | 0.0163 | 154884 | 154882 | 2 | 200 | 0.0002
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 12728 | 11028 | 1700 | 170000 | 0.17 | 229985 | 229926 | 59 | 5900 | 0.0059
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996148 | 996148 | 0 | 0 | 0 | 3919 | 3929 | -10 | -10000 | -0.01
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 148 | 112 | 36 | 36000 | 0.036 | 8123 | 8141 | -18 | -18000 | -0.018
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 641976 | 643596 | -1620 | -1620000 | -1.62 | 798972 | 798972 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 649770 | 650416 | -646 | -646000 | -0.646 | 832151 | 832151 | 0 | 0 | 0
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 1191 | 829 | 362 | 144800 | 0.1448 | 0 | 0 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2297 | 2064 | 233 | 116500 | 0.1165 | 2061 | 2061 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15441 | 15123 | 318 | -318000 | -0.318 | 981888 | 981888 | 0 | 0 | 0
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5530 | 4459 | 1071 | -1071000 | -1.071 | 999834 | 999834 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994320 | 994012 | 308 | -308000 | -0.308 | 925828 | 925828 | 0 | 0 | 0
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2837 | 2495 | 342 | -342000 | -0.342 | 999894 | 999894 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53116 | 51186 | 1930 | -1930000 | -1.93 | 999943 | 999944 | -1 | 1000 | 0.001
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 296 | 296 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1488 | 382 | 1106 | -1106000 | -1.106 | 0 | 0 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
34 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1685 | 1649 | 36 | 36000 | 0.036 | 21111 | 21111 | 0 | 0 | 0
35 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 154 | 176 | -22 | -22000 | -0.022 | 2015 | 2015 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | FEBRUARY-2014
DMS
36 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1171 | 1160 | 11 | 11000 | 0.011 | 60903 | 60903 | 0 | 0 | 0
REWARI LINE
37 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 1273 | 804 | 469 | 46900 | 0.0469 | 78585 | 77767 | 818 | 81800 | 0.0818
VISHAL
38 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9510 | 9516 | -6 | -600 | -0.0006 | 29251 | 28944 | 307 | 30700 | 0.0307
39 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10534 | 10500 | 34 | 3400 | 0.0034 | 51614 | 51166 | 448 | 44800 | 0.0448
40 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16141 | 16003 | 138 | 13800 | 0.0138 | 54447 | 54139 | 308 | 30800 | 0.0308
S.B.MILL
41 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 42929 | 42712 | 217 | 21700 | 0.0217 | 17605 | 17558 | 47 | 4700 | 0.0047
42 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
43 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
44 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17337 | 17043 | 294 | 29400 | 0.0294 | 15736 | 15656 | 80 | 8000 | 0.008
47 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998395 | 998772 | -377 | -16753.88 | -0.016754 | 362 | 372 | -10 | -444.4 | -0.0004444
B.G.ROAD
48 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5575 | 5522 | 53 | 26500 | 0.0265 | 28844 | 28829 | 15 | 7500 | 0.0075
49 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3702 | 3653 | 49 | 24500 | 0.0245 | 26686 | 26679 | 7 | 3500 | 0.0035
50 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 5488 | 5360 | 128 | 64000 | 0.064 | 14551 | 14551 | 0 | 0 | 0
51 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 737 | 659 | 78 | 52000 | 0.052 | 554 | 554 | 0 | 0 | 0
D.M.S.
52 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 993250 | 993449 | -199 | -19900 | -0.0199 | 5897 | 5897 | 0 | 0 | 0
53 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7863 | 7916 | -53 | -5300 | -0.0053 | 15336 | 15336 | 0 | 0 | 0
54 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23404 | 23461 | -57 | -5700 | -0.0057 | 54106 | 54106 | 0 | 0 | 0
55 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4548 | 4619 | -71 | -7100 | -0.0071 | 999973 | 999973 | 0 | 0 | 0
56 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998706 | 998747 | -41 | -4100 | -0.0041 | 131 | 131 | 0 | 0 | 0
57 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 18674 | 18036 | 638 | 63800 | 0.0638 | 71879 | 71879 | 0 | 0 | 0
59 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 14394 | 13702 | 692 | 69200 | 0.0692 | 62674 | 62674 | 0 | 0 | 0
60 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000773 | 999879 | 894 | 89400 | 0.0894 | 999953 | 999953 | 0 | 0 | 0
KASHMIRI GATE
61 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 144734 | 141850 | 2884 | 288400 | 0.2884 | 23969 | 23969 | 0 | 0 | 0
62 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21307 | 21153 | 154 | 15400 | 0.0154 | 41336 | 41336 | 0 | 0 | 0
63 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999261 | 999273 | -12 | -1200 | -0.0012 | 999402 | 999400 | 2 | 200 | 0.0002
Mundka
66 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 344 | 344 | 0 | 0 | 0
67 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 989949 | 990361 | -412 | -329600 | -0.3296 | 999987 | 999987 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.7333 |  |  |  |  | 0.28046
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 15631 | 14946 | 685 | -68500 | -0.0685 | 14314 | 14309 | 5 | -500 | -0.0005
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9859 | 9527 | 332 | -332000 | -0.332 | 7077 | 7077 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4113 | 4128 | -15 | 3000 | 0.003 | 11897 | 11893 | 4 | -800 | -0.0008
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15441 | 15191 | 250 | -250000 | -0.25 | 31690 | 31689 | 1 | -1000 | -0.001
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11065 | 11361 | -296 | 29600 | 0.0296 | 61482 | 61482 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945566 | 947433 | -1867 | 1867000 | 1.867 | 992454 | 992454 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.2491 |  |  |  |  | -0.0023
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.7333 |  |  |  |  | 0.28046
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.2491 |  |  |  |  | -0.0023
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 3.2083 |  |  |  |  | 0.00195
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 1.7242 |  |  |  |  | 0.28011
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.7242 | (REACTIVE MUs) |  |  |  | 0.28011 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.35612 | (REACTIVE MUs) |  |  |  | -2.0182 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.0803 | (REACTIVE MUs) |  |  |  | -1.7381 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 993311 | 992888 | 423 | 42300 | 0.0423 | 71681 | 70840 | 841 | 84100 | 0.0841
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0056 |  |  |  |  | -0.0017 | Metering not in order
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 19919 | 19966 | -47 | -4700 | -0.0047 | 24053 | 24055 | -2 | -200 | -0.0002
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2800 | 2995 | -195 | -19500 | -0.0195 | 4557 | 4575 | -18 | -1800 | -0.0018
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0005 |  |  |  |  | 0.2978 | Metering not in order
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0058 |  |  |  |  | -0.07 | Metering not in order
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994834 | 995214 | -380 | -380000 | -0.38 | 835 | 835 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998980 | 999227 | -247 | -247000 | -0.247 | 1942 | 1942 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 761 | 854 | -93 | -93000 | -0.093 | 1326 | 1326 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999093 | 999389 | -296 | -296000 | -0.296 | 2737 | 2737 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999083 | 999205 | -122 | -122000 | -0.122 | 4093 | 4093 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 480 | 585 | -105 | -105000 | -0.105 | 1075 | 1075 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 999911 | 87 | 87000 | 0.087 | 16514 | 16514 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1288 | 1127 | 161 | 161000 | 0.161 | 37106 | 37106 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 237 | -19 | -19000 | -0.019 | 24601 | 24576 | 25 | 25000 | 0.025
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1257 | 1113 | 144 | 144000 | 0.144 | 8377 | 8377 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 3830 | 2786 | 1044 | 104400 | 0.1044 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998096 | 998124 | -28 | -28000 | -0.028 | 12594 | 12592 | 2 | 2000 | 0.002
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 746547 | 750212 | -3665 | -4031500 | -4.0315
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 788281 | 792273 | -3992 | -4391200 | -4.3912
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987454 | 987876 | -422 | -422000 | -0.422 | 9051 | 9051 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.2156 |  |  |  |  | -8.3957
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959297 | 959906 | -609 | 609000 | 0.609 | 966186 | 966186 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970735 | 971846 | -1111 | 1111000 | 1.111 | 962279 | 962279 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 75 | 72 | 3 | 3000 | 0.003 | 3528 | 3520 | 8 | 8000 | 0.008
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41506 | 39212 | 2294 | -2294000 | -2.294 | 972937 | 972937 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21278 | 19019 | 2259 | -2259000 | -2.259 | 967896 | 967896 | 0 | 0 | 0
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996350 | 996801 | -451 | 451000 | 0.451 | 996407 | 996407 | 0 | 0 | 0
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978119 | 979406 | -1287 | 1287000 | 1.287 | 992295 | 992295 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4113 | 4128 | -15 | -3000 | -0.003 | 11897 | 11893 | 4 | 800 | 0.0008
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15441 | 15191 | 250 | 250000 | 0.25 | 31690 | 31689 | 1 | 1000 | 0.001
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 108594 | 109927 | -1333 | -133300 | -0.1333 | 1617 | 1617 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 112037 | 109245 | 2792 | 279200 | 0.2792 | 2383 | 2383 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.9075 |  |  |  |  | -8.0777
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.9075 |  |  |  |  | -8.0777
FEBRUARY-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992590 | 993290 | -700 | 700000 | 0.7 | 917740 | 917781 | -41 | 41000 | 0.041
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13050 | 13437 | -387 | 387000 | 0.387 | 937494 | 937575 | -81 | 81000 | 0.081
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993984 | 994886 | -902 | 902000 | 0.902 | 981810 | 981842 | -32 | 32000 | 0.032
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 908195 | 911059 | -2864 | 2864000 | 2.864 | 992037 | 992037 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 897306 | 900369 | -3063 | 3063000 | 3.063 | 990458 | 990458 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4358 | 3837 | 521 | -521000 | -0.521 | 992173 | 992182 | -9 | 9000 | 0.009
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999655 | 999338 | 317 | -634000 | -0.634 | 985557 | 985571 | -14 | 28000 | 0.028
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999731 | 999820 | -89 | 89000 | 0.089 | 963216 | 963243 | -27 | 27000 | 0.027
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2339 | 3553 | -1214 | 1214000 | 1.214 | 914413 | 914509 | -96 | 96000 | 0.096
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962105 | 962486 | -381 | 381000 | 0.381 | 870742 | 870778 | -36 | 36000 | 0.036
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22069 | 21177 | 892 | -892000 | -0.892 | 34069 | 34071 | -2 | 2000 | 0.002
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22166 | 21223 | 943 | -943000 | -0.943 | 43763 | 43767 | -4 | 4000 | 0.004
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 6.61 |  |  |  |  | 0.356
| (B) NET ENERGY TO EAST | [8 empty] | 6.61 |  |  |  |  | 0.356
FEBRUARY-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 1191 | 829 | 362 | -144800 | -0.1448 | 0 | 0 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2297 | 2064 | 233 | -116500 | -0.1165 | 2061 | 2061 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 44051 | 43625 | 426 | -85200 | -0.0852 | 72228 | 72228 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865147 | ELSTER | Kvarh(Lead/Lag) | -100 | 4227 | 1835 | 2392 | -239200 | -0.2392 | 11374 | 11374 | 0 | 0 | 0 | Check Meter used
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 982202 | 982764 | -562 | 112400 | 0.1124 | 1910 | 1910 | 0 | 0 | 0
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 71928 | 70983 | 945 | -189000 | -0.189 | 88803 | 88803 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 6444 | 5694 | 750 | -600000 | -0.6 | 1140 | 1140 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13745 | 13678 | 67 | -134000 | -0.134 | 925 | 925 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983523 | 983971 | -448 | 358400 | 0.3584 | 993044 | 993044 | 0 | 0 | 0
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 988942 | 990510 | -1568 | 1254400 | 1.2544 | 994937 | 994937 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 994557 | 995345 | -788 | 630400 | 0.6304 | 997805 | 997817 | -12 | 9600 | 0.0096
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993158 | 993816 | -658 | 658000 | 0.658 | 37398 | 37398 | 0 | 0 | 0
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993595 | 994022 | -427 | 569331.91 | 0.56933 | 999560 | 999560 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1685 | 1649 | 36 | -36000 | -0.036 | 21111 | 21111 | 0 | 0 | 0
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 154 | 176 | -22 | 22000 | 0.022 | 2015 | 2015 | 0 | 0 | 0
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1171 | 1160 | 11 | -11000 | -0.011 | 60903 | 60903 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5575 | 5522 | 53 | -26500 | -0.0265 | 28844 | 28829 | 15 | -7500 | -0.0075
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3702 | 3653 | 49 | -24500 | -0.0245 | 26686 | 26679 | 7 | -3500 | -0.0035
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 5488 | 5360 | 128 | -64000 | -0.064 | 14551 | 14551 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 737 | 659 | 78 | -52000 | -0.052 | 554 | 554 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 144734 | 141850 | 2884 | -288400 | -0.2884 | 23969 | 23969 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21307 | 21153 | 154 | -15400 | -0.0154 | 41336 | 41336 | 0 | 0 | 0
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 993250 | 993449 | -199 | 19900 | 0.0199 | 5897 | 5897 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7863 | 7916 | -53 | 5300 | 0.0053 | 15336 | 15336 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23404 | 23461 | -57 | 5700 | 0.0057 | 54106 | 54106 | 0 | 0 | 0
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4548 | 4619 | -71 | 7100 | 0.0071 | 999973 | 999973 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998706 | 998747 | -41 | 4100 | 0.0041 | 131 | 131 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 18674 | 18036 | 638 | -63800 | -0.0638 | 71879 | 71879 | 0 | 0 | 0
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 14394 | 13702 | 692 | -69200 | -0.0692 | 62674 | 62674 | 0 | 0 | 0
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000773 | 999879 | 894 | -89400 | -0.0894 | 999953 | 999953 | 0 | 0 | 0
[10 empty] | 1.3981 |  |  |  |  | -0.0014
FEBRUARY-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.9075 |  |  |  |  | -8.0777
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.3981 |  |  |  |  | -0.0014
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.2738 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.7832 |  |  |  |  | -8.0791
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 6.61 |  |  |  |  | 0.356
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 4.8268 |  |  |  |  | -7.7231
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.8268 | (REACTIVE MUs) |  |  |  | -7.7231 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.28028 | (REACTIVE MUs) |  |  |  | -1.5884 | (REACTIVE MUs)
[9 empty] | TOTAL | 5.1071 | (REACTIVE MUs) |  |  |  | -9.3115 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997963 | 998005 | -42 | -168000 | -0.168 | 8801 | 8808 | -7 | -28000 | -0.028
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986381 | 986917 | -536 | -714664.88 | -0.71466 | 673937 | 673964 | -27 | -35999.91 | -0.036
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  |  |  | 0.052 |  |  |  |  | 0.078 | Metering not in order
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12153 | 11940 | 213 | 213000 | 0.213 | 999582 | 999582 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0179 |  |  |  |  | 0.1758 | Metering not in order
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 756967 | 764159 | -7192 | -539400 | -0.5394 | 49488 | 49641 | -153 | -11475 | -0.011475
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0087 |  |  |  |  | -0.0269 | Metering not in order
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 |  |  |  |  | -0.0054 |  |  |  |  | -0.1071 | Metering not in order
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990249 | 990071 | 178 | -178000 | -0.178 | 946018 | 946021 | -3 | 3000 | 0.003
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987611 | 987453 | 158 | -158000 | -0.158 | 951098 | 951102 | -4 | 4000 | 0.004
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977628 | 978199 | -571 | 571000 | 0.571 | 930056 | 930219 | -163 | 163000 | 0.163
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992594 | 993166 | -572 | 572000 | 0.572 | 950353 | 950509 | -156 | 156000 | 0.156
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990806 | 992054 | -1248 | 1248000 | 1.248 | 980399 | 980399 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22935 | 21202 | 1733 | -1733000 | -1.733 | 985422 | 985422 | 0 | 0 | 0
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15892 | 11772 | 4120 | -4120000 | -4.12 | 2 | 2 | 0 | 0 | 0
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1605 | 2060 | -455 | 455000 | 0.455 | 999460 | 999471 | -11 | 11000 | 0.011
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6783 | 8103 | -1320 | 1320000 | 1.32 | 1678 | 1687 | -9 | 9000 | 0.009
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23862 | 24825 | -963 | 963000 | 0.963 | 6222 | 6233 | -11 | 11000 | 0.011
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 755 | 232 | 523 | -523000 | -0.523 | 999942 | 999946 | -4 | 4000 | 0.004
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9859 | 9527 | 332 | 332000 | 0.332 | 7077 | 7077 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864923 | ELSTER | Kvarh(Lead/Lag) | -1000 | 908534 | 910275 | -1741 | 1741000 | 1.741 | 895688 | 895688 | 0 | 0 | 0 | Check Meter Used
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955837 | 957168 | -1331 | 1331000 | 1.331 | 857225 | 857225 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88 | 93 | -5 | 5000 | 0.005 | 971451 | 971781 | -330 | 330000 | 0.33
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997473 | 998166 | -693 | 693000 | 0.693 | 954502 | 955134 | -632 | 632000 | 0.632
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995884 | -288 | 288000 | 0.288 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864833 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999093 | 999321 | -228 | 228000 | 0.228 | 2737 | 2737 | 0 | 0 | 0 | Meter changed 07.02.14
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998499 | 998581 | -82 | 82000 | 0.082 | 889783 | 889794 | -11 | 11000 | 0.011
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997287 | 997461 | -174 | 174000 | 0.174 | 869024 | 869047 | -23 | 23000 | 0.023
BRPL(+) continue | [14 empty] | FEBRUARY-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995564 | 995877 | -313 | 313000 | 0.313 | 972485 | 972494 | -9 | 9000 | 0.009
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997406 | 997681 | -275 | 275000 | 0.275 | 988503 | 988528 | -25 | 25000 | 0.025
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996597 | 996144 | 453 | -906000 | -0.906 | 970064 | 970065 | -1 | 2000 | 0.002
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996249 | 996451 | -202 | 202000 | 0.202 | 915155 | 915181 | -26 | 26000 | 0.026
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995214 | 995214 | 0 | 0 | 0 | 928164 | 928164 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999904 | 1000108 | -204 | 204000 | 0.204 | 999905 | 999920 | -15 | 15000 | 0.015
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992545 | 993768 | -1223 | 1223000 | 1.223 | 999920 | 999934 | -14 | 14000 | 0.014
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 984607 | 986950 | -2343 | 1561998.438 | 1.562 | 984337 | 984337 | 0 | 0 | 0
38 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973607 | 972575 | 1032 | -687999.312 | -0.688 | 971784 | 971784 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1950 | 1776 | 174 | -348000 | -0.348 | 1524 | 1521 | 3 | -6000 | -0.006
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998910 | 998722 | 188 | -376000 | -0.376 | 664 | 662 | 2 | -4000 | -0.004
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943043 | 944702 | -1659 | 1659000 | 1.659 | 995781 | 995781 | 0 | 0 | 0
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954052 | 955868 | -1816 | 1816000 | 1.816 | 996014 | 996014 | 0 | 0 | 0
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 1447 | 1447 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 21674 | 20832 | 842 | 673600 | 0.6736 | 1045 | 1045 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 943961 | 947710 | -3749 | -2999200 | -2.9992 | 999692 | 999692 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993158 | 993816 | -658 | -658000 | -0.658 | 37398 | 37398 | 0 | 0 | 0
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993595 | 994022 | -427 | -569331.91 | -0.56933 | 999560 | 999560 | 0 | 0 | 0
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13314 | 11667 | 1647 | -1647000 | -1.647 | 975086 | 975086 | 0 | 0 | 0
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8016 | 5696 | 2320 | -2320000 | -2.32 | 989739 | 989739 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 15631 | 14946 | 685 | 68500 | 0.0685 | 14314 | 14309 | 5 | 500 | 0.0005
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11065 | 11361 | -296 | -29600 | -0.0296 | 61482 | 61482 | 0 | 0 | 0
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 945566 | 947433 | -1867 | -1867000 | -1.867 | 992454 | 992454 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1198 | 1198 | 0 | 0 | 0 | 9910 | 9910 | 0 | 0 | 0
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9837 | 9602 | 235 | 23500 | 0.0235 | 21843 | 21831 | 12 | 1200 | 0.0012
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.2508 |  |  |  |  | 1.484
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 895931 | 894127 | 1804 | -180400 | -0.1804
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 108594 | 109927 | -1333 | 133300 | 0.1333 | 1617 | 1617 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 112037 | 109245 | 2792 | -279200 | -0.2792 | 2383 | 2383 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996590 | 996912 | -322 | 32200 | 0.0322 | 999978 | 999978 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996706 | 996726 | -20 | 2000 | 0.002 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1236 | 1124 | 112 | -224000 | -0.224 | 73243 | 73243 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8803 | 8387 | 416 | -416000 | -0.416 | 81 | 81 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 898181 | 896915 | 1266 | -633000 | -0.633 | 54462 | 54462 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 63299 | 62067 | 1232 | -123200 | -0.1232 | 58841 | 58841 | 0 | 0 | 0
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 58417 | 55490 | 2927 | -292700 | -0.2927 | 56909 | 56909 | 0 | 0 | 0
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85721 | 85534 | 187 | -37400 | -0.0374 | 112978 | 112978 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 931 | 1359 | -428 | -214000 | -0.214 | 17870 | 17870 | 0 | 0 | 0
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3500 | 3500 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 989710 | 989710 | 0 | 0 | 0 | 993688 | 993688 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 298503 | 296753 | 1750 | -175000 | -0.175 | 44675 | 44661 | 14 | -1400 | -0.0014
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3992 | 3928 | 64 | -6400 | -0.0064 | 18470 | 18453 | 17 | -1700 | -0.0017
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 1273 | 804 | 469 | -46900 | -0.0469 | 78585 | 77767 | 818 | -81800 | -0.0818
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9510 | 9516 | -6 | 600 | 0.0006 | 29251 | 28944 | 307 | -30700 | -0.0307
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10534 | 10500 | 34 | -3400 | -0.0034 | 51614 | 51166 | 448 | -44800 | -0.0448
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16141 | 16003 | 138 | -13800 | -0.0138 | 54447 | 54139 | 308 | -30800 | -0.0308
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 42929 | 42712 | 217 | -21700 | -0.0217 | 17605 | 17558 | 47 | -4700 | -0.0047
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17337 | 17043 | 294 | -29400 | -0.0294 | 15736 | 15656 | 80 | -8000 | -0.008
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998395 | 998772 | -377 | 16753.88 | 0.016754 | 362 | 372 | -10 | 444.4 | 0.0004444
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999261 | 999273 | -12 | 1200 | 0.0012 | 999402 | 999400 | 2 | -200 | -0.0002
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.33 |  |  |  |  | -0.38406
FEBRUARY-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.2508 |  |  |  |  | 1.484
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.33 |  |  |  |  | -0.38406
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.78997 |  |  |  |  | 0.0283
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2078 |  |  |  |  | 0.0032
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.9987 |  |  |  |  | 1.1315
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.9987 | (REACTIVE MUs) |  |  |  | 1.1315 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.49349 | (REACTIVE MUs) |  |  |  | -2.7967 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.5052 | (REACTIVE MUs) |  |  |  | -1.6653 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 44051 | 43625 | 426 | 85200 | 0.0852 | 72228 | 72228 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865147 | ELSTER | Kvarh(Lead/Lag) | 100 | 4227 | 1835 | 2392 | 239200 | 0.2392 | 11374 | 11374 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 982202 | 982764 | -562 | -112400 | -0.1124 | 1910 | 1910 | 0 | 0 | 0 | Check Meter Used
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 71928 | 70983 | 945 | 189000 | 0.189 | 88803 | 88803 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 6444 | 5694 | 750 | 600000 | 0.6 | 1140 | 1140 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13745 | 13678 | 67 | 134000 | 0.134 | 925 | 925 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983523 | 983971 | -448 | -358400 | -0.3584 | 993044 | 993044 | 0 | 0 | 0
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 988942 | 990510 | -1568 | -1254400 | -1.2544 | 994937 | 994937 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 994557 | 995345 | -788 | -630400 | -0.6304 | 997805 | 997817 | -12 | -9600 | -0.0096
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0027 |  |  |  |  | 0.4049 | Metering not in order
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.7396 | Metering not in order
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.0078 |  |  |  |  | 0.1386 | Metering not in order
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.3322 | Metering not in order
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999881 | 999881 | 0 | 0 | 0 | 175798 | 175798 | 0 | 0 | 0
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259759 | 259759 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51073 | 0 | 0 | 0 | 704427 | 704427 | 0 | 0 | 0
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 75156 | 74748 | 408 | 448800 | 0.4488
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2597 | 2779 | -182 | -182000 | -0.182 | 37835 | 37830 | 5 | 5000 | 0.005
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 145226 | 144273 | 953 | 1048300 | 1.0483
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7508 | 8017 | -509 | -509000 | -0.509 | 53177 | 53177 | 0 | 0 | 0
[10 empty] | -0.691 |  |  |  |  | 1.5021
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1236 | 1124 | 112 | 224000 | 0.224 | 73243 | 73243 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8803 | 8387 | 416 | 416000 | 0.416 | 81 | 81 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 898181 | 896915 | 1266 | 633000 | 0.633 | 54462 | 54462 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 931 | 1359 | -428 | 214000 | 0.214 | 17870 | 17870 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3500 | 3500 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 989710 | 989710 | 0 | 0 | 0 | 993688 | 993688 | 0 | 0 | 0
FEBRUARY-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983564 | 983916 | -352 | 352000 | 0.352 | 991067 | 991155 | -88 | 88000 | 0.088
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985980 | 987346 | -1366 | 1366000 | 1.366 | 990826 | 990826 | 0 | 0 | 0
28 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996576 | 997816 | -1240 | 1240000 | 1.24 | 29 | 29 | 0 | 0 | 0
KIDWAI NAGAR
29 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 298503 | 296753 | 1750 | 175000 | 0.175 | 44675 | 44661 | 14 | 1400 | 0.0014
EXHIBITION I
30 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3992 | 3928 | 64 | 6400 | 0.0064 | 18470 | 18453 | 17 | 1700 | 0.0017
31 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
32 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 63299 | 62067 | 1232 | 123200 | 0.1232 | 58841 | 58841 | 0 | 0 | 0
33 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 58417 | 55490 | 2927 | 292700 | 0.2927 | 56909 | 56909 | 0 | 0 | 0
34 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85721 | 85534 | 187 | 37400 | 0.0374 | 112978 | 112978 | 0 | 0 | 0
TILAK MARG
35 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 895931 | 894127 | 1804 | 180400 | 0.1804
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1198 | 1198 | 0 | 0 | 0 | 9910 | 9910 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9837 | 9602 | 235 | -23500 | -0.0235 | 21843 | 21831 | 12 | -1200 | -0.0012
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.2519 |  |  |  |  | 3.3781
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.2519 |  |  |  |  | 3.3781
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.064728 |  |  |  |  | -0.36683
| TOTAL ENERGY TO NDMC | [8 empty] | 3.3166 |  |  |  |  | 3.0113

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1256 | 1136 | 120 | 120000 | 0.12 | 23356 | 23327 | 29 | 29000 | 0.029
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 861 | 747 | 114 | 114000 | 0.114 | 26013 | 26004 | 9 | 9000 | 0.009
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2043 | 1922 | 121 | 121000 | 0.121 | 33914 | 33869 | 45 | 45000 | 0.045
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 895 | 908 | -13 | -13000 | -0.013 | 18327 | 18328 | -1 | -1000 | -0.001
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4097 | 3856 | 241 | 241000 | 0.241 | 10176 | 10174 | 2 | 2000 | 0.002
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 10732 | 10686 | 46 | 23000 | 0.023 | 58531 | 58531 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996590 | 996912 | -322 | -32200 | -0.0322 | 999978 | 999978 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996706 | 996726 | -20 | -2000 | -0.002 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.5718 |  |  |  |  | 0.084
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 46203 | 45863 | 340 | 34000 | 0.034 | 71876 | 71861 | 15 | 1500 | 0.0015
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73183 | 73183 | 0 | 0 | 0 | 11074 | 11074 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 44502 | 43444 | 1058 | 105800 | 0.1058 | 60043 | 60002 | 41 | 4100 | 0.0041
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84128 | 83448 | 680 | 68000 | 0.068 | 58125 | 58213 | -88 | -8800 | -0.0088
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 6377 | 6039 | 338 | 33800 | 0.0338 | 1835 | 1833 | 2 | 200 | 0.0002
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2078 |  |  |  |  | -0.0032
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2078 |  |  |  |  | -0.0032
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.5718 |  |  |  |  | 0.084
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.7796 |  |  |  |  | 0.0808
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.7796 | (REACTIVE MUs) |  |  |  | 0.0808 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.01448 | (REACTIVE MUs) |  |  |  | -0.082061 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.79408 | (REACTIVE MUs) |  |  |  | -0.0012614 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 37851 | 41422 | -3571 | -357100 | -0.3571 | 79281 | 79281 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 999679 | 995452 | 4227 | 422700 | 0.4227 | 999109 | 999109 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 247580 | 248495 | -915 | -91500 | -0.0915 | 98385 | 98385 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 31498 | 30888 | 610 | 571875 | 0.57188 | 18491 | 18491 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985314 | 985592 | -278 | 139000 | 0.139 | 925011 | 925037 | -26 | 13000 | 0.013
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989266 | 989476 | -210 | 105000 | 0.105 | 980149 | 980176 | -27 | 13500 | 0.0135
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 999998 | 999992 | 6 | 1800 | 0.0018
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.78997 |  |  |  |  | 0.0283
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 930304 | 931551 | -1247 | -249400 | -0.2494 | 991747 | 991747 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 985069 | 990191 | -5122 | -1024400 | -1.0244 | 118 | 118 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.2738 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 234625 | 230629 | 3996 | 799200 | 0.7992 | 263938 | 263938 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 108243 | 103346 | 4897 | 979400 | 0.9794 | 41544 | 41544 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 176767 | 166751 | 10016 | 1001600 | 1.0016 | 72478 | 72478 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990271 | 990042 | 229 | 229000 | 0.229 | 998420 | 998420 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 964075 | 965168 | -1093 | -109300 | -0.1093 | 7127 | 7127 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999208 | 999305 | -97 | -90937.5 | -0.090938 | 999766 | 999762 | 4 | 3750 | 0.00375
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 986578 | 987217 | -639 | 399375 | 0.39937 | 995537 | 995537 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 999998 | 999992 | 6 | -1800 | -0.0018
| TOTAL NDPL | [8 empty] | 3.2083 |  |  |  |  | 0.00195
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.78997 |  |  |  |  | 0.0283
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.2738 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 3.2083 |  |  |  |  | 0.00195

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 3029 | 2209 | 820 | 1640000 | 1.64 | 414 | 414 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 14885 | 14101 | 784 | 1568000 | 1.568 | 2251 | 2251 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.208 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 993531 | 993698 | -167 | -167000 | -0.167 | 39612 | 39612 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 997273 | 997191 | 82 | 82000 | 0.082 | 994062 | 994062 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | -0.085 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.123 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.2156 |  |  |  |  | -8.3957
[7 empty] | NDMC = |  |  | -0.691 |  |  |  |  | 1.5021
MES =
[7 empty] | 2)TOTAL |  |  | -1.9066 |  |  |  |  | -6.8936
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.2164 |  |  |  |  | -6.8936
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.2762 | % |  |  | 0.35612 |  |  |  |  | -2.0182
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.5698 | % |  |  | 0.49349 |  |  |  |  | -2.7967
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.0421 | % |  |  | 0.28028 |  |  |  |  | -1.5884
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.3213 | % |  |  | 0.064728 |  |  |  |  | -0.36683
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.1904 | % |  |  | 0.01448 |  |  |  |  | -0.082061
Note :Sharing taken from wk-44 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2014 TO 28TH FEBRUARY-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 2.0803 |  | -1.7381
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.5052 |  | -1.6653
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 5.1071 |  | -9.3115
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.3166 | + | 3.0113
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.79408 | + | -0.0012614
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2014 | INTIAL READING 01/02/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 956213 | 957681 | -1468 | -2202000 | -2.202 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 997004 | 997719 | -715 | -1072500 | -1.0725 | 995977 | 995977 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 907613 | 908895 | -1282 | -1923000 | -1.923 | 966279 | 966279 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -5.1975 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997877 | 997823 | 54 | 270000 | 0.27 | 31009 | 31027 | -18 | -90000 | -0.09
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999714 | 999692 | 22 | 22000 | 0.022 | 2936 | 3036 | -100 | -100000 | -0.1
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973904 | 972799 | 1105 | 1105000 | 1.105 | 990268 | 990195 | 73 | 73000 | 0.073
[8 empty] | NET REACTIVE ENERGY |  | 1.397 |  |  | NET REACTIVE ENERGY |  | -0.117